The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

January 28, 2020

Jerome P. McDermott, Sheriff

Norfolk County Correctional Center

200 West Street

P.O. Box 149

Dedham, MA 02027	(electronic copy)

Re: Facility Inspection - Norfolk County House of Correction and Alternative Center, Dedham

Dear Sheriff McDermott:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Norfolk County House of Correction and Alternative Center on January 16, 2020, accompanied by

Paul Tolson, Environmental Health and Safety Officer and Patrick Harris, Accreditation Manager. Violations noted during the inspection are listed below including 99 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

NORFOLK COUNTY HOUSE OF CORRECTION

Visitor Waiting Area

Visitor Lobby

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Administration Offices

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Conference Room

No Violations Noted

Male Locker Room

No Violations Noted

Female Locker Room

Unable to Inspect – In Use

Exercise Room

No Violations Noted

Kitchenette

No Violations Noted

Arsenal

No Violations Noted

Control Equipment Room

Unable to Inspect – Locked

IT Office

No Violations Noted

Mail Room

No Violations Noted

Central Control

No Violations Noted

Bathroom

No Violations Noted

Food Service

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Staff Dining

Main Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged on staff refrigerator

Serving Line

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Kitchen

Handwash Sink

No Violations Noted

Warewash Machine Room

FC 4-204.112(D)*	Design and Construction, Functionality: Temperature measuring device not designed to be easily readable

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, caulking dirty on counter top

Slop and Spray Area

No Violations Noted

Janitor’s Closet

FC 5-205.15	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, slop sink faucet leaking from cold water controlP

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling left unfinished

Walk-In Refrigerator # 1

No Violations Noted

Ice Machine

No Violations Noted

Walk-In Refrigerator # 2

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Walk-In Refrigerator # 3

No Violations Noted

Can Opener Table

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, can opener dirty

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration

Handwash Sink

No Violations Noted

2-Compartment Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Prep Area

No Violations Noted

Walk-In Freezer

No Violations Noted

Large Storage

No Violations Noted

Small Storage

No Violations Noted

Feeding Prep Area

No Violations Noted

Office

No Violations Noted

Tool Closet

No Violations Noted

Receiving Dock

No Violations Noted

Can Room

No Violations Noted

Dumpster Area

No Violations Noted

Central Storage Area

No Violations Noted

Laundry

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain pipe leaking at handwash sink

Inmate Bathroom

No Violations Noted

Storage Room

No Violations Noted

Chemical Laundry Storage

Chemical Room

No Violations Noted

Bathroom

No Violations Noted

House 1A

Control

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Case Worker’s Office

No Violations Noted

Control Bathroom

No Violations Noted

Kitchenette Area

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Dead drain flies observed on ceiling in shower # 1-8

105 CMR 451.123*	Maintenance: Floor drain rusted in shower # 6 and 8

105 CMR 451.123*	Maintenance: Sprinkler rusted in shower # 6

105 CMR 451.123	Maintenance: Door damaged in shower # 4

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Mirror damaged in cell # 33

Recreational Area

No Violations Noted

House 1B

Control

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Case Worker’s Office

No Violations Noted

Control Bathroom

No Violations Noted

Kitchenette Area

105 CMR 451.353	Interior Maintenance: Floor surface damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of refrigerator dirty

Showers

105 CMR 451.123*	Maintenance: Water pooling on floor outside showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3 and 4

105 CMR 451.123*	Maintenance: Dead drain flies observed on ceiling in shower # 8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 5, 6, 7, and 8

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1, 3, 4, 5, 6, and 7

Janitor’s Closet

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 15 and 34

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 11, 17, 19, 29, 39, and 40

Recreational Area

No Violations Noted

House 2A

Control

No Violations Noted

Case Worker’s Office

No Violations Noted

Control Bathroom

No Violations Noted

Kitchenette Area

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Showers	Unable to Inspect Shower # 7 – In Use

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 3

Janitor’s Closet

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Laundry Storage

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Recreational Area

No Violations Noted

House 2B

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in common area

Control

No Violations Noted

Case Worker’s Office

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Control Bathroom

No Violations Noted

Kitchenette Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Showers

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1, 3, and 5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 4, 5, 7, and 8

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1, 3, and 4

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 7

Janitor’s Closet

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1, 3, and 4

Recreational Area

No Violations Noted

MAT Program (Formerly House 3)

Common Area

No Violations Noted

Offices

No Violations Noted

Supply Closet

No Violations Noted

Slop Sink Closet

No Violations Noted

Bathroom/Showers

Unable to Inspect – Not in Use

Staff Bathroom

No Violations Noted

Program Area

West Wing

Kitchen Area

No Violations Noted

Staff Bathroom

No Violations Noted

Offices

No Violations Noted

Program Administrative Area

No Violations Noted

Staff Bathroom at Entrance

No Violations Noted

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Female Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Classrooms

No Violations Noted

Library

No Violations Noted

Religious Services

No Violations Noted

Chapel

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Canteen

No Violations Noted

Barber Shop

No Violations Noted

Assistant Superintendent’s Office

No Violations Noted

Shift Commander’s Office

No Violations Noted

Time and Attendance Office

No Violations Noted

Investigations Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Visiting

Contact Visit

105 CMR 451.353*	Interior Maintenance: Upholstery damaged on chairs

Bathroom

Unable to Inspect – Under Construction

Non-Contact Visit

No Violations Noted

Attorney’s Room

No Violations Noted

Special Management Housing

Control

No Violations Noted

Control Bathroom

No Violations Noted

Special Management Unit (SMU)

Kitchenette Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

Supply Closet

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 7

Recreational Area

No Violations Noted

Special Housing Unit (SHU)

Kitchenette Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator gaskets damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F at handwash sink

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 3

105 CMR 451.123	Maintenance: Light out in shower # 3

105 CMR 451.130	Hot Water: Shower water temperature recorded at 960F in shower # 2

Laundry Room

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Slop Sink Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing at slop sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Case Worker’s Office

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Recreational Area

No Violations Noted

4 Units

Control

No Violations Noted

Control Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 960F at handwash sink

Unit 4B

105 CMR 451.353*	Interior Maintenance: Floor left unfinished around Kitchenette/Janitor’s Closet

Kitchenette Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F at slop sink

105 CMR 451.130	Plumbing: No backflow preventer on slop sink

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handicapped shower head missing

105 CMR 451.123*	Maintenance: Light fixture rusted in shower # 2

105 CMR 451.123*	Maintenance: Ceiling vent painted over in shower # 1-5

105 CMR 451.123*	Maintenance: Light out in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2, 3, 4, and 5

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1, 4, and 5

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 8

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 24 and 27

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 3 and 8

Case Worker Office

No Violations Noted

Recreational Area

No Violations Noted

Unit 4A

Kitchenette Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent painted over in shower # 2 and 4

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1 and 4

Cells

No Violations Noted

Case Worker’s Office

No Violations Noted

Supply Closet

No Violations Noted

Recreational Area

No Violations Noted

Medical

Waiting Area

No Violations Noted

Medical Waste Storage

No Violations Noted

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Inmate Bathroom # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper

Male Staff Bathroom

105 CMR 451.123	Maintenance: Soap dispenser leaking

Cleaning Supply Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

Room # 9

No Violations Noted

Eyeball Room # 8

No Violations Noted

Medication Room

No Violations Noted

Nursing Office/Exam Room

No Violations Noted

Room # 7

No Violations Noted

Room # 6

No Violations Noted

Room # 5

No Violations Noted

Room # 4

No Violations Noted

Room # 3

No Violations Noted

Room # 2

No Violations Noted

Room # 1

No Violations Noted

Linen Closet

No Violations Noted

Handicapped Shower

Unable to Inspect – Under Construction

Offices

No Violations Noted

Dental

No Violations Noted

Medical Trailer

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Intake

Property Room

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Small Property Room

No Violations Noted

Inmate Records

No Violations Noted

Changing Room

No Violations Noted

Shower

No Violations Noted

Large Holding Cell

No Violations Noted

Booking Area

No Violations Noted

Staff Bathroom

Unable to Inspect – In Use

Holding Cells

No Violations Noted

Offices

No Violations Noted

Maintenance Department

Bathroom

No Violations Noted

Break Room

No Violations Noted

Carpenter’s Shop

No Violations Noted

Boiler Room

No Violations Noted

DEDHAM ALTERNATIVE CENTER

Second Floor

South Wing

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Light shield damaged in cell # 27 and 31

105 CMR 451.353*	Interior Maintenance: Baseboard damaged in cell # 27

105 CMR 451.103	Mattresses: Mattress damaged in cell # 32

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1-3

105 CMR 451.123*	Maintenance: Mold observed on tile grout in shower # 1-3

105 CMR 451.123*	Maintenance: Hand dryer out-of-order

105 CMR 451.123	Maintenance: Wall tiles damaged in shower # 3

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 3

North Wing

Main Area

No Violations Noted

Offices

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

First Floor

South Wing

Main Area

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.123*	Maintenance: Handwash sink rusted around faucet

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking at shower # 2

105 CMR 451.123*	Maintenance: Hand dryer out-of-order

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 1

105 CMR 451.123	Maintenance: Handicapped shower bench damaged

105 CMR 451.123	Maintenance: Mold observed on wall tile grout in shower # 1-3

North Wing

Main Area

No Violations Noted

Offices

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Soap dispensers dirty

MAIN AREA

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, gaskets damaged on left side refrigerator

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, interior of ice machine dirty

Offices

No Violations Noted

Bathroom

No Violations Noted

Laundry Room

No Violations Noted

Laundry Janitor’s Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing at slop sink

Gym Area

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Classroom

No Violations Noted

GARAGE

No Violations Noted

Garage Area Bathroom

No Violations Noted

Office Bathroom

No Violations Noted

Observations and Recommendations

- The inmate population was 476 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services	(electronic copy)

Carol A. Mici, Commissioner, DOC						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Acting Director, Policy Development and Compliance Unit	(electronic copy)

Michael Harris, Superintendent							(electronic copy)

Sergeant Dave Munchbach, EHSO						(electronic copy)

Paul Tolson, EHSO								(electronic copy)

Catherine Cardinale, RS, Health Director, Dedham Board of Health		(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)