The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

June 25, 2019

Jerome P. McDermott, Sheriff

Norfolk County Correctional Center

200 West Street

P.O. Box 149

Dedham, MA 02027	(electronic copy)

Re: Facility Inspection - Norfolk County House of Correction and Alternative Center, Dedham

Dear Sheriff McDermott:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Norfolk County House of Correction and Alternative Center on June 14 and 19, 2019, accompanied by Paul Tolson, Environmental Health and Safety Officer and Kevin Durkin, Director of Policy and Accreditation. Violations noted during the inspection are listed below including 40 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

NORFOLK COUNTY HOUSE OF CORRECTION

Visitor Waiting Area

Visitor Lobby

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Administration Offices

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working at

handwash sink # 1

Conference Room

No Violations Noted

Male Locker Room

105 CMR 451.123	Maintenance: Ceiling vents dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 and 4 not

draining properly

Female Locker Room

No Violations Noted

Exercise Room

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Kitchenette

No Violations Noted

Arsenal

Unable to Inspect – Locked

Control Equipment Room

Unable to Inspect – Locked

Investigations Office

Unable to Inspect – Locked

Mail Room

No Violations Noted

Central Control

No Violations Noted

Bathroom

No Violations Noted

Food Service

Staff Dining

Main Area

No Violations Noted

Serving Line

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Kitchen

Handwash Sink

FC 6-301.12(A)	Numbers and Capacity; Handwashing Sinks: No hand drying method available at handwashing sinkPf

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Facilities on the Premises: No trash provided at handwash sink

Warewash Machine Room

FC 4-204.113	Design and Construction, Functionality: Warewashing machine missing an easily accessible and readable data plate

FC 4-204.112(D)	Design and Construction, Functionality: Temperature measuring device not designed to be easily readable

FC 4-204.115(B)	Design and Construction, Functionality: Warewash machine missing a temperature measuring device in the sanitizing tankPf

Slop and Spray Area

No Violations Noted

Janitor’s Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, Faucet damaged on handwash sink

105 CMR 451.123	Maintenance: Ceiling left unfinished

Walk-In Refrigerator # 1

No Violations Noted

Ice Machine

No Violations Noted

Walk-In Refrigerator # 2

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair refrigerator gaskets damaged

Walk-In Refrigerator # 3

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair refrigerator gaskets moldy

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty

Handwash Sink

No Violations Noted

2-Compartment Sink

No Violations Noted

3-Compartment Sink

FC 5-205.15	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, left faucet leaking from cold water controlP

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

Prep Area

No Violations Noted

Walk-In Freezer

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair refrigerator gaskets moldy

Large Storage

No Violations Noted

Small Storage

No Violations Noted

Feeding Prep Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged behind serving line

Office

No Violations Noted

Tool Closet

No Violations Noted

Receiving Dock

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, truck bumpers damaged

Can Room

No Violations Noted

Dumpster Area

No Violations Noted

Central Storage Area

Unable to Inspect – Locked

Laundry

105 CMR 451.353	Interior Maintenance: Floor surface damaged

Inmate Bathroom

No Violations Noted

Storage Room

No Violations Noted

Chemical Laundry Storage

Chemical Room

No Violations Noted

Bathroom

No Violations Noted

House 1A

Control

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Case Worker’s Office

No Violations Noted

Control Bathroom

No Violations Noted

Kitchenette Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water tap loose

Showers

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling in shower # 1-8

105 CMR 451.123	Maintenance: Floor drain rusted in shower # 6 and 8

105 CMR 451.123	Maintenance: Light out in shower # 4

105 CMR 451.123	Maintenance: Sprinkler rusted in shower # 6

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Mirror damaged in cell # 33

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 8

Recreational Area

No Violations Noted

House 1B

Control

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Case Worker’s Office

No Violations Noted

Control Bathroom

No Violations Noted

Kitchenette Area

No Violations Noted

Showers	Unable to Inspect Shower # 1 – In Use

105 CMR 451.123	Maintenance: Water pooling on floor outside showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3 and 4

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling in shower # 8

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 15 and 34

105 CMR 451.353	Interior Maintenance: Mold observed on bed in cell # 25

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 24 and 27

105 CMR 451.103	Mattresses: Mattress damaged in cell # 38

105 CMR 451.360	Protective Measures: Building not protected against infestation, ants observed in cell # 15

Recreational Area

No Violations Noted

House 2A

Control

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Case Worker’s Office

No Violations Noted

Control Bathroom

No Violations Noted

Kitchenette Area

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1-8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 7

Janitor’s Closet

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Laundry Storage

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Recreational Area

No Violations Noted

House 2B

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in common area

Control

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Case Worker’s Office

No Violations Noted

Control Bathroom

No Violations Noted

Kitchenette Area

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1, 3, 4, 5, and 6

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 4, 5, 6, 7, and 8

Janitor’s Closet

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 14

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1 and 15

Recreational Area

No Violations Noted

House 3

Common Area

No Violations Noted

Supply Closet

No Violations Noted

Slop Sink Closet

No Violations Noted

Bathroom/Showers

No Violations Noted

Kitchenette Area

No Violations Noted

Laundry Room

No Violations Noted

Staff Bathroom

No Violations Noted

Storage Closet

No Violations Noted

Program Area

West Wing

Kitchen Area

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling water stained

Offices

No Violations Noted

Program Administrative Area

No Violations Noted

Inmate Bathroom at Entrance

Unable to Inspect – In Use

Male Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Staff Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Inmate Bathroom

No Violations Noted

Classrooms

No Violations Noted

Library

No Violations Noted

Religious Services

No Violations Noted

Chapel

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Canteen

No Violations Noted

Barber Shop

No Violations Noted

Training Office

No Violations Noted

Shift Commander’s Office

No Violations Noted

Time and Attendance Office

No Violations Noted

Operations Office

No Violations Noted

Visiting

Contact Visit

105 CMR 451.353*	Interior Maintenance: Upholstery damaged on chairs

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Non-Contact Visit

No Violations Noted

Attorney’s Room

No Violations Noted

Special Management Housing

Control

No Violations Noted

Control Bathroom

Unable to Inspect – In Use

Special Management Unit (SMU)

Kitchenette Area

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1

Supply Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in sink

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 1, 2, 8, and 10

Recreational Area

105 CMR 451.360	Protective Measures: Building not protected against infestation,

birds nest observed above loud speaker

Special Housing Unit (SHU)

Kitchenette Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 3

Laundry Room

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Slop Sink Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing at slop sink

Case Worker’s Office

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 8 and 12

Recreational Area

No Violations Noted

4 Units

Control

No Violations Noted

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Unit 4B

105 CMR 451.353	Interior Maintenance: Floor left unfinished around Kitchenette/Janitor’s Closet

Kitchenette Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handicapped shower head missing

105 CMR 451.123	Maintenance: Light fixture rusted in shower # 2

105 CMR 451.123	Maintenance: Ceiling vent painted over in shower # 1-5

105 CMR 451.123	Maintenance: Light out in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1-5

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2, 8, and 28

Case Worker Office

No Violations Noted

Recreational Area

No Violations Noted

Unit 4A

Kitchenette Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Showers	Unable to Inspect Shower # 1 – In Use

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123	Maintenance: Ceiling vent painted over in shower # 2 and 4

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 10 and 18

Case Worker’s Office

No Violations Noted

Supply Closet

No Violations Noted

Recreational Area

No Violations Noted

Medical

Waiting Area

No Violations Noted

Medical Waste Storage

No Violations Noted

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Inmate Bathroom # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper

Male Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Cleaning Supply Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Two unlabeled chemical bottles

Room # 9

No Violations Noted

Eyeball Room # 8

No Violations Noted

Medication Room

No Violations Noted

Nursing Office/Exam Room

No Violations Noted

Room # 7

No Violations Noted

Room # 6

No Violations Noted

Room # 5

No Violations Noted

Room # 4

No Violations Noted

Room # 3

No Violations Noted

Room # 2

No Violations Noted

Room # 1

No Violations Noted

Linen Closet

No Violations Noted

Handicapped Shower

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Soap scum on floor and walls

Offices

No Violations Noted

Dental

No Violations Noted

Medical Trailer

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Intake

Property Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Small Property Room

No Violations Noted

Inmate Records

No Violations Noted

Changing Room

No Violations Noted

Shower

No Violations Noted

Large Holding Cell

No Violations Noted

Booking Area

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Wall vent dusty

Holding Cells

No Violations Noted

Offices

No Violations Noted

Maintenance Department

Bathroom

No Violations Noted

Break Room

No Violations Noted

Carpenter’s Shop

No Violations Noted

Boiler Room

No Violations Noted

DEDHAM ALTERNATIVE CENTER

Second Floor

South Wing

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Light shield damaged in cell # 31

105 CMR 451.353	Interior Maintenance: Light shield damaged in cell #27

105 CMR 451.353	Interior Maintenance: Baseboard damaged in cell # 27

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-3

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1-3

105 CMR 451.123*	Maintenance: Mold observed on tile grout in shower # 1-3

105 CMR 451.123	Maintenance: Hand dryer out-of-order

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

North Wing

Main Area

No Violations Noted

Offices

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

First Floor

South Wing

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Bathroom	Unable to Inspect Shower # 3 – In Use

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.123*	Maintenance: Handwash sink rusted around faucet

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking at shower # 2

105 CMR 451.123	Maintenance: Hand dryer out-of-order

105 CMR 451.123	Maintenance: Mold observed on handicapped shower bench

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 1

North Wing

Main Area

No Violations Noted

Offices

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

MAIN AREA

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, ice machine out-of-order

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, gaskets damaged on left side refrigerator

Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Bathroom

No Violations Noted

Laundry Room

No Violations Noted

Laundry Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing at slop sink

Gym Area

No Violations Noted

Classroom

No Violations Noted

GARAGE

No Violations Noted

Garage Area Bathroom

No Violations Noted

Office Bathroom

No Violations Noted

Observations and Recommendations

- The inmate population was 487 at the time of inspection.

- At the time of inspection, House 3 in the Norfolk County House of Correction was closed and not housing inmates.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services	(electronic copy)

Carol A. Mici, Acting Commissioner, DOC					(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit		(electronic copy)

Michael Harris, Superintendent							(electronic copy)

Sergeant Dave Munchbach, EHSO						(electronic copy)

Paul Tolson, EHSO								(electronic copy)

Catherine Cardinale, RS, Health Director, Dedham Board of Health		(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate