The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center Road, Northampton, MA 01060

Phone: 413-586-7525 Fax: 413-784-1037

TTY 800-769-9991

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

February 25, 2019

Kristine Ladouceur, Superintendent

NCCI Gardner

500 Old Colony Road

Gardner, MA 01440	(electronic copy)

Re: Facility Inspection – NCCI Gardner

Dear Superintendent Ladouceur:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and          105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the NCCI Gardner on February 5, 6, and 7, 2019 accompanied by

Paul Trainque, Environmental Health and Safety Officer, Maurice Campbell, Environmental Health and Safety Officer, and Patrick Wallace, Community Sanitation Program. Violations noted during the inspection are listed below including 257 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

C BUILDING

Lobby

Female Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Vending Machine Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, vending machine tray dirty

Basement – Outside

Storage Area (near elevator)

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Treasurer’s Office

No Violations Noted

2nd Floor – Outside

Conference Room

No Violations Noted

Hallway (near elevator)

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Administration

No Violations Noted

Superintendent’s Office

105 CMR 451.353	Interior Maintenance: Ceiling water stained

Superintendent’s Conference Room

No Violations Noted

Superintendent’s Bathroom

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Control

Break Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Bathroom

No Violations Noted

Trap – Inside

No Violations Noted

Staff Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Basement – Inside

Hallway (near inmate refrigerator)

105 CMR 451.200*	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, single service utensils not stored in the inverted position

Cell # 1

No Violations Noted

Cell # 2

No Violations Noted

Booking

No Violations Noted

Male Staff Bathroom

No Violations Noted

Slop Sink/Urinal

No Violations Noted

Training Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Property # 52A

No Violations Noted

1st Floor

Roll Call Room

No Violations Noted

Offices

No Violations Noted

Records Room

No Violations Noted

Female Staff Bathroom

No Violations Noted

CPO Offices

No Violations Noted

Slop Sink

No Violations Noted

2nd Floor

Offices

No Violations Noted

Conference Room

Unable to Inspect – Locked

Janitor’s Closet

No Violations Noted

Bathroom # 26

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 730F

Break Room

No Violations Noted

Offices

No Violations Noted

THOMPSON HALL

Basement

Property

No Violations Noted

Staff Bathroom

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Long Term Storage

No Violations Noted

Legal Storage Area

No Violations Noted

Hallway

No Violations Noted

Inmate Bathroom

No Violations Noted

Mop Room

No Violations Noted

Biohazard Storage

No Violations Noted

Recycling Storage Room

No Violations Noted

1st Floor

Staff Area

No Violations Noted

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

Slop Sink Room # 26

No Violations Noted

Ice Machine Room # 21

Unable to Inspect – Not Used

Medline Room (medication room)

No Violations Noted

South Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 141

Bathroom 	                          Unable to Inspect Shower # 1 – In Use

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 3

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 2 and 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 4

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 2

105 CMR 451.123*	Maintenance: Wall vent dusty

Day Room

No Violations Noted

North Wing

Mop Closet # 29

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Buffer Room # 27

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Bathroom 	Unable to Inspect Shower # 5 – No Longer Used

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Wall tiles missing

105 CMR 451.123	Maintenance: Floor tiles missing

105 CMR 451.123	Maintenance: Floor drain covers not secure in shower # 1-4 and near toilet

Day Room and Offices

No Violations Noted

T-R.H.U. – 1st Floor

Control

No Violations Noted

Control Bathroom

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 1 and 5

Shower

105 CMR 451.123	Maintenance: Floor paint damaged outside shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Soap scum on floor in shower

Slop Sink

105 CMR 451.353	Interior Maintenance: Wall damaged near mop basin

T-R.H.U. – 2nd Floor

Control

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Control Bathroom

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1

Shower

105 CMR 451.123	Maintenance: Floor paint damaged outside shower

105 CMR 451.123	Maintenance: Wall tiles missing

Slop Sink

No Violations Noted

H.S.U.

Slop Sink Room # 23

No Violations Noted

Maintenance Closet # 26

No Violations Noted

Exam Room # 1(X-Ray Processing)

105 CMR 451.353	Interior Maintenance: Chair padding damaged

Interview Room (located within Exam Room # 1)

No Violations Noted

Male Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Exam Room # 2

No Violations Noted

Male Bathroom (located within Exam Room # 2)

Unable to Inspect –In Use

Exam Room # 3 (Trauma/Treatment Room)

No Violations Noted

Exam Room # 4

No Violations Noted

Exam Room # 5

No Violations Noted

Cells A and B

No Violations Noted

Medical Records

No Violations Noted

Ward

No Violations Noted

Ward Bathroom

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

Sharps Room

No Violations Noted

Break Room # 23

No Violations Noted

Dentist’s Office

No Violations Noted

Ambulance Hallway

No Violations Noted

Exam Room # 7

No Violations Noted

Female Staff Bathroom

No Violations Noted

Office Room # 30

No Violations Noted

Slop Sink Closet

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

105 CMR 451.353*	Interior Maintenance: Wall damaged near sink basin

Thompson Hall – 2nd Floor

Staff Area

No Violations Noted

Staff Bathroom

No Violations Noted

Mental Health Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Mental Health Staff Bathroom

105 CMR 451.123                      Maintenance: Light shield missing

South Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Floor tiles damaged outside cell # 236

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 246

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4 and 5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 4 and 5

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1-5

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Floor drain covers not secure in shower # 1, 2, 3, and near toilet

105 CMR 451.123	Maintenance: Floor drain covers not secure in shower # 4 and 5

Day Room

No Violations Noted

East Wing

Hallway

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Slop Sink # 11

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Slop Sink # 14

105 CMR 451.353	Interior Maintenance: Faucet not secured to wall

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Showers

105 CMR 451.123	Maintenance: Floor damaged in shower # 1

105 CMR 451.123*	Maintenance: Wall tiles damaged in shower # 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123		Maintenance: Floor drain cover not secure in shower # 1, 2, 3, and 4

105 CMR 451.123*		Maintenance: Floor drain cover not secure outside shower # 3

Day Room

No Violations Noted

North Wing

Janitor’s Closet # 2-15

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Wall tiles damaged

105 CMR 451.353*		Interior Maintenance: Ceiling tiles missing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*		Interior Maintenance: Floor tiles damaged in cell # 211 and 219

Shower

105 CMR 451.123	Maintenance: Walls damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 4, and 5

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1-5

105 CMR 451.123	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Floor drain covers not secure in shower # 1-5 and near toilet

Day Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

Thompson Hall – 3rd Floor

Staff Area

No Violations Noted

Staff Bathroom

No Violations Noted

Dorm Area

105 CMR 451.320	Cell Size: Inadequate floor space in all cells

Inmate Bathroom

105 CMR 451.121(A)	Privacy: No privacy partition between toilets and handwash sink

South Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Showers			Unable to Inspect Shower # 2 – In Use

105 CMR 451.123		Maintenance: Wall damaged in shower # 5

105 CMR 451.123*	Maintenance: Wall damaged in shower # 1, 3, and 4

105 CMR 451.123	Maintenance: Floor damaged in shower # 5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 3, 4, and 5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1, 3, 4, and 5

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Floor drain covers not secure in shower # 5

105 CMR 451.123*	Maintenance: Floor drain covers not secure in shower # 1, 3, 4, and near toilet

Day Room

No Violations Noted

East Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 363

Slop Sink Room # 12

No Violations Noted

Hallway

105 CMR 451.350	Structural Maintenance: Ceiling damaged outside Slop Sink Room # 12

Mop room # 15

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Buffer Room # 14

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Wall tiles damaged in shower # 1

105 CMR 451.123*	Maintenance: Wall tiles damaged in shower # 2 and 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1-4

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1-4

105 CMR 451.123	Maintenance: Floor drain covers not secure in shower # 3

105 CMR 451.123*	Maintenance: Floor drain covers not secure in shower # 2, 4, and near toilet

Day Room

No Violations Noted

Office # 2

No Violations Noted

Office # 3

No Violations Noted

North Wing

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 2, 3, 4, and 5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 3, and 5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 4

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1, 2, 3, 4, and 5

105 CMR 451.123*	Maintenance: Floor drain covers not secure in shower # 1, 2, 3, 4, 5, and near toilet

Janitor’s Closet # 11

105 CMR 451.350*	Structural Maintenance: Wall damaged

Day Room

No Violations Noted

D Building

2nd Floor

Storage Closet

No Violations Noted

Operations Room

No Violations Noted

Male Staff Bathroom

No Violations Noted

Mop Closet

No Violations Noted

Administrative Assistant’s Office

No Violations Noted

Deputy Superintendent’s Office

No Violations Noted

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F at handwash sink

Holding Cell

No Violations Noted

IPS Office

No Violations Noted

1st Floor

Bathroom

No Violations Noted

Strip Room

No Violations Noted

Non-Contact Inmate Side

105 CMR 451.353                      Interior Maintenance: Light shield damaged

Inner-Control Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Inner-Control Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 860F at handwash sink

Visiting Room

No Violations Noted

Vending Room

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, expired food observed in vending machine

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Non-Contact Visitor’s Side

105 CMR 451.353*	Interior Maintenance: Countertop damaged

Male Visiting Bathroom

No Violations Noted

Female Visiting Bathroom

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

D Office

No Violations Noted

Staff Bathroom (near D Office)

No Violations Noted

Basement

Inmate Bathroom

No Violations Noted

Break Room

No Violations Noted

Staff Bathroom (located within Break Room)

No Violations Noted

Tool Crib

No Violations Noted

Plumbing Shop

No Violations Noted

Electrical Shop

No Violations Noted

Shop Area

No Violations Noted

Paint Room

No Violations Noted

E Building

2nd Floor

Classroom # 317

No Violations Noted

Classroom # 315

No Violations Noted

Offices

No Violations Noted

Room # 313

No Violations Noted

Room # 308

No Violations Noted

Room # 309

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Staff Bathroom # 305

105 CMR 451.123		Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 580F

Slop Sink Room # 303

No Violations Noted

1st Floor

Staff Bathroom # 204

105 CMR 451.123*	Maintenance: Window pane broken

Classrooms

No Violations Noted

Janitor’s Closet # 203

No Violations Noted

Offices

No Violations Noted

Inmate Bathroom # 205

105 CMR 451.350	Structural Maintenance: Window sill damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 590F at handwash sink

Officer’s Station/Staff Area # 213

No Violations Noted

Janitor’s Closet # 214

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Barber Shop Waiting Room

No Violations Noted

Barber Shop

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 850 F at handwash sink

Basement

Religious Chapels

No Violations Noted

Slop Sink # 108

No Violations Noted

Classroom # 101

No Violations Noted

Job Assignment Office

Unable to Inspect – Locked

Office # 115

No Violations Noted

F Building

2nd Floor

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, utensils not stored in the inverted position

Auxiliary Bathroom # 204

105 CMR 451.123*	Maintenance: Floor paint damaged

Staff Bathroom # 224

No Violations Noted

A Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

B Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

C Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

D Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Showers

Unable to Inspect – In Use

Bathroom

105 CMR 451.123	Maintenance: Seat missing on toilet # 1

Day Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

1st Floor

Office

No Violations Noted

Day Room

No Violations Noted

Shower

Unable to Inspect – In Use

Bathroom

105 CMR 451.123	Maintenance: Seat missing on toilet # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 2 leaking

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Auxiliary Bathroom # 204

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 2 leaking

A Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

B Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

C Dorm

105 CMR 451.350	Structural Maintenance: Window lock broken

D Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Staff Bathroom

No Violations Noted

Basement

Dog Bathroom

No Violations Noted

Bathroom # F-B05

No Violations Noted

NEADS Storage

No Violations Noted

Food Service Building

Inmate Dining Hall

No Violations Noted

East Bathroom # 15

No Violations Noted

West Bathroom # 13

No Violations Noted

Main Kitchen

Serving Line

No Violations Noted

West Tray Room

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Trays not stored in a self-draining position

East Tray Room

No Violations Noted

Hot and Cold Holding Area

No Violations Noted

Grille Area and 3-Compartment Sink

No Violations Noted

Kettle Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles water damaged

Food Prep Area/2-Compartment Sink

No Violations Noted

Food Prep Area

No Violations Noted

Single Compartment Sink (left)

No Violations Noted

2-Compartment Sink (right)

No Violations Noted

Dry Goods Storage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged near ice machine

Halal Cooler

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

under storage racks

Cooler # C1

No Violations Noted

Cooler # C2

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

under storage racks

Cooler # C3

No Violations Noted

Freezer # 1

No Violations Noted

Staff Office

No Violations Noted

Hallway/Stairway

No Violations Noted

Inmate Bathroom (rear of kitchen)

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 910F

Loading Dock

No Violations Noted

Pig Cooler

No Violations Noted

Staff Bathroom # 133

No Violations Noted

Staff Bathroom # 134

No Violations Noted

Barrel Washing Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, light shield damaged

Electrical Room

FC 3-305.12(E)*	Preventing Contamination from Premises: Food stored in an inappropriate location,

food stored in electrical room

Food Manager’s Office

Unable to Inspect – Locked

Slop Sink Room

No Violations Noted

Tool Room

No Violations Noted

Handwash Sink

No Violations Noted

Bakery

No Violations Noted

Dry Storage

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, scoop stored in sugar bin

Slop Sink (located within Dry Storage)

No Violations Noted

Cooler # 4

No Violations Noted

Culinary

Dry Goods

No Violations Noted

Handwash Sink

No Violations Noted

Dishwashing Station

No Violations Noted

Refrigerator

No Violations Noted

Handwash Sink

No Violations Noted

3-Compartment Sink

No Violations Noted

Stove Area

No Violations Noted

Mop Closet

No Violations Noted

Serving Line

FC 4-903.11(B)(2)	Protection of Clean Items, Storing: Utensils not stored in an inverted position

Dining Line

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1350F

Tool Room # 8

No Violations Noted

Wheel Chair Shop

Main Entrance

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Inmate Bathroom

105 CMR 451.123*	Maintenance: Light shield missing

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 990F at handwash sink

Machinery Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.350*	Structural Maintenance: Windows broken

Voc Ed Building

Main Area

No Violations Noted

Office

No Violations Noted

Garage

No Violations Noted

Inmate Bathroom

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink

Staff Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink fixture leaking

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Welding Shop

No Violations Noted

Laundry Building

105 CMR 451.350*	Structural Maintenance: Ceiling damaged throughout laundry area

Compressor Room

No Violations Noted

Office

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Handwash sink basin rusted at sink # 1-3

105 CMR 451.123	Maintenance: Urinal rusted

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Mattress Room

No Violations Noted

Linen Closet

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of ceiling

Staff Bathroom

No Violations Noted

Optical (within laundry building)

Inmate Bathroom

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 960F at handwash sink

Work Area

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 960F at handwash sink

Office

No Violations Noted

Music Bunker

Unable to Inspect – Closed

G Building

2nd Floor

Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Floor tile damaged near bunk # 2

Inmate Bathroom

105 CMR 451.123	Maintenance: Wet mop heads stored under sink

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Sink counter top damaged

105 CMR 451.123	Maintenance: Ceiling damaged

1st Floor

Control

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.141	Screens: Screens damaged throughout

105 CMR 451.353	Interior Maintenance: Floor tiles damaged throughout

Basement

Telephone Area

No Violations Noted

Tool Chest

No Violations Noted

Office

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Unfinished cement floor in shower # 6, 7, 8, 9, and 10

105 CMR 451.123	Maintenance: Curtain missing in shower # 10

105 CMR 451.123*	Maintenance: Curtain missing in shower # 6

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 7, 8, 9, and 10

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Drain cover missing in shower # 1, 2, 3, 4, 7, 8, 9, and 10

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 leaking

105 CMR 451.123	Maintenance: Wall vent dusty

I Building

East Side

Staff Bathroom

No Violations Noted

Office

No Violations Noted

Inmate Bathroom

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 3, and 6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 7

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 2, 3, 6, and 7

105 CMR 451.123	Maintenance: Ceiling light fixture rusted

105 CMR 451.123	Maintenance: Floor damaged outside showers near drain

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

Storage Closet

No Violations Noted

West Side

Control Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, interior of refrigerator damaged

Control Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

Sergeant’s Office

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor damaged near urinals

105 CMR 451.123	Maintenance: Drain cover not secure in mop basin

105 CMR 451.123	Maintenance: Wall damaged near mop basin

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 4, 5, and 6

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1, 2, 3, and 7

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 5 and 6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, and 7

105 CMR 451.123	Maintenance: Mold observed on ceiling

105 CMR 451.123	Maintenance: Ceiling light fixture rusted

105 CMR 451.123	Maintenance: Ceiling vent dusty

Dorm

No Violations Noted

Storage Closet

No Violations Noted

H Building

Basement

Telephone Room

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Office

No Violations Noted

Mop Room

No Violations Noted

Showers

105 CMR 451.126	Hot Water: Hot water temperature recorded at 840F at shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 7 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 out-of-order

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Floor paint damaged near sinks

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.123*	Maintenance: Shower walls moldy

105 CMR 451.123	Maintenance: Soap scum on curtain in shower

105 CMR 451.123	Maintenance: Shower walls rust stained

105 CMR 451.123	Maintenance: Ceiling paint peeling

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Ceiling ventilation grille rusted

1st Floor

Officer’s Station

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Floor damaged near exterior door

Staff Bathroom

No Violations Noted

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.141	Screens: Screen damaged near bunk # 24

Inmate Bathroom

105 CMR 451.123	Maintenance: Walls water stained

105 CMR 451.123*	Maintenance: Sink countertop damaged

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

2nd Floor

Officer’s Station

No Violations Noted

Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.141	Screens: Screen damaged near bunks 24 and 26

Inmate Bathroom

105 CMR 451.123	Maintenance: Floor damaged outside Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 3 leaking

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

105 CMR 451.123*	Maintenance: Wall vent dusty

New Gym

2nd Floor

Staff Bathroom

No Violations Noted

1st Floor

Mezzanine

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handles missing from water bubbler

Gym

No Violations Noted

Inmate Bathroom

No Violations Noted

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Canteen Storage

Unable to Inspect – Locked

Female Bathroom

Unable to Inspect – Locked

C.O.’s Office

No Violations Noted

Basement

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Optical Area

No Violations Noted

Inmate Bathroom

105 CMR 451.350	Structural Maintenance: Ceiling damaged over toilets

105 CMR 451.123	Maintenance: Wall paint damaged

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Janitor’s Closet

No Violations Noted

Room # B-12

No Violations Noted

Room # B-14

No Violations Noted

Tool Area # B-21

No Violations Noted

A Building

2nd Floor

CO’s Office

Unable to Inspect – Locked

Officer’s Station

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Showers 	Unable to Inspect Shower # 1 – In Use

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 3 out-of-order

Day Room

No Violations Noted

Slop Sink Room # 209

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Buffer Room # 212

No Violations Noted

Bathroom/Mop Room # 210

105 CMR 451.123	Maintenance: Wet mop improperly stored handle down

105 CMR 451.109	Toilet and Handwash Facilities: Handwash sink not located near toilet facilities

Staff Bathroom # 211

No Violations Noted

West Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

North Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

North Showers

105 CMR 451.123	Maintenance: Ceiling light fixture rusted

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Floor drain cover not secure

1st Floor

Officer’s Area

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, water cooler drip well dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator temperature recorded at 450F

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, utensils not stored in the inverted position

Sergeant’s Office

No Violations Noted

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 leaking

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.130	Hot Water: Shower water temperature recorded at 960F

Day Room

No Violations Noted

Slop Sink Closet # 110

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink not secure to wall

Mop Closet # 111

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Staff Bathroom # 112

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Tool Room # 113

No Violations Noted

North Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

North Showers 	Unable to Inspect Showers – In Use

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 3 damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 3 leaking

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Basement (unoccupied)

Unable to Inspect –Closed

B Building

1st Floor

Officer’s Area

No Violations Noted

Day Room

No Violations Noted

Staff Bathroom # 111

No Violations Noted

Slop Sink Closet # 110

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink faucet not secured to wall

Tool Room # 113

No Violations Noted

Old Bathroom # 112

No Violations Noted

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

105 CMR 451.123*	Maintenance: Tiles damaged on wall of group shower

105 CMR 451.123*	Maintenance: Tiles damaged on floor of group shower

2nd Floor

Officer’s Area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator temperature recorded at 450F

Slop Sink Room # 210

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353*	Interior Maintenance: Radiator cover missing

Staff Bathroom # 211

No Violations Noted

Slop Sink Closet # 212

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Buffer Room # 213

No Violations Noted

Day Room

No Violations Noted

East Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

South Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1, 2, and 5 out-of-order

105 CMR 451.123*	Maintenance: Ceiling ventilation fan dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink basin # 1-3 damaged

North Dorm

105 CMR 451.320*	Cell Size: Inadequate floor space in sleeping area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vents blocked

North Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 4 out-of-order

105 CMR 451.123	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling paint peeling in shower

105 CMR 451.123	Maintenance: Mold observed in wall grout

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F

Basement

Library

No Violations Noted

Law Library

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Inmate Bathroom

No Violations Noted

Mop Closet

No Violations Noted

Staff Bathroom

No Violations Noted

B.S.M.U.

Control

No Violations Noted

Staff Bathroom

Unable to Inspect – In Use

Cells

No Violations Noted

Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, left shower out-of-order

105 CMR 451.123*	Maintenance: Ceiling ventilation grille rusted

Day Room

No Violations Noted

Triage Room

No Violations Noted

Weight Room Building

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Padding damaged on several weight machines

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged around toilet

Laurel Building

Basement

No Violations Noted

Medication Room

Unable to Inspect – Locked

Bulk Chemical Storage

No Violations Noted

1st Floor

Offices

105 CMR 451.353	Interior Maintenance: Wall plaster damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Recreation Office # 108

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Staff Bathroom # 107

105 CMR 451.123	Maintenance: Handwash sink not draining

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Bathroom # 119

105 CMR 451.123*	Maintenance: Floor tiles damaged

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

2nd and 3rd Floor

Unable to Inspect – Decommissioned

Juniper Building

1st Floor

Lock Shop

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Wall damaged behind sink

Office and Storage

Unable to Inspect – Locked

2nd Floor

Break Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Tool Control

Unable to Inspect – Locked

Armory Office

No Violations Noted

Locust Building

3rd Floor

Bathroom

105 CMR 451.123	Maintenance: Wet mop stored in bucket

105 CMR 451.123*	Maintenance: Floor damaged in shower # 1 and 2

Room # 301

No Violations Noted

Room # 302

No Violations Noted

Room # 303

No Violations Noted

2nd Floor

Stairway

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower # 2 and 3

105 CMR 451.123	Maintenance: Wall vent rusted

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

105 CMR 451.123*	Maintenance: Floor damaged in shower # 2 and 3

Room # 201

No Violations Noted

Room # 202

No Violations Noted

Room # 203

No Violations Noted

Room # 204

No Violations Noted

Room # 205

No Violations Noted

Room # 206

No Violations Noted

1st Floor

Day Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, utensils not stored in the inverted position

Office

No Violations Noted

Medical Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven damaged

Bathroom (inside medical office)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink faucet leaking

Mop Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink fixture loose

105 CMR 451.123*	Maintenance: Window crank handle missing

Kitchen

Main Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, unfinished wood exposed on floor to the right of handwash sink

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and

vermin tight.

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent dropping observed near handwash sink

Handwash Sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1010F

3-Compartment Sink

No Violations Noted

Dry Storage

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

Tool Storage

No Violations Noted

Basement

Ice Machine

No Violations Noted

Laundry Area

No Violations Noted

Storage Area

No Violations Noted

Assembly Building

Entrance

No Violations Noted

Auditorium

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Basement

Front Entrance

No Violations Noted

Rear Entrance

No Violations Noted

Bathroom

No Violations Noted

Mail Room

Unable to Inspect – Locked

Mail Room Bathroom

Unable to Inspect – Locked

Weight Room

No Violations Noted

Store House

2nd Floor

No Violations Noted

1st Floor

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 740F at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal out-of-order

105 CMR 451.123*	Maintenance: Floor paint damaged

Receiving Area

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Loading dock damaged

Cooler # 1

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, door gasket damaged

Locust Dry Storage

No Violations Noted

Dry Storage

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor paint damaged

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, ceiling damaged

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily cleanable, wall paint damaged

Freezer # 1

No Violations Noted

Freezer # 2

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

Freezer # 3

No Violations Noted

Culinary Freezer

No Violations Noted

Staff Bathroom

No Violations Noted

Break Area

No Violations Noted

Basement

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

Bathroom

Unable to Inspect –Not Used

Carpenter Shop

Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Break Area

No Violations Noted

2nd Floor

Staff Gym

No Violations Noted

Male Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 990F

Female Bathroom

No Violations Noted

Male Shower

No Violations Noted

Female Shower

No Violations Noted

Power Plant

Back Room/Chemical Storage

No Violations Noted

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 710F at handwash sink

105 CMR 451.123	Maintenance: Shower dirty

Water Sampling Sink (outside bathroom)

No Violations Noted

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, large refrigerator temperature recorded at 560F

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, small refrigerator door gasket damaged

Generator Room

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

Garage

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, interior of refrigerator dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Shower

No Violations Noted

“Pig” Cooler

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold observed throughout area

Tower # 1

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 610F

105 CMR 451.353*	Interior Maintenance: Baseboard heater damaged

Tower # 5

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F

Post # 6

Unable to Inspect– Decommissioned

Vehicle Trap Tower

1st Floor

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged

105 CMR 451.123*	Maintenance: Sink basin cracked

105 CMR 451.123	Maintenance: Ceiling paint peeling

3rd Floor

105 CMR 451.350*	Structural Maintenance: Window damaged

105 CMR 451.353*	Interior Maintenance: Counter top damaged

Vehicle Trap Gate House

No Violations Noted

Observations and Recommendations

- The inmate population was 970 at the time of inspection.

- At the time of the inspection the Special Management Unit (B.S.M.U.) located in the B-building was closed. Operations were moved to the Restrictive Housing Unit (T-R.H.U.) located in Thompson Hall.

- The Department recommends that the facility install a partition between toilet # 1 and the handwash sink in the Thompson Hall 3rd Floor Dorm Bathroom.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Scott Koczela														Environmental Analyst, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Karen Dinardo, Assistant Superintendent 					(electronic copy)

Mark Richmond, Director of Security 						(electronic copy)

Paul Trainque, EHSO								(electronic copy)

Maurice Campbell, EHSO 							(electronic copy)

Jennifer Susen-Roy, Health Director, Gardner Health Department		(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate