The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA 01060

Telephone 413 586-7525, ext. 3167

Facsimile 413 784-1037

TTY 800 769-9991

charlie.kaniecki@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

July 2, 2012

Christine Verdini, Acting Superintendent

NCCI Gardner

P.O. Box 466

Gardner, MA 01440

Re: Facility Inspection

Dear Superintendent Verdini:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of NCCI Gardner on June 18, 19 and 20, 2012 accompanied by William Homans, EHSO and Peter Wheeler of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

ADMINISTRATION BUILDING

Lobby

Female Bathroom

105 CMR 451.353		Interior Maintenance: Floor dirty

Male Bathroom

No Violations Noted

Vending Area

No Violations Noted

Basement - Outside

Storage Area by Elevator

105 CMR 451.350		Structural Maintenance: Ceiling damaged, water leak

105 CMR 451.344		Illumination in Habitable Areas: Inadequate lighting, light not operable

105 CMR 451.331		Radiators and Heating Pipes: Pipes not insulated properly

105 CMR 451.353		Interior Maintenance: Baseboard damaged

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Male Bathroom

105 CMR 451.350	Structural Maintenance: Wall damaged by sink

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light missing blubs

105 CMR 451.130	Plumbing: No backflow preventer on threaded faucet

Female Bathroom

105 CMR 451.123*	Maintenance: Missing light shields

Treasurers Office

No Violations Noted

2nd Floor

Superintendents Office

No Violations Noted

Hallway by Elevator

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Missing light shield

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Administration

No Violations Noted

Trap (inside)

Staff Area C-Gate

105 CMR 451.380	Access to Exits: Source of egress obstructed: Desk and chair placed at top of stairway

landing

Basement

Cell 21

No Violations Noted

Cell 20

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

Booking

105 CMR 451.353*	Interior Maintenance: Missing light cover

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Male Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1010F

105 CMR 451.123*	Maintenance: Hole in wall

Slop Sink/Urinal

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1030F

105 CMR 451.346                      Safe Wiring: Use of extension cord as temporary wiring, through wall to operate a

Dehumidifier

Training Area

Unable to Inspect – Locked

1st. Floor

Role Call Room

105 CMR 451.350	Structural Maintenance: Floor damaged by stairs

105 CMR 451.350	Structural Maintenance: Floor damaged in room

105 CMR 451.353	Interior Maintenance: Peeling paint on ceiling beams

Offices

No Violations Noted

Conference Room

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Missing light shield

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Bathroom 26

No Violations Noted

Hallway (offices) 35

No Violations Noted

Parole Office Hallway

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not working properly, two lights

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on 	fire safety, fire doors not self closing

Room C2-20

105 CMR 451.353	Interior Maintenance: Door handle damaged

THOMPSON HALL – 1st Floor

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Staff Area T-1

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

105 CMR 451.123	Maintenance: Bubbler dirty

105 CMR 451.123	Maintenance: Chair seat ripped

105 CMR 451.353	Interior Maintenance: Chemicals stored on floor

Slop Sink Room

No Violations Noted

Basement

Property

Unable to Inspect – Locked

Staff Bathroom

Unable to Inspect – Locked

Slop Sink Room

Unable to Inspect – Locked

L.T.S

Unable to Inspect – Locked

Elevator Room

No Violations Noted

Biohazard Storage

No Violations Noted

Hallway

No Violations Noted

Med Line

Unable to Inspect – Locked

Room 8

No Violations Noted

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Walls dirty

South Wing

Cells

105 CMR 451.353	Interior Maintenance: Missing light shield in cell # 154

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 139 & 145

105 CMR 451.353	Interior Maintenance: Circuits overloaded in cell # 154

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall tiles damaged

Day Room

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Ceiling damaged, not smooth to clean near south window

105 CMR 451.350	Structural Maintenance: Windows damaged

105 CMR 451.350	Structural Maintenance: Table bolted to floor, bolts protruding

North Wing

Cells

105 CMR 451.353	Interior Maintenance: Missing light cover in cell # 107

105 CMR 451.350	Structural Maintenance: Windows damaged in cell # 117

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.350	Structural Maintenance: Door to hallway damaged

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Wall tiles damaged

Day Room

105 CMR 451.141	Screens: Screens do not fit window opening

Storage (Room 29)

105 CMR 451.353	Interior Maintenance: Missing light

S.M.U (1st Floor)

Office Area

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Cells

105 CMR 451.350	Structural Maintenance: Walls damaged in cell # 3, 4 & 5

105 CMR 451.103	Mattresses: Mattress damaged in cell # 4

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 2

105 CMR 451.353	Interior Maintenance: Vent blocked in cell # 2

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Face plate loose

2nd Floor

Office Area

105 CMR 451.353	Interior Maintenance: Exposed wiring

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Conference room

No Violations Noted

Cells

No Violations Noted

Shower

105 CMR 451.350	Structural Maintenance: Wall damaged

H.S.U – 1st Floor

X-Ray Room 03

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Window damaged

105 CMR 451.353	Interior Maintenance: Examination chair arm rest ripped

Examine Room 2

No Violations Noted

Examine Room 3

105 CMR 451.353	Interior Maintenance: Window shade damaged

Dentist Office

No Violations Noted

Room 31

105 CMR 451.353*                    Interior Maintenance: Mop stored in bucket

105 CMR 480.100                      Bio Hazard Storage: Room door not locked

Room 30

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent blocked

Slop Sink Room (#26)

No Violations Noted

Inmate Bathroom with shower

105 CMR 451.350	Structural Maintenance: Wall damaged

Female Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

Break Room 23

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator door damaged

105 CMR 451.353	Interior Maintenance: Chair seat ripped

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Cell A & B

No Violations Noted

Ward

No Violations Noted

THOMPSON HALL – 2nd Floor

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Staff Area

105 CMR 451.350	Structural Maintenance: Window damaged

105 CMR 451.353	Interior Maintenance: Blocked vent

South Wing

Cells

105 CMR 451.353	Interior Maintenance: Missing light cover in cell # 240 & 250

105 CMR 451.350	Structural Maintenance: Walls damaged in cell # 245 & 254

105 CMR 451.353	Interior Maintenance: Paint peeling on walls in cells # 245 & 254

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 236

Showers

105 CMR 451.123	Maintenance: Peeling paint on walls

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Day Room

No Violations Noted

Hallway

105 CMR 451.350	Structural Maintenance: Window damaged

Slop Sink Room 214

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.350*	Structural Maintenance: Wall damaged

Supply Closet

No Violations Noted

East Wing

Cells

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 263

105 CMR 451.353	Interior Maintenance: Light bulb out in cell # 268

105 CMR 451.346                      Safe Wiring: Use of extension cord as temporary wiring in cell # 266

Showers

105 CMR 451.123*	Maintenance: Missing tiles

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.350	Structural Maintenance: Door vent damaged

Day Room

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Window damaged

North Wing

Slop Sink Room 15

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Missing light cover in cell # 208, 209 & 219

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 214

105 CMR 451.350	Structural Maintenance: Ceiling damaged cell # 209

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Day Room

105 CMR 451.141	Screens: Screens not fitting properly

THOMPSON HALL - 3rd Floor

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Staff Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Microwave oven not functioning properly

door damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1330F at bathroom sink

Inmate Bathroom

Unable to Inspect – In Use

Dorm Area

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Uncovered electrical outlet

South Wing

Cells

105 CMR 451.353*	Interior Maintenance: Missing light cover in cell # 347

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 337

Hallway

105 CMR 451.350*	Structural Maintenance: Ceiling tiles are water stained

Showers

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Tiles damaged

Day Room

105 CMR 451.141	Screens: Screen damaged, ripped

105 CMR 451.141	Screens: Screen not fitting windows

105 CMR 451.350	Structural Maintenance: Window damaged

East Wing

Cells

105 CMR 451.353	Interior Maintenance: Missing light covers in cell # 344, 350, 355 & 366

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 332

105 CMR 451.353	Interior Maintenance: Light shield damaged in cell # 351

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 366

105 CMR 451.123	Maintenance: Ceiling paint peeling in cell # 372

Showers

No Violations Noted

Hallway

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

Day Room

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vents in office #30 & 31 blocked

Slop Sink Room, door 15

105 CMR 451.353*	Interior Maintenance: Light bulb missing

North Wing

Cells

105 CMR 451.353	Interior Maintenance: Lights blocked in cell # 314 & 315

105 CMR 451.353	Interior Maintenance: Broken light cover in cell # 320

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell # 327

Showers

105 CMR 451.123*	Maintenance: Damaged tiles

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

Day Room

105 CMR 451.141	Screens: Screen damaged and missing

D BUILDING

2nd Floor

IPS Office

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in urine room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in hall

105 CMR 451.123	Maintenance: Chair back rest damaged

FC 4-904.11(B)	Protection of Clean Items, Storing: Knives/Forks/Spoons not presented to avoid

contamination

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 770F

Break Area

No Violations Noted

Holding Cell

105 CMR 451.353	Interior Maintenance: Wall not easily cleanable

105 CMR 451.353	Interior Maintenance: Ceiling stained

Male Bathroom

105 CMR 451.141*	Screens: Screen missing

D2-12

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Mop Storage

No Violations Noted

1st Floor

Visiting Female Bathroom

105 CMR 451.123*	Maintenance: Baseboards damaged

Room D109

No Violations Noted

Male Visiting Bathroom

105 CMR 451.123	Maintenance: Baseboards damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 850F

Vending Area

105 CMR 451.350	Structural Maintenance: Floor damaged

Hallway Non-Contact Side

105 CMR 451.353	Interior Maintenance: Damaged electrical outlet

Non-Contact (back room)

105 CMR 451.353	Interior Maintenance: Damaged light cover

North Room Visiting Area

105 CMR 451.353	Interior Maintenance: Damaged light cover

Strip Room

105 CMR 451.353	Interior Maintenance: Damaged light cover

D-Office

Unable to Inspect – Locked

Bathroom

105 CMR 451.123*	Maintenance: Baseboard damaged

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent missing cover

Break Room

No Violations Noted

Bathroom

No Violations Noted

Tool Crib

Unable to Inspect – Locked

Plumber Shop

FC 4-904.11(B)	Protection of Clean Items, Storing: Knives/Forks/Spoons not presented to avoid

contamination

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Shop Area

Unable to Inspect – Locked

Mop Room

Unable to Inspect – Locked

E BUILDING

105 CMR 451.360	Protective Measures: Bird nest/feces on side of building

2nd Floor

Rooms

105 CMR 451.141*	Screens: Screen missing in cell # 301

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 890F

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink not attached to wall or frame

1st Floor

Staff Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 sink leaking

Religious Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Inmate Bathroom

No Violations Noted

Barber Shop

No Violations Noted

Mop Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Officers Station

FC 4-904.11(B)	Protection of Clean Items, Storing: Knives/Forks/Spoons not presented to avoid

contamination

FC 4-501.11(A)	Maintenance and Operation, Equipment: Microwave oven not functioning properly

door damaged

Basement

105 CMR 451.353	Interior Maintenance: Missing face plate on electrical outlet

105 CMR 451.123	Maintenance: Large floor fan missing grounding plug

F BUILDING

2nd Floor

Office

FC 4-501.11(A)	Maintenance and Operation, Equipment: Refrigerator door gasket damaged

A Dorm

No Violations Noted

Showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower control handle missing

Staff Bathroom

No Violations Noted

D Dorm

No Violations Noted

C Dorm

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

Bathroom

No Violations Noted

F-204

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.109	Toilet and Handwash Facilities: Handwash sink not located near toilet facilities

Day Room

No Violations Noted

B Dorm

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

1st. Floor

Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Uncovered electrical junction box

A Dorm

105 CMR 451.353*	Interior Maintenance: Uncovered electrical junction box

D Dorm

No Violations Noted

C Dorm

105 CMR 451.353*	Interior Maintenance: Uncovered electrical junction box

105 CMR 451.353	Interior Maintenance: Ceiling damaged

Slop Sink F1-6

No Violations Noted

Day Room

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged

Bathroom

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Paint peeling on walls

Staff Bathroom

No Violations Noted

B Dorm

105 CMR 451.353*	Interior Maintenance: Uncovered electrical junction box

Hallway

105 CMR 451.353	Interior Maintenance: Uncovered electrical junction box

Basement

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.141*	Screens: Screen damaged/missing

Dog Bathroom

No Violations Noted

Bathroom (F-B05)

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

NEADS Storage

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

FOOD SERVICE

Dining Hall

East Bathroom 13

No Violations Noted

West Bathroom 15

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sewer gas from floor drain

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Main Kitchen

FC 4-903.12 (A)	Protection of Clean Items, Storing: Food product stored in an inappropriate location,

clothing stored in food prep area not allowed

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sink faucet leaking near potato peeler

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, 3 vent lights out

over kettle area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, water leak in area of kettle water control system

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor tiles missing

and damaged under kettle area

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Serving trays not stored in the inverted/self-

draining position

FC 4-501.114(A)	Maintenance and Operation; Equipment: Iodine Sanitizer solution tested less than

recommended concentration

Oven Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, 2 vent lights out

over oven area

FC 5-205.11(B)	Plumbing System, Operations and Maintenance: Handwashing sink used for an	unapproved purpose, washing dishes

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, hand wash sink faucet leaking

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, gasket damaged

on door of Traviser food warmer

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, grill damaged and out of service, it has been

placed on 4x4 wooden blocks which are not cleanable

FC 6-501.114(A)*	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, oven is out of service

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered, food uncovered in 2,500 warmer

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, bowel placed on

floor under support leg of pan rack to make it level

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, floor drain not draining near 3 bay sink

FC 4-903.11(A)	Protection of Clean Items, Storing: Clean items not stored in an 	appropriate location,

under dirty dishes near 3 bay sink

FC 6-501.11	Maintenance and Operation; Repairing: Door gasket damaged on Victory refrigerator

Bakery

FC 6-501.11	Maintenance and Operation; Repairing: Exposed wiring on dough rolling machine

Bakery Storage

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, damaged sink on floor

Meat Freezer (rear of cooler)

FC 6-501.11	Maintenance and Operation: Repairing, open electrical box

Middle Cooler

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulb missing in rear area

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food containers

Produce Cooler

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, excessive water on

floor

Dry Goods

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor tiles damaged

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food stored in an inappropriate location, food stored less than 6 inches from the floor in freezer

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.331	Radiators and Heating Pipes: Pipes not insulated properly

Inmate Bathroom

No Violations Noted

Loading Dock

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 7-101.11*	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled 	properly, original manufactures label missing

Pig Cooler

No Violations Noted

Barrel Washing Room

No Violations Noted

Electrical Room

105 CMR 451.350	Structural Maintenance:  Electrical pipe conduit rusting at floor line

Mop Closet 35

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

FC 7-101.11*	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled 	properly, original manufactures label missing

FC 6-501.14*	Maintenance and Operation; Cleaning: Ventilation Systems, vents dusty

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Office

No Violations Noted

Tool Crib

105 CMR 451.353	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Ceiling dirty

105 CMR 451.353	Interior Maintenance: Damaged extension cord

Bathroom (134)

No Violations Noted

East Tray Room

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, hole in ceiling

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily cleanable, wall under window dirty and damaged

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Dished not stored in the inverted/self-draining

position

West Tray Room

FC 6-501.14*	Maintenance and Operation; Cleaning: Ventilation Systems, fans dusty

FC 4-903.11(B)(1)*	Protection of Clean Items, Storing: Pots/Pans/Bowls not stored in the inverted position

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall damaged under the window

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields, 2 light shields damaged

Culinary

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, discontinued fire suppression system piping over range area remove, making area difficult to clean

105 CMR 451.123	Maintenance: Chair seat ripped

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, garbage disposal not working

Salad Bar

No Violations Noted

Dish Room

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, garbage disposal not working

FC 5-2020.13	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, Air gap between sprayer and flood rim of sinks is less than twice the diameter of the sprayers

Mop Closet

No Violations Noted

CHEMICAL/BULK STORAGE

1st Floor

105 CMR 451.350*	Structural Maintenance: Area not rodent and weather-tight

105 CMR 451.123	Maintenance: Exposed wiring at ceiling

105 CMR 451.331	Radiators and Heating Pipes: Pipes not insulated properly

105 CMR 451.123	Maintenance: Light damaged

Inmate Bathroom

No Violations Noted

Basement

No Violations Noted

Wood Shop (not in use)

No Violations Noted

VOC ED (Welding)

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Inmate Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Walls damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

LAUNDRY BUILDING

105 CMR 451.350*	Structural Maintenance: Area not rodent and weather-tight

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Office

105 CMR 451.123	Maintenance: Chair seat ripped

Bathroom

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350*	Structural Maintenance: Window broken

Mattress Room

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.353	Interior Maintenance: Uncovered electrical box

105 CMR 451.383(B)	Fire Safety System: Blankets piled with 18 inches of sprinklers

Optical

Inmate Bathroom

105 CMR 451.123*	Maintenance: Holes in wall

105 CMR 451.141	Screens: Screens missing in general work area

105 CMR 451.123	Maintenance: 6 plus chair seats ripped

Staff Bathroom

Unable to Inspect – In Use

Office

FC 4-602.12(B)		             Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

MUSIC BUNKER
	No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Missing light shield

G BUILDING

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

2nd Floor

Hallway

105 CMR 451.350	Structural Maintenance: Window damaged, covered with plywood

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.121(A)	Privacy: No privacy partition between toilets

Dorm

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Bathroom

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Missing light shield

1st Floor

Control

105 CMR 451.123	Maintenance: Chair seat ripped

Dorm

105 CMR 451.350*	Structural Maintenance: Window damaged by bed # 26

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Staff Bathroom

No Violations Noted

Basement

Showers

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

105 CMR 451.123*	Maintenance: Paint peeling around sink

105 CMR 451.123*	Maintenance: Showers missing drain covers

105 CMR 451.123*	Maintenance: Floor damaged by slop sink

Day Room

No Violations Noted

Heater Room

No Violations Noted

Storage Closet

105 CMR 451.350	Structural Maintenance: Floor damaged tiles

I BUILDING

East

Control

No Violations Noted

Inmate Bathroom

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in showers

Dorm

No Violations Noted

West

Control

No Violations Noted

Inmate Bathroom

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in showers

Dorm

No Violations Noted

H BUILDING

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

2nd Floor

Stair well

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Dorm

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Bathroom

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

1st Floor

Control

105 CMR 451.123	Maintenance: Chair seat ripped

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator damaged

Dorm

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Unfinished wall

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.123*	Maintenance: Ceiling damaged

Staff Bathroom

No Violations Noted

Out Side Stairway

105 CMR 451.350	Structural Maintenance: Stairway pulling away from building 6 inches

105 CMR 451.350	Structural Maintenance: Support post decayed

Basement

Showers

Unable to Inspect – In Use

NEW GYM

Mezzanine 2nd Floor

Staff Bathroom 202

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

1st Floor

Inmate Bathroom

No Violations Noted

Bubbler

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler missing control handle

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint peeling

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water not working on 1st sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Female Staff Bathroom

Unable to Inspect – In Use

C.O’s Office

105 CMR 451.353	Interior Maintenance: Glass damaged on front of fire alarm control

105 CMR 451.123	Maintenance: Chair seat ripped

Basement

No Violations Noted

Optical Area

105 CMR 451.353*	Interior Maintenance: Bubblers broken

105 CMR 451.123	Maintenance: Large floor fan missing ground plug

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling paint peeling in hallway

Inmate Bathroom (left)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 urinal out of order

Inmate Bathroom (right)

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 sink not working

105 CMR 451.123	Maintenance: Floor tiles damaged

Mop Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Tool Area

105 CMR 451.350*	Structural Maintenance: Hole in ceiling

Mechanical Room

No Violations Noted

WEIGHT GYM 
105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.141	Screens: Screens missing

105 CMR 451.123	Maintenance: Light switch not attached to wall

105 CMR 451.123	Maintenance: Electrical outlet missing face cover

105 CMR 451.350	Structural Maintenance: Door thresholds damaged

105 CMR 451.123	Maintenance: Cushions and seat ripped on a number of equipment

Bathroom

No Violations Noted

A BUILDING

Officer’s Area

105 CMR 451.123	Maintenance: Chair seat ripped

105 CMR 451.353	Interior Maintenance: Floor tiles missing

2nd Floor

South Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

105 CMR 451.103	Mattresses: Mattress damaged in cell # 7

105 CMR 451.101	Blankets: Blanket damaged in cell # 12

South Showers

Unable to Inspect – Under Construction

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink loose from wall

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Bathroom/Mop Room

105 CMR 451.141*	Screens: Screen damaged/missing

Staff Bathroom

105 CMR 451.141*	Screens: Screen damaged

Day Room

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

West Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, blocked vent

North Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

North Showers

No Violations Noted

1st Floor

Officer’s Area

105 CMR 451.123	Maintenance: 3 Chair seats ripped

105 CMR 451.353	Interior Maintenance: Chemicals stored on floor

South Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.103*	Mattresses: Mattress damaged on bed # 16

105 CMR 451.103	Mattresses: Mattress damaged on bed # 22

South Showers

Unable to Inspect – Under Construction

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Bathroom/Mop Room 11

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.353*	Interior Maintenance: Missing vent cover

105 CMR 451.353	Interior Maintenance: Sink out of order

Staff Bathroom

No Violations Noted

Day Room

105 CMR 451.123	Maintenance: Large floor fan missing grounding plug

105 CMR 451.123	Maintenance: Large floor fan missing protective center cover

North Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353	Interior Maintenance: Ceiling dirty

North Shower

105 CMR 451.121(A)	Privacy: No privacy partition between toilets/showers

105 CMR 451.353	Interior Maintenance: Ceiling vent damaged

CRA Basement

Staff Bathroom

105 CMR 451.123	Maintenance: Paint peeling

B BUILDING

105 CMR 451.350*	Structural Maintenance: Roof is in poor condition, shingles are damaged and not secure to roof

105 CMR 451.350	Structural Maintenance: Bricks need re-pointing

B-3 3rd Floor

Officer’s Area

No Violations Noted

Day room

105 CMR 451.141	Screens: Screen missing

105 CMR 451.353	Interior Maintenance: Uncovered electrical box

B-2 2nd Floor

Officer’s Area

105 CMR 451.123	Maintenance: Chair seats ripped

105 CMR 451.123	Maintenance: Window pane damaged

Slop Sink

No Violations Noted

Inmate Bathroom

No Violations Noted

Center Dorm

No Violations Noted

South Dorm

105 CMR 451.350	Structural Maintenance: Roof leaking in 2 man room

South Bathroom

105 CMR 451.123	Maintenance: Partitions rusted by floor

105 CMR 451.353	Interior Maintenance: Ceiling dirty

North Dorm

105 CMR 451.350	Structural Maintenance: Roof leaking in 2 man room

105 CMR 451.353	Interior Maintenance: Lights blocked

105 CMR 451.101	Blankets: Blanket damaged in cell # 13 & 26

Inmate Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

B-1 1st Floor

Officer’s Area

105 CMR 451.123	Maintenance: Chairs seats ripped

105 CMR 451.123	Maintenance: Table top damaged

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Bathroom & Storage 12

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Dayroom

105 CMR 451.141	Screens: Screen missing

Dorm

105 CMR 451.101	Blankets: Blanket damaged on bed # 21

B.S.M.U

Control

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Staff Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower missing control handle

Day Room

105 CMR 451.350*	Structural Maintenance: Ceiling bubbling

105 CMR 451.353	Interior Maintenance: Uncovered electrical box

Triage Room

No Violations Noted

Basement

Library

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Bathroom

No Violations Noted

Mop Closet

105 CMR 451.353*	Interior Maintenance: Missing light covers

Staff Bathroom

No Violations Noted

LAUREL BUILDING
105 CMR 451.350*	Structural Maintenance: Exterior brickwork needs pointing

3rd Floor Not In Use

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.350*	Structural Maintenance: Ceiling water stained

105 CMR 451.350	Structural Maintenance: Wall damaged throughout floor

105 CMR 451.141	Screens: Screens missing throughout floor

2nd Floor

105 CMR 451.350*	Structural Maintenance: Wall and floor damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

1st Floor

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

CRA Office Bathroom

Unable to Inspect – Locked

Office 125

105 CMR 451.350*	Structural Maintenance: Wall damaged

Basement

105 CMR 451.350*	Structural Maintenance: Area not rodent and weather-tight

Recycling Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Bathroom

No Violations Noted

Canteen Area

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Missing light shields

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Needs overall general cleaning

Elevator Room

No Violations Noted

STORE HOUSE

2nd Floor

No Violations Noted

1st Floor

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 980F

Staff Bathroom

105 CMR 451.126	Hot Water: No hot water

Receiving

No Violations Noted

Cooler 1

FC 6-501.11*	Maintenance and Operation; Repairing: Equipment not in good repair, ceiling damaged

FC 3-305.11(A)(2)*		Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 3-701.11(A)	             Contaminated Food, Disposition: Unsafe, adulterated, or not honestly

presented food not properly reconditioned or discarded spoiled celery

FC 4-903.11(A)(3)	              Protection of Clean Items, Storing: Food boxes on floor not stored 6” off the

floor

Cooler 2

FC 6-501.11*	Maintenance and Operation; Repairing: Equipment not in good repair, wall paint peeling

FC 6-201.11*	Floors, Walls and Ceilings: Ceiling not easily cleanable, ceiling damaged

Cooler 3

Not In Use

Cooler 4

FC 6-201.11*	Floors, Walls and Ceilings: Walls not easily cleanable, wall paint peeling

FC 6-201.11*	Floors, Walls and Ceilings: Ceiling not easily cleanable, ceiling paint peeling

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, fan dusty

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, damaged

Freezer 6

No Violations Noted

Freezer 1, 2 & 4

Old-Not In Use

Freezer 5

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, emergency door exit missing

Culinary Freezer

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered

105 CMR 451.353	Interior Maintenance: Exposed wiring

Basement

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.353	Interior Maintenance: Ceiling damaged

CARPENTER SHOP

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 650F

General Area

105 CMR 451.353	Interior Maintenance: Light not attached to electrical box

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on

high pressure gas tanks not secured

POWER PLANT

Bathroom

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1420F

105 CMR 451.353	Interior Maintenance: Floor drain damaged

Break Room

105 CMR 451.353	Interior Maintenance: Floor drain damaged

GARAGE

105 CMR 451.123	Maintenance: 3 chair seats ripped

FC 4-602.12(B) 		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

GARBAGE COOLER

FC 4-501.11(A)	*		Maintenance and Operation, Equipment: Equipment not maintained in a state of good 				repair, door doesn’t stay shut

105 CMR 451.353	Interior Maintenance: Missing light cover

LOCUST BUILDING
105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Bathroom

105 CMR 451.121(A)		Privacy: No privacy partition between toilets/showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower control handle missing

105 CMR 451.123          	Maintenance: Ceiling fan damaged

Room 302

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Room 303

105 CMR 451.350		Structural Maintenance: Wall damaged

2nd Floor

Bathroom

105 CMR 451.123	Maintenance: Shower 1, wall damaged

105 CMR 451.123	Maintenance: Shower 2, floor damaged

105 CMR 451.123          	Maintenance: Ceiling fan damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no cold water to hand sink

Room 202 & 203

105 CMR 451.353	Interior Maintenance: Exposed electrical box

1st Floor

Office

No Violations Noted

Staff Bathroom

No Violations Noted

Day Room

105 CMR 451.350*	Structural Maintenance: Cardboard over window

105 CMR 451.141*	Screens: Screen missing next to A.C.

Mop Closet

No Violations Noted

Bathroom

No Violations Noted

Kitchen

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Missing vent cover above the kettle

Dry Storage (not used)

Unable to Access

Basement

105 CMR 451.331		Radiators and Heating Pipes: Pipes not insulated properly

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, ice machine leaking

105 CMR 451.141	Screens: Ripped

105 CMR 451.123	Maintenance: Barber chair seat ripped

TOWER 1

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.141*	Screens: Screens missing

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged & broken handle

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

POST # 6

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, microwave damaged

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Heater baseboard damaged

105 CMR 451.126	Hot Water: No hot water

105 CMR 451.353	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Wall dirty

105 CMR 451.360	Protective Measures: Decaying animal under building

VEHICLE TRAP - TOWER

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

105 CMR 451.350*	Structural Maintenance: Ceiling rusted/rotted out

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.353	Interior Maintenance: Dirty, flies inside light fixture

105 CMR 451.123	Maintenance: Exterior handrail peeling paint

Side Bathroom - Down

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

Office – Down

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350*	Structural Maintenance: Floor damaged

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Floor dirty

TOWER 5

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.123*	Maintenance: Toilet cracked

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

JUNIPER BUILDING

Lock Shop

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, microwave damaged

FC 4-602.12(B) 		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.123	Maintenance: Missing light shields

1st floor

Offices & Storage

No Violations Noted

2nd floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, open sewer line to old sink

ASSEMBLY BUILDING

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.123	Maintenance: Large floor fan missing grounding plug

105 CMR 451.350	Structural Maintenance: Windows damaged

Women’s Room

No Violations Noted

Men’s Room

No Violations Noted

Basement

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.350	Structural Maintenance:  Dirt floor not cleanable

Observations and Recommendations

- The inmate population was 1025 at the time of inspection

- The Department recommends that the sanitizer that is used in the kitchen be changed to either a quaternary solution or a bleach solution. The iodine solution that is currently used makes it very difficult to determine if the sanitizer is clean or dirty.

- West Tray Room dishwasher not functioning properly, shut down until repaired.

- The Department recommends that drying racks be purchased to ensure the dishes are thoroughly dried

- The Department has a waiver on record concerning: 105 CMR 451.110(A) approved 4.6.1998, toilet paper & paper towels.

- The Department recognized the discoloration of the water in the facility.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Charles Kaniecki

District Health Officer, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

William Homans, EHSO

Gardner Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS