The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Climate and Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 508-665-3251

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

October 3, 2023

Joann Lynds, Superintendent

MCI Concord

965 Elm Street

P.O. Box 9106

Concord, MA 01742			(electronic copy)

Re: Facility Inspection – Northeastern Correctional Center

Dear Superintendent Lynds:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Northeastern Correctional Center on September 28, 2023 accompanied by Sergeant Michael Franco. Violations noted during the inspection are listed below including 136 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Sara Wolanski

Environmental Health Inspector, CSP, BCEH

cc: 	Robert Goldstein, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services 		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

Sergeant Michael Franco								(electronic copy)

Melanie Dineen, Public Health Director, Concord Board of Health			 (electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

GRALTON HALL

Entrance

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Bottom of door frame rotted

Lobby

No Violations Noted

Control

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Library

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Zoom Room

Unable to Inspect – Locked

Records

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Pre Release Office

No Violations Noted

Day Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, exterior of ice machine rusted

WEST UP

Female Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent not secured

Inmate Bathroom

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Floor damaged in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Water control shroud missing in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 out-of-order

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 141

105 CMR 451.350	Structural Maintenance: Floor paint damaged in cell # 143, 144, and 149

Hallway

105 CMR 451.353	Interior Maintenance: Light shields missing with some bulbs not shatter resistant

Work Release Office # 152

No Violations Noted

Phone Room # 121

Unable to Inspect – Locked

WEST DOWN

Hallway

105 CMR 451.124*	Water Supply: Insufficient water supply in quantity and pressure at water fountain

105 CMR 451.353	Interior Maintenance: Light shields missing with some bulbs not shatter resistant

Male Staff Bathroom

105 CMR 451.123	Maintenance: Toilet dirty

Inmate Bathroom

Unable to Inspect Showers –Under Construction

Cells

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 124

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 124

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 120, 121, and 126

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 125

CPO Office # 118

No Violations Noted

NEADS Storage # 119

105 CMR 451.353	Interior Maintenance: Floor damaged at entrance

EAST UP

Hallway

105 CMR 451.353	Interior Maintenance: Light shields missing with some bulbs not shatter resistant

105 CMR 451.353	Interior Maintenance: Ceiling vent not secured

Mail Room

Unable to Inspect – Locked

Janitor’s Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1270F in shower # 3

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Wall damaged in shower # 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 2 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 out-of-order

105 CMR 451.123	Maintenance: Ceiling vent cover missing by showers

105 CMR 451.130	Hot Water: Handwash sink water temperature recorded at 1330F at handwash sink # 3

Cells

105 CMR 451.353*	Interior Maintenance: Wall damaged near bed in cell # 138

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 128

105 CMR 451.141	Screens: Screen damaged in cell # 128

105 CMR 451.353	Interior Maintenance: Light shield missing in cell # 132

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 135

EAST DOWN

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Light shields missing with some bulbs not shatter resistant

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover not secured in slop sink

105 CMR 451.353*	Interior Maintenance: Slop sink basin cracked

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Walls damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Ceiling access panel rusted in shower # 4

105 CMR 451.123*	Maintenance: Floor dirty in shower # 1, 2, 3, and 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet out-of-order in stall # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 and 3 out-of-order

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

105 CMR 451.123	Maintenance: Soap scum on curtains in shower # 2 and 3

105 CMR 451.123	Maintenance: Mold observed on floor in shower # 2 and 3

105 CMR 451.123	Maintenance: Wall tiles damaged outside shower # 1

Cells

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 111

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 101

105 CMR 451.141	Screens: Screen damaged in cell # 113

BASEMENT

Laundry

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Baseboard missing around perimeter of room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Miscellaneous Storage (right of Laundry)

Unable to Inspect – Locked

Boiler Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Culinary Art Program Storage

Unable to Inspect – Locked

Electrical Room

105 CMR 451.350*	Structural Maintenance: Ceiling severely water damaged

105 CMR 451.353*	Interior Maintenance: Debris on floor

Hallway

105 CMR 451.353*	Interior 	Maintenance: Floor tiles missing near wall-mounted phone

CULINARY ARTS PROGRAM

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Dining Room

105 CMR 451.353	Interior Maintenance: Heater cover damaged

105 CMR 451.350	Structural Maintenance: Window damaged on left side of room

Side Closet (in Dining Room)

No Violations Noted

Kitchen

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice machine out-of-order

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration, in sanitizer bucket

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not in good repair, wall damaged by dishwasher

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking by dishwasher

Office

No Violations Noted

Culinary Shed

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, entrance platform damaged

FC 4-501.12*	Maintenance and Operation; Equipment: CO2 tanks not properly secured

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair refrigerator gaskets damaged, cooler # 1 and 2

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, freezer out-of-order

Mop Closet (Outside)

105 CMR 451.350	Structural Maintenance: Wood exterior of structure damaged

105 CMR 451.350	Structural Maintenance: Wood floor rotted

FARM DORM

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Shingle siding damaged on front right side of building

105 CMR 451.360	Protective Measures: Bees observed in eaves of building

1st FLOOR

Lobby

No Violations Noted

CPO Office – East Down Side

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged

CPO Office – West Down Side

No Violations Noted

Control

105 CMR 451.353	Interior Maintenance: Ceiling damaged

Staff Bathroom (in Control)

No Violations Noted

Deputy Superintendent’s Area

No Violations Noted

Staff Bathroom (in Deputy Superintendent’s Area)

No Violations Noted

EAST DOWN (26-49)

Hallway

105 CMR 451.353	Interior Maintenance: Light shields missing with some bulbs not shatter resistant

Holding Cell # 26

105 CMR 451.353	Interior Maintenance: Holes in wall

Urine Lab

No Violations Noted

Shower Room

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower # 2 out-of-order

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 2 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing outside of showers

105 CMR 451.123*	Maintenance: Grout deteriorating on floor outside showers

105 CMR 451.123*	Maintenance: Wall board patches around ceiling pipes broken

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, ceiling pipe over shower # 2 leaking

105 CMR 451.123	Maintenance: Shower not easily cleanable, gaps between wall panels in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Floor tile missing by floor drain outside showers

105 CMR 451.123	Maintenance: Wood by shower # 3 water damaged

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 32 and 39

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 32, 35, 37, 41, 42, and 43

WEST DOWN (02-24)

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Barber Shop

105 CMR 451.353	Interior Maintenance: Barber chair damaged

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

Shower Room

105 CMR 451.130	Hot Water: Shower water temperature 1180F at shower # 2

105 CMR 451.123	Maintenance: Mold on caulking in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Caulking damaged in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1, 2 and 3

105 CMR 451.122	Shower Floors: Shower floors not sloped to drain, standing water in shower # 3

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 2, 4, 6, 8, 11, 13, 15, and 16

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 3 and 15

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 6

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated, pipe insulation damaged in cell # 14

2nd FLOOR

Classroom B

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

105 CMR 451.141	Screens: Screens missing

MOUD Office # 6-2-9

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Classroom A

105 CMR 451.141	Screens: Screen missing

105 CMR 451.353	Interior Maintenance: Hole in lower left wall

Staff Bathroom

No Violations Noted

Biohazard Storage

No Violations Noted

Med Room

No Violations Noted

Control

No Violations Noted

CRA Office # 6-2-2

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353*	Interior Maintenance: Ceiling left unfinished

105 CMR 451.350*	Structural Maintenance: Roof leaking

DOT Office

Unable to Inspect – Locked

HSU

Pharmacy

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Medical Waste Log

105 CMR 480.500(A)*	Procedures; Records; Record-Keeping Log: Generator had no written procedures for maintaining compliance with 105 CMR 480.000

105 CMR 480.500(B)*	Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment, missing entry

105 CMR 480.500(C)	Procedures; Records; Record-Keeping Log: Generator had no written contingency plan for spills or accidents and tools and materials to implement these procedures

EAST UP (76-99)

Conference Room

105 CMR 451.141	Screens: Bird’s nest in window

Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged outside shower room entrance

Shower Room

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Holes around ceiling pipes above showers

105 CMR 451.123*	Maintenance: Exposed wood in showers # 2 and 3

105 CMR 451.123*	Maintenance: Gap between wall and floor in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Curtain damaged in shower # 1

105 CMR 451.130	Hot Water: Shower water temperature 1230F in shower # 1

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 94

105 CMR 451.353*	Interior Maintenance: Light shield damaged in cell # 87

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 93

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 90, 97, and 98

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 83

Janitors Closet

No Violations Noted

WEST UP (51-74)

Conference Room

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Hallway

No Violations Noted

Shower Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Gap between wall and floor in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 3

105 CMR 451.123	Maintenance: Door frame rusted at entrance

105 CMR 451.123	Maintenance: Wall board damaged in shower # 1

105 CMR 451.123	Maintenance: Caulking damaged in shower # 1

105 CMR 451.123	Maintenance: Shower not easily cleanable, gaps between wall panels in shower # 1, 2, and 3

105 CMR 451.130	Hot Water: Shower water temperature 1220F in shower # 3

105 CMR 451.123	Maintenance: Floor grout damaged outside showers

Trash Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Slop Sink Area

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Holes in wall in cell # 67

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 52, 54, 56, 57, 58, 61, 68, and 72

FOOD SERVICE AREA

The following Food Code violations listed in BOLD were observed to be corrected on-site

Day Room

FC 4-602.11(E)(4)(b)*	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil observed on interior surfaces of ice machine

105 CMR 451.353	Interior Maintenance: Floor tiles damaged by ice machine

Dining Room

No Violations Noted

Food Service Line

No Violations Noted

Handwash sink

No Violations Noted

Kitchen

FC 4-602.11(E)(4)(b)*	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil observed on interior surfaces of ice machine

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, 3-compartment sink faucet leaking

FC 4-501.15	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, wash cycle temperature observed at 141°F

Slop Sink and Inmate Bathroom

No Violations Noted

Office

No Violations Noted

Refrigerator # 1

No Violations Noted

Back Hallway

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer openings not protected against the entry of insects and rodents, weather stripping damaged on exterior back door

Dry Storage (located outside)

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, door threshold damaged at entrance

Side Storage Closet (located in Dry Storage)

No Violations Noted

Freezer # 8 (located outside)

No Violations Noted

BASEMENT

Stairway

No Violations Noted

Day Room

105 CMR 451.350*	Structural Maintenance: Ceiling severely water damaged outside Muslim Prayer Room

105 CMR 451.350	Structural Maintenance: Ceiling water damaged outside laundry room

105 CMR 451.350*	Structural Maintenance: Hole in ceiling

105 CMR 451.353	Interior Maintenance: Wall paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain damaged

105 CMR 451.141	Screens: Screen damaged inside vent fan outside laundry room

Chaplain’s Room

No Violations Noted

Muslim Prayer Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, ceiling pipes leaking

Chemical Area

Hallway

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Chemical Distribution Room

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Chemical Storage

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Dry Storage

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Wall damaged by exit door

105 CMR 451.353	Interior Maintenance: Standing water on floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipe leaking on ceiling

Storage Room (previously Armorer’s Room)

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Tools and Keys Office

Unable to Inspect – Locked

Tool Crib

Unable to Inspect – Locked

Carpenter’s Shop Area

Plumbing/Sprinkler Room

105 CMR 451.350*	Structural Maintenance: Window damaged

105 CMR 451.141	Screens: Screen damaged

Electrical Room

Unable to Inspect – Locked

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty

105 CMR 451.123*	Maintenance: Debris on floor

Carpenter’s Shop

105 CMR 451.350*	Structural Maintenance: Side exterior door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Debris on floor

Boiler Room

No Violations Noted

Maintenance

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Laundry Area

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, ceiling pipes leaking

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Wall damaged near washers and underneath folding table

Shower Room			Unable to Inspect Showers – Not Used

105 CMR 451.123	Maintenance: Ceiling damaged

VISITING/RECREATIONAL CENTER/GYM

Lobby

105 CMR 451.353*	Interior Maintenance: Wall tiles damaged around perimeter of lobby

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Tiles damaged on entrance-side front desk

105 CMR 451.353	Interior Maintenance: Baseboard damaged on gym-side of front desk

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, interior of refrigerator dirty at front desk

105 CMR 451.353	Interior Maintenance: Floor vent damaged

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor tiles missing

105 CMR 451.123*	Maintenance: Partition rusted

105 CMR 451.123	Maintenance: Floor dirty under toilet in stall # 1

Search Room

105 CMR 451.353	Interior Maintenance: Stalls dirty

Visitor’s Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet leaking in stall # 2

Staff Locker Room

105 CMR 451.123*	Maintenance: Floor dirty in shower

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaking

C.W.C. Office # 12-1-2

No Violations Noted

Staff Bathroom

No Violations Noted

Electrical Room # 12-1-3

105 CMR 451.350*	Structural Maintenance: Access panel cover missing on ceiling

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Weight Room

105 CMR 451.350*	Structural Maintenance: Doors not rodent and weathertight

Storage Rooms

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

TRAILER

Unable to Inspect – Not Used

FARM SERVICE GARAGE

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, interior of microwave dirty

Tool Crib Room

Unable to Inspect – Locked

Dumpsters

105 CMR 451.370*	Garbage Storage: Sides of dumpsters not kept closed

Swill Area

No Violations Noted

COW BARN

105 CMR 451.350*	Structural Maintenance: Green double-doors not rodent and weathertight, missing weather stripping

Hallway

No Violations Noted

Property

No Violations Noted

Property Storage

105 CMR 451.353*	Interior Maintenance: Mold observed on ceiling

105 CMR 451.350*	Structural Maintenance: Hole in ceiling

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Roof leaking

Inmate Locker Room

No Violations Noted

Inmate Bathroom (in Locker Room)

105 CMR 451.123*	Maintenance: Baseboard heater damaged

105 CMR 451.123*	Maintenance: Handwash sink damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Heater cover missing

Cow Barn Office

No Violations Noted

Staff Bathroom and Locker Room (in Cow Barn Office)

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Wall paint damaged

Booking

Unable to Inspect – Under Construction

PROGRAM BUILDING

105 CMR 451.350*	Structural Maintenance: Main entrance doors rotted at bottom

105 CMR 451.350*	Structural Maintenance: Side doors not rodent and weathertight

IPS Office

No Violations Noted

Treasurer’s Office

No Violations Noted

Shift Commander Office

No Violations Noted

Classroom

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Missing baseboards

Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Observations and Recommendations

- The inmate population was 192 at the time of inspection.

- Throughout Gralton Hall, the shower areas were observed to be rapidly deteriorating, causing unsanitary and unhealthy conditions. The CSP is greatly concerned with the increased risk of disease transmission with the high number of inmates and staff being exposed to such unsanitary and unhealthy conditions daily. It was stated at the time of inspection that the facility has a plan to reconstruct the showers with smooth and easily cleanable surfaces to bring each of the areas into compliance. The CSP asks to be kept apprised of the renovation process.

- The CSP recommends ensuring all showers in the Farm Dorm are properly sealed to eliminate gaps so that they are smooth and easily cleanable surfaces.

- The CSP recommends maintaining all written policies and procedures for compliance with 105 CMR 480.000 in the medical waste binder for increased ease of access.

- The hot water temperature range for handwash sinks is 110°F-130°F and 100°F-112°F for showers.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Sara Wolanski														Environmental Health Inspector, CSP, BCEH