The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-828-7703



MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

CHARLES D. BAKER

Governor

KARYN E. POLITO

Lieutenant Governor

December 21, 2016

Joseph Murphy, Superintendent

Old Colony Correctional Center

1 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection – Old Colony Correctional Center, Bridgewater

Dear Superintendent Murphy:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Old Colony Correctional Center on December 15 and 16, 2016 accompanied by Sergeant Thomas Selfridge, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 90 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**ADMINISTRATION BUILDING**

**Lobby**

No Violations Noted

*Male Bathroom*

105 CMR 451.123\* Maintenance: Hot and cold water not working at left sink

*Female Bathroom # ME-24*

105 CMR 451.123\* Maintenance: Ceiling dirty around vent

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet leaking at left sink

**Second Floor**

*Female Bathroom*

No Violations Noted

*Male Bathroom*

No Violations Noted

*Break Room Area*

No Violations Noted

**First Floor**

*Janitor’s Closet # ME-17*

No Violations Noted

*Female Bathroom*

No Violations Noted

*Male Bathroom*

No Violations Noted

**Outer Control**

No Violations Noted

*Outer Control Bathroom*

No Violations Noted

**Trap**

No Violations Noted

**OLD COLONY MEDIUM BUILDING**

**GROUND LEVEL**

**Visiting Area**

**Visiting Room # EE-29**

105 CMR 451.353 Interior Maintenance: Floor tiles damaged and missing under vending machines

*Janitor’s Closet*

No Violations Noted

*Break Room # EE-23*

No Violations Noted

*Attorney Room # EE-21 & EE-22*

No Violations Noted

**Records Area**

*Records # EE-10*

No Violations Noted

*Records Break Room # EE-13*

No Violations Noted

*Female Visitor Bathroom # FE-9*

No Violations Noted

*Male Visitor Bathroom # FE-10*

No Violations Noted

*Mechanical/Fire Storage Room*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, steam pipe leaking

105 CMR 451.353 Interior Maintenance: Standing water observed on floor throughout room

**Bottom Control Corridor**

*Inmate Bathroom # EE-17*

No Violations Noted

*Janitor’s Closet # EE-2*

No Violations Noted

**SECOND LEVEL**

**Lower Program Corridor**

*DOS – Captain’s Office*

No Violations Noted

*Lower Classroom # 6*

No Violations Noted

*Masjid # EI-29*

105 CMR 451.353 Interior Maintenance: Ceiling dirty around vent

*Deputy of Classification Treatment # EI-31*

No Violations Noted

*Lower Classroom # 7*

No Violations Noted

*Lower Classroom # 8*

No Violations Noted

*Bathroom # DI-15*

No Violations Noted

*Library # DI-14*

No Violations Noted

*Chapel # DI-5*

No Violations Noted

**RTU # E1-11**

No Violations Noted

**New Mans Unit # D2-10**

*Janitor’s Closet # D2-9*

No Violations Noted

*Staff Toilet # D2-8*

No Violations Noted

*Video Conference Room # D2-7*

No Violations Noted

*Nurse’s Office # D2-6*

No Violations Noted

*Mental Health # D2-38*

No Violations Noted

*Office # D2-43*

No Violations Noted

**Intake Area**

*Cells*

No Violations Noted

**Mental Health Offices # D2-4**

No Violations Noted

**Laundry**

*Office # E2-33*

No Violations Noted

*Supply Closet # E2-32*

No Violations Noted

**Property # D2-5**

No Violations Noted

**Food Service**

**Inmate Dining Area**

No Violations Noted

*Janitor’s Closet # E2-7*

No Violations Noted

*Inmate Bathroom # E2-8*

No Violations Noted

**Kitchen**

*Serving Line*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, grout missing in several areas between floor tiles

FC 4-501.11(B)\* Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, warmer gasket damaged

FC 4-501.11(B) Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, Traulsen cooler gasket damaged

***Main Kitchen Area***

*Prep Area*

No Violations Noted

*Handwash Sink*

FC 5-202.12(A) Plumbing System, Design: Handwashing sinks water temperature recorded at 880F

*Ice Machine*

No Violations Noted

*Dishwashing Machine Area*

No Violations Noted

*3-Bay Sink*

No Violations Noted

*2-Bay Sink*

No Violations Noted

*Kettle Area*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

*Dry Storage*

FC 6-501.12(A)\* Maintenance and Operation; Cleaning: Facility not cleaned properly, larger utensil cabinet dirty inside

105 CMR 451.383(B) Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

*Handwash Sink*

FC 5-202.12(A) Plumbing System, Design: Handwashing sinks water temperature recorded at 860F

*Walk-In Cooler/Freezer*

FC 4-501.11(A) Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, door damaged

FC 4-501.11(B) Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gasket damaged

**Supply Area**

*Recycling Room*

No Violations Noted

*Swill Room*

No Violations Noted

*Maintenance # E2-39*

No Violations Noted

*Chemical Storage # E2-36*

No Violations Noted

*Trash Compactor*

No Violations Noted

*Bathroom # E2-30*

No Violations Noted

*Staff Bathroom # E2-31*

No Violations Noted

**Culinary Arts # E2-12**

*Staff Dining*

No Violations Noted

*Kitchen*

FC 5-202.12(A) Plumbing System, Design: Handwashing sink water temperature recorded at 880F

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up inside refrigerator

*Culinary Dry Storage # E2-24*

FC 4-501.11(B)\* Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, Trauslen cooler gaskets damaged

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dusty

**Health Service Unit**

*Control*

105 CMR 451.353\* Interior Maintenance: Window cracked at entrance

*Nurse’s Station # D2-16*

No Violations Noted

*Psych Services I # D2-18*

No Violations Noted

*Mop Closet # D2-19*

No Violations Noted

*Dental # D2-20*

No Violations Noted

*Nurse Practitioner I # D2-25*

No Violations Noted

*P.T. Optometry # D2-26*

No Violations Noted

*Psych Services II # D2-27*

No Violations Noted

*Nurse Practitioner II # D2-28*

No Violations Noted

*Psych Services III # D2-29*

No Violations Noted

*X-Ray # D2-30*

No Violations Noted

*Code 99 Room # D2-54*

No Violations Noted

*Medical Records # D2-57*

No Violations Noted

*Male Bathroom # D2-58*

No Violations Noted

*Ward # D2-60*

No Violations Noted

*Doctor’s Office # D2-61*

No Violations Noted

*Cells*

No Violations Noted

*Lab Medical Assistant # D2-66*

No Violations Noted

*Break Room # D2-67*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with   
105 CMR 590.000, interior of microwave oven dirty

*Health Awareness # D2-69*

No Violations Noted

*Female Bathroom # D2-78*

No Violations Noted

*Biohazard Room*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # D2-79 and 80

105 CMR 451.123\* Maintenance: Floor surface damaged in shower # D2-79

105 CMR 451.123 Maintenance: Heater cover rusted in shower # D2-80

**Multipurpose Unit**

Not Inspected – Closed for Renovations & Currently Not Used

**Control**

105 CMR 451.353\* Interior Maintenance: Window cracked

105 CMR 451.353 Interior Maintenance: Ceiling water stained

105 CMR 451.353 Interior Maintenance: Ceiling vent blocked

*Control Bathroom*

No Violations Noted

**Sampson Unit**

**Control**

105 CMR 451.353 Interior Maintenance: Window cracked

105 CMR 451.353 Interior Maintenance: Debris in ceiling vent

*Control Bathroom*

No Violations Noted

**Common Area**

*Staff Break Room # CL2-10*

No Violations Noted

*Program Room # CL2-11*

No Violations Noted

*Closet # CL2-12*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Med Room # CL2-18*

No Violations Noted

*Razor Closet # CL2-19*

105 CMR 451.353 Interior Maintenance: Floor tiles missing

*Handicapped Shower # CL2-20*

105 CMR 451.123\* Maintenance: Soap scum on floor

**Top Tier**

*Janitor’s Closet # CM-13*

No Violations Noted

*Showers # CM-14 & CM-15*

105 CMR 451.123 Maintenance: Soap scum on floor in shower # CM-14 and 15

105 CMR 451.123 Maintenance: Wall tiles damaged in shower # CM-15

105 CMR 451.123 Maintenance: Baseboard damaged in shower # CM-14

105 CMR 451.123 Maintenance: Soap scum on walls in shower # CM-15

**Bottom Tier**

*Janitor’s Closet # CG-13*

No Violations Noted

*Showers # CG-14 & CG-15*

105 CMR 451.123\* Maintenance: Tile grout dirty, possible mold/mildew in shower # CG-14 and 15

105 CMR 451.123 Maintenance: Soap scum on floor in shower # CG-14 and 15

105 CMR 451.123 Maintenance: Floor surface damaged in shower # CG-14

**Cells**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.353 Interior Maintenance: Floor tile surface damaged # G10 and G12, rust stains

**Segregation Unit**

**Control**

105 CMR 451.353 Interior Maintenance: Windows cracked

105 CMR 451.353 Interior Maintenance: Debris in ceiling vent

*Control Bathroom*

No Violations Noted

**Common Area**

*Staff Break Room # CL2-30*

No Violations Noted

*Supply Closet # CL2-28*

No Violations Noted

*Medical Cubical*

No Violations Noted

*Handicapped Shower # CL2-27*

105 CMR 451.123\* Maintenance: Floor surface damaged

105 CMR 451.123\* Maintenance: Soap scum on floor

**Top Tier**

*Janitor’s Closet # CM-40*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, drain cover missing from slop sink

*Shower # CM-41 & CM-42*

105 CMR 451.123\* Maintenance: Floor surface damaged in shower # CM-41

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # CM-41 and 42

**Bottom Tier**

*Janitor’s Closet # CG-40*

No Violations Noted

*Shower # CG-41 & CM-42*

105 CMR 451.123\* Maintenance: Floor surface damaged in shower # CG-41 and 42

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # CG-41 and 42

**Cells**

105 CMR 451.103 Mattresses: Mattress damaged in cell # CM-10 and CG-10

**Attucks 1 & 2 Med Room # EI-7**

105 CMR 451.353 Interior Maintenance: Unfinished wood panel above sink

**Attucks 1 (Recovery Unit)**

Not Inspected – Under Renovation & Currently Not Used

**Attucks 2**

**Control**

No Violations Noted

*Control Bathroom*

No Violations Noted

**Common Area**

*Razor Closet # GL-7*

No Violations Noted

**Top Tier**

*Janitor’s Closet # GM-13*

No Violations Noted

*Shower # GM-14 & GM-15*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # GM-14 and 15

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # GM-15

*Janitor’s Closet # GM-40*

No Violations Noted

*Shower # GM-41 & GM-42*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # GM-41

105 CMR 451.123 Maintenance: Soap scum on floor in shower # GM-42

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # GM-41

**Bottom Tier**

*Janitor’s Closet # GG-13*

No Violations Noted

*Shower # GG-14 & GG-15*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # GG-14 and 15

*Janitor’s Closet # GG-40*

No Violations Noted

*Shower # GG-41*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # GG-41

*Handicapped Shower # GG-42*

105 CMR 451.123\* Maintenance: Soap scum on floor

**Cells**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**Attucks 3**

105 CMR 451.353 Interior Maintenance: Windows cracked at entrance

**Control**

105 CMR 451.353\* Interior Maintenance: Door window cracked

*Control Bathroom*

No Violations Noted

**Common Area**

*Razor Closet # JL-7*

No Violations Noted

**Top Tier**

*Janitor’s Closet # JM-13*

No Violations Noted

*Shower # JM-14 & JM-15*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # JM-14 and 15

105 CMR 451.123 Maintenance: Soap scum on wall in shower # JM-14 and 15

*Janitor’s Closet # JM-40*

No Violations Noted

*Shower # JM-41 & JM-42*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # JM-41

105 CMR 451.123\* Maintenance: Soap scum on floor and walls in shower # JM-42

**Bottom Tier**

*Janitor’s Closet # JG-13*

No Violations Noted

*Shower # JG-14 & JG-15*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # JG-14 and 15

105 CMR 451.123 Maintenance: Baseboard damaged in shower # JG-14 and 15

*Janitor’s Closet # JG-40*

No Violations Noted

*Shower # JG-41*

105 CMR 451.123\* Maintenance: Soap scum on floor

105 CMR 451.123 Maintenance: Soap scum on shower curtain

*Handicapped Shower # JG-42*

105 CMR 451.123\* Maintenance: Soap scum on floor

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, showerhead leaking

105 CMR 451.123 Maintenance: Interior of door rusted

**Cells**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**Unit Team Office # H1-11**

No Violations Noted

**Attucks 4**

**Control**

No Violations Noted

*Control Bathroom*

No Violations Noted

**Common Area**

105 CMR 451.350\* Structural Maintenance: Window cracked near razor closet

*Razor Closet # HL-7*

No Violations Noted

**Top Tier**

*Janitor’s Closet # HM-13*

No Violations Noted

*Shower # HM-14 & HM-15* Unable to Inspect Shower # HM-14 – Occupied

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # HM-15

105 CMR 451.123 Maintenance: Baseboard damaged in shower # HM-15

*Janitor’s Closet # HM-40*

No Violations Noted

*Shower # HM-41 & HM-42*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # HM-41 and 42

105 CMR 451.123 Maintenance: Tile grout dirty, possible mold/mildew in shower # HM-42

**Bottom Tier**

*Janitor’s Closet # HG-13*

No Violations Noted

*Shower # HG14 & HG-15*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # HG-14 and 15

*Janitor’s Closet # HG-40*

105 CMR 451.353 Interior Maintenance: Wall vent dusty

*Shower # HG-41*

105 CMR 451.123\* Maintenance: Soap scum on floor

105 CMR 451.123\* Maintenance: Floor surface damaged

*Handicapped Shower # HG-42*

105 CMR 451.123\* Maintenance: Soap scum on floor

105 CMR 451.123 Maintenance: Interior of door rusted

**Cells**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**Dawes 1**

**Control**

No Violations Noted

*Control Bathroom*

No Violations Noted

**Common Area**

*Razor Closet # LI-7*

No Violations Noted

**Top Tier**

*Janitor’s Closet # LM-13*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged

*Shower # LM-14 & LM-15*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # LM-14 and 15

105 CMR 451.123 Maintenance: Baseboard damaged in shower # LM-15

*Janitor’s Closet # LM-40*

No Violations Noted

*Shower # LM-41 & LM-42*

105 CMR 451.123\* Maintenance: Soap scum on walls and floor in shower # LM-42

105 CMR 451.123 Maintenance: Soap scum on floor in shower # LM-41

105 CMR 451.123 Maintenance: Tile grout dirty, possible mold/mildew in shower # LM-41

**Bottom Tier**

*Janitor’s Closet # LG-13*

No Violations Noted

*Shower # LG-14 & LG-15*

105 CMR 451.123\* Maintenance: Soap scum on floor and walls in shower # LG-14 and 15

105 CMR 451.123 Maintenance: Soap scum on shower curtains in shower # LG-14 and 15

*Janitor’s Closet # LG-40*

No Violations Noted

*Shower # LG-41*

105 CMR 451.123\* Maintenance: Soap scum on walls and floor

105 CMR 451.123 Maintenance: Soap scum on shower curtain

*Handicapped Shower # LG-42*

105 CMR 451.123\* Maintenance: Soap scum on floor

105 CMR 451.123\* Maintenance: Soap scum on walls

105 CMR 451.123\* Maintenance: Door paint damaged

**Cells**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**Dawes 2**

**Control**

105 CMR 451.353 Interior Maintenance: Ceiling tiles stained

*Control Bathroom*

No Violations Noted

**Common Area**

*Razor Closet # KL-7*

No Violations Noted

**Top Tier**

*Janitor’s Closet # KM-13*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

*Shower # KM-14 & KM-15*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # KM-14 and 15

105 CMR 451.123\* Maintenance: Epoxy damaged at baseboard in shower # KM-15

105 CMR 451.123 Maintenance: Tile grout dirty, possible mold/mildew in shower # KM-14 and 15

105 CMR 451.123 Maintenance: Wall tile damaged in shower # KM-15

*Janitor’s Closet # KM-40*

No Violations Noted

*Shower # KM-41 & KM-42*

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # KM-41 and 42

105 CMR 451.123\* Maintenance: Epoxy damaged at baseboard in shower # KM-41

**Bottom Tier**

*Janitor’s Closet # KG-13*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged

*Shower # KG-14 & KG-15*

105 CMR 451.123\* Maintenance: Soap scum on walls and floor in shower # KG-14 and 15

105 CMR 451.123\* Maintenance: Tile grout dirty, possible mold/mildew in shower # KG-14

105 CMR 451.123\* Maintenance: Tiles damaged in shower # KG-14

*Janitor’s Closet # KG-40*

No Violations Noted

*Shower # KG-41*

105 CMR 451.123\* Maintenance: Soap scum on floor

105 CMR 451.123\* Maintenance: Tiles damaged

*Handicapped Shower # KG-42*

105 CMR 451.123\* Maintenance: Soap scum on floor

105 CMR 451.123\* Maintenance: Tiles damaged

**Cells**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**Staff Bathroom # OU-10**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged outside bathroom

**Orientation Unit**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged outside control

**Control**

No Violations Noted

*Control Bathroom*

No Violations Noted

**Common Area**

*Razor Closet*

No Violations Noted

**Top Tier**

*Shower # OUM1-OUM5*

105 CMR 451.123 Maintenance: Wall panel dirty, possible mold/mildew outside shower # OUM-2

*Janitor’s Closet # OUM6*

No Violations Noted

**Bottom Tier**

*Shower # OUG1-OUG4*

105 CMR 451.123\* Maintenance: Soap scum on floors outside showers

*Handicapped Shower # OUG5*

105 CMR 451.123 Maintenance: Soap scum on floor

*Janitor’s Closet # OUG6*

No Violations Noted

**Cells**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.353 Interior Maintenance: Floor tiles damaged and missing in cell # 116

**Print Shop**

*Main Area*

No Violations Noted

*Staff Bathroom*

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Janitor’s Closet*

No Violations Noted

*Loading Dock*

No Violations Noted

*Break Room*

No Violations Noted

**Warehouse**

No Violations Noted

**Gym**

105 CMR 451.353 Interior Maintenance: Wall return vents dusty

*Closet # A2-45*

No Violations Noted

*Gym Program Room # A2-32*

No Violations Noted

*Music Room # A2-41*

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Staff Bathroom*

No Violations Noted

**School**

*Slop Sink # B2-7*

No Violations Noted

*American Vet Dogs Room # B2-4*

No Violations Noted

*Computer Lab*

No Violations Noted

*Classrooms*

No Violations Noted

*Janitor’s Closet*

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Staff Bathroom*

No Violations Noted

*Inmate Bathroom # A2-18*

Not Inspect – Locked & No Longer Used

*Storage Room # A2-15*

Not Inspect – Locked & No Longer Used

**Barber Shop**

No Violations Noted

**IPS**

*Bathroom*

No Violations Noted

**OLD COLONY MINIMUM**

**Common Area**

*Staff Break Room*

No Violations Noted

*Janitor’s Closet*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Barber Area*

No Violations Noted

*Staff Bathroom*

No Violations Noted

*Medical*

No Violations Noted

*Large Classroom*

No Violations Noted

*Library*

No Violations Noted

*Small Classroom*

No Violations Noted

**Dorm Side A**

*Common Area*

105 CMR 451.353 Interior Maintenance: Ceiling vents dusty

*Bathroom*

No Violations Noted

*Showers*

Unable to Inspect – Occupied

*Rooms*

105 CMR 451.321\* Cell Size: Inadequate floor space in dorm rooms

**Dorm Side B**

*Common Area*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Bathroom*

No Violations Noted

*Showers*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower drain not secure

*Rooms*

105 CMR 451.321\* Cell Size: Inadequate floor space in dorm rooms

105 CMR 451.353 Interior Maintenance: Ceiling vent dust in dorm # 8 and 10

105 CMR 451.353 Interior Maintenance: Ceiling vent not secure in dorm # 8

**Dorm Side C**

*Control*

No Violations Noted

*Common Area*

No Violations Noted

*Bathroom*

No Violations Noted

*Showers*

No Violations Noted

*Dorms*

No Violations Noted

**Minimum Visiting Area**

*Common Area*

No Violations Noted

*Male Bathroom*

No Violations Noted

*Female Bathroom*

No Violations Noted

*Inmate Bathroom/Slop Sink*

No Violations Noted

**Towers**

**Pedestrian Tower**

No Violations Noted

**Tower 1**

No Violations Noted

**Tower 2**

No Violations Noted

**Vehicle Tower**

No Violations Noted

**Gym**

105 CMR 451.353 Interior Maintenance: Wall insulation damaged

*Bathroom*

No Violations Noted

*Closet*

No Violations Noted

**Observations and Recommendations**

1. The inmate population was 632 at the time of inspection.
2. There were no inmates being housed in Dorm Side C in Old Colony Minimum.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc: Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Timothy Miley, Director of Government Affairs

Marylou Sudders, Secretary, Executive Office of Health and Human Services

Thomas Turco, Commissioner, DOC

Sergeant Thomas Selfridge, EHSO

Eric Badger, CHO, Health Agent, Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Daniel Bennett, Secretary, EOPSS

Jennifer Gaffney, Director, Policy Development and Compliance Unit