The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

December 28, 2021

Stephen Kennedy, Superintendent

Old Colony Correctional Center

1 Administration Road

Bridgewater, MA 02324		(electronic copy)

Re: Facility Inspection – Old Colony Correctional Center, Bridgewater

Dear Superintendent Kennedy:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments

(State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Old Colony Correctional Center on December 14 and 15, 2021 accompanied by Alishia Madden,

Environmental Health and Safety Officer/Fire Safety Officer. Violations noted during the inspection are listed below including 561 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Margret R. Cooke, Acting Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

Alishia Madden, EHSO/FSO								(electronic copy)

Eric J. Badger, Health Agent, CHO, Bridgewater Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

ADMINISTRATION BUILDING

Lobby

105 CMR 451.350*	Structural Maintenance: Window cracked near metal detector

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Partition rusted

105 CMR 451.123		Maintenance: Ceiling vent dusty

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Second Floor

105 CMR 451.353*		Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353		Interior Maintenance: Stair treads damaged

Female Bathroom

105 CMR 451.123	Maintenance: Partition rusted

Male Bathroom

No Violations Noted

Break Room Area

No Violations Noted

First Floor

Janitor’s Closet # ME-17

No Violations Noted

Female Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling dirty

Male Bathroom

No Violations Noted

Outer Control

105 CMR 451.350*	Structural Maintenance: Windows cracked

Armory

No Violations Noted

Outer Control Bathroom

105 CMR 451.123		Maintenance: Radiator rusted

Trap

105 CMR 451.200	Food Storage, Preparation and Service: Food storage in compliance with

105 CMR 590.000, interior of freezer dirty

OLD COLONY MEDIUM BUILDING

GROUND LEVEL

Visiting Area

Visiting Room # EE-29

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.353		Interior Maintenance: Floor tiles damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation in compliance with

105 CMR 590.000, interior of microwave oven dirty

Janitor’s Closet

No Violations Noted

Attorney Rooms

No Violations Noted

Non-Contact Visiting Area

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

Break Room # EE-23

No Violations Noted

Inmate Bathroom

No Violations Noted

Records Area

Records # EE-10

No Violations Noted

Records Break Room # EE-13

No Violations Noted

Male Visitor Bathroom # FE-10

105 CMR 451.123	Maintenance: Partition rusted

Female Visitor Bathroom # FE-9

No Violations Noted

Bottom Control Corridor

Mechanical/Fire Storage Room

No Violations Noted

Lower Control

No Violations Noted

Upper Control

No Violations Noted

Bathroom

No Violations Noted

Janitor’s Closet # EE-2

No Violations Noted

SECOND LEVEL

Lower Program Corridor

Female Bathroom # E1-17

No Violations Noted

Male Bathroom # E1-18

No Violations Noted

DOS-Captain’s Office # E1-27

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Masjid # E1-29

No Violations Noted

Deputy of Classification Treatment # E1-31

Unable to Inspect – Locked

Classroom # E1-28

No Violations Noted

Classroom # 4

No Violations Noted

Classroom # D1-17

No Violations Noted

Bathroom # DI-16

No Violations Noted

Slop Sink Closet # D1-15

No Violations Noted

Library # DI-14

No Violations Noted

Slop Sink Closet # DI-13 (in Library)

Unable to Inspect – Locked

Chapel # DI-5

No Violations Noted

Janitor’s Closet # E1-1

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.353		Interior Maintenance: Mop hanger broken

105 CMR 451.353		Interior Maintenance: Wet mop stored in bucket

RTU # E1-11

105 CMR 451.350	Structural Maintenance: Ceiling damaged

New Mans Unit # D2-10

Intake Area

Room # D2-22

No Violations Noted

Janitor’s Closet # D2-9

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Staff Bathroom # D2-8

No Violations Noted

Video Conference Room # D2-7

No Violations Noted

IPS Storage # D2-6

No Violations Noted

Body Scan Room

No Violations Noted

Office # D2-43

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Cells

No Violations Noted

IPS Office # D2-38

No Violations Noted

Property # D2-5

105 CMR 451.353	Interior Maintenance: Wall water damaged

Mental Health Offices # D2-4

No Violations Noted

Laundry

No Violations Noted

Office # E2-33

No Violations Noted

Supply Closet # E2-32

No Violations Noted

Food Service

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Inmate Dining Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, window cracked

Janitor’s Closet # E2-7

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored in bucket

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, cockroach observed

Inmate Bathroom # E2-8

No Violations Noted

Kitchen

Serving Line

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, warmer gaskets damaged on 2 warming units

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, tile grout lines dirty

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, doors on True warmer did not stay shut

105 CMR 451.126	Hot Water: Hot water temperature 103°F at handwash sink

Hallway

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, warmer gaskets damaged

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 4-204.112(B)*	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device, no thermometer in refrigerator

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair refrigerator gaskets dirty

Main Kitchen

FC 6-501.11*		Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged throughout kitchen

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall fan dusty near handwash sink

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty above 2-compartment sink

Handwash Sink

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, bracket holding sink to wall rusted

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking

3-Compartment Sink

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

Tray Return Area

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, sink leaking from pipe below

Dishwashing Machine Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, 2 wall fans dusty

FC 4-901.11(A)*	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry before contact with food, metal trays observed being stacked wet

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not in good repair, wall damaged behind dishwashing machine

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machinePf

FC 4-302.13(B)	Numbers and Capacities, Utensils, Temperature Measuring Devices, and Testing Devices: No irreversible registering temperature measuring device readily accessible to measure the surface temperature of the utensilPf

Ice Machine

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, door loose

Mop Closet E2-20

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored in bucket

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored on floor

Prep Area

No Violations Noted

Hood Vents

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, hood vent dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, excessive moisture build-up observed inside hood vent above kettles

Kettle Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet between kettles leaking

2-Compartment Sink

FC 5-203.14(B)*	Plumbing System; Numbers and Capacities: Right and left side faucet missing backflow prevention deviceP

Walk-In Cooler

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, gaskets damaged

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, door jamb damaged

Walk-In Freezer

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, gaskets damaged

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, excessive ice build-up inside entrance

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, door damaged

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, door latch damaged

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, door unable to shut properly

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, excessive ice build-up on pipes under fans

Handwash Sink

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, brackets holding sink to wall rusted

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, sink not properly secured to wall

Dry Storage

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented cans not properly segregatedPf

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Office

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 590.002(A)(1)(C)       Management and Personnel: No prominently posted food safety certification

105 CMR 590.011(C)(3)(b)(1)  Additional Requirements: Food Allergy Awareness Training, food protection manager did not post Massachusetts food allergen awareness training certificate

Inmate Break Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, interior of microwave oven dirty

Supply Area

Loading Dock

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer openings not protected against the entry of insects and rodents, door to exterior not tight fitting

Recycling Room

105 CMR 451.350*	Structural Maintenance: Window cracked

Swill Room

No Violations Noted

Maintenance # E2-39

No Violations Noted

Chemical Storage # E2-36

No Violations Noted

Bathroom # E2-30

No Violations Noted

Staff Bathroom # E2-31

FC 3-305.11(A)(1)*	Preventing Contamination from the Premises; Food Storage: Food not stored in a clean, dry location, paper products stored in shower

Culinary Arts # E2-12

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on floor

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration

Dining Room

No Violations Noted

Handwash Sink

No Violations Noted

Warewash Machine

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewash machine out-of-order

3-Compartment Sink

No Violations Noted

Traulsen Refrigerator

FC 4-204.112(B)	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device

Fryolator

No Violations Noted

Hood Vent

No Violations Noted

Prep Area

No Violations Noted

Grille

No Violations Noted

Ovens

No Violations Noted

Kettles

No Violations Noted

2-Door Traulsen Refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, thermometer not functioning properly

Sandwich Refrigerator

FC 4-204.112(B)	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device

Ice Machine

No Violations Noted

Dry Storage

No Violations Noted

Health Service Unit

Control

105 CMR 451.350*	Structural Maintenance: Window cracked at entrance

Holding Cell # D2-17

No Violations Noted

Mental Health D2-18

No violations Noted

Dental # D2-20

105 CMR 451.126	Hot Water: Hot water temperature recorded at 570F at handwash sink

Mop Closet # D2-19

No Violations Noted

Nurse Practitioner I # D2-25

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1030F at handwash sink

Nurse Practitioner II # D2-28

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

X-Ray # D2-30

No Violations Noted

Code 99 Room # D2-54

105 CMR 451.126	Hot Water: Hot water temperature recorded at 690F at handwash sink

Room # D2-55

No Violations Noted

Hallway # D2-56

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Break Room # D2-67

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Cabinets damaged

Health Awareness # D2-69

No Violations Noted

Property # D2-71

No Violations Noted

Phone Room # D2-72

105 CMR 451.353	Interior Maintenance: Ceiling damaged

Biohazard Room # D2-75

105 CMR 480.500(B)*	Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment

105 CMR 480.425(A)         	Tracking Medical or Biological Waste for Treatment: Generator did not confirm the shipment was received by the treatment facility within 30 days on an approved tracking form

105 CMR 480.425(C)         	Tracking Medical or Biological Waste for Treatment: Small-scale generators were not properly documenting waste shipped to an affiliated generator

105 CMR 480.500(B)(2)	Procedures; Records; Record-Keeping Log: Generator did not specify off-site treatment parameters, log book missing weights and transporter information

Showers

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # D2-79 and D2-80

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 600F in shower # D2-80

105 CMR 451.123*	Maintenance: Door rusted in shower # D2-79

105 CMR 451.123	Maintenance: Wall tiles damaged in shower # D2-80

105 CMR 451.123	Maintenance: Floor paint damaged in shower # D2-80

105 CMR 451.123	Maintenance: Door lock broken in shower # D2-80

Female Bathroom # D2-78

No Violations Noted

Cells

No Violations Noted

Lab Medical Assistant # D2-66

No Violations Noted

Doctor’s Office # D2-61

No Violations Noted

Ward # D2-60

No Violations Noted

Male Bathroom # D2-58

No Violations Noted

Medical Records # D2-57

No Violations Noted

Room # D2-31

No Violations Noted

Lab # D2-29

No Violations Noted

Psych Services II # D2-27

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Opthamology # D2-26

No Violations Noted

Nurse’s Station # D2-16

No Violations Noted

I.S.O.U.

Control

105 CMR 451.353*	Interior Maintenance: Ceiling water stained

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Control Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Recreation Area

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Table tops damaged

Nurse’s Office

No Violations Noted

Medication Room

No Violations Noted

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator rusted

Recreation Room

No Violations Noted

Handicapped Shower

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Handicapped Cell

No Violations Noted

Upper Level

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

Slop Sink Closet

No Violations Noted

Shower (Left)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Shower (Right)

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure in shower

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # M5, M8, M9, M11, and M12

105 CMR 451.353	Interior Maintenance: Floor tiles damaged at entrance to cell # M6

Lower Level

Slop Sink Closet

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Treatment Room

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Shower (Left)

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123*	Maintenance: Sprinkler head rusted

105 CMR 451.123*	Maintenance: Wall tiles damaged

Shower (Right)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Sprinkler rusted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # G6, G10, and G11

105 CMR 451.353	Interior Maintenance: Floor tiles damaged at entrance to cell # G9 and G13

Wellpath Office # C2-8

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single use utensils left uncovered and open to contamination

Bathroom # C2-9

No Violations Noted

Sampson Unit

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Window cracked

Control Bathroom

No Violations Noted

Recreation Area

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.353	Interior Maintenance: Paint damaged on handrails

Closet # CL2-12

No Violations Noted

Program Room

No Violations Noted

Program Room # CL2-11

No Violations Noted

Staff Break Room # CL2-10

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

CPO Office # CL2-17

No Violations Noted

Med Room # CL2-18

Unable to Inspect – Locked

Razor Closet # CL2-19

No Violations Noted

Handicapped Cell # CL2-22

No Violations Noted

Handicapped Shower # CL2-20

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tile grout lines dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Bench rusted

Top Tier

Janitor’s Closet # CM-13

105 CMR 451.130*	Plumbing: No backflow preventer on sink

Shower # CM-14

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Soap scum on curtain

Shower # CM-15

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on curtain

105 CMR 451.123	Maintenance: Excessive water pooling on floor

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # C2-M12

Bottom Tier

Janitor’s Closet # CG-13

105 CMR 451.353	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water observed in mop bucket

Shower # CG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Floor epoxy damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Shower # CG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Ceiling paint damaged

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # G13 and G14

Restricted Housing Unit (Segregation)

Control

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Control Bathroom

No Violations Noted

Recreation Area

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

Staff Break Room # CL2-30

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Supply Closet # CL2-28

No Violations Noted

Medical Cubical

105 CMR 451.353	Interior Maintenance: Office chair damaged

Handicapped Cell # CL2-25

105 CMR 451.353	Interior Maintenance: Handwash sink rusted

105 CMR 451.353	Interior Maintenance: Wall rusted around toilet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Handicapped Shower # CL2-27

105 CMR 451.123	Maintenance: Soap scum on floor

Top Tier

Janitor’s Closet # CM-40

No Violations Noted

Shower # CM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent rusted

Shower # CM-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

Cells

No Violations Noted

Bottom Tier

Janitor’s Closet # CG-40

No Violations Noted

Shower # CG-41

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # CG-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

Cells

No Violations Noted

Attucks 1 & 2 Med Room # EI-7

No Violations Noted

Recovery Unit

Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.353	Interior Maintenance: Stair treads damaged

Handicapped Cell

105 CMR 451.103	Mattresses: Mattress damaged

Razor Closet

No Violations Noted

Medical Office

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 570F at handwash sink

Office # 1

No Violations Noted

Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Top Tier Left Side

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Slop Sink Closet # FM-13

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 1 and 2

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # FM-12

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in cell # FM-4

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # FM-11

105 CMR 451.103	Mattresses: Mattress damaged in cell # FM-6, FM-7, and FM-13

Bottom Tier Left Side

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

105 CMR 451.350*	Structural Maintenance: Window cracked in hallway

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water observed in bucket

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower (Left)

No Violations Noted

Shower (Right)

105 CMR 451.123*	Maintenance: Soap scum on walls

Medical Room # FG-1

105 CMR 205.103(A)*	Examinations to be Conducted in Privacy: No hands-free controls provided for 	handwash sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 690F at handwash sink

105 CMR 451.124*	Water Supply: Insufficient water supply in quantity and pressure at handwash sink

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # FG-12

105 CMR 451.103	Mattresses: Mattress damaged in cell # 9

Bottom Tier Right Side

105 CMR 451.350*	Structural Maintenance: Window cracked in hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

Slop Sink # G-40

No Violations Noted

Shower # G-41

105 CMR 451.123*	Maintenance: Floor epoxy damaged at entrance

Handicapped Shower

105 CMR 451.123*	Maintenance: Soap scum on floor

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # FG-21

105 CMR 451.353*	Interior Maintenance: Heater rusted in cell # FG-21

105 CMR 451.103	Mattresses: Mattress damaged in cell # FG-16, FG-23, FG-25, and FG-27

Top Tier Right Side

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

Slop Closet # M-40

No Violations Noted

Shower # M-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Floor epoxy damaged at entrance

Shower # M-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 56°F

105 CMR 451.123	Maintenance: Floor epoxy damaged

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # FM-29

105 CMR 451.103	Mattresses: Mattress damaged in cell # FM-22 and FM-28

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # FM-18

Office Area # G1-11

No Violations Noted

Bathroom

No Violations Noted

Attucks 2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Window broken

Control Bathroom

105 CMR 451.353	Interior Maintenance: Door knob damaged

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked

Handicapped Cell

No Violations Noted

Razor Closet # GL-7

No Violations Noted

CPO Office

No Violations Noted

Meeting Room

No Violations Noted

Top Tier Left Side

105 CMR 451.350	Structural Maintenance: Window broken at end of hall

105 CMR 451.353	Interior Maintenance: Wall paint damaged in hallway

Janitor’s Closet # GM-13

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Shower # GM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

Shower # GM-15

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # GM-10

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GM-9 and GM-13

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # GM-3, GM-7, and GM-9

105 CMR 451.350	Structural Maintenance: Window cracked in cell # GM-12

Bottom Tier Left Side

Janitor’s Closet # GG-13

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at slop sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Shower # GG-14

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Ceiling paint damaged

Shower # GG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Floor epoxy damaged

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GG-9, GG-11, and GG-13

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # GG-13

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # GG-4

105 CMR 451.353	Interior Maintenance: Floor rusted in cell # GG-13

Bottom Tier Right Side

Janitor’s Closet # GG-40

No Violations Noted

Shower # GG-41

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Handicapped Shower # GG-42

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Bench rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower running continuously

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # GG-23

105 CMR 451.141*	Screens: Screen damaged in cell # GG-22

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GG-19

105 CMR 451.353		Interior Maintenance: Wall vent blocked in cell # GG-17, GG-24, and GG-28

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet running in cell # GG-18

Top Tier Right Side

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in hallway

Janitor’s Closet # GM-40

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Shower # GM-41

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

Shower # GM-42

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # GM-29

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # GM-18

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GM-18 and GM-20

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # GM-18

105 CMR 451.353*	Interior Maintenance: Ceiling water stained in cell # GM-24

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # GM-17, GM-22, and GM-28

105 CMR 451.103	Mattresses: Mattress damaged in cell # GM-19

Attucks 3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Door window cracked

Control Bathroom

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Common Area

105 CMR 451.353*	Interior Maintenance: Paint damaged on handrails

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Handicapped Cell # JL-9

No Violations Noted

Razor Closet # JL-7

No Violations Noted

CPO Office

No Violations Noted

Meeting Rooms

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in Meeting Room # 2

Top Tier Left Side

105 CMR 451.353*	Interior Maintenance: Baseboard damaged outside showers

105 CMR 451.350	Structural Maintenance: Window cracked at end of hallway

Janitor’s Closet # JM-13

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.353	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water observed in mop bucket

Shower # JM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123*	Maintenance: Ceiling vent damaged

Shower # JM-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # JM-9

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # JM-12

105 CMR 451.350	Structural Maintenance: Window cracked in cell # JM-13

Bottom Tier Left Side

Janitor’s Closet # JG-13

105 CMR 451.353	Interior Maintenance: Wet mops stored upside down

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # JG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Wall tiles damaged

Shower # JG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # JG-6

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # JG-2 and JG-11

Bottom Tier Right Side

Janitor’s Closet # JG-40

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # JG-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Handicapped Shower # JG-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Soap scum on bench

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Door paint damaged

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # JG-26

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # JG-25

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # JG-29

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # JG-26 and JG-27

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # JG-16

Top Tier Right Side

105 CMR 451.353*	Structural Maintenance: Window cracked in hallway

Janitor’s Closet # JM-40

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wet mops stored upside down

Shower # JM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # JM-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Floor epoxy damaged

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # JM-16

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # JM-20 and JM-21

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # JM-23, JM-24, and JM-30

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # JM-28 and JM-29

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # JM-21 and JM-25

Attucks 4

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Door window cracked

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked near handicapped cell

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

Handicapped Cell # HL-9

No Violations Noted

Razor Closet # HL-7

No Violations Noted

CPO Office

No Violations Noted

Meeting Rooms

105 CMR 451.353	Interior Maintenance: Wall vent dusty in room # 1 and 2

Top Tier Left Side

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

Janitor’s Closet # HM-13

105 CMR 451.353*	Interior Maintenance: Wet mop stored upside down

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Shower # HM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Excessive moisture build-up observed on ceiling

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling paint damaged

Shower # HM-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Walls dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HM-4 and HM-14

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # HM-5 and HM-15

Bottom Tier Left Side

Janitor’s Closet # HG-13

105 CMR 451.353*	Interior Maintenance: Wet mop stored upside down

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Standing water observed in mop bucket

Shower # HG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

Shower # HG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Soap scum on walls

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # HG-2 and HG-5

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # HG-10

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # HG-3, HG-9, and HG-13

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # HG-12

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # HG-12

105 CMR 451.350	Structural Maintenance: Window cracked on door to cell # HG-5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet running continuously in

cell # HG-14

Bottom Tier Right Side

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Janitor’s Closet # HG-40

105 CMR 451.353*	Interior Maintenance: Light out

Shower # HG-41

Unable to Inspect – In Use

Handicapped Shower # HG-42

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Inside of door rusted

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HG-17, HG-19, HG-22, and HG-25

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # HG-28

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # HG-28

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # HG-28

Top Tier Right Side

Janitor’s Closet # HM-40

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Shower # HM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # HM-42

Unable to Inspect – In Use

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HM-22 and HM-26

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # HM-23 and HM-30

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # HM-20 and HM-28

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # HM-18

105 CMR 451.353	Interior Maintenance: Window not functioning properly in cell # HM-22 and HM-23

105 CMR 451.103	Mattresses: Mattress damaged in cell # HM-22

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet nut functioning properly in

cell # HM-23

Lieutenant’s Office # L1-11

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single use utensils left uncovered and open to contamination

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Bathroom # L1-15

No Violations Noted

Unit Team Office # H1-11

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single use utensils left uncovered and open to contamination

Bathroom # H1-15

No Violations Noted

Dawes 1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Paint damaged on handrails

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.350*	Structural Maintenance: Window cracked

Handicapped Cell

No Violations Noted

Razor Closet # LI-7

No Violations Noted

CPO Office

No Violations Noted

Shaving Room

No Violations Noted

Meeting Room

No Violations Noted

Top Tier Left Side

Janitor’s Closet # LM-13

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # LM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

Shower # LM-15

Unable to Inspect – In Use

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # LM-4

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # LM-11

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # LM-11

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LM-8

105 CMR 451.350	Structural Maintenance: Window cracked in cell # LM-2 and LM-9

Bottom Tier Left Side

Janitor’s Closet # LG-13

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at slop sink

Shower # LG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # LG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Walls rust stained

105 CMR 451.123	Maintenance: Wall tile grout dirty, possible mold/mildew

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # LG-4

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking in cell # LG-9

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LG-12

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # LG-13

105 CMR 451.350	Structural Maintenance: Window cracked in cell # LG-12

Bottom Tier Right Side

105 CMR 451.353	Interior Maintenance: Floor dirty in hallway

Janitor’s Closet # LG-40

No Violations Noted

Shower # LG-41

Unable to Inspect – In Use

Handicapped Shower # LG-42

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on bench

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # LG-9, LG-16, LG-17, LG-24,

and LG-28

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in cell # LG-18

105 CMR 451.141*	Screens: Screen damaged in cell # LG-20

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # LG-26

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # LG-24

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LG-22

Handicapped Cell # LI-9

No Violations Noted

Top Tier Right Side

Janitor’s Closet # LM-40

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # LM-41

Unable to Inspect – In Use

Shower # LM-42

105 CMR 451.123*	Maintenance: Wall tile grout lines moldy

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123*	Maintenance: Floor epoxy damaged

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # LM-23

105 CMR 451.141*	Screens: Screen damaged in cell # LM-28

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # LM-21 and LM-22

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # LM-26 and LM-29

105 CMR 451.350*	Structural Maintenance: Window cracked on door to cell # LM-20

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # LM-25

Dawes 2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

No Violations Noted

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

105 CMR 451.353*	Interior Maintenance: Paint damaged on handrails

105 CMR 451.353*	Interior Maintenance: Wall paint damaged around phones

Razor Closet # KL-7

No Violations Noted

CPO’s Office

No Violations Noted

Meeting Rooms

No violations Noted

Handicapped Cell # KL-9

No Violations Noted

Top Tier Left Side

Janitor’s Closet # KM-13

105 CMR 451.353*	Interior Maintenance: Wet mop stored upside down

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Shower # KM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tile grout lines dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Ceiling paint damaged

Shower # KM-15

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Floor epoxy damaged

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # KM-1, KM-9, and KM-14

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # KM-2

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # KM-3

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # KM-14

Bottom Tier Left Side

Janitor’s Closet # KG-13

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Shower # KG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Floor epoxy damaged

105 CMR 451.123	Maintenance: Soap scum on curtain

Shower # KG-15

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on curtain

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # KG-4 and KG-14

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # KG- 8 and KG-15

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink in cell # KG-5

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # KG-2

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # KG-6

105 CMR 451.350	Structural Maintenance: Window cracked in cell # KG-5

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # KG-14

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink in cell # KG-15

Bottom Tier Right Side

Janitor’s Closet # KG-40

No Violations Noted

Shower # KG-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123	Maintenance: Soap scum on walls

Handicapped Shower # KG-42

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Floor surface unfinished at entrance

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on bench

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # KG-19

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # KG-26

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # KG-23

105 CMR 451.350	Structural Maintenance: Window cracked in cell # KG-16, KG-18, KG-24, and KG-26

105 CMR 451.350	Structural Maintenance: Window cracked on door to cell # KG-18

Top Tier Right Side

Janitor’s Closet # KM-40

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # KM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Wall tile grout dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Soap scum on curtain

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Shower # KM-42

105 CMR 451.123*	Maintenance: Wall tile grout lines moldy

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # KM-17, KM-18, and KM-21

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # KM-19

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # KM-20

105 CMR 451.141*	Screens: Screen damaged in cell # KM-22

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # KM-24

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # KM-27

105 CMR 451.350	Structural Maintenance: Window cracked in cell # KM-22

Staff Bathroom # OU-10

No Violations Noted

CPO Offices

No Violations Noted

Orientation Unit

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Window cracked on door

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Dog Program Room

No Violations Noted

CPO’s Office

No Violations Noted

Top Tier

Shower # OUM1-OUM5

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # OUM-5

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, insufficient water pressure in

shower # OUM-2

105 CMR 451.123*	Maintenance: Wall caulking dirty and damaged in shower # OUM-1

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # OUM-1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # OUM-5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # OUM-3 running continuously

105 CMR 451.123	Maintenance: Soap scum on floor in shower # OUM-4

105 CMR 451.130	Hot Water: Shower water temperature 93°F in shower # OUM-3

105 CMR 451.123*	Maintenance: Drain flies observed in shower # OUM-3

Janitor’s Closet # OUM6

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Dog Storage Area # OU-19

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 142

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 132, 134, 152, 153, and 159

105 CMR 451.141*	Screens: Screen damaged in cell # 144, 145, 146, 148, 150, and 151

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 141 and 155

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 131, 132, 133, 136, 137, 139, 140, 141, 142, 143, 144, 145, 146, 147, 148, 150, 151, 152, 154, 156, and 157

105 CMR 451.141	Screens: Screen damaged in cell # 140

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 133 and 151

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 149, 155, and 159

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 144

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink running continuously in cell # 151

Bottom Tier

Shower # OUG1-OUG5

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # OUG-5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # OUG-5

105 CMR 451.123*	Maintenance: Floor surface damaged shower # OUG-5

105 CMR 451.123*	Maintenance: Ceiling dirty in shower # OUG-5, possible mold/mildew

105 CMR 451.123*	Maintenance: Door dirty in shower # OUG-5, possible mold/mildew

105 CMR 451.123	Maintenance: Door frame rusted in shower # OUG-1, OUG-2, OUG-3, OUG-4,

and OUG-5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # OUG-1, OUG-2, OUG-3, and OUG-4

105 CMR 451.123	Maintenance: Ceiling damaged in shower # OUG-1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in

shower # OUG-1 and OUG-3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # OUG-5 running continuously

105 CMR 451.123	Maintenance: Door rusted in shower # OUG-5

Janitor’s Closet # OUG6

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

105 CMR 451.353	Interior Maintenance: Wet mops stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water observed on floor

105 CMR 451.353	Interior Maintenance: Standing water observed in mop bucket

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # 108

105 CMR 451.141*	Screens: Screens damaged in cell # 115 and 125

105 CMR 451.350*	Structural Maintenance: Window cracked on door to cell # 111 and 120

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 117 and 118

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 118

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 104, 119, 126, and 130

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 102, 113, and 115

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 102, 103, 105, 106, 108, 111, 114, 115, 116, 120, and 128

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 107 and 109

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 116

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 123

Razor Room

No Violations Noted

Industries Building

Control

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Control Bathroom

No Violations Noted

Storage Closet

Unable to Inspect – Locked

Spectrum A2-16

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Health Services Admin. A2-24

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Mental Health

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Wall paint damaged

M.A.T. Program Room # A2-32

No Violations Noted

Bathroom (in Program Room)

No Violations Noted

Gym

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

Weight Room

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

Music Room # A2-41

No Violations Noted

Inmate Bathroom

No Violations Noted

Office # A2-39

No Violations Noted

Stairwell # A2-43

No Violations Noted

Staff Bathroom # A2-44

No Violations Noted

Closet # A2-45

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Storage # A2-46

No Violations Noted

Slop Sink # B2-7

No Violations Noted

American Vet Dogs Room # B2-4

No Violations Noted

Print Shop

Main Area

No Violations Noted

Office # B2-11

No Violations Noted

Office # B2-13

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom # B2-16

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Loading Dock

No Violations Noted

Break Room

No Violations Noted

Paper Room # B2-21

No Violations Noted

Barber Shop

105 CMR 451.353*	Interior Maintenance: Countertop damaged

Classrooms

Computer Lab

No Violations Noted

Principal’s Office # A2-10

No Violations Noted

Closet # A2-9

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Room # A2-11

No Violations Noted

Room # A2-20

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Room # A2-27

No Violations Noted

Room # A2-29

No Violations Noted

Janitor’s Closet # A2-31

No Violations Noted

Inmate Bathroom # A2-30

No Violations Noted

Staff Bathroom # A2-21

No Violations Noted

Staff Bathroom # A2-18

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Mental Health # A2-13

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

OLD COLONY MINIMUM

Common Area

No Violations Noted

Staff Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single use utensils left uncovered and open to contamination

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator rusted

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator gaskets moldy

Offices

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mops stored in buckets

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Barber Area

No Violations Noted

Staff Bathroom

No Violations Noted

Medical

105 CMR 451.126*	Hot Water: Hot water temperature 57°F at handwash sink

Medical Bathroom

No Violations Noted

Large Classroom

No Violations Noted

Library

No Violations Noted

Small Classroom

No Violations Noted

Dorm Side B

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.353*	Interior Maintenance: Caulking damaged on countertop near handwash sink

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 7

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 690F at handwash sink # 4

105 CMR 451.123*	Maintenance: Hand dryer out-of-order

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.123*	Maintenance: Floor surface damaged

105 CMR 451.123	Maintenance: Hand dryer damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water not working at

handwash sink # 8

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

Showers

105 CMR 451.123*	Maintenance: Shower curtain missing in shower # 1

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 2, 3, 4, 5, 6, 7, and 8

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 620F in shower # 7

105 CMR 451.123*	Maintenance: Caulking dirty in shower # 1-8

105 CMR 451.123*	Maintenance: Soap scum on shower curtain in shower # 3, 5, 6, 7, and 8

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 2 and 4

105 CMR 451.123	Maintenance: Light flickering

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 8

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower control missing in shower # 8

Rooms

Unable to Inspect – Under Construction

Dorm Side A

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight, gap at bottom of door to exterior

Bathroom

105 CMR 451.123*	Maintenance: Wet mop stored in bucket

105 CMR 451.123	Maintenance: Outlet covers rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control missing at slop sink

105 CMR 451.123	Maintenance: Closet door and door frame rusted

105 CMR 451.123	Maintenance: Paint damaged on hand dryer

Showers

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1-7

105 CMR 451.123*	Maintenance: Caulking dirty in all showers

105 CMR 451.123*	Maintenance: Water pooling on floor outside showers

105 CMR 451.123*	Maintenance: Soap scum on floor outside all showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in

shower # 2 and 4

105 CMR 451.123	Maintenance: Walls dirty in shower # 1, 6, and 7, possible mold/mildew

Rooms

105 CMR 451.321*	Cell Size: Inadequate floor space in dorm rooms

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in dorm # A-1, A-4, A-5, A-6, and A-10

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light out in

dorm # A-6

105 CMR 451.353*	Interior Maintenance: Door knob damaged in dorm # A-2, A-4, A-5, A-7, and A-9

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in dorm # A-3 and A-7

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in dorm # A-10

105 CMR 451.103	Mattresses: Mattress damaged in dorm # A-5 and A-10

Dorm Side C

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Door frame rotted at entrance

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged at entrance

Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Control Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at drinking water sink

Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged at entrance

105 CMR 451.123*	Maintenance: Wall fan dusty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1370F at handwash sink # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose on slop sink

105 CMR 451.123*	Maintenance: Dryer vent duct damaged

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Unlabeled chemical bottle

105 CMR 451.123*	Maintenance: Partitions rotted

105 CMR 451.123*	Maintenance: Floor surface damaged and left unfinished

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.123*	Maintenance: Wall vent fan dusty

105 CMR 451.123*	Maintenance: Ceiling and wall dusty around ceiling vent

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

105 CMR 451.123	Maintenance: Wall paint damaged behind toilets

105 CMR 451.123	Maintenance: Excessive lint build-up observed behind dryers

105 CMR 451.123	Maintenance: Floor dirty throughout

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty at urinal # 1-3

105 CMR 451.123	Maintenance: Electrical outlet covers rusted

105 CMR 451.123	Maintenance: Interior of washing machine rusted

105 CMR 451.123	Maintenance: Interior of washing machine rotted

Showers

105 CMR 451.123*	Maintenance: Soap scum on shower curtain in shower # 4, 5, and 6

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1470F in shower # 7

105 CMR 451.123*	Maintenance: Floor paint damaged outside showers

105 CMR 451.123*	Maintenance: Soap scum on floor and walls in shower # 4, 5, and 6

105 CMR 451.123*	Maintenance: Water pooling on floor outside showers

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 7

105 CMR 451.123*	Maintenance: Wall vent fan dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower control missing in

shower # 3

105 CMR 451.123	Maintenance: Shower control dirty in shower # 7

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1 and 7

105 CMR 451.123	Maintenance: Floor dirty outside showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in

shower # 2 and 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

105 CMR 451.123	Maintenance: Curtain missing in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower control missing in shower # 3

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 1 and 3

Vending Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of toaster oven dirty

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Floor dirty

TV Room

No Violations Noted

Dorm

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Table tops damaged

Slop Sink Closet

No Violations Noted

Minimum Visiting Area

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Rear door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Baseboard damaged

Male Bathroom

105 CMR 451.123*	Maintenance: Baseboard damaged

105 CMR 451.123*	Maintenance: Light out

105 CMR 451.123*	Maintenance: Mirror rusted

105 CMR 451.123	Maintenance: Paper towel dispenser rusted

Female Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles missing

105 CMR 451.123	Maintenance: Paper towel dispenser rusted

Inmate Bathroom/Slop Sink

105 CMR 451.123*	Maintenance: Wall ventilation fan missing

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123	Maintenance: Floor dirty

Gym

105 CMR 451.353*	Interior Maintenance: Wall insulation damaged

105 CMR 451.353*	Interior Maintenance: Ceiling insulation damaged

105 CMR 451.353*	Interior Maintenance: Floor surface bubbling near bathroom

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

105 CMR 451.353*	Interior Maintenance: Walls damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water fountain out-of-order

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight, door damaged at entrance

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet running continuously

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123*	Maintenance: Wall surface damaged

105 CMR 451.123	Maintenance: Handwash sink dirty

Gym Office

No Violations Noted

Towers

Pedestrian Tower

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink running continuously

Tower # 1

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven damaged

Tower # 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F at handwash sink

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Vehicle Tower

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven damaged

Observations and Recommendations

- The inmate population was 567 at the time of inspection.

- Throughout the facility, bathrooms and shower areas were observed to be poorly maintained resulting in unsanitary conditions. The CSP is concerned with the increased risk of disease transmission with the high number of inmates being exposed to such unsanitary conditions. We recommend ensuring all bathroom and shower areas are finished with smooth and easily cleanable surfaces as well as developing a higher frequency shower cleaning policy.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH