The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

May 24, 2021

Stephen Kennedy, Superintendent

Old Colony Correctional Center

1 Administration Road

Bridgewater, MA 02324		(electronic copy)

Re: Facility Inspection – Old Colony Correctional Center, Bridgewater

Dear Superintendent Kennedy:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments

(State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Old Colony Correctional Center on May 11 and 12, 2021 accompanied by Alishia Madden,

Environmental Health and Safety Officer/Fire Safety Officer. Violations noted during the inspection are listed below including 475 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Thomas Turco, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

Alishia Madden, EHSO/FSO								(electronic copy)

Eric J. Badger, Health Agent, CHO, Bridgewater Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

ADMINISTRATION BUILDING

Lobby

105 CMR 451.350*	Structural Maintenance: Window cracked near metal detector

Male Bathroom

105 CMR 451.123	Maintenance: Partition rusted

Female Bathroom

No Violations Noted

Second Floor

105 CMR 451.353*		Interior Maintenance: Ceiling tiles water stained

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Break Room Area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single use utensils left uncovered and open to contamination

First Floor

Janitor’s Closet # ME-17

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Female Bathroom

105 CMR 451.123*	Maintenance: Partition rusted

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Male Bathroom

105 CMR 451.123*	Maintenance: Partition rusted

Outer Control

105 CMR 451.350*	Structural Maintenance: Windows cracked

Armory

No Violations Noted

Outer Control Bathroom

No Violations Noted

Trap

No Violations Noted

OLD COLONY MEDIUM BUILDING

GROUND LEVEL

Visiting Area

Visiting Room # EE-29

105 CMR 451.353		Interior Maintenance: Floor tiles damaged under vending machines

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

Janitor’s Closet

No Violations Noted

Attorney Room # EE-21 & EE-22

No Violations Noted

Non-Contact Visiting Area

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

Break Room # EE-23

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall vent dusty

Records Area

Records # EE-10

No Violations Noted

Records Break Room # EE-13

No Violations Noted

Male Visitor Bathroom # FE-10

No Violations Noted

Female Visitor Bathroom # FE-9

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly

Bottom Control Corridor

Mechanical/Fire Storage Room

Unable to Inspect – Locked

Lower Control

No Violations Noted

Upper Control

No Violations Noted

Bathroom

No Violations Noted

Janitor’s Closet # EE-2

No Violations Noted

SECOND LEVEL

Lower Program Corridor

Female Bathroom # E1-17

105 CMR 451.123*	Maintenance: Floor paint damaged

Male Bathroom # E1-18

No Violations Noted

DOS-Captain’s Office # E1-27

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Masjid # E1-29

No Violations Noted

Deputy of Classification Treatment # E1-31

No Violations Noted

Lower Classroom # 6

No Violations Noted

Lower Classroom # 7

No Violations Noted

Lower Classroom # 8

No Violations Noted

Bathroom # DI-16

105 CMR 451.123*	Maintenance: Partitions rusted

105 CMR 451.123		Maintenance: Ceiling dirty

Slop Sink Closet # D1-15

No Violations Noted

Library # DI-14

No Violations Noted

Slop Sink Closet # DI-13 (in Library)

Unable to Inspect – Locked

Chapel # DI-5

No Violations Noted

Janitor’s Closet # E1-1

105 CMR 451.353	Interior Maintenance: Floor paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

RTU # E1-11

No Violations Noted

New Mans Unit # D2-10

Intake Area

Janitor’s Closet # D2-9

No Violations Noted

Staff Bathroom # D2-8

105 CMR 451.126	Hot Water: Hot water temperature recorded at 600F at handwash sink

Video Conference Room # D2-7

No Violations Noted

IPS Storage # D2-6

No Violations Noted

Body Scan Room

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Office # D2-43

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Cells

No Violations Noted

IPS Office # D2-38

105 CMR 451.126	Hot Water: Hot water temperature recorded at 590F at handwash sink

Property # D2-5

No Violations Noted

Mental Health Offices # D2-4

No Violations Noted

Laundry

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, washing machine # 1 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, washing machine drains not working properly

105 CMR 451.353	Interior Maintenance: Dirty pillows observed on floor behind washing machines

Office # E2-33

No Violations Noted

Supply Closet # E2-32

No Violations Noted

Food Service

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Inmate Dining Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, window cracked

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Window screen damaged

Janitor’s Closet # E2-7

No Violations Noted

Inmate Bathroom # E2-8

No Violations Noted

Kitchen

Serving Line

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, warmer gaskets damaged on 2 warming units

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, tile grout lines dirty

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, doors on True warmer did not stay shut

Hallway

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, warmer gaskets damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 4-204.112(B)	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device, no thermometer in refrigerator

Main Kitchen

FC 6-501.11*		Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged throughout kitchen

FC 2-402.11		Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate hair restraints, staff observed without beard guards/hair nets

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall fan dusty at entrance

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking at entrance under wall fan

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or shielded, light shield missing on several light fixtures throughout kitchen

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, wall fan dusty near walk-in cooler

Handwash Sink

FC 6-301.14	Numbers and Capacity; Handwashing Sinks: No handwashing signage located at handwashing sink

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, bracket holding sink to wall rusted

3-Compartment Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, sprayer head dirty

Tray Return Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

Dishwashing Machine Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, 2 wall fans dusty

FC 4-901.11(A)	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry before contact with food, metal trays observed being stacked wet

Ice Machine

No Violations Noted

Mop Closet E2-20

No Violations Noted

Prep Area

No Violations Noted

Hood Vents

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, hood vent dirty

Kettle Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet between kettles leaking

2-Compartment Sink

FC 5-203.14(B)	Plumbing System; Numbers and Capacities: Right and left side faucet missing backflow prevention deviceP

Walk-In Cooler

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, gaskets damaged

FC 4-204.112(B)	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device, no thermometer in refrigerator

Walk-In Freezer

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, gaskets damaged

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, excessive ice build-up inside entrance

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, excessive ice build-up on fans

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, door damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, door latch damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, door unable to shut properly

Handwash Sink

FC 6-301.14	Numbers and Capacity; Handwashing Sinks: No handwashing signage located at handwashing sink

Dry Storage

No Violations Noted

Office

105 CMR 451.350*	Structural Maintenance: Window cracked

Storage Closet

FC 3-305.11(A)(3)	Preventing Contamination from the Premises; Food Storage: Paper products not stored at least 6" off the ground

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions for fire safety, items stored within 18 inches of ceiling

Inmate Break Area

No Violations Noted

Supply Area

Loading Dock

FC 6-202.15(A)(3)	Design, Construction, and Installation; Functionality: Outer openings not protected against the entry of insects and rodents, door not tight fitting

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens missing from window near loading dock door

Recycling Room

105 CMR 451.350*	Structural Maintenance: Window cracked

Swill Room

No Violations Noted

Maintenance # E2-39

No Violations Noted

Chemical Storage # E2-36

No Violations Noted

Bathroom # E2-30

FC 6-301.11 	Numbers and Capacity; Handwashing Sinks: No soap at handwash sinkPf

Staff Bathroom # E2-31

FC 3-305.11(A)(1)	Preventing Contamination from the Premises; Food Storage: Food not stored in a clean, dry location, paper products stored in shower

Culinary Arts # E2-12

Unable to Inspect – Not in Use

Health Service Unit

Control

105 CMR 451.350*	Structural Maintenance: Window cracked at entrance

Holding Cell # D2-17

No Violations Noted

Mental Health D2-18

No violations Noted

Dental # D2-20

No Violations Noted

Mop Closet # D2-19

No Violations Noted

Nurse Practitioner I # D2-25

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 910F at handwash sink

Nurse Practitioner II # D2-28

No Violations Noted

X-Ray # D2-30

No Violations Noted

Code 99 Room # D2-54

105 CMR 451.126	Hot Water: Hot water temperature recorded at 600F at handwash sink

Room # D2-55

No Violations Noted

Hallway # D2-56

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Window cracked at end of hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged outside showers

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Break Room # D2-67

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Cabinets damaged

Health Awareness # D2-69

No Violations Noted

Biohazard Room # D2-75

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # D2-79 and D2-80

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 600F in shower # D2-80

105 CMR 451.123	Maintenance: Radiator rusted in shower # D2-80

105 CMR 451.123	Maintenance: Door rusted in shower # D2-79

Female Bathroom # D2-78

No Violations Noted

Cells

No Violations Noted

Lab Medical Assistant # D2-66

No Violations Noted

Doctor’s Office # D2-61

No Violations Noted

Ward # D2-60

No Violations Noted

Male Bathroom # D2-58

No Violations Noted

Medical Records # D2-57

No Violations Noted

Room # D2-31

No Violations Noted

Lab # D2-29

105 CMR 480.500(B)	Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment

105 CMR 480.500(I)	Procedures; Records; Record-Keeping Log: Generator did not allow reasonable access to these procedures, records, and record-keeping logs to the Department, log book not available for review

Psych Services II # D2-27

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Opthamology # D2-26

No Violations Noted

Nurse’s Station # D2-16

No Violations Noted

I.S.O.U.

Control

105 CMR 451.353*	Interior Maintenance: Ceiling water stained

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Control Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Recreation Area

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Stair treads damaged

Nurse’s Office

No Violations Noted

Medication Room

No Violations Noted

Break Room

No Violations Noted

Recreation Room

No Violations Noted

Handicapped Shower

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Handicapped Cell

No Violations Noted

Upper Level

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored upside down

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

Shower (Left)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Shower (Right)

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure in shower

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # M8, M9, M11, and M12

105 CMR 451.350	Structural Maintenance: Window cracked in cell # M5

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # M12

Lower Level

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Treatment Room

No Violations Noted

Shower (Left)

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Sprinkler head rusted

105 CMR 451.123*	Maintenance: Wall tiles damaged

Shower (Right)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

No Violations Noted

CCRS Office # C2-8

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single use utensils left uncovered and open to contamination

Bathroom # C2-9

No Violations Noted

Sampson Unit

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Window cracked

Control Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Recreation Area

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Window cracked

Closet # CL2-12

No Violations Noted

Program Room

No Violations Noted

Program Room # CL2-11

No Violations Noted

Staff Break Room # CL2-10

No Violations Noted

CPO Office # CL2-17

No Violations Noted

Med Room # CL2-18

Unable to Inspect – Locked

Razor Closet # CL2-19

No Violations Noted

Handicapped Cell # CL2-22

No Violations Noted

Handicapped Shower # CL2-20

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tile grout lines dirty, possible mold/mildew

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower control leaking

Top Tier

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

Janitor’s Closet # CM-13

105 CMR 451.130*	Plumbing: No backflow preventer on sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water control leaking at slop sink

Shower # CM-14

Unable to Inspect – In Use

Shower # CM-15

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Soap scum on floor

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # C2-M12

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink in cell # C2-M8

Bottom Tier

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Janitor’s Closet # CG-13

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # CG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

Shower # CG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Wall tiles damaged

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # C2-G14

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # C2-G8

105 CMR 451.350	Structural Maintenance: Window cracked in cell # C2-G13

Restricted Housing Unit (Segregation)

Control

105 CMR 451.350*	Structural Maintenance: Windows cracked

Control Bathroom

No Violations Noted

Recreation Area

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Stair treads damaged

Staff Break Room # CL2-30

No Violations Noted

Supply Closet # CL2-28

No Violations Noted

Medical Cubical

No Violations Noted

Handicapped Cell # CL2-25

No Violations Noted

Handicapped Shower # CL2-27

No Violations Noted

Top Tier

Janitor’s Closet # CM-40

No Violations Noted

Shower # CM-41

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling vent rusted

Shower # CM-42

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

No Violations Noted

Bottom Tier

Janitor’s Closet # CG-40

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Shower # CG-41

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

Shower # CG-42

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # G11

Attucks 1 & 2 Med Room # EI-7

105 CMR 451.126	Hot Water: Hot water temperature recorded at 980F at handwash sink

Recovery Unit

Control

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked

Handicapped Cell

No Violations Noted

Razor Closet

No Violations Noted

Medical Office

105 CMR 451.126	Hot Water: Hot water temperature recorded at 640F at handwash sink

Office # 1

No Violations Noted

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Top Tier Left Side

Slop Sink Closet # FM-13

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 out-of-order

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # FM-12

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in cell # FM-4

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # FM-11

105 CMR 451.103	Mattresses: Mattress damaged in cell # FM-8

Bottom Tier Left Side

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

105 CMR 451.350*	Structural Maintenance: Window cracked in hallway

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Shower (Left)

No Violations Noted

Shower (Right)

105 CMR 451.123*	Maintenance: Soap scum on walls

Medical Room # FG-1

105 CMR 205.103(A)*	Examinations to be Conducted in Privacy: No hands-free controls provided for 	handwash sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 730F at handwash sink

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # FG-12

Bottom Tier Right Side

105 CMR 451.350*	Structural Maintenance: Window cracked in hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

Slop Sink # G-40

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # G-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Floor epoxy damaged at entrance

Handicapped Shower

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # FG-21

105 CMR 451.353*	Interior Maintenance: Heater rusted in cell # FG-21

105 CMR 451.103	Mattresses: Mattress damaged in cell # FG-28

Top Tier Right Side

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

Slop Closet # M-40

No Violations Noted

Shower # M-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.123	Maintenance: Floor epoxy damaged at entrance

Shower # M-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.130	Hot Water: Shower water temperature 58°F

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # FM-29

105 CMR 451.103	Mattresses: Mattress damaged in cell # FM-24, FM-26, and FM-30

Attucks 2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.353	Interior Maintenance: Water pooling on floor outside janitor’s closet and showers

Handicapped Cell

No Violations Noted

Razor Closet # GL-7

No Violations Noted

CPO Office

No Violations Noted

Meeting Room

No Violations Noted

Top Tier Left Side

Janitor’s Closet # GM-13

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # GM-14

105 CMR 451.123	Maintenance: Soap scum on floor

Shower # GM-15

105 CMR 451.123*	Maintenance: Soap scum on floor

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # GM-10

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GM-9 and GM-13

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # GM-3, GM-6 and GM-7

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in cell # GM-8

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # GM-9, GM-11, and GM-12

Bottom Tier Left Side

Janitor’s Closet # GG-13

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.353	Interior Maintenance: Water pooling on floor and leaking into common area

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # GG-14

Unable to Inspect – In Use

Shower # GG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GG-9, GG-10, GG-11, and GG-13

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # GG-12 and GG-13

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # GG-3

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # GG-5

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # CG-10

Bottom Tier Right Side

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Janitor’s Closet # GG-40

No Violations Noted

Shower # GG-41

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on floor

Handicapped Shower # GG-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # GG-23

105 CMR 451.141*	Screens: Screen damaged in cell # GG-22

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # GG-16

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GG-19

105 CMR 451.103	Mattresses: Mattress damaged in cell # CG-20

105 CMR 451.141	Screens: Screen damaged in cell # CG-25

Top Tier Right Side

105 CMR 451.353	Interior Maintenance: Floor tiles missing in hallway

Janitor’s Closet # GM-40

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # GM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # GM-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # GM-20 and GM-29

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # GM-18

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GM-20

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # GM-18

105 CMR 451.353*	Interior Maintenance: Ceiling water stained in cell # GM-24

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # GM-16, GM-17, and GM-28,

105 CMR 451.350	Structural Maintenance: Window cracked in cell # GM-18

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # GM-22, GM-26, and GM-27

Attucks 3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Door window cracked

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Paint damaged on handrails

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Handicapped Cell # JL-9

No Violations Noted

Razor Closet # JL-7

No Violations Noted

CPO Office

No Violations Noted

Meeting Rooms

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in Meeting Room # 2

Top Tier Left Side

105 CMR 451.353	Interior Maintenance: Baseboard damaged outside showers

Janitor’s Closet # JM-13

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

Shower # JM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123	Maintenance: Ceiling vent damaged

Shower # JM-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # JM-14

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # JM-9

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # JM-12 and JM-13

Bottom Tier Left Side

Janitor’s Closet # JG-13

105 CMR 451.353	Interior Maintenance: Wet mops stored in slop sink

Shower # JG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # JG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # JG-12

105 CMR 451.141	Screens: Screen damaged in cell # JG-6

Bottom Tier Right Side

Janitor’s Closet # JG-40

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # JG-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on shower curtain

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

Handicapped Shower # JG-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Soap scum on bench

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Door paint damaged

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # JG-26

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # JG-25

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # JG-17, JG-29, and JG-30

Top Tier Right Side

105 CMR 451.353*	Structural Maintenance: Window cracked in hallway

Janitor’s Closet # JM-40

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # JM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Shower # JM-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # JM-16

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # JM-20 and JM-21

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # JM-25 and JM-26

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # JM-23, JM-24, and JM-30

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # JM-28 and JM-29

Attucks 4

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Door window cracked

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked near handicapped cell

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

Handicapped Cell # HL-9

No Violations Noted

Razor Closet # HL-7

No Violations Noted

CPO Office

No Violations Noted

Meeting Rooms

No Violations Noted

Top Tier Left Side

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

Janitor’s Closet # HM-13

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # HM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # HM-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HM-4 and HM-14

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # HM-8

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # HM-5 and HM-15

Bottom Tier Left Side

Janitor’s Closet # HG-13

105 CMR 451.353*	Interior Maintenance: Wet mop stored upside down

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # HG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower running continuously

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # HG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # HG-2 and HG-5

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # HG-9 and HG-10

Bottom Tier Right Side

Janitor’s Closet # HG-40

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353	Interior Maintenance: Light out

Shower # HG-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on curtain

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Handicapped Shower # HG-42

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Inside of door rusted

105 CMR 451.123*	Maintenance: Soap scum on floor

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HG-17, HG-22, and HG-25

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # HG-28

105 CMR 451.350	Structural Maintenance: Window cracked in cell # HG-19

Top Tier Right Side

Janitor’s Closet # HM-40

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Shower # HM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Soap scum on walls

Shower # HM-42

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HM-22 and HM-26

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # HM-16, HM-21, HM-23, HM-24,

HM-25, HM-27, and HM-30

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # HM-20 and HM-28

Lieutenant’s Office # L1-11

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single use utensils left uncovered and open to contamination

Bathroom # L1-15

No Violations Noted

Unit Team Office # H1-11

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single use utensils left uncovered and open to contamination

Bathroom # H1-15

No Violations Noted

Dawes 1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

No Violations Noted

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Paint damaged on handrails

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.350	Structural Maintenance: Window cracked

Razor Closet # LI-7

No Violations Noted

CPO Office

No Violations Noted

Shaving Room

No Violations Noted

Meeting Room

No Violations Noted

Top Tier Left Side

Janitor’s Closet # LM-13

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Shower # LM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Tile grout dirty, possible mold/mildew

Shower # LM-15

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Tile grout dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # LM-4

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # LM-11

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # LM-2

105 CMR 451.141	Screens: Screen damaged in cell # LM-7

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LM-4, LM-9, and LM-10

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # LM-3

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # LM-11

Bottom Tier Left Side

Janitor’s Closet # LG-13

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Shower # LG-14

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

Shower # LG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Walls rust stained

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # LG-4 and LG-10

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking in cell # LG-9

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LG-12

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # LG-9

Bottom Tier Right Side

Janitor’s Closet # LG-40

No Violations Noted

Shower # LG-41

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Handicapped Shower # LG-42

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Door rusted

105 CMR 451.123	Maintenance: Soap scum on floor

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # LG-16, LG-17, and LG-28

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in cell # LG-18

105 CMR 451.141	Screens: Screen damaged in cell # LG-20

105 CMR 451.350	Structural Maintenance: Window cracked in cell # LG-19 and LG-24

Handicapped Cell # LI-9

No Violations Noted

Top Tier Right Side

Janitor’s Closet # LM-40

No Violations Noted

Shower # LM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tile grout lines moldy

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # LM-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tile grout lines moldy

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123	Maintenance: Floor epoxy damaged

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # LM-23

105 CMR 451.141*	Screens: Screen damaged in cell # LM-28

105 CMR 451.353*	Interior Maintenance: Wall vent dusty in cell # LM-16

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LM-21 and LM-22

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # LM-26 and LM-29

105 CMR 451.350	Structural Maintenance: Window cracked on door to cell # LM-20

Dawes 2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

No Violations Noted

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

105 CMR 451.353*	Interior Maintenance: Paint damaged on handrails

105 CMR 451.353*	Interior Maintenance: Wall paint damaged around phones

Razor Closet # KL-7

No Violations Noted

CPO’s Office

No Violations Noted

Meeting Rooms

No violations Noted

Handicapped Cell # KL-9

No Violations Noted

Top Tier Left Side

Janitor’s Closet # KM-13

105 CMR 451.353*	Interior Maintenance: Wet mop stored upside down

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Shower # KM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tile grout lines dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # KM-15

Unable to Inspect – In Use

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # KM-10

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # KM-1, KM-9, and KM-14

105 CMR 451.350*	Structural Maintenance: Wall vent blocked in cell # KM-13

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # KM-4 and KM-8

105 CMR 451.141	Screens: Screen damaged in cell # KM-15

105 CMR 451.103	Mattresses: Mattress damaged in cell # KM-12

Bottom Tier Left Side

Janitor’s Closet # KG-13

105 CMR 451.353	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wet mops stored in bucket

Shower # KG-14

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # KG-15

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Ceiling paint damaged

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # KG-4, KG-8, and KG-14

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # KG-15

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink in cell # KG-5

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # KG-2 and KG-8

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # KG-6

105 CMR 451.350	Structural Maintenance: Window cracked in cell # KG-8

Bottom Tier Right Side

Janitor’s Closet # KG-40

No Violations Noted

Shower # KG-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Floor epoxy damaged

Handicapped Shower # KG-42

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Floor surface unfinished at entrance

105 CMR 451.123*	Maintenance: Door rusted

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # KG-19

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # KG-28

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # KG-26

Top Tier Right Side

Janitor’s Closet # KM-40

105 CMR 451.353	Interior Maintenance: Wet mops stored upside down

Shower # KM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Wall tile grout dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Soap scum on curtain

Shower # KM-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tile grout lines moldy

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123	Maintenance: Soap scum on curtain

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # KM-17, KM-18, and KM-21

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # KM-19, KM-23, and KM-27

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # KM-20

105 CMR 451.141*	Screens: Screen damaged in cell # KM-22

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # KM-17 and KM-21

Staff Bathroom # OU-10

No Violations Noted

CPO Offices

No Violations Noted

Orientation Unit

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Window cracked in hallway outside entrance

Control

105 CMR 451.350*	Structural Maintenance: Window cracked on door

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Dog Program Room

No Violations Noted

CPO’s Office

No Violations Noted

Top Tier

Shower # OUM1-OUM5	Unable to Inspect shower # OUM-3 – In Use

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # OUM-5

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, insufficient water pressure in

shower # OUM-2

105 CMR 451.123*	Maintenance: Wall caulking dirty and damaged in shower # OUM-1

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # OUM-1

Janitor’s Closet # OUM6

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Dog Storage Area # OU-19

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 142

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 134

105 CMR 451.141*	Screens: Screen damaged in cell # 145, 146, 148, and 150

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 141

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 131, 132, 136, 139, 140, 141, 144, 145, 146, 147, 148, 150, 151, 153, 154, 156, and 157

105 CMR 451.141	Screens: Screen damaged in cell # 144 and 151

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 132, 152, 153, and 159

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 133, 137, 142, 143, and 152

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 155

Bottom Tier

Shower # OUG1-OUG5	Unable to Inspect shower # OUG-1 – In Use

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # OUG-5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # OUG-5

105 CMR 451.123*	Maintenance: Floor surface damaged shower # OUG-5

105 CMR 451.123	Maintenance: Ceiling dirty in shower # OUG-5, possible mold/mildew

105 CMR 451.123	Maintenance: Door dirty in shower # OUG-5, possible mold/mildew

Janitor’s Closet # OUG6

105 CMR 451.353*	Interior Maintenance: Wet mops stored upside down

105 CMR 451.353	Interior Maintenance: Floor surface damaged

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # 108

105 CMR 451.141*	Screens: Screens damaged in cell # 112, 115, 125, and 126

105 CMR 451.350*	Structural Maintenance: Window cracked on door to cell # 120

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # 117

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 118

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 119

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 102, 113, and 115

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 104, 112, 126, and 130

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 105 and 118

105 CMR 451.350	Structural Maintenance: Window cracked on door to cell # 111

Razor Room

No Violations Noted

Industries Building

Control

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Control Bathroom

No Violations Noted

Storage Closet

Unable to Inspect – Locked

Spectrum A2-16

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Health Services Admin. A2-24

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Mental Health

No Violations Noted

Bathroom

No Violations Noted

Gym Program Room # A2-32

No Violations Noted

Bathroom (in Program Room)

Unable to Inspect – Locked

Gym

105 CMR 451.353*	Interior Maintenance: Floor surface damaged

Weight Room

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

Music Room # A2-41

No Violations Noted

Inmate Bathroom

No Violations Noted

Office # A2-39

No Violations Noted

Stairwell # A2-43

No Violations Noted

Staff Bathroom # A2-44

No Violations Noted

Closet # A2-45

No Violations Noted

Storage # A2-46

Unable to Inspect – Locked

Slop Sink # B2-7

No Violations Noted

American Vet Dogs Room # B2-4

No Violations Noted

Print Shop

Main Area

No Violations Noted

Office # B2-11

No Violations Noted

Office # B2-13

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom # B2-16

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Loading Dock

No Violations Noted

Break Room

No Violations Noted

Paper Room # B2-21

No Violations Noted

Barber Shop

105 CMR 451.353*	Interior Maintenance: Counter top damaged

Classrooms

Computer Lab

No Violations Noted

Principal’s Office # A2-10

No Violations Noted

Closet # A2-9

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Room # A2-11

No Violations Noted

Room # A2-20

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Room # A2-27

No Violations Noted

Room # A2-29

No Violations Noted

Janitor’s Closet # A2-31

105 CMR 451.353*	Interior Maintenance: Wet mop stored in sink

Inmate Bathroom # A2-30

No Violations Noted

Staff Bathroom # A2-21

No Violations Noted

Staff Bathroom # A2-18

105 CMR 451.123	Maintenance: Ceiling vent dusty

OLD COLONY MINIMUM

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged underneath vending machines

Staff Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single use utensils left uncovered and open to contamination

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator rusted

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator gaskets moldy

Offices

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mops stored in buckets

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Barber Area

No Violations Noted

Staff Bathroom

No Violations Noted

Medical

105 CMR 451.126	Hot Water: Hot water temperature 57°F at handwash sink

Medical Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Large Classroom

No Violations Noted

Library

No Violations Noted

Small Classroom

No Violations Noted

Dorm Side B

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.353*	Interior Maintenance: Caulking damaged on counter top near handwash sink

105 CMR 451.344*	Illumination in Habitable Areas: Light flickering

105 CMR 451.344	Illumination in Habitable Areas: Several lights out

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Baseboard missing

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 7

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1350F at handwash sink # 4

105 CMR 451.123*	Maintenance: Hand dryer out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.123	Maintenance: Floor surface damaged

105 CMR 451.123	Maintenance: Light out

105 CMR 451.123	Maintenance: Hand sanitizer dispenser damaged

Showers

105 CMR 451.123*	Maintenance: Shower curtain missing in shower # 1

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 2, 3, 4, 5, 6, 7, and 8

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 760F in shower # 7

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 860F in shower # 8

105 CMR 451.123*	Maintenance: Caulking dirty in shower # 1-8

105 CMR 451.123*	Maintenance: Soap scum on shower curtain in shower # 3, 6, and 7

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 5 and 8

105 CMR 451.123	Maintenance: Light out

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

Rooms

105 CMR 451.321*	Cell Size: Inadequate floor space in dorm rooms

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in dorm # B-1, B-2, B-3, B-8, and B-10

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in dorm # B-1, B-4, B-5, B-7, and B-10

105 CMR 451.353*	Interior Maintenance: Door knob surface damaged in dorm # B-1, B-3, B-4, B-5, B-6,

B-7, B-8, and B-10

105 CMR 451.344*	Illumination in Habitable Areas: Lights not functioning properly, lights out in

dorm # B-3, B-7, and B-9

105 CMR 451.103	Mattresses: Mattress damaged in dorm # B-1, B-6, B-7, B-8, and B-10

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in dorm # B-7

105 CMR 451.353	Interior Maintenance: Ceiling vent cover missing in dorm # B-7

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in dorm # B-2

105 CMR 451.353	Interior Maintenance: Door rusted in all dorm rooms

Dorm Side A

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Bathroom

105 CMR 451.123	Maintenance: Wet mop stored in bucket

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, insufficient hot water pressure at handwash sink # 1

Showers	Unable to Inspect Shower # 6 and 8 – In Use

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1-7

105 CMR 451.123*	Maintenance: Caulking dirty in all showers

105 CMR 451.123*	Maintenance: Water pooling on floor outside showers

105 CMR 451.123*	Maintenance: Shower curtain missing in shower # 7

105 CMR 451.123*	Maintenance: Soap scum on floor outside all showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 and 3 out-of-order

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 5

Rooms

105 CMR 451.321*	Cell Size: Inadequate floor space in dorm rooms

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in dorm # A-2 and A-5

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in dorm # A-1, A-3, A-4, A-5, A-6, A-7, A-8, and A-9

105 CMR 451.353*	Interior Maintenance: Light shield missing in dorm # A-4

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light out in

dorm # A-6, A-7, and A-10

105 CMR 451.353*	Interior Maintenance: Door knob damaged in dorm # A-3, A-4, A-5, A-6, A-7, and A-9

105 CMR 451.353*	Interior Maintenance: Ceiling vent damaged in dorm # A-5 and A-7

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out in

dorm # A-5, A-8, and A-9

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in dorm # A-10

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in dorm # A-3 and A-7

105 CMR 451.353	Interior Maintenance: Door knob damaged in dorm # A-2

Dorm Side C

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Door frame rotted at entrance

105 CMR 451.353	Interior Maintenance: Floor tiles damaged at entrance

Control

No Violations Noted

Control Bathroom

105 CMR 451.123	Maintenance: Floor tiles damaged

Vending Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of toaster oven dirty

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Floor dirty

TV Room

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at drinking water sink

Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged at entrance

105 CMR 451.123*	Maintenance: Wall fan dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 7

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1500F at handwash sink # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose on slop sink

105 CMR 451.123*	Maintenance: Dryer vent duct damaged

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash

sink # 5

105 CMR 451.123*	Maintenance: Unlabeled chemical bottle

105 CMR 451.123	Maintenance: Partitions rotted

105 CMR 451.123	Maintenance: Floor surface damaged and left unfinished

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, washing machine not draining properly

105 CMR 451.123	Maintenance: Water pooling on floor underneath and around washing machines

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash

sink # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.123	Maintenance: Wall vent fan dusty

105 CMR 451.123	Maintenance: Ceiling and wall dusty around ceiling vent

Showers

105 CMR 451.123*	Maintenance: Soap scum on shower curtain in shower # 4, 5, and 6

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1320F in shower # 7

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking in

shower # 1 and 4

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head missing in

shower # 2

105 CMR 451.123*	Maintenance: Floor paint damaged outside showers

105 CMR 451.123*	Maintenance: Soap scum on floor and walls in shower # 4, 5, 6, and 7

105 CMR 451.123	Maintenance: Water pooling on floor outside showers

105 CMR 451.123	Maintenance: Curtain missing in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 3

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 7

105 CMR 451.123	Maintenance: Wall vent fan dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower control missing in

shower # 3

Dorm

105 CMR 451.103*	Mattresses: Mattress damaged at bed # 10

105 CMR 451.103	Mattresses: Mattress damaged at bed # 19, 43, and 44

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Slop Sink Closet

No Violations Noted

Minimum Visiting Area

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Rear door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Baseboard damaged

Male Bathroom

105 CMR 451.123*	Maintenance: Baseboard damaged

105 CMR 451.123	Maintenance: Light out

105 CMR 451.123	Maintenance: Mirror rusted

105 CMR 451.123	Maintenance: Flies observed

Female Bathroom

105 CMR 451.123	Maintenance: Ceiling tiles missing

Inmate Bathroom/Slop Sink

105 CMR 451.123*	Maintenance: Wall ventilation fan missing

105 CMR 451.123	Maintenance: Light shield missing

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Gym

105 CMR 451.353*	Interior Maintenance: Wall insulation damaged

105 CMR 451.353*	Interior Maintenance: Ceiling insulation damaged

105 CMR 451.353*	Interior Maintenance: Floor surface bubbling near bathroom

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

105 CMR 451.353*	Interior Maintenance: Walls damaged

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet running continuously

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1010F at handwash sink

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123	Maintenance: Wall surface damaged

Gym Office

No Violations Noted

Towers

Pedestrian Tower

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Windows cracked

Tower # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded at 650F at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven damaged

Tower # 2

105 CMR 451.141*	Screens: Screens damaged

Vehicle Tower

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven damaged

Observations and Recommendations

- The inmate population was 626 at the time of inspection.

- The Culinary Arts Kitchen was closed at the time of inspection. The Department asks that you keep us apprised of any plans to make this kitchen operational.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH