The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

June 10, 2019

Suzanne Thibault, Superintendent

Old Colony Correctional Center

1 Administration Road

Bridgewater, MA 02324		(electronic copy)

Re: Facility Inspection – Old Colony Correctional Center, Bridgewater

Dear Superintendent Thibault:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Old Colony Correctional Center on May 29 and 30, 2019 accompanied by Alishia Madden,

Environmental Health and Safety Officer/Fire Safety Officer. Violations noted during the inspection are listed below including 276 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

ADMINISTRATION BUILDING

Lobby

105 CMR 451.350	Structural Maintenance: Window cracked near metal detector

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking on left side

handwash sink

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, toilet # 2 out-of-order

Second Floor

Female Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking on right side handwash sink

Break Room Area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single service utensils left uncovered

First Floor

Janitor’s Closet # ME-17

No Violations Noted

Female Bathroom

Unable to Inspect – In Use

Male Bathroom

105 CMR 451.123*	Maintenance: Partition rusted

Outer Control

105 CMR 451.350*	Structural Maintenance: Windows cracked

Armory

No Violations Noted

Outer Control Bathroom

No Violations Noted

Trap

No Violations Noted

OLD COLONY MEDIUM BUILDING

GROUND LEVEL

Visiting Area

Visiting Room # EE-29

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single service utensils left uncovered

Janitor’s Closet

No Violations Noted

Attorney Room # EE-21 & EE-22

No Violations Noted

Non-Contact Visiting Area

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

Break Room # EE-23

No Violations Noted

Records Area

Records # EE-10

No Violations Noted

Records Break Room # EE-13

No Violations Noted

Male Visitor Bathroom # FE-10

105 CMR 451.123	Maintenance: Ceiling vent rusted

Female Visitor Bathroom # FE-9

No Violations Noted

Bottom Control Corridor

Mechanical/Fire Storage Room

Unable to Inspect – Locked

Lower Control

No Violations Noted

Upper Control

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly

Janitor’s Closet # EE-2

No Violations Noted

SECOND LEVEL

Lower Program Corridor

Female Bathroom # E1-17

105 CMR 451.123*	Maintenance: Floor paint damaged

Male Bathroom # E1-18

No Violations Noted

DOS-Captain’s Office # E1-27

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Masjid # E1-29

No Violations Noted

Deputy of Classification Treatment # E1-31

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single service utensils left uncovered

Lower Classroom # 6

No Violations Noted

Lower Classroom # 7

No Violations Noted

Lower Classroom # 8

No Violations Noted

Slop Sink Closet # D1-15

No Violations Noted

Bathroom # DI-16

105 CMR 451.123	Maintenance: Partitions rusted

Library # DI-14

No Violations Noted

Slop Sink Closet # DI-13 (in Library)

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Chapel # DI-5

No Violations Noted

RTU # E1-11

105 CMR 451.353*	Interior Maintenance: Ceiling surface damaged

New Mans Unit # D2-10

Intake Area

Janitor’s Closet # D2-9

No Violations Noted

Staff Bathroom # D2-8

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 730F at handwash sink

Video Conference Room # D2-7

No Violations Noted

Medical Records # D2-6

No Violations Noted

Body Scan Room

No Violations Noted

Office # D2-43

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Cells

No Violations Noted

Mental Health Office # D2-38

No Violations Noted

Property # D2-5

105 CMR 451.353	Interior Maintenance: Upholstery damaged on office chair

Mental Health Offices # D2-4

No Violations Noted

Laundry

Office # E2-33

No Violations Noted

Supply Closet # E2-32

No Violations Noted

Food Service

Inmate Dining Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window cracked

Janitor’s Closet # E2-7

No Violations Noted

Inmate Bathroom # E2-8

No Violations Noted

Kitchen

Serving Line

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, warmer gaskets damaged on 2 warming units

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sink water temperature recorded at 840F

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, tile grout lines dirty

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels available

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light shield damaged

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: True Refrigerator 	temperature recorded at 610F

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, doors on True warmer did not stay shut

Hallway

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, warmer gaskets damaged

Main Kitchen

FC 6-501.11		Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout kitchen

Handwash Sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels available

3-Compartment Sink

No Violations Noted

Tray Return Area

No Violations Noted

Dishwashing Machine Area

No Violations Noted

Ice Machine

No Violations Noted

Mop Closet E2-20

No Violations Noted

Prep Area

No Violations Noted

Hood Vents

No Violations Noted

Kettle Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking

2-Compartment Sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet loose on right sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking on left sink

Walk-In Cooler

No Violations Noted

Walk-In Freezer

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, excessive ice

build-up inside entrance

Handwash Sink

No Violations Noted

Dry Storage

No Violations Noted

Office

105 CMR 451.350	Structural Maintenance: Window cracked

Storage Closet

No Violations Noted

Inmate Break Area

No Violations Noted

Supply Area

Recycling Room

105 CMR 451.350*	Structural Maintenance: Window cracked

Swill Room

No Violations Noted

Maintenance # E2-39

No Violations Noted

Chemical Storage # E2-36

No Violations Noted

Trash Compactor

No Violations Noted

Bathroom # E2-30

No Violations Noted

Staff Bathroom # E2-31

No Violations Noted

Culinary Arts # E2-12

Unable to Inspect – Not in Use

Health Service Unit

Control

105 CMR 451.350*	Structural Maintenance: Window cracked at entrance

Holding Cell # D2-17

No Violations Noted

Mental Health D2-18

No violations Noted

Dental # D2-20

No Violations Noted

Mop Closet # D2-19

No Violations Noted

Nurse Practitioner I # D2-25

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F

Nurse Practitioner II # D2-28

No Violations Noted

X-Ray # D2-30

No Violations Noted

Code 99 Room # D2-54

No Violations Noted

Room # D2-55

No Violations Noted

Hallway D2-56

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Break Room # D2-67

No Violations Noted

Health Awareness # D2-69

No Violations Noted

Biohazard Room # D2-75

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # D2-79 and D2-80

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # D2-79

105 CMR 451.130	Hot Water: Shower water temperature recorded at 680F in shower # D2-80

Female Bathroom # D2-78

105 CMR 451.126	Hot Water: Hot water temperature recorded at 770F at handwash sink

Cells

No Violations Noted

Lab Medical Assistant # D2-66

No Violations Noted

Doctor’s Office # D2-61

No Violations Noted

Ward # D2-60

No Violations Noted

Male Bathroom # D2-58

No Violations Noted

P.C.S. # D2-57

No Violations Noted

Room # D2-31

No Violations Noted

Office # D2-29

105 CMR 480.425(A)*	Tracking Medical or Biological Waste for Treatment: Generator did not confirm the shipment was received by the treatment facility within 30 days on an approved tracking form

Psych Services II # D2-27

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

P.T. Optometry # D2-26

No Violations Noted

Nurse’s Station # D2-16

No Violations Noted

I.S.O.U.

Control

105 CMR 451.353*	Interior Maintenance: Ceiling water stained

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1840F at handwash sink

Control Bathroom

105 CMR 451.123	Maintenance: Floor paint damaged

Recreation Area

No Violations Noted

Common Area

No Violations Noted

Nurse’s Office

No Violations Noted

Medication Room

No Violations Noted

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Recreation Room

No Violations Noted

Handicapped Shower

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Handicapped Cell

No Violations Noted

Upper Level

Slop Sink Closet

No Violations Noted

Shower (Left)

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 610F

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Ceiling vent dusty

Shower (Right)

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123	Maintenance: Walls dirty

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # M8, M9, M11, and M12

Lower Level

Slop Sink Closet

No Violations Noted

Treatment Room

No Violations Noted

Shower (Left)

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.130	Hot Water: Shower water temperature recorded at 620F

105 CMR 451.123	Maintenance: Sprinkler head rusted

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Excessive moisture build-up on ceiling

Shower (Right)

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123	Maintenance: Ceiling vent dusty

Cells

No Violations Noted

Sampson Unit

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1700F at handwash sink

Control Bathroom

No Violations Noted

Recreation Area

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Paint damaged on handrails

105 CMR 451.350	Structural Maintenance: Window cracked

Closet # CL2-12

No Violations Noted

Program Room

No Violations Noted

Program Room # CL2-11

No Violations Noted

Staff Break Room # CL2-10

No Violations Noted

CPO Office # CL2-17

No Violations Noted

Med Room # CL2-18

Unable to Inspect – Locked

Razor Closet # CL2-19

No Violations Noted

Handicapped Cell # CL2-22

No Violations Noted

Handicapped Shower # CL2-20

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123*	Maintenance: Wall tile grout lines dirty

Top Tier

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Janitor’s Closet # CM-13

105 CMR 451.130*	Plumbing: No backflow preventer on sink

Shower # CM-14

No Violations Noted

Shower # CM-15

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # C2-M12

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink in cell #C2-M8

Bottom Tier

Janitor’s Closet # CG-13

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

Shower # CG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Floor surface damaged

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # CG-15

105 CMR 451.123*	Maintenance: Excessive moisture build-up on ceiling

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # C2-G12, C2-G13 and C2-G14

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # C2-G12

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # C2-G8 and C2-G15

CCRS Office # CL2-8

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing and damaged

Bathroom # C2-9

No Violations Noted

Restricted Housing Unit (Segregation)

Control

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1360F at handwash sink

Control Bathroom

No Violations Noted

Recreation Area

No Violations Noted

Common Area

Staff Break Room # CL2-30

No Violations Noted

Supply Closet # CL2-28

No Violations Noted

Medical Cubical

No Violations Noted

Handicapped Cell # CL2-25

No Violations Noted

Handicapped Shower # CL2-27

105 CMR 451.123	Maintenance: Floor rust stained

Top Tier

Janitor’s Closet # CM-40

No violations Noted

Shower # CM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # CM-42

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 950F

105 CMR 451.123	Maintenance: Soap scum on floor

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # C1-M3

Bottom Tier

Janitor’s Closet # CG-40

No Violations Noted

Shower # CG-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling vent rusted

Shower # CG-42

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

No Violations Noted

Attucks 1 & 2 Med Room # EI-7

No Violations Noted

Recovery Unit

Control

No Violations Noted

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked

Handicapped Cell

No Violations Noted

Razor Closet

No Violations Noted

Medical Office

105 CMR 451.126	Hot Water: Hot water temperature recorded at 740F at handwash sink

Office # 1

No Violations Noted

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Top Tier Left Side

Slop Sink Closet # FM-13

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # FM-12

105 CMR 451.103	Mattresses: Mattress damaged in cell # FM-2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, interior of toilet rusted in

cell # FM-12

Bottom Tier Left Side

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in hallway

105 CMR 451.350*	Structural Maintenance: Window cracked in hallway

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in sink

Shower (Left)

105 CMR 451.123*	Maintenance: Soap scum on floor

Shower (Right)

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1160F

Medical Room # FG-1

105 CMR 205.103(A)	Examinations to be Conducted in Privacy: No hands-free controls provided for 	handwash sink

Cells

105 CMR 451.353*	Interior Maintenance: Heater rusted in cell # FG-6

105 CMR 451.350	Structural Maintenance: Window cracked in cell # FG-12

Bottom Tier Right Side

105 CMR 451.350*	Structural Maintenance: Window cracked in hallway

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

Slop Sink # G-40

No Violations Noted

Shower # G-41

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123	Maintenance: Floor epoxy damaged at entrance

Handicapped Shower

105 CMR 451.123*	Maintenance: Soap scum on floor

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # FG-21

105 CMR 451.353*	Interior Maintenance: Heater rusted in cell # FG-17

105 CMR 451.353	Interior Maintenance: Heater rusted in cell # FG-21

Top Tier Right Side

105 CMR 451.353	Interior Maintenance: Stair treads damaged

Slop Closet # M-40

No Violations Noted

Shower # M-41

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Soap scum on shower curtain

Shower # M-42

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Soap scum on shower curtain

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # FM-29

105 CMR 451.126	Hot Water: Hot water temperature recorded at 700F in cell # FM-20

Attucks 2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350	Structural Maintenance: Window cracked

Handicapped Cell

No Violations Noted

Razor Closet # GL-7

No Violations Noted

CPO Office

No Violations Noted

Meeting Room

No Violations Noted

Top Tier Left Side

Janitor’s Closet # GM-13

No Violations Noted

Shower # GM-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # GM-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling vent dusty

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # GM-10

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GM-9, GM-13, and GM-15

105 CMR 451.353	Interior Maintenance: Floor tiles rusted in cell # GM-4

Bottom Tier Left Side

Janitor’s Closet # GG-13

No Violations Noted

Shower # GG-14

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Soap scum on shower curtain

Shower # GG-15

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123	Maintenance: Soap scum on shower curtain

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # GG-5 and GG-12

105 CMR 451.141*	Screens: Screen damaged in cell # GG-1, GG-2, and GG-7

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GG-9, GG-10, GG-11, and GG-13

105 CMR 451.141	Screens: Screen damaged in cell # GG-10 and GG-14

105 CMR 451.353	Interior Maintenance: Floor tiles rusted in cell # GG-6

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # GG-11

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # GG-12 and GG-13

105 CMR 451.103	Mattresses: Mattress damaged in cell # GG-14

Bottom Tier Right Side

Janitor’s Closet # GG-40

No Violations Noted

Shower # GG-41

105 CMR 451.123*	Maintenance: Soap scum on walls

Handicapped Shower # GG-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Bench rusted

105 CMR 451.123	Maintenance: Soap scum on bench

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # GG-23 and CG-25

105 CMR 451.141*	Screens: Screen damaged in cell # GG-17, GG-18 and GG-22

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # GG-16

105 CMR 451.350	Structural Maintenance: Window cracked in cell # GG-19

Top Tier Right Side

Janitor’s Closet # GM-40

No Violations Noted

Shower # GM-41

Unable to Inspect – In Use

Shower # GM-42

Unable to Inspect – In Use

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # GM-18, GM-19 and GM-29

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # GM-18

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # GM-20

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # GM-18 and GM-23

105 CMR 451.141	Screens: Screen damaged in cell # GM-20

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # GM-18

105 CMR 451.353	Interior Maintenance: Ceiling water stained in cell # GM-24

Attucks 3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Window cracked at entrance

Control

105 CMR 451.350*	Structural Maintenance: Door window cracked

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Paint damaged on handrails

Handicapped Cell # JL-9

No Violations Noted

Razor Closet # JL-7

No Violations Noted

CPO Office

No Violations Noted

Meeting Rooms

No Violations Noted

Top Tier Left Side

Janitor’s Closet # JM-13

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

Shower # JM-14

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123*	Maintenance: Excessive moisture build-up observed on ceiling

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Soap scum on shower curtain

Shower # JM-15

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on shower curtain

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in cell # JM-14

105 CMR 451.353*	Structural Maintenance: Window cracked in cell # JM-9

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # JM-12

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # JM-5 and JM-6

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # JM-6

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # JM-13

Bottom Tier Left Side

Janitor’s Closet # JG-13

No Violations Noted

Shower # JG-14

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Floor epoxy damaged

105 CMR 451.123	Maintenance: Soap scum on shower curtain

Shower # JG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Soap scum on shower curtain

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Excessive moisture build-up observed on ceiling

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # JG-14

105 CMR 451.103	Mattresses: Mattress damaged in cell # JG-5

Bottom Tier Right Side

Janitor’s Closet # JG-40

No Violations Noted

Shower # JG-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on shower curtain

Handicapped Shower # JG-42

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Door rusted

105 CMR 451.123	Maintenance: Door frame rusted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # JG-20

105 CMR 451.353*	Structural Maintenance: Window cracked in cell # JG-22

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # JG-24

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # JG-26

Top Tier Right Side

105 CMR 451.353*	Structural Maintenance: Window cracked in hallway

Janitor’s Closet # JM-40

No Violations Noted

Shower # JM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on curtain

Shower # JM-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on curtain

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123	Maintenance: Wall tile grout lines moldy

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # JM-16

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # JM-19

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # JM-20 and JM-21

Attucks 4

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Door window cracked

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked near handicapped cell

Handicapped Cell # HL-9

No Violations Noted

Razor Closet # HL-7

No Violations Noted

CPO Office

No Violations Noted

Meeting Rooms

No Violations Noted

Top Tier Left Side

105 CMR 451.353	Interior Maintenance: Stair treads damaged

Janitor’s Closet # HM-13

No Violations Noted

Shower # HM-14

Unable to Inspect – In Use

Shower # HM-15

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123*	Maintenance: Wall tiles damaged

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # HM-11

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HM-4 and HM-14

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking in cell # HM-10

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking in cell # HM-9

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # HM-8

Bottom Tier Left Side

105 CMR 451.350*	Structural Maintenance: Window cracked in hallway

Janitor’s Closet # HG-13

No Violations Noted

Shower # HG-14

Unable to Inspect – In Use

Shower # HG-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Tile grout dirty, possible mold/mildew

Cells

105 CMR 451.353*	Interior Maintenance: Heater rusted in cell # HG-13

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # HG-4

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HG-13

105 CMR 451.353	Interior Maintenance: Water leaking into cell # HG-15

105 CMR 451.353	Interior Maintenance: Heater rusted in cell # HG-15

105 CMR 451.141	Screens: Screen damaged in cell # HG-8

Bottom Tier Right Side

Janitor’s Closet # HG-40

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Shower # HG-41

105 CMR 451.123*	Maintenance: Soap scum on floor

Handicapped Shower # HG-42

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Inside of door rusted

105 CMR 451.123*	Maintenance: Soap scum on floor

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HG-22 and HG-25

105 CMR 451.350	Structural Maintenance: Window cracked in cell # HG-17

105 CMR 451.353	Interior Maintenance: Floor tile missing in cell # HG-27

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # HG-30

Top Tier Right Side

Janitor’s Closet # HM-40

No Violations Noted

Shower # HM-41

Unable to Inspect – In Use

Shower # HM-42

Unable to Inspect – In Use

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # HM-22 and HM-26

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # HM-20

Deputy Superintendent of Re-entry Office # L1-11

No Violations Noted

Bathroom # L1-15

No Violations Noted

Unit Team Office # H1-11

No Violations Noted

Bathroom # H1-15

No Violations Noted

Office # HI-11

No Violations Noted

Dawes 1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.353	Interior Maintenance: Ceiling water stained

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Paint damaged on handrails

Razor Closet # LI-7

No Violations Noted

CPO Office

No Violations Noted

Shaving Room

No Violations Noted

Meeting Room

No Violations Noted

Top Tier Left Side

Janitor’s Closet # LM-13

No Violations Noted

Shower # LM-14

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Excessive moisture build-up observed on ceiling

Shower # LM-15

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Excessive moisture build-up observed on ceiling

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # LM-4

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # LM-2, LM-9, and LM-11

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LM-1, LM-2, and LM-3

Bottom Tier Left Side

Janitor’s Closet # LG-13

No Violations Noted

Shower # LG-14

Unable to Inspect – In Use

Shower # LG-15

Unable to Inspect – In Use

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # LG-4, LG-6, LG-9, and LG-13

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking in cell # LG-9

105 CMR 451.141	Screens: Screen damaged in cell # LG-10

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LG-4, LG-7, and LG-9

Bottom Tier Right Side

Janitor’s Closet # LG-40

No Violations Noted

Shower # LG-41

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123	Maintenance: Wall tile grout lines moldy

105 CMR 451.123	Maintenance: Mold observed on ceiling

105 CMR 451.123	Maintenance: Excessive moisture build-up observed on ceiling

Handicapped Shower # LG-42

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hand held sprayer missing

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # LG-17, LG-22, LG-26, and LG-29

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # LG-16, LG-17, LG-24, and LG-28

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LG-24 and LG-27

Handicapped Cell # LI-9

No Violations Noted

Top Tier Right Side

Janitor’s Closet # LM-40

No Violations Noted

Shower # LM-41

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Wall tile grout lines moldy

Shower # LM-42

Unable to Inspect – In Use

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # LM-23

105 CMR 451.141*	Screens: Screen damaged in cell # LM-28

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # LM-24 and LM-27

105 CMR 451.353	Interior Maintenance: Wall vent dusty in cell # LM-29

Dawes 2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.353*	Interior Maintenance: Ceiling tiles stained

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.353*	Interior Maintenance: Stair treads damaged

105 CMR 451.353*	Interior Maintenance: Paint damaged on handrails

Razor Closet # KL-7

No Violations Noted

CPO’s Office

No Violations Noted

Meeting Rooms

No violations Noted

Handicapped Cell # KL-9

No Violations Noted

Top Tier Left Side

Janitor’s Closet # KM-13

No Violations Noted

Shower # KM-14

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Wall tile grout lines moldy

Shower # KM-15

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Wall tile grout lines moldy

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123	Maintenance: Ceiling vent dusty

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # KM-10

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # KM-9 and KM-14

105 CMR 451.350	Structural Maintenance: Window cracked in cell # KM-1

105 CMR 451.353	Interior Maintenance: Wall vent blocked  in cell # KM-2, KM-10, and KM-13

Bottom Tier Left Side

Janitor’s Closet # KG-13

105 CMR 451.353	Interior Maintenance: Wet mop stored in sink

Shower # KG-14

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123	Maintenance: Wall tile grout lines moldy

Shower # KG-15

105 CMR 451.123	Maintenance: Soap scum on floor and walls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # KG-4, KG-5, KG-10, KG-13, and KG-14

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # KG-10 and KG-15

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # KG-11

105 CMR 451.353	Interior Maintenance: Water leaking into cell # KG-15

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # KG-15

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # KG-15

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink in cell # KG-5

Bottom Tier Right Side

Janitor’s Closet # KG-40

No Violations Noted

Shower # KG-41

Unable to Inspect – In Use

Handicapped Shower # KG-42

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hand held shower head damaged

105 CMR 451.123*	Maintenance: Floor surface unfinished at entrance

Cells

105 CMR 451.141*	Screens: Screen damaged in cell # KG-18 and KG-19

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # KG- 22 and KG-29

Top Tier Right Side

Janitor’s Closet # KM-40

No Violations Noted

Shower # KM-41

Unable to Inspect – In Use

Shower # KM-42

Unable to Inspect – In Use

Cells

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # KM-17, KM-18, and KM-21

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # KM-19, KM-23, KM-24, and KM-27

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # KM-20

105 CMR 451.141	Screens: Screen damaged in cell # KM-22

Staff Bathroom # OU-10

No Violations Noted

CPO Offices

No Violations Noted

Orientation Unit

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Window cracked in hallway outside entrance

Control

No Violations Noted

Control Bathroom

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Dog Program Room

No Violations Noted

CPO’s Office

No Violations Noted

Top Tier

Shower # OUM1-OUM5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in

shower # OUM-3

105 CMR 451.123	Maintenance: Soap scum on floor in shower # OUM-5

Janitor’s Closet # OUM6

No Violations Noted

Dog Storage Area # OU-19

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 158 and 159

105 CMR 451.353*	Interior Maintenance: Floor tiles missing in cell # 134

105 CMR 451.141*	Screens: Screen damaged in cell # 148

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 141

105 CMR 451.141	Screens: Screen damaged in cell # 145

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 142

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 131, 132, and 136

Bottom Tier

Shower # OUG1-OUG4

No Violations Noted

Handicapped Shower # OUG5

105 CMR 451.123*	Maintenance: Soap scum on floor and walls

105 CMR 451.123*	Maintenance: Floor surface damaged

Janitor’s Closet # OUG6

105 CMR 451.353	Interior Maintenance: Wet mops stored in sink

Cells

105 CMR 451.353*	Interior Maintenance: Screens damaged in cell # 115 and 125

105 CMR 451.353*	Interior Maintenance: Floor tiles rusted in cell # 108 and 123

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 880F in cell # 106

105 CMR 451.353	Interior Maintenance: Screens damaged in cell # 112, 116, 118, and 127

105 CMR 451.350	Structural Maintenance: Window cracked on door to cell # 120

Razor Room

No Violations Noted

Industries Building

Control

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Control Bathroom

No Violations Noted

Mop Closet

No Violations Noted

Spectrum A2-16

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, gaskets damaged on refrigerator

Health Services Admin. A2-24

No Violations Noted

IPS

No Violations Noted

Bathroom

No Violations Noted

Gym Program Room # A2-32

No Violations Noted

Bathroom (in Program Room)

Unable to Inspect – Locked

Gym

105 CMR 451.353*	Interior Maintenance: Wall return vents dusty

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

105 CMR 451.353	Interior Maintenance: Floor surface damaged

Weight Room

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

Music Room # A2-41

No Violations Noted

Inmate Bathroom

No Violations Noted

Office # A2-39

No Violations Noted

Stairwell A2-43

No Violations Noted

Staff Bathroom A2-44

No Violations Noted

Closet # A2-45

No Violations Noted

Storage A2-46

No Violations Noted

Slop Sink # B2-7

No Violations Noted

American Vet Dogs Room # B2-4

No Violations Noted

Print Shop

Main Area

No Violations Noted

Office # B2-11

No Violations Noted

Office # B2-13

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom # B2-16

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, push button leaking at

urinal # 1

105 CMR 451.123	Maintenance: Ceiling vent dusty

Loading Dock

No Violations Noted

Break Room

No Violations Noted

Paper Room # B2-21

No Violations Noted

Barber Shop

105 CMR 451.353	Interior Maintenance: Counter top damaged

Classrooms

Computer Lab

No Violations Noted

Principal’s Office # A2-10

No Violations Noted

Room # A2-11

No Violations Noted

Room # A2-20

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Room # A2-27

No Violations Noted

Room # A2-29

No Violations Noted

Janitor’s Closet # A2-31

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Inmate Bathroom # A2-30

No Violations Noted

Staff Bathroom # A2-21

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1700F at handwash sink

School Room 5 # A2-13

No Violations Noted

OLD COLONY MINIMUM

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged underneath vending machines

Staff Break Room

No Violations Noted

Offices

No Violations Noted

Janitor’s Closet

No Violations Noted

Barber Area

No Violations Noted

Staff Bathroom

No Violations Noted

Medical

105 CMR 451.353	Interior Maintenance: Several lights flickering

Medical Bathroom

105 CMR 451.123	Maintenance: Light flickering

Large Classroom

No Violations Noted

Library

No Violations Noted

Small Classroom

No Violations Noted

Dorm Side B

Common Area

105 CMR 451.344	Illumination in Habitable Areas: Light out above washer/dryer

105 CMR 451.353	Interior Maintenance: Floor damaged at entrance

105 CMR 451.353	Interior Maintenance: Floor tiles damaged throughout

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 7

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F at handwash sink # 4

Showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 3

105 CMR 451.123	Maintenance: Mold observed on ceiling in all showers

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling in all showers

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 1 and 2

105 CMR 451.123	Maintenance: Excessive moisture build-up observed on ceiling throughout shower area

105 CMR 451.123	Maintenance: Ceiling vents rusted

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 8

105 CMR 451.123	Maintenance: Water pooling on floor outside showers

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 2, 3, 4, 5, 6, 7, and 8

105 CMR 451.123	Maintenance: Smoke detector damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 8

105 CMR 451.126	Hot Water: Hot water temperature recorded at 900F in shower # 7

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1150F in shower # 8

Rooms

105 CMR 451.321*	Cell Size: Inadequate floor space in dorm rooms

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in dorm # B-1, B-2, and B-4

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in dorm # B-7 and B-10

105 CMR 451.353*	Interior Maintenance: Door knob surface damaged in all dorm rooms

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in dorm # B-3 and B-10

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in dorm # B-5 and B-9

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly in dorm # B-8

Dorm Side A

Common Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

105 CMR 451.353	Interior Maintenance: Floor tiles damaged throughout

Bathroom

105 CMR 451.123	Maintenance: Handwash sink # 2 and 7 dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1430F at handwash sink # 6

Showers

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 1-7

105 CMR 451.123	Maintenance: Caulking dirty in all showers

105 CMR 451.123	Maintenance: Ceiling damaged in shower # 3

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 5, 6, 7, and 8

105 CMR 451.123	Maintenance: Walls dirty in shower # 6 and 7

Rooms

105 CMR 451.321*	Cell Size: Inadequate floor space in dorm rooms

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged in dorm # A-2

105 CMR 451.353*	Interior Maintenance: Door knob surface damaged in all dorm rooms

105 CMR 451.353*	Interior Maintenance: Ceiling ventilation grille cover missing in dorm # A-2

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in dorm # A-1, A-4, A-5, A-6, A-8, and A-10

105 CMR 451.353	Interior Maintenance: Light shield missing in dorm # A-4

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in dorm # A-5

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly in dorm # A-10

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly in dorm # A-3, 1 light out

Dorm Side C

Control

No Violations Noted

Vending Room

No Violations Noted

TV Room

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged throughout

Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged at entrance

105 CMR 451.123*	Maintenance: Wall fan dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 7

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F at handwash sink # 1

Showers

105 CMR 451.123*	Maintenance: Soap scum on curtain in shower # 2

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1, 3, 4, 5, 6, and 7

Dorm

105 CMR 451.103	Mattresses: Mattress damaged at bed # 13, 15, 19, 11, 25, and 26

Slop Sink Closet

No Violations Noted

Minimum Visiting Area

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Rear door not rodent and weathertight

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, vending machine not functioning properly

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Floor tiles damaged

Inmate Bathroom/Slop Sink

No Violations Noted

Gym

105 CMR 451.353*	Interior Maintenance: Wall insulation damaged

105 CMR 451.350*	Structural Maintenance: Ceiling leaking near bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling insulation damaged

105 CMR 451.353*	Interior Maintenance: Floor surface bubbling near bathroom

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

105 CMR 451.353	Interior Maintenance: Walls damaged

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly

Gym Office

No Violations Noted

Towers

Pedestrian Tower

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Windows cracked

Tower # 1

No Violations Noted

Tower # 2

No Violations Noted

Vehicle Tower

No Violations Noted

Observations and Recommendations

- The inmate population was 715 at the time of inspection.

- At the time of inspection, the hot water temperature was recorded lower than the allowable minimum temperature in several areas throughout the facility. The Department is particularly concerned with the inadequate hot water temperatures within the Health Services Unit.

- The Culinary Arts Kitchen was closed at the time of inspection. The Department asks that you keep us apprised of any plans to make this kitchen operational.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Retail Food”. Then under “Regulations” click “2013 Food Code Merged with 105 CMR 590 and 2013 Food Code”

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Processing”. Then under “Regulations” click “105 CMR 500.000: Good Manufacturing Practices for Food”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Acting Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS							(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 			(electronic copy)

Alishia Madden, EHSO/FSO								(electronic copy)

Eric J. Badger, Health Agent, CHO, Bridgewater Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate