Phase II Inspection and Investigation Outline

| I. | Review of existing information…………………………………………. |
| --- | --- |
| II. | Updated Detailed Phase I surface inspection in compliance with Office of Dam Safety Phase I Inspection format……………………………………………… |
| III. | Subsurface Investigations – borings, sampling, analysis…………….... |
| IV. | Topographic Survey, wetlands flagging/delineation, of sufficient detail to support not only the Phase II effort, but sufficient for the future implementation of design phase…………………………………………………….. |
| V. | Stability and seepage analyses – Seismic and static stability evaluation of dam (upstream and downstream slopes, internal materials), seepage potential, internal erosion potential, piping potential………………. |
| VI. | Hydrologic/Hydraulic Analysis and spillway inadequacy resolution…………………………………………. |
| VII. | Alternatives analysis and presentation of conceptual designs and associated estimated design, permitting and construction costs to bring the dam structure into compliance with Chapter 253 Section 44-48 and 302 CMR 10.00 Dam Safety Regulations by either executing selected repair plan or breach plan………………….. |
| VIII. | Final Report Presented to the Office of Dam Safety……………………………………………………………… |