The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-828-7703

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

March 6, 2019

Joseph D. McDonald, Jr., Sheriff

Plymouth County Correctional Facility

26 Long Pond Road

Plymouth, MA 02360		(electronic copy)

Re: Facility Inspection - Plymouth County Correctional Facility

Dear Sheriff McDonald:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Plymouth County Correctional Facility on 	            February 25 and 26, 2019 accompanied by Captain Eugene Irvine, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 76 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Front Lobby

Main Area

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Administration Area

Break Room # 1014

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, cabinet door missing

Male Bathroom # 1013

No Violations Noted

Female Bathroom # 1015

No Violations Noted

Administration - Main Hallway

Janitor’s Closet # 1027

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Female Locker Room

No Violations Noted

Showers

No Violations Noted

Male Locker Room

No Violations Noted

Showers

No Violations Noted

Staff Gym

105 CMR 451.353	Interior Maintenance: Covers missing on floor outlets

IPS Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Kitchen

Staff Dining

Staff Dining Area

No Violations Noted

Staff Serving Line

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, interior of Keurig machine dirty

Kitchen Area

Warming Units

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, warmer # 4 gaskets damaged

Bakery Area

FC 5-205.11(A)	Plumbing System, Operations and Maintenance: Handwashing sink not accessible, kitchen racks blocking handwash sink

Office

No Violations Noted

Office Bathroom

No Violations Noted

Dry Storage

No Violations Noted

Tool Closet

No Violations Noted

Cooler # 2

No Violations Noted

Inmate Break Area

No Violations Noted

Inmate Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal out-of-order

105 CMR 451.123	Maintenance: Ceiling vent blocked

Janitor’s Closet

No Violations Noted

Freezer # 1

No Violations Noted

Cooler # 3

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, cooling fans dusty

Cooler # 4

No Violations Noted

Cooler # 5

No Violations Noted

Freezer # 6

No Violations Noted

Prep Area

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, cup left in salt container under prep table

4-Compartment Sink Area

No Violations Noted

Kettle Area

No Violations Noted

Manual Rinse Station

3-Compartment Sink

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than 	the manufacturers recommended concentration in the sink sanitizer compartment

Dishwashing Machine Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 warewash machine out-of-order

Laundry

105 CMR 451.353	Interior Maintenance: One washing machine out-of-order

Janitor’s Closet

No Violations Noted

Office

No Violations Noted

Chemical Closet

No Violations Noted

Inmate Bathroom # 1058

No Violations Noted

Loading Dock

No Violations Noted

Maintenance # 1053

Small Tool Room

No Violations Noted

Bathroom

No Violations Noted

Office

No Violations Noted

Office Bathroom

No Violations Noted

Attorney Visits

No Violations Noted

Chapel

No Violations Noted

Medical Corridor

No Violations Noted

HSU

Waiting Room # M103

No Violations Noted

Staff Break Room

No Violations Noted

Nurse’s Station # M106

No Violations Noted

Storage # M133

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Room # M132

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Autoclave # M131

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Staff Bathroom # M130

No Violations Noted

Records # M129

No Violations Noted

Pharmacy # M128

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Janitor’s Closet # M127

No Violations Noted

Laboratory # M126

No Violations Noted

Dentist # M124

No Violations Noted

X-Ray Room # M123

No Violations Noted

Inmate Bathroom # M122

No Violations Noted

Exam Room # M121

No Violations Noted

Room # M119

No Violations Noted

Room # 115

No Violations Noted

Handicapped Bathroom

No Violations Noted

Office # M112

No Violations Noted

Cell # M113 - M116

No Violations Noted

Office # M117

No Violations Noted

Office # M118

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Property

No Violations Noted

Booking

Main Area

105 CMR 451.350	Structural Maintenance: Exit door # R4 not rodent and weathertight

Office # R112

No Violations Noted

Records # R106

No Violations Noted

Inmate Toilet # R105

No Violations Noted

Inmate Bathroom # R118

No Violations Noted

Janitor’s Closet # R126

105 CMR 451.353	Interior Maintenance: Generally dirty

Showers

No Violations Noted

Staff Bathroom # R127

No Violations Noted

Kitchen Area

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1040F

Officer’s Landing

No Violations Noted

Watch Cells

No Violations Noted

Holding Cells

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell # 102 and 103

Library

No Violations Noted

Library Bathroom

No Violations Noted

Human Services # 1079

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained in hallway

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food service not in compliance with                105 CMR 590.000, paper towel holder damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, unlabeled food in refrigerator

Offices

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty in office # 1073

105 CMR 451.350	Structural Maintenance: Ceiling leaking in office # 1074

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained in office # 1074

Staff Bathroom # 1069

105 CMR 451.123	Maintenance: Debris on floor

Janitor’s Closet # 1064

105 CMR 451.353	Interior Maintenance: Solution in chemical bottle does not match the manufacturer’s label

Gymnasium

105 CMR 451.353*	Interior Maintenance: Landing dirty above office

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

Main Hallway

Female Staff Bathroom # 1039

No Violations Noted

Male Staff Bathroom # 1040

No Violations Noted

Janitor’s Closet # 1084

No Violations Noted

Staff Bathroom # 1090

No Violations Noted

Janitor’s Closet # 1095

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Staff Bathroom # 1098

Unable to Inspect – In Use

Staff Bathroom # 1099

105 CMR 451.123	Maintenance: Wall vent dusty

Staff Bathroom # 1107

No Violations Noted

Janitor’s Closet # 1108

No Violations Noted

Unit Manager’s Office # 1112

No Violations Noted

Classroom # 1102

No Violations Noted

Staff Bathroom # 1102

No Violations Noted

Classroom # 1110

No Violations Noted

Cell Blocks/Pods

A1

Classroom

No Violations Noted

Slop Sink

No Violations Noted

Bathroom

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty outside showers

Cell # A107 - A110

No Violations Noted

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.353*	Interior Maintenance: Several ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Ceiling vent rusted above bed # 9

BS101

Trap – First Floor

No Violations Noted

Slop Sink

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 6 and 7 out-of-order

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty outside showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

BN101

Slop Sink

No Violations Noted

Bathroom

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty outside showers

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, uncovered food stored in locker

BS201

Slop Sink

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 5 runs continuously

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 2 leaking

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty outside showers

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

BN201

Slop Sink

No Violations Noted

Bathroom

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty outside showers

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Multiple common area tables not easily cleanable,                 surface damaged

C1

Main Area

No Violations Noted

Slop Sink

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Mold on ceiling outside showers

Recreation Deck

No Violations Noted

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 124, 131, 203, 209, 210, 211, and 234

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 209 and 215

105 CMR 451.353	Interior Maintenance: Floor tiles damaged outside cell # 101

DN1

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling stained outside common toilet

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Showers – 1st Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Floor paint damaged outside showers

Recreation Deck

105 CMR 451.353	Interior Maintenance: Walls dirty

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 101, 106, 107, 202, 204, and 206

DS1

Main Area

No Violations Noted

Slop Sink

No Violations Noted

Showers – 1st Floor

No Violations Noted

Showers – 2nd Floor

No Violations Noted

Recreation Deck

105 CMR 451.353	Interior Maintenance: Walls dirty

105 CMR 451.353	Interior Maintenance: Walls paint damaged

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

E1

Main Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Showers

105 CMR 451.123*	Maintenance: Mold on ceiling outside showers

105 CMR 451.123*	Maintenance: Ceiling tiles dusty outside showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 4, 5, 6, 7, 8, and 9

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Walls dirty

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 104, 107, 110, 205, and 207

105 CMR 451.353	Interior Maintenance: Wall surface damaged outside cell # 121

FN1

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall dirty

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Showers – 1st Floor	Unable to Inspect – Shower # 1 In Use

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Floor paint damaged outside showers

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*		Cell Size: Inadequate floor space in dorm cells

FS1

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling stained outside common toilet

105 CMR 451.353	Interior Maintenance: Ceiling tile damaged above recreation deck door

105 CMR 451.353	Interior Maintenance: Multiple common area tables not easily cleanable,                 surface damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Baseboards missing

Showers – 1st Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Floor paint damaged outside showers

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall dirty

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*		Cell Size: Inadequate floor space in dorm cells

H1

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, 5, 6, 7, 8, and 9

105 CMR 451.123	Maintenance: Mold on ceiling outside showers

105 CMR 451.123	Maintenance: Staircase outside showers rusted

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall dirty

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 219

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell # 110

105 CMR 451.353	Interior Maintenance: Ceiling tiles rusted outside cell # 234 and 235

G Block

Main Area

No Violations Noted

GE South

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

Chemical Storage

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 104, 105, 108, 205 and 206

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 201 and 208

GE North

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Slop Sink

No Violations Noted

Showers

No Violations Noted

Recreation Deck

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 112, 113, 114, 115, 116, and 216

GW North

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Showers

105 CMR 451.123	Maintenance: Curtain missing in shower # 2 and 3

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell # 116 and 211

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 110, 111, 115, 209, 210, 212, 213,    and 214

GW South

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Slop Sink

No Violations Noted

Showers

No Violations Noted

Cells

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 104, 106, 204, 205, 206, and 208

3rd Floor

Main Hallway

Janitor’s Closet # 3022

No Violations Noted

Staff Bathroom # 3021

No Violations Noted

Storage # 3020

No Violations Noted

Janitor’s Closet # 3018

No Violations Noted

Classroom # 3015

No Violations Noted

Storage # 3011

No Violations Noted

Janitor’s Closet # 3010

No Violations Noted

Staff Bathroom # 3009

No Violations Noted

Break Room # 3008

No Violations Noted

Janitor’s Closet # 3006

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, water jugs stored on the floor

Classroom # 3005

No Violations Noted

Storage # 3004

No Violations Noted

Staff Bathroom # 3003

No Violations Noted

3rd Floor - Cell Blocks/Pods

C3

Main Area

105 CMR 451.353	Interior Maintenance: Trash lid covered with mucus

105 CMR 451.353	Interior Maintenance: Multiple common area tables not easily cleanable,                 surface damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Showers

105 CMR 451.123	Maintenance: Staircase rusted outside showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 7 leaking

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6, 7, and 9

Recreation Deck

No Violations Noted

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 314, 315, 316, 317, 318, 319, 324, 415, 419, 428, 429, 431, and 433

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 425

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 425

DN3

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling surface damaged

105 CMR 451.353	Interior Maintenance: Wall dirty

Showers – 1st Floor

105 CMR 451.123	Maintenance: Mold on ceiling outside showers

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 6 and 7

105 CMR 451.123	Maintenance: Mold on wall outside showers

Recreation Deck

No Violations Noted

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell # 302, 303, and 404

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 305, 306, and 307

105 CMR 451.350	Structural Maintenance: Windows not weathertight, excessive moisture observed on windows in cell # 304, 305, 307, 401, 402, 403, and 405

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, cheese slices stored on window in cell # 304 and 305

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 305 and 306

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 407

DS3

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Slop Sink

105 CMR 451.353	Interior Maintenance: Walls dirty

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Showers – 1st Floor

105 CMR 451.123	Maintenance: Wall vent dusty in shower # 1, 2, and 3

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Mold on walls outside showers

105 CMR 451.123	Maintenance: Wall vent dusty in shower # 4, 5, 6, and 7

105 CMR 451.123	Maintenance: Floor paint damaged outside showers

Recreation Deck

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

105 CMR 451.350	Structural Maintenance: Windows not weathertight, excessive moisture observed on windows in all cells

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell # 302 and 303

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 304, 305, 306, 402, 405, 406, and 407

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 405

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 403

E3

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Slop Sink

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Curtain missing in shower # 1, 2, 7, 8, and 9

105 CMR 451.123	Maintenance: Mold on ceiling outside showers

Recreation Deck

No Violations Noted

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell in cell # 301, 303, and 304

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 306, 308, 314, 316, 329, 404, 405, 406,

413, 414, and 417

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 427

105 CMR 451.103	Mattresses: Mattress damaged in cell # 305

FS3

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Slop Sink

No Violations Noted

Medical Room

No Violations Noted

Showers – 1st Floor

Unable to Inspect – In Use

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 6 and 7

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4 and 5

105 CMR 451.123*	Maintenance: Floor paint damaged outside showers

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 4, 5, 6, and 7

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 303

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 407

FN3

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Noxious odor

105 CMR 451.353	Interior Maintenance: Debris in sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123	Maintenance: Wall vent dusty in shower # 1 and 3

105 CMR 451.123	Maintenance: Mold on ceiling outside showers

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 4, 5, 6 and 7

105 CMR 451.123*	Maintenance: Mold on walls outside showers

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 307

H3

Main Area

105 CMR 451.353	Interior Maintenance: Chair padding damaged at Officer’s station

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 9

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 6, 7, and 8

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353	Interior Maintenance: Wall vent blocked in all cells

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 404

Garage

Bathroom # W124

No Violations Noted

Janitor’s Closet # W123

No Violations Noted

Print Shop

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Janitor’s Closet # W111

No Violations Noted

Warehouse – Support Building

Canteen Storage

No Violations Noted

Freezer # 1

No Violations Noted

Freezer # 2

No Violations Noted

Fridge # 1

No Violations Noted

Fridge # 2

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Uniforms

No Violations Noted

Work Crew Area

Bathroom

No Violations Noted

Break Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, toaster oven damaged

Record Storage

No Violations Noted

K9 Unit

Female Bathroom

No Violations Noted

Bathroom # 2

No Violations Noted

Janitor’s Closet

No Violations Noted

Laundry

No Violations Noted

Observations and Recommendations

- The inmate population was 1,008 at the time of inspection.

- At the time of inspection, the Department recommended that metering faucets throughout the facility be adjusted so they remain running for 20 seconds at minimum. This will allow for the hot water to reach the desired range of 1100F – 1300F and provide the opportunity for staff and inmates to thoroughly wash their hands.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale														Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Antone Moniz, Superintendent							(electronic copy)

Captain Eugene Irvine, EHSO							(electronic copy)

Dr. Nate Horwitz-Willis, CHO, Health Director, Plymouth Board of Health  	(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate