

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Climate and Environmental Health

Division of Environmental Health Regulations and Standards

5 Randolph Street, Canton, MA 02021

Phone: 617-624-5757

|  |
| --- |
| MAURA T. HEALEY  Governor  KIMBERLEY L. DRISCOLL  Lieutenant Governor |

March 17, 2025

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

**Tel: 617-624-6000**

**www.mass.gov/dph**

Joseph D. McDonald, Jr., Sheriff

Plymouth County Correctional Facility

26 Long Pond Road

Plymouth, MA 02360 (electronic copy)

Re: Facility Inspection – Plymouth County Correctional Facility

Dear Sheriff McDonald:

The Massachusetts Department of Public Health (Department) Division of Environmental Health Regulations and Standards (EHRS) conducted an inspection of the Plymouth County Correctional Facility on February 27 and 28, 2025 accompanied Kevin DiMarzio, ADS of Operations and Jennifer Keegan, Environmental Health and Safety Officer, in accordance with Department regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities.

The inspection identified 45 total deficiencies: 28 deficiencies under the Required Standards (.100 and .200 series), 1 repeat deficiencies under the Required Standards, 13 deficiencies under the Recommended Standards (.300 series), 2 repeat deficiencies under the Recommended Standards, and 1 deficiency under 105 CMR 451.402(B) (other conditions that may constitute a threat to health or safety).

**Overview**

**Section 1** provides details of all deficiencies, including repeat deficiencies, found during the inspection. These are categorized by Required Standards, Recommended Standards, or additional applicable regulatory standards.

**Section 2** provides information on areas that EHRS found to be compliant.

**Section 3** documents the areas that EHRS did not inspect.

**Section 4** provides information on submitting a Plan of Correction for the identified deficiencies.

**Section 5** outlines observations and recommendations related to the inspection.

**SECTION 1: Health and Safety Deficiencies**

**Deficiencies under the Required Standards (.100 and .200 series)**

28 new deficiencies and 1 repeat deficiencies (indicated by an \*) were found during the inspection:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. Front Lobby | Female Bathroom |  | 105 CMR 451.126 | Hot Water for Bathing and Hygiene: Hot water temperature 136°F at handwash sink |
| 1. Food Service Area | Kitchen Area | FWE Warming Units | 105 CMR 451.200 | Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, exterior food temperature measuring device not working on FWE Warming Unit # 3. Standard found in 105 CMR 590; FC 4-501.11(A). |
| 1. Booking | Showers |  | 105 CMR 451.123 | Maintenance: Floor dirty in shower # 1 |
| 1. Booking | Showers |  | 105 CMR 451.123\* | Maintenance: Floor paint damaged in shower # 2 |
| 1. Booking | Kitchenette |  | 105 CMR 451.200 | Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty |
| 1. Cell Blocks/Pods | A1 | Bathroom | 105 CMR 451.130 | Plumbing: Plumbing not maintained in good repair, water continuously running at sink # 3 |
| 1. Cell Blocks/Pods | B Unit - First Floor | BS101 - Bathroom | 105 CMR 451.130 | Plumbing: Plumbing not maintained in good repair, water continuously running at sink # 5 |
| 1. Cell Blocks/Pods | DN1 | Showers - 1st Floor | 105 CMR 451.123 | Maintenance: Floor surface damaged outside showers |
| 1. Cell Blocks/Pods | E1 | Showers | 105 CMR 451.123 | Maintenance: Soap scum on walls in shower # 3, 4, 5, and 6 |
| 1. Cell Blocks/Pods | FN1 | Showers - 1st Floor | 105 CMR 451.123 | Maintenance: Floor surface damaged outside showers |
| 1. Cell Blocks/Pods | FS1 | Showers - 1st Floor | 105 CMR 451.130 | Plumbing: Plumbing not maintained in good repair, shower # 1 leaking |
| 1. Cell Blocks/Pods | FS1 | Showers - 1st Floor | 105 CMR 451.123 | Maintenance: Floor surface damaged outside showers |
| 1. 3rd Floor | Main Hallway | Staff Bathroom # 3009 | 105 CMR 451.126 | Hot Water for Bathing and Hygiene: Hot water temperature 97°F at handwash sink |
| 1. 3rd Floor | Main Hallway | Break Room # 3008 | 105 CMR 451.200 | Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty |
| 1. 3rd Floor | C3 | Showers | 105 CMR 451.130 | Plumbing: Plumbing not maintained in good repair, shower # 5, 6, 7, and 9 leaking |
| 1. 3rd Floor | DN3 | Showers – 1st Floor | 105 CMR 451.123 | Maintenance: Floor tiles damaged outside showers |
| 1. 3rd Floor | E3 | Showers | 105 CMR 451.130 | Plumbing: Plumbing not maintained in good repair, shower # 1, 3, 5, 6, 8, and 9 |
| 1. 3rd Floor | FS3 | Showers – 1st Floor | 105 CMR 451.123 | Maintenance: Curtain dirty in shower # 3 |

**Deficiencies under the Recommended Standards (.300 series)**

13 new deficiencies and 2 repeat deficiencies (indicated by an \*) were found during the inspection:

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. Cell Blocks/Pods | C1 | Recreation Deck | | 105 CMR 451.353 | Interior Maintenance: Ceiling tiles water stained above Recreation Deck door |
| 1. Cell Blocks/Pods | DS1 | Cells | | 105 CMR 451.353 | Interior Maintenance: Ceiling surface damaged in cell # 201 |
| 1. G Block | GE North | Cells | | 105 CMR 451.353 | Interior Maintenance: Wall vent blocked in cell # 212, 214, and 218 |
| 1. G Block | GW South | Cells | | 105 CMR 451.353 | Interior Maintenance: Wall vent blocked in cell # 106 and 205 |
| 1. 3rd Floor | C3 | Cells | | 105 CMR 451.353 | Interior Maintenance: Wall surface damaged in cell # 416 |
| 1. 3rd Floor | DN3 | Cells | | 105 CMR 451.353 | Interior Maintenance: Ceiling paint damaged in cell # 304, 305, and 307 |
| 1. 3rd Floor | DS3 | Cells | | 105 CMR 451.353 | Interior Maintenance: Ceiling surface damaged in cell # 302 |
| 1. 3rd Floor | FN3 | Cells | | 105 CMR 451.353 | Interior Maintenance: Ceiling paint damaged in cell # 305 |
| 1. Cell Blocks/Pods: C1, C3, E1, E3, H1, H3, GE South, GE North, GW North | | | 105 CMR 451.321\* | | Cell Size: Inadequate floor space, cells double bunked |
| 1. Cell Blocks/Pods: DN1, DS1, FS1, FN1, DN3, DS3, FS3, FN3 | | | 105 CMR 451.322\* | | Cell Size: Inadequate floor space in dorm cells |

**Deficiencies under 105 CMR 451.402(B) (other conditions that may constitute a threat to health or safety)**

1 new deficiency was found during the inspection:

|  |  |  |  |
| --- | --- | --- | --- |
| 1. HSU | Nurse’s Station # M106 | 105 CMR 451.402(B) | Tracking Medical or Biological Waste for Treatment: Generator did not confirm the shipment was received by the treatment facility within 30 days on an approved tracking form. Standard found in 105 CMR 480.425(A). **\*\*Corrected On-Site\*\*** |

**SECTION 2: Areas Found to be in Compliance**

EHRS inspected 319 additional areas of the facility which were found to be in compliance.

**Section 3: Areas EHRS did not inspect**

EHRS inspected all areas of the facility.

**SECTION 4: Plan of Correction**

This facility does not comply with the Department’s regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice which includes:

1. Specific corrective steps to be taken
2. A timetable for the corrective actions for larger projects
3. The date by which correction will be achieved
4. Any interim measures being implemented to ensure the health and safety of incarcerated individuals and facility staff
5. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

**SECTION 5: Observations and Recommendations**

1. The inmate population was 991 at the time of inspection.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" [105 CMR 451.000](https://www.mass.gov/regulations/105-CMR-45100-minimum-health-and-sanitation-standards-and-inspection-procedures-for-correctional-facilities) ~~is~~ available in both PDF and RTF formats. For more specific information about the food standards, you can download the merged food code, which can be found [here](https://www.mass.gov/doc/merged-food-code-111618/download).

An inspection may also include observations of other conditions which could constitute a threat to the health or safety of inmates or employees, including but not limited to the standards set forth by the Department as follows, and report on such pursuant to 451.402(B). You can use these links below to review these standards:

* [105 CMR 205.000](https://www.mass.gov/regulations/105-CMR-20500-minimum-standards-governing-medical-records-and-the-conduct-of-physical-examinations-in-correctional-facilities?_gl=1*ws80pz*_ga*MTk5MDEyMzUyMi4xNjM1NDMwMjU1*_ga_MCLPEGW7WM*MTczNDY0MDg3Mi4yNzguMS4xNzM0NjQxNDE3LjAuMC4w): Minimum Standards Governing Medical Records and Conduct of Physical Examinations in Correctional Facilities
* [105 CMR 480.000](https://www.mass.gov/regulations/105-CMR-48000-minimum-requirements-for-the-management-of-medical-or-biological-waste-state-sanitary-code-chapter-viii?_gl=1*c27utb*_ga*MTk5MDEyMzUyMi4xNjM1NDMwMjU1*_ga_MCLPEGW7WM*MTczNDY0MDg3Mi4yNzguMS4xNzM0NjQxNDQ5LjAuMC4w): Minimum requirements for the Management of Medical or Biological Waste
* [105 CMR 500.000](https://www.mass.gov/regulations/105-CMR-50000-good-manufacturing-practices-for-food?_gl=1*ow2nps*_ga*MTk5MDEyMzUyMi4xNjM1NDMwMjU1*_ga_MCLPEGW7WM*MTczNDY0MDg3Mi4yNzguMS4xNzM0NjQxNDg3LjAuMC4w): Good Manufacturing Practices for Food

This inspection report is true and accurate to the best of my knowledge.

Sincerely,



Nicholas Gale

Environmental Analyst, EHRS, BCEH