The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-828-7703

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

October 8, 2019

Joseph D. McDonald, Jr., Sheriff

Plymouth County Correctional Facility

26 Long Pond Road

Plymouth, MA 02360		(electronic copy)

Re: Facility Inspection - Plymouth County Correctional Facility

Dear Sheriff McDonald:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the   Plymouth County Correctional Facility on September 16, 2019 accompanied by Captain Eugene Irvine, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 99 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Front Lobby

Main Area

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Administration Area

Break Room # 1014

No Violations Noted

Male Bathroom # 1013

No Violations Noted

Female Bathroom # 1015

No Violations Noted

Mail Room # 1016

No Violations Noted

Administration - Main Hallway

Janitor’s Closet # 1027

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Female Locker Room

No Violations Noted

Showers

No Violations Noted

Male Locker Room

No Violations Noted

Showers

No Violations Noted

Staff Gym

No Violations Noted

IPS Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, no functioning thermometer in refrigerator

Food Service Area

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Staff Dining

Staff Dining Area

No Violations Noted

Staff Serving Line

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil observed in the beverage dispensing nozzles, iced tea dispenser nozzle dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, food crumbs observed underneath counter

Kitchen Area

Warming Units

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, warmer # 4 gaskets damaged

Bakery Area

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Accumulation of mold observed on interior surfaces of ice machine

Office

No Violations Noted

Office Bathroom

No Violations Noted

Dry Storage

No Violations Noted

Tool Closet

No Violations Noted

Cooler # 2

No Violations Noted

Inmate Break Area

No Violations Noted

Inmate Bathroom

Unable to Inspect – In Use

Janitor’s Closet

No Violations Noted

Freezer # 1

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ice build-up observed

Cooler # 3

No Violations Noted

Cooler # 4

No Violations Noted

Cooler # 5

No Violations Noted

Freezer # 6

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ice build-up observed

Prep Area

4-Compartment Sink Area

No Violations Noted

Kettle Area

No Violations Noted

Manual Rinse Station

3-Compartment Sink

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

FC 4-901.11(A)	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry

Dishwashing Machine Area

No Violations Noted

Laundry

Janitor’s Closet

No Violations Noted

Office

No Violations Noted

Chemical Closet

No Violations Noted

Inmate Bathroom # 1058

No Violations Noted

Loading Dock

No Violations Noted

Maintenance # 1053

Small Tool Room

No Violations Noted

Bathroom

No Violations Noted

Office

No Violations Noted

Office Bathroom

No Violations Noted

Attorney Visits

No Violations Noted

Chapel

105 CMR 451.353	Interior Maintenance: Carpet dirty

Medical Corridor

No Violations Noted

HSU

Waiting Room # M103

No Violations Noted

Staff Break Room

No Violations Noted

Nurse’s Station # M106

No Violations Noted

Storage # M133

No Violations Noted

Room # M132

No Violations Noted

Autoclave # M131

No Violations Noted

Staff Bathroom # M130

105 CMR 451.123	Maintenance: Ceiling vent dusty

Records # M129

No Violations Noted

Pharmacy # M128

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F

Janitor’s Closet # M127

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Laboratory # M126

No Violations Noted

Dentist # M124

No Violations Noted

X-Ray Room # M123

No Violations Noted

Inmate Bathroom # M122

No Violations Noted

Exam Room # M121

No Violations Noted

Room # M119

No Violations Noted

Room # 115

No Violations Noted

Handicapped Bathroom

No Violations Noted

Office # M112

No Violations Noted

Cell # M113 - M116

No Violations Noted

Office # M117

No Violations Noted

Office # M118

No Violations Noted

Property

No Violations Noted

Booking

Main Area

105 CMR 451.350*	Structural Maintenance: Exit door # R4 not rodent and weathertight

Office # R112

No Violations Noted

Records # R106

No Violations Noted

Inmate Toilet # R105

No Violations Noted

Inmate Bathroom # R118

No Violations Noted

Janitor’s Closet # R126

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Watch Cells

No Violations Noted

Holding Cells

105 CMR 451.353	Interior Maintenance: Debris in cell # R124

105 CMR 451.353                      Interior Maintenance: Ceiling vent blocked in cell # R103

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in cell # R107

Staff Bathroom # R127

105 CMR 451.123	Maintenance: Ceiling vent dusty

Showers

No Violations Noted

Officer’s Landing

No Violations Noted

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1340F

Library

No Violations Noted

Library Bathroom

No Violations Noted

Human Services # 1079

105 CMR 451.353	Interior Maintenance: Floor dirty in multiple areas

Break Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, unlabeled food in refrigerator

Offices

105 CMR 451.350*	Structural Maintenance: Ceiling leaking outside office # 1074

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained outside office # 1074

105 CMR 451.353	Interior Maintenance: Excessive clutter in office # 1066

Staff Bathroom # 1069

No Violations Noted

Janitor’s Closet # 1064

No Violations Noted

Gymnasium

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

Toilet Area

105 CMR 451.123	Maintenance: Ceiling vent dusty above toilet

Main Hallway

Female Staff Bathroom # 1039

No Violations Noted

Male Staff Bathroom # 1040

No Violations Noted

Janitor’s Closet # 1084

No Violations Noted

Staff Bathroom # 1090

No Violations Noted

Janitor’s Closet # 1095

No Violations Noted

Staff Bathroom # 1098

No Violations Noted

Staff Bathroom # 1099

105 CMR 451.123*	Maintenance: Wall vent dusty

Staff Bathroom # 1107

No Violations Noted

Janitor’s Closet # 1108

No Violations Noted

Unit Manager’s Office # 1112

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Classroom # 1102

No Violations Noted

Staff Bathroom # 1102

No Violations Noted

Classroom # 1110

No Violations Noted

Cell Blocks/Pods

A1

Classroom

No Violations Noted

Slop Sink

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 4 leaking

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty outside showers

Cell # A107 - A110

No Violations Noted

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.353*	Interior Maintenance: Several ceiling vents dusty

BS101

Trap – First Floor

No Violations Noted

Slop Sink

No Violations Noted

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink # 6 and 7 out-of-order

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty outside showers

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

BN101

Slop Sink

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 2 leaking

Showers

No Violations Noted

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

BS201

Slop Sink

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 3 out-of-order

105 CMR 451.123	Maintenance: Ceiling paint damaged around ceiling vents

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

BN201

Slop Sink

No Violations Noted

Bathroom

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty outside showers

Main Area – Dorm Bunks

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

C1

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained above recreation deck door

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in sink

Showers

105 CMR 451.123	Maintenance: Curtains missing in shower # 5 and 7

Recreation Deck

105 CMR 451.360	Protective Measures: Birds’ nests observed

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 108, 109, 110, 117, 121, and 213

DN1

Main Area

No Violations Noted

Slop Sink

No Violations Noted

Showers – 1st Floor

105 CMR 451.123	Maintenance: Shower curtain stored on floor in shower # 3

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Floor paint damaged outside showers

105 CMR 451.123	Maintenance: Shower curtain stored on floor in shower # 6

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Walls dirty

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

DS1

Main Area

No Violations Noted

Slop Sink

No Violations Noted

Showers – 1st Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Floor paint damaged outside showers

105 CMR 451.123	Maintenance: Standing water in shower # 5

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Walls dirty

105 CMR 451.353*	Interior Maintenance: Walls paint damaged

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

E1

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353	Interior Maintenance: Wet mop stored in sink

Showers

105 CMR 451.123*	Maintenance: Mold on ceiling outside showers

105 CMR 451.123*	Maintenance: Ceiling tiles dusty outside showers

105 CMR 451.123	Maintenance: Standing water outside shower # 9

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Walls dirty

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

FN1

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Showers – 1st Floor

105 CMR 451.123	Maintenance: Excessive moisture on ceiling in shower # 1

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Curtain missing in shower # 5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4, 5, 6, and 7

105 CMR 451.123	Maintenance: Mold on ceiling outside showers

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*		Cell Size: Inadequate floor space in dorm cells

FS1

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling stained outside common toilet

Slop Sink

No Violations Noted

Showers – 1st Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Floor paint damaged outside showers

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall dirty

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*		Cell Size: Inadequate floor space in dorm cells

H1

Main Area

105 CMR 451.353	Interior Maintenance: Wall dirty above phones

Slop Sink

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3, 4, 5, 6, 7, and 9

105 CMR 451.123*	Maintenance: Mold on ceiling outside showers

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall dirty

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell # 110 and 219

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 101, 102, 103, 109, 119, 121, 122, 132, 224, 228, 229, 233, and 235

G Block

Main Area

No Violations Noted

GE South

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

Chemical Storage

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell # 105

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 106

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # 201 and 208

GE North

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Slop Sink

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor dirty in shower # 1 and 2

Recreation Deck

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell # 114, 115, and 216

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 109, 110, 117, 118, 210, 212, and 213

GW North

Slop Sink

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Debris in shower # 3

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell # 111, 116, 210, 212, and 214

GW South

Slop Sink

No Violations Noted

Showers

No Violations Noted

Cells

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell # 104, 106, 204, 205, 206, and 208

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 107, 108, 202, 203, and 207

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 205

3rd Floor

Main Hallway

Janitor’s Closet # 3022

No Violations Noted

Staff Bathroom # 3021

No Violations Noted

Storage # 3020

No Violations Noted

Janitor’s Closet # 3018

No Violations Noted

Classroom # 3015

No Violations Noted

Unit Manager # 3012

No Violations Noted

Storage # 3011

No Violations Noted

Janitor’s Closet # 3010

No Violations Noted

Staff Bathroom # 3009

No Violations Noted

Break Room # 3008

No Violations Noted

Janitor’s Closet # 3006

No Violations Noted

Classroom # 3005

No Violations Noted

Storage # 3004

No Violations Noted

Staff Bathroom # 3003

No Violations Noted

3rd Floor - Cell Blocks/Pods

C3

Main Area

105 CMR 451.353*	Interior Maintenance: Multiple common area tables not easily cleanable,                 surface damaged

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

Showers

105 CMR 451.123	Maintenance: Staircase rusted outside showers

105 CMR 451.123	Maintenance: Mold on ceiling outside showers

Recreation Deck

No Violations Noted

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

DN3

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling surface damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in sink

Showers – 1st Floor

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 2 and 3

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 7

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6 and 7

Recreation Deck

No Violations Noted

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

DS3

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Showers – 1st Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Mold on ceiling in shower # 4

Recreation Deck

No Violations Noted

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

E3

Main Area

No Violations Noted

Slop Sink

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 6, 7, 8, and 9

Recreation Deck

No Violations Noted

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353*                    Interior Maintenance: Wall vent blocked in cell in cell # 301 and 404

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 305, 307, 312, 315, and 318

FS3

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Medical Room

No Violations Noted

Showers – 1st Floor

No Violations Noted

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Floor paint damaged outside showers

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

FN3

Main Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123	Maintenance: Mold on ceiling outside showers

105 CMR 451.123	Maintenance: Excessive moisture on ceiling

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 5 and 6

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 5, 6, and 7

Second Floor – Rooms

No Violations Noted

Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 307

H3

Main Area

No Violations Noted

Slop Sink

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 8 and 9

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells double bunked

Garage

Bathroom # W124

No Violations Noted

Janitor’s Closet # W123

No Violations Noted

Print Shop

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Janitor’s Closet # W111

No Violations Noted

Warehouse – Support Building

Canteen Storage

No Violations Noted

Freezer # 1

No Violations Noted

Freezer # 2

No Violations Noted

Fridge # 1

No Violations Noted

Fridge # 2

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Uniforms

No Violations Noted

Work Crew Area

Bathroom

No Violations Noted

Break Area

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Record Storage

No Violations Noted

K9 Unit

Female Bathroom

No Violations Noted

Bathroom # 2

No Violations Noted

Janitor’s Closet

No Violations Noted

Laundry

No Violations Noted

Observations and Recommendations

- The inmate population was 1,073 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale														Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Antone Moniz, Superintendent							(electronic copy)

Captain Eugene Irvine, EHSO							(electronic copy)

Dr. Nate Horwitz-Willis, CHO, Health Director, Plymouth Board of Health  	(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate