

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 781-828-7700 Fax: 781-828-7703

|  |
| --- |
| CHARLES D. BAKER  Governor  KARYN E. POLITO  Lieutenant Governor |

October 8, 2019

Joseph D. McDonald, Jr., Sheriff

Plymouth County Correctional Facility

26 Long Pond Road

Plymouth, MA 02360 (electronic copy)

Re: Facility Inspection - Plymouth County Correctional Facility

Dear Sheriff McDonald:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Plymouth County Correctional Facility on September 16, 2019 accompanied by Captain Eugene Irvine, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 99 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Front Lobby**

*Main Area*

No Violations Noted

*Janitor’s Closet*

No Violations Noted

*Male Bathroom*

No Violations Noted

*Female Bathroom*

No Violations Noted

**Administration Area**

*Break Room # 1014*

No Violations Noted

*Male Bathroom # 1013*

No Violations Noted

*Female Bathroom # 1015*

No Violations Noted

*Mail Room # 1016*

No Violations Noted

**Administration - Main Hallway**

*Janitor’s Closet # 1027*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

**Female Locker Room**

No Violations Noted

*Showers*

No Violations Noted

**Male Locker Room**

No Violations Noted

*Showers*

No Violations Noted

**Staff Gym**

No Violations Noted

**IPS Office**

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, no functioning thermometer in refrigerator

**Food Service Area**

The following Food Code violations listed in **BOLD** were observed to be corrected on-site.

**Staff Dining**

*Staff Dining Area*

No Violations Noted

*Staff Serving Line*

**FC 4-602.11(E)(4)(b) Cleaning of Equipment and Utensils, Frequency: Accumulation of soil observed in the beverage dispensing nozzles, iced tea dispenser nozzle dirty**

**FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, food crumbs observed underneath counter**

**Kitchen Area**

*Warming Units*

FC 4-501.11(B)\* Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, warmer # 4 gaskets damaged

*Bakery Area*

FC 4-602.11(E)(4)(b) Cleaning of Equipment and Utensils, Frequency: Accumulation of mold observed on interior surfaces of ice machine

*Office*

No Violations Noted

*Office Bathroom*

No Violations Noted

*Dry Storage*

No Violations Noted

*Tool Closet*

No Violations Noted

*Cooler # 2*

No Violations Noted

*Inmate Break Area*

No Violations Noted

*Inmate Bathroom*

Unable to Inspect – In Use

*Janitor’s Closet*

No Violations Noted

*Freezer # 1*

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ice build-up observed

*Cooler # 3*

No Violations Noted

*Cooler # 4*

No Violations Noted

*Cooler # 5*

No Violations Noted

*Freezer # 6*

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ice build-up observed

**Prep Area**

*4-Compartment Sink Area*

No Violations Noted

*Kettle Area*

No Violations Noted

**Manual Rinse Station**

*3-Compartment Sink*

**FC 4-501.114(C)(2)\* Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration**

FC 4-901.11(A) Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry

**Dishwashing Machine Area**

No Violations Noted

**Laundry**

*Janitor’s Closet*

No Violations Noted

*Office*

No Violations Noted

*Chemical Closet*

No Violations Noted

**Inmate Bathroom # 1058**

No Violations Noted

**Loading Dock**

No Violations Noted

**Maintenance # 1053**

*Small Tool Room*

No Violations Noted

*Bathroom*

No Violations Noted

*Office*

No Violations Noted

*Office Bathroom*

No Violations Noted

**Attorney Visits**

No Violations Noted

**Chapel**

105 CMR 451.353 Interior Maintenance: Carpet dirty

**Medical Corridor**

No Violations Noted

**HSU**

*Waiting Room # M103*

No Violations Noted

*Staff Break Room*

No Violations Noted

*Nurse’s Station # M106*

No Violations Noted

*Storage # M133*

No Violations Noted

*Room # M132*

No Violations Noted

*Autoclave # M131*

No Violations Noted

*Staff Bathroom # M130*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Records # M129*

No Violations Noted

*Pharmacy # M128*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1050F

*Janitor’s Closet # M127*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Laboratory # M126*

No Violations Noted

*Dentist # M124*

No Violations Noted

*X-Ray Room # M123*

No Violations Noted

*Inmate Bathroom # M122*

No Violations Noted

*Exam Room # M121*

No Violations Noted

*Room # M119*

No Violations Noted

*Room # 115*

No Violations Noted

*Handicapped Bathroom*

No Violations Noted

*Office # M112*

No Violations Noted

*Cell # M113 - M116*

No Violations Noted

*Office # M117*

No Violations Noted

*Office # M118*

No Violations Noted

**Property**

No Violations Noted

**Booking**

*Main Area*

105 CMR 451.350\* Structural Maintenance: Exit door # R4 not rodent and weathertight

*Office # R112*

No Violations Noted

*Records # R106*

No Violations Noted

*Inmate Toilet # R105*

No Violations Noted

*Inmate Bathroom # R118*

No Violations Noted

*Janitor’s Closet # R126*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Watch Cells*

No Violations Noted

*Holding Cells*

105 CMR 451.353 Interior Maintenance: Debris in cell # R124

105 CMR 451.353 Interior Maintenance: Ceiling vent blocked in cell # R103

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty in cell # R107

*Staff Bathroom # R127*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Showers*

No Violations Noted

*Officer’s Landing*

No Violations Noted

*Kitchenette*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 1340F

**Library**

No Violations Noted

*Library Bathroom*

No Violations Noted

**Human Services # 1079**

105 CMR 451.353 Interior Maintenance: Floor dirty in multiple areas

*Break Room*

105 CMR 451.200\* Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, unlabeled food in refrigerator

*Offices*

105 CMR 451.350\* Structural Maintenance: Ceiling leaking outside office # 1074

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water stained outside office # 1074

105 CMR 451.353 Interior Maintenance: Excessive clutter in office # 1066

*Staff Bathroom # 1069*

No Violations Noted

*Janitor’s Closet # 1064*

No Violations Noted

**Gymnasium**

105 CMR 451.353\* Interior Maintenance: Ceiling vents dirty

*Toilet Area*

105 CMR 451.123 Maintenance: Ceiling vent dusty above toilet

**Main Hallway**

*Female Staff Bathroom # 1039*

No Violations Noted

*Male Staff Bathroom # 1040*

No Violations Noted

*Janitor’s Closet # 1084*

No Violations Noted

*Staff Bathroom # 1090*

No Violations Noted

*Janitor’s Closet # 1095*

No Violations Noted

*Staff Bathroom # 1098*

No Violations Noted

*Staff Bathroom # 1099*

105 CMR 451.123\* Maintenance: Wall vent dusty

*Staff Bathroom # 1107*

No Violations Noted

*Janitor’s Closet # 1108*

No Violations Noted

*Unit Manager’s Office # 1112*

105 CMR 451.353 Interior Maintenance: Ceiling tiles water stained

*Classroom # 1102*

No Violations Noted

*Staff Bathroom # 1102*

No Violations Noted

*Classroom # 1110*

No Violations Noted

**Cell Blocks/Pods**

**A1**

*Classroom*

No Violations Noted

*Slop Sink*

No Violations Noted

*Bathroom*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, sink # 4 leaking

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty outside showers

*Cell # A107 - A110*

No Violations Noted

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

105 CMR 451.353\* Interior Maintenance: Several ceiling vents dusty

**BS101**

*Trap – First Floor*

No Violations Noted

*Slop Sink*

No Violations Noted

*Bathroom*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, sink # 6 and 7 out-of-order

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty outside showers

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

105 CMR 451.353\* Interior Maintenance: Ceiling vents dusty

**BN101**

*Slop Sink*

No Violations Noted

*Bathroom*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, sink # 2 leaking

*Showers*

No Violations Noted

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

105 CMR 451.353 Interior Maintenance: Ceiling vents dusty

**BS201**

*Slop Sink*

No Violations Noted

*Bathroom*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, sink # 3 out-of-order

105 CMR 451.123 Maintenance: Ceiling paint damaged around ceiling vents

*Showers*

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 4

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

105 CMR 451.353\* Interior Maintenance: Ceiling vents dusty

**BN201**

*Slop Sink*

No Violations Noted

*Bathroom*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty outside showers

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

105 CMR 451.353\* Interior Maintenance: Ceiling vents dusty

**C1**

*Main Area*

105 CMR 451.353 Interior Maintenance: Ceiling tiles water stained above recreation deck door

*Slop Sink*

105 CMR 451.353 Interior Maintenance: Wet mop stored in sink

*Showers*

105 CMR 451.123 Maintenance: Curtains missing in shower # 5 and 7

*Recreation Deck*

105 CMR 451.360 Protective Measures: Birds’ nests observed

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 108, 109, 110, 117, 121, and 213

**DN1**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers – 1st Floor*

105 CMR 451.123 Maintenance: Shower curtain stored on floor in shower # 3

*Showers – 2nd Floor*

105 CMR 451.123\* Maintenance: Floor paint damaged outside showers

105 CMR 451.123 Maintenance: Shower curtain stored on floor in shower # 6

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 6

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Walls dirty

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm cells

**DS1**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

105 CMR 451.123 Maintenance: Floor paint damaged outside showers

105 CMR 451.123 Maintenance: Standing water in shower # 5

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Walls dirty

105 CMR 451.353\* Interior Maintenance: Walls paint damaged

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm cells

**E1**

*Main Area*

No Violations Noted

*Slop Sink*

105 CMR 451.353\* Interior Maintenance: Wall vent dusty

105 CMR 451.353 Interior Maintenance: Wet mop stored in sink

*Showers*

105 CMR 451.123\* Maintenance: Mold on ceiling outside showers

105 CMR 451.123\* Maintenance: Ceiling tiles dusty outside showers

105 CMR 451.123 Maintenance: Standing water outside shower # 9

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

105 CMR 451.353\* Interior Maintenance: Walls dirty

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells double bunked

**FN1**

*Main Area*

No Violations Noted

*Slop Sink*

105 CMR 451.353\* Interior Maintenance: Wet mop stored in bucket

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

*Showers – 1st Floor*

105 CMR 451.123 Maintenance: Excessive moisture on ceiling in shower # 1

*Showers – 2nd Floor*

105 CMR 451.123 Maintenance: Curtain missing in shower # 5

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 4, 5, 6, and 7

105 CMR 451.123 Maintenance: Mold on ceiling outside showers

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm cells

**FS1**

*Main Area*

105 CMR 451.353 Interior Maintenance: Ceiling stained outside common toilet

*Slop Sink*

No Violations Noted

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

105 CMR 451.123\* Maintenance: Floor paint damaged outside showers

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Wall dirty

105 CMR 451.353 Interior Maintenance: Wall paint damaged

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm cells

**H1**

*Main Area*

105 CMR 451.353 Interior Maintenance: Wall dirty above phones

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 3, 4, 5, 6, 7, and 9

105 CMR 451.123\* Maintenance: Mold on ceiling outside showers

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Wall dirty

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353\* Interior Maintenance: Wall vent blocked in cell # 110 and 219

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 101, 102, 103, 109, 119, 121, 122, 132, 224, 228, 229, 233, and 235

**G Block**

*Main Area*

No Violations Noted

**GE South**

*Slop Sink*

105 CMR 451.353\* Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle

*Showers*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 2

*Chemical Storage*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353\* Interior Maintenance: Wall vent blocked in cell # 105

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 106

105 CMR 451.353\* Interior Maintenance: Ceiling dirty in cell # 201 and 208

**GE North**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353\* Interior Maintenance: Floor paint damaged

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Floor dirty in shower # 1 and 2

*Recreation Deck*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353\* Interior Maintenance: Wall vent blocked in cell # 114, 115, and 216

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 109, 110, 117, 118, 210, 212, and 213

**GW North**

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Debris in shower # 3

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353\* Interior Maintenance: Wall vent blocked in cell # 111, 116, 210, 212, and 214

**GW South**

*Slop Sink*

No Violations Noted

*Showers*

No Violations Noted

*Cells*

105 CMR 451.353\* Interior Maintenance: Wall vent blocked in cell # 104, 106, 204, 205, 206, and 208

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 107, 108, 202, 203, and 207

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 205

**3rd Floor**

**Main Hallway**

*Janitor’s Closet # 3022*

No Violations Noted

*Staff Bathroom # 3021*

No Violations Noted

*Storage # 3020*

No Violations Noted

*Janitor’s Closet # 3018*

No Violations Noted

*Classroom # 3015*

No Violations Noted

*Unit Manager # 3012*

No Violations Noted

*Storage # 3011*

No Violations Noted

*Janitor’s Closet # 3010*

No Violations Noted

*Staff Bathroom # 3009*

No Violations Noted

*Break Room # 3008*

No Violations Noted

*Janitor’s Closet # 3006*

No Violations Noted

*Classroom # 3005*

No Violations Noted

*Storage # 3004*

No Violations Noted

*Staff Bathroom # 3003*

No Violations Noted

**3rd Floor - Cell Blocks/Pods**

**C3**

*Main Area*

105 CMR 451.353\* Interior Maintenance: Multiple common area tables not easily cleanable, surface damaged

*Slop Sink*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, slop sink leaking

*Showers*

105 CMR 451.123 Maintenance: Staircase rusted outside showers

105 CMR 451.123 Maintenance: Mold on ceiling outside showers

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells double bunked

**DN3**

*Main Area*

No Violations Noted

*Slop Sink*

105 CMR 451.353\* Interior Maintenance: Ceiling surface damaged

105 CMR 451.353 Interior Maintenance: Wet mop stored in sink

*Showers – 1st Floor*

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 2 and 3

*Showers – 2nd Floor*

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 7

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 6 and 7

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm cells

**DS3**

*Main Area*

No Violations Noted

*Slop Sink*

105 CMR 451.353 Interior Maintenance: Wet mop stored upside down

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

105 CMR 451.123 Maintenance: Mold on ceiling in shower # 4

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm cells

**E3**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 6, 7, 8, and 9

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells double bunked

105 CMR 451.353\* Interior Maintenance: Wall vent blocked in cell in cell # 301 and 404

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 305, 307, 312, 315, and 318

**FS3**

*Main Area*

No Violations Noted

*Slop Sink*

105 CMR 451.353 Interior Maintenance: Wet mop stored upside down

*Medical Room*

No Violations Noted

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

105 CMR 451.123\* Maintenance: Floor paint damaged outside showers

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm cells

**FN3**

*Main Area*

No Violations Noted

*Slop Sink*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Showers – 1st Floor*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123 Maintenance: Mold on ceiling outside showers

105 CMR 451.123 Maintenance: Excessive moisture on ceiling

*Showers – 2nd Floor*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 5 and 6

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 5, 6, and 7

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm cells

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 307

**H3**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 8 and 9

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space, cells double bunked

**Garage**

*Bathroom # W124*

No Violations Noted

*Janitor’s Closet # W123*

No Violations Noted

**Print Shop**

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Staff Bathroom*

No Violations Noted

*Janitor’s Closet*

No Violations Noted

*Janitor’s Closet # W111*

No Violations Noted

**Warehouse – Support Building**

*Canteen Storage*

No Violations Noted

*Freezer # 1*

No Violations Noted

*Freezer # 2*

No Violations Noted

*Fridge # 1*

No Violations Noted

*Fridge # 2*

No Violations Noted

*Male Bathroom*

No Violations Noted

*Female Bathroom*

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Janitor’s Closet*

No Violations Noted

**Uniforms**

No Violations Noted

**Work Crew Area**

*Bathroom*

No Violations Noted

*Break Area*

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

**Record Storage**

No Violations Noted

**K9 Unit**

*Female Bathroom*

No Violations Noted

*Bathroom # 2*

No Violations Noted

*Janitor’s Closet*

No Violations Noted

*Laundry*

No Violations Noted

**Observations and Recommendations**

1. The inmate population was 1,073 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,



Nicholas Gale Environmental Health Inspector, CSP, BEH

cc: Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services (electronic copy)

Carol A. Mici, Commissioner, DOC (electronic copy)

Thomas Turco, Secretary, EOPSS (electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit (electronic copy)

Antone Moniz, Superintendent (electronic copy)

Captain Eugene Irvine, EHSO (electronic copy)

Dr. Nate Horwitz-Willis, CHO, Health Director, Plymouth Board of Health (electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate