

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 781-828-7700 Fax: 781-828-7703

|  |
| --- |
| CHARLES D. BAKER  Governor  KARYN E. POLITO  Lieutenant Governor |

October 22, 2018

Joseph D. McDonald, Jr., Sheriff

Plymouth County Correctional Facility

26 Long Pond Road

Plymouth, MA 02360

Re: Facility Inspection - Plymouth County Correctional Facility

Dear Sheriff McDonald:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Plymouth County Correctional Facility on September 24 and 25, 2018 accompanied by Captain Eugene Irvine, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 81 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Front Lobby**

*Main Area*

No Violations Noted

*Janitor’s Closet*

No Violations Noted

*Male Bathroom*

No Violations Noted

*Female Bathroom*

No Violations Noted

**Administration Area**

*Break Room # 1014*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

105 CMR 451.200 Food Storage, Preparation and Service: Food service not in compliance with 105 CMR 590.000, expired milk in refrigerator

*Male Bathroom # 1013*

No Violations Noted

*Female Bathroom # 1015*

No Violations Noted

**Administration - Main Hallway**

*Janitor’s Closet # 1027*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

**Female Locker Room**

105 CMR 451.123\* Maintenance: Ceiling vent dusty above toilets

*Showers*

No Violations Noted

**Male Locker Room**

105 CMR 451.123\* Maintenance: Ceiling vent dusty above toilets

*Showers*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1 and 2

**Staff Gym**

No Violations Noted

**IPS Office**

No Violations Noted

**Kitchen**

**Staff Dining**

*Staff Dining Area*

No Violations Noted

*Staff Serving Line*

FC 4-601.11(c)\* Cleaning of Equipment and Utensils, Objective: Nonfood contact surface dirty, interior of oven doors dirty

**Kitchen Area**

*Warming Units*

No Violations Noted

*Bakery Area*

No Violations Noted

*Office*

No Violations Noted

*Office Bathroom*

No Violations Noted

*Dry Storage*

No Violations Noted

*Tool Closet*

No Violations Noted

*Cooler # 2*

Unable to Inspect – Closed for Repair

*Inmate Break Area*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.123 Maintenance: Urinal out-of-order

*Janitor’s Closet*

No Violations Noted

*Freezer # 1*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up throughout

*Cooler # 3*

No Violations Noted

*Cooler # 4*

No Violations Noted

*Cooler # 5*

No Violations Noted

*Freezer # 6*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up on fans

**Prep Area**

FC 6-201.11\* Design, Construction and Installation: Floor not easily cleanable, floor damaged throughout

*2-Compartment Sink Area*

No Violations Noted

*Kettle Area*

No Violations Noted

**Manual Rinse Station**

*3-Compartment Sink*

No Violations Noted

**Dishwashing Machine Area**

FC 4-501.11(A) Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 warewash machine out-of-order

**Laundry**

No Violations Noted

*Janitor’s Closet*

No Violations Noted

*Office*

No Violations Noted

*Chemical Closet*

No Violations Noted

**Inmate Bathroom # 1058**

No Violations Noted

**Loading Dock**

No Violations Noted

**Maintenance # 1053**

*Small Tool Room*

No Violations Noted

*Bathroom*

No Violations Noted

*Office*

No Violations Noted

*Office Bathroom*

No Violations Noted

**Attorney Visits**

No Violations Noted

**Chapel**

No Violations Noted

**Medical Corridor**

No Violations Noted

**HSU**

*Waiting Room # M103*

No Violations Noted

*Staff Break Room*

105 CMR 451.200 Food Storage, Preparation and Service: Food preperation not in compliance with 105 CMR 590.000, interior of microwave dirty

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, interior of freezer dirty

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, cookies not stored properly

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, ice tray left inside sink in Staff Bathroom # M130

*Nurse’s Station # M106*

No Violations Noted

*Storage # M133*

No Violations Noted

*Room # M132*

No Violations Noted

*Autoclave # M131*

No Violations Noted

*Staff Bathroom # M130*

No Violations Noted

*Records # M129*

No Violations Noted

*Pharmacy # M128*

105 CMR 451.110(A)\* Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)\* Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

*Janitor’s Closet # M127*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Laboratory # M126*

No Violations Noted

*Dentist # M124*

No Violations Noted

*X-Ray Room # M123*

No Violations Noted

*Inmate Bathroom # M122*

No Violations Noted

*Exam Room # M121*

No Violations Noted

*Room # M119*

No Violations Noted

*Room # 115*

No Violations Noted

*Handicapped Bathroom*

No Violations Noted

*Office # M112*

No Violations Noted

*Cell # M113 - M116*

No Violations Noted

*Office # M117*

No Violations Noted

*Office # M118*

No Violations Noted

**Property**

No Violations Noted

**Booking**

*Main Area*

No Violations Noted

*Office # R112*

No Violations Noted

*Records # R106*

No Violations Noted

*Inmate Toilet # R105*

No Violations Noted

*Inmate Bathroom # R118*

No Violations Noted

*Janitor’s Closet # R126*

105 CMR 451.353\* Interior Maintenance: Unlabeled chemical bottles

*Showers*

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 2

*Staff Bathroom # R127*

No Violations Noted

*Kitchen Area*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 950F

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, unlabeled food in refrigerator

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, no functioning thermometer in refrigerator

*Officer’s Landing*

No Violations Noted

*Watch Cells*

No Violations Noted

*Holding Cells*

105 CMR 451.353 Interior Maintenance: Floor paint damaged in cell # 116

**Library**

No Violations Noted

*Library Bathroom*

No Violations Noted

**Human Services # 1079**

105 CMR 451.353 Interior Maintenance: Appearance of mold on floor tiles in many areas

*Break Room*

105 CMR 451.200\* Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, interior of freezer dirty

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, no functioning thermometer in refrigerator

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, interior of cabinet above sink dirty

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Offices*

No Violations Noted

*Staff Bathroom # 1069*

No Violations Noted

*Janitor’s Closet # 1064*

No Violations Noted

**Gymnasium**

105 CMR 451.353\* Interior Maintenance: Landing dirty above office

**Main Hallway**

*Female Staff Bathroom # 1039*

No Violations Noted

*Male Staff Bathroom # 1040*

No Violations Noted

*Janitor’s Closet # 1084*

No Violations Noted

*Staff Bathroom # 1090*

Unable to Inspect – In Use

*Janitor’s Closet # 1095*

No Violations Noted

*Staff Bathroom # 1098*

No Violations Noted

*Staff Bathroom # 1099*

Unable to Inspect – In Use

*Staff Bathroom # 1107*

No Violations Noted

*Janitor’s Closet # 1108*

No Violations Noted

*Unit Manager’s Office # 1112*

No Violations Noted

*Classroom # 1102*

No Violations Noted

*Staff Bathroom # 1102*

No Violations Noted

*Classroom # 1110*

No Violations Noted

**Cell Blocks/Pods**

**A1**

*Classroom*

No Violations Noted

*Slop Sink*

No Violations Noted

*Bathroom*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty outside showers

105 CMR 451.123 Maintenance: Floor surface damaged in shower # 1-6

*Cell # A107 - A110*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty in cell # A107 and A108

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

105 CMR 451.353\* Interior Maintenance: Several ceiling vents dusty

105 CMR 451.353 Interior Maintenance: Floor generally dirty

**BS101**

*Trap – First Floor*

No Violations Noted

*Slop Sink*

No Violations Noted

*Bathroom*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty outside showers

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 7

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

105 CMR 451.353\* Interior Maintenance: Ceiling vents dusty

**BN101**

*Slop Sink*

No Violations Noted

*Bathroom*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty outside showers

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

**BS201**

*Slop Sink*

No Violations Noted

*Bathroom*

105 CMR 451.123 Maintenance: Floor dirty in toilet area

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty outside showers

105 CMR 451.123\* Maintenance: Light fixture rusted inside shower # 1-3

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

105 CMR 451.353\* Interior Maintenance: Ceiling vents dusty

**BN201**

*Slop Sink*

No Violations Noted

*Bathroom*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty outside showers

105 CMR 451.123\* Maintenance: Curtain missing in shower # 6 and 7

105 CMR 451.123 Maintenance: Floor dirty in shower # 3 and 4

*Main Area – Dorm Bunks*

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm area

105 CMR 451.353\* Interior Maintenance: Ceiling vents dusty

**C1**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Ceiling access panel door rusted in shower # 5

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 117, 120, 128, 213, and 224

**DN1**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

No Violations Noted

*Recreation Deck*

105 CMR 451.353 Interior Maintenance: Walls dirty

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 107 and 206

**DS1**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

No Violations Noted

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**E1**

*Main Area*

105 CMR 451.353 Interior Maintenance: Ceiling vents dusty

*Slop Sink*

105 CMR 451.353\* Interior Maintenance: Wall vent dusty

105 CMR 451.353 Interior Maintenance: Mop stored on floor

*Showers*

105 CMR 451.123\* Maintenance: Mold on ceiling outside showers

105 CMR 451.123 Maintenance: Ceiling tiles dusty outside showers

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 4, 5, 6, 7, 8, and 9

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

105 CMR 451.353 Interior Maintenance: Walls dirty

*Second Floor – Rooms*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles damaged in room # 238

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 126

**FN1**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Wall dirty

*Showers – 1st Floor*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1

*Showers – 2nd Floor*

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 7

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**FS1**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

No Violations Noted

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Wall dirty

*Second Floor – Rooms*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty in room # 208

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**H1**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers*

No Violations Noted

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

105 CMR 451.353\* Interior Maintenance: Ceiling vent blocked in room # 238

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 103, 109, 110, 111, 112, 117, 133, 204, 205, 209, 211, 214, 220, 229, and 234

**G Block**

*Main Area*

No Violations Noted

**GE South**

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Generally dirty conditions in shower # 1 and 2

*Chemical Storage*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**GE North**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Shower # 2 dirty

105 CMR 451.123 Maintenance: Shower # 1 dirty

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower # 1 and 3 leaking

*Recreation Deck*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 211

**GW North**

105 CMR 451.353\* Interior Maintenance: Floor paint damaged

105 CMR 451.353 Interior Maintenance: Ceiling tiles water stained

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vents dusty in shower area

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140\* Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 116, 117, and 215

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 211

**GW South**

*Slop Sink*

No Violations Noted

*Showers*

Unable to Inspect – In Use

*Cells*

105 CMR 451.140\* Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 202 and 203

**3rd Floor**

**Main Hallway**

*Janitor’s Closet # 3022*

No Violations Noted

*Staff Bathroom # 3021*

No Violations Noted

*Storage # 3020*

No Violations Noted

*Janitor’s Closet # 3018*

No Violations Noted

*Classroom # 3015*

No Violations Noted

*Storage # 3011*

No Violations Noted

*Janitor’s Closet # 3010*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

105 CMR 451.353 Interior Maintenance: Ceiling vent not secured

*Staff Bathroom # 3009*

No Violations Noted

*Break Room # 3008*

No Violations Noted

*Janitor’s Closet # 3006*

No Violations Noted

*Classroom # 3005*

No Violations Noted

*Storage # 3004*

No Violations Noted

*Staff Bathroom # 3003*

No Violations Noted

**3rd Floor - Cell Blocks/Pods**

**C3**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Generally dirty conditions in shower # 6

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty in room # 437

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140\* Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 422 and 425

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 313, 330, 331, 404, 408, and 421

105 CMR 451.353 Interior Maintenance: Ceiling dirty in cell # 426

**DN3**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

No Violations Noted

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 302, 303, 404, and 405

**DS3**

*Main Area*

No Violations Noted

*Slop Sink*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

105 CMR 451.123 Maintenance: Mold on walls outside showers

*Recreation Deck*

No Violations Noted

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 301, 302, 303, and 402

**E3**

*Main Area*

105 CMR 451.353 Interior Maintenance: Wall paint damaged behind phones

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123 Maintenance: Walls stained in shower # 8 and 9

*Recreation Deck*

105 CMR 451.353 Interior Maintenance: Wall paint damaged

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140\* Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 303, 305, and 407

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 301, 304, 309, 318, 415, and 424

**FS3**

*Main Area*

No Violations Noted

*Slop Sink*

No Violations Noted

*Medical Room*

No Violations Noted

*Showers – 1st Floor*

No Violations Noted

*Showers – 2nd Floor*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 6 and 7

105 CMR 451.123\* Maintenance: Floor paint damaged outside showers

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

**FN3**

*Main Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vents dusty

*Slop Sink*

No Violations Noted

*Showers – 1st Floor*

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1 and 3

*Showers – 2nd Floor*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 5 and 6

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 4 and 7

105 CMR 451.123 Maintenance: Mold on walls outside showers

*Second Floor – Rooms*

No Violations Noted

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 307

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 307

**H3**

*Main Area*

105 CMR 451.350\* Structural Maintenance: Ceiling leaking in back stairwell

*Slop Sink*

No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 9

105 CMR 451.123\* Maintenance: Mold on ceiling outside showers

*Cells*

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.140 Adequate Ventilation: Inadequate ventilation, wall vent blocked in cell # 309, 325, 326, 328, 413, and 414

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 309, 333, and 424

**Garage**

*Bathroom # W124*

No Violations Noted

*Janitor’s Closet # W123*

No Violations Noted

**Print Shop**

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Staff Bathroom*

No Violations Noted

*Janitor’s Closet*

No Violations Noted

*Janitor’s Closet # W111*

No Violations Noted

**Warehouse – Support Building**

*Canteen Storage*

105 CMR 451.200 Food Storage, Preparation and Service: Food service not in compliance with 105 CMR 590.000, Poland Spring water catch dirty

*Freezer # 1*

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with 105 CMR 590.000, ice cream container packaging compromised

*Freezer # 2*

No Violations Noted

*Fridge # 1*

No Violations Noted

*Fridge # 2*

No Violations Noted

*Male Bathroom*

No Violations Noted

*Female Bathroom*

No Violations Noted

*Inmate Bathroom*

No Violations Noted

*Janitor’s Closet*

No Violations Noted

**Uniforms**

No Violations Noted

**Work Crew Area**

*Bathroom*

No Violations Noted

*Break Area*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, toaster oven damaged

**Record Storage**

No Violations Noted

**K9 Unit**

*Female Bathroom*

No Violations Noted

*Bathroom # 2*

No Violations Noted

*Janitor’s Closet*

105 CMR 451.353 Interior Maintenance: Noxious odor

*Laundry*

No Violations Noted

**Observations and Recommendations**

1. The inmate population was 1,018 at the time of inspection.
2. At the time of inspection, the Department recommended that metering faucets throughout the facility be adjusted so they remain running for 20 seconds at minimum. This will allow for the hot water to reach the desired range of 1100F – 1300F and provide the opportunity for staff and inmates to thoroughly wash their hands.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Retail Food”. Then under “Regulations” click “2013 Food Code Merged with 105 CMR 590 and 2013 Food Code”

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Processing”. Then under “Regulations” click “105 CMR 500.000: Good Manufacturing Practices for Food”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc: Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services

Thomas Turco, Commissioner, DOC (electronic copy)

Antone Moniz, Superintendent (electronic copy)

Captain Eugene Irvine, EHSO (electronic copy)

Dr. Nate Horwitz-Willis, CHO, Health Director, Plymouth Board of Health (electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Daniel Bennett, Secretary, EOPSS

Nelson Alves, Director, Policy Development and Compliance Unit (electronic copy)