Massachusetts Department of Environmental Protection (MassDEP) Drinking Water Program (DWP) Public Notice Tier 1 Templates

# Lead and Copper Rule Combined Public Notice (PN) and Public Education (PE) Template 1-10d

Lead and Copper Rule Revisions (LCRR) Combined Lead Action Level Exceedance Public Notice (PN) and Public Education (PE)

Released: 05/26/2026

This template is a combination of the Lead Action Level Exceedance (ALE) Tier 1 public notice and public education templates, which meets both the Lead and Copper Rule Revisions (LCRR) Public Notice (PN) and the Lead and Copper Rule (LCR) Public Education (PE) requirements.

## Who can use this template?

This template may be used by the following types of public water systems that wish to deliver a single notice that contains all required PN and PE elements following a lead ALE:

- Non-Transient Non-Community (NTNC) and

- Very Small Community (COM) Public Water Systems (PWS) serving one or a few buildings

## Instructions: (template following)

Exceeding the lead action level of 15 ug/L (ppb) triggers a Tier 1 public notification under the US Environmental Protection Agency’s (EPA) Lead and Copper Rule Revisions (LCRR). Compliance with the LCRR began on October 16, 2024. To protect public health, Public Water Systems (PWS) are required to provide public notification to persons served as soon as practical but no later than 24 hours after the PWS learns of an action level exceedance (ALE) of the lead 90th Percentile; this is required by the National Primary Drinking Water Regulations (NPDWR), Appendix A to Subpart Q of Part 141, Title 40.

In addition to delivering a Tier 1 Public Notice (PN) for a lead ALE as required by the LCRR, PWS must also conduct public education (PE) outreach, a requirement that remains in effect under the Lead and Copper Rule (LCR).

To help NTNC and very small COM PWS serving one or a few buildings comply with both EPA’s LCRR and the Massachusetts Drinking Water Regulations (310 CMR 22.06B), MassDEP’s Drinking Water Program (DWP) has developed a combined PN and PE template. This streamlined document is intended to simplify compliance, make distribution easier and minimize resource needs by consolidating required content into a single notice.

### When does the 24-hour Public Notification period begin?

The 24-hour period begins as soon as you calculate your 90th percentile value after collecting and receiving all your samples results but, not later than the end of the reporting period (as per 310 CMR 22.15(2)) noted below:

- July 10 for the January to June monitoring period

- January 10 for the July to December monitoring period

- October 10 for the June to September monitoring period, and

- November 10 for the July to October monitoring period (for applicable MWRA systems).

Note that if a PWS completes its 90th percentile calculations prior to the end of the monitoring period, such system must complete the public notification within 24 hours of receiving all required sampling results and calculating the 90th percentile value as per 310 CMR 22.16(2)(b).

Collecting more than one sample from an approved primary site or collecting samples from sites not on the approved sampling plan during the monitoring period requires prior MassDEP approval.

### MassDEP Consultation

In accordance with 310 CMR 22.16(2)(b)2, PWS must contact/consult with their regional office of the Massachusetts Department of Environmental Protection (MassDEP) to determine if the PWS must meet additional PN requirements and ensure compliance with the 24-hour notice.

During this consultation, you must receive MassDEP’s approval to make any changes to the non-mandated language in this template; MassDEP must review and approve the final notice and proposed methods of delivery.

If your PWS is also currently subject to a separate Boil Water Order for bacteria related issues, please discuss appropriate language regarding boiling during your consultation. If a PWS is unable to consult with MassDEP for any reason, such as if the 90th percentile is calculated on a weekend, the PWS must still distribute a compliant notice within 24 hours. Consultation with MassDEP, or lack thereof, does not relieve you from complying with this requirement.

#### Helpful Tips:

- PWSs may consider implementing the practice they would use to notify and consult with their MassDEP/DWP regional office for the two-hour emergency notification required by 310 CMR 22.15(9) when they identify a lead ALE.

- PWSs are encouraged to contact MassDEP prior to calculating the 90th percentile value if enough results have been received to indicate that a lead ALE is expected to begin the process of preparing a draft PN and distribution plan for preapproval. (For example, you sample 20 sites and have already received 3 results above the lead action level.)

  - Please be advised that you must still seek MassDEP approval of the final PN and distribution plan prior to delivery.

- You must also coordinate with your local health department.

### Mandatory Language

Mandatory language on health effects must be included as written (310 CMR 22.16 (5)(d)).  This language is also presented in this notice in *italics with an asterisk on either end* (see below).

*There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks.*

You must also include the following language in all notices, where applicable. This language is also presented in this notice in *italics with an asterisk on either end* (see below). Use of this language does not relieve you of your obligation to take steps reasonably calculated to notify all persons served:

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

And

*This notice contains important information about your drinking water.  Have someone translate it for you or speak with someone who understands it. * (See the Translation Requirements section for more information.)

If you modify the template(s), you must still include all required elements and leave the health effects language in italics unchanged; this language, exactly as written, is mandatory (310 CMR 22.16(5)(d)).

Remember, your MassDEP Regional Office must approve the final language and method(s) of delivery prior to dissemination of your PN.

- Given the short timeframe for a 24-hour notice, all PWSs are required to have a lead ALE PN template and plan for delivery in their Emergency Response Plan (ERP). PWSs must have a plan for compliance with PN requirements in their ERP as required by 310 CMR 22.04 (13).

- MassDEP encourages PWSs to have a pre-approved PN and delivery plan to expedite dissemination of their PN, especially if the PWS has a higher likelihood of exceeding the 90th percentile for lead.

### Translation Requirements

In accordance with 310 CMR 22.16(5)(c)2 and 310 CMR 22.16A(8)(c), please be advised of the following translation requirements:

- If your system serves a community with 10% or more or greater than 1000 (whichever is fewer) non-English speaking consumers, your PN must contain a statement in the appropriate language(s) regarding the importance of the report.

“This report contains important information about your drinking water.  Have someone translate it for you or speak with someone who understands it”.

The text above is available in multiple languages under Language Translation Requirements for Specific MA Cities and Towns. A chart listing the cities/towns this requirement applies to is also available on this webpage.

- If your system serves a community where 25% or more of the population speak one particular language, you must translate the entire PN into that specific language and have the translated version of the PN immediately available upon request. There are many free translation tools and applications available that could be used to accomplish this (e.g. Google Translate).

- A list of the PWSs that are required to provide a fully translated PN is located at the MassDEP Requirements for Language Translations website.

- Please note: MassDEP/DWP recommends that PWSs prepare and provide a fully translated PN if more than 5% of their population speaks another language.

### Delivery

In accordance with 310 CMR 22.16(2)(c), systems must use one or more of the following approved methods to deliver the Lead ALE Tier 1 PN to all residential, transient, and non-transient consumers:

- Radio

- Television

- Hand or direct delivery or

- Posting in conspicuous locations

However, most of the notification methods listed above will not meet the LCR public education requirements, which requires the PWS to deliver printed materials to all bill paying consumers. To meet both the public education and public notification distribution requirements within the 24-hour period for the Tier 1 PN, PWS must hand deliver or directly deliver the notice to all consumers. For hand/direct delivery or public posting of notices, PWS are encouraged to print the notice on your system’s letterhead, if you have it.

PWS are encouraged to discuss delivery of this notice with their regional LCR staff if they have any questions, to ensure they meet both LCR and LCRR requirements.  PWS cannot use an alternative method to distribute the 24-Hour Tier 1 PN unless they have prior MassDEP approval.

In addition to one (or more) of the above methods, COM PWS must publish the Tier 1 PN within a local newspaper as a one-day advertisement no later than 14 days after the exceedance.  A copy must be submitted to your MassDEP regional office no later than the time published. NTNC PWS are not required to publish their PN in a local newspaper.

### Corrective Action

In the PN, describe the corrective actions your system is taking. The language below provides an example of an action commonly taken by PWSs with lead exceedances. Use the following example language if appropriate, or develop your own:

We are investigating water treatment and other actions to ensure your home/building receives water treated to reduce the risk of dissolving lead from your plumbing.

### After Issuing the Notice

Within 24 hours of learning of the lead action level exceedance:

- Send a copy of your finalized notice to EPA, by emailing it to LeadALE@epa.gov and eCC’ing MassDEP Drinking Water Program at program.director-dwp@mass.gov. Please also eCC your MassDEP regional office LCR staff.

Within 10 days of finalizing all Tier 1 PN required activities:

- Certify that your notice(s) were distributed, and distributed on time, by submitting the PN Certification Form. This must be sent to your MassDEP regional office and your local Board of Health, along with copies of the notices distributed. (310 CMR 22.15(3)(b)).

Within 10 days of the end of the period in which the system is required to perform public education tasks:

- Submit documentation demonstrating the public education program delivery requirements were met, by submitting the public education certification form and copies of your public education materials 310 CMR 22.06B(11)(f)) to your MassDEP regional office

- As this is a combined template, submitting a completed PE certification form certifying you have met all the public education requirements at the same time as your PN certification is strongly encouraged.

You should also notify local healthcare professionals of the lead exceedance. People may contact their healthcare provider with questions, and notifying local healthcare professionals provides them an opportunity to prepare any information they need to respond appropriately.

### Highlighted Text in Template

Please note that everything highlighted in blue on the template are instructions and should be deleted before disseminating the PN. Text highlighted in yellow should be tailored to suit your system’s specific circumstances. Remove all highlights on the template before dissemination.

### Attachments/Resources

PWSs may find the following resources helpful when drafting their PN:

- Language Translation Statements

- The EPA Public Notification Handbook provides additional aids to help water systems develop notices for violations and other situations. Please note that the EPA Handbook templates are non-state specific, so Massachusetts PWSs are encouraged to use the MassDEP version of the lead ALE template(s) for compliance. Electronic copies of the Massachusetts public notification templates and certification forms are available on the MassDEP Public Notification Forms and Templates website.

- Lead and Copper Rule Revisions (LCRR) Lead 24 Hour Tier 1 Public Notice Instructional Video

- MassDEP DWP Tier 1 Public Notice (PN) for Lead Action Level Exceedance (ALE) Consumers Q&A

- MassDEP DWP Tier 1 Public Notice (PN) for Lead Action Level Exceedance (ALE) PWS Q&A

### Notes

According to the EPA 2021 LCRR Implementation Fact Sheet, failure to issue a 24-hour PN is a violation requiring Tier 3 public notification. See the EPA LCR Implementation Tools website for more information on the Tier 1 PN.

When using posters or handouts, PWS are encouraged to include QR codes to ensure consumers can access links directly by mobile devices.

There is no requirement to provide Copper Public Education when the copper action level is exceeded. However, PWS that exceed the copper action level are encouraged to provide consumers with information from the MassDEP Copper and Your Health fact sheet.

Please remember all lead and copper records must be maintained for 12 years.

## 24-HOUR NOTICE- COMBINED PUBLIC EDUCATION AND NOTIFICATION TEMPLATE - REMOVE OR REPLACE HIGHLIGHTED TEXT IN BRACKETS [ ]

[System] DRINKING WATER NOTICE

Some [units/taps] have high levels of lead

*This notice contains important information about your drinking water.  Have someone translate it for you or speak with someone who understands it. *

### Why am I receiving this notice?

[insert PWS name] found elevated levels of lead in drinking water in some homes/buildings. Our water system exceeded the lead drinking water action level.

[Select one of the applicable highlighted sentences and delete the other one:]

[1. We routinely monitor for lead in water at [units/taps] likely to have elevated lead levels, including [units/taps] connected to service lines containing lead or in buildings served by plumbing with lead solder or]

[2. We routinely monitor for lead in water at [units/taps] connected to lead service lines as they are more likely to have elevated lead levels (Only use this sentence if all the samples are from buildings served by a LSL)].

We are required to collect [XX] samples between [insert date beginning of monitoring period] and [insert date end of monitoring period]. [XX] of these samples from higher risk [units/taps] had elevated lead levels. The results of these routine samples for lead indicate a level of [XX] mg/L (or [XX] parts per billion). This level exceeds the lead action level of 0.015 mg/L (or 15 parts per billion). This means that more than 10 percent of the lead samples collected were above the lead action level. Lead can cause serious health problems, especially for pregnant people and young children. Please read this information closely to see what you can do to reduce lead in your drinking water.

### Health Effects of Lead

[You must include the following health effects information exactly as written]

*There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks. *

### Sources of Lead

Lead is a common metal found in the environment.  Common sources of lead exposure are lead-based paint, household dust, soil, and some plumbing materials and fixtures. Lead can also be found in household items such as pottery, makeup, toys, and even food. Lead paint was outlawed in 1978, but dust from homes that still have lead paint is the most common source of exposure to lead. Therefore, make sure to wash your children’s hands and toys often as they can come into contact with dirt and dust containing lead.

[Only use the following sentence if the PWS has monitoring results documenting source water lead levels.] [If applicable] The water provided by [insert PWS name] is lead-free when it leaves the reservoirs/well [indicate the type of water source]. Local distribution pipes that carry the water to the community are made mostly of iron and steel [insert additional piping material specific to your PWS] and therefore do not add lead to water. However, lead can get into tap water through lead piping such as lead service lines or lead connectors (a short segment of piping three feet or smaller typically connecting a service line to the water main), lead solder used in plumbing, and some brass faucets and fixtures. You cannot see, taste, or smell lead in the water.

Homes/buildings built after 1986 are not likely to have lead solder or lead service lines, as in 1986, Congress Amended the Safe Drinking Water Act, prohibiting the use of pipes, solder or flux that were not “lead free”. At the time "lead free” was defined as solder and flux with no more than 0.2% lead and pipes with no more than 8% lead. In 2011, Congress enacted legislation prohibiting the use and introduction into commerce of any pipes, fittings and fixtures (e.g. faucets) that contain more than a weighted average of 0.25% lead based on wetted surfaces.

The corrosion or wearing away of these lead-based materials can add lead to tap water, particularly if water sits for a long time in the pipes before use. Therefore, water that has been sitting in household pipes for several hours, such as in the morning or after returning from work or school, is more likely to contain lead. If high levels of lead are found in drinking water, this may contribute up to 20 percent of a person’s exposure to lead. However, for infants who consume mostly formula mixed with lead-containing water, this may contribute up to 60 percent of their exposure to lead.  Because water use and other conditions may change, lead levels may also fluctuate. This means lead exposure is possible even if tap sampling does not detect lead at a specific moment.

### Steps You Can Take to Reduce Exposure to Lead in Drinking Water

Listed below are steps that you can take to reduce your exposure to lead and copper in drinking water:

- Use only cold, fresh water for drinking, cooking, and preparing baby formula. Do not drink water from the hot water tap. Do not use water from the hot water tap to cook with or make baby formula. Lead dissolves more easily into hot water.

- Before drinking, flush your pipes by running the tap or performing other tasks using water that do not involve human consumption, like taking a shower, doing laundry, or doing a load of dishes. The more time water has been sitting in a building’s pipes, the more lead it may contain. The amount of time to run the water will depend on whether your building has a lead service line or not, as well as the length and diameter of the service line and the amount of plumbing in the building. If you are not familiar with the structural and plumbing details of the building, run the water for at least one (1) minute or until after it turns cold.

  - For more information about building flushing, visit the MassDEP Building Flushing Information website (https://www.mass.gov/doc/massdep-building-flushing-information/).

- Use your filter properly, if you use a filter. Filters can reduce lead in drinking water. Make sure the filter is certified by an American National Standards Institute (ANSI) accredited certifier, such as NSF, to reduce lead; it will say so on the package or the manufacturer’s website. You can contact NSF International at 800-NSF-8010 or www.nsf.org for information on performance standards for filters. Read any directions provided with the filter to learn how to properly install, maintain, and use your cartridge and when to replace it to protect water quality. Using the cartridge after it has expired can make it less effective at removing lead. Do not run hot water through the filter. For more information, and which certifications to look for, visit EPA’s website at Home Drinking Water Filtration Fact Sheet | US EPA (https://www.epa.gov/ground-water-and-drinking-water/home-drinking-water-filtration-fact-sheet) and EPA’s A Consumer Tool for Identifying Point of Use (POU) Drinking Water Filters Certified to Reduce Lead (epa.gov) (https://www.epa.gov/system/files/documents/2024-06/how-to-id-filters-certified-to-reduce-lead-in-drinking-water-epa_june-2024.pdf)

- Consider alternative sources of water. In an abundance of caution, some members of the highest risk groups, including pregnant persons, infants, and young children, may prefer to reduce lead exposure by using an alternate water source, such as bottled water or filtered water. If you are considering using bottled water, note that it may cost up to 1,000 times more than tap water. Simply flushing your tap, as described above, is usually a less expensive and equally effective alternative.

- Clean your aerator. Regularly remove and clean your faucet’s screen (also known as an aerator), as sediment, debris, and lead particles can collect there. If lead particles are caught in the aerator, lead can get released into your water.

- Identify and replace plumbing fixtures containing lead or lead solder. Brass faucets, fittings, and valves, including those advertised as “lead-free,” may contribute lead to drinking water. Prior to 2014, end-use brass fixtures with up to 8 percent lead could be labeled “lead-free”. If you are concerned about lead in tap water, you should consider buying low-lead or lead-free fixtures. Contact NSF (http://www.nsf.org/) or use the link below to identify the marks on products that are certified as “lead free” by a third-party certification body: How to Identify Lead Free Certification Marks for Pipes, Fittings, Fixtures, Solder, and Flux Used for Drinking Water (https://www.epa.gov/system/files/documents/2024-06/how-to-id-lead-free-certified-drinking-water-products-epa_june-2024.pdf).

- Do not boil the water to remove lead. Excessive boiling of water makes the lead more concentrated - the lead remains when the water evaporates.

- Learn about construction in your neighborhood that could disturb your service line. Contact us to find out about any construction or maintenance activities that could disturb your service line. Activities that physically disturb the service line may cause lead to be released, if present.

- Test your [home/building] for lead: The only way to determine the level of lead in drinking water at your [home/building] is to have the water tested by a state certified laboratory. Consider having your paint tested also. Visit the MassDEP Find a Certified Laboratory for Water Testing webpage (https://www.mass.gov/how-to/find-a-certified-laboratory-for-water-testing) for a list of certified laboratories that offer lead in drinking water testing.. You may also contact us at [Insert PWS contact information] to find out how to get your water tested for lead.

- Contact your health care provider or your local health department to find out if your child needs to be tested for lead. A blood lead level test is the only way to know if your child is being exposed to lead. For more information on Massachusetts’ childhood lead testing program, contact the Department of Public Health at 1-800-532-9571 or visit the DPH Childhood Lead Poisoning Prevention Program website (www.mass.gov/orgs/childhood-lead-poisoning-prevention-program).

- If you have any health-related questions about lead, please contact your health care provider.

### Identifying your Service Line Material [Include 1 of the options below in your notice.]

Option 1- Use if your PWS is an otherwise non-lead system that contains connectors made of lead or an unknown material:

- Check whether your home or building has a lead service line.  IF YOU DO, HAVE IT REPLACED.

  - Learn what your service line material is by checking your home or building address at [PWS website or other instructions on how consumers can view the Service Line Inventory].

  - Please contact [insert PWS contact information] for more information about your home or building service line, how to have it replaced, or for information about plumbing materials in your home that may contain lead.

  - You may use EPA’s Protect Your Tap tool (www.epa.gov/pyt) to help identify if your service line is lead.

Option 2- Use if your PWS has lead, Galvanized Requiring Replacement (GRR), and/or lead status unknown service lines:

- Check whether your home or building has a lead service line.  IF YOU DO, HAVE IT REPLACED.

  - Learn what your service line material is by checking your home or building address at [PWS website or other instructions on how consumers can view the Service Line Inventory].

    - Please notify us if you disagree with the service line material categorization in our service line inventory by contacting us at [contact information].

    - If your service line is an unknown material, [include instructions here on how consumers can identify their material, such as by scheduling an appointment or self-identification methods]. You may use EPA’s Protect Your Tap tool to help identify if your service line is lead (www.epa.gov/pyt).

    - If your service line is lead or Galvanized Requiring Replacement (GRR) [include information on opportunities to replace service lines, such as if you have an LSL/GRR replacement program.

      - [Include financial solutions here. If your system does not have a financial assistance program for service line replacement, include the following: “Please consider contacting your home insurance company regarding any information they may have on insurance solutions for water service line replacement.]

      - If you are planning on replacing the portion of the service line that you own, please notify us at [insert PWS contact information]. [LCRI: We are required to replace our portion of a lead or GRR service line if replaced by the property owner].

  - [System] has developed/is developing a Service Line Replacement Program (SLRP) with the goal of removing all GRR/lead service lines and identifying all unknown service lines in the water system. Consumers may obtain a copy of the Service Line Replacement Plan by [If applicable: choose one of the following statements (1) contacting us at: [phone number or email], OR (2) by visiting our webpage: [insert webpage link here].

### Why are there elevated levels of lead in the drinking water and what is being done to reduce the levels?

[Choose one of the following paragraphs depending on whether you treat your water for corrosion control.]

[If you treat your water for corrosion control you may use the following five paragraphs of language:]

- [If applicable, only use the following sentence if the PWS has monitoring results documenting source water lead levels.] The water provided by [insert PWS name] is lead-free when it leaves the reservoirs/well [indicate the type of water source]. However, lead can get into tap water through service lines that contain lead, lead solder used in plumbing, and some brass fixtures.

- [Insert PWS name] is concerned about lead in your drinking water. We have both an extensive testing program and have treated the water to make it less corrosive [if applicable]. Although most homes/buildings have very low levels of lead in their drinking water, some homes/buildings may still have lead levels above the Action Level of 15 parts per billion (ppb).

# To monitor lead levels, [insert PWS name] tests tap water in homes/buildings that are most likely to have lead. These homes/buildings are usually older buildings that may have lead service lines or lead solder, and they must be tested after water has been sitting for at least six (6) hours. The EPA rule requires that 90% of these higher risk locations must have lead levels below the Action Level of 15 ppb.

- [Insert PWS name] treats your water to make it less corrosive, thereby reducing the leaching of lead into drinking water. Starting in [insert date that corrosion control was implemented], [insert PWS name] began [insert treatment specific to your system e.g. increasing the pH and buffering capacity of the water] and has steadily fine-tuned these levels since corrosion control treatment began.

Due to implementation of this treatment, lead levels found in samples of tap water have dropped over [insert percent of decrease] since [insert date that corrosion control was implemented]. [Insert if applicable: The [insert PWS name] service area was previously below the Lead Action Level since [insert date that system has been below action level, if applicable]. Because lead levels in internal plumbing can vary, individual homes may occasionally have higher test results.

[If you do not treat your water for corrosion control you may use the following 3 paragraphs of language]

- [If applicable, only use the following sentence if the PWS has monitoring results documenting source water lead levels.] The water provided by [insert PWS name] is lead-free when it leaves the reservoirs/well [indicate the type of water source]. However, lead can get into tap water through service lines that contain lead, lead solder used in plumbing, and some brass fixtures. [Insert PWS name] is concerned about lead in your drinking water. We have a testing program for lead. Although most homes/buildings have very low levels of lead in their drinking water, some homes/buildings may still have lead levels above the Action Level of 15 parts per billion (ppb).

# To monitor lead levels, [insert PWS name] tests tap water in homes/buildings that are most likely to have lead. These homes/buildings are usually older buildings that may have lead service lines or lead solder, and they must be tested after water has been sitting for at least six (6) hours. The EPA rule requires that 90% of these worst-case samples must have lead levels below the Action Level of 15 ppb.

- [Insert PWS name] is evaluating the need for corrosion control treatment and expects to complete this study by [DATE].

[Insert a graph of your systems 90th percentile lead levels over time (Optional)]

### FOR MORE INFORMATION

For more information on what we are doing about lead in drinking water, contact [Insert PWS name] at [Insert PWS phone number or email address] [(If Applicable) or visit our website at [Insert PWS Website]. For more information on reducing lead exposure around your home/building and the health effects of lead, visit EPA's website at https://www.epa.gov/lead, contact your health care provider, or visit:

- EPA’s Basic Information about Lead in Drinking Water (https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-water)https://www.epa.gov/, or call the EPA lead hotline at 1-800-424-5323.

- MassDEP Is there lead in my tap water?  (https://www.mass.gov/service-details/is-there-lead-in-my-tap-water).

- MassDEP’s Service Line Inventory Hub for service line inventory information provided by public water systems (https://lead-service-line-inventory-mass-eoeea.hub.arcgis.com/).

- Department of Public Health’s Childhood Lead Poisoning Prevention Program (https://www.mass.gov/orgs/childhood-lead-poisoning-prevention-program)

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail. *

[PWS Name]

[PWS ID#]

[PWS address]

[City/Town, MA Zip Code]

[PWS Phone Number]

Date of mailing or posting: [XXXXX]

For Americans with Disabilities Act (ADA) assistance call 617-626-1282. To relay using TTY, call the Mass Relay Service at 1-800-439-2370.