Massachusetts Department of Environmental Protection (MassDEP) Drinking Water Program (DWP) Public Notice Tier 1 Templates

Lead and Copper Rule Template 1-10b – Very Small COM Template

## Public Notice (PN) Template for Lead and Copper Rule Revisions (LCRR) Requirements

Released: 05/26/2026

## Instructions: (template following)

Exceeding the lead action level of 15 ug/L (ppb) triggers a Tier 1 public notification under the US Environmental Protection Agency’s (EPA) Lead and Copper Rule Revisions (LCRR). Compliance with the LCRR began on October 16, 2024. To protect public health, Public Water Systems (PWS) are required to provide public notification to persons served as soon as practical but no later than 24 hours after the PWS learns of an action level exceedance (ALE) of the lead 90th Percentile; this is required by the National Primary Drinking Water Regulations (NPDWR), 40 CFR 141.202(a)(10).

This template was created for use by very small community (COM) water systems, which are considered COM systems serving one or a few buildings, as many of these systems use different language to describe their consumers and the units/buildings served as compared to larger community systems. This template addresses those discrepancies by using language that accounts for most consumers living in a multi-family residence or community building rather than a single-family home. Using this specific template may simplify the process of drafting your Tier 1 24-Hour PN and getting it approved.

### When does the 24-hour Public Notification period begin?

The 24-hour period begins as soon as you calculate your 90th percentile value after collecting and receiving all your samples results but not later than the end of the reporting period (as per 310 CMR 22.15(2)) noted below:

- July 10 for the January to June monitoring period,

- January 10 for the July to December monitoring period,

- October 10 for the June to September monitoring period, and

- November 10 for the July to October monitoring period (for applicable MWRA systems).

Note that if a PWS completes its 90th percentile calculations prior to the end of the monitoring period, such system must complete the public notification within 24 hours of receiving all required sampling results and calculating the 90th percentile value as per 310 CMR 22.16(2)(b).

Collecting more than one sample from an approved primary site or collecting samples from sites not on the approved sampling plan during the monitoring period requires prior MassDEP approval.

### MassDEP Consultation

In accordance with 310 CMR 22.16(2)(b)2, PWS must consult with their MassDEP regional office to determine if the PWS must meet additional PN requirements and ensure compliance with the 24-hour notice.

During this contact/consultation, you must receive MassDEP’s approval to make any changes to the non-mandated language in the PN template; MassDEP must review and approve the final notice and proposed methods of delivery.

If your PWS is also currently subject to a separate Boil Water Order, please discuss appropriate language regarding boiling during your consultation. If a PWS is unable to get in contact with MassDEP for any reason, such as if the 90th percentile is calculated on a weekend, the PWS must still distribute a compliant notice within 24 hours. Consultation with MassDEP, or lack thereof, does not relieve you from complying with this requirement.

#### Helpful Tips:

- PWSs may consider implementing the practice they would use to notify and consult with their MassDEP regional office for the two-hour emergency notification required by 310 CMR 22.15(9) when they identify a lead ALE.

- PWSs are encouraged to contact MassDEP prior to calculating the 90th percentile value if enough results have been received which indicate that a lead ALE is expected, to begin the process of preparing a draft PN and plan for delivery methods for preapproval. For example, if you have obtained samples from 20 sites and have already received 3 results above the lead action level, MassDEP strongly encourages you to contact your MassDEP regional office.

  - Please be advised that you must still seek MassDEP approval of the final PN and proposed methods of delivery.

- You must also coordinate with your local health department.

### Mandatory Language

Mandatory language on health effects must be included as written (310 CMR 22.16 (5)(d)).  This language is also presented in this notice in *italics with an asterisk on either end* (see below).

*There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks. *

You must also include the following language in all notices, where applicable. This language is also presented in this notice in *italics with an asterisk on either end* (see below). Use of this language does not relieve you of your obligation to take steps reasonably calculated to notify all persons served:

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

And

*This notice contains important information about your drinking water.  Have someone translate it for you or speak with someone who understands it. * (See the Translation Requirements section for more information.)

If you modify the template(s), you must still include all required elements and leave the health effects language in italics unchanged; this language, exactly as written, is mandatory (310 CMR 22.16(5)(d)).

Remember, your MassDEP regional office must approve the final language and method(s) of delivery prior to dissemination of your PN.

- Given the short timeframe for a 24-hour notice, all PWSs are required to have a lead ALE PN template and plan for delivery in their Emergency Response Plan (ERP). PWSs must have a plan for compliance with PN requirements in their ERP as required by 310 CMR 22.04 (13).

- MassDEP encourages PWSs to have a pre-approved PN and delivery plan to expedite dissemination of their PN, especially if the PWS has a higher likelihood of exceeding the 90th percentile for lead.

### Translation Requirements

In accordance with 310 CMR 22.16(5)(c)2 and 310 CMR 22.16A(8)(c), please be advised of the following translation requirements:

- If your system serves a community with 10% or more or greater than 1000 (whichever is fewer) non-English speaking consumers, your PN must contain a statement in the appropriate language(s) regarding the importance of the report.

“This report contains important information about your drinking water.  Have someone translate it for you or speak with someone who understands it”.

The text above is available in multiple languages under Language Translation Requirements for Specific MA Cities and Towns. A chart listing the cities/towns this requirement applies to is also available on this webpage.

- If your system serves a community where 25% or more of the population speak one particular language, you must translate the entire PN into that specific language and have the translated version of the PN immediately available upon request. There are many free translation tools and applications available that could be used to accomplish this (e.g. Google Translate).

- A list of the PWSs that are required to provide a fully translated PN is located at the MassDEP Requirements for Language Translations website.

- Please note: MassDEP/DWP recommends that PWSs prepare and provide a fully translated PN if more than 5% of their population speaks another language.

### Population Served

Make sure it is clear in the PN who is served by your water system; you must list the specific community or communities served by your PWS, including any areas in neighboring communities, such as streets, housing developments, or other easily identifiable locations, if applicable. You should also include area(s) served by consecutive systems, if applicable.

Note: Please coordinate with any neighboring communities that you serve (if applicable) to ensure consistent messaging and notifications are communicated to residents.

- You must distribute the PN to all consumers. This may include consumers outside the PWS’s town boundaries if the PWS fully or partially serves neighboring communities.

- You must include in your PN and other communications specific information about the service area, especially if part of the service area is located in neighboring communities. List the specific community or communities served by your PWS, including any streets and/or buildings in neighboring communities, and any other service areas outside of town boundaries that are affected by the lead ALE. This can prevent misunderstandings that an entire neighboring town or other water district/service area is affected.

- For townwide notifications, it is recommended to include a statement that the notice does not apply to consumers who receive their water from a private well, if there are private wells in the community.

- Refer to available water distribution information to identify service areas.  In accordance with 310 CMR 22.19(6), PWS must develop, update, and maintain maps and any relevant associated databases of the water distribution system that include locations of wells, surface water intakes, treatment facilities, pumping stations, storage tanks, hydrants, direction of flow, pressure zones, sample collection points, and other information, such as piping materials, pipe sizes, and interconnections.

Example language for populations served in multiple cities and towns

This notice applies to consumers in Town X and those consumers directly served by Town X Public Water Supply (PWS) in the following Towns:

Town Y streets: Apple, Pear, Orange… (list all streets) ….

Town Z streets: Brick, Mortar, (list all streets) ………

Please note: This notice DOES NOT apply to all residents in Towns Y and Z

The list of towns, any affected streets, housing developments, or clearly identifiable residential areas outside your PWS’ town boundaries may be included directly in the PN or, if extensive, referenced in the PN and included as an attachment and/or posted to a consumer-accessible webpage.

### Delivery

Systems must use one or more of the following methods to deliver the notice to consumers, including residential, transient, and non-transient consumers (310 CMR 22.16(2)(c)):

- Radio

- Television

- Hand or direct delivery

- Posting in conspicuous locations

In addition to one (or more) of the above methods, Community PWS must publish the Tier 1 PN in the local newspaper as a one-day advertisement no later than 14 days after the exceedance has been identified.  A copy of the advertisement must be submitted to your MassDEP regional office no later than the time published.

Be advised that a PWS cannot use an alternative delivery method unless they have received MassDEP approval to do so.

Please note the following regarding PN delivery requirements:

- Using local cable access as the only delivery method to distribute this PN is not sufficient to meet the delivery requirement. Rather, a PWS should use the same broadcast media outlets they would use for public health orders (e.g. boil water notices), which should be listed in the PWS’ ERP.

- PWS may need to use additional methods (e.g., newspaper, reverse 911 phone calls, e-mail, web posting, delivery of multiple copies to hospitals, clinics, or apartment buildings) since they are required to provide the notice in a manner reasonably calculated to reach all persons served per 310 CMR 22.16(2)(c). This includes identifying all individuals served by or with access to the water system—such as residents, employees, visitors, customers, students, caregivers, parents, and guardians—and ensuring that appropriate delivery methods are used to reach them. This also applies to consumers located outside the PWS’s town boundaries if the PWS provides service to neighboring communities.

- For this reason, PWS must receive approval from MassDEP with their plan for delivery methods when having their PN language approved, regardless of whether the plan includes only MassDEP approved delivery method(s). Using a single approved method may not reach all persons served and could result in a violation for not meeting PN requirements if MassDEP has not deemed a single delivery method is appropriate for your PWS.

- If you post or hand deliver your PN, print your PN on your system’s letterhead, if you have it.

There are two (2) versions of the 24-Hour Tier 1 PN included in this template. The Long Form template is appropriate for distributing the PN via written word (e.g. hand delivery, posting in conspicuous places, newspaper notice). The Short Form template is appropriate for distributing the PN via spoken word (e.g. radio, TV).

### Corrective Action

In the PN, describe the corrective actions your system is taking. The language below provides an example of an action commonly taken by PWS with lead exceedances. Use the following example language if appropriate, or develop your own:

We are investigating water treatment and other actions to ensure your home/building receives water treated to reduce the risk of lead leaching from your plumbing.

### After Issuing the Notice

Within 24 hours of learning of the lead action level exceedance:

- Send a copy of your finalized notice to EPA, by emailing it to LeadALE@epa.gov and eCC’ing MassDEP Drinking Water Program at program.director-dwp@mass.gov. Please also eCC your MassDEP regional office LCR staff.

Within 10 days of finalizing all Tier 1 PN required activities:

- Certify that your notice(s) were distributed, and distributed on time, by submitting the PN Certification Form. This must be sent to your MassDEP regional office and your local Board of Health, along with copies of the notices distributed. (310 CMR 22.15(3)(b)).

You should also notify local healthcare professionals of the lead exceedance. People may contact their healthcare provider with questions, and notifying local healthcare professionals provides them an opportunity to prepare any information they need to respond appropriately.

### Highlighted Text in Template

Please note that everything highlighted in green on the template are instructions and should be deleted before disseminating the PN. Text highlighted in yellow should be tailored to suit your system’s specific circumstances. Remove all highlights on the template before dissemination.

### Attachments/Resources

PWSs may find the following resources helpful when drafting their PN:

- Language Translation Statements

- The EPA Public Notification Handbook provides additional aids to help water systems develop notices for violations and other situations. Please note that the EPA Handbook templates are non-state specific, so Massachusetts PWSs are encouraged to use the MassDEP version of the lead ALE template(s) for compliance. Electronic copies of the Massachusetts public notification templates and certification forms are available on the MassDEP Public Notification Forms and Templates website.

- Lead and Copper Rule Revisions (LCRR) Lead 24 Hour Tier 1 Public Notice Instructional Video

- MassDEP DWP Tier 1 Public Notice (PN) for Lead Action Level Exceedance (ALE) Consumers Q&A

- MassDEP DWP Tier 1 Public Notice (PN) for Lead Action Level Exceedance (ALE) PWS Q&A

### Notes

When using posters or handouts, PWS are encouraged to include QR codes to ensure consumers can access links directly by mobile devices.

## 24-HOUR NOTICE- SHORT FORM- REMOVE OR REPLACE HIGHLIGHTED TEXT IN BRACKETS [ ]

[System] DRINKING WATER NOTICE

Some [units] have high levels of lead

*This notice contains important information about your drinking water.  Have someone translate it for you or speak with someone who understands it. *

Our water system exceeded the lead drinking water action level.

[Select one of the applicable highlighted sentences below and delete the other one:]

[1. We routinely monitor for lead in water in units likely to have elevated lead levels, including units with lead service lines or lead solder or]

[2. We routinely monitor for lead in water in units with lead service lines as they are more likely to have elevated lead levels (Only use this sentence if all the samples are from units served by a LSL)].

We are required to collect [XX] samples between [insert date beginning of monitoring period] and [insert date end of monitoring period]. [XX] of these higher risk units had elevated lead levels. The results of these routine samples for lead indicate a level of [XX] mg/L (or [XX] parts per billion). This level exceeds the lead action level of 0.015 mg/L (or 15 parts per billion). This means that more than 10 percent of the lead samples collected were above the lead action level.

### What does this mean?

[Include if PWS has water mains:] Our system’s water mains that carry the water to you are made mostly of [insert piping material specific to your PWS, for example iron and steel], and therefore do not add lead to water.  However, lead can get into tap water through the service line that connects your building to the water main if it is made of lead. Lead may also come from lead solder used to connect pipes in interior (premise) plumbing, and from some faucets and fixtures.

[Include if PWS does not have water mains:] Lead can get into tap water through the service line that connects a building to the water source or another building if it is made of lead. Lead may also come from lead solder used to connect pipes in interior (premise) plumbing, and from some faucets and fixtures.

*There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks. *

### Locations affected by this Public Notice

[Briefly describe your distribution system area, including any streets which are in neighboring communities served by the PWS. For small systems, - “All users of the [Water System Name] water system located at [address]”].

### What should I do to reduce my exposure to lead in drinking water?

- Use only cold, fresh water for drinking, cooking, and preparing baby formula. Run the water for at least 1 minute or until after it turns cold. For more guidance on how to flush your water lines to reduce lead in drinking water exposure, the use of filters, cleaning aerators,  and how to have your water tested, visit the MassDEP Guidance for Single-Family Residents at Risk of Lead in Drinking Water Exposure website (https://mass.gov/info-details/guidance-for-single-family-residents-at-risk-of-lead-in-drinking-water-exposure) [(optional) insert a QR code for all posters or handouts to allow consumers to access this link directly by cell phone].

- Do not boil the water to remove lead.

- Check whether your building/unit has a lead service line.  Please contact [insert PWS contact information] for more information about your building/unit’s service line or for information about plumbing materials in your building/unit that may contain lead.

  - [If applicable: Learn what your service line material is by checking your address at [website]].

- Contact your health care provider if you have any health-related questions or contact your local health department to find out if your child needs to be tested for lead.

### What is our system doing?

Our public water system is taking the following actions to address the situation:

- [Describe corrective actions which may include: a treatment review, LSL removal program, investigating units with elevated lead levels, notifying all homeowners with suspected LSLs (mention if this has been done already), additional community outreach; and when system expects to sample next.]

For more information, contact [name of contact] at [phone number] or [mailing address or email address].

For more information on lead see [weblink (if PWS link not available, include MassDEP Lead in Drinking Water Webpage link: https://www.mass.gov/lead-in-drinking-water)]

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this notice in a public place or distributing copies by hand or mail. *

This notice is being sent to you by [system].       PWS ID#: [xxxxxxx]            Date distributed [date]

Distributed media type [insert type]

24-HOUR NOTICE LONG FORM - REMOVE OR REPLACE HIGHLIGHTED TEXT IN BRACKETS [ ]

[System] DRINKING WATER NOTICE

Some [units] have high levels of lead

*This notice contains important information about your drinking water.  Have someone translate it for you or speak with someone who understands it. *

Our water system exceeded the lead drinking water action level.

[Select one of the applicable highlighted sentences and delete the other one:]

[1. We routinely monitor for lead in water in units likely to have elevated lead levels, including units with lead service lines or lead solder or]

[2. We routinely monitor for lead in water in units with lead service lines as they are more likely to have elevated lead levels (Only use this sentence if all the samples are from units served by a LSL)].

We are required to collect [XX] samples between [insert date beginning of monitoring period] and [insert date end of monitoring period]. [XX] of these higher risk units had elevated lead levels. The results of these routine samples for lead indicate a level of [XX] mg/L (or [XX] parts per billion). This level exceeds the lead action level of 0.015 mg/L (or 15 parts per billion). This means that more than 10 percent of the lead samples collected were above the lead action level.

### What does this mean?

[Include if PWS has water mains:] Our system’s water mains that carry the water to you are made mostly of [insert piping material specific to your PWS, for example iron and steel], and therefore do not add lead to water.  However, lead can get into tap water through the service line that connects your building to the water main if it is made of lead. Lead may also come from lead solder used to connect pipes in interior (premise) plumbing, and from some faucets and fixtures.

[Include if PWS does not have water mains:] Lead can get into tap water through the service line that connects a building to the water source or another building if it is made of lead. Lead may also come from lead solder used to connect pipes in interior (premise) plumbing, and from some faucets and fixtures.

*There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks. *

### Locations affected by this Public Notice

[Briefly describe your distribution system area, including any streets which are in neighboring communities served by the PWS. For small systems, - “All users of the [Water System Name] water system located at [address]”].

### What should I do to reduce my exposure to lead in drinking water?

- Use only cold, fresh water for drinking, cooking, and preparing baby formula. Run your water. The more time water has been sitting in your pipes, the more lead it may contain.

- Before drinking, flush your pipes by running the tap, taking a shower, doing laundry, or doing a load of dishes. The amount of time to run the water will depend on whether your building/unit has a lead service line or not, as well as the length and diameter of the service line and the amount of plumbing in your building/unit. If you are not familiar with the structural and plumbing details of your building/unit, run the water for at least one (1) minute or until after it turns cold.

For more information about building flushing, visit the MassDEP Building Flushing Information website (https://www.mass.gov/doc/massdep-building-flushing-information/).

- Use your filter properly, if you use a filter. Filters can reduce lead in drinking water. Make sure the filter is certified by an American National Standards Institute (ANSI) accredited certifier, such as NSF, to reduce lead; it will say so on the package or the manufacturer’s website. Read any directions provided with the filter to learn how to properly install, maintain, and use your cartridge and when to replace it. Using the cartridge after it has expired can make it less effective at removing lead. Do not run hot water through the filter. For more information, and which certifications to look for, visit EPA’s website at Home Drinking Water Filtration Fact Sheet | US EPA (https://www.epa.gov/ground-water-and-drinking-water/home-drinking-water-filtration-fact-sheet) and EPA’s A Consumer Tool for Identifying Point of Use (POU) Drinking Water Filters Certified to Reduce Lead (epa.gov) (https://www.epa.gov/system/files/documents/2024-06/how-to-id-filters-certified-to-reduce-lead-in-drinking-water-epa_june-2024.pdf)

- Clean your aerator. Regularly remove and clean your faucet’s screen (also known as an aerator), as sediment, debris, and lead particles can collect there. If lead particles are caught in the aerator, they can in turn release lead into your water.

- Learn about construction in your neighborhood. Contact us to find out about any construction or maintenance activities that could disturb your service line. Activities that physically disturb a lead service line, if present, may cause lead to be released.

- Have your water tested. You cannot see, taste or smell lead in drinking water.  Contact us to learn more about lead in your drinking water and for information on how to get your water tested. The only way to determine the level of lead in drinking water at your building is to have the water tested by a state certified laboratory. Visit the Find a Certified Laboratory for Water Testing webpage (https://www.mass.gov/how-to/find-a-certified-laboratory-for-water-testing) for a list of certified laboratories that offer lead in drinking water testing for residential customers.

- Do not boil the water to remove lead.  Boiling water will not reduce lead.  Excessive boiling can increase lead levels as lead remains behind when the water boils away.

- Check whether your building/unit has a lead service line.

  - [If applicable” Learn what your service line material is by checking your address at [PWS website]].

  - Please contact [insert PWS contact information] for more information about your building/unit’s service line, how to have it replaced, or for information about plumbing materials in your home that may contain lead.

  - You may use EPA’s Protect Your Tap tool to help identify if the portion of your service line connecting to your residence is lead (www.epa.gov/pyt). Note that service lines can be multiple materials.

- Contact your health care provider if you have any health-related questions or contact your local health department to find out if your child needs to be tested for lead.  A blood lead level test is the only way to know if your child is being exposed to lead.  For more information on Massachusetts’ childhood lead testing program, contact the Department of Public Health at 1-800-532-9571 or visit the DPH Childhood Lead Poisoning Prevention Program website (www.mass.gov/orgs/childhood-lead-poisoning-prevention-program).

### What is our system doing?

Our public water system is taking the following actions to address the situation:

- [Describe corrective actions which may include: a treatment review, LSL removal program, investigating homes with elevated lead levels, notifying all homeowners with suspected LSLs (mention if this has been done already), additional community outreach; and when system expects to sample next.]

For more information, contact [name of contact] at [phone number] or [mailing address or email address].

For more information on lead see [weblink (if PWS link not available, include MassDEP Lead in Drinking Water Webpage link: https://www.mass.gov/lead-in-drinking-water)]

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this notice in a public place or distributing copies by hand or mail. *

This notice is being sent to you by [system].       PWS ID#: [xxxxxxx]            Date distributed [date]

Distributed media type [insert type]

For Americans with Disabilities Act (ADA) assistance call 617-626-1282. To relay using TTY, call the Mass Relay Service at 1-800-439-2370.