Waterborne Disease Outbreak Template 1-5

Instructions: (template on following page)

Since a waterborne disease outbreak is a Tier 1 situation, you must provide public notice (PN) to persons served as soon as practical but within 24 hours after you learn of the situation (310 CMR 22.16(2)(b)).  You must also contact your regional MassDEP office during this time. You should coordinate with your local board of health or health department as well. You must issue a public notice if you are experiencing a waterborne emergency other than a waterborne disease outbreak, such as one caused by flooding or treatment failure. In such cases, you may be able to modify this template to apply to your situation. Check with your regional MassDEP office for more direction. More information on waterborne disease outbreaks and emergencies is available from the Centers for Disease Control and Prevention (www.cdc.gov/health/diseases.htm, 1-800-311-3435).

Mandatory Language - Mandatory language on health effects (310 CMR 22.16(5)(d)) for your public notification (PN), which must be included exactly as written, is presented in italics in the template.

You must also include the following italicized language in all notices, where applicable. Use of this language does not relieve you of your obligation to take steps reasonably calculated to notify all persons served:

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

Alternative Sources of Water - If you are providing alternative sources of water, your notice should say where it could be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets the standards by contacting the Massachusetts Department of Public Health and the bottler and asking for the most recent test results.

Delivery - You must use one or more of the following methods to deliver the notice to consumers (310 CMR 22.16(2)(c)):

- Radio

- Television

- Hand or direct delivery

- Posting in conspicuous locations

- In addition to one (or more) of the above methods, you must publish the Tier 1 public notice within your local newspaper as a one-day advertisement no later than 14 days after the violation.  A copy must be submitted to MassDEP no later than the time published.

You may need to use additional methods (e.g., newspaper, reverse 911 phone calls, e-mail, web posting, delivery of multiple copies to hospitals, clinics, or apartment buildings) since notice must be provided in a manner reasonably calculated to reach all persons served. If you post or hand deliver, print your notice on your system’s letterhead, if you have it.

The template is appropriate for hand delivery or a newspaper notice. However, you may wish to modify it before using it for a radio or TV notice. If you do, you must still include all required elements and leave the health effects language in italics unchanged. This language is mandatory (310 CMR 22.16(5)(d)).  See Chapter 8 of the EPA/ASWDA Public Notification Handbook for a notice designed for posting. If you post or hand-deliver, print your notice on letterhead, if available.

Describing the outbreak – If known, list any organisms detected, the number of affected people, any water treatment problems contributing to the waterborne disease outbreak and any sources of contamination, such as flooding.

Potential Health Effects - No mandatory health effects language exists for waterborne disease outbreaks. You may wish to use the sentence below, if appropriate, or contact MassDEP. These symptoms are common to many diseases caused by microscopic organisms:

- Symptoms may include nausea, cramps, diarrhea, jaundice, and associated headaches and fatigue.

Population at Risk - Some people who contract waterborne diseases can be affected more severely than others, as described on the following page. The specific language on the following page is not mandatory, but you must provide information on the population at risk. In addition, make sure it is clear who is served by your water system -you may need to list the areas you serve.

Corrective Action - In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with waterborne disease outbreaks. Use one or more of the following actions, if appropriate, or develop your own:

- We are repairing our filtration system.

- We are increasing sampling for disease-causing organisms.

After Issuing the Notice - Send a copy of each type of notice and a certification that you have met all the public notice requirements to your regional MassDEP office and local board of health within ten days from the time you issue the notice (310 CMR 22.15(3)(b)).

It is recommended that you notify health professionals in the area of the outbreak.  People may call their doctors with questions about how the situation may affect their health, and the doctors should have the information they need to respond appropriately. In addition, health professionals, including dentists, use tap water during their procedures and need to know of contamination so they can use bottled water.

It is a good idea to issue a "problem corrected notice" when the violation is resolved. See Template 1-6.

Note - The EPA/ASDWA Public Notification Handbook provides additional aids to help water systems develop notices for outbreak situations. An electronic copy of the Public Notification Handbook is available at EPA's web site (www.epa.gov/safewater/pn.html). Please note that the EPA/ASDWA Handbook templates are non-state specific so Massachusetts water suppliers are required to use the Massachusetts version of the templates for compliance purposes. Electronic copies of the Massachusetts public notification templates are available on the MassDEP website http://www.mass.gov/dep/water/drinking/systems.htm#pubnot.

DRINKING WATER WARNING

BOIL YOUR WATER BEFORE USING

Disease-causing organisms have entered [system’s] water supply.

These organisms are causing illness in people served by [system]. We learned of a waterborne disease outbreak from Massachusetts Department of Environmental Protection on [date].

What should I do? What does this mean?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

- Refer to the attached fact sheet for additional precautions you may take.  This information is also located on the MassDEP website:

Consumer Information on Boil Orders http://www.mass.gov/dep/water/drinking/boilordr.htm

Boil Order Frequently Asked Questions http://www.mass.gov/dep/water/drinking/boilfaq.htm

- Discard all ice, beverages, uncooked foods, and formula made with tap water collected on or before [date  of concern/positive sample].

- Food establishments must follow MA DPH procedures and the direction of their local board of health, which may be more stringent than the DPH guide.  MA Department of Public Health - Guidance for Emergency Action Planning for Retail Food Establishments (pg. 19) http://www.mass.gov/Eeohhs2/docs/dph/environmental/foodsafety/emergency_action_plans.pdf

- [Describe symptoms of the waterborne disease.] If you experience one or more of these symptoms and they persist, contact your doctor.

- People with severely compromised immune systems, infants, pregnant women, and some elderly may be at increased risk. These people should seek advice about drinking water from their health care providers.

What happened? What is being done?

[Describe the outbreak, corrective action, and when the outbreak might end.]

We will inform you when you no longer need to boil your water.

For more information, please contact [name of contact] at [phone number] or [mailing address]. General guidelines on ways to lessen the risk of infection by microbes are available by emailing the EPA at safewater@epa.gov.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].         PWS ID#: [xxxxxxx]           Date distributed:[date]

MassDEP  -  1 Winter St, 5th floor  -  Boston MA 02108            Program.Director-DWP@state.ma.us               617-292-5770