Massachusetts Department of Environmental Protection (MassDEP) Drinking Water Program (DWP) Public Notice Tier 2 Templates

# LCR Failure to Remove the Required Number of LSLs Template 2-27

Updated: 05/26/2026

## Instructions: (template following instructions)

National Primary Drinking Water Regulations are enforceable drinking water standards expressed as maximum contaminant levels (MCLs) or treatment technique (TT) requirements. A TT requires the use of a process, practice, or device and is established in lieu of an MCL.

The Lead and Copper Rule (LCR)’s TTs include: 1) corrosion control treatment, 2) source water treatment, 3) lead service line (LSL) replacement, and 4) public education. Failure to remove the specified number of lead service lines in the specified period when required to do so in accordance with 310 CMR 22.06B(5) is a TT violation requiring Tier 2 public notification (PN). You must provide PN to persons served as soon as practical but within 30 days after you learn of the violation (310 CMR 22.16 (3)(b)).

### Delivery

The notice must be provided in a form and manner that is reasonably calculated to reach persons served in the required time period. The form and manner of the public notice may vary based on the specific situation and type of water system.

Community (COM) systems must use one of the following methods (310 CMR 22.16 (3)(c)):

- Hand or direct delivery

- Mail, as a separate notice or included with the bill

Non-Transient Non-Community (NTNC) systems must use one of the following methods (310 CMR 22.16 (3)(c)):

- Posting in conspicuous locations

- Hand delivery

- Mail

In addition, both COM and NTNC systems must use another method reasonably calculated to reach others if they would not be reached by the first delivery method (310 CMR 22.16 (3)(c)).  Such methods could include newspapers, e-mail, or delivery to community organizations. If you mail, post, or hand deliver, print your notice on your system’s letterhead, if available.

The notice on the next page is appropriate for mailing, posting, or hand delivery.  If you modify this notice, you must still include all required PN elements (310 CMR 22.16(5)) and leave the mandatory language unchanged.

### Mandatory Language

Mandatory language on health effects must be included as written (310 CMR 22.16 (5)(d)).  This language is also presented in this notice in *italics with an asterisk on either end* (see below).

*There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks.*

Please note that the above health effects language is the Lead and Copper Rule Improvements (LCRI) health effects statement.

You must also include the following italicized language in all notices, where applicable. Use of this language does not relieve you of your obligation to take steps reasonably calculated to notify all persons served. This language is also presented in this notice in * italics with an asterisk on either end* (see below).

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

You must also include the following language to encourage the distribution of the public notice to all persons served, where applicable. This language is also presented in this notice in * italics with an asterisk on either end* (see below).

*This notice contains important information about your drinking water. Have someone translate it for you or speak with someone who understands it.*

Remember, your MassDEP regional office must approve the final PN language and method(s) of delivery prior to dissemination.

### Description of the Violation

In accordance with 310 CMR 22.06B(5), no later than 12 months after the end of a monitoring period in which a system exceeds the lead action level in sampling required by 310 CMR 22.06B(7)(d)2., the system shall remove at least 7% of the initial number of lead service lines in its distribution system. The initial number of lead service lines is the number of lead lines in place at the time the replacement program begins. Systems that resume a lead service line replacement program after having met the criteria in 310 CMR 22.06B(5)(f) shall divide the updated number of lead lines by the remaining years in the program to determine the number of lines that must be replaced per year.

### Corrective Action

In your notice, describe corrective actions your system is taking. You can use the following language, if appropriate, or develop your own text:

“Our system has a program to remove lead service lines. We are taking the following corrective actions: [The system must include the actions taken and planned to address the violation.]”

If consumers ask for information on testing their water, you should direct consumers to the MassDEP How to Find a Certified Laboratory for Water Testing webpage.  You may also share the EPA’s Consumer Tool for Identifying Point-of-Use and Pitcher Filters Certified to Reduce Lead in Drinking Water, available in English and Spanish, and direct consumers to visit EPA’s website at Home Drinking Water Filtration Fact Sheet | US EPA. For more information on lead, have consumers visit the MassDEP Lead in Drinking Water Webpage, contact the EPA Safe Drinking Water Hotline by emailing safewater@epa.gov or calling 800-426-4791, or call the National Lead Information Center Hotline at 800-424-LEAD.

### Repeat Notices

For any unresolved violation, following an initial Tier 2 public notice, you must repeat the notice every three months for as long as the violation persists unless MassDEP determines that appropriate circumstances warrant a different repeat notice (310 CMR 22.16(3)(b)(2)). For repeat notices, you must state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress towards resolving the issue, consider describing it in the repeat notice, or if funding or other issues are delaying progress, consider letting consumers know.

Remember to check with your regional MassDEP office to make sure you meet all requirements. Your MassDEP regional office must approve the final PN language and method(s) of delivery prior to dissemination. MassDEP strongly encourages PWSs to have a pre-approved plan to expedite delivery of the PN.

### After Issuing the Notice

Within 10 days of completing the PN, send your MassDEP regional office and your local board of health a copy of each type of notice that was distributed and MassDEP’s Certification form showing that you have met all the PN requirements (310 CMR 22.15(3)(b)).

You should notify local health care professionals of the lead action level exceedance that triggered the LSL replacement requirement. People may contact their healthcare provider with questions, and notifying local healthcare professionals provides them an opportunity to prepare the information they need to respond appropriately.

### Highlighted Text in Template

Please note that everything highlighted in green on the template are instructions and should be deleted before disseminating the PN. Text highlighted in yellow should be tailored to suit your system’s specific circumstances. Remove all highlights on the template before dissemination.

### Notes

The EPA/ASDWA Public Notification Handbook provides additional aids to help water systems develop notices for violations and other situations. An electronic copy of the Public Notification Handbook is available at EPA's web site. Please note that the EPA/ASDWA Handbook templates are non-state specific, so Massachusetts’s water suppliers are required to use the MassDEP version of the templates for compliance purposes. Electronic copies of the Massachusetts’ public notification templates are available on the MassDEP website.

## PUBLIC NOTICE TEMPLATE - REMOVE OR REPLACE HIGHLIGHTED TEXT IN BRACKETS []

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

*This notice contains important information about your drinking water.

Have someone translate it for you or speak with someone who understands it.*

[System] Failed to Remove Required Number of Lead Service Lines

Even though this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we [did or are doing] to correct this situation.

During [state date] to [end date], our water system failed to remove the required number of lead service lines in our distribution system after exceeding the lead action level on [mm/dd/yyyy]. A service line is the pipe that connects your house to the water main in the street. Some older service lines (built before 1986) may be made of lead.

### What happened?

[Select one of the applicable highlighted sentences and delete the other one:]

[1. We routinely monitor for lead in water in homes likely to have elevated lead levels, including homes with lead service lines or lead solder] or

[2. We routinely monitor for lead in water in homes with lead service lines as they are more likely to have elevated lead levels (Only use this sentence if all the samples are from homes with LSL)].

We are required to collect [XX] samples between [insert date beginning of monitoring period] and [insert date end of monitoring period]. [XX] of these higher risk homes had elevated lead levels. The results of these routine samples for lead indicated a 90th percentile level of [XX] mg/L or [XX] parts per billion. This level exceeded the lead action level of 0.015 mg/L or 15 parts per billion. This means that more than 10 percent of the lead samples collected were above the lead action level. As a result, MassDEP required our system to remove [Select one of the following options and delete the other] [at least seven percent (7%) of all lead service lines in our distribution system] or [XX lead service lines] in the following twelve months. Our system was unable to replace the required amount of lead service lines. This is a violation of the Massachusetts Drinking Water requirements, and we are required to provide you with this notice.

*There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks.*

### What should I do?

Listed below are some steps you can take to reduce your exposure to lead in drinking water:

- Always use only cold, fresh water for drinking, cooking, and food preparation. Run the cold water tap for at least one (1) minute or until after it turns cold to flush out any stagnant water, as it may contain higher levels of lead.

- Use only cold, fresh water for preparing baby formula. Do not use water from the hot water tap to make baby formula. Lead dissolves more easily into hot water.

- Do not boil the water to remove lead. Boiling water will not reduce lead. Excessive boiling can increase lead levels, as lead remains behind when the water boils away.

- Check whether your home has a lead service line. IF YOU DO, HAVE IT REPLACED.

- [if available, check for your home address on our list of homes with LSLs at [XXXXXX].

- Please contact us at [insert PWS contact information] for more information about your home's service line, how to have it replaced, or for information about plumbing materials in your home that may contain lead.

  - You may use EPA’s Protect Your Tap tool to help identify if the portion of your service line connecting to your residence is lead (www.epa.gov/pyt). Note that service lines can be made of multiple materials.

- Test your water for lead. You cannot see, taste or smell lead in drinking water. The only way to determine the level of lead in drinking water at your home is to have the water tested by a state certified laboratory. For information on how to get your water tested, call or email the contact listed below or visit the Find a Certified Laboratory for Water Testing webpage (https://www.mass.gov/how-to/find-a-certified-laboratory-for-water-testing) for a list of certified laboratories that offer lead in drinking water testing for residential customers.

- Contact your health care provider if you have any health-related questions or contact your local health department to find out if your child needs to be tested for lead.  A blood lead level test is the only way to know if your child is being exposed to lead.  For more information on Massachusetts’ childhood lead testing program, contact the Department of Public Health at 1-800-532-9571 or visit the DPH Childhood Lead Poisoning Prevention Program website (www.mass.gov/orgs/childhood-lead-poisoning-prevention-program).

### What is being done by our system?

[Describe corrective action.]

### Where can I get additional information?

If you have questions about your water system’s operation, water quality monitoring, or response to this issue, please contact us directly. If you have questions about the drinking water regulations or health risks posed by this contaminant, you can contact the MassDEP Drinking Water Program at: program.director-dwp@mass.gov or (617) 292-5770. If you have questions about specific symptoms, please contact your doctor or health care provider.  If you have general questions about public health, you can contact the Massachusetts Department of Public Health at 617-624-5757.

For more information, please contact [name of contact] at [phone number], [mailing address], or [email].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system name]. System ID#: [XXXXXXX].

Date distributed: [mm/dd/yyyy]

For Americans with Disabilities Act (ADA) assistance call 617-626-1282. To relay using TTY, call the MassRelay Service at 1-800-439-2370.