The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

250 Washington Street, Boston, MA 02108-4619



KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

**Tel: 617-624-6000**

**www.mass.gov/dph**

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

**Tritium in Groundwater Monitoring at**

**Pilgrim Nuclear Power Station, Plymouth, MA**

**July- December 2023**

This report provides data from the ongoing monitoring of tritium in groundwater and surface water at the Pilgrim Nuclear Power Station (PNPS) located in Plymouth, MA. The history of the investigation, which began in 2010, and previous update reports, are available online[[1]](#footnote-2).

**Summary**

* Monitoring results for July-December 2023 indicate that tritium levels do not present a health risk.
* No detectable tritium was measured in either surface water samples or in 21 of 23 routinely sampled groundwater wells. The tritium level in the 1 of the 2 wells where tritium was detected was close to the detection limit of 300 pCi/L; tritium levels in the other well did not exceed 1,000 pCi/L.
* All measured levels of tritium in groundwater are less than the US EPA drinking water standard for tritium of 20,000 picocuries per liter (pCi/L).

**Background**

Holtec, the current owner of Pilgrim for purposes of decommissioning, collects samples at 23 groundwater wells and one surface water location on-site at PNPS. The sampling interval for the last six months of 2023 was quarterly. Well and surface water samples were sent to an independent analytical lab, Teledyne, with duplicate (or “split”) samples provided to the Massachusetts Department of Public Health (DPH) for analysis at the Massachusetts Environmental Radiation Lab (MERL). Holtec regularly reports the Teledyne results to DPH, the Massachusetts Emergency Management Agency (MEMA), and the Nuclear Regulatory Commission (NRC). Summaries of both laboratory results are then provided on the DPH website2.

Results are compared to a conservative, health-protective screening level of 3,000 pCi/L, or 1/10th the NRC-approved level of 30,000 pCi/L of tritium in non-drinking water sources, as well as to the US Environmental Protection Agency (EPA) drinking water standard for tritium of 20,000 pCi/L. As the closest municipal drinking water wells are 2.5 miles from PNPS, municipal water is not expected to be impacted by the tritium on-site at PNPS.

**Results and Discussion**

Groundwater monitoring results for the last six months of 2023 showed tritium levels were stable, at concentrations less than or just slightly greater than the method detection limit of 300 pCi/L, in 22 of the 23 on-site groundwater wells that are routinely monitored. Tritium levels in MW-216 remained less than 1,000 pCi/L during the last six months of 2023[[2]](#footnote-3).

Figure 1 shows sampling results for MW-216, MW-218, and MW-219, where tritium levels have historically exceeded the screening level of 3,000 pCi/L. For the last six months of 2023, tritium levels at MW-216 were 403 pCi/L and 840 pCi/L, for the third and fourth quarterly samples, respectively[[3]](#footnote-4). Tritium levels at MW-218 and MW-219 were below the detection limit for both sampling rounds.

Tritium levels in groundwater wells at PNPS for the last months of 2023 do not present a health risk.

|  |
| --- |
|  |
|  |
|  |

**Figure 1**. Results for tritium in groundwater samples collected from Pilgrim Nuclear Power Station (PNPS), at monitoring wells where tritium levels have historically exceeded 3,000 pCi/L. Data are plotted separately based on PNPS operator (solid lines) or DPH (dotted lines) produced results. Values below detection limit (DL) plotted as DL/2.

Posted: June 2024

1. Previous PNPS Tritium in Groundwater Investigation Updates are available here:

   <https://www.mass.gov/lists/environmental-monitoring-data-for-tritium-in-groundwater-at-pilgrim-nuclear-power-station> [↑](#footnote-ref-2)
2. Summary tables of groundwater and surface water monitoring results are on the DPH website:

   <https://www.mass.gov/lists/environmental-monitoring-data-for-tritium-in-groundwater-at-pilgrim-nuclear-power-station#summaries---results-> [↑](#footnote-ref-3)
3. Reported tritium levels are the maximum of the Holtec and MERL samples. [↑](#footnote-ref-4)