The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7446

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

December 20, 2019

Sergio Servello, Superintendent

Pondville Correctional Center

P.O. Box 146

Norfolk, MA 02056				(electronic copy)

Re: Facility Inspection - Pondville Correctional Center, Norfolk

Dear Superintendent Servello:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments       (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of           Pondville Correctional Center on December 19, 2019 accompanied by Jeffrey Arruda, Environmental Health and Safety Officer (EHSO). Violations noted during the inspection are listed below including 15 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Amy Riordan, MPH

Field Supervisor, EAIII, CSP, BEH

cc: 	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Jeffrey Arruda, EHSO  								(electronic copy)

Betsy Fijol, Administrative Assistant, Norfolk Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Dining Area

No Violations Noted

Kitchen

No Violations Noted

Mechanical Warewashing Area

FC 5-202.13	Plumbing System; Design, Construction, and Installation: Air gap missing between water supply inlet and the flood level rim of the sink, sink sprayer was too longP

Front Dry Storage

FC 4-903.11(B)(2) 	Protection of Clean Items; Storing: Equipment and Utensils not stored covered or inverted, utensils not covered

Walk-in Refrigerator/Freezer

No Violations Noted

Office

No Violations Noted

Rear Dry Storage

No Violations Noted

Exterior Freezer

No Violations Noted

Toxic Caustic Room (near Barber Shop)

No Violations Noted

WAREHOUSE

Bulk Storage (Outside)

105 CMR 451.360	Protective Measures: Effective measures against the presence of rodents on the premises not taken, rodent droppings observed

Linens and Toiletries

No Violations Noted

Toxic Caustic

No Violations Noted

Laundry

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Barber Shop

No Violations Noted

House Manager’s Office

No Violations Noted

PROPERTY

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, no functioning thermometer in refrigerator

CONTROL

Female Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Male Bathroom

No Violations Noted

Classroom

No Violations Noted

Staff Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with 	        105 CMR 590.000, no functioning thermometer in black refrigerator

Staff Bathroom (in Hall)

No Violations Noted

Holding Cell

No Violations Noted

DAY ROOM

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bucket

Library

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

VISITING ROOM

No Violations Noted

H.S.U.

Medical Records/Treatment Room

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Doctor’s Office

No Violations Noted

Nurse’s Office

No Violations Noted

Treasurer’s Office

No Violations Noted

Administrative Assistant’s Office

No Violations Noted

Staff Bathroom

No Violations Noted

Medical Waste Storage (Boiler Room)

105 CMR 480.425(A)         		Tracking Medical or Biological Waste for Treatment: Generator did not confirm the shipment was received by the treatment facility within 30 days on an approved tracking form, missing October 2019

ADMINISTRATION AREA

No Violations Noted

HOUSING UNITS

1-1

Bathroom

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 940 F in shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 out-of-order

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.353	Interior Maintenance: Hole in wall in cell # 104

105 CMR 451.353	Interior Maintenance: Window shade damaged in cell # 109

105 CMR 451.101	Blankets: Blanket damaged in cell # 114

Parole Office

No Violations Noted

Laundry

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Mail/I.D Office

No Violations Noted

1-2

Bathroom

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.353	Interior Maintenance: Window shade damaged in cell # 135

Laundry

No Violations Noted

1-3

Bathroom

105 CMR 451.123*	Maintenance: Exhaust fan dusty

Handicapped Bathroom

105 CMR 451.123*	Maintenance: Mold on the baseboards in the shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower out-of-order

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

2-1

Work Release

No Violations Noted

Classification

No Violations Noted

Bathroom

No Violations Noted

Slop Sink (in Bathroom)

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.353	Interior Maintenance: Window shade damaged in cell # 202

2-2

Showers

105 CMR 451.123*	Maintenance: Exhaust fan dusty

105 CMR 451.123*	Maintenance: Grout dirty and moldy in shower # 1 and 3

105 CMR 451.123	Maintenance: Ceiling vent dusty

Bathroom

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

105 CMR 451.353	Interior Maintenance: Window shade damaged in cell # 212

2-3

2nd Floor Laundry

No Violations Noted

IPS/Operations

Unable to Inspect - Locked

Showers

No Violations Noted

Bathroom

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double bunked

2-4

Bathroom

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Window shade damaged in cell # 244

DUMPSTER AREA

No Violations Noted

GYM

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Weight bench padding damaged on several machines

CLASSROOMS/STORAGE

No Violations Noted

Observations and Recommendations

- The inmate population was 151 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan, MPH

Field Supervisor, EA III, CSP, BEH