Preventive Maintenance Card File for Small Public Water Systems Using Ground Water

These log cards, along with the accompanying guidance notes booklet, provide a schedule of routine operation and maintenance tasks for small ground water systems. The cards and booklet will help you develop a preventive maintenance program for your system. The cards also provide some security measures water systems need to do to help prevent loss of service through terrorist acts, vandalism, or mischief.

Tools for Preventive Maintenance

The cards are divided into sections that list daily, weekly, and monthly tasks, with individual sections that outline specific tasks for each month of the year. They correspond to the guidance notes in the booklet. Each section of cards contains a list of suggested tasks to be carried out for that time period and log cards to record information. We have not included log cards for every task because some tasks can be completed without recording anything. Tasks that do not have log cards are in italicized print.

You should copy all of the blank log cards for future use. Each log card has space for additional comments. A follow-up log card, included at the end of this card set, can be used to record any problems you encounter and to help you keep a schedule for any needed repairs or replacements. Please review the guidance notes in the accompanying booklet, which provide additional information on some tasks. Note that we have not defined all tasks because some are self-explanatory. A contact list is provided in the accompanying cards if you need additional information.

Emergency Notification/Contact Information

| Water System Name: |  | PWS ID #: |  |
| --- | --- | --- | --- |
|  |  | Pop. Served: |  |
| Owner Name: |  | Owner Phone: |  |
| Water System Operator: |  | Phone (Day): |  |
| Phone (Night): |  | Phone (Cell): |  |

| Organization | Contact Name | Phone (Day) | Phone (Cell) | Phone (Night) |
| --- | --- | --- | --- | --- |
| Safety Officer |  |  |  |  |
| Supervisors |  |  |  |  |
| Ambulance |  |  |  |  |
| Fire Department |  |  |  |  |

### Emergency Notification/Contact Information

| Organization | Contact Name | Phone (Day) | Phone (Cell) | Phone (Night) |
| --- | --- | --- | --- | --- |
| Police Department |  |  |  |  |
| Hospital |  |  |  |  |
| Poison Control |  |  |  |  |
| FBI Field Office |  |  |  |  |
| Health Department |  |  |  |  |
| Primacy Agency |  |  |  |  |
| Well Driller |  |  |  |  |
| Chemical Supplier |  |  |  |  |
| Local Emergency Planning Committee |  |  |  |  |

Emergency Notification/Contact Information

| Organization | Contact Name | Phone (Day) | Phone (Cell) | Phone (Night) |
| --- | --- | --- | --- | --- |
| Designated Water System Spokesperson |  |  |  |  |
| Local Government Official |  |  |  |  |
| Local Hazmat Team |  |  |  |  |
| Other Operators |  |  |  |  |
| Neighboring Water System |  |  |  |  |
| Neighboring Water System |  |  |  |  |
| Television |  |  |  |  |
| Radio |  |  |  |  |

Emergency Notification/Contact Information

| Organization | Contact Name | Phone (Day) | Phone (Cell) | Phone (Night) |
| --- | --- | --- | --- | --- |
| Other: |  |  |  |  |
| Other: |  |  |  |  |
| Other: |  |  |  |  |

### Contacts

| For more information, contact: |  |
| --- | --- |
| MassDEP Drinking Water Program (617) 292 -5770 http://www.mass.gov/dep/water/index.htm |  |

# Phone Numbers and Websites

| Massachusetts Department of Environmental Protection Drinking Water Program | (617) 292-5770 http://www.mass.gov/dep/water/drinking.htm |
| --- | --- |
| Massachusetts Department of Environmental Protection Drinking Water Program 24 Hour Emergency | 1-888-304-1133 |

Contacts

| # Additional Contacts |  |
| --- | --- |
| # Massachusetts Water Works Association | (978) 263 – 1388 http://www.masswaterworks.org/ |
| New England Water Works Association | (508) 893 - 7979 http://www.newwa.org/ |
| # Barnstable County Water Utilities Association | (508) 432-0304 http://www.bcwua.org/ |
| Massachusetts Rural Water Association | Toll Free: (866) 451-8099 (413) 498-5779 http://www.massrwa.org/ |
| Rural Utilities Service | (202) 690 – 2670 http://www.rurdev.usda.gov/rus/index.html |
| Board of Certification | (617) 292-5500 http://mass.gov/dep/water/compliance/certop.htm |
| Plumbers Board | (617) 727-9952 www.mass.gov/dpl/boards/plumbers |
| Safe Drinking Water Hotline | 1-800-426-4791 hotline-sdwa@epa.gov |
| EPA National (24-Hour) | 1-800-424-8802 |
| Massachusetts Department of Public Health | (617) 624-6000 http://www.mass.gov/dph/ |

Commonly Used Conversion Factors

1 foot = 12 inches

1 pint = 16 ounces

1 pound = 16 ounces

1 quart = 2 pints = 32 ounces

1 gallon = 3.785 liters

1 liter = .264 gallons

1 square foot (sq. ft.) = 144 square inches (sq. in.)

1 cubic foot (cu. ft.) = 7.48 gallons (gal.)

1 acre foot (ac. ft.) = 43,560 cu. ft. = 325,829 gal.

### Commonly Used Formulas

| Area = Length x Width |  |  |
| --- | --- | --- |
| Chemical dosage: pounds per day (lbs./day) = MGD x ppm x 8.34 lbs./gal. |  |  |
| Circular area = Br2 (B.3.14) OR circular area = 0.785 x diameter (D)2 |  |  |
| Circular volume = Width x Length x Height |  |  |
| Circumference = 2Br (where B.3.14; r = radius) |  |  |
| CT = Chlorine concentration (mg/L) x time (minutes) |  |  |
| Detention time = | Tank Volume (gallons) |  |
|  | Flow (gpm or gpd) |  |
| Perimeter (of rectangle) = 2(length) + 2(width) |  |  |
| Perimeter for other shapes= add lengths of all sides |  |  |

### Commonly Used Formulas

| Flow rate (Q, ft.3/sec.) = Velocity (ft./sec.) X Area (ft.2) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Force = Pressure (psi) x Area (in.2) |  |  |  |  |
| Pounds per gallon (not water) = Specific Gravity x 8.34 |  |  |  |  |
| Specific capacity = | flow (gpm) |  |  |  |
|  | Drawdown (ft.) |  |  |  |
| Water horsepower = |  | Q (flow in gpm) x H (feet head) |  |  |
|  |  | 3,960 |  |  |

### Water Line Repairs Log*

| Date | Location | Size | Replaced/Repaired | Comments |
| --- | --- | --- | --- | --- |

*Remember to photocopy the log card for future use before filling it out.

See Guide Book Page 3

### Water Line Repairs Log*

| Date | Location | Size | Replaced/Repaired | Comments |
| --- | --- | --- | --- | --- |

*Remember to photocopy the log card for future use before filling it out.

See Guide Book Page 3

Recommended Daily Operational Duties

- Check water meter readings and record water production.

- Check chemical solution tanks and record amounts used.

- Check and record water levels in storage tanks.

- Inspect chemical feed pumps.

- Check and record chlorine residual at the point of application.

- Check and record chlorine residual in the distribution system.

- Inspect booster pump stations.

- Check and record fluoride concentration in the distribution system.

- Record well pump running times and pump cycle starts.

See Guide Book Pages 3-5

Recommended Daily Operational Duties (cont.)

- Check instrumentation for proper signal input/output.

  - Chlorine residual

  - Fluoride

- Investigate customer complaints. Use special “Telephone Threat” card to record threats or suspicious activity.

- Complete a daily security check.

  - Check all windows, doors, hatches, seals and vents for evidence of vandalism or tampering.

  - Check all well caps, seals, and vents to ensure that they are intact and sealed.

  - Check all security lighting to ensure proper operation.

- Inspect heater operation during winter months.

- Inspect well pumps, motors, and controls.

See Guide Book Page 5

Daily Water Production Log Card*	Month/Year:

| Date | Meter Reading | Amount of Water Used | Notes or Comments |
| --- | --- | --- | --- |
| 1st |  |  |  |
| 2nd |  |  |  |
| 3rd |  |  |  |
| 4th |  |  |  |
| 5th |  |  |  |
| 6th |  |  |  |
| 7th |  |  |  |
| 8th |  |  |  |
| 9th |  |  |  |
| 10th |  |  |  |
| 11th |  |  |  |
| 12th |  |  |  |
| 13th |  |  |  |
| 14th |  |  |  |
| 15th |  |  |  |

See Guide Book Page 3

| Date | Meter Reading | Amount of Water Used | Notes or Comments |
| --- | --- | --- | --- |
| 16th |  |  |  |
| 17th |  |  |  |
| 18th |  |  |  |
| 19th |  |  |  |
| 20th |  |  |  |
| 21st |  |  |  |
| 22nd |  |  |  |
| 23rd |  |  |  |
| 24th |  |  |  |
| 25th |  |  |  |
| 26th |  |  |  |
| 27th |  |  |  |
| 28th |  |  |  |
| 29th |  |  |  |
| 30th |  |  |  |

See Guide Book Page 3

Daily Chemical Solution Usage Log Card*

| Chemical Pump Settings: |  |  | Speed |  | Stroke |  | Month/Year |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Water Prod. (From Prod. Card) | Chlorine Solution Used | Chlorine Used per water produced |  | Any Cl2 Dosage Failures & Duration |  | Fluoride Solution Used | Fluoride Used per gal water produced |
| 1st |  |  |  |  | yes/no |  |  |  |
| 2nd |  |  |  |  | yes/no |  |  |  |
| 3rd |  |  |  |  | yes/no |  |  |  |
| 4th |  |  |  |  | yes/no |  |  |  |
| 5th |  |  |  |  | yes/no |  |  |  |
| 6th |  |  |  |  | yes/no |  |  |  |
| 7th |  |  |  |  | yes/no |  |  |  |
| 8th |  |  |  |  | yes/no |  |  |  |
| 9th |  |  |  |  | yes/no |  |  |  |
| 10th |  |  |  |  | yes/no |  |  |  |
| 11th |  |  |  |  | yes/no |  |  |  |
| 12th |  |  |  |  | yes/no |  |  |  |
| 13th |  |  |  |  | yes/no |  |  |  |
| 14th |  |  |  |  | yes/no |  |  |  |
| 15th |  |  |  |  | yes/no |  |  |  |

See Guide Book Page 3

| Date | Water Prod. (From Prod. Card) | Chlorine Solution Used | Chlorine Used per water produced | Any Cl2 Dosage Failures & Duration | Fluoride Solution Used | Fluoride Used per gal water produced |
| --- | --- | --- | --- | --- | --- | --- |
| 16th |  |  |  | yes/no |  |  |
| 17th |  |  |  | yes/no |  |  |
| 18th |  |  |  | yes/no |  |  |
| 19th |  |  |  | yes/no |  |  |
| 20th |  |  |  | yes/no |  |  |
| 21st |  |  |  | yes/no |  |  |
| 22nd |  |  |  | yes/no |  |  |
| 23rd |  |  |  | yes/no |  |  |
| 24th |  |  |  | yes/no |  |  |
| 25th |  |  |  | yes/no |  |  |
| 26th |  |  |  | yes/no |  |  |
| 27th |  |  |  | yes/no |  |  |
| 28th |  |  |  | yes/no |  |  |
| 29th |  |  |  | yes/no |  |  |
| 30th |  |  |  | yes/no |  |  |
| 31st |  |  |  | yes/no |  |  |

See Guide Book Page 3

Daily Chemical Solution Usage Log Card Other*

| Chemical Pump Settings: | Speed |  | Stroke |  | Month/Year |  |
| --- | --- | --- | --- | --- | --- | --- |

| Date | Water Prod. (From Prod. Card) | Solution Used | Solution Used Per gal. Water Produced | Test Results Raw & Treated | Backwash meter reading and/or cycles |
| --- | --- | --- | --- | --- | --- |
| 16th |  |  |  | yes/no |  |
| 17th |  |  |  | yes/no |  |
| 18th |  |  |  | yes/no |  |
| 19th |  |  |  | yes/no |  |
| 20th |  |  |  | yes/no |  |
| 21st |  |  |  | yes/no |  |
| 22nd |  |  |  | yes/no |  |
| 23rd |  |  |  | yes/no |  |
| 24th |  |  |  | yes/no |  |
| 25th |  |  |  | yes/no |  |
| 26th |  |  |  | yes/no |  |
| 27th |  |  |  | yes/no |  |
| 28th |  |  |  | yes/no |  |
| 29th |  |  |  | yes/no |  |
| 30th |  |  |  | yes/no |  |
| 31st |  |  |  | yes/no |  |

See Guide Book Page 3 & 4

See Guide Book Page 3 & 4

| Date | Water Prod. (From Prod. Card) | Solution Used | Solution Used per gal. Water Produced | Test Results Raw & Treated | Backwash meter reading and/or cycles |
| --- | --- | --- | --- | --- | --- |
| 16th |  |  |  | yes/no |  |
| 17th |  |  |  | yes/no |  |
| 18th |  |  |  | yes/no |  |
| 19th |  |  |  | yes/no |  |
| 20th |  |  |  | yes/no |  |
| 21st |  |  |  | yes/no |  |
| 22nd |  |  |  | yes/no |  |
| 23rd |  |  |  | yes/no |  |
| 24th |  |  |  | yes/no |  |
| 25th |  |  |  | yes/no |  |
| 26th |  |  |  | yes/no |  |
| 27th |  |  |  | yes/no |  |
| 28th |  |  |  | yes/no |  |
| 29th |  |  |  | yes/no |  |
| 30th |  |  |  | yes/no |  |
| 31st |  |  |  | yes/no |  |

Daily Storage Tank Water Level Log Card*	Tank No.:

| Month/Year |  |  | Normal Operational Range of Tank Levels (High & Low) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Date | Water Level (in ft.) | Action Taken |  | System Pressure (at tank) |  | Time of Reading |
| 1st |  |  |  |  |  |  |
| 2nd |  |  |  |  |  |  |
| 3rd |  |  |  |  |  |  |
| 4th |  |  |  |  |  |  |
| 5th |  |  |  |  |  |  |
| 6th |  |  |  |  |  |  |
| 7th |  |  |  |  |  |  |
| 8th |  |  |  |  |  |  |
| 9th |  |  |  |  |  |  |
| 10th |  |  |  |  |  |  |
| 11th |  |  |  |  |  |  |
| 12th |  |  |  |  |  |  |
| 13th |  |  |  |  |  |  |
| 14th |  |  |  |  |  |  |
| 15th |  |  |  |  |  |  |

See Guide Book Page 3 & 4

| Date | Water Level (in ft.) | Action Taken | System Pressure (at tank) | Time of Reading |
| --- | --- | --- | --- | --- |
| 16th |  |  |  |  |
| 17th |  |  |  |  |
| 18th |  |  |  |  |
| 19th |  |  |  |  |
| 20th |  |  |  |  |
| 21st |  |  |  |  |
| 22nd |  |  |  |  |
| 23rd |  |  |  |  |
| 24th |  |  |  |  |
| 25th |  |  |  |  |
| 26th |  |  |  |  |
| 27th |  |  |  |  |
| 28th |  |  |  |  |
| 29th |  |  |  |  |
| 30th |  |  |  |  |
| 31st |  |  |  |  |

See Guide Book Page 3 & 4

Daily Storage Tank Water Level Log Card*	Tank No.:

Month/Year	 Normal Operational Range of Tank Levels (High & Low)

| Date | Water Level (in ft.) | System Pressure (at tank) | Time of Reading | Action Taken |
| --- | --- | --- | --- | --- |
| 1st |  |  |  |  |
| 2nd |  |  |  |  |
| 3rd |  |  |  |  |
| 4th |  |  |  |  |
| 5th |  |  |  |  |
| 6th |  |  |  |  |
| 7th |  |  |  |  |
| 8th |  |  |  |  |
| 9th |  |  |  |  |
| 10th |  |  |  |  |
| 11th |  |  |  |  |
| 12th |  |  |  |  |
| 13th |  |  |  |  |
| 14th |  |  |  |  |
| 15th |  |  |  |  |

See Guide Book Page 3 & 4

| Date | Water Level (in ft.) | System Pressure (at tank) | Time of Reading | Action Taken |
| --- | --- | --- | --- | --- |
| 16th |  |  |  |  |
| 17th |  |  |  |  |
| 18th |  |  |  |  |
| 19th |  |  |  |  |
| 20th |  |  |  |  |
| 21st |  |  |  |  |
| 22nd |  |  |  |  |
| 23rd |  |  |  |  |
| 24th |  |  |  |  |
| 25th |  |  |  |  |
| 26th |  |  |  |  |
| 27th |  |  |  |  |
| 28th |  |  |  |  |
| 29th |  |  |  |  |
| 30th |  |  |  |  |
| 31st |  |  |  |  |

See Guide Book Page 3 & 4

Daily Chemical Feed Pump Log Card*	Month/Year: 	
Dosage Calculation = (a x b)/c = d (Make sure to include units of measurement.)

| Day | Concentration of Chemical Solution (a) | Volume of Solution Pumped (b) | Volume of Water Treated (c) | Calculated Dosage (mg/L) (d) | Expected Dosage |
| --- | --- | --- | --- | --- | --- |
| 1st |  |  |  |  |  |
| 2nd |  |  |  |  |  |
| 3rd |  |  |  |  |  |
| 4th |  |  |  |  |  |
| 5th |  |  |  |  |  |
| 6th |  |  |  |  |  |
| 7th |  |  |  |  |  |
| 8th |  |  |  |  |  |
| 9th |  |  |  |  |  |
| 10th |  |  |  |  |  |
| 11th |  |  |  |  |  |
| 12th |  |  |  |  |  |
| 13th |  |  |  |  |  |
| 14th |  |  |  |  |  |
| 15th |  |  |  |  |  |

See Guide Book Page 4

| See Guide Book Page 4 Day | Concentration of Chemical Solution (a) | Volume of Solution Pumped (b) | Volume of Water Treated (c) | Calculated Dosage (mg/L) (d) | Expected Dosage |
| --- | --- | --- | --- | --- | --- |
| 16h |  |  |  |  |  |
| 17h |  |  |  |  |  |
| 18th |  |  |  |  |  |
| 19h |  |  |  |  |  |
| 20 |  |  |  |  |  |
| 21st |  |  |  |  |  |
| 22nd |  |  |  |  |  |
| 23rd |  |  |  |  |  |
| 24th |  |  |  |  |  |
| 25th |  |  |  |  |  |
| 26th |  |  |  |  |  |
| 27th |  |  |  |  |  |
| 28th |  |  |  |  |  |
| 29th |  |  |  |  |  |
| 30th |  |  |  |  |  |
| 31st |  |  |  |  |  |

Daily Chlorine Residual Log Card*	Month/Year:

Location:

| Day | Chlorine Residual (in mg/L) at Point of Application Target Level ___mg/L to ___mg/L | Chlorine Residual (in mg/L) in Distribution System (include sample location) | Notes or Comments |
| --- | --- | --- | --- |
| 1st |  |  |  |
| 2nd |  |  |  |
| 3rd |  |  |  |
| 4th |  |  |  |
| 5th |  |  |  |
| 6th |  |  |  |
| 7th |  |  |  |
| 8th |  |  |  |
| 9th |  |  |  |
| 10th |  |  |  |
| 11th |  |  |  |
| 12th |  |  |  |
| 13th |  |  |  |
| 14th |  |  |  |

See Guide Book Page 4

| Day | Chlorine Residual (in mg/L) at Point of Application Target Level mg/L to mg/L | Chlorine Residual (in mg/L) in Distribution System (include sample location) | Notes or Comments |
| --- | --- | --- | --- |
| 15th |  |  |  |
| 16th |  |  |  |
| 17th |  |  |  |
| 18th |  |  |  |
| 19th |  |  |  |
| 20th |  |  |  |
| 21st |  |  |  |
| 22nd |  |  |  |
| 23rd |  |  |  |
| 24th |  |  |  |
| 25th |  |  |  |
| 26th |  |  |  |
| 27th |  |  |  |
| 28th |  |  |  |
| 29th |  |  |  |
| 30th |  |  |  |
| 31st |  |  |  |

See Guide Book Page 4

Daily Booster Pump Log Card*	 Month/Year:

| Day | Are Pump Operating Times Equalized? | Meter Readings |  | Pressure Gauge Readings |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Run Time | Starts | Suction Side | Discharge Side | Pump on/off |
| 1st | Yes/No |  |  |  |  |  |
| 2nd | Yes/No |  |  |  |  |  |
| 3rd | Yes/No |  |  |  |  |  |
| 4th | Yes/No |  |  |  |  |  |
| 5th | Yes/No |  |  |  |  |  |
| 6th | Yes/No |  |  |  |  |  |
| 7th | Yes/No |  |  |  |  |  |
| 8th | Yes/No |  |  |  |  |  |
| 9th | Yes/No |  |  |  |  |  |
| 10th | Yes/No |  |  |  |  |  |
| 11th | Yes/No |  |  |  |  |  |
| 12th | Yes/No |  |  |  |  |  |
| 13th | Yes/No |  |  |  |  |  |
| 14th | Yes/No |  |  |  |  |  |
| 15th | Yes/No |  |  |  |  |  |

See Guide Book Page 4

| Day | Are Pump Operating Times Equalized? | Meter Readings |  | Pressure Gauge Readings |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Run Time | Starts | Suction Side | Discharge Side | Pump on/off |
| 16th | Yes/No |  |  |  |  |  |
| 17th | Yes/No |  |  |  |  |  |
| 18th | Yes/No |  |  |  |  |  |
| 19th | Yes/No |  |  |  |  |  |
| 20th | Yes/No |  |  |  |  |  |
| 21st | Yes/No |  |  |  |  |  |
| 22nd | Yes/No |  |  |  |  |  |
| 23rd | Yes/No |  |  |  |  |  |
| 24th | Yes/No |  |  |  |  |  |
| 25th | Yes/No |  |  |  |  |  |
| 26th | Yes/No |  |  |  |  |  |
| 27th | Yes/No |  |  |  |  |  |
| 28th | Yes/No |  |  |  |  |  |
| 29th | Yes/No |  |  |  |  |  |
| 30th | Yes/No |  |  |  |  |  |
| 31st | Yes/No |  |  |  |  |  |

See Guide Book Page 4

Daily Fluoride Concentration Log Card*

Predetermined Concentration: 		Month/Year:

Sample Point Location:

| Day | Fluoride Concentration in Distribution System | Adjustment Needed +/- | Notes or Comments |
| --- | --- | --- | --- |
| 1st |  |  |  |
| 2nd |  |  |  |
| 3rd |  |  |  |
| 4th |  |  |  |
| 5th |  |  |  |
| 6th |  |  |  |
| 7th |  |  |  |
| 8th |  |  |  |
| 9th |  |  |  |
| 10th |  |  |  |
| 11th |  |  |  |
| 12th |  |  |  |
| 13th |  |  |  |
| 14th |  |  |  |
| 15th |  |  |  |

See Guide Book Page 4

| See Guide Book Page 4 Day | Fluoride Concentration in Distribution System | Adjustment Needed +/- | Notes or Comments |
| --- | --- | --- | --- |
| 16th |  |  |  |
| 17th |  |  |  |
| 18th |  |  |  |
| 19th |  |  |  |
| 20th |  |  |  |
| 21st |  |  |  |
| 22nd |  |  |  |
| 23rd |  |  |  |
| 24th |  |  |  |
| 25th |  |  |  |
| 26th |  |  |  |
| 27th |  |  |  |
| 28th |  |  |  |
| 29th |  |  |  |
| 30th |  |  |  |
| 31st |  |  |  |

Daily Well Pump Log Card*	Month/Year:

| Date | Running Time (in Hrs.) | Number of Cycle Starts | Notes or Comments |
| --- | --- | --- | --- |
| 1st |  |  |  |
| 2nd |  |  |  |
| 3rd |  |  |  |
| 4th |  |  |  |
| 5th |  |  |  |
| 6th |  |  |  |
| 7th |  |  |  |
| 8th |  |  |  |
| 9th |  |  |  |
| 10th |  |  |  |
| 11th |  |  |  |
| 12th |  |  |  |
| 13th |  |  |  |
| 14th |  |  |  |
| 15th |  |  |  |

See Guide Book Page 5

| Date | Running Time (in Hrs.) | Number of Cycle Starts | Notes or Comments |
| --- | --- | --- | --- |
| 16th |  |  |  |
| 17th |  |  |  |
| 18th |  |  |  |
| 19th |  |  |  |
| 20th |  |  |  |
| 21st |  |  |  |
| 22nd |  |  |  |
| 23rd |  |  |  |
| 24th |  |  |  |
| 25th |  |  |  |
| 26th |  |  |  |
| 27th |  |  |  |
| 28th |  |  |  |
| 29th |  |  |  |
| 30th |  |  |  |
| 31st |  |  |  |

See Guide Book Page 5

Daily Instrumentation Equipment Check Log Card*

Type of Equipment: 		Date:

- Check to make sure the instrument is working–input/output signal.

- Check to make sure proper flow is going to the instrument.

Per Manufacturer Specifications:

(Review operation manual and set the following per recommendations. Use this list for daily checks.)

| Equipment Check | Operation Manual Settings Notes |
| --- | --- |
| Verify all signals. |  |
| Calibrate input/output. |  |
| Clean as recommended. |  |
| Replace all standby batteries/power (as needed). |  |

See Guide Book Page 5

Other Instrumentation Equipment Notes or Comments

See Guide Book Page 5

Customer Complaint Log Card*

| Date | Questions, Concerns, or Potential Problems | Customer Name and Information | Person Assigned/ Action Taken | Compliant Resolved/ Researched |
| --- | --- | --- | --- | --- |
|  | 1. Time Complaint Made |  |  | Time Resolved |
|  | 2. Time Complaint Made |  |  | Time Resolved |

See Guide Book Page 5

See Guide Book Page 5

| Date | Questions, Concerns, or Potential Problems | Customer Name and Information | Person Assigned/ Action Taken | Compliant Resolved/ Researched |
| --- | --- | --- | --- | --- |
|  | 1. Time Complaint Made |  |  | Time Resolved |
|  | 2. Time Complaint Made |  |  | Time Resolved |

Water System Telephone Threat Identification Checklist*

| 1. Types of Tampering/Threat |  |  | 2. Call Received By (Name, Address, and Telephone Number) Date & Time of Call Received: |  |
| --- | --- | --- | --- | --- |
| - Contamination - Biological - Chemical | - Threat to tamper - Bombs, explosives, etc. - Other (explain) |  |  |  |
| 3. Location of Tampering |  |  | 4. Contaminant Source and Quantity: Date and Time of Tampering/Threat: Caller’s Name/Alias, Address, and Telephone Number: |  |
| - Distribution Line - Water Storage Facilities - Treatment Plant |  | - Raw Water Source - Treatment Chemicals - Other |  |  |
| - Is the Connection Clear? (could it have been a wireless or cell phone) |  |  | - Is the Caller (check all that apply) |  |
|  |  |  | - Male - Female - Impolite - Illiterate | - Well Spoken - Irrational - Incoherent |

See Guide Book Page 5

| 7. Is the Caller’s Voice (check all that apply): |  |  |  |  |
| --- | --- | --- | --- | --- |
| - Soft - Slurred - Deep - Old | - Calm - Loud - Nasal - High | - Angry - Laughing - Clear - Cracking | - Slow - Crying - Lisping - Excited | - Rapid - Normal - Stuttering - Young |
| 8. Are There Background Noises? - Street noises (what kind?) - Machinery (what type?) - Voices (describe) - Children (describe) - Animals (what kind?) - Computer Keyboard, Office - Motors (describe) - Music (what kind?) - Other |  |  |  |  |

See Guide Book Page 5

Daily Security Checklist*	Date:

- Hatches – closed, locked

- Doors – closed, locked

- Windows - closed, intact, locked

- Gates - closed, locked

# Fences - intact

- Well caps, seals, & vents - intact, sealed

- Signs - visible, in good repair

- Lights - working, available

- Alarms - on, functioning

- Work needed:

See Guide Book Page 5

Other Notes and Comments

Recommended Weekly Operational Duties

- Inspect chlorine and fluoride testing equipment.

- Clean pump house and grounds. Make sure fire hydrants are accessible.

- Record pumping rate for each well or source water pump.

- Conduct weekly security check.

  - Inspect all pump house plumbing for leaks.

  - Check all sump pumps for proper operation.

  - Check all station alarms.

  - Check backup power source to ensure it will operate when needed.

  - Inspect fencing and gates.

See Guide Book Pages 6

Weekly Chemical Equipment Testing Log Card*

Equipment: 		 Month/Year:

| Week (Date) | Is Equipment Calibrated Properly? | Are Reagents Clearly Marked and Safely Stored? | Are Reagents Expired? | Amount of Reagent on Hand | Notes or Comments |
| --- | --- | --- | --- | --- | --- |
| 1st | Yes/No | Yes/No | Yes/No |  |  |
| 2nd | Yes/No | Yes/No | Yes/No |  |  |
| 3rd | Yes/No | Yes/No | Yes/No |  |  |
| 4th | Yes/No | Yes/No | Yes/No |  |  |
| 5th | Yes/No | Yes/No | Yes/No |  |  |

See Guide Book Page 6

Weekly Chemical Equipment Testing Log Card*

Equipment	 	Month/Year:

| Week (Date) | Is Equipment Calibrated Properly? | Are Reagents Clearly Marked and Safely Stored? | Are Reagents Expired? | Amount of Reagent on Hand | Notes or Comments |
| --- | --- | --- | --- | --- | --- |
| 1st | Yes/No | Yes/No | Yes/No |  |  |
| 2nd | Yes/No | Yes/No | Yes/No |  |  |
| 3rd | Yes/No | Yes/No | Yes/No |  |  |
| 4th | Yes/No | Yes/No | Yes/No |  |  |
| 5th | Yes/No | Yes/No | Yes/No |  |  |

See Guide Book Page 6

Weekly Cleanliness Log Card*

Month/Year:

| Week (Date) | Are Pump House and Grounds Clean? | Are Fire Hydrants Accessible? | Notes or Comments |
| --- | --- | --- | --- |
| 1st | Yes/No | Yes/No |  |
| 2nd | Yes/No | Yes/No |  |
| 3rd | Yes/No | Yes/No |  |
| 4th | Yes/No | Yes/No |  |
| 5th | Yes/No | Yes/No |  |

See Guide Book Pages 6

Weekly Cleanliness Log Card*

Month/Year:

| Week (Date) | Are Pump House and Grounds Clean? | Are Fire Hydrants Accessible? | Notes or Comments |
| --- | --- | --- | --- |
| 1st | Yes/No | Yes/No |  |
| 2nd | Yes/No | Yes/No |  |
| 3rd | Yes/No | Yes/No |  |
| 4th | Yes/No | Yes/No |  |
| 5th | Yes/No | Yes/No |  |

See Guide Book Pages 6

Weekly Pumping Rate Log Card*

Well: 		Month/Year:

| Week (Date) | Pumping Rate/Flow | Notes or Comments |
| --- | --- | --- |
| 1st |  |  |
| 2nd |  |  |
| 3rd |  |  |
| 4th |  |  |
| 5th |  |  |

See Guide Book Page 6

Weekly Pumping Rate Log Card*

Well: 		Month/Year:

| Week (Date) | Pumping Rate/Flow | Notes or Comments |
| --- | --- | --- |
| 1st |  |  |
| 2nd |  |  |
| 3rd |  |  |
| 4th |  |  |
| 5th |  |  |

See Guide Book Page 6

### Weekly Security Check Log Card*

Month/Year:

| Week (Date) | Are Security Measures in Good Condition? | Repairs/Changes | Notes |
| --- | --- | --- | --- |
| 1st | Yes/No |  |  |
| 2nd | Yes/No |  |  |
| 3rd | Yes/No |  |  |
| 4th | Yes/No |  |  |
| 5th | Yes/No |  |  |

See Guide Book Page 6

Weekly Security Check Log Card*

Month/Year:

| Week (Date) | Are Security Measures in Good Condition? | Repairs/Changes | Notes |
| --- | --- | --- | --- |
| 1st | Yes/No |  |  |
| 2nd | Yes/No |  |  |
| 3rd | Yes/No |  |  |
| 4th | Yes/No |  |  |
| 5th | Yes/No |  |  |

See Guide Book Page 6

Other Notes and Comments

Recommended Monthly Operational Duties

- Read electric meter at pump house and record.

- Take appropriate monthly water quality samples.

- Check and record static and pumping levels of each well.

- Read all customer meters and compare against total water produced for the month.

- Inspect well heads.

- Lubricate locks.

- Check on-site readings against lab results.

- Confirm submittal of monthly reports.

See Guide Book Page 7

Monthly Electric Meter Log Card*	Year:

| Month (Date) | Electric Meter Reading | Monthly Water Production (if pumping is major use of energy) | Notes or Comments |
| --- | --- | --- | --- |
| Jan. |  |  |  |
| Feb. |  |  |  |
| March |  |  |  |

See Guide Book Page 7

Monthly Electric Meter Log Card*	Year:

| Month (Date) | Electric Meter Reading | Monthly Water Production (if pumping is major use of energy) | Notes or Comments |
| --- | --- | --- | --- |
| April |  |  |  |
| May |  |  |  |
| June |  |  |  |

See Guide Book Page 7

Monthly Electric Meter Log Card*	Year:

| Month (Date) | Electric Meter Reading | Monthly Water Production (if pumping is major use of energy) | Notes or Comments |
| --- | --- | --- | --- |
| July |  |  |  |
| Aug. |  |  |  |
| Sept. |  |  |  |

See Guide Book Page 7

Monthly Electric Meter Log Card*	Year:

| Month (Date) | Electric Meter Reading | Monthly Water Production (if pumping is major use of energy) | Notes or Comments |
| --- | --- | --- | --- |
| Oct. |  |  |  |
| Nov. |  |  |  |
| Dec. |  |  |  |

See Guide Book Page 7

Monthly Water Quality Sampling Log Card*	Year:

| Month | Take Coliform Sample (*) | Take Other Samples (*) | Notes or Comments |
| --- | --- | --- | --- |
| Jan. |  |  |  |
| Feb. |  |  |  |
| Mar. |  |  |  |
| Apr. |  |  |  |
| May |  |  |  |
| June |  |  |  |
| July |  |  |  |
| Aug. |  |  |  |
| Sept. |  |  |  |
| Oct. |  |  |  |
| Nov. |  |  |  |
| Dec. |  |  |  |

See Guide Book Page 7

Monthly Water Quality Sampling Log Card*	Year:

| Month | Take Coliform Sample (*) | Take Other Samples (*) | Notes or Comments |
| --- | --- | --- | --- |
| Jan. |  |  |  |
| Feb. |  |  |  |
| Mar. |  |  |  |
| Apr. |  |  |  |
| May |  |  |  |
| June |  |  |  |
| July |  |  |  |
| Aug. |  |  |  |
| Sept. |  |  |  |
| Oct. |  |  |  |
| Nov. |  |  |  |
| Dec. |  |  |  |

See Guide Book Page 7

###### Monthly Static (S) and Pumping (P) Level Log Card*

Well: 		Year:

| Month | S & P Level (in ft) | Recharge Time | Notes or Comments |
| --- | --- | --- | --- |
| Jan. | S: |  |  |
|  | P: |  |  |
| Feb. | S: |  |  |
|  | P: |  |  |
| March | S: |  |  |
|  | P: |  |  |
| April | S: |  |  |
|  | P: |  |  |
| May | S: |  |  |
|  | P: |  |  |
| June | S: |  |  |
|  | P: |  |  |

See Guide Book Page 7

###### Monthly Static (S) and Pumping (P) Level Log Card cont.*

Well: 		Year:

| Month (Date) | S & P Level (in ft) | Recharge Time | Notes or Comments |
| --- | --- | --- | --- |
| July | S: |  |  |
|  | P: |  |  |
| Aug. | S: |  |  |
|  | P: |  |  |
| Sept. | S: |  |  |
|  | P: |  |  |
| Oct. | S: |  |  |
|  | P: |  |  |
| Nov. | S: |  |  |
|  | P: |  |  |
| Dec. | S: |  |  |
|  | P: |  |  |

See Guide Book Page 7

##### Other Notes and Comments

Recommended January Operational Duties

- Overhaul chemical feed pumps (O rings, check valves, and diaphragms).

- Inspect and clean chemical feed lines and solution tanks.

- Calibrate chemical feed pumps after overhaul.

- Begin Safety Equipment Repair Log. Maintain log continuously throughout the year.

- Operate all valves inside the treatment plant and pump house.  Maintain log continuously throughout the year.

- Review emergency response plans.

See Guide Book Pages 8

January Task Log Card*	Feed Pump: 		Year:

| Task | Date Completed | Notes or Comments |
| --- | --- | --- |
| Overhaul chemical feed pumps: |  |  |
| Feeder head cleaned. |  |  |
| O rings and valves checked for wear. |  |  |
| Worn-out parts replaced (e.g., diaphragms). |  |  |
| Inspect and clean: |  |  |
| Chemical feed lines. |  |  |
| Solution tanks. |  |  |
| Calibrate chemical feed pumps after overhaul. |  |  |

See Guide Book Pages 8

Other Feed Pump Notes or Comments*

Maintenance Needs:

Supplier Information:

Age of Equipment:

Changes or Repairs:

See Guide Book Page 8

Safety Equipment Repair Log*	Year:

| Date | Equipment: (SCBA, air monitor, fire extinguisher, etc.) | Maintenance or Repair Completed: (calibrated, cleaned, etc.) | Notes or Comments: |
| --- | --- | --- | --- |

See Guide Book Page 8

| Date | Equipment: (SCBA, air monitor, fire extinguisher, etc.) | Maintenance or Repair Completed: (calibrated, cleaned, etc.) | Notes or Comments: |
| --- | --- | --- | --- |

See Guide Book Page 8

Valve Log Card*	Year:

When exercising the valves, be sure to record the time, type of valve, if the valve functions properly, and
valve position.

| Date | Time | Valve Number | Location | Type: (gate, plug, etc.) | Position: (open full, open partial, or closed; # turns) | Comments: (ok, repairs needed, will not seat, etc.) |
| --- | --- | --- | --- | --- | --- | --- |

See Guide Book Page 8

| Date | Time | Valve Number | Location | Type: (gate, plug, etc.) | Position: (open full, open partial, or closed; # turns) | Comments: (ok, repairs needed, will not seat, etc.) |
| --- | --- | --- | --- | --- | --- | --- |

See Guide Book Page 8

Recommended February Operational Duties

- Inspect chemical safety equipment and repair or replace as needed.

- Operate all valves inside the treatment plant and pump house.

See Guide Book Page 8

February Task Log Card*	Year:

| Task | Date Completed | Number and Direction of Turns | Notes or Comments |
| --- | --- | --- | --- |
| Check chemical safety equipment and repair or replace as needed. |  | Not Applicable |  |
| Operate all valves inside the treatment plant and pump house. |  |  |  |

See Guide Book Page 8

#### Other Notes or Comments

Recommended March Operational Duties

- Inspect, clean, and repair control panels in pump house and treatment plant.

- Exercise half of all mainline valves.

See Guide Book Page 9

March Task Log Card*	Year:

| Task | Date Completed | Valves Exercised | Condition of Valves | Date Scheduled for Repair | Number and Direction of Turns to Close |
| --- | --- | --- | --- | --- | --- |
| Inspect, clean, and repair control panels in pump house and treatment plant. |  | Not Applicable | Not Applicable |  | Not Applicable |
| Exercise half of all mainline valves. |  |  |  |  |  |

See Guide Book Page 9

#### Other Notes or Comments

Recommended April Operational Duties

- Inspect and clean chemical feed lines and solution tanks.

- Calibrate chemical feed pumps.

See Guide Book Page 9

April Task Log Card*	Year:

| Task | Date Completed | Notes or Comments |
| --- | --- | --- |
| Exercise/check all fire hydrant valves. |  |  |
| Inspect and clean: |  |  |
| Chemical feed lines |  |  |
| Solution tanks |  |  |
| Calibrate chemical feed pumps. |  |  |

See Guide Book Page 9

#### Other Notes or Comments

Recommended May Operational Duties

- Inspect storage tanks for defects and sanitary deficiencies.

- Clean storage tanks if necessary.

See Guide Book Page 27 & 28

May Task Log*	Year:

| Task | Date Completed | Notes or Comments |
| --- | --- | --- |
| Inspect Storage Tank # |  |  |
| Check vents and screens. |  |  |
| Check water level measuring devices.** |  |  |
| Check hatch seals/locks.** |  |  |
| Check for deterioration. |  |  |
| Inspect Storage Tank # |  |  |
| Check vents and screens. |  |  |
| Check water level measuring devices. ** |  |  |
| Check hatch seals/locks. ** |  |  |
| Check for deterioration. |  |  |
| Clean Storage Tanks. |  |  |

See Guide Book Pages 9 & 10

#### Other Notes or Comment

Recommended June Operational Duties

- Flush the distribution system and exercise/check all fire hydrant valves.

- Perform preventive maintenance on treatment plant and pump house buildings.

See Guide Book Page 10

June Task Log Card*	Year:

| Task | Date Completed | Notes or Comments |
| --- | --- | --- |
| Flush the distribution system |  |  |
| Paint: |  |  |
| Plant piping |  |  |
| Buildings |  |  |
| Tanks |  |  |
| Safely store: |  |  |
| Pipes |  |  |
| Plumbing fittings |  |  |
| Chemicals |  |  |
| Tools |  |  |
| Check fan operation |  |  |

See Guide Book Page 10

### Other Notes or Comments

Recommended July Operational Duties

- Inspect and clean chemical feed lines and solution tanks.

- Calibrate chemical feed pumps.

See Guide Book Page 11

July Task Log Card*	Year:

| Task | Date Completed | Notes or Comments |
| --- | --- | --- |
| Inspect and clean: |  |  |
| Chemical feed lines |  |  |
| Solution tanks |  |  |
| Calibrate chemical feed pumps |  |  |

See Guide Book Page 11

### Other Notes or Comments

Recommended August Operational Duties

- Operate all valves inside the treatment plant and pump house.

See Guide Book Page 11

August Task Log Card*	Year:

| Task | Date Completed | Number and Direction of Turns | Notes or Comments |
| --- | --- | --- | --- |
| Operate all valves inside the treatment plant and pump house. |  |  |  |

See Guide Book Page 11

### Other Notes or Comments

Recommended September Operational Duties

- Exercise mainline valves that were not exercised in March.

- Prepare system for winter operation.

This task may be postponed until October or November, based on local conditions.

- Make sure unnecessary equipment is properly decommissioned.

See Guide Book Page 11

September Task Log Card*	Year:

| Task | Date Completed | Valves Exercised |  | Number of Failures | Date Scheduled for Repair | Direction and Number of Turns to Close |
| --- | --- | --- | --- | --- | --- | --- |
| Exercise mainline valves that were not exercised in March. |  |  |  |  |  |  |
| Prepare System for Winter Operation |  |  |  |  |  |  |
| Task |  |  | Date Completed |  | Notes or Comments |  |
| Check that all exposed facilities are properly insulated. |  |  |  |  |  |  |
| Check that all heaters are operable. |  |  |  |  |  |  |
| Check that all vents are closed. |  |  |  |  |  |  |

See Guide Book Page 11

### Other Notes or Comments

### Recommended October Operational Duties

- Inspect and clean chemical feed lines and solution tanks.

- Calibrate chemical feed pumps.

See Guide Book Page 12

October Task Log Card*	Year:

| Task | Date Completed | Notes or Comments |
| --- | --- | --- |
| Inspect and clean: |  |  |
| Chemical feed lines |  |  |
| Solution tanks |  |  |
| Calibrate chemical feed pumps |  |  |

See Guide Book Page 12

Other Notes or Comments

Recommended November Operational Tasks

- Prepare system for winter operation if not completed in September or October.

See Guide Book Page 12

November Task Log Card*	Year:

| Prepare System for Winter Operation |  |  |
| --- | --- | --- |
| Task | Date Completed | Notes or Comments |
| Check that all exposed facilities are properly insulated. |  |  |
| Check that all heaters are operable. |  |  |
| Check that all vents are closed. |  |  |

See Guide Book Page 12

### Other Notes or Comments

Recommended December Operational Duties

- Contact an electrician to check running amps on well pumps.

See Guide Book Page 12

December Task Log Card*	Year:

| Task | Date Completed | Notes or Comments |
| --- | --- | --- |
| Contact an electrician to check running amps on well pumps. |  |  |

See Guide Book Page 12

### Other Notes or Comments

Follow-Up Log Card*

| Questions, Concerns, or Potential Problems | Date | Lead Person/Action Plan |
| --- | --- | --- |

| Questions, Concerns, or Potential Problems | Date | Lead Person/Action Plan |
| --- | --- | --- |

### Other Notes or Comments