|  | Massachusetts Department of Environmental Protection PWS Monthly Storage Tank Inspection Log |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Important: If filling out forms on the computer, use only the tab key to move your cursor - do not use the return key. | Instructions |  |  |  |  |  |  |
|  | 1. Log applies to all finished drinking water storage tanks and structures. Log does not apply to a hydropneumatic tank or an in-ground clearwell. 2. Log must be kept on file for a minimum of 5 years for inspection by MassDEP. 3. Comments must be provided for any answers indicating problems or impending problems. 4. Photographs are recommended for documenting inspections. |  |  |  |  |  |  |
|  | Tank Name/Location: |  |  |  |  | Date: |  |
|  | PWS Name: |  |  |  |  |  | PWS ID: |
|  | Inspector’s Name: |  | Signature*: |  |  |  |  |
|  | * I certify under penalties of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best extent of my knowledge. |  |  |  |  |  |  |
|  | Inspection Item: | Yes/No |  | N/A | Action Taken: |  |  |
| Note 1: Climbing tanks for routine monthly inspections is not required. PWS may use binoculars to inspect top of tank. Any PWS that elects to climb a tank must comply with OSHA safety regulations. | 1. Are photographs to be taken during this inspection? | Y N |  |  |  |  |  |
|  | 2. Is there damage to the fence? | Y N |  |  |  |  |  |
|  | 3. Are there signs of vandalism? | Y N |  |  |  |  |  |
|  | 4. Are there signs of forced entry? | Y N |  |  |  |  |  |
|  | 5. Is there damage or corrosion to the ladder and/or cage? | Y N |  |  |  |  |  |
|  | 6. Is the roof cover/hatch closed? | Y N |  |  |  |  |  |
|  | 7. Is the roof vent screen in place and clean? (If visible from ground level) | Y N |  |  |  |  |  |
| Note 2: For more information on other tank inspections (for example, annual roof and 3-5 year interior/exterior inspections), refer to MassDEP Guidelines Chapter 8.1.22. Note 3: All items may not be applicable to your system and should be so noted in the Action Taken column. Note 4: This log information (1-21) may be documented on the monthly contract operator’s inspection form or other form approved by MassDEP. | 8. Is the intrusion alarm operational? | Y N |  |  |  |  |  |
|  | 9. Is the tank overflowing? | Y N |  |  |  |  |  |
|  | 10. Is overflow pipe or box cover blocked? | Y N |  |  |  |  |  |
|  | 11. Is the ground level overflow screen in-place and intact? | Y N |  |  |  |  |  |
|  | 12. Does the ground level overflow have a 12-inch minimum air gap? | Y N |  |  |  |  |  |
|  | 13. Are there visible leaks? | Y N |  |  |  |  |  |
|  | 14. Is there exterior tank corrosion? | Y N |  |  |  |  |  |
|  | 15. Are trees or brush encroaching on the tank or structure? | Y N |  |  |  |  |  |
|  | 16. Are there visible foundation problems (i.e. settlement, deep cracking, anchor bolts rust, etc.)? | Y N |  |  |  |  |  |
|  | 17. Is there a working exterior sampling station for the tank? | Y N |  |  |  |  |  |
|  | 18. Is the valve pit accessible and free of standing water? | Y N |  |  |  |  |  |
|  | 19. Are the cathodic protection meter readings acceptable? | Y N |  |  |  |  |  |
|  | 20. Are there signs of wind or earthquake damage? | Y N |  |  |  |  |  |
|  | 21. Other concerns? | Y N |  |  |  |  |  |