## Calculator
FLOW CALCULATOR |  |  | 2-POINT METHOD (revise column E eqns. as necessary for 1-point or 3 point)
Directions: 1) Insert raw data from flow survey fieldsheet into yellow areas (ONLY)
2) DO NOT DELETE ROWS NOT USED
3) Review final computation for negative numbers (error)
4) Copy the final, "Starting Point" box down the column into each cell, all the way to the cell to the right of the "END" cell.
5) See EXAMPLE on separate sheet
6) When done, print paper copy for record and save file to another name; KEEP THIS FILE AS TEMPLATE FOR ALL USERS
7) If no angle coefficient, use 1.0.
8) If any questions on use or applicability, contact Richard Chase, DWM QA/QC
Waterbody:
Survey Date/Time:
Staff Gage readings:
Weather:
Notes:
Survey Crew & Summary
Starting Side (looking downstream) | Starting and Sequential Point Distances (Tape) | Width | Depth | Avg. Velocity | .6H | .8H | .2H | Angle Coeff. | Area | Partial Section Discharge Volumes | Cumulative Flow | Partial Section %
| (feet) | (feet) | (feet) | (fps) | (feet) | (feet) | (feet) |  | (ft2) | (cfs) | (cfs)
REW |  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
LEW |  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
|  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | #DIV/0!
END | [10 empty] | 0 | Total Discharge
Computations by: | chase
Total width (ft.): |  | 0
Avg. depth (ft.): |  |  | 0
Avg. velocity (fps): |  |  |  | 0
Total Area (SF): | [8 empty] | 0
Cum. discharge (CFS): | [9 empty] | 0
Final Discharge (CFS) | [10 empty] | 0
# of partial sections: | 31 | [9 empty] | includes angle coeff
(# of vel. readings + 1)
For .2H and .8H, velocity is (.2H+.8H)/2
For .6H, .2H and .8H, velocity is (.2H+.8H+2*.6H)/4

## Example2
EXAMPLE
Waterbody: | Smith Creek
Survey Date/Time: | 2002-07-01
Starting Side (looking downstream) | Starting Point | Width | Depth | Avg. Velocity | Area | Partial Section Discharge Volumes | Cumulative Flow
| (feet) | (feet) | (feet) | (fps) | (ft2) | (cfs) | (cfs)
LEW | 0 | 0.5 | 0 | 0 | 0 | 0 | 0
| 1 | 1 | 0.7 | 0 | 0.7 | 0 | 0
| 2 | 1 | 0.85 | 0 | 0.85 | 0 | 0
| 3 | 1 | 1.1 | 0.32 | 1.1 | 0.352 | 0.352
| 4 | 1 | 1.3 | 0.58 | 1.3 | 0.754 | 1.106
| 5 | 1 | 1.7 | 0.7 | 1.7 | 1.19 | 2.296
| 6 | 1 | 2 | 0.85 | 2 | 1.7 | 3.996
| 7 | 1 | 2.2 | 0.95 | 2.2 | 2.09 | 6.086
| 8 | 1 | 2.1 | 0.98 | 2.1 | 2.058 | 8.144
| 9 | 1 | 2 | 1.1 | 2 | 2.2 | 10.344
| 10 | 1 | 1.7 | 1.15 | 1.7 | 1.955 | 12.299
| 11 | 1 | 2 | 1.25 | 2 | 2.5 | 14.799
| 12 | 1 | 1.85 | 1.3 | 1.85 | 2.405 | 17.204
| 13 | 1 | 1.8 | 1.3 | 1.8 | 2.34 | 19.544
| 14 | 1 | 1.65 | 1.25 | 1.65 | 2.0625 | 21.6065
| 15 | 1 | 1.6 | 1.28 | 1.6 | 2.048 | 23.6545
| 16 | 1 | 1.6 | 1.3 | 1.6 | 2.08 | 25.7345
| 17 | 1 | 1.5 | 1.25 | 1.5 | 1.875 | 27.6095
| 18 | 1 | 1.4 | 1.23 | 1.4 | 1.722 | 29.3315
| 19 | 1 | 1.3 | 1.2 | 1.3 | 1.56 | 30.8915
| 20 | 1 | 1.25 | 1.15 | 1.25 | 1.4375 | 32.329
| 21 | 1 | 1.2 | 1.1 | 1.2 | 1.32 | 33.649
| 22 | 1 | 1.2 | 0.98 | 1.2 | 1.176 | 34.825
| 23 | 1 | 1.1 | 0.98 | 1.1 | 1.078 | 35.903
| 24 | 1 | 1 | 0.7 | 1 | 0.7 | 36.603
| 25 | 0.75 | 1 | 0.27 | 0.75 | 0.2025 | 36.8055
| 25.5 | 0.25 | 0 | 0 | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
| 25.5 | 0 |  |  | 0 | 0 | 36.8055
END | 25.5 | [5 empty] | 36.8055 | Total Discharge
Computations by: | Chase
Total width (ft.): |  | 25.5
Avg. depth (ft.): |  |  | 1.3741
Avg. velocity (fps): |  |  |  | 0.85815
Total Area (SF): |  |  |  |  | 36.85
Cum. discharge (CFS): | [5 empty] | 36.8055
Final Discharge (CFS) | [6 empty] | 36.8055
# of partial sections: | 27