STANDARD OPERATING PROCEDURE

#### For

#### DETERMINATION OF ENTEROCOCCAL esp GENE SEWAGE MARKERS; BASED ON ES&T 39:283

| SOP #: ENT-esp Marker | REVISION #: 0 | DATE: March 2006 |
| --- | --- | --- |
|  | Page 1 of 20 |  |
| This and all other DEA/WES SOP and QA documents are available (read/print only) to all WES employees on the WES server (w:\dea-qap\SOPs & QA Docs). It should be noted that the controlled SOP & QA documents are only those viewed on-line on the WES server. If this is a printed copy, it is an uncontrolled version and may not be the latest version currently in use. |  |  |

#### Massachusetts Department of Environmental Protection

#### Division of Environmental Analysis

Senator William X. Wall Experiment Station

37 Shattuck Street

Lawrence, MA  01843

| Prepared by: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  | Date: | March 27, 2006 |
| Approved by: | ###### Jean Tang, Environmental Analyst |  |  |  |
|  |  |  | Date: |  |
| Approved by: | ###### Ron Stoner, Microbiology Laboratory Supervisor |  |  |  |
|  |  |  | Date: | March 28, 2006 |
| Approved by: | ###### Robert Serabian, Quality Assurance Officer |  |  |  |
|  |  |  | Date: |  |
|  | ###### Oscar Pancorbo, Director |  |  |  |

TABLE OF CONTENTS

Page

LIST OF REVISIONS	3

LIST OF TABLES	4

1.0	SCOPE AND APPLICATION	5

2.0	SUMMARY OF METHOD	5

3.0	DEFINITIONS	5

4.0	INTERFERENCES	6

5.0	SAFETY	6

6.0	EQUIPMENT AND SUPPLIES	7

7.0	REAGENTS AND STANDARDS	8

8.0	SAMPLE COLLECTION, PRESERVATION AND STORAGE	11

9.0	QUALITY CONTROL	11

10.0	CALIBRATION AND STANDARDIZATION	12

11.0	PROCEDURE	12

12.0	DATA ANALYSIS AND CALCULATIONS	15

13.0	METHOD PERFORMANCE	15

14.0	POLLUTION PREVENTION	16

15.0	WASTE MANAGEMENT	16

16.0	REFERENCES	16

17.0	TABLES AND VALIDATION DATA	17

# LIST OF REVISIONS

| Rev. # | Date | Description of Revision | Page # |
| --- | --- | --- | --- |
| 0 | March 2006 | None |  |

Disclaimer:

References to trade names, commercial products and manufacturers in this SOP do not constitute endorsement.

# LIST OF TABLES

Page

TABLE 1.	Recommended water sample filtration volumes for the Enterococcal esp gene human marker PCR assay	17

TABLE 2.	Validation results of the PCR assay test against animal fecal samples using the Enterococcal esp gene sewage marker PCR assay*	18

TABLE 3.	Results of single-blind samples challenged the Enterococcal esp gene sewage marker PCR assay	19

TABLE 4.	Quality Control Elements and Acceptance Limits for the Bacteroidetes human marker PCR assay Procedure	20

# 1.0	SCOPE AND APPLICATION

1.1	This polymerase chain reaction (PCR) assay may be used to detect the existence of sewage in surface water or estuarine water samples using sewage-specific primers and a selected annealing temperature for PCR process.  This is a present/absent method for analyzing relatively large sample volumes assuming that the samples are not highly turbid.  Special caution should be taken when interpreting the results as there are known factors that may cause false negative results.

# 2.0	SUMMARY OF METHOD

2.1	A well-mixed sample is drawn through a 0.45-m membrane filter which is then placed on a petri dish containing mEI agar and incubated for 24 hours at 41 ± 0.5°C.  All the colonies are harvested to extract total DNA. The sewage specific markers, if present, are amplified with PCR thermocycler using specific primers. All PCR products are then stained, separated by size and observed with a UV trans-illuminate table. Bands with specific molecular size are recorded as positive results, indicating the presence of sewage in the sample tested.

# 3.0	DEFINITIONS

3.1	Lab Duplicates (LD1 AND LD2) -- Two aliquots of the same sample taken in the laboratory and analyzed separately with identical procedures. Analyses of LD1 and LD2 indicate the precision associated with laboratory procedures, but not with sample collection, preservation, or storage procedures.

3.2	Field Duplicates (FD1 AND FD2) -- Two separate samples collected at the same time and placed under identical circumstances and treated exactly the same throughout the field and laboratory procedures. Analyses of FD1 and FD2 give a measure of the precision associated with sample collection, preservation and storage, as well as with laboratory procedures.

3.3	Lab Method Blank (LMB) -- An aliquot of reagent water or other blank matrix that is treated exactly as a sample including exposure to all glassware, equipment, solvents, and reagents that are used with other samples. The LMB is used to determine if method analytes or other interferences are present in the laboratory environment, the reagents, or the apparatus.

3.4	Field Reagent Blank (FRB) -- An aliquot of reagent water or other blank matrix that is placed in a sample container in the field and treated as a sample in all respects, including shipment to the sampling site, exposure to sampling site conditions, storage, preservation, and all analytical procedures. The purpose of the FRB is to determine if method analytes or other interferences are present in the field environment.

3.5	Method Positive Control (MPC) -- An aliquot of reagent water or other blank matrix to which known quantities of the method analytes are added in the laboratory. The MPC is analyzed exactly like a sample, and its purpose is to determine whether the methodology is in control, and whether the laboratory is capable of making accurate measurements.

3.6	Method Negative Control (MNC) -- An aliquot of reagent water or other blank matrix are added in the PCR reaction tube in the PCR laboratory and treated as a sample in all respects.  The MNC is analyzed exactly like a sample, and its purpose is to determine whether the methodology procedure is antiseptic and if the reagents were contaminated.  The MNC is used to determine if method analytes or other interferences are present in the laboratory environment, including the reagents, the apparatus, or contaminants introduced by analyst’s practice for PCR assay.

3.7	Stock Standard Solution (SSS) -- A concentrated solution containing one or more method analytes prepared in the laboratory using assayed reference materials or purchased from a reputable commercial supplier.

3.8	Deoxyribonucleic acid (DNA) – a common molecule which is usually found to encode genetic information about an organism.

3.9	Polymerase Chain Reaction (PCR) – a method for enzymatically and exponentially amplifying a selected region of DNA. The DNA fragment can be seen when stained on a gel or used in other experiments.

3.10	Primer – a fragment of DNA, usually between 15-30 bases, used in PCR assay to anneal to and to amplify the target marker of interest.  In this SOP, the sequences used for primers are

Forward primer: 	5'-TATGAAAGCAACAGCACAAGTT–3'
Reverse primer: 	5'-ACGTCGAAAGTTCGATTTCC–3'

3.11	Sewage Marker – in this SOP, this is refers to a fragment of DNA found in samples which has been exposed to municipal sewage.

# 4.0	INTERFERENCES

4.1	The DNA debris found in reagents, supplies, and sampling or analytical apparatus, which will interfere with the PCR assay.

4.2	There are certain chemicals or cell products can interfere with PCR reaction. To prevent the interference, be sure that no alcohol, medium or agar are accidentally added when preparing PCR sample and reagent mixtures.

4.3	The accuracy of this PCR assay depends on how much sewage was diluted in the sample that was collected for testing.

# 5.0	SAFETY

5.1	The fecal, water and wastewater samples assayed for the enterococcal esp gene have the potential to be contaminated with septic material that may contain pathogenic microbes as well as toxic or carcinogenic compounds.  Certain reagents used in this assay or to make components of this assay such as bleach, antibiotics, enzymes, acids, bases, and dyes are irritating, toxic or may be carcinogenic if ingested and/or exposed to the skin or mucosal membranes of the body.  Hence labcoats, gloves, cuffs, and safety glasses or a shield for eye protection should be worn when processing and assaying media and samples.

5.2	All personnel handling environmental samples known or suspected to contain or to have been in contact with human waste should be immunized against known disease causative agents.

5.3	UV light can damage eyes’ nervous system, and may cause skin cancer.  Hence, wear eye or facial protection, sleeves and gloves when working with UV trans-illuminate light.

5.4	It is the responsibility of the user(s) of this method to comply with relevant disposal and waste regulations.  Sharp objects must be disposed in “SHARPS” containers and objects or media exposed to samples must be autoclaved before washing or disposal.  DNA dyes that might potentially cause cancer need to be treated as hazardous waste.

# 6.0	EQUIPMENT AND SUPPLIES

  - Sample Bottles – Sterile wide-mouthed borosilicate glass or plastic.  For sampling chlorinated wastewater effluent, a 120-mL sample bottle must contain 0.1 mL of a 10% solution of sodium thiosulfate.  The WES Microbiology Laboratory uses sterile 120-mL Corning disposable wide-mouthed plastic ready-to-use bottles containing a sodium thiosulfate tablet (note: provides a final concentration of 100 mg/L Na2S2O3).

  - Dilution Bottles – Sterile bottles of the appropriate size to prepare filter positive control samples to run with each sample batch.

  - Containers for Culture Media – Use clean borosilicate glass flasks or beakers for media preparation.

  - Culture dishes: Use pre-sterilized 50- x 9-mm plastic petri dishes with tight-fitting lids. Reseal opened packages of disposable dishes for storage.

  - Recording Autoclave (Gettinge PACS)

  - Filtration Units – The WES Microbiology Laboratory uses two stainless steel 6-funnel filtration manifolds and stainless steel as well as plastic filtration funnels.  Discard plastic funnels if they develop deep scratches on the inner surface.

    - Stainless steel funnel assemblies are wrapped in Kraft paper and placed on a stainless steel perforated rack for sterilization in the autoclave (15 minutes).  Immediately following sterilization, the stainless steel funnels are placed in the UV light box for storage.  The plastic funnels are wrapped in a clear plastic autoclavable instrument bag and autoclaved (15 minutes) prior to use.

    - Filtration funnels are sterilized by autoclaving for the initial filtration of a sample batch.  Following the filtration of a 6-sample series, the 6 funnels are placed in the UV light box and exposed to UV for 3 minutes before re-using the funnels for successive sample filtration series.

    - The filtration manifold is connected to two glass flasks in series with an electric vacuum pump securing a pressure differential of 138 to 207 kPa. The flask closest to the vacuum pump is for the protection of the pump from carryover water and must not be allowed to fill with water.

  - Membrane Filters – Use 0.45-m pore size, 47-mm diameter pre-sterilized, gridded membrane filters.  Use only those membrane filters that have been found, through adequate quality control testing and certification by the manufacturer to exhibit, as compared to control membrane filters: 1) Full retention of the organisms to be cultivated; 2) Stability in use; 3) Freedom from chemical extractables that may inhibit bacterial growth and development; 4) Satisfactory speed of filtration (within 5 min); 5) No significant influence on medium pH (beyond ± 0.2 pH units); and 6) No increase in the number of confluent colonies or spreaders.  Use membranes grid-marked in such a manner that bacterial growth is neither inhibited nor stimulated along the grid lines when the membranes with entrapped bacteria are incubated on a suitable medium. Preferably use fresh stocks of membrane filters, and if necessary, store them in an environment without extremes of temperature and humidity.

  - Forceps – Smooth flat forceps, without corrugations on the inner sides of the tips.  Sterilize before use by dipping in 70% ethyl or absolute methyl alcohol and then flaming.

  - Incubators – Use an incubator than provides a temperature of 41 ± 0.5°C.

  - Freezer, -70°C – Use an ultra freezer that maintains a temperature ≤ -65°C.

  - Freezer, -15°C (must maintain ≤ -10°C)

  - Sterile 1.5-µL polypropylene micro centrifuge tubes, PCR-certified.

  - Sterile PCR-certified pipette tips, 10-, 100-, and 1000-µL.

  - Short-wavelength (254nm) UV box for sterilization.

  - Bench-top ultra centrifuge (Micromax RF OM3590, International Equipment Company, Needham Heights, MA).

  - Heating block (60 °C)

  - Thermocycler (Mastercycler, Eppendrof, Westbury, NY).

  - Microwave oven.

  - Power Supply (EC250-90, E-C Apparatus Co., Holbrook, NY) and electrophoresis gel box.

  - UV trans-illuminator.

  - Bench-top ultra centrifuge (Heraeus INS Magafuge 2.0R).

  - Digital camera and suitable image analyzing software (Kodak 290).

  - Assorted Glassware including flasks, bottles, test tubes, graduated cylinders, and pipettes.

# 7.0	REAGENTS AND STANDARDS

  - Ultra filtered sterile reagent-grade (ASTM Type I) water (nuclease free water)

  - Preparation of Buffered Rinse Water

    - To prepare the stock phosphate buffer solution, dissolve 34.0 grams of potassium dihydrogen phosphate (KH2PO4), in 500 mL of reagent-grade water, adjust to pH 7.2 ± 0.5 with 1 N NaOH and dilute to 1 L with reagent-grade water.  Store solution at 4C in a 1-L screw cap bottle.  Discard solution if it becomes turbid.

    - To prepare the magnesium chloride solution, dissolve 81.1 grams of magnesium chloride (MgCl2  6 H2O) in 1 L of reagent-grade water.  Store solution at 4C in a 1-L screw cap bottle.

    - In a large 5-gallon carboy, add 95 mL of magnesium chloride solution and 24 mL of phosphate buffer solution to 5 gallons of reagent-grade water.  Dispense the buffer from the carboy into 1-L bottles.  Place nine bottles of the buffer solution into the autoclave and autoclave at 121C for 45 minutes.

    - Remove the bottles of buffered rinse water from the autoclave and store at room temperature.

    - A sterility check must be performed for each batch of buffered rinse water prepared.  Add 50 mL of buffered rinse water and 50 mL of double-strength Tryptic Soy Broth (2X TSB) into a sterile 250-mL Erlenmeyer flask.  Incubate for 24 hours at 35C.  Discard any batch of water showing turbidity or growth after incubation.  Record the results of the sterility check in the autoclave log.

  - The need for uniformity dictates the use of commercial dehydrated media. Never prepare media from basic ingredients when suitable dehydrated media are available. Follow manufacturer's directions for re-hydration. Store opened supplies of dehydrated media in a desiccator for up to one year or manufacture’s expiration date, whichever comes first.

  - mEI agar – Composition of Basal Medium (mE Agar, Difco 0333; refer to the manufacturer’s directions on the bottle for preparation)

Peptone	10.0 g

Sodium chloride, NaCl	15.0 g

Yeast extract	30.0 g

Esculin	 1.0 g

Actidione	0.05 g

Sodium azide	0.15 g

Agar 	15.0 g

    - Add 71.2 g of dehydrated basal medium (mE agar) plus 0.75 grams of indoxyl B-D glucoside to 1 L of reagent grade water in a flask and heat to boiling until ingredients dissolve.  Autoclave at 121°C and 15 lb pressure for 15 min and cool in a 44-46°C water bath.

    - Reagents added after sterilization:

      - Mix 0.24 g nalidixic acid in 5 mL reagent grade water, add a few drops of 0.1N NaOH to dissolve; add to the mEI medium.

      - Prepare triphenyl tetrazolium chloride (TTC) solution as follows: Add 0.1 g of TTC to 10 mL of reagent grade distilled water and warm to dissolve.  Filter-sterilize the solution and add 2 mL liter of medium.

      - Final pH 7.1 ± 0.2.

    - Dispense in 5- to 7-mL quantities into lower section of 50-mm plastic petri dishes and let solidify.  Do not expose poured plates to direct sunlight; refrigerate in a lidded plastic container containing a card labeled with the name of the medium, stamped with the date of preparation and labeled with the 14 day discard date. Discard unused medium after 2 weeks or sooner if there is evidence of moisture loss, medium contamination, or medium deterioration (darkening of the medium).

  - Tryptic Soy Broth (TSB) – Composition of complex medium (BD 211825; refer to the manufacturer’s directions on the bottle for preparation)

Pancreatic digest of casein	17.0 g

Enzymatic digest of soybean meal	3.0 g

Dextrose	2.5 g

Sodium chloride	 5.0 g

Dipotassium phosphate	2.5 g

    - In a 2-L Erlenmeyer, add 30.0 g of powder to 1 L of reagent-grade water, mix thoroughly, and heat using a hot plate with constant stirring to dissolve.  Dispense into test tubes or screw-capped flasks.  Cover the test tubes/flasks and sterilize for 15 minutes at 121°C.  The final pH should be 7.3 ± 0.2.

    - If not for immediate use, tighten the caps once the media has cooled, make sure that the date of preparation and expiration is noted on the media and refrigerate.  Screw-capped media may be stored in the refrigerator for 3 months.

  - Preparation of 2% Sodium Thiosulfate Stock

    - Dissolve 10.0 grams of sodium thiosulfate (NaS2O3), in 500 mL of reagent-grade water in a 1-L screw cap bottle.

    - Place the buffer solution into the autoclave and autoclave at 121C for 30 minutes. (45 min if in contains 1 L in a 1.5 L bottle).

    - Remove the bottle from the autoclave and store at room temperature.

    - When use for rinsing bottle during cleaning process, add 20 ml to 8 L of reagent-grade water.

  - Preparation of 5% Sodium hypochloride cleaning solution

    - To prepare the 5% Sodium hypochloride cleaning solution, add 100 mL of commercially available bleach to 900 mL of reagent-grade water.

  - FastDNA kit (Bio 101, Lajolla, CA) containing:

Lysing Matrix A with ceramic spheres (in 2-mL tube)

Binding matrix

SEWS-M wash solution (add 100% ethanol before use)

CLS-TC (cell lysis solution for cells)

DES (DNA elute solution)

  - DES (DNA elute solution)

  - Taq polymerase in Storage Buffer B mix (Promega Co., Madison, WI)

  - Prepare 1X TAE buffer: add 2 mL of 50X TAE stock to 98 mL of sterile reagent-grade water.

  - Prepare 0.5X TAE gel running buffer: add 20 mL of 50X TAE stock to 2 L sterile reagent-grade water in a screw-cap bottle. Mix thoroughly.

  - Fluorescent dye for DNA staining

  - Gel loading dye

  - DNA ladder (DNA size marker)

# 8.0	SAMPLE COLLECTION, PRESERVATION AND STORAGE

  - Fresh fecal samples must be aseptically collected in a specimen collector from an individual animal, unless the deposits were from a flock of birds that cannot be separated.

  - Water samples must be aseptically collected in a sterile disposable plastic bottle leaving at least 1” (2.5 cm) of head space to allow for sufficient mixing of the sample prior to analysis.  If the sample is chlorinated, make sure that the appropriate concentration of sodium thiosulfate is added (see 6.1).

  - Keep sample bottle closed until it is to be filled, fill the bottle without rinsing, replace cap immediately, and secure the top with the attached plastic “lock”.

  - Samples must be kept at  6°C from the time of collection to the time of analysis.

  - Potable water samples and fecal substance shall be analyzed within 24 hours of collection.  Non-potable water samples must be transported to the laboratory as quickly as possible, received at the laboratory no later than 6 hours from first sample collection, and analyzed within 2 hours of receipt at the laboratory.

  - All samples must be accompanied by the WES sample tracking/ chain-of-custody form filled out by the collector, including all applicable chain-of-custody signatures.

# 9.0	QUALITY CONTROL

9.1	Minimum quality control (QC) requirements for this method are initial demonstration of laboratory capability, and with each sample batch, analysis of laboratory method blanks, method negative control, method positive control samples, and QC samples.

9.2	Laboratory Method Blanks (LMB) – Before processing any samples, the analyst must demonstrate that all glassware, equipment, and reagents are free of DNAs and other interferences.  Each time a set of samples is analyzed, an LMB must also be analyzed to demonstrate that DNA and other interferences are not present in the analytical system.  If the LMB produces a positive result for PCR reaction, the analyst must determine the source of contamination and eliminate the interference before processing any samples.  The results of the batch that was processed with the LMB, producing  a positive result will be rejected.  The samples will need to be re-processed after clearance of the contamination.

9.3	PCR amplification – for each PCR batch: Including: 10% negative (MNC, at random location), 10% positive (MPC, add SSS at random location), and 10% random lab duplicates (LD1 & LD2) for the sample set that is processed. If any of the positive, negative, or duplicate samples fail, the run is rejected. Redo the PCR amplification.

9.4	Gel electrophoresis – The products of PCR will be separated in sizes by 1% argarose gel together with a DNA size marker. A successful gel has a correctly separated marker, the band of positive PCR product (MPC) appears at the correct location, according to the marker, and no band show up in the well where no products were loaded. Re-run the gel if bands show up in the well that no products were loaded or if marker fails.

9.5	Image obtaining - Take gel image by Kodak 290 Image Analyzing System and export images in tiff format. The image files are saved in WES server and backed-up every night.

# 10.0	CALIBRATION AND STANDARDIZATION

10.1	Refer to Laboratory Quality Assurance Plan for calibration and standardization procedures of laboratory equipment used for this analysis.

# 11.0	PROCEDURE

  - The sample volume filtered will depend on the expected enterococci density for the sample type to be tested (see Table 1).

    - The ideal sample volume will yield 100 to 200 enterococci colonies on a membrane filter. Filter three different volumes depending on the expected enterococci density.  When less than 20 mL is to be filtered, add approximately 10 mL of sterile buffered rinse water to the funnel before adding and filtering the sample volume, or add the sample volume into a sterile dilution bottle containing sterile buffered rinse water and then filter the entire bottle contents.  This increase in water volume aids in uniform dispersion of the bacterial suspension over the entire effective membrane filter surface.  For volumes of 20-100 mL, use a sterile graduated cylinder to measure the sample volume.  For sample volumes less than 20 mL, use a sterile wide-tip pipette.

Note:  Bacteria must not be suspended in dilution water for more than 20 minutes at room temperature as death or multiplication could occur.

  - Sterilize/Sanitize Filtration Units – Use sterile filtration units at the beginning of each filtration series as a minimum precaution to avoid accidental contamination. A filtration series is considered to be interrupted when an interval of 30 minutes or longer elapses between sample filtrations.  After such interruption, treat any further sample filtration as a new filtration series and sterilize all funnels and bases in use.

    - Filtration units are to be sanitized in the UV light box for three minutes before use for a new sample or if a smaller volume of the same sample is to be filtered.  Note:  It is unnecessary to expose the funnel(s) to UV between filtrations of dilution volumes of the same sample as long as the dilutions as filtered in series from the smallest volume (first) to the largest volume (last) and the funnel is rinsed thoroughly with sterile buffered rinse water between dilutions.

  - Label Petri Dishes – Label the bottom (side containing the agar) of each petri dish with the: 1) LIMS sample number; and 2) Dilution/volume filtered.

  - Filtration of Sample – Using sterile (flamed) forceps, place a sterile membrane filter (grid side up) over the porous plate of the filter base.  Attach funnel to the base and lock it in place.  Shake the sample vigorously at least 25 times and measure sample volume.  Turn on the vacuum and filter the sample volume completely.  With filter still in place, rinse the interior surface of the funnel by filtering three 20- to 30-mL portions of sterile buffered rinse water.  Rinsing between samples prevents carryover contamination.  Turn off the vacuum, remove the funnel, and remove the membrane filter with sterile (flamed) forceps (touching only within the outer 1/8” of the filter), and place it on the mEI agar surface with a rolling motion to avoid entrapment of air.  Invert the petri dish, incubate for 24 h at 41 ± 0.5°C.

  - DNA Enrichment – Remove the filter from mEI agar plate, be sure not to remove any agar with the filter.  Fold the filter quartered and place the filter in a screw-cap test tube containing 5 mL TSB. Make sure the filter is submerged under the broth. Vortex the tube with cap screw tight. Loose the cap of tube and incubate the tube for 3 h at 35 ± 0.5°C.

  - Prepare Cell Suspension – Re-suspend the cells in test tube by vortexing. Centrifuge the tube at 14,000 X g for 3 min. Discard supernatant. Re-suspend the cells with 200 µL DNase/RNase-free sterile reagent-grade water by pipetting the liquid up and down, using a pipettor.

  - DNA Extraction – Use FastDNA kit.

    - Add 800 µl CLS-TC and 200 µl PPS into a bead beating microtube.

    - Add 200 µl of cell suspension into bead beating microtube.

    - Agitate with bead beater for 30 sec and centrifuge for 5 min at 14,000 X g.

    - Pipet 600 µl of extracted supernatant from bead beating microtube and 600 µl binding matrix into 2.0 ml low-adhesion microtube, incubate at room temperature for 5 min (agitate gently), and centrifuge for 1 min at 14,000 X g.

    - Discard supernatant and wash pellet with 500 µl SEWS-M (make sure that ethanol is added according to manufacture’s handbook), re-suspend pellet, and centrifuge for 1 min at 14,000 X g.

    - Discard supernatant and repeat the washing step as previously described.

    - Dry silica pellet with 60°C incubation for 5 min.

    - Dissolve DNA with 100 µl DES.

    - Store DNA at -15°C freezer until further processing for PCR.

    - Determine the DNA concentration using spectrometer, using wavelength at 260nm.

    - Calculate DNA concentration using following formula:
DNA conc ngμL = (absorption reading at 260 nm) x 50μL sample tested

  - PCR:

    - Prepare PCR reagent mix so that the final mix in each PCR tube contains: 1X PCR Buffer, 1.5 mM MgCl2, 200 µM each of four dNTP, 0.3 µM of forward and reverse primers, 1.25 U of Taq polymerase, and 5 ng of DNA template.

    - Load the PCR tubes in to the thermocycler that has been pre-programmed with following profile. The amplification profile starts with 95°C for 2 min, followed by 35 cycles of 94°C for 1 min, 58°C for 1 min, and 72°C for 1 min; lastly, 5 min of 72°C.

    - Observe the result by gel electrophoresis (see next step).  Place the PCR reaction tube(s) / 96-well plate in 4°C refrigerator if the products were not used immediately for gel electrophoresis.

  - Gel Electrophoresis:

    - Prepare 1% agarose gel: for 7”X14” gel box, add 1 g of agarose to 100 mL 1X TAE in a 250-mL flask; cover the flask loosely with wrap and heat it with microwave oven until boiling to dissolve agarose completely. Add 3 µL of DNA fluorescent dye after the agarose solution is tempered to about 70°C. Gently swirl the flask horizontally to mix the dye with the solution.  Pour the dye-agarose mixing to gel tray with its bottom sealed.  Place well-forming comb in gel tray holder while the dye-agarose mix is still liquid.  Allow the mix to cool until solidified.  Remove the comb and the seals from the gel tray.  Place the gel tray in the electrophoresis chamber, with the wells towards the cathode end (black-labeled).

    - Pour running buffer (0.5X TAE) to the electrophoresis chamber up to the fill line.  The running buffer can be re-used up to 3 times.  Old running buffer is treated with 5% bleach before discarding.

    - Mix 5 µL of PCR product with 1 µL gel loading dye.

    - Load PCR product-loading dye mixture in a well.  Make sure the sample ID was properly recorded when it was loaded to each well.

    - Load 3-5 µL DNA ladder. (Make sure it was mixed with loading dye)

    - Close the lid of electrophoresis chamber when finished loading.

    - Connect the electrical cord to the power supply. (Make sure that anode and cathode were connected properly between gel box and power supply)

    - Turn on the power supply to apply an electrical current to the electrophoresis chamber. (Set voltage limit between 60 to 100 V, depending on gel size)

    - When the dye marker indicates that DNA fragments have moved through the gel, the current is turned off and the gel is removed from the tray. (Approximately 1 hr when applying 100 V to the chamber)

    - Visualize DNA fragments by placing the gel on top of UV trans-illuminant box.  DNA fragments will fluoresce when illuminated by UV.

    - Document the gel result by taking a picture with digital camera linked with Kodak 290 Image Analysis Software.

    - The picture file is stored on WES server (W drive) with proper file name given, including sample ID numbers.

  - Procedure flowchart:

# 12.0	DATA ANALYSIS

12.1	Compare the location of fluorescent bands with the DNA ladder.  Samples that contain fluorescent bands at specific sizes are recorded as “positive” for the Enterococcal esp gene sewage marker.  Samples containing no bands or bands at any other locations are recorded as “negative” for the Enterococcal esp gene sewage marker.

# 13.0	METHOD PERFORMANCE

13.1	Precision and Accuracy Quality Charts are done as required.

# 14.0	POLLUTION PREVENTION

14.1	The quantity of chemicals purchased is based on expected usage during its shelf life.

14.2	Actual reagent preparation volumes reflect anticipated usage and reagent stability.

14.3	Any dyes used for staining DNA samples in the gels to make DNA visible under UV light is collected and shipped as hazardous waste.

# 15.0	WASTE MANAGEMENT

15.1	For information, consult The Waste Management Manual for Laboratory Personnel.

15.2	WES laboratories fully comply with all applicable federal, state, and local environmental regulations.  All hazardous waste products from this and other methods are collected in the laboratory and then disposed of by a licensed hazardous waste management contractor.  WES is also committed to protecting the air, water, and land by minimizing and controlling all chemical releases from fume hoods, biological safety cabinets, and bench operations.  Refer to the WES Environmental Management System (EMS) policy and SOPs regarding waste management.

15.3	Dispose of all samples by autoclaving for a minimum of 30 minutes.  Plastic plates and tubes are separated from medium for recycling.

15.4	Used running buffer for gel electrophoresis may have exposure to ethidium bromide or other dyes use for staining DNA fragments, are potential carcinogens.  Use 5% bleach to detoxify the buffer before discharge to the sink.

15.5	DNA dyes are potential carcinogens and should be treated as hazardous waste.

# 16.0	REFERENCES

  - Scott, T. M., T. M. Jenkins, J. Lukasik, and J. B. Rose. 2005. Potential Use of a Host Associated Molecular Marker in Enterococcus faecium as an Index of Human Fecal Pollution. Environ. Sci. Technol. 39:283-287.

  - U.S. Environmental Protection Agency. 2005. Microbial Source Tracking Guide Document EPA/600-R-05-064. Office of Research and Development, U. S. Environmental Protection Agency.

  - U.S. Environmental Protection Agency. 2005. Quality assurance/quality control guidance for laboratories performing PCR analyses on environmental samples EPA 815-B-04-001. Office of Ground Water and Drinking Water and the Office of Research and Development.

# 17.0	TABLES AND VALIDATION DATA

TABLE 1. Recommended Water Sample Filtration Volumes for the Enterococcal esp Gene Human Marker PCR Assay. Sample Type; Recommended Filtration Volume (mL). 1000; 100; 50; 10; 1; 0.1; 0.01; 0.001. Lakes, reservoirs; X; X. Wells, springs; X; X. Water supply intake; X; X; X. Natural bathing waters; X; X; X. Sewage treatment plant; X; X; X. Farm ponds, rivers; X; X; X. Stormwater runoff; X; X; X. Raw municipal sewage; X; X; X. Feedlot runoff; X; X; X. Fecal slurry (0.1 g wet feces / 10 mL rinsing buffer); X; X; X. Sewage sludge; X; X; X.

| TABLE 2. Validation results of the PCR assay test against animal fecal samples using the Enterococcal esp gene sewage marker PCR assay* |  |  |
| --- | --- | --- |
| Source of fecal sample | Enterococcal esp gene | Conclusive Decision |
| Cat | - | - |
| Chicken | - | - |
| Cow | - | - |
| Dog | - | - |
| Goat | - | - |
| Goose | - | - |
| Horse | - | - |
| Human | - | - |
| Pigeon | - | - |
| Seagull | - | - |
| Sheep | - | - |
| Municipal Wastewater | + | + |

*: “+”, human-specific marker was detected in fecal samples; “-”, no human-specific marker was detected in fecal samples.

| TABLE 3. Results of Single-Blind Samples Challenged the Enterococcal esp Gene Sewage Marker PCR assay |  |  |  |  |
| --- | --- | --- | --- | --- |
| Blind sample ID | Enterococcal esp gene sewage markera | Predictionb | Actual | Accuracy |
| Blind1 | - | Non-sewage | Human A | True |
| Blind2 | - | Non-sewage | Cat | True |
| Blind3 | - | Non-sewage | Dog A | True |
| Blind4 | - | Non-sewage | Human B | True |
| Blind5 | - | Non-sewage | Human C | True |
| Blind6 | - | Non-sewage | Dog B | True |
| Blind7 | - | Non-sewage | Seagull | True |
| Blind8 | - | Non-sewage | Goose | True |
| Blind9 | - | Non-sewage | Human A (duplicate) | True |
| Blind10 | - | Non-sewage | Blank | True |

a:	“-“, no sewage marker was detected in the sample.

b: 	Non-sewage, predicting the sample does not contain municipal sewage.

| TABLE 4. Quality Control Elements and Acceptance Limits for the Enterococcal esp Gene Sewage Marker PCR assay Procedure |  |  |  |
| --- | --- | --- | --- |
| QC Elements | Frequency | Acceptance Criteria | Corrective Action |
| Method Blank DNA free sterile water | 1 per batch | Negative | Invalidate results |
| Method Negative Control Sterile reagent Water | Begin of the batch | Negative | Invalidate results |
| Method Positive Control Human fecal DNA extract | 1 per batch | Positive | ###### Invalidate results |
| Lab duplicate | 10% | Both positive or both negative to the duplicated samples | Invalidate results |
| Sample Storage | Every sample | Sample analyzed within 8 hours of collection. Stored at < 6 C from time of collection to time of analysis | Qualify data |