| I. PWS INFORMATION: Please refer to your DEP Water Quality Sampling Schedule (WQSS) to help complete this form |
| --- |
| PWS ID #: |  |  | City / Town: |  |
| PWS Name: |  |  | PWS Class: | COM NTNC TNC |
| DEP LOCATION (LOC) ID# | DEP Location Name | Sample Information | Date Collected | Collected By |
|  |  | (M)ultiple (S)ingle | (R)aw (F)inished |  |  |
| Routine or Special Sample | Original, Resubmitted or Confirmation Report | If Resubmitted Report, list below: |
|  |  | (1) Reason for Resubmission | (2) Collection Date of Original Sample |
| RS SS | Original Resubmitted Confirmation | Resample Reanalysis Report Correction |  |
| SAMPLE NOTES – (Such as, if a Manifold/Multiple sample, list the sources that were on-line during sample collection). |
| II. ANALYTICAL LABORATORY INFORMATION: |
| Primary Lab MA Cert. #: |  | Primary Lab Name: |  | Subcontracted? (Y/N) |  |
| Was this sample composited by the Lab? | COMPOSITE SAMPLE NOTES List the composited source by DEP Source Code (XXXXXXX-XXX) and dates collected, up to four consecutive quarterly samples per single entry point. |
| LAB SAMPLE NOTES |
| Contaminant | RESULT | Std Dev (+/-) | MCL | MDL | Lab Method | Date Analyzed | Lab Sample ID# | Analysis Lab MA Cert# | Analysis Lab Name |
| GROSS BETA (pCi/L) |  |  | * |  |  |  |  |  |  |
| POTASSIUM (mg/l) |  | ------ |  |  |  |  |  |  |  |
| POTASSIUM-40 (pCi/L) |  | ------ |  | The potassium-40 beta particle activity must be calculated by multiplying elemental potassium concentrations (in mg/L) by a factor of 0.82. |
| ADJUSTED GROSS BETA (pCi/L) |  | ------ | 50 | Exceedance of Adjusted Gross Beta (Gross Beta minus Potassium-40) above the 50 pCi/L (screening level) requires additional analysis to identify the major constituents (photon activity) present in the sample. Appropriate doses must be calculated and summed to determine compliance. Doses must also be calculated and combined for measured levels of tritium and strontium to determine compliance. |
| Photon Activity | X |  | Conversion pCi/4mrem Y | Calculate annual total dose equivalent (mrem) = 4 (X / Y) |
| STRONTIUM-90 (pCi/L) |  |  | 8 |  |  |  |  |  |  |
| TRITIUM (pCi/L) |  |  | 20,000 |  |  |  |  |  |  |
| IODINE-131 (pCi/L) |  |  | 3 |  |  |  |  |  |  |
| CESIUM-134 (pCi/L) |  |  | 20,000 |  |  |  |  |  |  |
| STRONTIUM-89 (pCi/L) |  |  | 20 |  |  |  |  |  |  |
| (pCi/L) |  |  |  |  |  |  |  |  |  |
| (pCi/L) |  |  |  |  |  |  |  |  |  |
| *The MCL for gross beta is 4 mrem/year. The sum of all photon activity radionuclides present, calculated as the annual total dose equivalent to the total body or to any organ, shall not exceed 4 mrem/year. Gross Beta testing is optional, unless specifically required by DEP. |

| I certify under penalties of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best extent of my knowledge. | Primary Lab Director Signature: |  |
| --- | --- | --- |
|  | Date: |  |
| In accordance with 310 CMR 22.15(2), if mailing paper reports, TWO copies of this report must be received by your MassDEP Regional Office no later than 10 days after the end of the month in which the results are received or no later than 10 days after the end of the monitoring period, whichever is sooner. Please note: Electronic reporting (eDEP) deadline is the same as above. |
| DEP REVIEW STATUS (Initial & Date) Accepted ___________ Disapproved ___________ | Review Comments |  | WQTS Data Entered |