________________________			  December 12, 2011

In the Matter of					OADR Docket No. 2011-010

Pioneer Valley Energy Center, LLC			Westfield, MA  ________________________

FINAL DECISION ON RECONSIDERATION

I adopt the Recommended Final Decision on Reconsideration.  As recommended, MassDEP shall add, as the parties agreed, a special condition to the Sewer Permit that limits Pioneer Valley Energy Center’s (“PVEC”) discharge to no more than 1 ppb of mercury, as required by 314 CMR 7.05(2)(g)2.f.  In addition, the special condition shall require that monitoring be performed in accordance with the Local Permit and MassDEP’s July 31, 2009 “Guidance for Documenting Compliance with the 1 ppb Limit on Mercury in Industrial Wastewater Discharges to Sewers.”

Any party may appeal this Decision to the Superior Court pursuant  M.G.L. c. 30A, §14(1).  The complaint must be filed in the Court within thirty days of receipt of this Decision.

__________________________

Kenneth Kimmell

Commissioner