## Equipment Template
EQUIPMENT INFORMATION INPUT FOR CAMIS AND REVIT
General Information | [18 empty] | Size | [17 empty] | Type |  | Warranty |  |  |  | V/A/P | [5 empty] | Miscellaneous Specifications
T | T | R&T | R&T | R&T | R&T | T | T generated* | R&T | Not required | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T
Uniformat Code (level 4) | CSI Masterformat | Site | Building | Floor | Room | Room Name | Equipment # | Description (includes Equipment Name with Tag #) | Category (see list provided) | Installation Date | Cost | Useful of Life | Assessment Date | Status (In Service/Out of Service) | Manufacturer | Manufacturer Part # | Model # | Serial # | BTU | CFM | HP | Cubic Feet | Gallons | Tonnage | Inches | GPM | Lbs | Speed | Pressure | Operating Load | Efficiency | Quantity | PSI | KWH Before Shading | KWH After Shading | Capacity | Refrigerant Type | Fuel Type | Date Acquired | Vendor Name | Vendor Warranty Expiration Date | Manufacture Warranty Date | Voltage | Amps | Phase | Watts | FPM | Trip Setting | Motor Cat # | Motor Spec. # | Supply Fan Model # | Heat Source | Output KW | Water/Steam | Auto/Manual | Frame Integrity Deflector | Use | Material | Mounting System Type | Comments
|  | HLY00 | 256HLY0010 | BASEMENT | B3 | MAIN BOILER ROOM | 0000003561 | BOILER # 3 |  | 1995-02-01 | 133976 | 2021 | 2000-08-07 | ACTIVE | CLEAVERBROOKS |  | M45-3500 | 46 29874 | 2800000 | [13 empty] | 15 |  |  |  |  | NATURAL GAS
|  | HLY00 | 256HLY0010 | ROOF |  |  | 0000007107 | AIR HANDLER UNIT # 1 |  | 1996-03-06 | 93481 | 2011 | 2000-08-07 | ACTIVE | TRANE |  | SACA-1253-A | C80D-24712 | [5 empty] | 12.5
|  | HLY00 | 256HLY0010 | OUTSIDE |  |  | 0000007124 | EMERGENCY GENERATOR SET # 1 |  | 1994-03-01 | 330406 | 2011 | 2000-08-07 | ACTIVE | KATOLIGHT |  | D310FPX4 | 2E4026392F-400S4 | [19 empty] | DIESEL FUEL | [14 empty] | 387
|  | HLY00 | 256HLY0010 | ROOF |  |  | 0000010845 | AIR HANDLER UNIT # 2 |  | 2000-06-01 | 400000 | 2020 | 2000-08-07 | ACTIVE | CARRIER CORP |  | 38AE-012-500 | W944949 | [5 empty] | 10 | [13 empty] | ELECTRIC
|  | HLY00 | 256HLY0010 | 2 N | 201 | ELECTRICAL CLOSET | 0000011586 | FIRE ALARM PANEL # 1 |  | 1995-05-12 | 6589 | 2016 | 2000-08-07 | ACTIVE | SIMPLEX |  | 4100-8210 | J80888
Pump/Motor Equipment will only be identified separately if it is not part of a unit |  | HLY00 | 256HLY0010 | BASEMENT | B3 |  | 0000011568 | PUMP/MOTOR # 1 |  | 1996-02-01 | 63462 | 2016 | 2000-08-07 | ACTIVE | US ELECTRIC |  | 56287W | 54898-6565 |  |  | 75 | [21 empty] | 240 | 60 | 3
|  | HLY00 | 256HLY0010 | BASEMENT | B3 |  | 000025486 | CHILLER # 1 |  | 1999-02-03 | 526000 | 2021 | 2000-08-07 | ACTIVE | YAZAKI |  | MWC9932 | 5689-8954 | [5 empty] | 10 | [18 empty] | 208 |  | 3
Notes:
1 | T= Tririga, R=Revit
2 | Can use either Uniformat Level 4 or CSI