## RGPCD UAW
DEP-APPROVED PERFORMANCE STANDARDS FOR MASSACHUSETTS PUBLIC WATER SUPPLIERS as of 5/1/26
2019 through 2025
PWS = Public Water Supplier
RGPCD = Residential Gallons per Capita Day (Massachusetts Standard = 65 gal/capita/day)*
UAW = Unaccounted for Water (Massachusetts Standard = 10%)**
See notes at bottom for further explanation of data.
|  | RGPCD | [5 empty] | UAW %
PWSID | PWS Name | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
1004000 | ADAMS FIRE DISTRICT | 52 | 52 | 53 | 51 | 52 | 51.4 | 34 | 15 | 20 | 14 | 3 | 0
1005000 | AGAWAM WATER DEPARTMENT | 76 | 68 | 76 | 64 | 67 | 62.7 | 6 |  | 3 | 4 | 6 | 9
1008000 | AMHERST DPW WATER DIVISION | 53 | 49 | 32 | 27 | 26 | 29.2 | 13 | 10 | 8 | 6 | 2 | 9
1015000 | ATHOL WATER DEPARTMENT | 42 | 41 | 41 | 43 | 44 | 42.2 | 28 | 13 | 4 | 9 | 4 | 7
1024000 | BELCHERTOWN WATER DISTRICT | 53 | 53 | 55 | 59 | 59 | 57.6 | 7 | 1 | 5 | 7 | 4 | 6
1029000 | BERNARDSTON FIRE & WATER DISTRICT | 48 | 51 | 57 | 89 | 59 |  | 34 | 34 | 37 | 54 | 46 | 35
1058000 | CHESHIRE WATER DEPARTMENT | 87 | 85 | 56 | 55 | 44 | 45.1 | 16 | 14 | 18 | 43 | 46 | 58
1061000 | CHICOPEE WATER DEPARTMENT | 57 | 51 | 59 | 53 | 54 | 53.3 | 18 | 3 | 9 | 10 | 14 | 15
1074000 | DEERFIELD FIRE DISTRICT | 61 | 41 | 45 | 43 | 46 | 47.6 | 13 | 4 | 9 | 9 | 10 | 11
1074001 | SOUTH DEERFIELD WATER DISTRICT | 55 | 50 | 54 | 47 | 48 | 47.9 | 2 | 10 | 7 | 9 | 8 | 18
1085000 | EAST LONGMEADOW DPW WATER DEPARTMENT | 94 | 75 | 83 | 73 | 76 | 75.7 | 9 | 10 | 11 | 10 | 10 | 9
1087000 | EASTHAMPTON WATER DEPARTMENT | 56 | 50 | 50 | 52 | 52 | 57.5 | 15 | 22 | 15 | 18 | 15 | 13
1113000 | GREAT BARRINGTON FIRE DISTRICT | 67 | 68 | 62 | 55 | 55 | 61.4 | 6 | 4 | 5 | 4 | 6 | 8
1113003 | HOUSATONIC WATER WORKS COMPANY | 66 | 65 | 62 | 52 | 61 | 58 | 35 |  | 7 | 7 | 10 | 7
1114000 | GREENFIELD WATER DEPARTMENT | 50 | 45 | 42 | 43 | 40 | 42.7 | 27 | 17 | 25 | 27 | 11 | 12
1117002 | HADLEY WATER DEPARTMENT | 56 | 53 | 55 | 50 | 54 | 53 | 10 | 10 | 14 | 8 | 10 | 6
1127000 | HATFIELD WATER DEPARTMENT | 57 | 58 | 52 | 64 | 55 |  | 7 | 12 | 10 | 20 | 9 | 23
1132000 | HINSDALE WATER SYSTEM | 91 | 92 | 88 | 20 | 27 |  | 34 | 34 | 17 | 56 | 45 | 69
1137000 | HOLYOKE WATER WORKS | 32 | 30 | 30 | 27 | 28 | 28.8 | 26 | 28 | 38 | 30 | 22 | 22
1143000 | HUNTINGTON WATER DEPARTMENT | 50 | 49 |  | 45 | 48 | 42.5 | 14 | 16 | 26 |  | 22 | 0
1150000 | LEE WATER DEPARTMENT | 56 | 46 | 45 | 37 | 38 | 35.4 | 7 | 4 | 10 | 28 | 35 | 46
1152000 | LENOX WATER DEPARTMENT | 51 | 50 | 49 | 46 | 47 |  | 18 | 11 | 12 | 10 | 10 | 8
1159000 | LONGMEADOW WATER DEPARTMENT | 120 | 105 | 99 | 87 | 94 | 91.1 | 9 | 9 | 7 | 14 | 17 | 15
1191000 | MONSON WATER & SEWER DEPARTMENT | 51 | 48 | 49 | 46 | 47 | 48.7 | 9 | 11 | 10 | 14 | 14 | 10
1192000 | TURNERS FALLS FIRE DISTRICT | 51 | 47 | 40 | 37 | 38 | 38.6 | 20 | 15 | 11 | 22 | 21 | 20
1209000 | NORTH ADAMS WATER DEPARTMENT | 112 | 111 | 107 | 104 | 93 |  | 24 | 24 | 23 | 18 | 10 | 23
1214000 | NORTHAMPTON DEPARTMENT OF PUBLIC WORKS | 49 | 48 | 47 | 46 | 45 | 45 | 12 | 9 | 10 | 10 | 9 | 7
1217001 | EAST NORTHFIELD WATER COMPANY | 40 | 36 | 45 | 38 | 33 | 45 | 47 | 29 | 28 | 11 | 21 | 12
1223000 | ORANGE WATER DEPARTMENT | 38 | 36 | 36 | 43 | 53 | 47.9 | 19 | 14 | 12 | 13 | 7 | 4
1227000 | PALMER WATER DEPARTMENT | 43 | 29 | 37 | 23 |  |  | 51 | 46 | 52 | 20 | 33
1227001 | THORNDIKE FIRE & WATER DISTRICT | 47 | 36 | 35 | 36 | 34 | 35.4 | 37 | 9 | 2 | 4 | 4 | 9
1227002 | BONDSVILLE FIRE AND WATER DISTRICT | 34 | 33 | 34 | 31 | 32 | 33.9 | 12 | 5 | 6 | 3 | 5 | 9
1227003 | THREE RIVERS FIRE DISTRICT | 47 | 48 | 44 | 53 | 50 | 47.4 | 24 | 20 | 20 | 24 | 13 | 7
1256000 | RUSSELL WATER DEPARTMENT | 52 | 45 | 43 | 44 | 40 | 38.5 | 30 | 15 | 40 | 52 | 56 | 12
1267000 | SHEFFIELD WATER COMPANY | 59 | 54 | 50 | 50 | 52 | 53.3 | 19 | 15 | 20 | 23 | 22 | 8
1268000 | SHELBURNE FALLS FIRE DISTRICT | 47 | 47 | 44 | 40 | 41 | 41 | 14 | 18 | 19 | 15 | 21 | 19
1275000 | SOUTH HADLEY FD #1 | 61.4 | 53 | 55 | 49 | 51 | 51.3 | 9 | 7 | 10 | 8 | 9 | 13
1275001 | SOUTH HADLEY FIRE DISTRICT 2 | 68.7 | 54 | 54 | 49 | 50 | 49.7 | 8 | 13 | 12 | 10 | 5 | 6
1276000 | SOUTHAMPTON WATER DEPARTMENT | 69.5 | 59 | 61 | 57 | 60 | 56.3 | 8 | 12 | 14 | 11 | 9 | 10
1279000 | SOUTHWICK WATER DEPARTMENT | 89.8 | 80 | 74 | 78 | 69 | 57.7 | 10 | 7 | 1 | 8 | 13 | 22
1281000 | SPRINGFIELD WATER DEPARTMENT | 64.2 | 59 | 59 | 57 | 57 | 56.2 | 14 | 19 | 19 | 20 | 18 | 17
1283003 | STOCKBRIDGE WATER DEPARTMENT | 51.8 | 48 | 47 | 42 | 45 | 44.7 | 9 | 9 | 8 | 5 | 10 | 4
1289000 | SUNDERLAND WATER DISTRICT | 70 | 77 | 75 | 80 | 89 | 82.6 | 5 | 5 | 4 | 5 | 7 | 8
1309000 | WARE WATER DEPARTMENT | 45.5 | 43 | 44 |  | 42 |  | 22 | 20 | 13 | 9 |  | 1
1311000 | WARREN WATER DISTRICT | 43 | 44 | 40 | 49 | 56 |  | 25 | 17 | 34 | 8 | 8 | 29
1325000 | WEST SPRINGFIELD WATER DEPARTMENT | 68.1 | 60 | 61 | 57 | 63 | 54.5 | 10 | 10 | 6 | 6 | 10 | 2
1329000 | WESTFIELD WATER DEPARTMENT | 97.5 | 72 | 79 |  | 71 | 67.9 | 21 | 13 | 18 | 18 |  | 26
1339000 | WILBRAHAM WATER DEPARTMENT | 86.3 | 75 | 84 | 77 | 81 | 79.8 | 14 | 12 | 8 | 7 | 8 | 7
1340000 | WILLIAMSBURG WATER DEPARTMENT | 70.8 | 44 | 45 | 60 | 54 |  | 2 | 0 | 8 | 17 | 9 | 4
1341000 | WILLIAMSTOWN WATER DEPARTMENT | 52.9 | 51 | 50 | 48 | 47 | 49.5 | 16 | 11 | 22 | 9 | 8 | 11
2002000 | ACTON WATER DISTRICT | 52.5 | 52 | 52 | 46 | 42 | 47.3 | 5 | 4 | 4 | 7 | 12 | 11
2011000 | ASHBURNHAM WATER DEPARTMENT | 59.2 | 38 | 37 | 31 | 31 | 32.9 | 37 | 35 | 24 | 25 | 35 | 34
2017000 | AUBURN WATER DISTRICT | 63.5 | 55 | 56 | 47 | 49 | 49.4 | 9 | 9 | 15 | 21 | 10 | 10
2017001 | ELM HILL WATER DISTRICT | 49.7 | 50 | 48 | 44 | 43 |  | 11 | 12 | 16 | 18 | 31 | 28
2019000 | AYER DPW WATER DIVISION | 48.2 | 50 | 45 | 45 | 46 | 49.4 | 6 | 4 | 5 | 7 | 0 | 2
2019001 | DEVENS COMMERCE CENTER | 56.1 | 49 | 52 | 48 | 48 | 50.4 | 9 | 10 | 13 | 4 | 6 | 11
2021000 | BARRE WATER DEPARTMENT | 52.3 | 48 | 52 | 54 | 42 | 53.7 | 14 | 36 | 38 | 45 | 33 | 45
2025000 | BELLINGHAM DPW WATER & SEWER DIVISION | 59.7 | 53 | 51 | 47 | 52 | 52.9 | 13 | 12 | 13 | 19 | 11 | 9
2032000 | BLACKSTONE WATER DEPARTMENT | 46.9 | 40 | 29 | 39 | 40 | 36.8 | 8 | 10 | 10 | 34 | 4 | 2
2039000 | BOYLSTON WATER DISTRICT | 115.3 | 84 | 65 | 89 | 82 | 84.9 | 15 | 10 | 15 | 12 | 14 | 12
2045000 | BROOKFIELD WATER DEPARTMENT | 51.7 | 47 | 46 | 45 | 52 |  | 2 | 6 | 7 | 4 | 3 | 3
2064000 | CLINTON WATER DEPARTMENT | 67.7 | 54 | 56 | 54 | 55 |  | 17 | 11 | 10 | 13 | 27 | 27
2077000 | DOUGLAS WATER DEPARTMENT | 42.1 | 40 | 38 | 37 | 38 | 37.4 | 12 | 9 | 6 | 10 | 9 | 10
2080000 | DUDLEY WATER DEPARTMENT | 67.9 | 57 | 55 | 57 | 53 | 52.2 | 30 | 14 | 27 | 16 | 11 | 19
2084000 | EAST BROOKFIELD WATER DEPARTMENT |  |  | 45 | 37 | 37 | 37.1 |  |  |  | 17 | 7 | 28
2097000 | FITCHBURG WATER DEPARTMENT | 52.9 | 46 | 44 | 41 | 40 | 46.3 | 27 | 24 | 26 | 27 | 27 | 24
2101000 | FRANKLIN DPW WATER DIVISION | 47.3 | 46 | 45 | 44 | 45 | 44.7 | 6 | 4 | 6 | 5 | 6 | 6
2103000 | GARDNER WATER DEPARTMENT | 45.9 | 42 | 42 | 41 | 40 | 44.9 | 16 | 9 | 9 | 7 | 5 | 7
2110000 | GRAFTON WATER DISTRICT | 60.1 | 53 | 56 | 51 | 33 | 30.3 | 32 | 21 | 28 | 22 | 33 | 42
2110001 | SOUTH GRAFTON WATER DISTRICT | 53.2 | 49 | 49 | 47 | 48 | 47.5 | 14 | 15 | 23 | 24 | 22 | 20
2115000 | GROTON WATER DEPARTMENT | 54 | 48 | 43 | 49 | 50 | 52.8 | 8 | 9 | 8 | 9 | 12 | 9
2115001 | WEST GROTON WATER DISTRICT | 67.1 | 60 | 63 | 64 | 58 | 63.3 | 9 | 6 | 6 | 5 | 3 | 2
2134000 | HOLDEN WATER DEPARTMENT | 61 | 56 | 55 | 59 | 60 | 63.1 | 16 | 17 | 14 | 15 | 15 | 5
2136000 | HOLLISTON WATER DEPARTMENT | 45.4 | 43 | 43 | 41 | 42 |  | 29 | 15 | 23 | 25 | 28 | 26
2138000 | HOPEDALE WATER DEPARTMENT | 42.2 | 40 | 44 | 41 | 42 | 40.4 | 9 | 8 | 4 | 14 | 30 | 12
2139000 | HOPKINTON WATER DEPARTMENT | 67 | 64 | 78 | 57 | 52 | 50.6 | 23 | 25 | 27 | 3 | 16 | 18
2141000 | HUDSON WATER DEPARTMENT | 52.3 | 47 | 47 | 46 | 46 |  | 8 | 13 | 15 | 18 | 16 | 19
2147000 | LANCASTER WATER DEPARTMENT | 46.6 | 42 | 52 |  | 50 | 53.1 | 9 | 7 | 8 | 12 |  | 6
2151000 | LEICESTER WATER SUPPLY DISTRICT | 47.3 | 47 | 47 | 47 | 45 | 45.1 | 10 | 4 | 3 | 3 | 4 | 2
2151001 | CHERRY VALLEY & ROCHDALE WATER DISTRICT | 35.2 | 33 | 33 | 33 | 33 | 33.6 | 18 | 10 | 9 | 10 | 8 | 10
2153000 | LEOMINSTER DPW WATER DIVISION | 47.4 | 38 | 40 | 37 | 37 | 38 | 6 | 5 | 1 | 3 | 1 | 5
2158000 | LITTLETON WATER DEPARTMENT | 56.4 | 50 | 54 | 47 | 51 | 53.7 | 12 | 11 | 13 | 16 | 12 | 23
2162000 | LUNENBURG WATER DISTRICT | 62.2 | 52 | 55 | 49 | 47 | 47.6 | 8 | 5 | 8 | 8 | 12 | 9
2170000 | MARLBOROUGH DPW WATER DIVISION | 43.5 | 41 | 41 | 36 | 40 | 39.1 | 16 | 12 | 11 | 11 | 16 | 7
2174000 | MAYNARD DEPARTMENT OF PUBLIC WORKS | 53.7 | 50 | 44 | 45 | 45 | 45.2 | 20 | 17 | 13 | 5 | 4 | 10
2175000 | MEDFIELD WATER DEPARTMENT | 66.2 | 65 | 57 | 61 | 63 |  | 10 | 20 | 16 | 24 | 17 | 23
2177000 | MEDWAY WATER DEPARTMENT | 52 | 49 | 57 | 64 | 41 | 42.1 | 10 | 10 | 10 | 14 | 9 | 26
2185000 | MILFORD WATER COMPANY | 50.4 | 42 | 45 | 43 | 45 | 43.8 | 16 | 14 | 13 | 15 | 16 | 16
2186000 | AQUARION WATER COMPANY: MILLBURY | 55.5 | 52 | 55 | 53 | 43 | 45 | 10 | 13 | 23 | 6 | 12 | 14
2187000 | MILLIS WATER DEPARTMENT | 55.2 | 51 | 50 | 50 | 54 | 49.1 | 12 | 9 | 7 | 13 | 5 | 7
2208000 | NORFOLK WATER DEPARTMENT | 50.2 | 48 | 46 | 45 | 45 | 42.1 | 2 | 6 | 6 | 7 | 9 | 15
2212000 | NORTH BROOKFIELD WATER DEPARTMENT | 41.1 | 38 | 37 | 36 | 36 | 36.2 | 16 | 17 | 18 | 12 | 27 | 34
2215000 | NORTHBOROUGH WATER & SEWER DEPARTMENT | 56.4 | 50 |  | 40 | 42 | 41.7 | 12 | 22 | 14 | 10 | 11 | 9
2216000 | WHITINSVILLE WATER COMPANY | 59.1 | 59 | 65 | 64 | 49 | 58.8 | 9 | 10 | 8 | 9 | 14 | 12
2216006 | NORTHBRIGE WATER DIVISION | 48.5 | 48 | 52 | 50 | 48.1 | 49.2 | 14 | 13 | 12 | 17 | 10 | 15
2226000 | AQUARION WATER COMPANY: OXFORD | 49.6 | 47 | 51 | 47.7 | 42.1 | 42.9 | 10 | 17 | 19 | 4 | 14 | 21
2228000 | PAXTON WATER DEPARTMENT | 53.9 | 48 | 47 | 42.5 | 44.5 | 44.9 | 20 | 19 | 20 | 23 | 30 | 25
2232000 | PEPPERELL WATER DEPARTMENT | 66.2 | 57 | 57 | 51.9 | 57.1 | 58.9 | 8 | 16 | 17 | 16 | 17 | 14
2257000 | RUTLAND WATER DEPARTMENT |  | 40 | 37 | 35 | 38.9 | 37.5 | 14 |  | 25 | 30 | 31 | 27
2270000 | SHIRLEY WATER DISTRICT | 65.3 | 54 | 57 | 53.2 | 52 |  | 15 | 21 | 33 | 33 | 34 | 23
2271000 | SHREWSBURY WATER & SEWER DEPARTMENT | 57.1 | 52 | 51 | 46.3 | 45.4 | 51.7 | 23 | 28 | 26 | 32 | 37 | 38
2277000 | SOUTHBOROUGH DPW WATER DIVISION | 73 | 59 | 66 | 54.1 | 59.9 | 61.2 | 17 | 13 | 14 | 19 | 37 | 19
2278000 | SOUTHBRIDGE WATER DEPARTMENT | 51.1 | 47 | 45 | 44.7 | 43.9 | 46.8 | 5 | 7 | 8 | 8 | 4 | 6
2280000 | SPENCER WATER DEPARTMENT | 40.3 | 40 | 39 | 37.2 | 37 | 37.6 | 16 | 12 | 8 | 6 | 10 | 14
2282000 | STERLING WATER WORKS | 61.3 | 54 | 55 | 57.4 | 56.4 | 54.5 | 2 | 1 | 25 | 29 | 10 | 25
2287000 | STURBRIGE WATER DEPARTMENT | 57.8 | 46 | 46 | 45.3 | 46.3 | 45.3 | 2 | 3 | 4 | 10 | 7 | 2
2290014 | WILKINSONVILLE WATER DISTRICT | 58.4 | 54 | 57 | 57 | 54.1 | 52.9 | 2 | 7 | 1 | 11 | 8 | 10
2294000 | TEMPLETON WATER DEPARTMENT | 44.9 | 44 | 44 | 41 | 40.6 | 41.9 | 6 | 2 | 7 | 3 | 16 | 6
2299000 | TOWNSEND WATER DEPARTMENT | 56.8 | 54 |  | 41 | 38.4 |  | 27 | 20 | 13 | 4 | 5 | 3
2303000 | UPTON DEPARTMENT OF PUBLIC WORKS | 60.5 | 53 | 56 | 52.4 | 53.4 | 56.1 | 16 | 10 | 18 | 12 | 29 | 21
2304000 | UXBRIDGE WATER DEPARTMENT | 51 | 43 | 41 | 43.5 | 43.6 | 43.9 | 16 | 13 | 13 | 19 | 16 | 16
2316000 | WEBSTER DPW | 41.8 | 38 | 39 | 38.3 | 37.7 | 38.3 | 18 | 27 | 27 | 27 | 28 | 26
2321000 | WEST BOYLSTON WATER DISTRICT | 56.1 | 54 |  | 52 | 52.3 | 55.8 | 10 | 6 | 6 | 13 | 12 | 14
2323000 | WEST BROOKFIELD WATER DEPARTMENT | 45.5 | 47 | 50 | 35.8 | 35.2 | 34.7 | 7 | 1 | 2 | 1 | 7 | 9
2328000 | WESTBOROUGH WATER DEPARTMENT | 59 | 48 | 53 | 49.9 | 46.6 | 48 | 23 | 29 | 23 | 20 | 26 | 38
2332000 | WESTMINISTER WATER DEPARTMENT | 46.9 | 41 | 43 | 39.4 | 44.2 | 43.2 | 39 | 43 | 39 | 32 | 24 | 7
2343000 | WINCHENDON WATER DEPARTMENT | 60.1 | 55 | 62 | 64 | 54 | 52.2 | 18 | 32 | 42 | 44 | 32 | 58
2348000 | WORCESTER DPW | 51.9 | 44 | 44 | 42.8 | 44.4 | 47.8 | 13 | 9 | 20 | 24 | 24 | 23
3007000 | AMESBURY WATER DEPARTMENT | 54 | 52 | 48 | 45.6 | 41.8 | 47.2 | 9 | 2 | 7 | 10 | 12 | 11
3009000 | ANDOVER WATER DEPARTMENT | 94.6 | 82 | 79 | 63 | 68.4 | 64.2 | 15 | 14 | 12 | 12 | 13 | 12
3010000 | ARLINGTON WATER DEPARTMENT | 55.7 | 52 | 50 | 42.6 | 47.6 | 46.5 | 24 | 14 | 15 | 21 | 17 | 14
3014000 | ASHLAND WATER & SEWER DEPARTMENT | 58.1 | 51 | 52 | 47.6 | 48.7 | 51.9 | 8 | 7 | 16 | 16 | 12 | 20
3023000 | BEDFORD WATER DEPARTMENT | 67.2 | 59 | 64 | 54.5 | 54.3 | 56.4 | 16 | 4 | 3 | 12 | 19 | 16
3026000 | BELMONT WATER DEPARTMENT | 69.1 | 61 | 61 | 56.8 | 56.3 | 54.1 | 9 | 14 | 7 | 10 | 11 | 11
3030000 | BEVERLY WATER DEPARTMENT | 53.2 | 44 | 47 | 41.3 | 44.4 | 43.8 | 14 | 13 | 19 | 12 | 21 | 28
3031000 | BILLERICA WATER DEPARTMENT | 58.7 | 68 | 65 | 58.9 | 64.5 | 59.5 | 20 | 28 | 10 | 18 | 6 | 8
3035000 | BOSTON WATER & SEWER COMMISSION | 41.9 | 37 | 37 | 37 | 37.4 | 37.6 | 8 | 8 | 8 | 9 | 9 | 9
3046000 | BROOKLINE WATER & SEWER DIV. | 63.3 | 58 | 61 | 54.9 | 54.2 | 55 | 7 | 12 | 9 | 12 | 11 | 15
3048000 | BURLINGTON WATER DEPARTMENT | 46.1 | 46 | 43 | 43.3 | 49.9 | 45.9 | 9 | 8 | 9 | 11 | 6 | 4
3049000 | CAMBRIDGE WATER DEPARTMENT | 45 | 39 | 44 | 39.8 | 40.9 | 40.3 | 12 | 15 | 18 | 10 | 11 | 12
3056000 | CHELMSFORD WATER DISTRICT | 55.4 | 54 | 54 | 48.5 | 51.5 | 52.7 | 8 | 8 | 14 | 5 | 9 | 9
3056001 | EAST CHELMSFORD WATER DISTRICT | 44.2 | 48 | 49 | 36 | 31 | 36.2 | 4 | 18 | 13 | 14 | 24 | 18
3056002 | NORTH CHELMSFORD WATER DISTRICT | 51.8 | 60 | 51 | 47.8 | 49.3 | 50 | 8 | 10 | 14 | 11 | 5 | 7
3057000 | CHELSEA WATER DEPARTMENT | 44.1 | 45 | 48 | 45 | 45.9 | 44.5 | 15 | 15 | 3 | 8 | 7 | 5
3067000 | CONCORD WATER DEPARTMENT | 75 | 62 | 63 | 54.5 | 57 | 54.6 | 12 | 10 | 12 | 7 | 13 | 9
3071000 | DANVERS WATER DEPARTMENT | 56.4 | 49 | 50 | 49.5 | 48.5 | 48.8 | 10 | 10 | 9 | 10 | 7 | 2
3073000 | DEDHAM WESTWOOD WATER DISTRICT | 64.9 | 61 | 62 | 54.3 | 56.8 | 57.4 | 20 | 24 | 22 | 15 | 19 | 17
3078006 | DOVER WATER COMPANY INC | 73.2 | 66 | 64 | 62.1 | 65.2 | 66.5 | 12 | 12 | 18 | 15 | 3 | 18
3079000 | DRACUT WATER SUPPLY DISTRICT | 60.7 | 57 | 58 | 52.8 | 55.3 | 56.5 | 15 | 15 | 17 | 23 | 10 | 16
3079001 | KENWOOD WATER DISTRICT | 46 | 51 |  | 37 | 33 | 31.6 | 12 | 7 | 6 | 5 | 7 | 6
3092000 | ESSEX DPW WATER DIVISION | 60.7 | 56 | 53 | 31 | 34 | 33.6 | 18 | 11 | 14 | 17 | 16 | 17
3093000 | EVERETT WATER DEPARTMENT | 44.8 | 43 | 38 | 46.8 | 39.5 | 40 | 14 | 16 | 13 | 15 | 9 | 17
3100000 | FRAMINGHAM WATER DEPARTMENT | 55.8 | 49 | 50 | 46.7 | 48 | 49 | 12 | 9 | 10 | 9 | 9 | 10
3105000 | GEORGETOWN WATER DEPARTMENT | 60.3 | 52 | 50 | 45.9 | 49.2 | 49 | 3 | 9 | 9 | 14 | 19 | 4
3107000 | GLOUCESTER DPW - WATER SUPPLY | 54.7 | 47 | 53 | 49.9 | 49.7 |  | 28 | 13 | 21 | 30 | 27 | 31
3116000 | GROVELAND WATER DEPARTMENT | 50.6 | 45 | 46 | 42.3 | 40.6 | 46 | 1 | 4 | 5 | 6 | 7 | 7
3119000 | HAMILTON WATER DEPARTMENT | 49.6 | 47 | 49 | 46.5 | 47.2 | 48 | 9 | 11 | 11 | 9 | 10 | 14
3128000 | HAVERHILL DPW | 55.4 | 53 | 55 | 51.9 | 51.7 | 51 | 8 | 9 | 10 | 12 |  | 4
3144000 | IPSWICH WATER DEPARTMENT | 45.6 | 41 | 40 | 41.5 | 42.7 | 42 | 16 | 14 | 13 | 12 | 10 | 13
3149000 | LAWRENCE WATER WORKS | 46.6 | 45 | 50 | 49.1 | 43.3 |  | 5 | 1 | 3 | 4 | 3 | 6
3155000 | LEXINGTON WATER DEPARTMENT |  | 77 | 77 |  | 65 | 62 | 12 |  | 13 | 11 |  | 11
3157000 | LINCOLN WATER DEPARTMENT | 77.2 | 70 | 73 | 59.5 | 69.8 | 61 | 12 | 8 | 26 | 20 | 16 | 26
3160000 | LOWELL WATER TREATMENT FACILITY | 63.4 | 54 |  | 56.1 | 71 |  | 15 | 10 | 6 |  | 26 | 7
3163000 | LYNN WATER & SEWER COMMISSION | 56.2 | 47 | 48 | 47.6 | 48.7 | 48 | 35 | 31 | 33 | 38 | 33 | 29
3164000 | LYNNFIELD CENTER WATER DISTRICT | 69 | 65 | 60 | 55.7 | 54 | 54 | 8 | 6 | 9 | 17 | 21 | 17
3164001 | LYNNFIELD WATER DIST. | 71.9 | 60 | 68 | 57.2 | 60.4 | 61 | 13 | 11 | 30 | 18 | 16 | 15
3165000 | MALDEN DPW WATER DEPARTMENT | 52.7 |  | 46 | 48.4 | 49.3 | 53 | 26 | 27 |  | 29 | 21 | 22
3166000 | MANCHESTER WATER DEPARTMENT | 76.8 | 73 | 76 | 68.7 | 74.3 | 80 | 24 | 25 | 31 | 9 | 16 | 21
3168000 | MARBLEHEAD WATER DEPARTMENT | 79.3 | 69 | 72 | 63.8 | 65.8 | 67 | 13 | 10 | 10 | 10 | 10 | 12
3176000 | MEDFORD WATER DEPARTMENT |  | 44 | 44 | 42.7 | 41.8 | 44 | 22 |  | 27 | 27 | 24 | 26
3178000 | MELROSE WATER DEPARTMENT | 55.2 | 44 | 49 | 46.3 | 47 | 48 | 18 | 15 | 20 | 21 | 26 | 22
3180000 | MERRIMAC WATER DEPARTMENT | 44 | 43 | 42 | 40.1 | 35.6 | 42 | 14 | 14 | 1 | 4 | 9 | 32
3181000 | METHUEN WATER DEPARTMENT | 64.1 | 56 | 59 | 53.6 | 57.9 |  | 7 | 12 | 10 | 16 | 16 | 10
3184000 | MIDDLETON WATER DEPARTMENT | 55.7 | 49 | 52 | 50.8 | 50.7 | 53
3189000 | MILTON WATER DEPARTMENT | 61.6 | 59 | 59 | 52.4 | 53.3 |  | 26 | 23 | 21 | 24 | 22 | 26
3196000 | NAHANT WATER DEPARTMENT | 67.7 | 56 | 67 | 72.1 | 66.4 | 69 | 20 | 24 | 36 | 33 | 22 | 19
3198000 | NATICK DEPARTMENT OF PUBLIC WORKS | 61.5 | 49 | 54 | 48 | 55.3 | 58 | 12 | 9 | 13 | 17 | 14 | 10
3199000 | NEEDHAM DEPARTMENT OF PUBLIC WORKS | 74.9 | 67 | 81 | 65 | 71.5 | 75 | 16 | 16 | 16 | 8 | 18 | 15
3205001 | BYFIELD WATER DISTRICT | 57.8 | 51 | 47 | 54.2 | 58.1 | 60 | 9 | 11 | 18 | 19 | 18 | 7
3206000 | NEWBURYPORT WATER WORKS | 49.6 |  | 58 | 44 | 49.7 | 50 | 1 | 14 |  | 7 | 15 | 11
3207000 | NEWTON WATER DEPARTMENT | 60.6 | 49 | 50 | 62.9 | 69.6 | 75 | 28 | 25 | 25 | 24 | 24 | 17
3210000 | NORTH ANDOVER WATER DEPARTMENT | 75 | 66 | 78 | 64.6 | 70.3 | 68 | 11 | 11 | 9 | 15 | 18 | 16
3213000 | NORTH READING WATER DEPARTMENT | 71.4 | 64 | 65 | 52.4 | 66.9 | 53.9 | 17 | 16 | 16 | 17 | 37 | 24
3229000 | PEABODY WATER DEPARTMENT | 44.3 | 57 |  | 48.7 | 60 | 52.8 | 4 | 39 | 16 | 25 | 33 | 27
3243000 | QUINCY WATER DEPARTMENT | 38.6 | 36 | 35 | 33.7 | 32.3 | 32.4 | 19 | 21 | 17 | 18 | 22 | 22
3246000 | READING DPW | 48.2 | 45 | 48 | 43.4 | 45.5 | 48 | 2 | 3 | 2 | 3 | 2 | 3
3248000 | REVERE WATER DEPARTMENT | 43.7 | 42 | 36 | 33.7 | 35.2 | 36 | 13 | 7 | 7 | 6 | 9 | 5
3252000 | ROCKPORT WATER TREATMENT PLANT | 49.1 | 59 | 62 | 50.1 | 47.6 | 46 | 20 | 26 | 14 | 12 | 28 | 37
3254000 | ROWLEY WATER DEPARTMENT | 44.9 | 41 | 42 | 41.7 | 43.5 | 45 | 21 | 17 | 20 | 19 | 27 | 22
3258000 | SALEM DPW WATER DEPARTMENT | 61.5 | 46 | 47 | 45.8 | 50 | 48 | 16 | 17 | 32 | 38 | 35 | 31
3259000 | SALISBURY WATER COMPANY | 58.9 | 51 | 58 | 50.7 | 53 |  | 19 | 16 | 18 | 17 | 4 | 24
3262000 | SAUGUS WATER DEPARTMENT | 69.3 | 69 |  | 59.7 | 58.3 | 62 | 14 | 24 | 12 | 23 | 20 | 20
3274000 | SOMERVILLE WATER DEPARTMENT | 33.7 | 38 | 31 | 41 | 42.8 | 48 | 7 | 13 | 5 | 16 | 19 | 16
3284000 | STONEHAM WATER DEPARTMENT | 63.3 | 58 | 53 | 52.6 | 54.3 | 53 | 13 | 9 | 20 | 23 | 20 | 19
3288000 | SUDBURY WATER DISTRICT | 65.1 | 58 | 62 | 52.3 | 55.2 | 57 | 8 | 9 | 16 | 14 | 14 | 6
3291000 | SWAMPSCOTT WATER DEPARTMENT | 70.7 | 65 | 65 | 59.3 | 60 |  | 25 | 21 | 21 | 30 | 26 | 22
3295000 | TEWKSBURY DPW WATER DEPARTMENT | 65 | 44 | 60 | 47.6 | 45 | 51 | 17 | 2 | 22 | 0 | 14 | 21
3298000 | TOPSFIELD WATER DEPARTMENT | 56 | 50 | 50 | 47.6 | 48 |  | 22 | 16 | 22 | 28 | 30 | 28
3301000 | TYNGSBORO WATER DISTRICT | 69 | 58 | 64 | 51.8 | 55 | 58 | 4 | 5 | 11 | 10 | 12 | 7
3305000 | WAKEFIELD WATER DEPARTMENT | 61 |  | 58 | 55.3 | 53 | 62 |  | 16 | 10 | 16 | 19 | 19
3308000 | WALTHAM WATER DEPARTMENT | 56 | 49 | 51 | 47.6 | 49 | 49 | 21 | 22 | 23 | 31 | 22 | 24
3314000 | WATERTOWN WATER DEPARTMENT | 53 | 53 | 53 | 50.3 | 51 | 52 | 13 | 15 | 12 | 12 | 14 | 21
3315000 | WAYLAND WATER DEPARTMENT | 79 | 80 | 68 | 57.8 | 55 | 44 | 9 | 11 | 12 | 11 | 37 | 2
3317000 | WELLESLEY WATER DEPARTMENT | 74 | 61 | 68 | 59.4 | 65 | 67 | 15 | 15 | 13 | 9 | 16 | 12
3320000 | WENHAM WATER DEPARTMENT | 65 | 54 | 55 | 59.7 | 65 | 55.7 | 16 | 24 | 11 | 13 | 10 | 15
3324000 | WEST NEWBURY WATER DEPARTMENT | 48.6 | 49 | 46 | 40.8 | 42 | 41.9 | 9 | 12 | 6 | 10 | 11 | 9
3330000 | WESTFORD WATER DEPARTMENT | 70.4 | 64 | 58 | 54 | 59 | 58.7 | 8 | 8 | 5 | 8 | 9 | 13
3333000 | WESTON WATER DEPARTMENT | 139.4 | 97 | 115 | 100.5 | 100 | 107.3 | 16 | 2 | 16 | 6 | 3 | 11
3342000 | WILMINGTON WATER & SEWER DEPARTMENT | 63.1 | 54 | 56 | 50 | 56 | 65.5 | 1 | 2 | 2 | 9 | 10 | 13
3344000 | WINCHESTER WATER DEPARTMENT | 77.9 | 67 | 73 | 61.7 | 65 | 69.9 | 10 | 8 | 9 | 10 | 13 | 23
3346000 | WINTHROP WATER DIVISION, | 53.4 | 45 | 45 |  | 45 | 50.3 | 27 | 28 | 21 | 20 |  | 17
3347000 | WOBURN DEPARTMENT PUBLIC WORKS | 83.5 | 81 |  | 87.9 | 97 | 89.4 | 19 | 22 | 15 | 7 | 13 | 8
4001000 | ABINGTON & ROCKLAND JT WATER WORKS | 56.8 | 61 | 57 | 50.8 | 50 | 51.2 | 14 | 14 | 11 | 14 | 11 | 8
4003000 | ACUSHNET WATER DEPARTMENT | 50.1 | 43 | 47 | 41.6 | 42 | 40.5 | 10 | 8 | 12 | 10 | 7 | 9
4016000 | ATTLEBORO WATER DEPARTMENT | 57 | 51 | 50 | 49 | 48 | 49.5 | 17 | 9 | 6 | 9 | 10 | 21
4018000 | AVON WATER DEPARTMENT | 56 | 49 | 50 | 47 | 61 | 66.5 | 18 | 18 | 21 | 13 | 14 | 4
4020000 | BARNSTABLE FIRE DISTRICT | [6 empty] | 11 | 1 | 5 | 8 | 4 | 4
4020002 | CENTERVILLE OSTERVILLE WATER DEPARTMENT | [6 empty] | 4 | 3 | 3 | 3 | 5 | 1
4020003 | COTUIT FIRE DISTRICT WATER DEPARTMENT | [6 empty] | 7 | 5 | 9 | 9 | 2 | 3
4020004 | HYANNIS WATER DEPARTMENT | [6 empty] | 6 | 8 | 8 | 10 | 9 | 8
4036000 | BOURNE WATER DISTRICT | [6 empty] | 10 | 8 | 8 | 8 | 9 | 9
4036001 | BUZZARDS BAY WATER DISTRICT | RGPCD 2025: 47 | 17 | 10 | 10 | 10 | 11 | 16
4036002 | NORTH SAGAMORE WATER DISTRICT | 84 | 72 | 75 | 73.8 | 72 | 75.8 | 6 | 6 | 11 | 9 | 13 | 12
4040000 | BRAINTREE WATER & SEWER DEPARTMENT | 49 | 44 | 52 | 53.6 | 48 | 47 | 17 | 22 | 26 | 20 | 18 | 15
4041000 | BREWSTER WATER DEPARTMENT | [6 empty] | 9 | 9 | 5 | 12 | 6 | 7
4042000 | BRIDGEWATER WATER DEPARTMENT | 48.9 | 45 | 46 | 44.3 | 41 | 42.1 | 2 | 14 | 16 | 7 | 11 | 7
4044000 | BROCKTON DPW WATER DIVISION | 26.3 | 37 |  | 24.4 | 52 | 71.9 | 14 | 23 | 32 |  | 50 | 29
4050000 | CANTON WATER DEPARTMENT | 69.6 | 61 | 62 | 55.9 | 60 | 59.6 | 18 | 17 | 23 | 28 | 30 | 28
4055000 | CHATHAM WATER DEPARTMENT | [6 empty] | 9 | 5 | 9 | 6 | 9 | 6
4065000 | COHASSET WATER DEPARTMENT | 78.2 | 73 | 82 | 74.7 | 55 | 68.5 | 10 | 12 | 10 | 5 | 13 | 14
4072000 | DARTMOUTH WATER DEPARTMENT | 58.3 | 56 | 56 | 55.3 | 58 | 58 | 8 | 11 | 2 | 18 | 6 | 13
4075000 | DENNIS WATER DISTRICT | [6 empty] | 4 | 8 | 8 | 8 | 15 | 9
4076000 | DIGHTON WATER DISTRICT | 59.1 | 57 | 57 | 55 | 54 | 60.1 | 22 | 24 | 13 | 6 | 8 | 8
4082000 | DUXBURY WATER DEPARTMENT | 83.2 | 78 | 85 | 82.4 | 82 | 80.5 | 8 | 16 | 10 | 7 | 7 | 4
4083000 | EAST BRGEWATER WATER DEPARTMENT | 49 | 48 | 50 | 47.1 | 46 | 47.3 | 8 | 7 | 2 | 5 | 8 | 10
4086095 | EASTHAM WATER DEPARTMENT | [11 empty] | 16
4088000 | EASTON WATER DEPARTMENT | 71.7 | 61 | 61 | 57.9 | 61 | 59.2 | 14 | 7 | 6 | 9 | 7 | 7
4089000 | EDGARTOWN WATER DEPARTMENT | [6 empty] | 5 | 4 | 3 | 5 | 4 | 8
4094000 | FAIRHAVEN WATER DEPARTMENT | 48.5 | 54 | 46 | 52.2 | 47 | 51.4 | 12 | 10 | 2 | 9 | 5 | 10
4095000 | FALL RIVER WATER DEPARTMENT | 47.3 | 44 | 44 | 48.2 | 45 | 45.1 | 32 | 32 | 32 | 35 | 17 | 34
4096000 | FALMOUTH WATER DEPARTMENT | [6 empty] | 14 | 19 | 8 | 15 | 8 | 12
4099000 | FOXBOROUGH WATER DEPARTMENT | 58.6 | 56 | 52 | 49.1 | 48 | 51.8 | 38 | 32 | 34 | 15 | 2 | 1
4102035 | FREETOWN WATER COMMISSION | 57.5 | 47 | 52 | 48.8 | 53 | 49.8 | 35 | 40 | 15 | 3 | 4 | 1
4118000 | HALIFAX WATER DEPARTMENT | 54 | 50 | 50 | 47.9 | 51 | 50.3 | 9 | 11 | 13 | 8 | 7 | 0
4122000 | HANOVER WATER DEPARTMENT | 57.1 | 52 | 53 | 52.9 | 51 | 51.7 | 9 | 5 | 12 | 10 | 4 | 10
4123000 | HANSON WATER DEPARTMENT | 58.7 | 68 | 61 | 58.7 | 58 | 65.7 | 10 | 10 | 1 | 1 | 3 | 3
4126000 | HARWICH WATER DEPARTMENT | [6 empty] | 6 | 9 | 6 | 6 | 6 | 4
4131000 | AQUARION WATER COMPANY: HINGHAM | 66.7 | 57 | 48 | 44.9 | 47 | 53.9 | 21 | 24 | 20 | 26 | 19 | 18
4133000 | HOLBROOK PUBLIC WORKS DEPARTMENT | 46 | 42 | 42 | 38.9 | 39 | 40.5 |  | 1 | 7 | 0 | 1 | 1
4145000 | KINGSTON WATER DEPARTMENT | 70.9 | 71 | 70 | 65 | 59 | 62.7 | 10 | 12 | 10 | 19 | 22 | 29
4167000 | MANSFIELD WATER DEPARTMENT | 59.7 | 55 | 56 | 52.5 | 54 | 59.6 | 10 | 10 | 23 | 6 | 9 | 17
4169000 | MARION WATER DEPARTMENT | 60.4 | 58 | 54 | 51.1 | 58 | 57.8 | 8 | 8 | 8 | 11 | 10 | 9
4171000 | MARSHFIELD WATER & SEWER DEPARTMENT | 61.4 | 54 | 57 | 52.5 | 50 | 60.1 | 18 | 13 | 13 | 21 | 20 | 17
4172039 | MASHPEE WATER DISTRICT | [6 empty] | 8 | 9 | 8 | 7 | 3 | 6
4173000 | MATTAPOISETT WATER & SEWER DEPARTMENT | 62.3 | 51 | 48 | 46.2 | 46 | 49.1 | 6 | 5 | 4 | 4 | 4 | 6
4182000 | MIDDDLEBOROUGH WATER SUPPLY | 60.7 | 40 | 41 | 39.3 | 43 | 46.7 | 16 | 11 | 0 | 3 | 3 | 7
4197000 | WANNACOMET WATER COMPANY | [6 empty] | 7 | 11 | 7 | 9 | 9 | 7
4197001 | SIASCONSET WATER DEPARTMENT | [6 empty] | 9 | 12 | 8 | 6 | 8 | 13
4201000 | NEW BEDFORD WATER DEPARTMENT | 51.2 | 47 | 46 | 46.6 | 45 | 44.2 | 7 | 7 | 8 | 6 | 10 | 7
4211000 | NORTH ATTLEBORO WATER DEPARTMENT | 68.1 | 57 | 59 | 52.5 | 58 | 51.1 | 10 | 5 | 9 | 10 | 10 | 10
4218000 | NORTON WATER DEPARTMENT | 49.8 | 42 | 36 | 31.8 | 31 | 32.1 | 13 | 3 | 6 | 14 | 11 | 9
4219000 | NORWELL WATER DEPARTMENT | 60.8 | 52 | 62 | 51.1 | 53 | 57.9 | 5 | 9 | 16 | 16 | 19 | 10
4220000 | NORWOOD WATER DEPARTMENT | 70.6 | 55 | 55 | 50.1 | 50 | 55.2 | 13 | 10 | 10 | 17 | 10 | 11
4221000 | OAK BLUFFS WATER DISTRICT | [6 empty] | 14 | 9 | 6 | 6 | 10 | 7
4224000 | ORLEANS WATER DEPARTMENT | [6 empty] | 14 | 7 | 9 | 10 | 11 | 12
4231000 | PEMBROKE WATER DEPARTMENT | 48.9 | 49 | 50 | 46.1 | 49 | 48.2 |  |  | 11 | 10 | 11 | 8
4238000 | PLAINVILLE WATER DEPARTMENT | 48.3 | 43 | 44 | 44.8 | 38 | 49.7 | 17 | 20 | 9 | 12 | 9 | 12
4239000 | PLYMOUTH DPW WATER DIVISION | 66.8 | 59 | 60 | 56.4 | 57 | 57.3 | 9 | 14 | 11 | 12 | 12 | 10
4239045 | PLYMOUTH WATER CO | 106.4 | 103 | 102 | 95.1 | 97 | 99.7 | 4 | 6 | 4 | 2 | 10 | 6
4239055 | PINE HILLS LLC | 55.3 | 51 | 51 | 47.4 | 46 | 53.6 | 2 | 3 | 3 | 2 | 9 | 4
4242000 | PROVINCETOWN WATER DEPARTMENT | [6 empty] | 15 | 20 | 24 | 24 | 19 | 25
4244000 | RANDOLPH WATER DEPARTMENT | 37.3 | 50 | 47 | 53 | 50 | 47.7 | 8 | 9 | 5 | 6 | 6 | 13
4245000 | RAYNHAM CENTER WATER DISTRICT | 74.9 | 65 | 65 | 63.7 | 64 | 68.6 | 10 | 4 | 4 | 7 | 4 | 4
4245002 | NORTH RAYNHAM WATER DISTRICT | 65.3 | 63 | 60 | 58.5 | 59 | 61.5 | 6 | 7 | 3 | 6 | 8 | 8
4261000 | SANDWICH WATER DISTRICT | [6 empty] | 14 | 3 | 8 | 7 | 10 | 9
4264000 | SCITUATE DPW WATER DIVISION | 57.1 | 53 | 51 | 49.7 | 48 | 51.9 | 12 | 9 | 10 | 16 | 8 | 13
4265000 | SEEKONK WATER DISTRICT | 75.1 | 60 | 61 | 54.7 | 55 | 61.3 | 22 | 8 | 6 | 9 | 13 | 14
4266000 | SHARON WATER DEPARTMENT | 62 | 57 | 57 | 49.1 | 57 | 57.7 | 8 | 5 | 6 | 7 | 8 | 4
4273000 | SOMERSET WATER DEPARTMENT | 66.8 | 52 | 55 | 49.7 | 51 | 52.2 | 24 | 17 | 28 | 28 | 23 | 19
4285000 | STOUGHTON DPW WATER DIVISION | 49 | 52 | 44 | 42.9 | 42 | 42.1 | 4 | 2 | 2 | 9 | 5 | 17
4292000 | SWANSEA WATER DISTRICT | 60.2 | 60 | 61 | 55.2 | 51 | 61.9 | 9 | 7 | 6 | 6 | 10 | 12
4293000 | TAUNTON WATER DEPARTMENT | 56.2 | 52 | 52 | 50.7 | 51 | 52.2 | 20 | 14 | 10 | 10 | 4 | 10
4296000 | TISBURY WATER WORKS | [6 empty] | 6 | 9 |  | 5 | 8 | 8
4307000 | WALPOLE WATER DEPARTMENT | 64 | 50 | 56 | 50.3 | 52 | 55.1 | 7 | 11 | 20 | 14 | 16 | 18
4310000 | WAREHAM FIRE DISTRICT | 53.6 | 50 | 50 | 48.2 | 50 | 53.3 | 5 | 7 | 1 | 7 | 8 | 8
4310003 | ONSET FIRE DISTRICT | 40.7 | 65 |  |  | 62 | 65.9 | 10 | 57 | 10 | 18 |  | 13
4322000 | WEST BRGEWATER WATER DEPARTMENT | 54.4 | 50 | 51 | 44.7 | 46 | 49.3 | 14 | 13 | 9 | 12 | 17 | 13
4336000 | WEYMOUTH DEPARTMENT OF PUBLIC WORKS | 51.3 | 49 | 49 | 47.2 | 47 | 47 | 20 | 24 | 21 | 25 | 22 | 24
4338000 | WHITMAN WATER SYSTEM | 43.7 | 48 | 46 | 43.9 | 46 | 45 | 15 | 15 | 9 | 10 | 14 | 1
4350000 | WRENTHAM DPW WATER DIVISION | 62 | 56 | 70 | 58.7 | 64 | 58 | 21 | 20 | 3 | 8 | 13 | 24
4351000 | YARMOUTH WATER DEPARTMENT | [6 empty] | 2 | 6 | 11 | 12 | 11 | 14
*Residential Gallons per Capita Day is the average number of gallons used per resident per day over the calendar year. Massachusetts state standard = 65 gal/capita/day.
** Unaccounted for Water is the percent of water that cannot be accounted for by the PWS. UAW may be due to water loss through leaks (actual losses), differences between master meter and service meter totals (paper losses) and/or unmetered municipal uses such as fire fighting. Massachusetts state standard = 10%.
Blank values indicates that there was insufficient data to calculate a value at this time. Reasons include system not 100% metered, master meter malfunction, non-reporting, or seasonal population issues.

## Sheet1
PWSID | PWSName | RGPCD1_REP | RGPCD_DEPAcceptedValue | RGPCD_DEPADJ_category | RGPCD Comments | ASRYear | UAW_PER_REP
3320000 | WENHAM WATER DEPARTMENT | 56 | 55.7 | COMB | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 12.1
3324000 | WEST NEWBURY WATER DEPARTMENT | 42 | 41.9 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 1.3
3330000 | WESTFORD WATER DEPARTMENT | 59 | 58.7 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 11.8
3333000 | WESTON WATER DEPT. (MWRA) | 107 | 107.3 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. No RGPCD Compliance Plan needed, MWRA. | 2025 | 10.4
3342000 | WILMINGTON WATER & SEWER DEPARTMENT | 65 | 65.5 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 2.7
3344000 | WINCHESTER WATER DEPARTMENT | 70 | 69.9 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. No RGPCD Compliance Plan needed, Registered only. | 2025 | 16.6
3346000 | WINTHROP WATER DIVISION, (MWRA) | 50 | 50.3 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. No RGPCD Compliance Plan needed, MWRA. | 2025 | 6.2
3347000 | WOBURN DEPARTMENT PUBLIC WORKS | 89 | 89.4 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. No RGPCD complaince plan required, registered only. | 2025 | 12.7
4001000 | ABINGTON & ROCKLAND JT WATER WORKS | 51 | 51.2 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 9.2
4003000 | ACUSHNET WATER DEPARTMENT | 41 | 40.5 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. No RGPCD complaince plan required, registered only. | 2025 | 18.2
4016000 | ATTLEBORO WATER DEPARTMENT | 49 | 49.5 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 22.9
4018000 | AVON WATER DEPARTMENT | 66 | 66.5 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. RGPCD Complaince Plan required, but not submitted. Please submit RGPCD Complaince Plan. | 2025 | 0.9
4020000 | BARNSTABLE FIRE DISTRICT | 68 |  | NA | RGPCD no longer calculated for the Cape Cod Basin. | 2025 | 3.1
4020002 | CENTERVILLE OSTERVILLE WATER DEPARTMENT | 79 |  | NA | RGPCD no longer calculated for the Cape Cod Basin. | 2025 | 3.5
4020003 | COTUIT FIRE DISTRICT WATER DEPARTMENT | 84 |  | NA | RGPCD no longer calculated for the Cape Cod Basin. | 2025 | 3.9
4020004 | HYANNIS WATER DEPARTMENT | 52 |  | NA | RGPCD no longer calculated for the Cape Cod Basin. | 2025 | 3.7
4036000 | BOURNE WATER DISTRICT | 67 |  | NA | RGPCD no longer calculated for the Cape Cod Basin. | 2025 | 9.2
4036001 | BUZZARDS BAY WATER DISTRICT | 47 | 46.8 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 13.1
4036002 | NORTH SAGAMORE WATER DISTRICT | 76 | 75.8 | ID | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. RGPCD Complaince Plan required, but not submitted. Please submit RGPCD Complaince Plan. | 2025 | 5.2
4040000 | BRAINTREE WATER & SEWER DEPARTMENT | 47 | 47 | CEN | PWS RGPCD calculation looks good. DEP did not adjust RGPCD. | 2025 | 6.4
4041000 | BREWSTER WATER DEPARTMENT | 107 |  | NA | RGPCD not calculated for the Cape and Islands Basins. | 2025 | 9.1
4042000 | BRIDGEWATER WATER DEPARTMENT | 42 | 42.1 | CEN | PWS RGPCD calculation looks good. DEP did not adjust RGPCD. | 2025 | 5.5
4044000 | BROCKTON DPW WATER DIVISION | 72 | 71.9 | ID | RGPCD value has increased dramatically since last year, from 52 to 72. Please review. | 2025 | 3.3
4050000 | CANTON WATER DEPARTMENT | 60 | 59.6 | CEN | PWS RGPCD calculation looks good. DEP did not adjust RGPCD. | 2025 | 29.6
4052001 | SOUTH MEADOW VILLAGE | 132 |  | NA | RGPCD unrealistically high. Assumed all water pumped went to residences. Customers not metered. RGPCD cannot be calculated. | 2025 | 0
4055000 | CHATHAM WATER DEPARTMENT | 50 |  | NA | RGPCD not calculated for Cape Cod Basin. | 2025 | 7.6
4065000 | COHASSET WATER DEPARTMENT | 69 | 68.5 | ID | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. Large increase in RGPCD since 2024 (69 vs. 55). RGPCD Plan required, but not submitted. PLease submit RGPCD Plan. | 2025 | 16.5
4072000 | DARTMOUTH WATER DEPARTMENT | 58 | 57.7 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 11.3
4075000 | DENNIS WATER DISTRICT | 77 |  | NA | RGPCD not calculated for Cape Cod Basin. | 2025 | 6.3
4076000 | DIGHTON WATER DISTRICT | 60 | 60.1 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 4.2
4076004 | AQUARIA WATER LLC |  |  | NR |  | 2025
4082000 | DUXBURY WATER DEPARTMENT | 81 | 80.5 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. RGPCD Plan submitted. | 2025 | 9.4
4083000 | EAST BRIDGEWATER WATER DEPARTMENT | 47 | 47.3 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 4.6
4086095 | EASTHAM WATER DEPARTMENT | 35 |  | NA | RGPCD not calculated for the Cape and Islands Basin. | 2025 | 6.9
4088000 | EASTON WATER DEPARTMENT | 59 | 59.2 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 5.6
4089000 | EDGARTOWN WATER DEPARTMENT | 119 |  | NA | RGPCD not calculated for Islands Basin. | 2025 | 5.1
4094000 | FAIRHAVEN WATER DEPARTMENT | 51 | 51.4 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 1.9
4095000 | FALL RIVER WATER DEPARTMENT | 45 | 45.1 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 43.1
4096000 | FALMOUTH WATER DEPARTMENT | 66 |  | NA | RGPCD not calculated for the Cape Cod Basin. | 2025 | 2.8
4096001 | OTIS COAST GUARD BASE |  |  | NA |  | 2025
4099000 | FOXBOROUGH WATER DEPARTMENT | 52 | 51.8 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 3.8
4102035 | FREETOWN WATER COMMISSION | 50 | 49.8 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 14.1
4118000 | HALIFAX WATER DEPARTMENT | 50 | 50.3 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 1.2
4122000 | HANOVER WATER DEPARTMENT | 52 | 51.7 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 10.9
4123000 | HANSON WATER DEPARTMENT | 66 | 65.7 | ID | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. RGPCD Complaince Plan required, but not submitted. Please submit RGPCD Complaince Plan. | 2025 | 1.3
4126000 | HARWICH WATER DEPARTMENT | 64 |  | NA | RGPCD no longer calculated for the Cape Cod Basin. | 2025 | 3.1
4131000 | AQUARION WATER COMPANY: HINGHAM | 54 | 53.9 | COMB | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 14.8
4133000 | HOLBROOK PUBLIC WORKS DEPT | 41 | 40.5 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 7.9
4145000 | KINGSTON WATER DEPARTMENT | 63 | 62.7 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 29.8
4167000 | MANSFIELD WATER DEPARTMENT | 60 | 59.6 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 9.4
4169000 | MARION WATER DEPARTMENT | 58 | 57.8 | COMB | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 9.6
4171000 | MARSHFIELD WATER & SEWER DEPARTMENT | 60 | 60.1 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 10
4172039 | MASHPEE WATER DISTRICT | 53 |  | NA | RGPCD not calculated for Cape Cod Basin. | 2025 | 1.1
4173000 | MATTAPOISETT WATER & SEWER DEPT | 49 | 49.1 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 5.7
4182000 | MIDDLEBOROUGH WATER SUPPLY | 47 | 46.7 | COMB | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 6.1
4197000 | WANNACOMET WATER COMPANY | 118 |  | NA | RGPCD not calculated for Islands Basin. | 2025 | 7.5
4197001 | SIASCONSET WATER DEPARTMENT | 93 |  | NA | RGPCD not calculated for Islands Basin. | 2025 | 9.7
4201000 | NEW BEDFORD WATER DEPARTMENT | 44 | 44.2 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 0.2
4211000 | NORTH ATTLEBORO WATER DEPARTMENT | 51 | 51.1 | ID | DEP did not adjust RGPCD. Population increase from 2024 is 15%. Please review. | 2025 | 9.2
4218000 | NORTON WATER DEPARTMENT | 32 | 32.1 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 11.2
4219000 | NORWELL WATER DEPARTMENT | 58 | 57.9 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 10
4220000 | NORWOOD WATER DEPT. (MWRA) | 55 | 55.2 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 4.6
4221000 | OAK BLUFFS WATER DISTRICT | 57 |  | NA | RGPCD not calculated for Islands Basin. | 2025 | 10.4
4224000 | ORLEANS WATER DEPARTMENT | 63 |  | NA | RGPCD not calculated for Cape Cod Basin. | 2025 | 13.7
4231000 | PEMBROKE WATER DEPARTMENT | 48 | 48.2 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 9.9
4238000 | PLAINVILLE WATER DEPARTMENT | 50 | 49.7 | ID | DEP did not adjust RGPCD. Large increase since 2024 (38 vs 50). Please review. | 2025 | 10.9
4239000 | PLYMOUTH DPW WATER DIVISION | 57 | 57.3 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 12.7
4239045 | PLYMOUTH WATER CO | 100 | 99.7 | ID | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. Now Aquarion, RGPCD Complaince Plan required, not submitted. Please submit. | 2025 | 4.8
4239055 | PINE HILLS LLC | 54 | 53.6 | COMB | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 3
4239060 | ADM AGAWAM DEV | 33 | 33 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 4.7
4242000 | PROVINCETOWN WATER DEPARTMENT | 46 |  | NA | RGPCD not calculated for Cape Cod Basin. | 2025 | 25.7
4244000 | RANDOLPH WATER DEPARTMENT | 48 | 47.7 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 12.4
4244001 | RANDOLPH HOLBROOK JOINT WATER BOARD |  |  | NA |  | 2025
4245000 | RAYNHAM CENTER WATER DISTRICT | 69 | 68.6 | ID | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. RGPCD ComplInce Plan required, not submitted. Please submit RGPCD Complaince Plan. Unclear when last permit issued 2004, but no record. | 2025 | 2.2
4245002 | NORTH RAYNHAM WATER DISTRICT | 61 | 61.5 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 9.7
4261000 | SANDWICH WATER DISTRICT | 64 |  | NA | RGPCD not calculated for the Cape Cod Basin. | 2025 | 3.7
4261024 | UPPER CAPE WATER SUPPLY COOPERATIVE |  |  | NA |  | 2025
4264000 | SCITUATE DPW WATER DIVISION | 52 | 51.9 | COMB | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 14.9
4265000 | SEEKONK WATER DISTRICT | 61 | 61.3 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 10.2
4266000 | SHARON WATER DEPARTMENT | 58 | 57.7 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 2.8
4273000 | SOMERSET WATER DEPARTMENT | 52 | 52.2 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 25.6
4285000 | STOUGHTON DPW WATER DIVISION | 42 | 42.1 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 10
4292000 | SWANSEA WATER DISTRICT | 62 | 61.9 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 7.3
4293000 | TAUNTON WATER DEPARTMENT | 52 | 52.2 | COMB | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 10.4
4293002 | PAUL A DEVER SCHOOL |  |  | NA |  | 2025
4296000 | TISBURY WATER WORKS | 90 |  | NA | RGPCD not calculated for Islands Basin. | 2025 | 6.4
4307000 | WALPOLE WATER DEPARTMENT | 55 | 55.1 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 13.2
4310000 | WAREHAM FIRE DISTRICT | 53 | 53.3 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 9.9
4310003 | ONSET FIRE DISTRICT | 66 | 65.9 | NOH | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. Permit has RGPCD of 80. | 2025 | 7.5
4322000 | WEST BRIDGEWATER WATER DEPARTMENT | 49 | 49.3 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 17.9
4336000 | WEYMOUTH DEPARTMENT OF PUBLIC WORKS | 47 | 47.1 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 31.2
4338000 | WHITMAN WATER SYSTEM | 45 | 45 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 7.8
4350000 | WRENTHAM DPW WATER DIVISION | 58 | 57.8 | CEN | PWS RGPCD calculation appears correct. DEP did not adjust RGPCD. | 2025 | 6.6