## Feeders
Feeders that overload in 2030 with low EV adoption forecast
Feeders that are anticipated to overload (≥80% in 2030)
Scenario 3:Status Quo
**All cells highlighted in yellow to be filled in by the company**
| Electric distribution grid data | [7 empty] | EVICC estimates |  |  |  |  | Section 103 process information / analysis developed by the company
Data Year | - | - | - | - | 2022 | 2022 | 2022 | 2022 | 2030 | 2030 | 2030 | 2030 | 2030 | Step 1 - Confirm likely overloaded feeders/substations incl. other loads / gen | [5 empty] | Step 2 - Confirm whether already planned upgrades would address the constraint
| Feeder or circuit ID | Utility | Primary Towns Served by Feeder* | Substation Name | Feeder Rating (MW) | Feeder Peak Load (MW) | Feeder Headroom (MW) | Current Loading (%) | EV charger load (MW) | Total Load (MW) | Future Estimated Loading (%) | Dominant charger type | Dominant charger % of EV load | Does the company project that the feeder will be more than 80% loaded by 2030 (Y/N)? If yes, in what year. | Does the company project that the feeder will be more than 100% loaded by 2030 (Y/N)? If yes, in what year. | What EV charger load does the company project in 2030 (MW)? | What total load does the company project in 2030 (MW)? | What percent loading does the company project in 2030 (%)? | What, if any, other factors have led to a divergence in the EDCs' analysis from the EVICC Assessment? | Is there a planned upgrade(s) that would help mitigate the constraint? (Y/N) | Public planning document or DPU filing where relevant upgrades are included (e.g., rate case, ESMP, etc.) | Type of upgrade planned (e.g., reconductoring the feeder from X kVA to Y kVA, new substation transformer, etc.) | Gross, additional capacity the planned upgrade will provide (MW or MVA) | Expected timeline to complete the planned upgrade(s) | Whether the timing aligns with the timing of the constraint identified in the EVICC analysis (Y/N) | Are unplanned upgrade(s) needed to fully mitigate the identified constraint? (Y/N)
Identified by EVICC | XXX-YY | [ Eversource, National Grid, or Unitil] | [Town name] | [name] | # | # | # | % | # | # | % | home_l2 (example) | %
Identified by the company | [8 empty] | n/a | n/a | n/a | n/a | n/a
[9 empty] | n/a | n/a | n/a | n/a | n/a
[9 empty] | n/a | n/a | n/a | n/a | n/a
[9 empty] | n/a | n/a | n/a | n/a | n/a
[9 empty] | n/a | n/a | n/a | n/a | n/a
[9 empty] | n/a | n/a | n/a | n/a | n/a
[9 empty] | n/a | n/a | n/a | n/a | n/a
[9 empty] | n/a | n/a | n/a | n/a | n/a
[9 empty] | n/a | n/a | n/a | n/a | n/a
*Towns that contain 20% of more of the feeder's total length. Often a single feeder serves multiple towns.
Note: The low EV adoption case is based projections of US light-duty vehicle electrification from BloombergNEF, which is scaled to Massachusetts based on the state’s current share of battery electric and hybrid vehicles. Specifically, Synapse used the forecasted share (%) of light-duty vehicles from Bloomberg’s 2024 Electric Vehicle Outlook and applied them to total projections of light-duty vehicles (all fuel types) from the U.S. Energy Information Administration. Synapse then scaled this national EV estimate to Massachusetts using current electric and hybrid vehicle registrations in the state. Synapse compared the total number of EVs from this EV adoption case to projections from Massachusetts’ Clean Energy and Climate Plan (CECP) to develop a scaling factor. Feeder and substation load estimates were developed using CECP projections, after which Synapse applied this scaling factor to estimate grid impacts associated with a lower EV adoption future. Synpase assumed that the current rate of managed charging participation (15%) continues into the future (i.e., Scenario 3 in the Second EVICC Assessment).

## Substations
Substations that overload in 2035 with low EV adoption forecast
Substations anticipated to overload (≥100% in 2035)
Scenario 3:Status Quo
**All cells highlighted in yellow to be filled in by the company**
| Electric distribution grid data | [6 empty] | EVICC estimates |  |  | Section 103 process information / analysis developed by the company
Data Year | - | - | - | 2022 | 2022 | 2022 | 2022 | 2035 | 2035 | 2035 | Step 1 - Confirm likely overloaded feeders/substations incl. other loads / gen | [5 empty] | Step 2 - Confirm whether already planned upgrades would address the constraint
| Substation Name | Utility | Primary town served by Substation* | Estimated Substation Capacity (MW) | Estimated Substation Peak Load (MW) | Substation Headroom (MW) | Current Loading (%) | EV charger load (MW) | Total Load (MW) | Estimated Future Loading (%) | Does the company project that the substation will be more than 80% loaded by 2035 (Y/N)? If yes, in what year. | Does the company project that the substation will be more than 100% loaded by 2035 (Y/N)? If yes, in what year. | What EV charger load does the company project in 2035 (MW)? | What total load does the company project in 2035 (MW)? | What percent loading does the company project in 2035 (%)? | What, if any, other factors have led to a divergence in the EDCs' analysis from the EVICC Assessment? | Is there a planned upgrade(s) that would help mitigate the constraint? (Y/N) | Public planning document or DPU filing where relevant upgrades are included (e.g., rate case, ESMP, etc.) | Type of upgrade planned (e.g., reconductoring the feeder from X kVA to Y kVA, new substation transformer, etc.) | Gross, additional capacity the planned upgrade will provide (MW or MVA) | Expected timeline to complete the planned upgrade(s) | Whether the timing aligns with the timing of the constraint identified in the EVICC analysis (Y/N) | Are unplanned upgrade(s) needed to fully mitigate the identified constraint? (Y/N)
Identified by EVICC | XXX-YY | [ Eversource, National Grid, or Unitil] | [Town name] | # | # | # | % | # | # | %
Identified by the company | [7 empty] | n/a | n/a | n/a
[8 empty] | n/a | n/a | n/a
[8 empty] | n/a | n/a | n/a
[8 empty] | n/a | n/a | n/a
[8 empty] | n/a | n/a | n/a
[8 empty] | n/a | n/a | n/a
[8 empty] | n/a | n/a | n/a
[8 empty] | n/a | n/a | n/a
[8 empty] | n/a | n/a | n/a
*Towns that contain 20% of more of the feeder's total length. Often a single feeder serves multiple towns.
Note: The low EV adoption case is based projections of US light-duty vehicle electrification from BloombergNEF, which is scaled to Massachusetts based on the state’s current share of battery electric and hybrid vehicles. Specifically, Synapse used the forecasted share (%) of light-duty vehicles from Bloomberg’s 2024 Electric Vehicle Outlook and applied them to total projections of light-duty vehicles (all fuel types) from the U.S. Energy Information Administration. Synapse then scaled this national EV estimate to Massachusetts using current electric and hybrid vehicle registrations in the state. Synapse compared the total number of EVs from this EV adoption case to projections from Massachusetts’ Clean Energy and Climate Plan (CECP) to develop a scaling factor. Feeder and substation load estimates were developed using CECP projections, after which Synapse applied this scaling factor to estimate grid impacts associated with a lower EV adoption future. Synpase assumed that the current rate of managed charging participation (15%) continues into the future (i.e., Scenario 3 in the Second EVICC Assessment).