## Sharps Injuries among Hospital Workers in Massachusetts, 2007

Findings from the Massachusetts Sharps Injury Surveillance System

Deval L. Patrick, Governor

Timothy P. Murray, Lieutenant Governor

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

John Auerbach, Commissioner of Public Health

Letitia K. Davis, Sc.D., Director, Occupational Health Surveillance Program

Alfred DeMaria, Jr., M.D., Medical Director, Bureau of Communicable Disease Control

October 2009

Acknowledgements

## This report was prepared by Angela K. Laramie, MPH, Letitia K. Davis, Sc.D., Vivian Pun, MPH, and James Laing, BS, of the Occupational Health Surveillance Program and Alfred DeMaria, Jr., MD, of the Bureau of Communicable Disease Control.  Special acknowledgement goes to the members of the Massachusetts Department of Public Health Sharps Injury Prevention Advisory Committee who have dedicated substantial time and effort to guide the development of the Massachusetts Sharps Injury Surveillance System and the preparation of this report.  In addition to Alfred DeMaria, Jr., MD, these members include: Gail Palmeri, RN, Phillip Adamo, MD, Evelyn Bain, RN, Karen Daley, RN, Anuj Goel, and Margaret Quinn, Sc.D.  Additional thanks to Helene Bednarsh, RDH, Catherine Galligan, MS, and Liz O’Connor, RN; who provided invaluable technical expertise and practical insights.  Finally, special thanks go to the infection control, employee health department and other staff in Massachusetts hospitals who collected and provided the data on which this report is based.  Many hospital staff provided helpful input in developing the reporting system and continued input is welcome.

## This work was funded in part through a cooperative agreement with the National Institute for Occupational Safety and Health (U60/OH008490) of the Centers for Disease Control and Prevention.

To obtain additional copies of this report, contact:

Massachusetts Department of Public Health

Bureau of Health Information, Statistics, Research and Evaluation

Occupational Health Surveillance Program

250 Washington Street, 6th Floor

Boston, MA 02108

617-624-5632

Sharps.Injury@state.ma.us

This report is also available on line at MDPH’s website:

www.mass.gov/dph/ohsp

Suggested citation:

Massachusetts Department of Public Health Occupational Health Surveillance Program. (2009) Sharps Injuries among Hospital Workers in Massachusetts, 2007: Findings from the Massachusetts Sharps Injury Surveillance System.

11/11/09

Contents

|  | Page |
| --- | --- |
| Background | 1 |
| Methods | 2 |
| Data Highlights | 3 |
| Limitations | 6 |
| Discussion | 6 |
|  | Figure 5. Flow chart regarding Device Selection, Evaluation and Implementation | 6 |
| References | 10 |
| Appendices |  |
| Detailed Tables of Sharps Injuries among Hospital Workers, All Hospitals |  |
|  | Work Status of Injured Worker | 10 |
|  | Occupation of Injured Worker | 10 |
|  | Department where Incident Occurred | 11 |
|  | Procedure for which Device was Used | 12 |
|  | Device Involved in the Injury | 13 |
|  | Safety Device | 14 |
|  | When the Injury Occurred | 15 |
|  | How the Injury Occurred | 15 |
|  | Device by Presence of Safety Features | 17 |
|  | Procedure by Devices With and Without Safety Features | 17 |
| Detailed Tables of Sharps Injuries among Hospital Workers by Number of Licensed Hospital Beds, All Hospitals | 18 |
| Detailed Tables of Sharps Injuries among Hospital Workers by Teaching Status, All Hospitals | 20 |
| List of Selected Resources about Bloodborne Pathogen Exposures for Health Care Workers | 22 |

BACKGROUND

# Sharps Injuries

Health care worker exposures to bloodborne pathogens as a result of injuries caused by contaminated needles and other sharp devices, also known as percutaneous injuries, are a significant public health concern.  Estimates by the U.S. Centers for Disease Control and Prevention (CDC) put the number of sharps injuries in healthcare as well in excess of half a million each year, with about half of those injuries, or approximately 1,000 percutaneous injuries per day, occurring in US hospitals (Panlillio, Cardo, Campbell, Srivastava, Jagger, Orelien, et al., 2000).  While injuries occur most frequently among nurses as well as physicians and technicians, housekeeping and other support staff are also at risk (Hiransuthikul, Tanthitippong, Jiamjarasrangsi, 2006).  As a measure of likelihood of injury among hospital workers, it has been estimated that 28 sharps injuries occur annually for every 100 occupied hospital beds (Perry, Parker & Jagger, 2009).

Sharps injuries, frequent events with a rare but negative outcome, have been associations with occupational transmission of hepattis B (HBV), hepatitis C (HCV) and human immunodeficiency virus (HIV) as well as over 20 other pathogens (OHSA, 2001).  U.S. Public Health Service guidelines provide recommendations for post-exposure management of all workers who have sustained occupational exposure to bloodborne pathogens (MMWR, 2001; MMWR, 2005).  These guidelines provide information for determining when post-exposure prophylaxis is appropriate.  Preventive medical treatment following exposure may decrease the likelihood of infection with human immunodeficiency virus (HIV) and hepatitis B virus (HBV) (Cardo, Culver, Ciesielski, Srivastava, Marcus, Abiteboul, et al., 1997; MMWR, 2001). Costs of all post-exposure management, including costs of testing source patients and employees, labor costs associated with testing and counseling, loss of productivity, and cost of treating infection are estimated to be as high as $4,838 (O’Malley, Scott, Gayle, Dekutoski, Foltzer, Lundstrom, et al., 2007).  These do not include the social impact on workers and their families, which are difficult to quantify.

Sharps injuries are preventable and the overall goal should be their elimination.  As a step in that direction, the U.S. Public Health Service has called for the reduction of sharps injuries among health care workers by 30% as a national health objective for 2010 (DHHS, 2000).  In addition, health care facilities are required by federal regulations to implement comprehensive plans to reduce these injuries.  Preventing sharps injuries requires the combined effort of government agencies, employers, and equipment manufacturers, as well as health care workers themselves.  Elements of a successful sharps injury prevention program, as outlined by the CDC, include: promoting an overall culture of safety in the workplace, eliminating the unnecessary use of needles and other sharp devices, using devices with sharps injury prevention features (safety devices), employing safe workplace practices, and training health care personnel (CDC, 2008).  Sharps injury surveillance is also a key component of a comprehensive program.

Prior to 2000, while some national data had been collected, little was known about the extent and distribution of sharps injuries among health care workers in Massachusetts.  In 2001, pursuant to An Act Relative to Needlestick Injury Prevention (MGL Chapter 111 §53D) the Massachusetts Department of Public Health (MDPH) promulgated regulations requiring acute and non-acute care hospitals licensed by the Department to implement sharps injury prevention plans and also to report sharps injury data to MDPH.  This led to the establishment of the Massachusetts Sharps Injury Surveillance System, which has collected data from all MDPH licensed hospitals for the past seven years (2002-2008).

The Massachusetts Sharps Injury Surveillance System

MDPH regulations, mirroring the federal Occupational Safety and Health Administration (OSHA) Bloodborne Pathogen Standard (29 CFR 19101.1030) revised in 2001, require that hospitals licensed by MDPH use devices with sharps injury prevention technology, develop exposure control plans, and maintain logs of worker injuries with contaminated sharps.  MDPH also requires that hospitals submit the data from their sharps logs annually to the Department.  Data are reported to the Sharps Injury Surveillance System electronically using the Annual Summary of Sharps Injury form.  The data reported are compiled and published to guide state efforts to prevent sharps injuries and promote action at the local level. The surveillance system provides information about occupations at risk as well as devices, procedures and departments associated with sharps injuries. It also serves as a vehicle for hospitals and health care workers in Massachusetts to share information about successful prevention strategies.

The Massachusetts Sharps Injury Surveillance System is intended to provide information that can assist Massachusetts hospitals and health care workers in targeting and evaluating efforts to reduce the incidence of sharps injuries and the associated human and economic costs. Comprehensive reports of surveillance findings for 2002, 2003 and 2004 have been produced, as well as surveillance updates for 2005 and 2006.  This brief report includes findings from the Massachusetts Sharps Injury Surveillance System for the 2007 data collection period.  Findings are presented by hospital bed-size categories and by teaching status as well as for all hospital combined to allow hospitals to compare their individual experiences with those in similar facilities.  Input from hospitals and health care workers regarding the surveillance activities and the content of this report is welcome. MDPH looks forward to continued collaboration in maintaining an effective sharps injury surveillance system to improve the health and safety of health care workers in Massachusetts.

# Underreporting of Sharps Injuries

Underreporting of sharps injuries by employees is well documented in the literature, and varies by occupation and by hospital. Underreporting has been estimated by the CDC to be in excess of 50% (Perry, 2000). There are many reasons why healthcare workers may not report sharps injuries; they may perceive that the injuries or the source patients are low risk; they may fear the diseases to which they have potentially been exposed; they may have concerns about job security or the extra paperwork and time involved in follow-up (Tandberg, Stewart & Doezema, 1991).  In addition, they may lack information and training about appropriate reporting procedures or the reporting procedures themselves may be inadequate.  Hospitals with well established sharps injury surveillance programs and strong safety cultures may identify and report more injuries than hospitals with less well developed programs.  Underreporting must be taken into account in interpreting the findings presented in this report.  Hospitals, in evaluating their own data, should do so within the context of their own sharps injury surveillance and prevention programs.  Assessment of underreporting should be an integral part of sharps injury prevention activities.

METHODS

Population under surveillance

All health care workers in acute and non-acute care hospitals licensed by MDPH, as well as any satellite units (e.g., community health centers, ambulatory care centers) operating under a hospital license, are included in the population under surveillance.  Psychiatric hospitals are licensed by another agency and are not included.

Reportable exposure incident

A reportable exposure incident is defined as an exposure to blood or other potentially infectious materials as a result of an event that pierces the skin or mucous membranes during the performance of an employee’s duties. A sharps injury is also considered an exposure incident if the worker is injured with a clean sharp or device (before use) through contaminated gloves or other contaminated mediums.  An injury involving a clean device without any contact with infectious materials is not considered an exposure incident. See the MPDH report Sharps Injuries among Hospital Workers in Massachusetts, 2004: Findings from the Massachusetts Sharps Injury Surveillance System (www.mass.gov/Eeohhs2/docs/dph/occupational_health/injuries_hospital_2004.pdf) for a more detailed description of the surveillance system and methods.

Data presented

Frequencies (counts and percents) are presented for each of the data elements collected, with the exception of brand/model of device.  Findings are presented for all hospitals combined (appendix A) as well as by hospital size categories (defined by number of licensed beds) (Appendix B) and by teaching status (Appendix C) to allow hospitals to compare their individual experiences with those in similar facilities. Rates using the number of licensed beds as the denominator are presented by hospital size.

DATA HIGHLIGHTS

All 99 hospitals licensed by MDPH submitted Annual Sharps Injury Reports containing information about sharps injuries sustained by Massachusetts hospital workers in 2007. The number of sharps injuries reported by individual hospitals ranged from 0 to 339, with over half of the hospitals reporting fewer than 20 injuries.  The extent to which a high number of reported injuries in a hospital reflects a true higher incidence of injuries or better sharps injury reporting practices is unknown.  The 22 Massachusetts teaching hospitals reported 65% (1,984) of all sharps injuries.  Teaching status is strongly correlated with hospital size; close to half of the teaching hospitals (45%, 10) have over 300 beds.

Overview

- A total of 3,068 sharps injuries among hospital health care workers in Massachusetts were reported for the surveillance period January 1 to December 31, 2007.  This is similar to the annual number of sharps injuries reported in previous years.

- Eighty-seven percent of the injured workers (2,678) were hospital employees, 9% (269) were non-employee practitioners, 3% (79) were students, and 1% (32) were temporary or contract employees.

Occupation and Department

- Nurses sustained more injuries (37%, 1,125) than any other occupational group, followed by physicians (35%, 1,060).  Close to half of the injuries in the physician category were sustained by interns and residents.  Physicians accounted for proportionately more injuries in large hospitals (> 300 licensed beds) (45%, 789).

- Technicians, such as surgical technicians and phlebotomists, sustained 19% (586) of the injuries.  Four percent (133) of the injuries were sustained by support service workers of whom 70 were housekeepers.

- Injuries occurred most frequently in operating rooms (34%, 1,031) followed by medical surgical wards (17%, 533).  More injuries occurred in emergency departments (10%, 311) than on intensive care units (8%, 249).

Type of Device

- Hollow bore needles, which include hypodermic needles / syringes, winged steel needles, vacuum tube collection devices and IV stylets, as a group accounted for 52% (1,628) of all injuries reported.  Hypodermic needles / syringes (29%, 887) accounted for more injuries than any other type of device.   While most frequent, injuries with hypodermic needles / syringes generally involve less direct blood exposure and thus present less risk than injuries involving vacuum tube collection devices and winged steel needles.  Injuries with these two types of devices accounted for 4% (150) and 9% (278) of all injuries, respectively.

- Injuries involving solid sharp devices, including suture needles, scalpels and glass, accounted for 31% (960) of all injuries.  Injuries involving suture needles accounted for 23% (701) of the injuries, followed by scalpel blades (7%, 214) and glass items (1%, 38).

- Of the 2,866 injuries with devices for which information regarding the presence of engineered sharps injury prevention features was recorded (2,866), over half (57%, 1,655) involved devices without engineered sharps injury prevention features.  However 29% (257) of the injuries associated hypodermic needles / syringes lacked sharps injury prevention features, even though hypodermic needles / syringes with safety features have been available on the market for the past 12 years.  By contrast, only 8% (21) of winged steel needles and 19% (28) of vacuum tube collection holder / needles associated with injuries lacked safety features.

Procedure for which the Device was Used and When the Injury Occurred

- Devices involved in injuries were most frequently used for injections (24%, 730) and suturing (22%, 670) followed by blood procedures (16%, 482).  In medium size hospitals injuries were most often related to injections (27%, 293), as was the case in small sized hospitals (21%, 50).  Suturing accounted for 26% (447) of injuries in large hospitals, in contrast to 17% and 18% in medium and small sized hospitals respectively.

- Injuries occurred during the use of devices in 45% (1,386) of the cases.  After use of the device was an equally dangerous time to handle a device as compared with during use.  About half (47%, 1,463) of the injuries occurred after use of the device. These included injuries sustained after use but before disposal of devices (35%, 1,084) and injuries occurring during or after disposal (12%, 379).

- Collision with sharp accounted for 17% (520) of the reported cases.  MDPH continues to work with hospitals to encourage greater detail in descriptions of the incident so that these cases can be more appropriately coded.  An additional 13% (408) of the cases occurred during the act of suturing.

# RATES

# The statewide rate for sharps injuries among hospital workers for this twelve month surveillance period was 16.9 sharps injuries per 100 licensed beds.  The annual rate of sharps injuries varied by hospital size.  Given the limitations presented below of using the number of hospital beds as a denominator for assessing risks, these rates should be interpreted with caution.  In comparing experience among hospitals, underreporting must also be taken into consideration.  The extent to which high rates of reported injuries in some hospitals reflect a true higher incidence of injuries in these hospitals or better sharps injury reporting practices compared to those with low rates is not known. Hospitals evaluating their own rates should do so within the context of their own sharps injury surveillance and prevention programs.

# Limitations

There are a number of limitations to be considered in interpreting the findings presented in this report.  In order for an injury to be included on the Annual Sharps Summary, hospitals rely on health care workers to report sharps injuries.  As discussed previously, there are many reasons why health care workers may choose not to report sharps injuries, and underreporting by health care workers has been well documented.  Also, there is evidence that the likelihood of reporting varies by occupation and completeness of reporting varies by hospital (CDC, 2008).  The surveillance findings presented in this report should be considered conservative estimates of the burden of sharps injuries among hospital workers in Massachusetts.

The rates for hospitals in Massachusetts are somewhat lower than rates reported by EPINet, which are based on occupied beds (EPINet, 2007, 2008 & 2009).  In Massachusetts, the number of occupied beds and the number of licensed beds are highly correlated, and this difference in denominators does not explain the difference in Massachusetts and EPINet rates.  Rates using number of beds whether licensed or occupied in the denominator have several limitations.  The number of licensed beds is not an accurate reflection of patients treated nor does it provide a measure of the number of inpatient or outpatient procedures performed or devices used, or workers at risk.  For example, rates based on licensed beds may overestimate the risks of SIs in facilities where a large number of outpatient procedures are performed.

DISCUSSION:

More than 3,000 sharps injuries were reported by Massachusetts hospitals in 2007, underscoring the need for continued efforts to reduce the incidence of these injuries.  Findings highlight a number of specific issues that still need to be addressed in Massachusetts: the unacceptably high number of injuries with devices lacking sharps injury prevention features, most notably hypodermic needles/syringes, for which alternatives with sharps injury prevention features are available; the need for improved disposal practices to reduce the large number of injuries that occur after devices are used; and the need to implement safe work practices and alternative methods for suturing to reduce the high number of SIs in operating rooms.  In addition, prevention measures need to be focused on high risk procedures such as blood drawing procedures.

The fact that injuries are also associated with devices with engineered sharps injury prevention features raises critical questions about the extent to which these injuries are due to lack of experience and training in using these newer devices or to flaws in product design, specifically the mechanism of the SI prevention feature (e.g., retracting, blunting, sheathing).  In 2010 OHSP will add a data element to the Annual Summary to collect this information. Future analysis of these data will generate hypotheses that will move the research beyond determining efficacy of devices with sharps injury prevention features versus those without, to examining various generations of sharps injury prevention technology.

In order to continue to replace existing devices to those with engineered sharps injury prevention features in an efficient manner, it is necessary to know which devices without such injury protections are still in use.  MDPH has issued guidance to hospitals for creating such an inventory, including a template of data elements to be included in the inventory list.  A flow chart outlining the process for maintaining such an inventory as well as identifying and implementing new devices is shown below.  (Figure 6.)  Each clinical unit in the hospital should be involved in creating the inventory of devices.  Data from the Annual Summary of Sharps Injuries should be used to prioritize the order in which devices will be converted to those with sharps injury prevention features.  It is important to remember that staff who will be using the devices must be involved in the selection and evaluation of new devices (OSHA, 2001).  The device inventory should be reviewed regularly to identify devices lacking sharps injury prevention features that should be replaced, as well as to identify devices with sharps injury prevention features for which more effective alternatives exist.  Device evaluation is a continuous process which requires the participation of staff in various clinical departments as well as materials management and purchasing, along with the use of data on sharps injuries.

Figure 6.  Flow chart regarding Device Selection, Evaluation and Implementation

The Massachusetts Sharps Injury Surveillance System is a collaborative effort between the MDPH, hospitals, professional associations and community advocates. The success of the program in collecting data is a result of this collaboration. MDPH will continue to work with these groups to conduct surveillance, review exposure control activities in hospitals, and facilitate the exchange of information among hospitals about successful prevention strategies.

References

Adams D and Elliot TSJ. (2006)  Impact of safety needle devices on occupationally acquired needlestick injuries: a four-year prospective study.  Journal of Hospital Infection, 64, 50-55.

Cardo DM, Culver DH, Ciesielski CA, Srivastava PU, Marcus R, Abiteboul D, et al. (1997). A case-control study of HIV seroconversion in health care workers after percutaneous exposure.  Centers for Disease Control and Prevention Needlestick Surveillance Group.  New England Journal of Medicine, 337(21), 1485-90.

The Centers for Disease Control and Prevention (CDC) National Center for Infectious Diseases Division of Health Quality Promotion. (2008) Workbook for Designing, Implementing, and Evaluating a Sharps Injury Prevention Program. Retrieved October 15, 2009, http://www.cdc.gov/sharpssafety.

The Centers for Disease Control and Prevention (CDC). (2001). Updated U.S. Public Health Service Guidelines for the Management of Occupational Exposures to HBV, HCV, and HIV and Recommendations for Postexposure Prophylaxis. Morbidity and Mortality Weekly Report (MMWR), 50, (No. RR-11).

The Centers for Disease Control and Prevention (CDC). (2005). Updated U.S. Public Health Service Guidelines for the Management of Occupational Exposures to HIV and Recommendations for Postexposure Prophylaxis. Morbidity and Mortality Weekly Report (MMWR), 54, (No. RR-9).

The Centers for Disease Control and Prevention (CDC). (2008). Acute Hepatitis C Virus Infections Attributed to Unsafe Injection Practices at an Endoscopy Clinic. Morbidity and Mortality Weekly Report (MMWR), 57, (19); 513-517.

U.S. Department of Health and Human Services (USDHHS). (2000). Healthy People 2010. 2nd ed. With Understanding and Improving Health and Objectives for Improving Health. 2 vols. Washington, DC: U.S. Government Printing Office.

Hiransuthikul N, Tanthitippong A, Jiamjarasrangsi W. (2006) Occupational exposures among nurses and housekeeping personnel in King Chulalongkorn Memorial Hospital.  J Med Assoc Thai. Sep; 89 Suppl 3:S140-9.

Muntz JE, Hultburg R. (2004) Safety syringes can reduce the risk of needlestick injury in venous thromboembolism prophylaxis.  J Surg Orthop Adv. Spring;13(1):15-9.

O'Malley EM, Scott RD 2nd, Gayle J, Dekutoski J, Foltzer M, Lundstrom TS, Welbel S, Chiarello LA, Panlilio AL. (2007) Costs of management of occupational exposures to blood and body fluids.  Infect Control Hosp Epidemiol. 28(7):774-82.

Panlilio AL, Cardo DM, Campbell S, Srivastava PU, Jagger H, Orelien JG et al. Estimate of the annual number of percutaneous injuries in U.S. health care workers [Abstract S-T2-01]. In: Program and abstracts of the 4th International Conference on Nosocomial and Health Care-Associated Infections; Atlanta, March 5-9, 2000:61.

Perry J. (2000). CDC Releases National Needlestick Estimates.  Advances in Exposure Prevention, 5(2),19.

Perry J, Parker G, Jagger J. (2009).  EPINet Report: 2007 Percutaneous Injury Rates.  International Healthcare Worker Safety Center, August 2009, http://healthsystem.virginia.edu/internet/epinet/EPINet-2007-rates.pdf.

Tandberg D, Stewart KK, Doezema D. (1991). Under-reporting of contaminated needlestick injuries in emergency health care workers.  Annals of emergency Medicine, 20(1), 66-70.

| STATE TOTAL | 3,068 | 100% |
| --- | --- | --- |
| Work status of injured worker | N | % |
| Employee | 2,678 | 87 |  |
| Non-employee practitioner | 269 | 9 |  |
| Student | 79 | 3 |  |
| Temporary / Contract worker | 32 | 1 |  |
| Other | 1 | <1 |  |
| Nonclassifiable | 7 | <1 |  |
| Not answered | 2 | <1 |  |

| OCCUPATION OF INJURED WORKER | N | % |
| --- | --- | --- |
| Nurse | 1,125 | 37% |
| RN or LPN | 995 | 32 |  |
| Nursing assistant | 47 | 2 |  |
| Patient care technician | 28 | 1 |  |
| Nurse practitioner | 24 | 1 |  |
| Nurse anesthetist | 11 | <1 |  |
| Nursing student | 10 | <1 |  |
| Home health aide | 9 | <1 |  |
| Nurse midwife | 1 | <1 |  |
| Physician | 1,060 | 35% |
| Intern / Resident | 503 | 16 |  |
| MD | 273 | 9 |  |
| Medical student | 70 | 2 |  |
| Fellow | 69 | 2 |  |
| Physician assistant | 64 | 2 |  |
| Surgeon | 62 | 2 |  |
| Anesthesiologist | 14 | <1 |  |
| Radiologist | 5 | <1 |  |
| Technician | 586 | 19% |
| OR / Surgical technician | 241 | 8 |  |
| Phlebotomist | 141 | 5 |  |
| Clinical lab technician | 52 | 2 |  |
| Respiratory therapist / Tech | 26 | 1 |  |
| Radiologic technician | 23 | 1 |  |
| Morgue Technician | 1 | <1 |  |
| Hemodialysis Technician | 1 | <1 |  |
| Other technician | 101 | 3 |  |
| Support Services | 133 | 4% |
| Housekeeper | 70 | 2 |  |
| Central supply | 52 | 2 |  |
| Maintenance | 5 | <1 |  |
| Attendant / Orderly | 4 | <1 |  |
| Food Service | 1 | <1 |  |
| Laundry staff | 1 | <1 |  |
| Other Medical Staff | 45 | 1% |
| Medical assistant | 43 | 1 |  |
| Physical Therapist | 1 | <1 |  |
| Other medical staff | 1 | <1 |  |
| Dental Staff | 9 | <1% |
| Dentist | 6 | <1 |  |
| Dental Assistant / Tech | 3 | <1 |
| Other | 106 | 3% |
| Researcher | 12 | <1 |  |
| EMT / Paramedic | 11 | <1 |  |
| Clerical / Administrative | 6 | <1 |  |
| Pharmacist | 2 | <1 |  |
| Dietician | 2 | <1 |  |
| Other student | 21 | 1 |  |
| Other | 52 | 2 |  |
| Unknown / Not Answered | 3 | <1% |
| Nonclassifiable | 1 | <1% |

| DEPARTMENT WHERE INCIDENT OCCURRED | N | % |
| --- | --- | --- |
| Operating and Procedure Rooms | 1,339 | 44% |
| Operating room | 1,031 | 34 |  |
| Labor and delivery | 98 | 3 |  |
| Radiology | 68 | 2 |  |
| Hematology / Oncology | 32 | 1 |  |
| Phlebotomy room | 28 | 1 |  |
| Cardiac catheterization laboratory | 23 | 1 |  |
| Dialysis | 15 | <1 |  |
| Endoscopy / Bronchoscopy / Cytoscopy | 14 | <1 |  |
| Other procedure room | 10 | <1 |  |
| Procedure room, unspecified | 20 | 1 |  |
| Inpatient Units | 647 | 21% |
| Medical / Surgical ward | 533 | 17 |  |
| Obstetrics / Gynecology | 26 | 1 |  |
| Psychiatry ward | 19 | 1 |  |
| Nursery | 14 | <1 |  |
| Pediatrics | 13 | <1 |  |
| Specific ward, type unknown** | 1 | <1 |  |
| Patient room, ward unspecified | 41 | 1 |  |
| Emergency Department | 311 | 10% |
| Intensive Care Units | 249 | 8% |
| Intensive care unit | 234 | 8 |  |
| Post anesthesia care unit | 15 | <1 |  |
| Outpatient Areas | 176 | 6% |
| Ambulatory care clinic | 101 | 3 |  |
| Home health visit | 15 | <1 |  |
| Dental clinic | 7 | <1 |  |
| Community health center | 5 | <1 |  |
| Other outpatient areas | 48 | 2 |  |
| Laboratory | 149 | 5% |
| Histology / Pathology | 23 | 1 |  |
| Blood bank | 17 | 1 |  |
| Clinical chemistry | 16 | 1 |  |
| Morgue / Autopsy room | 15 | <1 |  |
| Microbiology | 3 | <1 |  |
| Other laboratory | 26 | 1 |  |
| Laboratory, unspecified | 49 | 2 |  |
| Other Areas | 188 | 6% |  |
| Central sterile supply | 41 | 1 |  |
| Rehabilitation unit | 35 | 1 |  |
| Dermatology | 19 | 1 |  |
| Long term care | 8 | <1 |  |
| Hospital grounds | 8 | <1 |  |
| Ambulance | 7 | <1 |  |
| Central trash area | 6 | <1 |  |
| Exam room | 5 | <1 |  |
| Pharmacy | 5 | <1 |  |
| Employee health / Infection control | 4 | <1 |  |
| Pain clinic | 3 | <1 |  |
| Detox unit | 1 | <1 |  |
| Jail unit | 1 | <1 |  |
| Laundry room | 1 | <1 |  |
| Other location | 44 | 1 |  |
| Unknown / Not answered | 5 | <1% |
| Non-classifiable | 4 | <1 |

| PROCEDURE FOR WHICH DEVICE WAS USED | N | % |
| --- | --- | --- |
| Injection | 730 | 24% |
| Subcutaneous injection | 469 | 15 |  |
| Intramuscular injection | 83 | 3 |  |
| Epidural / Spinal anesthesia | 14 | <1 |  |
| Other injection | 1 | <1 |  |
| Injection, unspecified | 163 | 5 |  |
| Suturing | 670 | 22% |
| Suturing | 667 | 22 |  |
| Suture removal | 3 | <1 |  |
| Blood Procedures | 482 | 16% |
| Percutaneous venous puncture | 369 | 12 |  |
| Finger stick / Heel stick | 46 | 1 |  |
| Percutaneous arterial puncture | 44 | 1 |  |
| Draw blood from umbilical vessel | 8 | <1 |  |
| Dialysis / AV fistula site | 5 | <1 |  |
| Blood procedure, unspecified | 10 | <1 |  |
| Line Procedures | 335 | 11% |
| To insert a peripheral IV line or set up a heparin lock | 119 | 4 |  |
| To insert a central IV line | 51 | 2 |  |
| To insert an arterial line | 33 | 1 |  |
| Other injection into IV site / port | 28 | 1 |  |
| Draw blood from central or peripheral IV line or port | 24 | 1 |  |
| To flush heparin / saline | 18 | 1 |  |
| Draw blood from arterial line | 9 | <1 |  |
| To connect IV line | 8 | <1 |  |
| Other line procedure | 34 | 1 |  |
| Line procedure, unspecified | 11 | <1 |  |
| Making the incision | 288 | 9% |
| To Obtain Body Fluid or Tissue sample | 87 | 3% |
| Dental Procedures | 10 | <1% |
| Dental drilling | 4 | <1 |  |
| Oral surgery | 4 | <1 |  |
| Restorative | 1 | <1 |  |
| Other dental procedure | 1 | <1 |  |
| Other | 290 | 9% |
| To obtain lab specimens | 40 | 1 |  |
| Transferring blood / body fluid to another container | 25 | 1 |  |
| Drilling | 15 | <1 |  |
| During disposal | 14 | <1 |  |
| Shaving | 8 | <1 |  |
| Other procedure | 164 | 5 |  |
| Procedure, unspecified | 24 | 1 |  |
| Unknown / Not answered | 159 | 5% |
| Nonclassifiable | 17 | 1% |

| DEVICE INVOLVED IN THE INJURY | N | % |
| --- | --- | --- |
| Hypodermic needles / syringe (hollow bore) | 887 | 29% |
| Hypodermic needle attached to a disposable syringe | 774 | 25 |  |
| Prefilled cartridge syringe | 35 | 1 |  |
| Hypodermic needle attached to a non-disposable syringe | 29 | 1 |  |
| Unattached hypodermic needle | 28 | 1 |  |
| Hypodermic needle attached to IV tubing | 6 | <1 |  |
| Hypodermic needle, unspecified | 15 | <1 |  |
| Suture Needle | 701 | 23% |
| Curved suture needle | 201 | 7 |  |
| Straight suture needle | 30 | 1 |  |
| Suture needle, unspecified | 470 | 15 |  |
| Other Hollow Bore Needle | 313 | 10% |
| IV stylet | 164 | 5 |  |
| Huber needle | 34 | 1 |  |
| Spinal or epidural needle | 20 | 1 |  |
| Biopsy needle | 16 | 1 |  |
| Other type of hollow bore needle | 16 | 1 |  |
| Hollow bore needle, unspecified | 63 | 2 |  |
| Winged Steel Needle (hollow bore) | 278 | 9% |
| Winged steel needle | 167 | 5 |  |
| Winged steel needle attached to a vacuum tube collection holder | 106 | 3 |  |
| Winged steel needle attached to IV tubing | 5 | <1 |  |
| Scalpel Blade | 214 | 7% |
| Vacuum Tube Collection Holder / Needle (hollow bore) | 150 | 4% |
| Vacuum tube collection holder / needle | 101 | 3 |  |
| Phlebotomy needle (other than winged steel needle) | 49 | 2 |  |
| Glass | 38 | 1% |
| Medication ampule / Vial / IV bottle | 10 | <1 |  |
| Specimen / Test / Vacuum tube | 9 | <1 |  |
| Slide | 7 | <1 |  |
| Pipette | 4 | <1 |  |
| Other glass item | 8 | <1 |  |
| Dental Device or Item | 7 | <1% |
| Dental bur | 3 | <1 |  |
| Dental explorer | 2 | <1 |  |
| Other dental device or item | 1 | <1 |  |
| Scaler / curette | 1 | <1 |  |
| Other | 427 | 14% |
| Lancet | 49 | 2 |  |
| Wire | 38 | 1 |  |
| Scissors | 36 | 1 |  |
| Retractor | 36 | 1 |  |
| Pin | 19 | 1 |  |
| Forceps | 17 | 1 |  |
| Razor | 13 | <1 |  |
| Trocar | 12 | <1 |  |
| Bovie electrocautery device | 11 | <1 |  |
| Drill bit | 10 | <1 |  |
| Bone cutter | 8 | <1 |  |
| Tenaculum | 4 | <1 |  |
| Bone chip / chipped tooth | 3 | <1 |  |
| Elevator | 1 | <1 |  |
| Rod | 1 | <1 |  |
| Other needle | 49 | 2 |  |
| Needle, Unspecified | 40 | 1 |  |
| Other type of sharp object | 87 | 3 |  |
| Unknown / Not answered | 52 | 2% |

| Safety Device | N | % |
| --- | --- | --- |
| No | 1,655 | 54 |  |
| Yes | 1,211 | 39 |  |
| Unknown / Not answered | 202 | 7 |  |
| WHEN THE INJURY OCCURRED | N | % |
| Before use of the item | 44 | 1 |  |
| During use of the item | 1,386 | 45 |  |
| After use and before disposal | 1,084 | 35 |  |
| During or after disposal of the item | 379 | 12 |  |
| Unknown / Not answered | 42 | 2 |  |
| Nonclassifiable | 133 | 4 |  |

| HOW THE INJURY OCCURRED | N | % |
| --- | --- | --- |
| Collision with Worker or Sharp | 520 | 17% |
| Collided with sharp | 255 | 8 |  |
| Collided with sharp after procedure | 139 | 5 |  |
| Collided with coworker or other person | 126 | 4 |  |
| Suturing | 408 | 13% |
| Suturing | 347 | 11 |  |
| Manipulating suture needle in holder | 45 | 1 |  |
| Tying suture | 16 | 1 |  |
| During Clean-up | 151 | 5% |
| During clean-up | 105 | 3 |  |
| Decontamination / Processing of used equipment | 45 | 1 |  |
| Disassembling device or equipment | 1 | <1 |  |
| Handle / Pass Equipment | 259 | 8% |
| Receiving / Passing / Transferring equipment | 137 | 4 |  |
| Handling equipment on tray or stand | 56 | 2 |  |
| Disassembling device or equipment | 53 | 2 |  |
| Opening / breaking glass containers | 13 | <1 |  |
| Patient Moved and Jarred Device | 248 | 8% |
| Activating Safety Device | 257 | 8% |
| Activating safety device | 217 | 7 |  |
| Incomplete activation | 40 | 1 |  |
| Improper Disposal | 206 | 7% |
| Left on table / tray | 64 | 2 |  |
| In trash | 43 | 1 |  |
| Left in bed / mattress | 21 | 1 |  |
| On floor | 20 | 1 |  |
| In linen / laundry | 10 | <1 |  |
| In pocket / clothing | 6 | <1 |  |
| Other improper disposal | 37 | 1 |  |
| Improper disposal, unspecified | 5 | <1 |  |
| During Sharps Disposal | 189 | 6% |
| While placing sharp in container, injured by sharp being disposed | 54 | 2 |  |
| While placing sharp in container, injured by sharp (unclear if sharp in container or being disposed) | 29 | 1 |  |
| Collided with sharp during / after disposal | 23 | 1 |  |
| In transit to disposal | 19 | 1 |  |
| While placing sharp in container, injured by sharp already in container | 15 | <1 |  |
| Protruding from opened container | 12 | <1 |  |
| While manipulating container | 9 | <1 |  |
| Overfilled sharps container | 9 | <1 |  |
| Sharp object dropped during / after disposal | 4 | <1 |  |
| Punctured sharps container | 2 | <1 |  |
| Struck by detached IV line needle during / after disposal | 1 | <1 |  |
| During sharps disposal, unspecified | 12 | <1 |  |
| Manipulate Needle in Patient | 256 | 8% |
| While withdrawing needle from patient | 148 | 5 |  |
| While inserting needle in patient | 62 | 2 |  |
| While manipulating needle in patient | 46 | 1 |  |
| Recap Needle | 87 | 3% |
| Recapping | 73 | 2 |  |
| Cap fell off after recapping | 10 | <1 |  |
| Removing cap after recapping | 4 | <1 |  |
| Access IV Line | 43 | 1% |
| While withdrawing needle from line | 27 | 1 |  |
| While inserting needle in line | 8 | <1 |  |
| While manipulating needle in line | 6 | <1 |  |
| Struck by detached IV line needle | 2 | <1 |  |
| Failure to Activate Safety Device | 118 | 4% |
| Device Malfunction | 58 | 2% |
| Before Use of the Item | 37 | 1% |
| Other | 184 | 6% |
| Incising | 48 | 2 |  |
| Sharp object dropped | 40 | 1 |  |
| Transferring blood / bodily fluids into specimen container | 22 | 1 |  |
| Processing specimens | 16 | 1 |  |
| Palpating / Exploring | 15 | <1 |  |
| Sharp object dropped after procedure | 14 | <1 |  |
| Other | 29 | 1 |  |
| Unknown / Not answered | 41 | 1% |
| Nonclassifiable | 6 | <1% |
| STATE TOTAL | 3,068 | 100% |
| ** Hospital specific nomenclature provided, without specifying department |
| Percentages for frequencies less than 5 were not calculated; Percentages calculated are column percents. |

Sharps Injuries among Hospital Workers by Device and Presence of Safety Features

| Device | No Safety Features | Safety Features | Unknown | Total |
| --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % | N | % |
| Hypodermic Needle / syringe | 257 | 29 | 598 | 67 | 32 | 4 | 887 | 100% |
| Suture Needle | 657 | 94 | 18 | 3 | 26 | 4 | 701 | 100% |
| Winged Steel Needle | 21 | 8 | 252 | 91 | 5 | 2 | 278 | 100% |
| Scalpel Blade | 171 | 80 | 33 | 15 | 10 | 5 | 214 | 100% |
| Vacuum tube collection holder / needle | 28 | 19 | 118 | 79 | 4 | 3 | 150 | 100% |
| Other Hollow bore needle | 139 | 44 | 153 | 49 | 21 | 7 | 313 | 100% |
| Other | 382 | 73 | 39 | 7 | 104 | 20 | 525 | 100% |
| Total | 1,655 | 54 | 1,211 | 39 | 202 | 7 | 3,068 | 100% |

Sharps Injuries among Hospital workers by Procedure and Devices With and Without Safety Features

| Procedure | No Safety Features | Safety Features | Unknown | Total |
| --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % | N | % |
| Injection Procedures |  |  |  |  |  |  |  |  |
|  | Subcutaneous Injection | 112 | 24 | 346 | 74 | 11 | 2 | 469 | 100% |
|  | Intramuscular Injection | 13 | 16 | 67 | 81 | 3 | 4 | 83 | 100% |
|  | Other Injections | 76 | 43 | 99 | 56 | 3 | 2 | 178 | 100% |
| Blood Procedures |  |  |  |  |  |  |  |  |
|  | Percutaneous venous puncture | 36 | 10 | 326 | 88 | 7 | 2 | 369 | 100% |
|  | Finger stick / Heel stick | 23 | 50 | 11 | 24 | 12 | 26 | 46 | 100% |
|  | Percutaneous arterial puncture | 6 | 14 | 37 | 84 | 1 | 2 | 44 | 100% |
|  | Other blood procedures | 10 | 43 | 12 | 52 | 1 | 4 | 23 | 100% |
| Line Procedures |  |  |  |  |  |  |  |  |
|  | To insert peripheral IV or set up heparin lock | 32 | 27 | 84 | 71 | 3 | 3 | 119 | 100% |
|  | To insert central line | 34 | 67 | 11 | 22 | 6 | 12 | 51 | 100% |
|  | Other line procedures | 71 | 43 | 89 | 54 | 5 | 3 | 165 | 100% |
| Other procedures | 1,242 | 82 | 139 | 8 | 150 | 10 | 1,521 | 100% |
| Total |  |  |  |  |  |  |  | 100% |

|  | Hospital size |  |  |
| --- | --- | --- | --- |
|  | <100 beds | 101-300 Beds | > 300 beds | All Hospitals |
|  | 31 hospitals | 54 hospitals | 14 hospitals | 99 hospitals |
|  | N | %* | N | %* | N | %* | N | %* |
| STATE TOTAL | 237 | 100 | % | 1,086 | 100 | % | 1,745 | 100 | % | 3,068 | 100 | % |
| Work status of injured worker |  |  |  |  |  |  |  |  |  |  |  |  |
| Employee | 212 | 89 |  | 929 | 86 |  | 1,537 | 88 |  | 2,678 | 87 | % |
| Non-Employee Practitioner | 16 | 7 |  | 123 | 11 |  | 130 | 7 |  | 269 | 9 |  |
| Student | 4 | 2 |  | 13 | 1 |  | 62 | 4 |  | 79 | 3 |  |
| Temporary / Contract Worker | 4 | 2 |  | 13 | 1 |  | 15 | 1 |  | 32 | 1 |  |
| Other | 1 | <1 |  | 0 | 0 |  | 0 | 0 |  | 1 | <1 |  |
| Unknown / Not answered / Nonclassifiable | 0 | 0 |  | 8 | <1 |  | 1 | <1 |  | 9 | <1 |  |
| Occupation |  |  |  |  |  |  |  |  |  |  |  |  |
| Nurse | 92 | 39 |  | 471 | 43 |  | 562 | 32 |  | 1,125 | 37 | % |
| Physician | 44 | 19 |  | 227 | 21 |  | 789 | 45 |  | 1,060 | 35 |  |
| Technician | 68 | 29 |  | 284 | 26 |  | 234 | 13 |  | 586 | 19 |  |
| Support Services | 17 | 7 |  | 60 | 6 |  | 56 | 3 |  | 133 | 4 |  |
| Other Medical Staff | 4 | 2 |  | 23 | 2 |  | 18 | 1 |  | 45 | 1 |  |
| Dental Staff | 0 | 0 |  | 2 | <1 |  | 7 | <1 |  | 9 | <1 |  |
| Other | 12 | 5 |  | 17 | 2 |  | 77 | 4 |  | 106 | 3 |  |
| Unknown / Not answered / Nonclassifiable | 0 | 0 |  | 2 | <1 |  | 2 | <1 |  | 4 | <1 |  |
| DEPARTMENT WHERE INJURY OCCURRED |  |  |  |  |  |  |  |  |  |
| Operating and Procedure Rooms | 93 | 40 |  | 448 | 41 |  | 798 | 46 |  | 1,339 | 44 | % |
| Inpatient Units | 46 | 19 |  | 285 | 26 |  | 316 | 18 |  | 647 | 21 |  |
| Emergency Department | 35 | 15 |  | 130 | 12 |  | 146 | 8 |  | 311 | 10 |  |
| Intensive Care Units | 14 | 6 |  | 74 | 7 |  | 161 | 9 |  | 249 | 8 |  |
| Outpatient areas | 6 | 3 |  | 40 | 4 |  | 130 | 7 |  | 176 | 6 |  |
| Laboratories | 7 | 3 |  | 42 | 4 |  | 100 | 6 |  | 149 | 5 |  |
| Other areas | 36 | 15 |  | 65 | 6 |  | 87 | 5 |  | 188 | 6 |  |
| Unknown / Not answered / Nonclassifiable | 0 | 0 |  | 2 | <1 |  | 7 | <1 |  | 9 | <1 |  |
| PROCEDURE FOR WHICH DEVICE WAS USED |  |  |  |  |  |  |  |  |  |
| Injection | 51 | 21 |  | 296 | 27 |  | 383 | 22 |  | 730 | 24 | % |
| Suturing | 43 | 18 |  | 180 | 17 |  | 447 | 26 |  | 670 | 22 |  |
| Blood Procedures | 44 | 19 |  | 243 | 22 |  | 195 | 11 |  | 482 | 16 |  |
| Line Procedures | 24 | 10 |  | 108 | 10 |  | 203 | 12 |  | 335 | 11 |  |
| Making the Incision | 31 | 13 |  | 89 | 8 |  | 168 | 10 |  | 288 | 9 |  |
| To Obtain Body Fluid or Tissue Sample | 5 | 2 |  | 26 | 2 |  | 56 | 3 |  | 87 | 3 |  |
| Dental Procedures | 1 | <1 |  | 2 | <1 |  | 7 | <1 |  | 10 | <1 |  |
| Other | 23 | 10 |  | 83 | 8 |  | 184 | 11 |  | 290 | 9 |  |
| Unknown / Not answered / Nonclassifiable | 13 | 6 |  | 59 | 5 |  | 102 | 6 |  | 176 | 6 |  |
| Percentages calculated are column percents; Percentages for frequencies less than 5 were not calculated. |
| Device involved in the injury |  |  |  |  |  |  |  |  |  |  |  |  |
| Hypodermic needles / syringe | 61 | 26 |  | 358 | 33 |  | 468 | 27 |  | 887 | 29 | % |
| Suture Needle | 48 | 21 |  | 191 | 18 |  | 462 | 26 |  | 701 | 23 |  |
| Winged Steel Needle | 22 | 9 |  | 135 | 12 |  | 121 | 7 |  | 278 | 9 |  |
| Scalpel Blade | 16 | 7 |  | 68 | 6 |  | 130 | 7 |  | 214 | 7 |  |
| Vacuum Tube Collection Holder / Needle | 23 | 10 |  | 63 | 6 |  | 64 | 4 |  | 150 | 5 |  |
| Glass | 4 | 2 |  | 10 | 1 |  | 24 | 1 |  | 38 | 1 |  |
| Dental Device or Item | 0 | 0 |  | 1 | <1 |  | 6 | <1 |  | 7 | <1 |  |
| Other Hollow Bore Needle | 25 | 11 |  | 119 | 11 |  | 169 | 10 |  | 313 | 10 |  |
| Other | 35 | 14 |  | 120 | 11 |  | 272 | 16 |  | 427 | 14 |  |
| Unknown / Not answered / Nonclassifiable | 3 | 1 |  | 21 | 2 |  | 29 | 2 |  | 53 | 2 |  |
| Safety Device |  |  |  |  |  |  |  |  |  |  |  |  |
| No | 126 | 53 |  | 449 | 41 |  | 1,080 | 62 |  | 1,655 | 54 | % |
| Yes | 99 | 42 |  | 547 | 50 |  | 565 | 32 |  | 1,211 | 39 |  |
| Unknown / Not answered | 12 | 5 |  | 90 | 8 |  | 100 | 6 |  | 202 | 7 |  |
| When the Injury Occurred |  |  |  |  |  |  |  |  |  |  |  |  |
| During Use of the Item | 86 | 36 |  | 457 | 42 |  | 843 | 48 |  | 1,386 | 45 | % |
| After Use / Before Disposal | 92 | 39 |  | 411 | 38 |  | 581 | 33 |  | 1,084 | 35 |  |
| During or After Disposal of the Item | 41 | 17 |  | 153 | 14 |  | 185 | 11 |  | 379 | 12 |  |
| Before Use of the Item | 6 | 3 |  | 10 | 1 |  | 28 | 2 |  | 44 | 1 |  |
| Unknown / Not answered / Nonclassifiable | 12 | 5 |  | 55 | 5 |  | 108 | 6 |  | 175 | 6 |  |
| HOW THE INJURY OCCURRED |  |  |  |  |  |  |  |  |  |  |  |  |
| Collision with Worker or Sharp | 43 | 18 |  | 162 | 15 |  | 315 | 18 |  | 520 | 17 | % |
| Suturing | 18 | 8 |  | 108 | 10 |  | 282 | 16 |  | 408 | 13 |  |
| Handle / Pass Equipment | 24 | 10 |  | 74 | 7 |  | 161 | 9 |  | 259 | 8 |  |
| Activate Safety Device | 25 | 11 |  | 113 | 10 |  | 119 | 7 |  | 257 | 8 |  |
| Manipulate Needle in Patient | 12 | 5 |  | 81 | 7 |  | 163 | 9 |  | 256 | 8 |  |
| Patient Moved / Jarred Device | 21 | 9 |  | 102 | 9 |  | 125 | 7 |  | 248 | 8 |  |
| Improper Disposal | 21 | 9 |  | 83 | 8 |  | 102 | 6 |  | 206 | 7 |  |
| During Sharps Disposal | 23 | 10 |  | 78 | 7 |  | 88 | 5 |  | 189 | 6 |  |
| During Clean-up | 14 | 6 |  | 70 | 6 |  | 67 | 4 |  | 151 | 5 |  |
| Failure to Activate Safety Device | 7 | 3 |  | 67 | 6 |  | 44 | 3 |  | 118 | 4 |  |
| Recap Needle | 4 | 2 |  | 26 | 2 |  | 57 | 3 |  | 87 | 3 |  |
| Device Malfunctioned | 4 | 2 |  | 26 | 2 |  | 27 | 2 |  | 58 | 2 |  |
| Access IV Line | 4 | 2 |  | 12 | 1 |  | 27 | 2 |  | 43 | 1 |  |
| Before Use of Item | 6 | 3 |  | 9 | 1 |  | 22 | 1 |  | 37 | 1 |  |
| Other | 6 | 3 |  | 60 | 6 |  | 118 | 7 |  | 184 | 6 |  |
| Unknown / Not answered / Nonclassifiable | 4 | 2 |  | 15 | 1 |  | 28 | 2 |  | 47 | 2 |  |
| Percentages calculated are column percents; Percentages for frequencies less than 5 were not calculated. |

|  |  | Teaching Status |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Teaching | Non-teaching | All Hospitals |
|  |  | 19 hospitals | 80 hospitals | 99 hospitals |
|  |  |  | N | %* | N | %* | N | %* |
| STATE TOTAL |  |  |  | 1,944 | 100 | % | 1,124 | 100 | % | 3,068 | 100 | % |
| Work status of injured worker |  |  |  |  |  |  |  |  |  |  |  |  |
| Employee |  |  |  | 1,726 | 89 |  | 952 | 85 |  | 2,678 | 87 | % |
| Non-Employee Practitioner |  |  |  | 131 | 7 |  | 138 | 12 |  | 269 | 9 |  |
| Student |  |  |  | 64 | 3 |  | 15 | 1 |  | 79 | 3 |  |
| Temp / Contract |  |  |  | 21 | 1 |  | 11 | 1 |  | 32 | 1 |  |
| Other |  |  |  | 0 | 0 |  | 1 | <1 |  | 1 | <1 |  |
| Unknown / Not answered / Nonclassifiable |  |  |  | 2 | <1 |  | 7 | 1 |  | 9 | 1 |  |
| Occupation |  |  |  |  |  |  |  |  |  |  |  |  |
| Nurse |  |  |  | 616 | 32 |  | 509 | 45 |  | 1,125 | 37 | % |
| Physician |  |  |  | 863 | 44 |  | 197 | 18 |  | 1,060 | 35 |  |
| Technician |  |  |  | 284 | 15 |  | 302 | 27 |  | 586 | 19 |  |
| Support Services |  |  |  | 59 | 3 |  | 74 | 7 |  | 133 | 4 |  |
| Other Medical Staff |  |  |  | 30 | 2 |  | 15 | 1 |  | 45 | 1 |  |
| Dental Staff |  |  |  | 8 | <1 |  | 1 | <1 |  | 9 | <1 |  |
| Other |  |  |  | 81 | 4 |  | 25 | 2 |  | 106 | 3 |  |
| Unknown / Not answered / Nonclassifiable |  |  |  | 3 | <1 |  | 1 | <1 |  | 4 | <1 |  |
| Department where injury occurred |  |  |  |  |  |  |  |  |  |
| Operating and Procedure Rooms |  |  |  | 908 | 47 |  | 431 | 38 |  | 1,339 | 44 | % |
| Inpatient Units |  |  |  | 357 | 18 |  | 290 | 26 |  | 647 | 21 |  |
| Emergency Department |  |  |  | 172 | 9 |  | 139 | 12 |  | 311 | 10 |  |
| Intensive Care Units |  |  |  | 183 | 9 |  | 66 | 6 |  | 249 | 8 |  |
| Outpatient areas |  |  |  | 142 | 7 |  | 34 | 3 |  | 176 | 6 |  |
| Laboratories |  |  |  | 104 | 5 |  | 45 | 4 |  | 149 | 5 |  |
| Other areas |  |  |  | 72 | 4 |  | 116 | 10 |  | 188 | 6 |  |
| Unknown / Not answered / Nonclassifiable |  |  |  | 6 | <1 |  | 3 | <1 |  | 9 | <1 |  |
| Procedure for which device was used |  |  |  |  |  |  |  |  |  |
| Injection |  |  |  | 406 | 21 |  | 324 | 29 |  | 730 | 24 | % |
| Suturing |  |  |  | 501 | 26 |  | 169 | 15 |  | 670 | 22 |  |
| Blood Procedures |  |  |  | 248 | 13 |  | 234 | 21 |  | 482 | 16 |  |
| Line Procedures |  |  |  | 216 | 11 |  | 119 | 11 |  | 335 | 11 |  |
| Making the Incision |  |  |  | 189 | 10 |  | 99 | 9 |  | 288 | 9 |  |
| To Obtain Body Fluid or Tissue Sample |  |  |  | 65 | 3 |  | 22 | 2 |  | 87 | 3 |  |
| Dental Procedures |  |  |  | 8 | <1 |  | 2 | <1 |  | 10 | <1 |  |
| Other |  |  |  | 198 | 10 |  | 92 | 8 |  | 290 | 9 |  |
| Unknown / Not answered / Nonclassifiable |  |  |  | 113 | 6 |  | 63 | 6 |  | 176 | 6 |  |
| Percentages calculated are column percents; Percentages for frequencies less than 5 were not calculated. |
| STATE TOTAL |  |  |  | 1,944 | 100 | % | 1,124 | 100 | % | 3,068 | 100 | %216 |
| Device involved in the injury |  |  |  |  |  |  |  |  |  |  |  |  |
| Hypodermic needles / syringe |  |  |  | 494 | 25 |  | 393 | 35 |  | 887 | 29 |  |
| Suture Needle |  |  |  | 514 | 26 |  | 187 | 17 |  | 701 | 23 |  |
| Winged Steel Needle |  |  |  | 164 | 8 |  | 114 | 10 |  | 278 | 9 |  |
| Scalpel Blade |  |  |  | 151 | 8 |  | 63 | 6 |  | 214 | 7 |  |
| Vacuum Tube Collection Holder / Needle |  |  |  | 64 | 3 |  | 86 | 8 |  | 150 | 5 |  |
| Glass |  |  |  | 29 | 1 |  | 9 | 1 |  | 38 | 1 |  |
| Dental Device or Item |  |  |  | 7 | <1 |  | 0 | 0 |  | 7 | <1 |  |
| Other Hollow Bore Needle |  |  |  | 194 | 10 |  | 119 | 11 |  | 313 | 10 |  |
| Other |  |  |  | 294 | 15 |  | 133 | 12 |  | 427 | 14 |  |
| Unknown / Not answered / Nonclassifiable |  |  |  | 33 | 2 |  | 20 | 2 |  | 53 | 2 |  |
| Safety Device |  |  |  |  |  |  |  |  |  |  |  |  |
| No |  |  |  | 1,165 | 60 |  | 490 | 44 |  | 1,655 | 54 | % |
| Yes |  |  |  | 641 | 33 |  | 570 | 51 |  | 1,211 | 39 |  |
| Unknown / Not answered |  |  |  | 138 | 7 |  | 64 | 6 |  | 202 | 7 |  |
| When the Injury Occurred |  |  |  |  |  |  |  |  |  |  |  |  |
| During Use of the Item |  |  |  | 952 | 49 |  | 434 | 39 |  | 1,386 | 45 | % |
| After Use / Before Disposal |  |  |  | 624 | 32 |  | 460 | 41 |  | 1,084 | 35 |  |
| During or After Disposal of the Item |  |  |  | 216 | 11 |  | 163 | 15 |  | 379 | 12 |  |
| Before Use of the Item |  |  |  | 31 | 2 |  | 13 | 1 |  | 44 | 1 |  |
| Unknown / Not answered / Nonclassifiable |  |  |  | 121 | 6 |  | 54 | 5 |  | 175 | 6 |  |
| HOW THE INJURY OCCURRED |  |  |  |  |  |  |  |  |  |  |  |  |
| Collision with Worker or Sharp |  |  |  | 362 | 19 |  | 158 | 14 |  | 520 | 17 | % |
| Suturing |  |  |  | 318 | 16 |  | 90 | 8 |  | 408 | 13 |  |
| Activate Safety Device |  |  |  | 125 | 6 |  | 132 | 12 |  | 257 | 8 |  |
| Handle / Pass Equipment |  |  |  | 169 | 9 |  | 90 | 8 |  | 259 | 8 |  |
| Manipulate Needle in Patient |  |  |  | 179 | 9 |  | 77 | 7 |  | 256 | 8 |  |
| Patient Moved / Jarred Device |  |  |  | 146 | 8 |  | 102 | 9 |  | 248 | 8 |  |
| Improper Disposal |  |  |  | 120 | 6 |  | 86 | 8 |  | 206 | 7 |  |
| During Sharps Disposal |  |  |  | 102 | 5 |  | 87 | 8 |  | 189 | 6 |  |
| During Clean-up |  |  |  | 80 | 4 |  | 71 | 6 |  | 151 | 5 |  |
| Failure to Activate Safety Device |  |  |  | 47 | 2 |  | 71 | 6 |  | 118 | 4 |  |
| Recap Needle |  |  |  | 57 | 3 |  | 30 | 3 |  | 87 | 3 |  |
| Device Malfunctioned |  |  |  | 26 | 1 |  | 32 | 3 |  | 58 | 2 |  |
| Before Use of Item |  |  |  | 25 | 1 |  | 12 | 1 |  | 37 | 1 |  |
| Access IV Line |  |  |  | 29 | 1 |  | 14 | 1 |  | 43 | 1 |  |
| Other |  |  |  | 133 | 7 |  | 51 | 5 |  | 184 | 6 |  |
| Unknown / Not answered / Nonclassifiable |  |  |  | 26 | 1 |  | 21 | 2 |  | 47 | 2 |  |
| Percentages calculated are column percents; Percentages for frequencies less than 5 were not calculated. |

MDPH Occupational Health Surveillance Program

http://www.mass.gov/dph/ohsp

Sharps Injury Surveillance and Prevention Project - e-mail: Sharps.Injury@state.ma.us

OSHA Subject Page for Needle Sticks

Includes Bloodborne Pathogens Standard and compliance directive

http://www.osha.gov/SLTC/bloodbornepathogens/index.html

CDC-MMWR September 30, 2005 / Vol. 54 / RR-9

Updated U.S. Public Health Service Guidelines for the Management of Occupational Exposures to HIV and Recommendations for Post Exposure Prophylaxis

http://www.cdc.gov/mmwr/preview/mmwrhtml/rr5409a1.htm

CDC-MMWR June 29, 2001 / Vol. 50 / RR-11

Updated U.S. Public Health Service Guidelines for the Management of Occupational Exposures to HBV, HCV and HIV and Recommendations for Post Exposure Prophylaxis

http://www.cdc.gov/mmwr/PDF/rr/rr5011.pdf

# CDC Division of Healthcare Quality Promotion

# Workbook for Designing, Implementing, and Evaluating a Sharps Injury Prevention Program

http://www.cdc.gov/sharpssafety/

CDC Division of Healthcare Quality Promotion, Issues in Healthcare

Information related to bloodborne pathogens

http://www.cdc.gov/ncidod/hip/Blood/blood.htm

CDC Division of Healthcare Quality Promotion, National Surveillance System for Health care Workers

http://www.cdc.gov/ncidod/hip/SURVEILL/nash.HTM

National Surveillance System for Health care Workers,

Summary report for data collected from June 1995 through July 1999

http://www.cdc.gov/ncidod/hip/NASH/report99.PDF

NIOSH Alert – Preventing Needlestick Injuries in Health care settings

http://www.cdc.gov/niosh/2000-108.html

JCAHO Sentinel Event Alert, Issue 22 August 2001

Preventing Needlestick and Sharps Injuries

http://www.jcaho.org/edu_pub/sealert/sea22.html

EPINet, International Health Care Worker Safety Center, University of Virginia

http://www.med.virginia.edu/medcntr/centers/epinet/

Training for Development of Innovative Control Technologies (TDICT) Project, San Francisco General Hospital

http://www.tdict.org/

Sustainable Hospitals Project, Lowell Center for Sustainable Production, University of Massachusetts Lowell

http://sustainablehospitals.org

# Footnotes

“Sharps Injuries among Hospital Workers in Massachusetts” for 2002, 2003, 2004, 2005, 2006 and 2007 can be downloaded from www.mass.gov/dph/ohsp under “Needlesticks and Other Sharps Injuries” and “Data and Statistics”.

# Text boxes

Figure 1.  Sharps Injuries among Hospital Workers by Occupation, Massachusetts, 2007, N=3,068

Data Source: Annual Summary of Sharps Injuries, 2007

Figure 2.  Sharps Injuries among Hospital Workers by Device involved in the Injury, Massachusetts, 2007, N=3,068

Data Source: Annual Summary of Sharps Injuries, 2007

Figure 3. Sharps Injuries among Hospital Workers by Presence of Engineered Sharps Injury Prevention Feature, Massachusetts, 2007, N=3,068

Data Source: Annual Summary of Sharps Injuries, 2007

Figure 4.  Sharps Injuries among Hospital Workers by Purpose or Procedure for which the Device was used Massachusetts, 2007, N=3,068

Data Source: Annual Summary of Sharps Injuries, 2007

Data Source: Annual Summary of Sharps Injuries, 2007

Figure 5. Sharps Injury Rates by Hospital Size Category, Massachusetts, 2007,  N=3,068

Inventory of sharps devices developed with input from unit staff or managers

Sharps without Engineered Sharps Injury Protections

(non-SESIPs)

Sharps with Engineered Sharps Injury Protections

(SESIPs)

Periodically review devices for newer technology

Identify devices for which alternatives with engineered sharps Injury protections exist

Ask manufacturer representative about returning unopened products

Using data from the Annual Summary,

prioritize devices to be replaced based on:

· frequency of injuries

· types of procedures performed

(high risk – e.g., blood drawing, IV placement)

Identify alternative devices with engineered sharps injury protections

Implement new devices

Collect written evaluations from device trials

Conduct device trials and training

Identify units in which device trials will be conducted

Present options to device review committee

Add new devices to inventory list