The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

October 22, 2012

Lisa Jackson, Superintendent

South Middlesex Correctional Center

135 Western Ave.

P.O. Box 788

Framingham, MA 01701

Re: Facility Inspection

Dear Superintendent Jackson:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the South Middlesex Correctional Center on October 11 and 12, 2012 accompanied by Michael Sacino, EHSO, Tony Montonari, Industrial Instructor, Eva Plumnoff, CPO A/B, Paul Halfmann, Assistant Director of the Community Sanitation Program and Amy Riordan, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

3RD FLOOR

Bathroom 3-1

105 CMR 451.123*	Maintenance: Missing light shields

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 toilet not working

105 CMR 451.123*	Maintenance: Toilet 1, not easily cleanable

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower stall # 3

105 CMR 451.123	Maintenance: All shower walls paint peeling

105 CMR 451.123	Maintenance:  Radiator cover damaged

105 CMR 451.123	Maintenance:  Light shield missing

105 CMR 451.123	Maintenance:  Ceiling damaged

105 CMR 451.123	Maintenance:  Ceiling vent dusty

105 CMR 451.123	Maintenance:  Shower wall dividers damaged in between shower stall # 1 and 4

Bathroom 3-2

105 CMR 451.123*	Maintenance: Paint peeling in showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink # 2 leaking

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 toilet not working

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no cold water at sink # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1020F

Bathroom 3-3	Shower # 2 occupied at time of inspection

105 CMR 451.123*	Maintenance: Paint peeling in showers

105 CMR 451.350	Structural Maintenance: Tile damaged near sink # 2

Electrical Closet #1 & 2

No Violations Noted

Rooms	Room # 327 not in used

105 CMR 451.350	Structural Maintenance: Wall damaged around electrical wires in # 309

105 CMR 451.350	Structural Maintenance: Ceiling damaged in # 317, 319, 321, 322, 325, 327, 328, 331, 332, 333, 334 and 335

105 CMR 451.350	Structural Maintenance: Wall damaged in # 337

105 CMR 451.350	Structural Maintenance: Baseboard damaged in # 330

105 CMR 451.353	Interior Maintenance: Window sill paint damaged in # 319

105 CMR 451.353	Interior Maintenance: Wall paint damaged in # 320, 321, 322 and 330

105 CMR 451.353	Interior Maintenance: Light shield missing in # 321, 322, 327 and 337

105 CMR 451.353	Interior Maintenance: Radiator cover screen not secure in # 321, 322, 331, 334 and 337

105 CMR 451.101	Blankets: Blanket damaged in cell # 322

105 CMR 451.320	Cell Size: Inadequate floor space in cell # 336

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in #327

Porch

Not in Use

Closet 3-A, 3-B & 3-D

No Violations Noted

Closet 3-C

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353	Interior Maintenance: Drain cover not in drain

Closet 3-E

105 CMR 451.353	Interior Maintenance: Slop sink drain cover damaged

3rd Floor Offices

No Violations Noted

2nd FLOOR

Bathroom 2-4

105 CMR 451.123	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Drain covers not secure in all showers

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 2 and 3

105 CMR 451.123	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Wall damaged in toilet stall # 4

Bathroom 2-3

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 3

105 CMR 451.123	Maintenance: Drain cover not secure in shower # 1

105 CMR 451.123	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Radiator cover screen not secure

Water Fountain near Bathroom 2-3

105 CMR 451.353	Interior Maintenance: Water fountain not working

Bathroom 2-2

105 CMR 451.123	Maintenance: Wall tiles missing in shower # 1

Janitor Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Bathroom 2-1

105 CMR 451.123*	Maintenance: Floor damaged in shower

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 2

105 CMR 451.123	Maintenance: Ceiling paint peeling

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Wall damaged near soap dispenser

105 CMR 451.123	Maintenance: Possible mold growth near windows

Library

No Violations Noted

Closet 2-C, 2-D, 2-F, 2-G, 2-H

No Violations Noted

Closet 2-A

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Closet 2-E

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink faucet loose

Phone Area

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Rooms

105 CMR 451.353	Interior Maintenance: Window shade damaged in # 201 and 207

105 CMR 451.353	Interior Maintenance: Wall paint damaged in # 203, 207, 209, 213, 223, 227, 228, 235 and 254

105 CMR 451.350	Structural Maintenance: Baseboard damaged in # 204

105 CMR 451.350	Structural Maintenance: Wall damaged near electrical wires in # 208

105 CMR 451.350	Structural Maintenance: Wall damaged in # 213, 232 and 252

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated in # 229

105 CMR 451.353	Interior Maintenance: Radiator cover screen not secure in # 236, 237, 242, 245, 247 and 248

Porch

Not in Use

1st FLOOR

Administration Area

Director of Security Office

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Shift Commanders Office

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Break Area

No Violations Noted

Janitor’s Closet

No Violations Noted

Deputy’s Office

No Violations Noted

Women’s Bathroom

No Violations Noted

Men’s Bathroom

No Violations Noted

Visiting Area

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Light shield missing

Vending Machine Area

FC 4-601.11(c)*		Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

105 CMR 451.353	Interior Maintenance: Water fountain clogged up

Remaining Facility

Holding Cell

No Violations Noted

Meeting Room

No Violations Noted

HSU/Nurses Office

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1050F

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

105 CMR 480.500	Procedures; Records; Record-Keeping Log: Not maintaining a current record-keeping log

Records Room

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in one 
refrigerator

Dental Office

No Violations Noted

Medical Waste Storage

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

Kitchenette

No Violations Noted

Laundry

105 CMR 451.353	Interior Maintenance: Debris behind machines

105 CMR 451.350	Structural Maintenance: Unused ventilation pipe causing hole in wall

Staff Locker Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged above showers

105 CMR 451.130	Plumbing: No backflow preventer on thread faucets

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Toxic Caustic Room

105 CMR 451.353	Interior Maintenance: Light shield missing

105 CMR 451.350	Structural Maintenance: Baseboard damaged

105 CMR 451.353	Interior Maintenance: Light shield loose

TV Room

105 CMR 451.350	Structural Maintenance: Wall damaged in several areas

Recreational Room

105 CMR 451.353	Interior Maintenance: 2 light bulbs missing

105 CMR 451.350	Structural Maintenance: Baseboard damaged

Chaplain’s Office

No Violations Noted

Hair Salon

105 CMR 451.353	Interior Maintenance: Radiator cover screen not secure

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Closet 1-B, 1-D, 1-E

No Violations Noted

Closet 1-C

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Classroom

No Violations Noted

Computer Room

105 CMR 451.353	Interior Maintenance: Light shield missing

105 CMR 451.353	Interior Maintenance: Radiator cover screen not secure

Horticulture Room

No Violations Noted

BASEMENT

Property

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Records Storage

No Violations Noted

Warehouse

No Violations Noted

Tool Crib

No Violations Noted

Gym

105 CMR 451.353	Interior Maintenance: Bench cover damaged

Mechanical Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Standing water on floor

Fan Storage Room

No Violations Noted

Recreational Room

No Violations Noted

Hallway near Recreation Room

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Dining Area

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, access panel above toaster is peeling paint

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, pipe leaking by 
door # 5

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, milk dispenser leaking

Main Kitchen

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, pipe paint peeling in baker’s area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged in baker’s area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, window broken in baker’s area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice machine door broken

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall damaged on corner of baker’s area wall

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1040F

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, food prep sink faucet leaking

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged under food prep sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles missing

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up near service line

Dishwasher Area

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall not easily cleanable, wall damage near doorway to toxic caustic area

105 CMR 451.350*	Structural Maintenance: Door frame damaged into toxic caustic area

Toxic Caustic Room

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Dry Goods

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Rodent droppings observed

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on refrigerator # 5

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented/Damaged cans not properly 	segregated

Utensils Cabinet

FC 4-502.11(A)	Maintenance and Operation, Utensils: Utensils not maintained in a state of good	repair, rubber spatula damaged

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, one ladle dirty

Walk-in Freezer

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, freezer unit not functioning properly, ice built-up on boxes and items stored in freezer

Loading Dock Area

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and vermin tight

Kitchen Bathroom

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, slop sink faucet leaking

Maintenance Storage Room

No Violations Noted

Property Storage Room

No Violations Noted

Chiller Room

No Violations Noted

Telephone Room

No Violations Noted

Office Supply Room

105 CMR 451.360	Protective Measures: Rodent droppings observed

FAMILY RE-UNIFICATION HOUSE

Basement

105 CMR 451.353	Interior Maintenance: Missing drain cover on floor drain

2nd Floor

Bathroom

105 CMR 451.353*	Interior Maintenance: Light not functioning properly

EXTERIOR

No Violations Noted

GARAGE

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

HODDER HOUSE

2nd Floor

Room 2-2

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Male Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 640F

Observations and Recommendations

- The inmate population was 160 at the time of inspection

- Base on the number of beds in the room, if they were to be filled, the room would not meet 105 CMR 450.320 square footage

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Michael Sacino, EHSO – added 12/12/12

Framingham Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS