The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

180 Beaman Street, West Boylston, MA 01583

Phone: 508-792-7880 Fax: 508-792-7706

TTY: 508-835-9796

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

April 3, 2019

Allison Hallett, Superintendent

MCI Framingham

99 Loring Drive

P.O. Box 9007

Framingham, MA 01701

Re: Facility Inspection – South Middlesex Correctional Center, Framingham

Dear Superintendent Hallett:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and          105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the South Middlesex Correctional Center on March 26, 2019 accompanied by Steve Murga, Environmental Health and Safety Officer and Tony Montonari, Maintenance Supervisor. Violations noted during the inspection are listed below including 17 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

3rd FLOOR

Hallway

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged outside of bathroom 3-2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, bubbler not working in hallway

Bathroom 3-3

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling damaged in cell # 337

105 CMR 451.353*	Interior Maintenance: Window shade damaged in cell # 334

Maintenance Office # 309

No Violations Noted

Command Post

No Violations Noted

Classification Office

No Violations Noted

Kitchenette

No Violations Noted

Office # 316

No Violations Noted

Closet 3-A

No Violations Noted

Office # 312, 313, and 315

No Violations Noted

Office # 314

105 CMR 451.353	Interior Maintenance: Window shade damaged

Bathroom 3-2

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1210F in shower # 3

Closet 3-B

No Violations Noted

Slop Sink 3-C

No Violations Noted

Phone Area

No Violations Noted

Bathroom 3-1

105 CMR 451.123	Maintenance: Shower # 4 generally dirty

Slop Sink 3-D

No Violations Noted

Closet 3-E

No Violations Noted

Cleaning Utilities

No Violations Noted

2nd FLOOR

Office # 249

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 228, 245, and 246

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 221

105 CMR 451.103	Mattresses: Mattress damaged in cell # 204 and 230

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 235 and 242

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 239, 240, and 248

105 CMR 451.353	Interior Maintenance: Window shade damaged in cell # 220 and 236

Cleaning Utilities

No Violations Noted

Closet 2-G

No Violations Noted

Closet 2-F

No Violations Noted

Bathroom 2-4

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1260F in shower # 3

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F in sink # 1

Phone Area

No Violations Noted

Closet 2-D

No Violations Noted

Closet 2-C

No Violations Noted

Bathroom 2-3

105 CMR 451.153*	Interior Maintenance: Ceiling paint damaged outside bathroom

Closet 2-E

No Violations Noted

Kitchenette

No Violations Noted

Unit Team Office

No Violations Noted

Command Post # 227

No Violations Noted

Bathroom 2-2

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 2

105 CMR 451.123	Maintenance: Shower # 1 and 2 generally dirty

105 CMR 451.123	Maintenance: Walls and floors stained brown in shower # 1 and 2

Bathroom 2-1

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 1

105 CMR 451.123	Maintenance: Walls and floors stained brown in shower # 3

Closet 2-A

No Violations Noted

1st FLOOR

Administration Area

Deputy’s Office

No Violations Noted

Conference Room # 2

No Violations Noted

Janitor’s Closet

No Violations Noted

IPS # 4

No Violations Noted

Deputy Assistant’s Office # 3

No Violations Noted

Records # 5

No Violations Noted

Director of Treatment # 7

No Violations Noted

Treasurer’s Office # 6

No Violations Noted

Operations # 8

No Violations Noted

ACA Office # 9

No Violations Noted

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F

Male Bathroom

No Violations Noted

Visiting Area

Inmate Bathroom

No Violations Noted

Visitor’s (Female) Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F

Electrical Closets

No Violations Noted

Vending Machine Area

No Violations Noted

Holding Cell

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at sink

Control Center

Shift Commander’s Office

No Violations Noted

Security Equipment Room

No Violations Noted

Refrigerator Room

No Violations Noted

Remaining Facility

Meeting Room (# 11)

No Violations Noted

Classroom # 1(#12)

No Violations Noted

Training Room

No Violations Noted

Physical Therapy (#16)

No Violations Noted

Treatment Room (#18)

No Violations Noted

Closet 1-A

No Violations Noted

Medical Exam Room (#14)

No Violations Noted

Parole (#13)

105 CMR 451.353	Interior Maintenance: Heater not secured to wall

Closet 1-B

No Violations Noted

Medical Room (in HSU)

No Violations Noted

Medical Services (HSU #15)

No Violations Noted

Room # 20

No Violations Noted

Telephone Room (#17)

No Violations Noted

Dental Office (#22)

No Violations Noted

Work Release Office (#19)

No Violations Noted

Multi-Purpose Room # 2 (#24)

No Violations Noted

Mental Health Office (#21)

No Violations Noted

Toxic Caustic Room

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged and unfinished

Medical Waste Storage (in Toxic Caustic Room)

No Violations Noted

Chaplain’s Office (#26)

No Violations Noted

Laundry (#23)

No Violations Noted

Library (#28)

No Violations Noted

Hair Salon (#25)

No Violations Noted

Closet 1-C

No Violations Noted

Closet 1-D

No Violations Noted

Classroom # 2 (#30)

No Violations Noted

Closet 1-E

No Violations Noted

Room # 32

No Violations Noted

Staff Locker Room (#27)

105 CMR 451.123	Maintenance: Shower # 1-3 generally dirty

Classroom # 3 (#34)

No Violations Noted

Break Room

105 CMR 451.353*	Interior Maintenance: Mouse droppings observed

BASEMENT

Dining Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, pipe insulation damaged

Main Kitchen

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mouse droppings observed

FC 4-501.12	Maintenance and Operation, Equipment: Cutting surfaces damaged and no longer easily cleanable, cutting boards severely damaged

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, 3-compartment sink leaking

FC 4-601.11(A)	Cleaning of Equipment and Utensils: Equipment not cleaned properly, can opener dirty

Dishwasher Area

No Violations Noted

Dishwasher Storage Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, pipe insulation damaged

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, pipe leaking

Toxic Caustic Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mouse droppings observed

Loading Dock

FC 6-202.15(A)(3)	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Walk-in Freezer

No Violations Noted

Walk-in Refrigerator

FC 3-501.17(A)	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared onsite not discarded within 7 days, meatballs not properly discarded

Dry Goods

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, mouse droppings observed

Long Term Storage

105 CMR 451.353	Interior Maintenance: Mouse droppings observed

IPS Evidence

No Violations Noted

Kitchen Bathroom

No Violations Noted

Electrical Room

No Violations Noted

Generator Room

No Violations Noted

Office Supply/Storage

No Violations Noted

Lock Shop

No Violations Noted

Property Storage

No Violations Noted

Recreational Room

No Violations Noted

Ventilation Room (Fan Room)

No Violations Noted

Gym

No Violations Noted

Mop Closet (across from Gym)

No Violations Noted

Property (large)

105 CMR 451.353	Interior Maintenance: Mouse droppings observed

Inmate Boutique and Property

105 CMR 451.353*	Interior Maintenance: Mouse droppings observed

Warehouse

105 CMR 451.353*	Interior Maintenance: Mouse droppings observed

105 CMR 451.353	Interior Maintenance: Dead mouse observed in trap

Tool Crib

No Violations Noted

FAMILY RE-UNIFICATION HOUSE

1st Floor

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, kitchen cold water faucet missing a stopper

105 CMR 451.103	Mattresses: Mattress damaged in master bedroom

2nd Floor

No Violations Noted

Bathroom

No Violations Noted

Hallway

No Violations Noted

Classroom

No Violations Noted

Office

No Violations Noted

Basement

No Violations Noted

EXTERIOR

No Violations Noted

GARAGE

105 CMR 451.126	Hot Water: Hot water temperature recorded at 980F in bathroom

Observations and Recommendations

- The inmate population was 80 at the time of inspection.

- The Department was informed the ceiling on the 2nd floor has asbestos containing material. Any work that is conducted on this ceiling must be done in accordance with 310 CMR 7.0 and 453 CMR 6.0.

- Water filtration units have been installed on the 2nd and 3rd floor for inmates to utilize.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan, MPH													Field Supervisor, EA III, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Steve Murga, EHSO  								(electronic copy)

Sam Wong, PhD, REHS/RS, Director, Framingham Health Department   		(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)