The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

December 22, 2021

Dean Gray, Superintendent

Souza-Baranowski Correctional Center

P.O. Box 8000

Shirley, MA 01464		(electronic copy)

Re: Facility Inspection – Souza-Baranowski Correctional Center, Shirley

Dear Superintendent Gray:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of Souza-Baranowski Correctional Center on

December 6, 7, 8, 9, and 10, 2021 accompanied by Mark George and Frank Delgado, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 131 repeat violations.

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kelli Poulin

Environmental Health Inspector, CSP, BEH

cc:	Margret R. Cooke, Acting Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Mark George, EHSO								(electronic copy)

Frank Delgado, EHSO								(electronic copy)

James Garreffi, RS, CHO, Director, Nashoba Associated Boards of Health 	(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Entrance Area

Bubbler & Vending Machine

No Violations Noted

Female Bathroom # A1-10

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water leaking under

handwash sink # 4

105 CMR 451.126		Hot Water: Hot water temperature recorded at 103oF at handwash sink # 5

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in stall # 1

Male Bathroom # A1-9

No Violations Noted

Janitor’s Closet # A1-11

No Violations Noted

Reception Area

No Violations Noted

1st Floor

Female Bathroom # A1-31

No Violations Noted

Janitor’s Closet # A1-43

105 CMR 451.353	Interior Maintenance: Mop stored upside down

Roll Call Room and Storage Closets

No Violations Noted

Male Locker Room # A1-32

105 CMR 451.123*	Maintenance: Soap scum observed on walls in shower # 2 and 3

105 CMR 451.123	Maintenance: Floor drain clogged in shower # 1

105 CMR 451.123	Maintenance: Baseboard tiles damaged near urinal

105 CMR 451.123	Maintenance: Ants observed on floor

105 CMR 451.123	Maintenance: Ceiling tiles water stained

105 CMR 451.123	Maintenance: Ceiling tiles missing

Administration Area # A2-6

2nd Floor

Kitchenette

No Violations Noted

Copy Room # A2-30

No Violations Noted

Female Bathroom # A2-22

No Violations Noted

Male Bathroom # A2-21

No Violations Noted

Offices

No Violations Noted

Storage Closet # A2-29

105 CMR 451.353	Interior Maintenance: Sprinkler shroud missing

Male Bathroom # A2-48

No Violations Noted

Female Locker Room # A2-44

105 CMR 451.123	Maintenance: Metal flashing loose between showers

105 CMR 451.123	Maintenance: Wall paint damaged around soap dispenser at handwash sink

Hallway Bubbler

No Violations Noted

Weight Room # A2-37

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Janitor’s Closet # A2-32

105 CMR 451.353	Interior Maintenance: Mop stored upside down

Outer Control # A1-16

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Bathroom # A1-17

No Violations Noted

Sharps Storage Closet # A1-15

No Violations Noted

IPS

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Offices

No Violations Noted

Visiting Area

Control Area

No Violations Noted

Search Rooms

No Violations Noted

Non-Contact Visiting Area # B1-22

105 CMR 451.353	Interior Maintenance: Wall left unfinished at visitor booth # 7

Inmate Bathroom Area

No Violations Noted

Contact Area

No Violations Noted

Bathrooms

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom # B1-9

105 CMR 451.123	Maintenance: Ceiling vent dusty in bathroom # B1-8, B1-10, and B1-11

Room # B1-7

No Violations Noted

Janitor’s Closet # B1-12

No Violations Noted

Inner Control # B1-1B

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Bathroom # B1-39

No Violations Noted

Operations Area

Male Bathroom # B1-49

No Violations Noted

Female Bathroom # B1-48

No Violations Noted

Storage Closet # B1-43

No Violations Noted

Kitchenette

No Violations Noted

Janitor’s Closet # B1-15

No Violations Noted

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Main Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged throughout main kitchen

Inmate Dining Area

No Violations Noted

Tray Washing Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, baseboard paint damaged near warewash machine

FC 4-501.15	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, final rinse cycle not operating in accordance with data plate

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, tray drying rack dirty

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking at 3-compartment sink

North Side Serving (Not in Use)

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink out-of-order

Area Between Serving Lines

No Violations Noted

South Side Serving

FC 3-501.16(A)(1)*	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 135°F or aboveP, chop suey recorded at 1100F

FC 7-204.11(A)	Operational Supplies and Applications, Chemicals: Sanitizer for food-contact surface does not meet the requirements specified in 40 CFR 180.940P, sanitizing concentration too strong

FC 4-903.11(A)	Protection of Clean Items, Storing: Single-use items not stored in an appropriate location, box of trays stored on ground

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Facilities on the Premises: No trash provided at handwash sink

Pot Washing Area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, floor drain clogged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water observed on floor

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, water leaking under rinse compartment of 3-compartment sink

Cooking/Prep Area

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1040F at handwash sink

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty behind grill

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed behind grills

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, cold water handle leaking at prep sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, water inlet leaking at kettle # 5

FC 3-302.12	Protection from Contamination After Receiving, Preventing Food and Ingredient Contamination: Food or food ingredients that have been removed from original packages not labeled with common name of food, unlabeled spices under food prep table

Bakery

FC 6-501.114(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, proofer not removed or repaired

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, walk-in refrigerator out-of-order

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, dead rodent observed

Bakery Dry Storage (Not in Use)

Unable to Inspect – Locked

Storage for Kitchen # C1-66

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

Left Over Cooler # C1-67 (Not in Use)

Unable to Inspect – Locked

Meat Cooler # C1-64

No Violations Noted

Produce Cooler # C1-63

No Violations Noted

Dairy Cooler # C1-62

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirtyPf, shelves dirty

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered, ice bucket left uncovered

Office # C1-49

No Violations Noted

Office # C1-52

FC 4-602.12(B)	Cleaning of Equipment and Utensils, Frequency: Interior of microwave oven not cleaned every 24 hours

Food Director’s Office

No Violations Noted

Handwash Sink

No Violations Noted

Janitor’s Closet # C1-51

No Violations Noted

Staff Bathroom/Locker Room # C1-55

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Inmate Bathroom # C-59

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Staff Bathroom

Unable to Inspect – Not in Use

Ice Machine

No Violations Noted

Culinary # D1-36

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout culinary

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty throughout Culinary Area

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Office

No Violations Noted

Dry Goods # D1-41

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty

Kitchen

No Violations Noted

Handwash Sink

No Violations Noted

Janitor’s Closet # DG-44

FC 6-501.16*	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; wet mop stored in bucket

Dishwasher Area # DG-37

No Violations Noted

Serving Line # D1-36A

No Violations Noted

Staff Dining Area # D1-25

No Violations Noted

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

Male Staff Locker Room # D1-27

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Female Staff Locker Room # D1-31

105 CMR 451.123*	Maintenance: One light not working over bench

105 CMR 451.123*	Maintenance: Light fixture over bench corroded

Janitor’s Closet # D1-26

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed in storage closet

Gym Area # D1-15

Control

No Violations Noted

Janitor’s Closet # D1-24

No Violations Noted

Inmate Bathroom # D1-23

105 CMR 451.123*	Maintenance: Handwash sink dirty

105 CMR 451.123*	Maintenance: Floor dirty

South Gym # D1-17

No Violations Noted

Bubbler

No Violations Noted

Room # D1-21

No Violations Noted

Room # D1-20

No Violations Noted

Staff Office # D1-19

No Violations Noted

Janitor’s Closet # D1-22

No Violations Noted

Storage Room # D1-18

No Violations Noted

North Gym # D1-13

No Violations Noted

Bubbler

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, excessive water pressure at bubbler

105 CMR 451.353*	Interior Maintenance: Bubbler dirty

Storage Room # D1-14

No Violations Noted

Weight Room # D1-11

105 CMR 451.350	Structural Maintenance: Window damaged inside weight room

Bubbler

No Violations Noted

Exercise Equipment

105 CMR 451.35*	Interior Maintenance: Padding damaged on exercise equipment

105 CMR 451.353	Interior Maintenance: Mold observed on ceiling ductwork

Laundry # D1-5A

Laundry Machines

105 CMR 451.353*	Interior Maintenance: Standing water observed behind washing machines

105 CMR 451.353*	Interior Maintenance: Side paneling on some washing machines rusted

Inmate Bathroom # D1-7

No Violations Noted

Staff Bathroom # D1-9

No Violations Noted

Supply # D1-5B

No Violations Noted

Office # D1-8

No Violations Noted

Janitor’s Closet # D1-46

No Violations Noted

Barber Shop/VOC Ed

Female Bathroom # C1-37

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 960F at handwash sink

Male Bathroom # C1-38

Unable to Inspect – In Use

Office # C1-40

No Violations Noted

Chapel # C1-21

No Violations Noted

Storage Closet # C1-23 (in Chapel)

No Violations Noted

Barber Shop # C1-27 (Not in Use)

No Violations Noted

Storage Room # C1-29 (in Barber Shop)

No Violations Noted

Computer Room # C1-34

Unable to Inspect – Locked

Computer Room Bathroom

No Violations Noted

Computer Room Storage Closet # C1-35

No Violations Noted

Janitor’s Closet # C1-25

No Violations Noted

Inmate Bathroom # C1-26

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

R.T.U. Classrooms # C1-35

105 CMR 451.353	Interior Maintenance: Baseboard missing in Classroom # 1

Chemical Storage # C1-31

No Violations Noted

Inmate Bathroom Area

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in stall

105 CMR 451.117*		Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123		Maintenance: Handwash sink dirty

Break Room # C1-6

No Violations Noted

Janitor’s Closet # C1-9

105 CMR 451.353	Interior Maintenance: Mop stored upside down

Office # C1-8

No Violations Noted

Inmate Bathroom # C1-11

Unable to Inspect – Not In Use

Staff Bathroom # C1-10

No Violations Noted

Inside Warehouse

105 CMR 451.353*	Interior Maintenance: Ceiling panel rusted near sprinkler

Dry Goods # DG-71

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

Chemical Storage # DG-67

No Violations Noted

Freezer # DG-69

No Violations Noted

Refrigerator and Meat Freezer

No Violations Noted

Storage Area

No Violations Noted

Booking/Property # D6-74A

Storage Room # DG-24

No Violations Noted

Female Bathroom # DG-60

No Violations Noted

Male Bathroom # DG-59

Unable to Inspect – In Use

Janitor’s Closet # DG-62

No Violations Noted

Cell # DG-63

No Violations Noted

Cell # DG-64

No Violations Noted

Group Holding # DG-65

105 CMR 451.353		Interior Maintenance: Ceiling vent dusty

Processing

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Control

No Violations Noted

Adm. Group # DG-32

No Violations Noted

Adm. 1 # DG-34

No Violations Noted

Break Area # DG-36

No Violations Noted

Shower # DG-53

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Shower hose attachment damaged in shower

Room # DG-37

No Violations Noted

Room # DG-38

No Violations Noted

Storage/Shower # DG-51

105 CMR 451.360*	Protective Measures: Rodent droppings observed

Protocol Room # DG-50

Unable to Inspect – Locked

Storage Room # DG-39

105 CMR 451.110(B)		Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Laundry # DG-40

No Violations Noted

Adm. 2 # DG-41

105 CMR 451.123*	Maintenance: Handwash sink dirty

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty

Adm. 3 # DG-42

No Violations Noted

Property Room Annex # DG-43

No Violations Noted

Room # DG-44A

No Violations Noted

Property Room # DG-46

No Violations Noted

Room # DG-45

No Violations Noted

Male Bathroom # DG-49

No Violations Noted

Female Staff Bathroom # DG-48

No Violations Noted

Janitor’s Closet # DG-47

No Violations Noted

Trash Dock # DG-22B

105 CMR 451.350*	Structural Maintenance: Exterior door # DG-4 not rodent and weathertight

Hallway Area

105 CMR 451.353*	Interior Maintenance: Floor dirty throughout hallway

Can Storage Area # DG-26

105 CMR 451.353*	Interior Maintenance: Floor dirty

Refrigerated Garbage # DG-25

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Dumpster Area

No Violations Noted

Loading Dock

No Violations Noted

Industries # CG-10

Offices

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet flush handle leaking when pressed

Maintenance # CG-13

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Ceiling leaking

Offices

No Violations Noted

Female Bathroom/Locker # CG-25

105 CMR 451.123	Maintenance: Floor dirty

Male Bathroom/Locker # CG-24

105 CMR 451.123*	Maintenance: Water control shroud missing in shower

Electrical Room # CG-18

No Violations Noted

Handwash Sink (outside Bathrooms)

No Violations Noted

Electrician’s Office # C6-23

Unable to Inspect – Locked

Janitor’s Closet # C6-28

No Violations Noted

Kitchenette

No Violations Noted

Records and Classifications # C2-14A

Janitor’s Closet # C2-53 (outside Records)

No Violations Noted

Storage Closets

No Violations Noted

Break Room # C2-49

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Records Area

No Violations Noted

Offices

No Violations Noted

Storage Closet # C2-34

No Violations Noted

Common Area

No Violations Noted

Janitor’s Closet # C2-35

No Violations Noted

Male Bathroom # C2-42

No Violations Noted

Female Bathroom # C2-41

No Violations Noted

Spectrum # C2-15C

Janitor’s Closet # C2-24

105 CMR 451.353	Interior Maintenance: Mop improperly stored in slop sink

Male Bathroom # C2-27

No Violations Noted

Female Bathroom # C2-26

No Violations Noted

Storage Closet # C2-34

No Violations Noted

Offices/Classrooms

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty in Office # C2-12

Inmate Bathroom # C2-25

No Violations Noted

School/Library # C2-84

Classroom # C2-85

No Violations Noted

Classroom # C2-79

No Violations Noted

Office Area # C2-58

No Violations Noted

Office # C2-81

Unable to Inspect – Locked

Male Bathroom # C2-77

No Violations Noted

Female Bathroom # C2-76

No Violations Noted

Computer Room # C2-78

No Violations Noted

Library # C2-67A

No Violations Noted

Inmate Bathroom # C2-75

105 CMR 451.123*	Maintenance: Handwash sink dirty

Classroom # C2-63

No Violations Noted

Room # C2-74

No Violations Noted

Inmate Bathroom # C2-66 (Not in Use)

No Violations Noted

Staff Room # C2-62

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single-use utensils left uncovered and open to contamination

Janitor’s Closet # C2-65

No Violations Noted

Inmate Bathroom # C2-64 (Not in Use)

No Violations Noted

Room # C2-61

No Violations Noted

Room # C2-80

No Violations Noted

Additional Classrooms/Offices

No Violations Noted

H.S.U.

H.S.U. Outpatient

Trauma Room # B2-15

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1060F at handwash sink

Boss Chair # B2-41

No Violations Noted

Waiting Area # B2-36

No Violations Noted

Staff Bathroom # B2-90

No Violations Noted

Control Desk

No Violations Noted

Dental Room # B2-5

No Violations Noted

Exam Room (Lab) # B2-26

105 CMR 451.353*	Interior Maintenance: Floor dirty

Exam Room (1) # B2-25

105 CMR 451.353*	Interior Maintenance: Floor dirty

Exam Room (2) # B2-23

105 CMR 451.353*	Interior Maintenance: Floor dirty

Exam Room (3) # B2-22

105 CMR 451.353*	Interior Maintenance: Floor dirty

Optometry Exam Room # B2-21

105 CMR 451.353	Interior Maintenance: Floor dirty

Telephone Conference Room # B2-20

105 CMR 451.353*		Interior Maintenance: Floor dirty

Inmate Bathroom # B2-17

No Violations Noted

PT Room # B2-30

105 CMR 451.353		Interior Maintenance: Floor dirty

X-Ray Room # B2-10

Unable to Inspect – Locked

Holding Room # B2-2

No Violations Noted

Holding Room # B2-3

No Violations Noted

Mental Health Room # B2-28

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Office # B2-19

No Violations Noted

Office # B2-4

No Violations Noted

Closet # B2-18

No Violations Noted

Office # B2-13

No Violations Noted

H.S.U. Inpatient

Janitor’s Closet # B2-64

No Violations Noted

Isolation Pod # B2-83

105 CMR 451.110(B)		Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Isolation Rooms

No Violations Noted

Cell # B2-78

105 CMR 451.103		Mattresses: Mattress damaged

Cell # B2-77

No Violations Noted

Cell # B2-76

No Violations Noted

Cell # B2-92

No Violations Noted

Cell # B2-88

105 CMR 451.123	Maintenance: Handwash sink dirty

Cell # B2-87

No Violations Noted

Cell # B2-86

No Violations Noted

Shower # B2-62

No Violations Noted

Shower # B2-63

105 CMR 451.123	Maintenance: Floor dirty in shower

Cell # B2-68

No Violations Noted

Cell # B2-67

No Violations Noted

Cell # B2-66

No Violations Noted

Cell # B2-75

No Violations Noted

Cell # B2-74

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Cell # B2-73

No Violations Noted

Cell # B2-72

No Violations Noted

Janitor’s Room # B2-50

No Violations Noted

Isolation Pod # B2-69

No Violations Noted

Isolation Room # B2-70

No Violations Noted

Isolation Room # B2-71

105 CMR 451.117		Toilet Fixtures: Interior of toilet fixture dirty

Office # B2-49

No Violations Noted

Storage # B2-59

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Back Control Desk (Medical Waste Log)

No Violations Noted

Kitchen Area # B2-81A

105 CMR 451.353*	Interior Maintenance: Sink dirty

Staff Restroom # B2-60

Unable to Inspect – In Use

Office # B2-57

105 CMR 451.353	Interior Maintenance: Sink dirty

Shower # B2-61

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower

Medical Supplies # B2-58

No Violations Noted

Storage # B2-56A

No Violations Noted

Electrical/Storage Closet # B2-16

No Violations Noted

Bio-Hazard # B2-80

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Storage # B2-79

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, microwave door handle broken

Medical Office Area

Office # B2-48

No Violations Noted

Break Room # B2-8

No Violations Noted

Pharmacy # B2-31

No Violations Noted

Conference Room # B2-52

105 CMR 451.353*		Interior Maintenance: Ceiling vent dusty

Medical Records # B2-53

No Violations Noted

Office # B2-46

No Violations Noted

Office # B2-45

No Violations Noted

Office # B2-43

No Violations Noted

Janitor’s Closet # B2-91

Unable to Inspect – Locked

Office # B2-42

No Violations Noted

Office # B2-40

No Violations Noted

Male Bathroom # B2-32

No Violations Noted

Female Bathroom # B2-33

105 CMR 451.123	Maintenance: Ceiling vent dusty

Office # B2-39

No Violations Noted

Office # B2-24

No Violations Noted

MAT Program

Inmate Bathroom # C2-8

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F at handwash sink

Storage Closet # C2-7

Unable to Inspect – Locked

Office # C2-90 & C2-11

No Violations Noted

Waiting Area

Unable to Inspect – Under Construction

Treatment/Interview Rooms

Unable to Inspect – Under Construction

Mosque # C2-87

Inmate Bathroom

No Violations Noted

Room # C2-6

Unable to Inspect – Locked

Room # C2-10

No Violations Noted

Prayer Area # C2-88

No Violations Noted

North STP # M-F2-19

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Office # F2-12

105 CMR 451.353*	Interior Maintenance: Floor dirty

Storage Room # F2-6

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Male Bathroom # F2-21

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom # F2-20

105 CMR 451.123	Maintenance: Ceiling vent dusty

Multi-Purpose Room # F2-7

No Violations Noted

Janitor’s Closet # F2-19

No Violations Noted

Move Team Room

Unable to Inspect – Locked

Visits Hallway

Staff Bathroom # F2-24

Unable to Inspect – In Use

Control # F2-16

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, single-use utensils left uncovered and open to contamination

Staff Bathroom in Control # F2-17

No Violations Noted

Recreation Decks (2)

105 CMR 451.353	Interior Maintenance: Floor dirty on L side Recreation Deck

Interview Room # F2-18

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Storage # F2-26

No Violations Noted

Storage Cages # 1 & 2

No Violations Noted

Cell Block STP (L3) # 106 and 107

L3 Cells (unoccupied)

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Floor dirty

L3 Showers

105 CMR 451.123	Maintenance: Floor dirty in shower # 1, 3, and 4

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1, 3, and 4

Janitor’s Closet

No Violations Noted

Nurse’s Station # F2-L105

No Violations Noted

North S.M.U. (M3)

Staff Office # F2-M105

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Janitor’s Closet F2-M103

105 CMR 451.353*	Interior Maintenance: Floor dirty

M3 Cells			Unable to Inspect Cell # M3-4 through M3-13 – Not in Use

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty in cell # 1

105 CMR 451.353*	Interior Maintenance: Walls dirty in cell # 3

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 29

105 CMR 451.353	Interior Maintenance: Bottom of wall dirty in cell # 29

M3 Showers

105 CMR 451.123*	Maintenance: Wall damaged in shower # M3-S1 and M3-S4

105 CMR 451.123*	Maintenance: Ceiling dirty in shower # M3-S2

105 CMR 451.123	Maintenance: Mold on walls in shower #M3-S4

L2-M2 Pod # F1-20A

Storage Closet # F1-22

No Violations Noted

Nurse Protocol Room # F1-24

Unable to Inspect – Locked

Male Bathroom # F1-31

No Violations Noted

Female Bathroom # F1-30

No Violations Noted

Offices

No Violations Noted

Room # F1-28

No Violations Noted

L2 Cell Block # F1-L111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cell

Storage # F1-L100

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Recreation Deck

No Violations Noted

Med Room # F1-108

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # 14

105 CMR 451.353	Interior Maintenance: Ceiling and walls dirty in cell # 48

Showers	Unable to Inspect Shower # 1 – Under Construction

Unable to Inspect Shower # 5-8 – Offline

105 CMR 451.123*	Maintenance: Floor dirty in shower # 2, 3, and 4

105 CMR 451.123*	Maintenance: Walls dirty in shower # 3

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 4

105 CMR 451.123*	Maintenance: Handicap showerhead attachment damaged in shower # 2

M2 Cell Block # F1-M111

Staff Desk

No Violations Noted

Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Med Room

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

105 CMR 451.353	Interior Maintenance: Bubbler dirty

Storage Room

No Violations Noted

Cells

No Violations Noted

Showers	Unable to Inspect Shower # 5-8 – Offline

105 CMR 451.123	Maintenance: Floor dirty in shower # 1 and 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling dirty in shower # 1 and 4

105 CMR 451.123	Maintenance: Dead drain flies on ceiling in shower # 2

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F in shower # 3

N2-P2 Pod # F1-8

Room # F1-13

No Violations Noted

Female Bathroom # F1-16

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Male Bathroom # F1-15

No Violations Noted

Offices

No Violations Noted

Nurse’s Station # F1-9

Unable to Inspect – In Use

Janitor’s Closet # F1-7

No Violations Noted

N2 Cell Block # F1-N111 (Unoccupied)

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage # F1-107

No Violations Noted

Med Room

No Violations Noted

Janitor’s Closet # F1-N105

No Violations Noted

Staff Bathroom # F1-106

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Staff Work Station

No Violations Noted

Recreation Deck

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Bubbler

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 10

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 15, 16, 18, and 19

Showers # S1-8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 3

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 4

P2 Cell Block # F1-P111 (Unoccupied)

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Med Room

No Violations Noted

Storage # F1-P108

No Violations Noted

Janitor’s Closet # F1-105

No Violations Noted

Staff Work Station

No Violations Noted

Staff Bathroom # F1-106

No Violations Noted

Recreation Deck

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Bubbler

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler out-of-order

Cells

105 CMR 451.353*	Interior Maintenance: Bottom of walls dirty in cell # 19

105 CMR 451.353	Interior Maintenance: Bottom of walls damaged in cell # 48

105 CMR 451.353*	Interior Maintenance: Ceiling left unfinished in cell # 11

105 CMR 451.353	Interior Maintenance: Walls dirty in cell # 30

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 22

Showers # S1-8

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 4

105 CMR 451.123	Maintenance: Floor dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Dead drain flies on ceiling in shower # 4

L1-M1 Pod

Female Bathroom # FG-31

No Violations Noted

Male Bathroom # FG-30

No Violations Noted

Office # FG-27

No Violations Noted

Storage # FG-28

No Violations Noted

Nurse’s Station # FG-24

Unable to Inspect - Locked

Janitor’s Closet # FG-22

No Violations Noted

L1 Cell Block # FG-20A

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Med Room # FG-L108

No Violations Noted

Storage Room # FG-L107

No Violations Noted

Janitor’s Closet # FG-105

No Violations Noted

Staff Bathroom # FG-L106

105 CMR 451.123	Maintenance: Ceiling vent dusty

Staff Work Station

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 38

Showers

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 600F in shower # 6

105 CMR 451.123	Maintenance: Floor dirty in shower # 1, 2, 4, 7, and 8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 4

M1 Cell Block # FG-M111 (Unoccupied)

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage # FG-M108

No Violations Noted

Janitor’s Closet # FG-M105

No Violations Noted

Staff Bathroom # FG-M106

No Violations Noted

Staff Break Area

No Violations Noted

Storage Room # FG-M107

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Crack in floor in cell # 20

Showers # S1-8

105 CMR 451.123	Maintenance: Exposed wires observed on wall in shower # 2

105 CMR 451.123	Maintenance: Wall dirty in shower # 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 4, 5, and 8

N1-P1 Pod

Office # G-12

No Violations Noted

Female Bathroom # G-16

No Violations Noted

Male Bathroom # G-15

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Nurse’s Station # G-9

Unable to Inspect – Locked

Janitor’s Closet # G-7

No Violations Noted

Storage Closet # FG-13

No Violations Noted

N1 Cell Block # FG-N111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage # FG-N108

No Violations Noted

Med Room # FG-107

No Violations Noted

Janitor’s Closet # FG-N105

No Violations Noted

Staff Area

No Violations Noted

Staff Bathroom

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 15

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 20

Showers # S1-8	Unable to Inspect Shower # 6 – Offline

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 3

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 1, 4, and 8

105 CMR 451.123	Maintenance: Floor dirty in shower # 3 and 5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 5

105 CMR 451.130	Hot Water: Shower water temperature recorded at 119°F in shower # 2

P1 Cell Block # FG-P111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Janitor’s Closet # FG-P105

No Violations Noted

Staff Bathroom # P106

No Violations Noted

Staff Break Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Med Room # FG-P108

No Violations Noted

Recreation Deck

No Violations Noted

Storage Room # FG-P107

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged above light fixture in cell # 64

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking in cell # 24

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 17

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 4

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 2 and 4

105 CMR 451.123	Maintenance: Mold observed on walls and ceiling in shower # 4

South S.M.U. (J3 & K3) Pod and Control

Storage # E2-6

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Office Hallway # E2-12

Unable to Inspect – Locked

Female Bathroom # E2-21

No Violations Noted

Male Bathroom # E2-20

No Violations Noted

Storage/Multi-Purpose Room # E2-7

No Violations Noted

Janitor’s Closet # E2-19

No Violations Noted

Kitchen # E2-8

No Violations Noted

Staff Bathroom # E-24 in Visit Area

No Violations Noted

Storage Room # E2-26

No Violations Noted

Storage Room # E2-18

No Violations Noted

Holding Cell # E2-25

No Violations Noted

Interview Room # E2-14

Unable to Inspect – In Use

Control # E2-16

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Control Bathroom

No Violations Noted

Recreation Decks (2)

105 CMR 451.353*	Interior Maintenance: J side Recreation Deck dirty

J3 South S.M.U. Hallway

Nurse’s Station

No Violations Noted

Janitor’s Closet # E2-J103

No Violations Noted

J3 South S.M.U. Cell Block

105 CMR 451.353*	Interior Maintenance: Window broken leading into unit

Cells

105 CMR 451.353*	Interior Maintenance: Crack in wall in cell # 23

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 3

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 12

Showers # S1-4

105 CMR 451.123*	Maintenance: Floor dirty in shower # 2

105 CMR 451.123	Maintenance: Floor dirty in shower # 1, 3, and 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 - 4

105 CMR 451.123	Maintenance: Handicap showerhead attachment damaged in shower # 2

K3 South S.M.U. Hallway # KE2-10B

Janitor’s Closet # E2-K103

No Violations Noted

Nurse’s Station # E2-K105

No Violations Noted

K3 South S.M.U. Cell Block

Cells

No Violations Noted

Showers # S1-4

105 CMR 451.123*	Maintenance: Soap scum on bench in shower # 3

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1, 2, and 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 4

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 2 and 4

105 CMR 451.123	Maintenance: Handicap showerhead attachment damaged in shower # 2

G2-H2 Pod South

Storage Closet # E1-13

No Violations Noted

Janitor’s Closet # E1-7

No Violations Noted

Office # E1-8

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single-use trays stored on floor

Male Bathroom # E1-15

No Violations Noted

Female Bathroom # E1-16

No Violations Noted

Nurse’s Station # E1-9

Unable to Inspect – In Use

G2 Cell Block # G111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage Room # E1-G105

No Violations Noted

Med Room # E1-G108

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # 48

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 4

105 CMR 451.101	Blankets: Blanket damaged in cell # 64

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1, 7, 21, 23, 39, and 56

Showers # G2-S1-8

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1160F in shower # 6

105 CMR 451.123	Maintenance: Floor dirty in shower # 1, 2, 3, 4, 5, 6, and 7

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 1

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 5

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower # 3, 5, and 7

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 8

105 CMR 451.123	Maintenance: Handicap showerhead attachment damaged in shower # 2

105 CMR 451.123	Maintenance: Sprinkler shroud damaged in shower # 2

H2 Cell Block # E1-H111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage # E1-H107

No Violations Noted

Med Room # E1-H108

No Violations Noted

Janitor’s Closet # E1-H105

No Violations Noted

Staff Bathroom # E1-H106

No Violations Noted

Staff Break Area

No Violations Noted

Recreation Deck

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Bubbler

No Violations Noted

Cells

105 CMR 451.340                      Illumination: Insufficient lighting, light out in cell # 15

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 17, 36, and 42

Showers # S1-8	Unable to Inspect Shower # 1 – In Use

105 CMR 451.123	Maintenance: Floor epoxy damaged in shower # 2, 5, 6, 7, and 8

105 CMR 451.123	Maintenance: Epoxy damaged on bench in shower # 2 and 7

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 8

105 CMR 451.123	Maintenance: Hole in wall in shower # 7

105 CMR 451.123*	Maintenance: Ceiling dirty in shower # 2 and 5

105 CMR 451.123	Maintenance: Floor drain dirty in shower # 3 and 4

105 CMR 451.123	Maintenance: Walls dirty in shower # 4 and 5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6, 7, and 8

J2-K2 Pod # E1-5111

Closet # E1-28

No Violations Noted

Female Bathrooms # E1-30

No Violations Noted

Male Bathroom # E1-31

No Violations Noted

Offices # E1-23

No Violations Noted

Janitor’s Closet # E1-22

105 CMR 451.353	Interior Maintenance: Ceiling surface damaged

Nurse’s Station

Unable to Inspect – Locked

J2 Cell Block

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Janitor’s Closet # E1-J105

No Violations Noted

Staff Bathroom # E1-J106

No Violations Noted

Staff Break Area

No Violations Noted

Med Room # E1-J106

No Violations Noted

Storage Room # E1-J107

No Violations Noted

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall cracked in cell # 54

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 14

Showers

105 CMR 451.123	Maintenance: Floor dirty in shower # 1-8

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 1, 3, 4, and 5

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower # 8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1-8

105 CMR 451.123	Maintenance: Handicap showerhead attachment damaged in shower # 2

105 CMR 451.123*	Maintenance: Wall epoxy damaged in shower # 1

K2 Cell Block # E1-K1

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Med Room # E1-K108

No Violations Noted

Common Area

No Violations Noted

Storage # E1-K107

No Violations Noted

Janitor’s Closet # E1-K105

No Violations Noted

Staff Area

No Violations Noted

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Recreation Deck

105 CMR 451.353	Interior Maintenance: Floor surface damaged

Bubbler

No Violations Noted

Emergency Stairwell

105 CMR 451.360	Protective Measures: Building not protected against infestation,

rodent droppings observed

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 34

105 CMR 451.101	Blankets: Blanket damaged in cell # 57

Showers # S1-8

105 CMR 451.123*	Maintenance: Floor dirty in shower # 4

105 CMR 451.123	Maintenance: Floor dirty in shower # 2, 5, and 7

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 1

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower # 2

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower # 4, 5, and 8

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, 4, and 8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3, 5, and 6

105 CMR 451.123	Maintenance: Handicap showerhead attachment clip missing in shower # 3

G1-H1 Pod # EG-6A

Chemical Storage Closet # EG-13

No Violations Noted

Janitor’s Closet # EG-7

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Office

No Violations Noted

Male Bathroom # EG-15

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom # EG-16

No Violations Noted

Nurse’s Station # EG-9

Unable to Inspect – Locked

G1 Cell Block # EG-G111 (Unoccupied)

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage Room # G107

No Violations Noted

Med Room # G108

No Violations Noted

Janitor’s Closet # G105

105 CMR 451.353	Interior Maintenance: Mop stored upside down

Staff Area

No Violations Noted

Staff Bathroom # EG-G106

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 5 and 7

105 CMR 451.123	Maintenance: Dead drain flies on ceiling in shower # 8

105 CMR 451.123*	Maintenance: Ceiling left unfinished in shower # 1 and 4

H1 Cell Block # G6-H111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage Room # EG-H107

No Violations Noted

Med Room # EG-H108

No Violations Noted

Janitor’s Closet # EG-H105

No Violations Noted

Staff Bathroom

Unable to Inspect – In Use

Staff Work Station

No Violations Noted

Recreation Deck

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Bubbler

No Violations Noted

Cells

No Violations Noted

Showers # S1-8

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 5, 6, and 8

105 CMR 451.123*	Maintenance: Ceiling dirty in shower # 1 and 4

105 CMR 451.123	Maintenance: Epoxy damaged on bench in shower # 4

105 CMR 451.123*	Maintenance: Dead drain flies observed on ceiling in shower # 5 and 8

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower # 6 and 8

105 CMR 451.123	Maintenance: Shroud missing from water control in shower # 7

J1-K1 Pod # EG-21A

Offices # EG-25

No Violations Noted

Male Bathroom # EG-31

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom # EG-30

105 CMR 451.123	Maintenance: Ceiling vent dusty

Janitor’s Closet # EG-22

No Violations Noted

Nurse’s Station # EG-24

Unable to Inspect – Locked

Office # EG-28

Unable to Inspect - Locked

J1 Cell Block # EG-J111

Unable to Inspect – Quarantine Unit

K1 Cell Block # EG-K111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Control Area

No Violations Noted

Office # EG-K107

No Violations Noted

Med Room # EG-K108

No Violations Noted

Janitor’s Closet # EG-K105

No Violations Noted

Staff Bathroom # EG-K106

Unable to Inspect – In Use

Recreation Deck

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Bubbler

No Violations Noted

Cells

No Violations Noted

Showers 	Unable to Inspect Shower # 6 – Under Construction

105 CMR 451.123	Maintenance: Epoxy damaged near floor drain in shower # 1

105 CMR 451.123	Maintenance: Epoxy damaged on bench in shower # 8

105 CMR 451.123*	Maintenance: Floor epoxy damaged in shower # 5

105 CMR 451.123	Maintenance: Handicap showerhead damaged in shower # 3

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1210F in shower # 3

Outside Warehouse

Entrance

No Violations Noted

Refrigerator with Freezer

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, bottom covering on freezer door damaged

Freezer

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored upside down

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Side Entrance near Bathroom

105 CMR 451.353*	Interior Maintenance: Wall damaged near entrance door

Offices

No Violations Noted

Chemical Storage Area

No Violations Noted

Vehicle Trap

No Violations Noted

Bathroom

No Violations Noted

Towers

North Tower

No Violations Noted

South Tower

No Violations Noted

Observations and Recommendations

- The inmate population was 510 at the time of inspection.

- J1 was being utilized as a quarantine unit. There were 15 inmates being housed in the unit.

- During the initial kitchen inspection, the kitchen exhaust system was not in compliance with the provisions for inspection, cleaning and labeling required by 527 CMR 11.00 Commercial Cooking Operations. The issue was addressed by the facility EHSO prior to completing the inspection. The CSP recommends you contact the Department of Fire Services if there are additional questions

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kelli Poulin

Environmental Health Inspector, CSP, BEH