The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7414

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

May 27, 2021

Dean Gray, Superintendent

Souza-Baranowski Correctional Center

P.O. Box 8000

Shirley, MA 01464		(electronic copy)

Re: Facility Inspection – Souza-Baranowski Correctional Center, Shirley

Dear Superintendent Gray:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of Souza-Baranowski Correctional Center on May 19, 20, 21, and 24, 2021 accompanied by Mark George and Frank Delgado, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 146 repeat violations.

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Kerry Wagner, MPH

Environmental Analyst, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Acting Director, Policy Development and Compliance Unit 	(electronic copy)

Mark George, EHSO								(electronic copy)

Frank Delgado, EHSO								(electronic copy)

James Garreffi, RS, CHO, Director, Nashoba Associated Boards of Health 		(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Entrance Area

Bubbler & Vending Machine

No Violations Noted

Female Bathroom # A1-10

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink # 5

Male Bathroom # A1-9

No Violations Noted

Janitor’s Closet # A1-11

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, food observed in chemical storage closet

Reception Area

No Violations Noted

1st Floor

Female Bathroom # A1-31

105 CMR 451.123	Maintenance: Ceiling vent dusty

Janitor’s Closet # A1-43

No Violations Noted

Roll Call Room and Storage Closets

Unable to Inspect – In Use

Male Locker Room # A1-32

105 CMR 451.123*	Maintenance: Soap scum observed on shower walls

Administration Area # A2-6

2nd Floor

Kitchenette

No Violations Noted

Copy Room # A2-30

No Violations Noted

Female Bathroom # A2-22

No Violations Noted

Male Bathroom # A2-21

No Violations Noted

Offices

No Violations Noted

Storage Closet # A2-28

No Violations Noted

Male Bathroom # A2-48

No Violations Noted

Female Locker Room # A2-44

No Violations Noted

Hallway Bubbler

105 CMR 451.353	Interior Maintenance: Bubbler dirty

Weight Room # A2-37

No Violations Noted

Janitor’s Closet # A2-32

No Violations Noted

Outer Control # A1-16

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Bathroom # A1-17

No Violations Noted

Sharps Storage Closet # A1-15

No Violations Noted

Visiting Area

Control Area

No Violations Noted

Non-Contact Visiting Area # B1-22

No Violations Noted

Inmate Bathroom Area

105 CMR 451.123	Maintenance: Floor dirty throughout area

105 CMR 451.123	Maintenance: Handwash sink dirty

Contact Area

No Violations Noted

Bathrooms

105 CMR 451.123	Maintenance: Ceiling vent dusty in bathroom # B1-9

Room # B1-7

No Violations Noted

Janitor’s Closet # B1-12

No Violations Noted

Inner Control # B1-1B

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Bathroom # B1-39

No Violations Noted

Operations Area

Male Bathroom # B1-49

No Violations Noted

Female Bathroom # B1-48

No Violations Noted

Janitor’s Closet # B1-43

No Violations Noted

Kitchenette

No Violations Noted

Janitor’s Closet # B1-15

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

# Food Service Area

# The following Food Code violations listed in BOLD were observed to be corrected on-site.

Main Kitchen

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged throughout main kitchen

Inmate Dining Area

No Violations Noted

Tray Washing Room

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, baseboard paint damaged near warewash machine

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1350F

North Side Serving

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F

FC 3-501.16(A)(1)*	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Time/temperature control for safety food not held at 135°F or aboveP, rice recorded at 1200F

Area Between Serving Lines

No Violations Noted

South Side Serving (Not in Use)

No Violations Noted

Pot Washing Area

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor and mats around 3-compartment sink dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, interior of washing solution storage unit dirty

Cooking/Prep Area

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty behind grill

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, cold water handle leaking at 2-compartment sink

Bakery

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, proofer not removed or repaired

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F

Bakery Dry Storage (Not in Use)

Unable to Inspect – Locked

Storage for Kitchen # C1-66

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

Left Over Cooler # C1-67 (Not in Use)

Unable to Inspect – Locked

Meat Cooler # C1-64

No Violations Noted

Produce Cooler # C1-63

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, cover missing over old intercom

Dairy Cooler # C1-62

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, cover missing over old intercom

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, insulating covering damaged behind fans

Office # C1-49

No Violations Noted

Office # C1-52

No Violations Noted

Food Director’s Office

No Violations Noted

Handwash Sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

Janitor’s Closet # C1-51

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored in bucket

Staff Bathroom/Locker Room # C1-55

105 CMR 451.123	Maintenance: Ceiling vent dusty

Inmate Bathroom # C-59

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Door paint damaged

Staff Bathroom

Unable to Inspect – No Longer in Use

Ice Machine

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood contact surfaces of equipment not cleaned at a frequency necessary to preclude accumulation of soil residues, exterior of ice machine dirty

Culinary # D1-36

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged throughout culinary

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty throughout Culinary Area

Office

No Violations Noted

Dry Goods # D1-41

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty

Kitchen

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, hot water handle leaking at 2-compartment sink

Handwash Sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F

Janitor’s Closet # DG-44

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored in bucket

Dishwasher Area # DG-37

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, handwash sink not draining properly

FC 4-501.12	Maintenance and Operation; Equipment: Cutting surfaces damaged and no longer easily cleanable, damaged cutting board observed

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewash tray racks dirty and damaged

Serving Line # D1-36A

No Violations Noted

Staff Dining Area # D1-25

No Violations Noted

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

Male Staff Locker Room # D1-27

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Staff Locker Room # D1-31

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Light out over bench

105 CMR 451.123	Maintenance: Light fixture over bench corroded

Janitor’s Closet # D1-26

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed in storage closet

Gym Area # D1-15

Control

No Violations Noted

Janitor’s Closet # D1-24

No Violations Noted

Inmate Bathroom # D1-23

105 CMR 451.123	Maintenance: Handwash sink dirty

105 CMR 451.123	Maintenance: Floor dirty

South Gym # D1-17

No Violations Noted

Bubbler

No Violations Noted

Room # D1-21

Unable to Inspect – Locked

Room # D1-20

Unable to Inspect – Locked

Staff Office # D1-19

Unable to Inspect – Locked

Janitor’s Closet # D1-22

Unable to Inspect – Locked

Storage Room # D1-18

Unable to Inspect – Locked

North Gym # D1-13

No Violations Noted

Bubbler

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, excessive water pressure at bubbler

105 CMR 451.353	Interior Maintenance: Bubbler dirty

Storage Room # D1-14

No Violations Noted

Weight Room # D1-11

Bubbler

No Violations Noted

Exercise Equipment

105 CMR 451.353	Interior Maintenance: Equipment padding damaged

Laundry # D1-5A

Laundry Machines

105 CMR 451.353*	Interior Maintenance: Standing water observed behind washing machines

105 CMR 451.353*	Interior Maintenance: Side paneling on some washing machines rusted

Inmate Bathroom # D1-7

No Violations Noted

Staff Bathroom # D1-9

No Violations Noted

Supply # D1-5B

No Violations Noted

Office # D1-8

No Violations Noted

Janitor’s Closet # D1-46

No Violations Noted

Barber Shop/VOC Ed

Female Bathroom # C1-37

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F

Male Bathroom # C1-38

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1360F

105 CMR 451.123	Maintenance: Ceiling vent dusty

Office # C1-40

No Violations Noted

Trades # C1-21/Chapel

No Violations Noted

Storage Closet # C1-23 (in Trades)

No Violations Noted

Barber Shop # C1-27

No Violations Noted

Storage Room # C1-29 (in Barber Shop)

No Violations Noted

Computer Room # C1-34

No Violations Noted

Computer Room Bathroom

No Violations Noted

Computer Room Storage Closet # C1-35

Unable to Inspect – Locked

Janitor’s Closet # C1-25

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Inmate Bathroom # C1-26

105 CMR 451.123	Maintenance: Soap dispenser damaged

R.T.U. Classrooms # C1-35

No Violations Noted

Chemical Storage # C1-31

No Violations Noted

Inmate Bathroom Area

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in stall

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.123	Maintenance: Debris on floor

105 CMR 451.117		Toilet Fixtures: Toilet fixture dirty

Break Room # C1-6

No Violations Noted

Janitor’s Closet # C1-9

No Violations Noted

Office # C1-8

No Violations Noted

Inmate Bathroom # C1-11

Unable to Inspect – Not In Use

Staff Bathroom # C1-10

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F at handwash sink

Inside Warehouse

105 CMR 451.353	Interior Maintenance: Ceiling panel rusted near sprinkler

Dry Goods # DG-71

No Violations Noted

Chemical Storage # DG-67

No Violations Noted

Freezer # DG-69

No Violations Noted

Refrigerator and Meat Freezer

No Violations Noted

Satellite Kitchen/Storage

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

Booking/Property # D6-74A

Storage Room # DG-24

No Violations Noted

Female Bathroom # DG-60

No Violations Noted

Male Bathroom # DG-59

No Violations Noted

Janitor’s Closet # DG-62

No Violations Noted

Cell # DG-63

No Violations Noted

Cell # DG-64

No Violations Noted

Group Holding # DG-65

Unable to Inspect – In Use

Processing

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Control

No Violations Noted

Adm. Group # DG-32

No Violations Noted

Adm. 1 # DG-34

No Violations Noted

Break Area # DG-36

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, disposable utensils not kept covered

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, disposable trays not stored in the inverted position or kept covered

Storage # DG-53

No Violations Noted

Room # DG-37

No Violations Noted

Room # DG-38

No Violations Noted

Storage/Shower # DG-51

105 CMR 451.360*	Protective Measures: Rodent droppings observed

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, disposable cups stored on ground

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                   105 CMR 590.000, food stored on top of cleaning chemical boxes

Protocol Room # DG-50

Unable to Inspect – In Use

Laundry Room # DG-39

No Violations Noted

Laundry # DG-40

No Violations Noted

Adm. 2 # DG-41

105 CMR 451.123	Maintenance: Handwash sink dirty

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Adm. 3 # DG-42

No Violations Noted

Property Room Annex # DG-43

No Violations Noted

Room # DG-44A

No Violations Noted

Property Room # DG-46

No Violations Noted

Room # DG-45

No Violations Noted

Male Bathroom # DG-49

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

Female Staff Bathroom # DG-48

No Violations Noted

Janitor’s Closet # DG-47

No Violations Noted

Trash Dock # DG-22B

105 CMR 451.350*	Structural Maintenance: Exterior door # DG-4 not rodent and weathertight

Hallway Area

105 CMR 451.353*	Interior Maintenance: Floor dirty throughout hallway

Can Storage Area # DG-26

105 CMR 451.353	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Old barrel washer dirty

Refrigerated Garbage # DG-25

No Violations Noted

Dumpster Area

No Violations Noted

Loading Dock

105 CMR 451.370*	Garbage Storage: Garbage stored in an unsanitary condition, trash receptacle containing grease not kept covered

Industries # CG-10

Offices

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Maintenance # CG-13

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Offices

No Violations Noted

Female Bathroom/Locker # CG-25

No Violations Noted

Male Bathroom/Locker # CG-24

105 CMR 451.123	Maintenance: Wall plate missing in shower

105 CMR 451.123	Maintenance: Ceiling vent dusty over toilets

Electrical Room # CG-18

No Violations Noted

Handwash Sink (outside Bathrooms)

No Violations Noted

Electrician’s Office # C6-23

No Violations Noted

Janitor’s Closet # C6-28

No Violations Noted

Kitchenette

No Violations Noted

Records and Classifications # C2-14A

Janitor’s Closet # C2-53 (outside Records)

No Violations Noted

Break Room # C2-49

No Violations Noted

Records Area

No Violations Noted

Offices

No Violations Noted

Storage Closet # C2-34

No Violations Noted

Common Area

No Violations Noted

Janitor’s Closet # C2-35

No Violations Noted

Male Bathroom # C2-42

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom # C2-41

105 CMR 451.123	Maintenance: Ceiling vent dusty

Spectrum # C2-15C

Janitor’s Closet # C2-24

No Violations Noted

Male Bathroom # C2-27

No Violations Noted

Female Bathroom # C2-26

No Violations Noted

Storage Closet # C2-34

Unable to Inspect - Locked

Offices/Classrooms

No Violations Noted

Inmate Bathroom # C2-25

No Violations Noted

School/Library # C2-84

Classroom # C2-85

No Violations Noted

Classroom # C2-79

No Violations Noted

Office Area # C2-58

No Violations Noted

Male Bathroom # C2-77

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F

Female Bathroom # C2-76

No Violations Noted

Computer Room # C2-78

No Violations Noted

Library # C2-67A

No Violations Noted

Inmate Bathroom # C2-75

105 CMR 451.123	Maintenance: Handwash sink dirty

Classroom # C2-63

No Violations Noted

Room # C2-74

No Violations Noted

Inmate Bathroom # C2-66

No Violations Noted

Staff Room # C2-62

No Violations Noted

Janitor’s Closet # C2-65

No Violations Noted

Inmate Bathroom # C2-64 (Not in Use)

No Violations Noted

Room # C2-61

No Violations Noted

Room # C2-80

No Violations Noted

Additional Classrooms/Offices

No Violations Noted

H.S.U.

H.S.U. Outpatient

Trauma Room # B2-15

105 CMR 451.126	Hot Water: Hot water temperature recorded at 900F

105 CMR 451.353	Interior Maintenance: Left side handwash sink dirty

Boss Chair # B2-41

No Violations Noted

Waiting Area # B2-36

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123	Maintenance: Handwash sink dirty

Staff Bathroom # B2-90

No Violations Noted

Control Desk

No Violations Noted

Dental Room # B2-5

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Exam Room (Lab) # B2-26

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, faucet leaking and corroded

105 CMR 451.353	Interior Maintenance: Floor dirty

Exam Room (1) # B2-25

105 CMR 451.353*	Interior Maintenance: Floor dirty

Exam Room (2) # B2-23

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Exam Room (3) # B2-22

105 CMR 451.353*	Interior Maintenance: Floor dirty

Optometry Exam Room # B2-21

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Telephone Conference Room # B2-20

105 CMR 451.353		Interior Maintenance: Floor dirty

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Inmate Bathroom # B2-17

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

PT Room # B2-30

No Violations Noted

X-Ray Room # B2-10

Unable to Inspect – Locked

Holding Room # B2-2

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

105 CMR 451.123	Maintenance: Handwash sink dirty

Holding Room # B2-3

No Violations Noted

Mental Health Room # B2-28

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Office # B2-19

No Violations Noted

Office # B2-4

No Violations Noted

Closet # B2-18

No Violations Noted

Office # B2-13

No Violations Noted

H.S.U. Inpatient

Janitor’s Closet # B2-64

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot and cold water handles leaking

Isolation Pod # B2-83

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Isolation Rooms

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in cell # 17

Cell # B2-78

No Violations Noted

Cell # B2-77

105 CMR 451.117		Toilet Fixtures: Toilet fixture dirty

Cell # B2-76

105 CMR 451.353	Interior Maintenance: Toilet paper covering camera

Cell # B2-92

No Violations Noted

Cell # B2-88

No Violations Noted

Cell # B2-87

No Violations Noted

Cell # B2-86

No Violations Noted

Shower # B2-62

No Violations Noted

Shower # B2-63

No Violations Noted

Cell # B2-68

No Violations Noted

Cell # B2-67

No Violations Noted

Cell # B2-66

No Violations Noted

Cell # B2-75

No Violations Noted

Cell # B2-74

No Violations Noted

Cell # B2-73

Unable to Inspect – In Use

Cell # B2-72

No Violations Noted

Janitor’s Room # B2-50

No Violations Noted

Isolation Pod # B2-69

No Violations Noted

Isolation Room # B2-70

No Violations Noted

Isolation Room # B2-71

105 CMR 451.117		Toilet Fixtures: Toilet fixture dirty

Office # B2-49

No Violations Noted

Storage # B2-59

No Violations Noted

Back Control Desk

No Violations Noted

Kitchen Area # B2-81A

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Sink dirty

Staff Restroom # B2-60

Unable to Inspect – In Use

Office # B2-57

No Violations Noted

Shower # B2-61

No Violations Noted

Medical Supplies # B2-58

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Storage # B2-56A

No Violations Noted

Electrical/Storage Closet # B2-16

No Violations Noted

Bio-Hazard # B2-80

No Violations Noted

Storage # B2-79

No Violations Noted

Medical Office Area

Office # B2-48

No Violations Noted

Break Room # B2-8

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, refrigerator door handle broken

Pharmacy # B2-31

No Violations Noted

Conference Room # B2-52

105 CMR 451.353		Interior Maintenance: Ceiling vent dusty

Medical Records # B2-53

No Violations Noted

Office # B2-46

No Violations Noted

Office # B2-45

No Violations Noted

Office # B2-43

No Violations Noted

Janitor’s Closet # B2-91

No Violations Noted

Office # B2-42

No Violations Noted

Office # B2-40

No Violations Noted

Male Bathroom # B2-32

No Violations Noted

Female Bathroom # B2-33

No Violations Noted

Office # B2-39

No Violations Noted

Office # B2-24

Unable to Inspect – In Use

Chapel # C2-9

Inmate Bathroom # C2-8

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 600F at handwash sink

Storage Closet # C2-7

Unable to Inspect – Locked

Office # C2-90 & C2-11

No Violations Noted

Catholic Church # C2-9

Unable to Inspect – Under Construction

Mosque # C2-87

Inmate Bathroom

No Violations Noted

Room # C2-6

No Violations Noted

Room # C2-10

No Violations Noted

Prayer Area # C2-88

No Violations Noted

North STP # M-F2-19

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Office # F2-12

105 CMR 451.353	Interior Maintenance: Floor dirty

Storage Room # F2-6

105 CMR 451.353	Interior Maintenance: Floor dirty

Male Bathroom # F2-21

No Violations Noted

Female Bathroom # F2-20

105 CMR 451.123	Maintenance: Ceiling vent dusty

Multi-Purpose Room # F2-7

Unable to Inspect – In Use

Janitor’s Closet # F2-19

No Violations Noted

Kitchen Area # F2-8 (Future Move Team Room)

Unable to Inspect – Locked

Visits Hallway

Staff Bathroom # F2-24

Unable to Inspect – In Use

Control # F2-16

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, refrigerator out-of-order

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, disposable utensils left uncovered

Staff Bathroom in Control # F2-17

No Violations Noted

Recreation Decks (2)

105 CMR 451.360	Protective Measures: Bird droppings on L side Recreation Deck

Room # F2-18

No Violations Noted

Storage # F2-26

No Violations Noted

Storage Cages # 1 & 2

No Violations Noted

Cell Block STP (L3) # 106 and 107

L3 Cells (unoccupied)

No Violations Noted

L3 Showers

No Violations Noted

Janitor’s Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Nurse’s Station # F2-L105

Unable to Inspect – Locked

North S.M.U. (M3)

Staff Office # F2-M105

105 CMR 451.353	Interior Maintenance: Handwash sink dirty

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Floor dirty

M3 Cells			Unable to Inspect Cell # M3-4 through M3-13 – No Longer in Use

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in cell # 1

105 CMR 451.353	Interior Maintenance: Walls dirty in cell # 3

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 29

M3 Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # M3-S4

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # M3-S1 and M3-S4

105 CMR 451.123	Maintenance: Floor dirty in shower # M3-S2

105 CMR 451.123	Maintenance: Floor drain clogged in shower # M3-S4

L2-M2 Pod # F1-20A

Storage Closet # F1-22

No Violations Noted

Nurse Protocol Room # F1-24

Unable to Inspect – In Use

Male Bathroom # F1-31

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F

Female Bathroom # F1-30

No Violations Noted

Offices

No Violations Noted

Room # F1-28

No Violations Noted

L2 Cell Block # F1-L111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cell

105 CMR 451.353	Interior Maintenance: Floor tiles missing in common area

Storage # F1-L100

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Recreation Deck

Unable to Inspect – In Use

Med Room # F1-108

No Violations Noted

Bubbler

105 CMR 451.353	Interior Maintenance: Bubbler dirty

Cells

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 14

Showers

105 CMR 451.123	Maintenance: Shower # 7 out-of-order, floor drain clogged

105 CMR 451.123	Maintenance: Floor dirty in shower # 1, 4, and 8

105 CMR 451.123	Maintenance: Walls dirty in shower # 3, 4, and 5

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower # 3

105 CMR 451.123	Maintenance: Handicap showerhead attachment damaged in shower # 2

M2 Cell Block # F1-M111

Staff Desk

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Hole in ceiling

Janitor’s Closet

No Violations Noted

Med Room

No Violations Noted

Recreation Deck

105 CMR 451.360	Protective Measures: Birds and bird dropping observed on Recreation Deck

Bubbler

No Violations Noted

Storage Room

No Violations Noted

Cells

No Violations Noted

Showers	Unable to Inspect Shower # 5-8 – Under Construction

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 4

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Soap scum on bench in shower # 3

105 CMR 451.123	Maintenance: Walls dirty in shower # 2

105 CMR 451.123	Maintenance: Floor drain dirty/debris in drain in shower # 1

N2-P2 Pod # F1-8

Room # F1-13

No Violations Noted

Female Bathroom # F1-16

105 CMR 451.123	Maintenance: Ceiling vent dusty

Male Bathroom # F1-15

105 CMR 451.123	Maintenance: Ceiling vent dusty

Offices

No Violations Noted

Nurse’s Station # F1-9

Unable to Inspect – In Use

Janitor’s Closet # F1-7

No Violations Noted

N2 Cell Block # F1-N111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage # F1-107

No Violations Noted

Med Room

No Violations Noted

Janitor’s Closet # F1-N105

No Violations Noted

Staff Bathroom # F1-106

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1500F

105 CMR 451.123	Maintenance: Ceiling vent dusty

Staff Work Station

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, excessive ice buildup in freezer

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 10 and 38

Showers # S1-8

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, 4, 6, 7, and 8

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 5

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1, 4, 6, 7, and 8

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 3 and 5

105 CMR 451.123*	Maintenance: Sprinkler shroud rusted in shower # 1

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower # 3

105 CMR 451.123	Maintenance: Handicap showerhead attachment broken in shower # 2

105 CMR 451.123	Maintenance: Showerhead and wall under showerhead rusted in shower # 5

P2 Cell Block # F1-P111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Med Room

No Violations Noted

Storage # F1-P108

No Violations Noted

Janitor’s Closet # F1-105

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Staff Work Station

No Violations Noted

Staff Bathroom # F1-106

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 10

105 CMR 451.353	Interior Maintenance: Bottom of walls dirty in cell # 19

105 CMR 451.353	Interior Maintenance: Ceiling left unfinished in cell # 11

Showers # S1-8	Unable to Inspect Shower # 5-8 – Under Construction

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall damaged near bench in shower # 3

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 4

105 CMR 451.123*	Maintenance: Baseboard damaged in shower # 2

105 CMR 451.123	Maintenance: Window on shower door dirty in shower # 4

L1-M1 Pod

Female Bathroom # FG-31

No Violations Noted

Male Bathroom # FG-30

No Violations Noted

Office # FG-27

No Violations Noted

Storage # FG-28

No Violations Noted

Nurse’s Station # FG-24

Unable to Inspect - Locked

Janitor’s Closet # FG-22

No Violations Noted

L1 Cell Block # FG-20A

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Med Room # FG-L108

No Violations Noted

Storage Room # FG-L107

No Violations Noted

Janitor’s Closet # FG-105

No Violations Noted

Staff Bathroom # FG-L106

No Violations Noted

Staff Work Station

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in cell # 2 and 5

105 CMR 451.101	Blankets: Blanket damaged in cell # 5

Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 3, and 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1 and 4

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 600F in shower # 6

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower # 1

M1 Cell Block # FG-M111 (Unoccupied)

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage # FG-M108

No Violations Noted

Janitor’s Closet # FG-M105

No Violations Noted

Staff Bathroom # FG-M106

No Violations Noted

Staff Break Area

No Violations Noted

Storage Room # FG-M107

No Violations Noted

Recreation Deck

Unable to Inspect – Under Construction

Bubbler

No Violations Noted

Cells

Unable to Inspect – Under Construction

Showers # S1-8

Unable to Inspect – Under Construction

N1-P1 Pod

Office # G-12

No Violations Noted

Female Bathroom # G-16

No Violations Noted

Male Bathroom # G-15

No Violations Noted

Nurse’s Station # G-9

Unable to Inspect – Locked

Janitor’s Closet # G-7

No Violations Noted

Storage Closet # FG-13

No Violations Noted

N1 Cell Block # FG-N111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage # FG-N108

No Violations Noted

Med Room # FG-107

No Violations Noted

Janitor’s Closet # FG-N105

No Violations Noted

Staff Area

No Violations Noted

Staff Bathroom

No Violations Noted

Recreation Deck

105 CMR 451.360	Protective Measures: Bird droppings observed on Recreation Deck

Bubbler

No Violations Noted

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 14

Showers # S1-8

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 3

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 1

105 CMR 451.123	Maintenance: Ceiling damaged in shower # 3

105 CMR 451.123	Maintenance: Handicap showerhead attachment broken in shower # 2

P1 Cell Block # FG-P111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Janitor’s Closet # FG-P105

No Violations Noted

Staff Bathroom # P106

No Violations Noted

Staff Break Area

No Violations Noted

Med Room # FG-P108

No Violations Noted

Rec Deck

Unable to Inspect – In Use

Storage Room # FG-P107

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged above light fixture in cell # 42

Showers

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 2, 3, and 4

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 1

105 CMR 451.123	Maintenance: Floor dirty in shower # 2, 3, and 4

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 2, 3, and 4

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 8

105 CMR 451.123	Maintenance: Dead drain flies on ceiling in shower # 2

South S.M.U. (J3 & K3) Pod and Control

Storage # E2-6

No Violations Noted

Office Hallway # E2-12

No Violations Noted

Female Bathroom # E2-21

No Violations Noted

Male Bathroom # E2-20

No Violations Noted

Storage/Multi-Purpose Room # E2-7

No Violations Noted

Janitor’s Closet # E2-19

No Violations Noted

Kitchen # E2-8

No Violations Noted

Staff Bathroom # E-24

Unable to Inspect – In Use

Storage Room # E2-26

No Violations Noted

Storage Room # E2-18

No Violations Noted

Holding Cell # E2-25

No Violations Noted

Interview Room # E2-14

Unable to Inspect – In Use

Control # E2-16

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Control Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Recreation Decks (2)

105 CMR 451.353	Interior Maintenance: J side Recreation Deck dirty

J3 South S.M.U. Hallway

Nurse’s Station

No Violations Noted

Janitor’s Closet # E2-J103

No Violations Noted

J3 South S.M.U. Cell Block

105 CMR 451.353	Interior Maintenance: Window broken leading into unit

Cells

105 CMR 451.353	Interior Maintenance: Crack in wall in cell # 23

Showers # S1-4

105 CMR 451.123	Maintenance: Floor dirty in shower # 2

K3 South S.M.U. Hallway # KE2-10B

Janitor’s Closet # E2-K103

No Violations Noted

Nurse’s Station # E2-K105

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink handles corroded

K3 South S.M.U. Cell Block

105 CMR 451.353*	Interior Maintenance: Floor dirty outside cell # K3-01 – K3-17

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in common area

Cells

105 CMR 451.353	Interior Maintenance: Cell # K3-04 generally dirty

Showers # S1-4

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 2 and 3

105 CMR 451.123*	Maintenance: Floor dirty in shower # 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on bench in shower # 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4

G2-H2 Pod South

Storage Closet # E1-13

No Violations Noted

Janitor’s Closet # E1-7

No Violations Noted

Office # E1-8

No Violations Noted

Male Bathroom # E1-15

No Violations Noted

Female Bathroom # E1-16

No Violations Noted

Nurse’s Station # E1-9

Unable to Inspect – In Use

G2 Cell Block # G111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage Room # E1-G105

No Violations Noted

Med Room # E1-G108

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Recreation Deck

105 CMR 451.353	Interior Maintenance: Equipment padding damaged

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 48

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 4, 6, 7, 11, 16, and 17

Showers # G2-S1-8

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F in shower # 6

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, 3, 5, 6, 7, and 8

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 4

105 CMR 451.123*	Maintenance: Walls dirty in shower # 5

105 CMR 451.123	Maintenance: Wall vent dusty in shower # 5, 6, 7, and 8

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1, 5, 6, 7, and 8

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 2, 3, and 4

105 CMR 451.123	Maintenance: Floor dirty in shower # 1, 2, 4, 5, 6, and 8

105 CMR 451.123*	Maintenance: Sprinkler shroud rusted in shower # 2

H2 Cell Block # E1-H111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage # E1-H107

No Violations Noted

Med Room # E1-H108

No Violations Noted

Janitor’s Closet # E1-H105

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, backflow preventer leaking

Staff Bathroom # E1-H106

No Violations Noted

Staff Break Area

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Low light not functioning in cell # 27

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 59

Showers # S1-8	Unable to Inspect Shower # 3 – Under Construction

105 CMR 451.123*	Maintenance: Wall epoxy damaged in shower # 1, 2, 5, and 8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 5

105 CMR 451.123	Maintenance: Drain flies observed in shower # 7

105 CMR 451.123	Maintenance: Floor drain dirty/debris in drain in shower # 1, 2, and 4

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

J2-K2 Pod # E1-5111

Closet # E1-28

No Violations Noted

Female Bathrooms # E1-30

No Violations Noted

Male Bathroom # E1-31

No Violations Noted

Offices # E1-23

No Violations Noted

Janitor’s Closet # E1-22

No Violations Noted

Nurse’s Station

Unable to Inspect – Locked

J2 Cell Block

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Janitor’s Closet # E1-J105

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Staff Bathroom # E1-J106

No Violations Noted

Staff Break Area

No Violations Noted

Med Room # E1-J106

No Violations Noted

Storage Room # E1-J107

No Violations Noted

Recreation Deck

105 CMR 451.360	Protective Measures: Bird droppings observed

105 CMR 451.353	Interior Maintenance: Equipment padding damaged

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 6 and 34

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink clogged in cell # 4

Showers

105 CMR 451.123*	Maintenance: Wall epoxy damaged in shower # 3, 5, 6, 7, and 8

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 3, 5, and 8

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 1 and 7

105 CMR 451.123	Maintenance: Drain flies observed in shower # 6 and 7

105 CMR 451.123	Maintenance: Dead drain flies on ceiling in shower # 3, 6, 7, and 8

105 CMR 451.123	Maintenance: Floor drain dirty/debris in floor drain in shower # 5

105 CMR 451.123	Maintenance: Walls dirty in shower # 7

K2 Cell Block # E1-K1

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Med Room # E1-K108

No Violations Noted

Common Area

No Violations Noted

Storage # E1-K107

No Violations Noted

Janitor’s Closet # E1-K105

105 CMR 451.344	Illumination in Habitable Areas: Light(s) not functioning properly, light out

Staff Area

No Violations Noted

Staff Bathroom

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

No Violations Noted

Showers # S1-8

105 CMR 451.123	Maintenance: Floor dirty in shower # 4 and 8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 4, and 8

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower # 2

G1-H1 Pod # EG-6A

Chemical Storage Closet # EG-13

No Violations Noted

Janitor’s Closet # EG-7

No Violations Noted

Office

No Violations Noted

Male Bathroom # EG-15

No Violations Noted

Female Bathroom # EG-16

No Violations Noted

Nurse’s Station # EG-9

Unable to Inspect – Locked

G1 Cell Block # EG-G111 (Unoccupied)

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage Room # G107

No Violations Noted

Med Room # G108

No Violations Noted

Janitor’s Closet # G105

No Violations Noted

Staff Area

No Violations Noted

Staff Bathroom # EG-G106

No Violations Noted

Recreation Deck

105 CMR 451.360	Protective Measures: Bird droppings observed

Bubbler

No Violations Noted

Cells

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Mold observed on ceiling in shower # 7

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 5

105 CMR 451.123	Maintenance: Ceiling left unfinished in shower # 1 and 4

H1 Cell Block # G6-H111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Wall dirty near hot water dispenser

Storage Room # EG-H107

No Violations Noted

Med Room # EG-H108

No Violations Noted

Janitor’s Closet # EG-H105

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Staff Work Station

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.102	Pillows and Linens: Pillowcase damaged in cell # 23

Showers # S1-8

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 5, 6, and 8

105 CMR 451.123	Maintenance: Walls dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 1 and 4

105 CMR 451.123	Maintenance: Floor dirty in shower # 2 and 4

105 CMR 451.123	Maintenance: Drain flies observed in shower # 5 and 8

105 CMR 451.123	Maintenance: Handicap showerhead attachment broken in shower # 3

J1-K1 Pod # EG-21A

Offices # EG-25

No Violations Noted

Male Bathroom # EG-31

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom # EG-30

105 CMR 451.123	Maintenance: Ceiling vent dusty

Janitor’s Closet # EG-22

No Violations Noted

Nurse’s Station # EG-24

Unable to Inspect – In Use

Office # EG-28

Unable to Inspect - Locked

J1 Cell Block # EG-J111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Storage # EG-J108

No Violations Noted

Med Room # EG-J107

No Violations Noted

Janitor’s Closet # EG-J105

105 CMR 451.353	Interior Maintenance: Ceiling damaged

Staff Area

No Violations Noted

Staff Bathroom # EG-J106

No Violations Noted

Recreation Deck

105 CMR 451.353	Interior Maintenance: Equipment padding damaged

Bubbler

No Violations Noted

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1, 2, 3, 5, 6, 7, and 8

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 1, 3, 5, and 7

105 CMR 451.123	Maintenance: Floor dirty in shower # 2

105 CMR 451.123	Maintenance: Handicap showerhead wall attachment broken in shower # 2

K1 Cell Block # EG-K111

105 CMR 451.321*	Cell Size: Inadequate floor space in double bunked cells

Control Area

No Violations Noted

Storage # EG-K107

No Violations Noted

Med Room # EG-K108

No Violations Noted

Janitor’s Closet # EG-K105

105 CMR 451.353	Interior Maintenance: Ceiling left unfinished

105 CMR 451.353	Interior Maintenance: Walls dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no hot water supplied to slop sink

Staff Bathroom # EG-K106

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

No Violations Noted

Showers	Unable to Inspect Shower # 6 – Under Construction

105 CMR 451.123*	Maintenance: Floor surface damaged in shower # 5

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1210F in shower # 3

Outside Warehouse

Entrance

No Violations Noted

Refrigerator with Freezer

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, bottom covering on freezer door damaged

Freezer

No Violations Noted

Janitor’s Closet

No Violations Noted

Bathroom

No Violations Noted

Side Entrance near Bathroom

105 CMR 451.353	Interior Maintenance: Wall damaged near entrance door

Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, utensils not stored in a manner to protect against contamination

Chemical Storage Area

No Violations Noted

Vehicle Trap

No Violations Noted

Bathroom

No Violations Noted

Towers

North Tower

No Violations Noted

South Tower

No Violations Noted

Observations and Recommendations

- The inmate population was 533 at the time of inspection.

- The CSP recommended posting an updated Water Quality Report within the facility.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Kerry Wagner, MPH													Environmental Analyst CSP, BEH