The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

March 4, 2011

Thomas Dickhaut, Superintendent

Souza-Baranowski Correctional Center

P.O. Box 8000

Shirley, MA 01464

Re: Facility Inspection

Dear Superintendent Dickhaut:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Souza-Baranowski Correctional Center on February 14, 15, 16 & 17, 2011 accompanied by Jeff Bussiere, EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

ENTRANCE AREA

Bubbler

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, draining slow

Female Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Generally dirty

Male Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, first sink doesn’t work

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

ADMINISTRATION AREA

2nd Floor

Kitchenette

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Female Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Male Bathroom

No Violations Noted

Female Locker Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Weight Room

No Violations Noted

1st Floor

Female Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.353*	Interior Maintenance: Vent dusty

Men’s Locker Room

105 CMR 451.123*	Maintenance: Wall paint peeling in shower area

105 CMR 451.123	Maintenance: Wall damage

105 CMR 451.123	Maintenance: Ceiling tiles water damaged

105 CMR 451.123	Maintenance: Ceiling tiled missing

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

OUTER CONTROL

Bathroom

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

INNER CONTROL

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged on refrigerator

Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

VISITING AREA

Bathrooms

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in all bathrooms

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Mop stored on floor

Non-Contact Visiting Area

No Violations Noted

OPERATIONS AREA

Female Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Light cover missing

Male Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Janitor’s Closet

No Violations Noted

MAIN KITCHEN

Inmate Dining Area

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, paint peeling

Tray Washing Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold build-up under tray retrieval station

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, pipes being held up with plastic bags under dishwasher

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, dishwasher not functioning properly

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, dishwasher leaking

FC 4-501.15	Maintenance and Operation: Sanitize cycle not functioning properly on the dishwasher

FC 5-202.13*	Plumbing System, Design: Air gap between pipe and flood rim, less than twice the diameter of the pipe

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, paint peeling

FC 4-202.11(A)(2)	Design and Construction, Cleanability: Damaged food-contact surface no longer easily cleanable, trays damaged

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls covering not easily cleanable, baseboard damaged

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, hand sink drains slow

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, floor drain blocked

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Trays not stored in the inverted/self-draining position

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized trays not allowed to air dry fully

North Side Serving

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Trays not stored in the inverted/self-draining position

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, items left uncovered

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 930F

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, handles are not correct

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, warmer gaskets damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, cooler gaskets damaged

South Side Serving

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, warmer gaskets damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, cooler gaskets damaged

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Trays not stored in the inverted/self-draining position

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than 	the manufacturers recommended concentration

Pot Washing Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, dishwasher not working

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, dishwasher

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, excessive amount of lime build up in the dishwasher

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, paint peeling behind dishwasher and 3 bay sink

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water on the floor

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, what appears to be mold behind and under the 3 bay sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, pipes leaking under the 3 bay sink

FC 4-501.18	Maintenance and Operation, Equipment: Wash, rinse & sanitizing solution dirty

FC 2-401.11*	Hygienic Practices Food Contamination Prevention: Food service personnel drinking 	in an inappropriate area

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, food debris on walls and ceiling

FC 5-501.116(B)	Refuse, Recyclables, and Returnables: Trash receptacles not cleaned after use, the pig swill containers are covered in old food

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, warmers need to be thoroughly cleaned out after each use

Kitchen

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor tile damage in kettle area

FC 6-501.114(A)*	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, right tilt skillet not functioning

FC 6-501.114(A)*	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, Garland oven door doesn’t shut properly

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, hot water doesn’t work on handwash sink in cook area

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink, dispenser broken

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, 3 ovens don’t work

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, potato peeler broken

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged to blast chiller

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered in left over cooler

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in left over cooler dusty

Bakery

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, double door freezer

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pans not stored in the inverted position

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than 	the manufacturers recommended concentration

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1010F

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, flour bins have a lot of food debris build-up in them

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact surfaces dirty, 	refrigerator door handles, oven handle, cooler door, etc.

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 960F

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, drain is filled with debris

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, electrical outlet damaged

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered in cooler

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or protected by light shields in cooler

FC 3-302.12	Preventing Food and Ingredient Contamination: Mislabeled food containers

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Cups not stored in the inverted position

FC 4-903.11(A)	Protection of Clean Items, Storing: Single-use items not stored in an appropriate location, not covered

Dry Storage for Kitchen

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, old food product on walls

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, warmers

Meat Cooler

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination, ready-to-eat foods not appropriately separated from raw foods, raw meat was stored above carrots

Produce Cooler

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light not functioning properly

Dairy Cooler

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, pipe insulation not in-tact

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, missing light

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged and dirty

Hallal Station

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, old food debris in cabinets

Storage (next to Office)

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Plates not stored in the inverted position

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, walls covered in old food debris

Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Tool Crib

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty, knives and utensils have left over food on them

Janitor’s Closet

105 CMR 451.350*	Structural Maintenance: Baseboard damage

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no hot water nozzle

Staff Bathroom/Locker Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Inmate Bathroom

105 CMR 451.123	Maintenance: Baseboard damage

105 CMR 451.123	Maintenance: Generally dirty

105 CMR 451.123	Maintenance: Floor damage

105 CMR 451.123	Maintenance: Door rusted and damaged

Staff Bathroom

Out of Order

CULINARY

Dry Goods

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line

Kitchen

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested greater 	than recommended concentration

FC 7-202.11(A)	Poisonous or Toxic Materials; Presence and Use: Unapproved poisonous or toxic material used in food service area, knives are being placed in a mixture of water and Bloom after sanitizing

FC 4-301.12(D)(2)(c)	Numbers and Capacity, Equipment: Utensils not being sanitized properly

FC 4-501.18	Maintenance and Operation, Equipment: Sanitizing solution dirty

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, food bins dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light over kettle not functioning properly

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, handwash sink leaking

FC 7-102.11	Poisonous or Toxic Materials; Working Containers: Working containers of poisonous or toxic materials must be clearly labeled with common name, label all buckets of sanitizer

Janitor’s Closet

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Dishwasher Area

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, paint peeling near dishwasher

Serving Line

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered in warmer

FC 3-304.12(A)	Preventing Contamination from Utensils: Ice scoop not stored properly

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair sink leaking

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, 1 soda dispenser not working

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, soda line leaking

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, area under leaky soda line is covered in syrup

Staff Dining Area

No Violations Noted

Male Staff Locker Room

105 CMR 451.350*	Structural Maintenance: Ceiling damage

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Female Staff Locker Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

GYM AREA

Control

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Inmate Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

SOUTH GYM

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Standing water

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Missing drain cover

NORTH GYM

No Violations Noted

WEIGHT ROOM

105 CMR 451.353	Interior Maintenance: The peck/fly/chest machine seat damaged

INSIDE WAREHOUSE

Dry Goods

FC 6-501.114*	Maintaining Premises, Unnecessary Items and Litter: Non-functional equipment stored in here, 3 slicers

FC 6-403.11(B)*	Location and Placement; Employee Accommodations: No locker room area designated for employees, personal belongings, jackets, stored with food

FC 4-903.11(A)(3)	Protection of Clean Items, Storing: Food product not stored 6” off the floor

Freezer DG69

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

DG 70

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light not working properly

DG68

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light not working properly

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, missing drain cover outside of this cooler

TRASH DOCK

Dumpster Area

FC 5-501.110*	Refuse, Recyclables, and Returnables; Operations and Maintenance: Refuse storage not inaccessible to insects and rodents, there is a lot of trash/litter on the ground in this area

105 CMR 451.353	Interior Maintenance: Food on walls

105 CMR 451.353	Interior Maintenance: Exposed wires above door

Can Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light not working properly

105 CMR 451.353	Interior Maintenance: There is a lot of debris on the floor

FC 5-501.116(B)	Refuse, Recyclables, and Returnables: Trash receptacles not cleaned after use

OUTSIDE WAREHOUSE

Refrigerator

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Freezer

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light not working properly

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Drain cover missing

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Bathroom

105 CMR 451.123	Maintenance: Ceiling damage

BARBER SHOP/VOC ED

Office

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Female Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper

Male Bathroom

No Violations Noted

Computer Room

No Violations Noted

Barber Shop

105 CMR 451.126	Hot Water: Hot water temperature 870F

Janitor’s Closet

No Violations Noted

Inmate Bathroom

No Violations Noted

SCHOOL/LIBRARY

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature 920F

Male Bathroom

105 CMR 451.123	Maintenance: Generally dirty

3 Inmate Bathrooms

No Violations Noted

Janitor’s Closet (C 265)

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

C262

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

C263

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Library

No Violations Noted

C274

No Violations Noted

BOOKING/PROPERTY

GG24

No Violations Noted

Female Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.353	Interior Maintenance: Light cover cracked

Janitor’s Closet

105 CMR 451.126*	Hot Water: Hot water temperature 870F

Cell #3

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Adm. 1

No Violations Noted

Protocol Room

No Violations Noted

Adm. 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water not working

Scrub Room

No Violations Noted

Laundry

105 CMR 451.350*	Structural Maintenance: Ceiling damage

Adm. 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working

Property Room

No Violations Noted

Room DG44A

105 CMR 451.353	Interior Maintenance: Wall dirty

Office

105 CMR 451.350*	Structural Maintenance: Ceiling damage

Female Staff Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

LAUNDRY

105 CMR 451.353*	Interior Maintenance: All the washers are leaking

105 CMR 451.350*	Structural Maintenance: Floor and wall damage near dryers

105 CMR 451.353	Interior Maintenance: 1 dryer broken

Inmate Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 860F

Office

105 CMR 451.350	Structural Maintenance: Ceiling damage

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Wall damage

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Supply Room

No Violations Noted

TRAINING ROOM

105 CMR 451.350	Structural Maintenance: Floor damage near vending machines

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Hole in ceiling

105 CMR 451.126	Hot Water: Hot water temperature recorded at 840F

INDUSTRIES

Inmate Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Bubbler

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, excessive water pressure

Break Room

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Missing drain cover

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 980F

Male Bathroom

No Violations Noted

MAINTENANCE

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing and some damaged

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-101.16			Materials for Construction and Repair; Multiuse: Sponges used

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior top portion of coffee maker

Female Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling damage

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Male Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

RECORDS AND CLASSIFICATION

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing throughout the area

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained throughout the area

Hallway-Janitor’s Closet C253

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Break Room

FC 4-101.16*			Materials for Construction and Repair; Multiuse: Sponges used in kitchen area

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Spectrum

Male Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 730F

Female Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

H.S.U

Officer’s Side

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Staff Bathroom

No Violations Noted

X-Ray

No Violations Noted

Trauma Room

No Violations Noted

Outpatient

No Violations Noted

Exam Room

No Violations Noted

PT Room

No Violations Noted

Dental Room

No Violations Noted

Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Pharmacy

No Violations Noted

Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water doesn’t shut off properly

Men’s Room

No Violations Noted

Nurses Side

Nurse’s Break Room

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior top part of coffee maker dirty

Janitor’s Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Storage

No Violations Noted

Waiting Area

No Violations Noted

B28

No Violations Noted

HSU Records

No Violations Noted

Isolation/Inpatient

105 CMR 451.353*	Interior Maintenance: Vents covered

Janitors Room

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell #3, 4, 5, 11, 17 & 18

Shower 1

105 CMR 451.123	Maintenance: Floor damage

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Shower 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1270F

105 CMR 451.123	Maintenance: Floor damage

105 CMR 451.123	Maintenance: Baseboard damage

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Shower 3

105 CMR 451.123	Maintenance: Floor damage

105 CMR 451.123	Maintenance: Baseboard damage

105 CMR 451.123	Maintenance: Soap scum on walls in shower

CHAPEL

Inmate Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottles

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

MOSQUE

105 CMR 451.126	Hot Water: Hot water temperature 910F

Inmate Bathroom

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

C2-6

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

C210

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

NORTH STP M

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Staff Bathroom

No Violations Noted

Men’s Bathroom

Unable to Inspect – In Use

Female Bathroom

No Violations Noted

Janitors Closet F219

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottles

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Kitchen Area

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1390F

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Visiting Bathroom (F224)

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Control

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Staff Bathroom in Control

No Violations Noted

Recreation Deck

105 CMR 451.360	Protective Measures: Effective measures against the presence of birds on the premises not taken, bird feces covers the deck

Office

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Cells

105 CMR 451.353	Interior Maintenance: Unfinished wall in cell #M04, M07

105 CMR 451.353	Interior Maintenance: Vent blocked in cell #M19

105 CMR 451.353	Interior Maintenance: Cell dirty, smoke damage in cell #M20

105 CMR 451.353	Interior Maintenance: Wall paint peeling in cell #M30

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell #M32

Showers

105 CMR 451.123*	Maintenance: Paint peeling in all showers

105 CMR 451.123*	Maintenance: Soap scum build-up in all showers

105 CMR 451.353	Interior Maintenance: Wall vent dusty in all showers
105 CMR 451.123	Maintenance: Appearance of a mold like substance in shower #2 & 4

F2M103

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

NORTH STP L

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Recreation Deck

105 CMR 451.360	Protective Measures: Effective measures against the presence of birds on the premises not taken, bird feces covers the deck

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #L19 & 32

105 CMR 451.102	Pillows and Linens: Insufficient pillow and linens available for inmates in cell #L13

105 CMR 451.353	Interior Maintenance: Vent blocked in cell #8, 14, 20, 21, 24, 25, 27 & 33

Showers

105 CMR 451.123*	Maintenance: Soap scum build-up in all showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Wall vent dusty in all showers

105 CMR 451.123	Maintenance: Drain flies observed in shower #1 & 3

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1190F

105 CMR 451.123	Maintenance: No spring on door #4

L2M2 POD

Female Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling damage

Male Bathroom

No Violations Noted

Nurse’s Station

No Violations Noted

L2 CELL BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling damage above Officer’s desk

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

FC 4-204.112(A)		Design and Construction, Functionality: Thermometer not properly positioned in 					refrigerator

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353	Interior Maintenance: Missing drain cover

105 CMR 451.360	Protective Measures: Drain flies observed

Staff Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, floor drain blocked and rusty

Common Sink

105 CMR 451.353	Interior Maintenance: cabinet damaged

Recreation Deck

105 CMR 451.360	Protective Measures: Effective measures against the presence of birds on the premises not taken, bird feces covers the deck

Bubbler

No Violations Noted

Cells

105 CMR 451.103	Mattresses: No mattress in cell #62

105 CMR 451.102	Pillows and Linens: Insufficient pillow cases available for inmates in cell #22

105 CMR 451.353	Interior Maintenance: Vent blocked in cell #26, 39, 40, 52 & 60

105 CMR 451.103	Mattresses: Mattress damage in cell #1, 12 & 15

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 4, 7 & 8

105 CMR 451.123*	Maintenance: Mold like substance in shower #1, 5, 7 & 8

M2 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.353	Interior Maintenance: Missing drain cover

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Staff Bathroom

No Violations Noted

Common Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sprayer damaged/missing

105 CMR 451.353*	Interior Maintenance: Cabinet damaged/missing

Recreation Deck

105 CMR 451.360	Protective Measures: Effective measures against the presence of birds on the premises not taken, bird feces covers the deck

Bubbler

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, excessive water pressure

Cells

105 CMR 451.102	Pillows and Linens: Insufficient pillow cases available for inmates in cell #12, 20, 25, 42 & 50

105 CMR 451.102	Pillows and Linens: Insufficient linens available for inmates in cell #20

105 CMR 451.103	Mattresses: Mattress damage in cell #24

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #33 & 47

105 CMR 451.350	Structural Maintenance: Wall damage in cell #22

105 CMR 451.102	Pillows and Linens: Insufficient pillow available for inmates in cell #7 & 54

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123	Maintenance: Wall vent dusty in all showers

105 CMR 451.123	Maintenance: Mold like substance in shower #4

105 CMR 451.123	Maintenance: Light not functioning properly in #5

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1210F

L1M1 POD

Unit Team

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Nurse’s Station

No Violations Noted

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.353	Interior Maintenance: Missing drain cover

L1 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

No Violations Noted

Janitor’s Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, pipes leaking and ceiling water stained

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Missing drain cover

105 CMR 451.353	Interior Maintenance: Ceiling is covered in a mold like substance

105 CMR 451.353	Interior Maintenance: Light not functioning correctly

Staff Bathroom

105 CMR 451.123	Maintenance: Floor damage

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1390F

Common Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sprayer broken

105 CMR 451.353	Interior Maintenance: Cabinet water damaged

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell #5 and 7

105 CMR 451.353	Interior Maintenance: Vent blocked in cell #26, 32, 34, 36, 46, 54, 55, 56, 57, 60,

61 & 62

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123	Maintenance: Ceiling damage in #1, 3, 4, 5 & 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in #5

105 CMR 451.123	Maintenance: Wall vent dusty in #5 & 6

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1250F

M1 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged on refrigerator

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.350*	Structural Maintenance: Holes in the ceiling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353	Interior Maintenance: Mold like substance growing on the ceiling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water leaking from upstairs

105 CMR 451.353	Interior Maintenance: Missing drain cover

Staff Bathroom

No Violations Noted

Common Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sprayer broken

105 CMR 451.353	Interior Maintenance: Cabinet damaged

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #33, 42 & 46

105 CMR 451.101	Blankets: Blanket damaged in cell #9

Showers

105 CMR 451.123*	Maintenance: Peeling paint in shower #1, 2, 4, 5, 6 & 7

105 CMR 451.123*	Maintenance: Soap scum on shower wall #1, 4, 5, 6 & 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower #4 leaking

105 CMR 451.123	Maintenance: Ceiling damage in #1, 2, 5 & 6

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1180F

N2P2 POD

Unit Team

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

Female Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Male Bathroom

No Violations Noted

Nurse’s Station

No Violations Noted

N2 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 530F

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Missing drain cover

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Common Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sprayer broken

105 CMR 451.353	Interior Maintenance: Water damage under cabinet

105 CMR 451.353	Interior Maintenance: Mold like substance growing under cabinet

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #7, 23, 25, 26, 29, 30, 34, 38, 51, 54, 55, 57, 62 & 64

105 CMR 451.103	Mattresses: Mattress damage in cell #2, 3 & 59

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on shower walls in all showers

105 CMR 451.123	Maintenance: Ceiling damage in shower #3

105 CMR 451.123	Maintenance: Light not functioning properly in #8

P2 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop left in wet bucket

105 CMR 451.353	Interior Maintenance: Missing drain cover

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

Staff Bathroom

No Violations Noted

Common Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sprayer missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353	Interior Maintenance: Cabinet water damaged

Recreation Deck

No Violations Noted

Bubbler

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, excessive water pressure

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #47

105 CMR 451.350	Structural Maintenance: Wall damaged between cell #12 & 13

105 CMR 451.103	Mattresses: No mattress in cell #8

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #2, 3, 10, 12, 13, 19, 20, 25, 27, 31, 33, 37, 38, 43, 44, 49, 50, 53, 56, 57 & 63

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.130	Hot Water: Shower water temperature 1160F

105 CMR 451.123	Maintenance: Ceiling damage in #1, 4, 3, 5 & 8

105 CMR 451.123	Maintenance: Apparent mold growth in #1, 2, 3 & 4

105 CMR 451.123	Maintenance: Baseboard damage in #1, 2 & 5

N1P1 POD

Female Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Missing light cover

Male Bathroom

No Violations Noted

Nurse’s Station

Unable to Access

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353	Interior Maintenance: Missing drain cover

N1 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

105 CMR 451.350*	Structural Maintenance: Missing ceiling tiles

Storage

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, microwave damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Light not functioning

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Missing ceiling

105 CMR 451.353	Interior Maintenance: Missing drain cover

Staff Bathroom

No Violations Noted

Common Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sprayer broken

105 CMR 451.353	Interior Maintenance: Cabinet damaged

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.102	Pillows and Linens: Linens damaged in cell #15

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #12, 26, 39, 44, 57 & 59

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123	Maintenance: Wall vent dusty in #1, 3, 7 & 8

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in #3

105 CMR 451.123	Maintenance: Ceiling damaged in #1, 2 & 7

105 CMR 451.123	Maintenance: Mold like substance growing in #1

105 CMR 451.123	Maintenance: Drain flies observed in #6

P1 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Missing drain cover

Staff Bathroom

No Violations Noted

Common Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink doesn’t work properly

105 CMR 451.353	Interior Maintenance: Cabinet has water damage

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #61

105 CMR 451.102	Pillows and Linens: Linens damaged in cell #24 & 34

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell #32

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #13, 20, 45, 54, 57 & 62

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123	Maintenance: Ceiling damage in all showers

105 CMR 451.123	Maintenance: Wall vent dusty in all showers

105 CMR 451.123	Maintenance: Floor damage in #7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in #8

SOUTH SMU J

Recreation Deck

105 CMR 451.360	Protective Measures: Effective measures against the presence of birds on the premises not taken, bird feces covers the deck

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Scrub Room

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

Kitchen

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination, not stored inverted

Visitor’s Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Protocol Room

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in #J3-11 & 13

105 CMR 451.103	Mattresses: Mattress damage in cell #J3-14

105 CMR 451.353	Interior Maintenance: Missing face plate in #J3-53

Showers

105 CMR 451.123*	Maintenance: Soap scum on shower walls

105 CMR 451.123*	Maintenance: Peeling paint in showers

105 CMR 451.123*	Maintenance: Generally dirty

105 CMR 451.123	Maintenance: Wall vent dusty in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in #3 & 5

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

SOUTH SMU K

Recreation Deck

105 CMR 451.360	Protective Measures: Effective measures against the presence of birds on the premises not taken, bird feces covers the deck

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored on floor

Cells

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in cell #1

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell #16, 24 & 30

Showers

105 CMR 451.123*	Maintenance: Peeling paint in showers

105 CMR 451.123*	Maintenance: Soap scum on shower walls

105 CMR 451.123*	Maintenance: Baseboard damage in #1

G2H2 POD

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Bathrooms

No Violations Noted

Nurse’s Station

No Violations Noted

G2 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Missing drain cover

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Common Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sprayer broken

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353	Interior Maintenance: Cabinet under sink is water damaged

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Hole in wall in cell #41 & 61

105 CMR 451.103	Mattresses: Mattress damage in cell #5 & 54

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in #1, 3 & 7

105 CMR 451.123	Maintenance: Hole in ceiling in shower #3

105 CMR 451.123	Maintenance: Ceiling damaged in shower #2

105 CMR 451.123	Maintenance: Mold like substance in shower #4

H2 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Mop stored in wet bucket

Staff Bathroom

No Violations Noted

Common Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet missing

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall damage in cell #1

105 CMR 451.101	Blankets: Blanket damaged in cell #38

105 CMR 451.103	Mattresses: No mattress in cell #60

105 CMR 451.353	Interior Maintenance: Butter on ceiling in cell #28

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123*	Maintenance: Ceiling damage in #1, 2, 4, 6 & 8

105 CMR 451.123	Maintenance: Wall damage in #8

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in #3

105 CMR 451.123	Maintenance: Baseboard damage in #4 & 8

105 CMR 451.123	Maintenance: Hole in ceiling in #1

J2K2 POD

Bathrooms

No Violations Noted

Nurse’s Station

No Violations Noted

J2 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

105 CMR 451.350	Structural Maintenance: Ceiling water stained in block

Storage

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Missing drain cover

105 CMR 451.353	Interior Maintenance: Standing water on floor

Staff Bathroom

No Violations Noted

Common Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no faucet

105 CMR 451.353	Interior Maintenance: Cabinet rotted

Recreation Deck

No Violations Noted

Bubbler

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, excessive water pressure

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair bubbler drains slow

Cells

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell #2, 5, 12, 21, 22, 27, 30, 31, 32, 34, 35, 37 & 57

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Ceiling damage in #1, 3, 4, 5, 6, 7 & 8

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123	Maintenance: Ceiling damage in #1, 3, 4, 5, 6, 7 & 8

105 CMR 451.123	Maintenance: Wall vent dusty in cell #1, 2, 3, 4, 5, 6 & 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in #7

105 CMR 451.123	Maintenance: Water leaking from ceiling in #5

105 CMR 451.360	Protective Measures: Drain flies observed

K2 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

105 CMR 451.350	Structural Maintenance: Ceiling damage in the block

Storage

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Staff Bathroom

105 CMR 451.123	Maintenance: Sink cracked

Common Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sprayer broken

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall damage in between cell #3 & 4, 5 & 6, 19 & 20, 21 & 22, 23 & 24

105 CMR 451.353	Interior Maintenance: Blocked vent in cell #19, 35, 39, 58, 59, 61 & 62

105 CMR 451.350	Structural Maintenance: Wall damage in cell #56

105 CMR 451.103	Mattresses: Mattress damage in cell #43 & 44

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Tile damage outside of #7

105 CMR 451.123	Maintenance: Ceiling damage in #2, 4, 5 & 6

105 CMR 451.123	Maintenance: Mold like substance in #1, 2 & 6

G1H1 POD

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Bathrooms

No Violations Noted

Nurse’s Station

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

G1 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in wet bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Common Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sprayer broken

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell #42

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell #32

Showers

105 CMR 451.123*	Maintenance: Peeling paint in #1, 3, 4, 6 & 8

105 CMR 451.123*	Maintenance: Soap scum in all showers

105 CMR 451.123*	Maintenance: Ceiling damage in #2, 5 & 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in #3, 5 & 7

H1 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in wet bucket

105 CMR 451.353*	Interior Maintenance: Missing drain cover

Staff Bathroom

No Violations Noted

Common Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet broken

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sprayer broken

Recreation Deck

No Violations Noted

Bubbler

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, excessive water pressure

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell #13

105 CMR 451.103	Mattresses: Mattress damage in cell #5, 32, 37 & 55

105 CMR 451.360	Protective Measures: Ants observed outside cell #16

105 CMR 451.360	Protective Measures: Drain flies observed outside cell #16

Showers

105 CMR 451.123	Maintenance: Ceiling damage in #3, 4 & 6

105 CMR 451.123	Maintenance: Peeling paint in #6 & 7

105 CMR 451.130	Hot Water: Shower water temperature 1200F

J1K1 POD

Bathrooms

Unable to access

Nurse’s Station

No Violations Noted

J1 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Missing drain cover

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Staff Bathroom

No Violations Noted

Common Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sprayer missing

Recreation Deck

No Violations Noted

Bubbler

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, excessive water pressure

Cells

105 CMR 451.350	Structural Maintenance: Missing tile outside of cell #53

105 CMR 451.353	Interior Maintenance: Blocked vent in cell #41 & 45

Showers

105 CMR 451.123*	Maintenance: Paint peeling in all showers

105 CMR 451.123*	Maintenance: Soap scum in all showers

105 CMR 451.123	Maintenance: Wall vent dusty in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower #4 leaking

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1170F

105 CMR 451.123	Maintenance: Mold like substance in shower #3

105 CMR 451.123	Maintenance: Ceiling damaged in #2

K1 CELL BLOCK

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Storage

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1470F

Common Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sprayer damaged

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #4 & 11

105 CMR 451.353	Interior Maintenance: Vent blocked in cell #23, 36, 42, 55, 56, 57, 61 & 62

105 CMR 451.350	Structural Maintenance: Wall damaged between cell #25 & 26

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell #27

105 CMR 451.102	Pillows and Linens: Insufficient pillow cases available for inmates in cell #22

Showers

105 CMR 451.123*	Maintenance: Paint peeling in all showers

105 CMR 451.123	Maintenance: Ceiling damage in #1, 2 & 6

105 CMR 451.123*	Maintenance: Soap scum in all showers

105 CMR 451.123	Maintenance: Floor damage in #4

105 CMR 451.123	Maintenance: Mold like substance in #4, 5 & 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in #6

105 CMR 451.123	Maintenance: Floor damaged outside of shower #7

Observations and Recommendations

- The inmate population was 1262 at the time of inspection

- The Department recommends removing the housing unit common sinks

- The Department recommends removing the glass from the housing unit showers to improve ventilation

- February 15, told by the officer overseeing kitchen that Styrofoam trays were being used in lieu of plastic serving trays. February 16, informed by Acting Food Director Mike Dellechiaie, the facility is using plastic serving trays. It appears there is some miscommunication between the staff working in the kitchen, the Department recommends there be written policies and procedures in place for staff to review when the Food Service Director is not on site.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

Jeff Bussiere, EHSO

Shirley Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS