MYCOBACTERIOLOGY LABORATORY

MA STATE PUBLIC HEALTH LABORATORY

305 SOUTH STREET, JAMAICA PLAIN, MA 02130

Note:  Specimens should be collected prior to beginning treatment.  If treatment has started, please indicate on the submission form.

Refer to CLSI M48 for additional details

| Specimen Source | Additional details | Volume | Transport Condition |
| --- | --- | --- | --- |
| Abscess | Closed or open, cellulitis, eye exudate, tissue, skin lesion Tissue or fluid is preferred. Use a swab only if necessary | Closed: Clean surface with 70% alcohol; collect fluid with Luer tip syringe, remove tissue aseptically Open: Aspirate material from under the legion of margin if possible | Transport tissue in 2-3mL nonbacteriostatic saline Do not use commercial swab transport systems or in gel-based media Transport specimens in a sterile, leak-proof container. Transport ASAP at ambient temperature but refrigerate if delayed more than 1 hour. |
| Blood | Whole blood, yellow-top (SPS), green-top containing heparin If automated blood culture system please contact the lab first. | 10mL (minimum 5mL for adult and 1mL for children) | Transport ASAP at ambient temperature |
| Bone Marrow Aspirate | Prepare the puncture site as though for surgical incision | 10-mL yellow-top collectors containing SPS are preferred. | Transport specimens in a yellow top blood collection tube or sterile, leak-proof container. Transport ASAP at ambient temperature |
| Body Fluids | abdominal, amniotic, ascites, bile, joint, paracentesis, pericardial, peritoneal, pleural, synovial, thoracentesis | Minimum 2mL; submit as much as possible; 15mL recommended | Transport specimens in a sterile, leak-proof container. Transport ASAP at room temperature |
| CSF |  | 10mL | Transport specimens in a sterile, leak-proof container. Transport ASAP at ambient temperature |
| Gastric lavage | Collect early morning before patient has eaten Limit to 1/day for 3 days Perform with 25-50mL chilled, sterile, distilled water | 15mL | Neutralize with 100 mg sodium carbonate within 1 hour if not transported within 4 hours Transport specimens in a sterile, leak-proof container. Transport at ambient temperature |
| Lower Respiratory | BAL brush or wash, endotracheal aspirate, transtracheal aspirate Collect washing or aspirate in a sputum trap Place brushes in a sterile leakproof container with up to 5mL nonbacteriostatic saline | Minimum 3mL | Transport specimens in a sterile, leak-proof container. Transport ASAP at ambient temperature Refrigerate the specimen if delayed more than 1 hour. |
| Sputum Sputum | Expectorated: Sputum is brought up from the lungs following a productive cough; not nasopharyngeal discharge or saliva Induced: follow institutional procedures Three specimens collected consecutively in 8-24 hour intervals. At least one should be an early morning specimen. Do not pool specimens. | 5-10 mL 3mL | Transport the specimen in a sterile, leak-proof container. Transport ASAP at ambient temperature If transport is delayed for more than 1 hour, refrigerate the specimen. If induced, clearly label “induced” |
| Stool | Requires Approval: Contact the TB Lab prior to submission. |  |  |
| Tissue/Lymph node | Collect aseptically during a biopsy | Collect as much as possible; add 2-3 mL sterile nonbacteriostatic saline | Transport specimens in a sterile, leak-proof container Transport ASAP at ambient temperature |
| Urine | First morning specimen, midstream catch, is preferred. Limit to 1/day for 3 days Do not pool specimens | 40 mL Minimum 10-15mL | Transport specimens in a sterile, leak-proof container Transport ASAP at ambient temperature Refrigerate if transport is delayed more than 1 hour |

Container for Specimen:

Specimens must be collected in the primary sterile, leak -proof specimen container provided in the TB Culture (courier or mailing) Kit provided by the State Public Health Laboratory. Use of any other tubes may result in the sample not being processed.

To order TB Culture Kits, call (617) 983-6640 or email MASPHL.SpecimenKitOrders@mass.gov .

Labeling of Primary Specimen Container:  Patient name, date of birth, and collection date and time.  Information must exactly match the identifiers on the specimen submission form.

Specimen must be accompanied by a Mycobacteriology Specimen Submission Form
(https://www.mass.gov/lists/state-public-health-laboratory-specimen-submission-forms)

Shipping Instructions:

Mailing kits:  Tighten the cap on the primary specimen collection tube. Place the tube into the metal container provided and secure cap. Wrap the completed Specimen Submission Form around the outside of the metal container and place metal container inside a biohazard bag and then into the cardboard cylinder shipping container.  Secure cap of cardboard shipping container.

For a courier kit: Tighten the cap on the primary specimen collection tube. Place the tube into the metal container provided and secure cap. Place the metal container in the zippered biohazard bag provided with the kit.  Place a completed Specimen Submission Form in the outer pouch on the bag.

Send or transport specimens to:

Mycobacteriology Laboratory

MA State Public Health Lab

305 South Street, Jamaica Plain, MA 02130

Criteria for Specimen Rejection (submitter will be notified by telephone within 24 hours):

- Specimens that are received at the lab more than 5 days from collection

- Leaking or inappropriate specimen containers

- Mismatched patient identifiers between specimen container and submission form

- Unlabeled specimens

- Specimens without a properly labeled submission form

- Pooled Urines or Sputum

- Commercial swab transport systems or gel-based media

- Blood collected in a red top, EDTA (purple-top) or ACD (yellow top) tube

AFB Smear Results will be available within 24 hours of receipt of the specimen via the MA ELR portal.  Negative specimens are held and read for 60 days (90 if AFB smear is positive).

To gain access to the results portal please contact ELR.Support@MassMail.State.MA.US

Questions:  Contact the Mycobacteriology Laboratory at (617) 983-6374.