## Full Obligation
Commonwealth of Massachusetts
Executive Office of Energy and Environmental Affairs
DEPARTMENT OF ENERGY RESOURCES
RPS SOLAR CARVE-OUT
Preliminary Determination of CY 2022 Total Compliance Obligation
(per 225 CMR 14.07(2))
2021-07-13
Formula per 225 CMR 14.07(2)(b)
Total Compliance ObligationCY = the greater of:
Estimated GenerationCY-1 - Estimated SREC Ineligible GenerationCY, or
Estimated GenerationCY-1 - Estimated SREC Ineligible GenerationCY - ACP VolumeCY-2 + Banked VolumeCY-2 + Auction VolumeCY-2
Term in Formula | CY 2022 Min Std Term | Value (MWh) | Source
Estimated GenerationCY-1 | Estimated Generation2021 | 689899.9846 | per regulation; 225 CMR 14.07(2)(b) (see projection details in table below)
Estimated SREC Ineligible GenerationCY | Estimated SREC Ineligible Generation2022 | 72342.2226 | per regulation; 225 CMR 14.07(2)(b) (see projection details in table below)
ACP VolumeCY-2 | ACP Volume2020 | 9519 | 2020 Annual Compliance Filings (see 2020 RPS/APS Annual Compliance Report, forthcoming)
Banked VolumeCY-2 | Banked Volume2020 | 42062 | 2020 Annual Compliance Filings (see 2020 RPS/APS Annual Compliance Report, forthcoming)
Auction VolumeCY-2 | Auction Volume2020 | 23864 | NEPOOL GIS (see 2020 RPS/APS Annual Compliance Report, forthcoming)
Calculations | CY 2022 Min Std Term | Value (MWh) | Source
Total Compliance ObligationCY 1 | Total Compliance Obligation2022 | 673964.762 | per formula above and regulation; 225 CMR 14.07(2)(b)
2020 MA Retail Load |  | 43673802 | 2020 Utility Load Verification (see 2020 Annual Compliance Report, forthcoming)
CY 2022 Minimum Standard |  | 1.543% | division of above two terms
Formula Results
Preliminary Total Compliance Obligation 2022
Formula 1
689899.9846
Estimated CY 2022 SREC Ineligible Generation - | 72342.2226
= | 617557.762
Formula 2
689899.9846
Estimated CY 2022 SREC Ineligible Generation - | 72342.2226
2019 ACP Volume - | 9519
2019 Banked Volume + | 42062
2019 Auction Volume + | 23864
= | 673964.762
Total Compliance Obligation (Greater Value) = | 673964.762
CY 2022 Minimum Standard
673964.762
÷ | 43673802
Minimum Standard = | 1.543%
Projection Details
Projection of CY 2021 Total SRECs Generated |  | Total Capacity (MW)2 | Projected CY 2021 SREC Generation3
(for use in formula above)
Expected MWh generated by qualified projects |  | 603.492 | 689899.9846
TOTAL |  | 603.492 | 689899.9846
Projection of CY 2022 SREC Ineligible Generation |  | Total Capacity (MW) | Projected CY 2022 SREC Ineligible Generation3 | Quarterly Contribution to Annual Total Output (%) | Q1 | 23.01%
(for use in formula above) |  |  |  |  | Q2 | 28.94%
Expected MWh generated by projects that are no longer qualified (Q1 2022) |  | 16.987 | 19419.1987 |  | Q3 | 29.31%
Expected MWh generated by projects that are no longer qualified (Q2 2022) |  | 26.358 | 23199.9155 |  | Q4 | 18.74%
Expected MWh generated by projects that are no longer qualified (Q3 2022) |  | 42.474 | 23331.8287 | Source: NREL Insolation Data, Worcester, kWh/m2/day (Non-Tracking, Tilt = Latitude)
Expected MWh generated by projects that are no longer qualified (Q4 2022) |  | 29.836 | 6391.2797
TOTAL |  | 115.655 | 72342.2226
1 Stakeholders should note that the full compliance obligation is not necessarily required to be met with the purchase of SRECs. This is because any load served by competitive retail electric suppliers that was under contract prior to June 28, 2013 is exempt for the portion of a supplier's obligation resulting from the emergency rule change that expanded the program cap beyond 400 MW. This exemptions effectively reduces the actual demand for SRECs generated in any given Compliance Year. More information on the size of these exemptions and their impact on the market can be under the SREC exemptions section of the following webpage:
http://www.mass.gov/eea/energy-utilities-clean-tech/renewable-energy/rps-aps/retail-electric-supplier-compliance/rps-and-aps-minimum-standards.html
2 Total Capacity has been reduced by 49.832MW to reflect amount of capacity that became ineligible on 12/31/21.
3 Projected generation assumes an annual average capacity factor of 13.05% .

## Min Standard at 400
Commonwealth of Massachusetts
Executive Office of Energy and Environmental Affairs
DEPARTMENT OF ENERGY RESOURCES
RPS SOLAR CARVE-OUT
Preliminary Determination of CY 2021 Total Compliance Obligation
(per 225 CMR 14.07(2)(c))
2021-07-13
Formula per 225 CMR 14.07(2)(b)
Total Compliance ObligationCY = the greater of:
Estimated GenerationCY-1 - Estimated SREC Ineligible GenerationCY, or
Estimated GenerationCY-1 - Estimated SREC Ineligible GenerationCY - ACP VolumeCY-2 + Banked VolumeCY-2 + Auction VolumeCY-2
Term in Formula | CY 2021 Min Std Term | Value (MWh) | Source
Estimated GenerationCY-1 | Estimated Generation2020 | 400305.0542 | per regulation; 225 CMR 14.07(2)(b) (see projection details in table below)
Estimated SREC Ineligible GenerationCY | Estimated SREC Ineligible Generation2021 | 72342.2226 | per regulation; 225 CMR 14.07(2)(b) (see projection details in table below)
ACP VolumeCY-2 | ACP Volume2019 | 9519 | 2019 Annual Compliance Filings (see 2018 RPS/APS Annual Compliance Report, forthcoming)
Banked VolumeCY-2 | Banked Volume2019 | 42062 | 2019 Annual Compliance Filings (see 2018 RPS/APS Annual Compliance Report, forthcoming)
Auction VolumeCY-2 | Auction Volume2019 | 23864 | NEPOOL GIS (see 2019 RPS/APS Annual Compliance Report, forthcoming)
Calculations | CY 2021 Min Std Term | Value (MWh) | Source
Total Compliance ObligationCY 1 | Total Compliance Obligation2021 | 384369.8317 | per formula above and regulation; 225 CMR 14.07(2)(g)
2019 MA Retail Load |  | 43673802 | 2019 Utility Load Verification (see 2018 Annual Compliance Report, forthcoming)
CY 2021 Minimum Standard |  | 0.8801% | division of above two terms
Formula Results
Preliminary Total Compliance Obligation 2022
Formula 1
400305.0542
- | 72342.2226
= | 327962.8317
Formula 2
400305.0542
- | 72342.2226
- | 9519
+ | 42062
+ | 23864
= | 384369.8317
Total Compliance Obligation (Greater Value) = | 384369.8317
CY 2022 Minimum Standard
384369.8317
÷ | 43673802
Minimum Standard = | 0.8801%
Projection Details
Projection of CY 2021 Total SRECs Generated |  | Total Capacity (MW)2 | Projected CY 2021 SREC Generation3
(for use in formula above)
Expected MWh generated by qualified projects (net of ineligible capacity as of Q4 2019 - Q4 2020) |  | 350.168 | 400305.0542
TOTAL |  | 350.168 | 400305.0542
Projection of CY 2022 SREC Ineligible Generation |  | Total Capacity (MW) | Projected CY 2022 SREC Ineligible Generation2 | Quarterly Contribution to Annual Total Output (%) | Q1 | 23.01%
(for use in formula above) |  |  |  |  | Q2 | 28.94%
Expected MWh generated by projects that are no longer qualified (Q1 2022) |  | 16.987 | 19419.1987 |  | Q3 | 29.31%
Expected MWh generated by projects that are no longer qualified (Q2 2022) |  | 26.358 | 23199.9155 |  | Q4 | 18.74%
Expected MWh generated by projects that are no longer qualified (Q3 2022) |  | 42.474 | 23331.8287 | Source: NREL Insolation Data, Worcester, kWh/m2/day (Non-Tracking, Tilt = Latitude)
Expected MWh generated by projects that are no longer qualified (Q4 2022) |  | 29.836 | 6391.2797
TOTAL |  | 115.655 | 72342.2226
1 Stakeholders should note that the full compliance obligation is not necessarily required to be met with the purchase of SRECs. This is because any load served by competitive retail electric suppliers that was under contract prior to June 28, 2013 is exempt for the portion of a supplier's obligation resulting from the emergency rule change that expanded the program cap beyond 400 MW. This exemptions effectively reduces the actual demand for SRECs generated in any given Compliance Year. More information on the size of these exemptions and their impact on the market can be under the SREC exemptions section of the following webpage:
http://www.mass.gov/eea/energy-utilities-clean-tech/renewable-energy/rps-aps/retail-electric-supplier-compliance/rps-and-aps-minimum-standards.html
2 Total Capacity has been reduced by 49.832MW to reflect amount of capacity that became ineligible on 12/31/21.
3 Projected generation assumes an annual average capacity factor of 13.05% .