## Original
Glossary of Terms for SREC II Statement of Qualification Application (SQA)
Application Field | Definition/Comments
Tab 1: Site/System Information
Site Name | The name of the site or facility where the project is located
Street Address | The street address of the location of the PV system
City | The City/Town in which the PV system is located
State | The State in which the PV system is located
Zip Code | The zip code in which the PV system is located
Facility Type | The type of facility on which the PV system is located.
System Capacity (kW DC) | The DC rated capacity of the PV system seeking qualification
Is this part of an aggregation? | Whether or not the system is or will be part of an existing Aggregation of SREC II projects
Generation Unit/Aggregation Name | Name of the individual unit or aggregation
NEPOOL GIS Generation Unit Asset ID# | The unique identification number assigned to an Asset established for a Generation Unit at NEPOOL GIS. This is a five digit number with the prefix NON or MSS
NEPOOL GIS Asset Plant-Unit Name | The plant and unit name used when an Asset for a Generation Unit is registered at the NEPOOL GIS
Tab 2: Market Sector Qualification Matrix
Tab 3: Contact Information
System Owner | Owner of the PV system seeking qualification
Production Reporter | The individual or entity responsible for providing production data to MassCEC's Production Tracking System.
NEPOOL GIS Account Holder | The entity that has established an account at NEPOOL GIS in which the Asset for the Generation Unit resides.
REC Owner | Owner of the RECs generated by the Generation Unit
Tab 4: Equipment/Installation Information
PV Module Manufacturer | Manufacturer of the PV modules used
PV Module Model | Model type of the PV modules used
Number of Modules | The quantity of modules used
Inverter Manufacturer | Manufacturer of the inverter(s) used
Inverter Model | Model type of the inverter(s) used
Number of Inverters | The quantity of inverter(s) used
Production Meter Manufacturer | Manufacturer of the production meter used
Production Meter Model | Model type of the production meter used
System Size (kW DC) | The DC rated capacity of the PV system
System Size (kW AC) | The AC rated capacity of the PV system (Calculated by MassCEC as 90% of DC rating)
Estimated Annual Production (kWh) | The estimated annual production of the PV system before shading
Percent of System Shaded | The percent of the system that is shaded
Estimated Annual Production after Shading (kWh) | The estimated annual production of the PV system after shading (autocalculated by the PTS by multiplying Estimated Annual Production by Percent of System Shaded)
System Azimuth (in degrees) | The azimuth of the PV modules (180 degrees=South)
System Inclination (in degrees) | The angle at which the PV modules are tilted
PV Panel Orientation Type (fixed, single axis, dual axis) | How the PV modules are oriented (fixed, single axis, dual axis, etc.)
Total Installation Cost | The total costs associated with installing the PV project
Date in Service | The date on which the PV system received the authorization to interconnect to the grid
SREC II Generation Start Quarter | The calendar quarter in which the PV project's 40 quarter SREC II generation period begins
Initial Meter Reading | The production meter reading on the PV system's Date in Service (DIS)
Electric Utility Name | The electric distribution company that authorized the PV system to interconnect to the grid
Installer/Vendor Company | The installer/contractor that performed the installation of the project
Tab 5: Attachments/Certifications
Authorization to Interconnect/Permission to Operate | The official notification from the local distribution company that the Generation Unit has been granted the authorization to interconnect to the grid.
REC Services Agreement | The signed agreement between the Authorized Representative and the System Owner, which establishes that they have entered into an agreement for the Authorized Representative to provide services pertaining to the qualification of the Generation Unit and marketing/sale of the SREC IIs generated by the Unit.
Utility Bill or Load Estimate (If new construction), which is required when the Generation Unit is an Emergency Power Generation Unit or is a ground mounted project in Market Sector B | A recent electric bill that shows at least one year of historical kWh usage for the facility that will be consuming 67% or more of the electricity produced by the Generation Unit. In the event that the facility has less than one year of historical kWh usage, an estimate of yearly kWh usage must be provided.
Interconnection Services Agreement | The fully executed Interconnection Services Agreement issued by the local distribution company.
Non-Ministerial Permits | All non-ministerial permits required to construct the Generation Unit.
Proof of site control | A demonstration of a sufficient interest in the real estate or other contractual right to build the Generation Unit at the location specified in the ISA. Examples of this could be a lease or option agreement. In the case that the System Owner owns the property on which the Generation Unit will be located, no further documentation is required at the time of application.
Post closure use permit | A post-closure use permit issued by the Massachusetts Department of Environmental Protection.
Certification by Applicant/Authorized Representative | Certification by the applicant regarding their authorization to submit the application on behalf of the Owner and confirming that all of the information provided is complete and accurate to the best of their knowledge.
Attestation of Non-SREC II Certificate Retirement | Attestation affirming that the Generation Unit will not seek qualification elsewhere for the portion of its generation that is not SREC II eligible.
Tab 6: DOER Information (for DOER use only)
RPS ID Number | Renewable Portfolio Standard ID assigned by DOER
RPS Effective Date | The earliest date on which production from the Generation Unit is eligible to generate SREC IIs.
NEPOOL Informed Date | The date on which DOER informed NEPOOL GIS of the Generation Unit's SREC II eligibility.