CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-753-8000

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Commissioner

Tel: 617-624-6000

www.mass.gov/dph

May 12, 2022

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118		(electronic copy)

Re: Facility Inspection – Suffolk County House of Correction, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and          105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of

Suffolk County House of Correction on April 15, 20, and May 3, 2022 accompanied by Captain Brian Reynolds and Sergeant John Fallon, Environmental Health and Safety/Fire Safety Officer. Violations noted during the inspection are listed below including 528 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH

cc:	Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

William Sweeney, Superintendent		(electronic copy)

Sergeant John Fallon, EHSO/FSO		(electronic copy)

Daniel J. Prendergast, Assistant Commisioner, ISD/Health Division, City of Boston 	(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# BUILDING # 1

11th Floor

# Staff Bathroom # 1142

No Violations Noted

# Classroom # 1145

No Violations Noted

Classroom # 1156

No Violations Noted

# Slop Sink Room # 1158

No Violations Noted

# Office # 1143

No Violations Noted

Program Area

Classroom # 1 1151

No Violations Noted

Classroom # 2 1153

No Violations Noted

# Meeting Room

No Violations Noted

Offices

No Violations Noted

# Unit 1-11-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Staff chair upholstery/covering damaged

# Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 3

105 CMR 451.123	Maintenance: Push button shroud rusted in shower # 3

# Bathroom

# No Violations Noted

# Laundry Area

No Violations Noted

# Kitchenette

No Violations Noted

# Cells

# No Violations Noted

# Unit 1-11-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged near laundry area

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Rust stains on wall in shower # 1, 2, and 3

# Bathroom

Unable to Inspect - Not Used

Laundry Area

No Violations Noted

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 550F at handwash sink

Cells

105 CMR 451.103		Mattresses: Mattress damaged in cell # 14

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 6

10th Floor

10th Floor Visiting Room

No Violations Noted

# Room # 1053

No Violations Noted

# Room # 1054

No Violations Noted

# Room # 1059

No Violations Noted

# Offices

No Violations Noted

# Staff Bathroom # 1074

No Violations Noted

# Slop Sink Room # 1050

No Violations Noted

# Unit 1-10-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Shower

# 105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.130	Hot Water: Shower water temperature recorded at 920F

# 105 CMR 451.123	Maintenance: Wall dirty in shower # 1

# 105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

# Kitchenette

No Violations Noted

# Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 15

# Unit 1-10-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

# Kitchenette

105 CMR 451.126	Hot Water: Hot water temperature recorded at 580F

Laundry Area

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 8

# 105 CMR 451.103	Mattresses: Mattress damaged in cell # 1, 2, and 5

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 13

# Unit 1-10-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Cells

# 105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 3

Shower
105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Door rusted

# Caseworker’s Office #1038

No Violations Noted

# Unit 1-10-4 Women’s Infirmary Area (MAT Program)

105 CMR 451.353	Interior Maintenance: Desk surface damaged

# Supply Closet

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

# Exam Room

Unable to Inspect – Locked

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

9th Floor

# Staff Bathroom # 944

No Violations Noted

# Slop Sink # 956

No Violations Noted

# Recreation Deck # 940

# 105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Light fixture damaged

# Programs/Education Offices

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty in office #952

# Unit 1-9-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 890F in shower # 3

# Closet

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Case Worker’s Office

Unable to Inspect – Locked

Kitchenette

# 105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 1

# Unit 1-9-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Debris behind washer machine and dryer

Shower Area

105 CMR 451.123	Maintenance: Shower control shroud rusted

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 78°F in shower # 3

# Closet

No Violations Noted

# Kitchenette

105 CMR 451.353	Interior Maintenance: Electrical outlet cover missing

# Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 3, 4, 5, 6, 7, 10, 14, and 16

8th Floor

Offices

No Violations Noted

# Slop Sink # 848

No Violations Noted

# Unit 1-8-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Kitchenette

No Violations Noted

Laundry Area

No Violations Noted

# Utility Closet

No Violations Noted

# Showers

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 2

105 CMR 451.130	Hot Water: Shower water temperature recorded at 940F in shower # 1

105 CMR 451.123	Maintenance: Door frame rusted in shower # 1 and 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

# Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 4, 8, 9, and 14

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 6, 7, and 8

105 CMR 451.103	Mattresses: Mattress damaged in cell # 3

# Unit 1-8-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent rusted

# Kitchenette

# 105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 940F

Laundry Area

No Violations Noted

Utility Closet

# No Violations Noted

Showers

105 CMR 451.123	Maintenance: Light out in shower # 3

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 9, 10, 11, 12, 15, and 16

7th Floor (Office Space)

# Slop Sink Room # 755

105 CMR 451.360	Protective Measures: Drain flies observed

105 CMR 451.353	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

Parole Office

Unable to Inspect – Locked

Spectrum Office

Unable to Inspect – Locked

Gang Intelligence Unit Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

6th Floor

Case Worker’s Office # 645

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

6th Floor Meeting Room and Dining Hall

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed on window sills and floor

# Unit 1-6-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16 and 32

Kitchenette

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 550F

# Upper Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 24 and 25

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 27

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, and 32

Upper Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 3

105 CMR 451.123	Maintenance: Hole in door frame in shower # 1

105 CMR 451.123	Maintenance: Paint damage near door frame in shower # 3

# Lower Cells

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 3, 4, 5, 6, 7, 8, 9, 10, 11,12, 13,

# and 15

# Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Dryer duct vent damaged

# Storage Closet # 634

No Violations Noted

# Lower Shower Area

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 2

105 CMR 451.130	Hot Water: Shower water temperature recorded at 550F in shower # 3

# Recreation Deck

No Violations Noted

# Unit 1-6-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Wall damaged near handwash sink

Upper Storage Closet

No Violations Noted

Upper Cells

105 CMR 451.350	Structural Maintenance: Wall water damaged in cell # 29

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 17, 18, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, and 32

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 17, 18, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, and 32

Upper Showers

105 CMR 451.123	Maintenance: Shower head loose in shower # 3

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 2

105 CMR 451.123	Maintenance: Rust stains on wall near shower head in shower # 2

105 CMR 451.123	Maintenance: Curtain dirty in shower # 2

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2 and 3

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 2 and 3

Lower Laundry

105 CMR 451.360	Protective Measures: Rodent droppings observed behind dryer

Lower Cells

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 6

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 2, 4, 7, 8, 9, 10, 12,

and 16

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 7, 8, 9, 10, 11, 13, 14, 15, and 16

Lower Showers

105 CMR 451.123	Maintenance: Drain cover missing in shower # 3

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 1, 2, and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shroud missing from shower head

in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2

Staff Bathroom # 656

No Violations Noted

Slop Sink Closet

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

5th Floor

Slop Sink Room # 563

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

5th Floor Custody

Bathroom # 1

No Violations Noted

Bathroom # 2

No Violations Noted

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in 2 freezers

Unit 1-5-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Utility Closet

No Violations Noted

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Rust stains on wall in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shroud missing from shower control in shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2 and 3

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, shower head missing in shower # 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 16

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 3, 4, 10, 12, and 14

105 CMR 451.103	Mattresses: Mattress damaged in cell # 12

Classrooms

No Violations Noted

Library

No Violations Noted

Unit 1-5-2

Control

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Door frame paint damaged

Common Area

No Violations Noted

Kitchenette

No Violations Noted

Dorm Room

No Violations Noted

Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Unit 1-5-2 A

Office # 566

No Violations Noted

Shower

Unable to Inspect – In Use

Slop Sink Closet

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 3

105 CMR 451.353*                     Interior Maintenance: Wall vent blocked in cell # 6

4th Floor

Hallway

No Violations Noted

Staff Bathroom # 445

No Violations Noted

Slop Sink # 454

105 CMR 451.353	Interior Maintenance: Debris in slop sink

SERT Office

No Violations Noted

Utility Room

No Violations Noted

Visiting Area

No Violations Noted

Unit 1-4-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 770F in shower # 2

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 11

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 9

Recreation Deck

No Violations Noted

Unit 1-4-2

Common Area

No Violations Noted

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2 and 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 580F at handwash sink

Cells

No Violations Noted

3rd Floor

Slop Sink Room # 371

105 CMR 451.353	Interior Maintenance: Debris in slop sink

105 CMR 451.353	Interior Maintenance: Strong odor in slop sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Non-Contact Visiting Area # 355

No Violations Noted

Supervisor’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in freezer

Report Writing Office

No Violations Noted

Captain’s Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

Disciplinary Office

No Violations Noted

Unit 1-3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.353	Interior Maintenance: Floor dirty near entrance to recreational deck

Room # 333 and 334

No Violations Noted

Storage Room # 336

No Violations Noted

Staff Bathroom # 337

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 3 and 15

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2, 4, 9, 11, 12, 13, and 14

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 12 and 13

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 5, 7, 9, and 15

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 13

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, push buttons do not work on handwash sink in cell #11

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink continuously running in cell # 11

105 CMR 451.103	Mattresses: Mattress damaged in cell # 10

Utility Closet (near cell #5)

105 CMR 451.360	Protective Measures: Excessive rodent droppings observed

105 CMR 451.353	Interior Maintenance: Debris in closet

Recreation Room

No Violations Noted

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Unit 1-3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Staff Bathroom # 360

No Violations Noted

Storage Closet # 361

No Violations Noted

Recreation Room # 368

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Shower Area

105 CMR 451.123	Maintenance: Hole in door frame in shower # 2

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

105 CMR 451.123	Maintenance: Door frame paint damage in shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123*	Maintenance: Mold observed on door frame and walls in shower # 2 and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 1

105 CMR 451.123*	Maintenance: Walls dirty in shower # 1

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 750F in shower # 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 7

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 6, 8, and 10

105 CMR 451.353*		Interior Maintenance: Wall vent blocked in cell # 4

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, and 16

105 CMR 451.103	Mattresses: Mattress missing cover in cell # 14 and 16

2nd Floor

Office # 240

No Violations Noted

Staff Bathroom # 242

105 CMR 451.123	Maintenance: Ceiling vent dusty

Office Area

No Violations Noted

Attorney Rooms			Unable to Inspect Room #249 and 251 – In Use

No Violations Noted

Main Visiting

No Violations Noted

Checkpoint

No Violations Noted

Mental Health Office # 260

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom # 263

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Chapel # 170

No Violations Noted

Mosque # 269

No Violations Noted

Slop Sink Room # 271

No Violations Noted

Unit 1-2-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Slop Sink Room # 229

No Violations Noted

Closet # 236

No Violations Noted

Storage Room

No Violations Noted

Bathroom # 230

105 CMR 451.123*	Maintenance: Ceiling vent dusty above toilets

105 CMR 451.123	Maintenance: Walls dirty in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor dirty in shower # 1

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 550F at handwash sink # 4

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 2 leaking

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1260F in shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shroud missing from shower head

in shower # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water running continuously

at handwash sink # 2

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 1 and 2

Day Room

No Violations Noted

Bathroom # 235

105 CMR 451.123	Maintenance: Floor dirty in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shroud missing from shower head

in shower # 1 and 2

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 2

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 1 out-of-order

Cells

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 28

105 CMR 451.353*	Interior Maintenance: Ceiling vent blocked in cell # 23 and 24

Workout Room # 21

No Violations Noted

Laundry Room

No Violations Noted

TV Area

No Violations Noted

1st Floor

# Lobby Area

No Violations Noted

# Male Bathroom # 139

# No Violations Noted

# Female Bathroom # 140

No Violations Noted

Lower Administration

Break Area

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Central Control

No Violations Noted

Central Control Bathroom

No Violations Noted

Community Work Program (Unoccupied)

Control Desk

No Violations Noted

Supply Closet

No Violations Noted

Staff Bathroom # 121

No Violations Noted

Computer Room # 122

No Violations Noted

Office # 123

No Violations Noted

Common Area

No Violations Noted

Serving Area

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1420F at handwash sink

Uniform Closet

Unable to Inspect – Not Used

Sergeant’s Office # 129

No Violations Noted

Slop Sink # 125

No Violations Noted

Laundry Room

Unable to Inspect – Closed

TV Area

Unable to Inspect – Closed

Shower # 3

Unable to Inspect – Closed

Shower # 2

Unable to Inspect – Closed

Bathroom/Shower # 109

Unable to Inspect – Closed

Bathroom # 2

Unable to Inspect – Closed

Rooms

Unable to Inspect – Closed

BUILDING # 2

Staff Lounge

No Violations Noted

Vending Machines

No Violations Noted

Female Locker Room # 2109

No Violations Noted

Male Locker Room # 2110 and 2111

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 urinal out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 handwash sink out-of-order

Weight Room

No Violations Noted

Cardio Room

No Violations Noted

Locker Room # 2119

No Violations Noted

Janitor’s Closet # 2121

No Violations Noted

Administrative Staff Area (Second Floor)

Male Bathroom # 2221

No Violations Noted

Female Bathroom # 2222

No Violations Noted

Kitchenette

No Violations Noted

BUILDING # 3

4th Floor

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Unit 3-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Phone bases damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty on top tier

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged on top tier near cell # 56

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Water pooling on floor

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Access panel behind toilet rusted

Case Worker’s Office

Unable to Inspect – In Use

Handicapped Shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower out-of-order

Utility Closet

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Walls dirty

Lower Shower Area 		Unable to Inspect Shower # 5 – In Use

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2, 3, and 4

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 2 and 3

105 CMR 451.123*	Maintenance: Drain flies observed in shower # 3

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 1-5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

Kitchenette

No Violations Noted

Upper Laundry Area

No Violations Noted

Upper Shower Area

105 CMR 451.123		Maintenance: Ceiling vent rusted in shower # 10

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 7, 8, 9, and 10

105 CMR 451.123*		Maintenance: Metal brackets on wall rusted in shower # 10

105 CMR 451.123*		Maintenance: Door frame rusted in shower # 6-10

105 CMR 451.123*	Maintenance: Ceiling access panel rusted in shower # 10

Slop Sink Room

No Violations Noted

Uniform Storage Room # 3566

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 25, 33, 39, 51, 61,

and 64

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 18, 19, 20, 27, 28, 35, 37, 40, 42, and 46

105 CMR 451.353		Interior Maintenance: Floor paint damaged in cell # 33

Unit 3-4

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*		Interior Maintenance: Floor tiles damaged on top tier

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Handicapped Shower # 3491

No Violations Noted

Closet # 3492

105 CMR 451.350	Structural Maintenance: Door hardware damaged

Staff Bathroom # 3494

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Case Worker’s Office # 349

No Violations Noted

Lower Laundry Area

105 CMR 451.353*		Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap holder damaged in shower # 4

105 CMR 451.123*	Maintenance: Door frame damaged in shower # 1-5

105 CMR 451.123*	Maintenance: Dead drain flies on ceiling in shower # 1-5

105 CMR 451.123	Maintenance: Walls dirty in shower # 1, 2, 3, and 5

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 610F at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Upper Laundry Area

No Violations Noted

Upper Shower Area 		Unable to Inspect Shower # 6, 7, and 8 – In Use

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 9

105 CMR 451.123*		Maintenance: Ceiling vent cover missing in shower # 10

105 CMR 451.123*		Maintenance: Ceiling dirty, possible mold in shower # 9 and 10

105 CMR 451.123	Maintenance: Wall damaged in shower # 10

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 9 and 10

105 CMR 451.123*	Maintenance: Door frame damaged in shower # 6-10

105 CMR 451.123	Maintenance: Floor dirty in shower # 9

105 CMR 451.123	Maintenance: Curtain dirty in shower # 9

105 CMR 451.123	Maintenance: Walls dirty in shower # 9 and 10

Slop Sink Room # 3582

No Violations Noted

Uniform Storage # 3581

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 17

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 4, 5, 7, 9, 18, 47, 48, 52, 58, 60, 62, 63, and 64

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 3, 6, 8, 10, 19, 22, 25, 26, 31, 39, 40, 41, 43, 44 and 45

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 25

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 20 and 59

3rd Floor

Office # 3375

No Violations Noted

Office # 3377

105 CMR 451.353*		Interior Maintenance: Ceiling water stained

Staff Bathroom # 3378

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor paint damaged

Chemical Storage # 3380

No Violations Noted

Case Worker’s Office # 3382

No Violations Noted

Office # 3383

No Violations Noted

2nd Floor

Staff Bathroom # 3278

No Violations Noted

Slop Sink # 3279

No Violations Noted

Unit 3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Phone bases damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged on top tier

Case Worker’s Office # 3269

No Violations Noted

Staff Bathroom # 3270

105 CMR 451.123	Maintenance: Ceiling vent dusty

Closet # 3265

No Violations Noted

Handicapped Shower # 3266

Unable to Inspect – Not Used

Uniform Storage # 3366

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall dirty behind washer and dryer units

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

105 CMR 451.353*	Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123	Maintenance: Wall dirty in shower # 1, 3, 4, and 5

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew in shower # 3

105 CMR 451.123	Maintenance: Door frame rusted shower # 1-5

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123*		Maintenance: Dead drain flies observed on ceiling in shower # 1-5

105 CMR 451.123*		Maintenance: Drain flies observed in shower # 5

Kitchenette

105 CMR 451.353	Interior Maintenance: Walls dirty above counter

105 CMR 451.353	Interior Maintenance: Handwash sink dirty

Upper Laundry Area

105 CMR 451.353*	Interior Maintenance: Dryer not vented to the exterior, vent disconnected from wall

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

Slop Sink # 3365

Unable to Inspect – Locked

Upper Shower Area

105 CMR 451.123	Maintenance: Walls dirty in shower # 7, 8, and 10

105 CMR 451.123	Maintenance: Ceiling access panel rusted in shower # 10

105 CMR 451.123	Maintenance: Drain flies observed on ceiling in shower # 6 and 7

105 CMR 451.123	Maintenance: Curtain cable damaged in shower # 6

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 7, 8 and 10

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 6 - 10

105 CMR 451.123*	Maintenance: Curtain missing in shower # 6

105 CMR 451.123*	Maintenance: Threshold damaged in shower # 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 6 out-of-order

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 2, 8, 32, 33, 36, 38, 44, 60,

and 61

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 28, 34, 51, 53, and 55

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 7

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 26

105 CMR 451.353*	Interior Maintenance: Door hardware damaged in cell # 25

105 CMR 451.353*	Interior Maintenance: Door rusted in cell # 25

105 CMR 451.360	Protective Measures: Rodent droppings observed in cell # 25

Recreation Deck 3-1 and 3-2

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Unit 3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Phone bases damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged on top tier

105 CMR 451.353	Interior Maintenance: Floor tiles damaged on bottom tier

Office # 3295

No Violations Noted

Staff Bathroom # 3296

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Storage Room # 3392

No Violations Noted

Handicapped Shower # 3293

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shroud missing from shower

push button

105 CMR 451.123	Maintenance: Ceiling vent dusty

Slop Sink Room # 3294

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall dirty behind dryer

105 CMR 451.353*		Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123	Maintenance: Curtain missing in shower # 1

105 CMR 451.123	Maintenance: Curtain dirty in shower # 2

105 CMR 451.123	Maintenance: Drain flies on ceiling in shower # 2

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 2

105 CMR 451.123	Maintenance: Excessive moister on ceiling in shower # 3

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 1 - 5

105 CMR 451.123*		Maintenance: Ceiling dirty, possible mold/mildew in shower # 4

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 5

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 1, 2, 3, and 4

105 CMR 451.123*	Maintenance: Walls dirty, possible mold/mildew in shower # 4

105 CMR 451.123	Maintenance: Wall damaged near soap holder in shower # 3

105 CMR 451.123*	Maintenance: Floor dirty in shower # 5

105 CMR 451.123*	Maintenance: Door frame damaged in shower # 1-5

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, shower # 5 out-of-order

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

105 CMR 451.353	Interior Maintenance: Wall partition paint damaged

Upper Laundry Area

105 CMR 451.353	Interior Maintenance: Interior of washer machine rusted

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior, vent disconnected from wall

105 CMR 451.353*	Interior Maintenance: Water pooling on floor

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

Upper Shower Area

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 6, 7, 8, and 9

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 6 - 10

105 CMR 451.123*	Maintenance: Wall damaged in shower # 10

105 CMR 451.123	Maintenance: Floor drain covered in debris in shower # 6

105 CMR 451.123	Maintenance: Door frame rusted in shower # 8, 9, and 10

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking continuously

in shower # 6

105 CMR 451.123	Maintenance: Walls dirty in shower # 9

105 CMR 451.123	Maintenance: Floor dirty in shower # 9

105 CMR 451.123	Maintenance: Ceiling vent not secured in shower # 6

Slop Sink Room # 3393

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 28, 48, and 55

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 25 and 49

105 CMR 451.350		Structural Maintenance: Ceiling water damaged in cell # 8, 11, 36, 44, 46, and 56

105 CMR 451.350*		Structural Maintenance: Ceiling water damaged in cell # 17 and 24

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 25 and 26

105 CMR 451.353	Interior Maintenance: Floor paint damaged # 20

Recreation Deck

105 CMR 451.353*		Interior Maintenance: Floor paint damaged

105 CMR 451.353*		Interior Maintenance: Wall paint damaged

1st Floor

Education Area

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling vent dusty outside inmate bathroom

Classrooms

No Violations Noted

Library # 3149

No Violations Noted

Staff Bathroom # 3142

105 CMR 451.123*		Maintenance: Floor paint damaged

Inmate Bathroom # 3162

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, toilet leaking

105 CMR 451.123*		Maintenance: Floor paint damaged

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Inmate Legal Services

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Office Area # 3131

No Violations Noted

Office Staff Bathroom # 3126

No Violations Noted

MAT Program Room # 3166

No Violations Noted

Canteen

105 CMR 451.350*	Structural Maintenance: Garage door not rodent and weathertight

Canteen Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle observed

Main Laundry

Hallway

105 CMR 451.350*	Structural Maintenance: Door leading to the exterior not rodent and weathertight

Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in freezer

Storage # 3184

No Violations Noted

Laundry Area

No Violations Noted

2-Compartment Sink

No Violations Noted

Handwash Sink

No Violations Noted

Bathroom # 3181

No Violations Noted

Storage # 3182

No Violations Noted

BUILDING # 4

105 CMR 451.350*	Structural Maintenance: Main entrance not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Doorknob/handle missing on right side entrance door

Dining Hall # 4137

No Violations Noted

Unit 4-1 (Unoccupied)

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged

Kitchenette

No Violations Noted

Lower Shower Area

No Violations Noted

Storage # 4265

No Violations Noted

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 8, 9, and 11

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 9

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shroud missing from water control

in shower # 1

Storage # 4364

Unable to Inspect – Locked

Cells

No Violations Noted

Unit 4-2 (Unoccupied)

Common Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with           105 CMR 590.000, interior of microwave oven dirty

Kitchenette

No Violations Noted

1st Tier Bathroom # 4257 and 4268

105 CMR 451.123*	Maintenance: Ceiling dirty

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 1, 2, and 3

Slop Sink Closet (inside bathroom)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control damaged

1st Tier Bathroom # 4285 and 4275

105 CMR 451.123*	Maintenance: Wall dirty under sinks

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 1 and 2

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 1 and 5

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 out-of-order

Slop Sink Closet (inside Bathroom # 4285 and 4275)

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water control missing

Room # 4272

105 CMR 451.353	Interior Maintenance: Ceiling tile not secured to ceiling

TV Room # 4273

No Violations Noted

Laundry Area

No Violations Noted

Handicapped Shower # 4274

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shroud missing from shower head

Uniform Storage # 4249

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light not functioning properly

Room # 4250

No Violations Noted

Room # 4251

No Violations Noted

Room # 4252

No Violations Noted

Staff Bathroom # 4254

No Violations Noted

Handicapped Shower # 4256

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shroud missing from water control

Laundry Area

No Violations Noted

Office # 4270 and 4271

105 CMR 451.353	Interior Maintenance: Ceiling access panel missing in Office # 4270

2nd Tier Utility Room # 4388

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

2nd Tier Utility Room # 6123

No Violations Noted

Storage Room # 4353

No Violations Noted

Storage Room # 4369 and 4368

No Violations Noted

2nd Tier Bathroom # 4366 and 4354

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 and 2 not flushing properly

Slop Sink Closet (inside bathroom)

Unable to Inspect – Locked

2nd Tier Bathroom # 4374 and 4387

105 CMR 451.123	Maintenance: White stain on floor

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink # 1 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 2 and 3 not flushing properly

Cells

No Violations Noted

Unit 4-3 (Unoccupied)

Common Area

No Violations Noted

Kitchenette

No Violations Noted

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Walls dirty, possible mold/mildew in shower # 2

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

105 CMR 451.123	Maintenance: Curtain missing in shower # 5 and 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shroud missing from water control

in shower # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

Upper Shower Area

105 CMR 451.123	Maintenance: Floor dirty in shower # 8

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 9 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 11 leaking at water control

Storage Room # 4283

No Violations Noted

Cells

No Violations Noted

Unit 4-4 Video Court Rooms

Holding Cells

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vents dusty

Slop Sink Closet # 4130

No Violations Noted

Staff Bathroom

No Violations Noted

CGI

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight

Officer Station

No Violations Noted

Office

No Violations Noted

Paint Office

Unable to Inspect – Locked

Industries

No Violations Noted

Slop Sink Closet

105 CMR 451.353	Interior Maintenance: Wet mops not stored properly, stored upside down in slop sink

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1370F at handwash sink

105 CMR 451.123*	Maintenance: Lights out

Staff Bathroom

No Violations Noted

Maintenance

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                  105 CMR 590.000, interior of brown refrigerator dirty

Bathroom # 5166

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Bathroom # 5163

No Violations Noted

Kitchenette

No Violations Noted

Laundry/Slop Sink # 5162

No Violations Noted

Break Area

No Violations Noted

BUILDING # 5

Food Service Area

The following food code violations listed in BOLD were observed to be corrected on-site.

Section 1

Inmate Locker Room

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Floor paint damaged

Slop Sink Room

No Violations Noted

Chemical Storage

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Mechanical Warewashing Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, mold observed on wall above single bay sink

Pot Wash Area

FC 7-204.11(A)	Operational Supplies and Applications, Chemicals: Sanitizer for food-contact surface does not meet the requirements specified in 40 CFR 180.940P, sanitizing concentration too strong

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, sanitizer dispenser not functioning properly

FC 2-103.11(K)	Supervision; Duties: Routine monitoring of chemical sanitizing concentration to ensure employees are properly sanitizing cleaned multiuse equipment and utensils not being conductedPf

Pot Wash Handwash Sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 580F at handwash sink

Tray Rack Area

No Violations Noted

Tray Area Handwash Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, water continually running at handwash sink

Section 2

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles and grout damaged

Kettle Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 oven out-of-order

Handwash Sink

No Violations Noted

Prep Table/Sink

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, gaskets damaged on hot holding unit

Pot/Pan Storage Room

No Violations Noted

Officer’s Office

No Violations Noted

Chef’s Office

No Violations Noted

Section 3

Stove Top Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed behind equipment

Section 4

Ice Machines

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 ice machine out-of-order

Refrigerator # 1

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty

Refrigerator # 2

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

Refrigerator # 3

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, condenser pipe leaking into bucket

Freezer # 4

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor surface damaged at entrance

Prep-Table

No Violations Noted

Ovens

No Violations Noted

Section 5

Special Diet Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on hold holding unit # 2

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Dry Storage Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, food debris on floor around perimeter of room

Loading Dock

No Violations Noted

Commissary

No Violations Noted

Staff Bathroom # 5152

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Floor dirty

Section 6

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Left side garage door not weathertight and rodent proof

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall covering damaged

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged near search rooms

Refrigerator # 6

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container, scoop stored in flour container

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor and far back wall dirty

2-Compartment Sink Area

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, no cold water suppled to 2-compartment sink

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Prep-Refrigerators and Tray Assembly Line

No Violations Noted

Staff Food Line

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, hot holding unit unable to fully close

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along wall

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet loose on handwash sink

Staff Dining Room

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weather tight and 	rodent proof

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on milk refrigerator

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, door handle damaged on Turbo Air refrigerator

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, interior of milk refrigerator dirty

Culinary Arts Kitchen

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weather tight and 	rodent proof

Tool Storage

No Violations Noted

Handwash sink

FC 6-301.12(A)	Numbers and Capacity; Handwashing Sinks: No hand drying method available at handwashing sinkPf, automatic dispenser not functioning

Coolers and Freezers

FC 3-302.11(A)(1)(b)*	Preventing Food and Ingredient Contamination: Preventing cross contamination, ready-to-eat foods not appropriately separated from raw foods, eggs stored above read-to-eat foods

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf

Steam Kettle Area

No Violations Noted

Hoods

No Violations Noted

Prep Tables and Sinks

No Violations Noted

3-Compartment Sink

No Violations Noted

Warewash Machine

No violations Noted

Slop Sink

No Violations Noted

Handwash Sink

No Violations Noted

Bathroom

No Violations Noted

Classroom Section

No Violations Noted

Gym

105 CMR 451.344*	Illumination in Habitable Areas: Lights not functioning properly

Bathroom # 5204

No Violations Noted

Staff Bathroom # 5207

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink # 1

105 CMR 451.123	Maintenance: Floor dirty throughout bathroom

Slop Sink Closet # 5203

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing

Automotive Garage

No Violations Noted

Engineering

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F at handwash sink in bathroom

BUILDING # 6

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight at entrance to

Health Services

Health Services Medical Area

Hallway

Interior 105 CMR 451.123	Maintenance: Floor tiles damaged outside of rooms # 6260 and 6261

Exam Room # 1 3172

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Exam Room # 2 3134

Unable to Inspect – In Use

Exam Room # 3 3171

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Exam Room # 4 3133

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1440F at handwash sink

Exam Room # 5

No Violations Noted

File Room # 6226

No Violations Noted

Inmate Bathroom # 6229

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Medication Room

No Violations Noted

Lab Room # 6268

No Violations Noted

Office # 6267

No Violations Noted

Office # 6264

No Violations Noted

X-Ray Room # 6265

No Violations Noted

Director of Nursing Office # 6263

No Violations Noted

Dental Exam Room # 6261

No Violations Noted

Dental Storage Closet # 6262

No Violations Noted

Medical Unit

Hallway

105 CMR 451.353*		Interior Maintenance: Floor tiles damaged outside room # 6252

Recreation Room # 6258

No Violations Noted

Kitchenette # 6256

No Violations Noted

Isolation Cells

No Violations Noted

Isolation Handwash Sink

No Violations Noted

Office # 6254

No Violations Noted

Storage Room # 6253

No Violations Noted

Storage Room # 6252

No Violations Noted

Medical Waste/Biohazard Storage # 6250

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling dirty

Staff Bathroom # 6247

No Violations Noted

Chemical Storage Room # 6248

No Violations Noted

Inmate Property # 6246

No Violations Noted

Shower Area 			Unable to Inspect Shower # 2 – In Use

105 CMR 451.123*	Maintenance: Floor epoxy damaged at entrance to shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 3

Staff Lounge # 6236

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom # 6237

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 13

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1 and 2

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 11

Booking Area

Holding Cell # 6105

No Violations Noted

Hallway

No Violations Noted

Male Property Room # 6106

No Violations Noted

Male Changing Room # 6109

No Violations Noted

Old Shower Room # 6111

No Violations Noted

Slop Sink # 6110

No Violations Noted

Medical Intake Office

No Violations Noted

Medical Bathroom # 6136

No Violations Noted

Transportation Office

105 CMR 451.200*                 	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Male Holding Cells

No Violations Noted

Sally Port

No Violations Noted

Control

No Violations Noted

Storage Room # 6132

105 CMR 451.360*	Protective Measures: Rodent droppings observed
105 CMR 451.353	Interior Maintenance: Strong odor

Break Room # 6131

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave damaged

Staff Bathroom # 6135

Unable to Inspect – In Use

Room # 6137

No Violations Noted

Female Property Room # 6139

No Violations Noted

Female Changing Room # 6138

No Violations Noted

Female Holding Cells

No Violations Noted

Female Property Office

No Violations Noted

BUILDING # 7

Vehicle Trap

1st Floor

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

No Violations Noted

BUILDING # 8

105 CMR 451.353*		Interior Maintenance: Door and door frame rusted at entrance

1st Floor - Unit 8-1

Staff Area

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Electrical # 8-108

No Violations Noted

Property # 8-111

No Violations Noted

Offices

No Violations Noted

Common Area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                 105 CMR 590.000, interior of white refrigerator dirty

105 CMR 451.353	Interior Maintenance: Floor dirty near white refrigerator

Video Court # 8-114

No Violations Noted

Office # 8-115

Unable to Inspect – Locked

Staff Break Room # 8-116

No Violations Noted

Immigration Office # 8-117

No Violations Noted

Storage # 8-118 A

No Violations Noted

Storage # 8-118B

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of the ceiling

Laundry Area

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed behind washers and dryers

Housing Area

Unable to Inspect – Quarantine/Isolation Area

2nd Floor - Unit 8-2 (Unoccupied)

Staff Bathroom # 8-206

Unable to Inspect – In Use

Medical # 8-207

Unable to Inspect – Locked

Property # 8-207

No Violations Noted

Medical # 8-212

No Violations Noted

Electrical # 8-226

No Violations Noted

Common Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, left side bubbler constantly running

Computer Room # 8-214

No Violations Noted

Recreation Room # 8-215

No Violations Noted

Recreation Room # 8-216

No Violations Noted

Recreation Room # 8-217

105 CMR 451.353	Interior Maintenance: Baseboard damaged

Uniform Storage # 8-219

Unable to Inspect – Locked

Storage # 8-218A

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Storage # 8-218B

No Violations Noted

Laundry Area

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed behind washers and dryers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking at bottom

Housing Area

Slop Sink # 8-223

No Violations Noted

Inmate Bathroom # 8-221

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 5 and 6

105 CMR 451.123	Maintenance: Walls dirty in shower # 2 and 3

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink # 5

Inmate Bathroom # 8-222

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2, 3, and 5

105 CMR 451.123	Maintenance: Caulking damaged and dirty behind handwash sink # 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water control leaking at handwash sink # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 1

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 6

3rd Floor - Unit 8-3

Staff Area

Staff Bathroom # 8-306

105 CMR 451.123	Maintenance: Ceiling vent dusty

Storage # 8-314

No Violations Noted

Property # 8-311

No Violations Noted

Electrical # 8-326

No Violations Noted

Offices

No Violations Noted

Common Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, right side water fountain out-of-order

Office # 8-307

No Violations Noted

Recreation Room # 8-315

No Violations Noted

Recreation Room # 8-316

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Recreation Room # 8-317

No Violations Noted

Uniform Storage # 8-319

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed

Storage # 8-318 A

No Violations Noted

Storage # 8-318 B

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Laundry Area

105 CMR 451.353*	Interior Maintenance: Excessive lint and debris observed behind washer and dryer

105 CMR 451.353	Interior Maintenance: Dryer # 1 out-of-order

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed behind washers and dryers

Housing Area

Slop Sink Room # 8-323

No Violations Noted

Inmate Bathroom # 8-322

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 5

105 CMR 451.123	Maintenance: Curtain missing at shower # 3 and 4

105 CMR 451.123	Maintenance: Pooling water on floor neat toilet stall # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink # 6

Inmate Bathroom # 8-321

105 CMR 451.123*	Maintenance: Toilet # 1 rusted

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 5

105 CMR 451.123	Maintenance: Shower curtain missing at shower # 2 and 5

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1050F at handwash sink # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, insufficient water pressure

in shower # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 5 out-of-order

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink # 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 2 clogged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continually running at handwash sink # 1

Cells

No Violations Noted

4th Floor - Unit 8-4

Staff Area

Staff Bathroom

No Violations Noted

Offices

No Violations Noted

Supply Room

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Property

No Violations Noted

Common Area

Case Worker Office # 8-414

No Violations Noted

Laundry

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

105 CMR 451.353	Interior Maintenance: Detergent dispenser leaking

TV Room # 8-415

105 CMR 451.353*	Interior Maintenance: Wall damaged near windows

TV Room # 8-416

No Violations Noted

Recreation Room # 8-417

Unable to Inspect – In Use

Closet # 8-418A

No Violations Noted

Mop Closet # 8-418B

No Violations Noted

Housing Area

Slop Sink Closet # 8-423

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle broken

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Bathroom # 8-421

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1010F at handwash sink # 1

105 CMR 451.123*	Maintenance: Light out

105 CMR 451.123	Maintenance: Curtain missing at toilet stall # 3 and 4

105 CMR 451.123	Maintenance: Curtain missing at shower # 2 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 5 out-of-order

Bathroom # 8-422

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Lights out

105 CMR 451.123*	Maintenance: Wall water damaged above handwash sinks

105 CMR 451.123*	Maintenance: Ceiling water damaged above handwash sinks

105 CMR 451.123*	Maintenance: Wall water damaged above toilet # 2

105 CMR 451.123	Maintenance: Floor dirty outside shower # 4 and 5

105 CMR 451.123	Maintenance: Wall dirty in shower # 5

105 CMR 451.123	Maintenance: Curtain missing at shower # 3

105 CMR 451.123	Maintenance: Curtain missing at toilet stall # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink # 5

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2

Observations and Recommendations

- The inmate population was 714 at the time of inspection.

- Housing Unit 8-1 was the COVID-19 quarantine/isolation area. There were 3 inmates housed in Unit 8-1.

- Housing Unit 4-1, Unit 4-2, Unit 4-3, and the Community Work Program were unoccupied at the time of inspection.

- During this inspection it was stated that Community Work Program was closed and no longer being used to house detainees. Please keep CSP apprised if there are plans to occupy this area in the future.

- During the kitchen inspection the CSP recommended:

  - Obtaining new sanitizer test strips to replace the expired strips observed during the inspection;

  - Developing a protocol to test sanitizer concentrations prior to using the 3-compartment sink and filling red sanitizer buckets to ensure all equipment, utensils, and food contact surfaces are properly sanitized; and

  - Developing a procedure to test the warewash machine to ensure it is functioning in accordance with the manufacturer's data plate.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH