MAURA T. HEALEY Governor KIMBERLEY DRISCOLL Lieutenant Governor

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 781-223-7503

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

May 9, 2023

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118		(electronic copy)

Re: Facility Inspection – Suffolk County House of Correction, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and

105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of

Suffolk County House of Correction on April 19 and 20, 2023 accompanied by Sergeant John Fallon, Environmental Health and Safety/Fire Safety Officer. Violations noted during the inspection are listed below including 297 repeat violations.

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH

cc:	Robert Goldstein, MD, PhD, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

William Sweeney, Superintendent		(electronic copy)

Sergeant John Fallon, EHSO/FSO		(electronic copy)

Daniel J. Prendergast, Assistant Commissioner, ISD/Health Division, City of Boston	(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# BUILDING # 1

11th Floor

# Staff Bathroom # 1142

No Violations Noted

# Classroom # 1145

No Violations Noted

Classroom # 1156

No Violations Noted

# Slop Sink Room # 1158

No Violations Noted

# Office # 1143

Unable to Inspect – Locked

Program Area

Classroom # 1 1151

No Violations Noted

Classroom # 2 1153

No Violations Noted

# Meeting Room

Unable to Inspect – In Use

Offices

No Violations Noted

# Unit 1-11-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 3

# Bathroom

Unable to Inspect – Not Used

# Laundry Area

No Violations Noted

# Supply Closet

No Violations Noted

# Kitchenette

No Violations Noted

# Cells

No Violations Noted

# Unit 1-11-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.350	Structural Maintenance: Ceiling water stained near cell # 16

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shroud missing around push button in shower # 2

# Bathroom

Unable to Inspect - Not Used

Laundry Area

No Violations Noted

Supply Closet

No Violations Noted

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 760F at handwash sink

Cells

No Violations Noted

10th Floor

10th Floor Visiting Room # 1051

No Violations Noted

# Room # 1053

No Violations Noted

# Room # 1054

No Violations Noted

# Room # 1059

No Violations Noted

# Offices

Unable to Inspect – Locked

# Staff Bathroom # 1074

No Violations Noted

# Slop Sink Room # 1050

No Violations Noted

# Unit 1-10-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty above phones

# Showers

# 105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain damaged in shower # 2

# Kitchenette

No Violations Noted

# Cells

No Violations Noted

# Unit 1-10-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Showers

105 CMR 451.123*	Maintenance: Wall dirty, possible mold/mildew in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall damaged near push button in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

# Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 640F

Laundry Area

105 CMR 451.353	Interior Maintenance: Floor dirty behind machines

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8

# Unit 1-10-4 Women’s Infirmary Area (MAT Program)

# Supply Closet

No Violations Noted

# Exam Room

Unable to Inspect – Locked

Staff Bathroom

No Violations Noted

# Unit 1-10-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Cells

No Violations Noted

Shower

Unable to Inspect – Not Used

# Caseworker’s Office #1038

No Violations Noted

9th Floor

# Staff Bathroom # 944

No Violations Noted

# Slop Sink # 956

No Violations Noted

# Recreation Deck # 940

No Violations Noted

# Programs/Education Offices

No Violations Noted

# Unit 1-9-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Excessive condensation on ceiling in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123	Maintenance: Wall paint damaged near water control in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head not working properly in shower # 2

# Closet

No Violations Noted

Case Worker’s Office

Unable to Inspect – Locked

Kitchenette

# 105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Cells

No Violations Noted

# Unit 1-9-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 3

# Closet

No Violations Noted

# Kitchenette

No Violations Noted

# Cells

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 15

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, and 14

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 4, 7, and 15

8th Floor

Offices

Unable to Inspect – Locked

# Slop Sink # 848

No Violations Noted

# Unit 1-8-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Laundry Area

No Violations Noted

# Utility Closet # 834

No Violations Noted

# Showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged near light fixture in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

# Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 4

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 14 and 15

# Unit 1-8-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 540F at handwash sink

Laundry Area

No Violations Noted

Utility Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 3

105 CMR 451.123*	Maintenance: Sprinkler shroud missing in shower # 3

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 2 and 12

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 3, 6, 7, 10, 11, 13, and 14

Recreation Deck

105 CMR 451.353	Interior Maintenance: Light fixture not secured to ceiling

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

7th Floor (Office Space)

# Slop Sink Room # 755

No Violations Noted

Parole Office

No Violations Noted

Spectrum Office

No Violations Noted

Gang Intelligence Unit Office

Unable to Inspect – Locked

6th Floor

Case Worker’s Office # 645

No Violations Noted

6th Floor Meeting Room and Dining Hall

105 CMR 451.360*	Protective Measures: Rodent droppings observed on window sills and floor

105 CMR 451.353	Interior Maintenance: Handwash sink dirty

# Unit 1-6-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

# Upper Cells

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, and 31

Upper Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123	Maintenance: Ceiling vent dust in shower # 2

105 CMR 451.123	Maintenance: Epoxy damaged on door frame of shower # 3

105 CMR 451.123*	Maintenance: Wall paint damaged near door frame in shower # 3

# Lower Cells

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11,12, 13,

# 14, 15, and 16

# Lower Laundry Area

105 CMR 451.353	Interior Maintenance: Floor dirty behind machines

# Storage Closet # 634

No Violations Noted

# Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 2

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 750F in shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, push button shroud missing in shower # 2

# Recreation Deck

No Violations Noted

# Unit 1-6-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not working properly, ceiling light out near cell # 29

Kitchenette

No Violations Noted

Upper Storage Closet

No Violations Noted

Upper Cells

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 17, 18, 20, 21, 22, 23, 25, 26, 27, 28, and 31

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 17, 20, 21, 23, 24, 25, 26, 27, 28, 30, and 31

Upper Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew in shower # 2

105 CMR 451.123*	Maintenance: Rust stains on wall near shower head in shower # 2

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure in shower # 1 and 3

Lower Laundry

No Violations Noted

Lower Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 2

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 14

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 7, 8, 9, 10, 11, 13, 14,

and 15

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 9 and 14

Lower Showers

105 CMR 451.126	Hot Water: Shower water temperature recorded at 1260F in shower # 2

Staff Bathroom # 656

No Violations Noted

Slop Sink Closet

No Violations Noted

5th Floor

Slop Sink Room # 563

No Violations Noted

5th Floor Custody

Bathroom # 1

No Violations Noted

Bathroom # 2

Unable to Inspect – In Use

Kitchenette

No Violations Noted

Unit 1-5-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Utility Closet

No Violations Noted

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls of shower # 1 and 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shroud missing from push button

in shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2 and 3

Kitchenette

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 7 and 14

Classrooms

No Violations Noted

Library

No Violations Noted

Unit 1-5-2

Control

No Violations Noted

Slop Sink Closet

No Violations Noted

Sleeping Area

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Bathroom

105 CMR 451.123	Maintenance: Wall damaged next to toilet fixture

Kitchenette

No Violations Noted

Unit 1-5-2 A

Unable to Inspect – Quarantine/Isolation Unit

4th Floor

Hallway

No Violations Noted

Staff Bathroom # 445

No Violations Noted

Slop Sink # 454

No Violations Noted

SERT Office

No Violations Noted

Utility Room/Property

No Violations Noted

Visiting Room # 452

No Violations Noted

Unit 1-4-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.350	Structural Maintenance: Ceiling water damaged near exit door

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty near cell # 16

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.126	Hot Water: Shower water temperature recorded at 530F in shower # 3

105 CMR 451.126	Hot Water: Shower water temperature recorded at 550F in shower # 2

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 8 and 10

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell #7 and 12

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 14

Recreation Deck

No Violations Noted

Unit 1-4-2

Common Area

No Violations Noted

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Threshold paint damaged in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 680F at handwash sink

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 4 and 6

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 9, 10, and 13

3rd Floor

Slop Sink Room # 371

105 CMR 451.353*	Interior Maintenance: Debris in slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Non-Contact Visiting Area # 355

No Violations Noted

Supervisor’s Office

No Violations Noted

Report Writing Office # 347

No Violations Noted

Captain’s Office # 349

No Violations Noted

Disciplinary Office # 350

Unable to Inspect – Locked

Unit 1-3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Room # 333 and 334

No Violations Noted

Storage Room # 336

No Violations Noted

Staff Bathroom # 337

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor dirty in cell # 8

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 3 and 6

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 2

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 3, 4, 5, and 8

Recreation Room

No Violations Noted

Recreation Deck

No Violations Noted

Unit 1-3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Staff Bathroom # 360

No Violations Noted

Storage Closet # 361

No Violations Noted

Recreation Room # 368

No Violations Noted

Shower Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 1

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light fixture out in

cell # 3

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1 and 4

2nd Floor

105 CMR 451.353	Interior Maintenance: Floor tiles missing in hallway near Staff Bathroom

Office # 240

No Violations Noted

Staff Bathroom # 242

Unable to Inspect – In Use

Office Area

No Violations Noted

Attorney Rooms

No Violations Noted

Main Visiting

No Violations Noted

Checkpoint

No Violations Noted

Mental Health Office # 260

No Violations Noted

Staff Bathroom # 263

Unable to Inspect – In Use

Chapel # 170

Unable to Inspect – In Use

Mosque # 269

No Violations Noted

Slop Sink Room # 271

No Violations Noted

Unit 1-2-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353	Interior Maintenance: Wall paint damaged near cell # 24

Slop Sink Room # 229

No Violations Noted

Closet # 236

No Violations Noted

Storage Room

No Violations Noted

Bathroom # 230

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 2

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 540F at handwash sink # 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 1 and 2 leaking

Day Room

No Violations Noted

Bathroom # 235

Unable to Inspect – In Use

Cells

No Violations Noted

Workout Room # 21

No Violations Noted

Laundry Room

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

TV Area

No Violations Noted

1st Floor

# Lobby Area

No Violations Noted

# Male Bathroom # 139

# No Violations Noted

# Female Bathroom # 140

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, left handwash sink out-of-order

Lower Administration

Break Area

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Central Control

No Violations Noted

Central Control Bathroom

No Violations Noted

Community Work Program

Control Desk

No Violations Noted

Supply Closet

No Violations Noted

Staff Bathroom # 121

No Violations Noted

Offices

No Violations Noted

Common Area

No Violations Noted

Serving Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water control leaking at handwash sink

Storage

Unable to Inspect – Not Used

Sergeant’s Office # 129

No Violations Noted

Slop Sink # 125

No Violations Noted

Kitchenette

No Violations Noted

Program Area (former TV Area)

No Violations Noted

Bathroom # 109

No Violations Noted

Bathroom # 121

No Violations Noted

Offices

No Violations Noted

BUILDING # 2

Staff Lounge

No Violations Noted

Vending Machines

No Violations Noted

Female Locker Room # 2109

No Violations Noted

Male Locker Room # 2110 and 2111

105 CMR 451.123	Maintenance: Ceiling dirty throughout shower area, possible mold/mildew

Weight Room

No Violations Noted

Cardio Room

No Violations Noted

Locker Room # 2119

No Violations Noted

Janitor’s Closet # 2121

No Violations Noted

Administrative Staff Area (Second Floor)

Male Bathroom # 2221

No Violations Noted

Female Bathroom # 2222

No Violations Noted

Kitchenette

No Violations Noted

BUILDING # 3

4th Floor

Offices

No Violations Noted

Staff Bathroom

No Violations Noted

Unit 3-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty near cell # 37 and shower # 6

Recreation Deck

No Violations Noted

Staff Bathroom

No Violations Noted

Case Worker’s Office

No Violations Noted

Handicapped Shower

No Violations Noted

Utility Closet

No Violations Noted

Lower Laundry Area

No Violations Noted

Lower Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 5

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew in shower # 5

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 3 and 4

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 2

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 3

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 2 and 3

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 5

105 CMR 451.123	Maintenance: Bottom of door frame separating from wall outside shower # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water control missing at handwash sink

Upper Laundry Area

No Violations Noted

Upper Shower Area

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 9

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 7 and 8

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew in shower # 7, 8, and 10

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew in shower # 8

105 CMR 451.123*	Maintenance: Walls dirty, possible mold/mildew in shower # 7

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 8 and 10

105 CMR 451.123*		Maintenance: Metal brackets on wall rusted in shower # 10

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 7 leaking

105 CMR 451.123	Maintenance: Hole in door frame in shower # 8

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing in shower # 9

Slop Sink Room

No Violations Noted

Uniform Storage Room # 3566

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Mattress cover missing in cell # 57

105 CMR 451.353	Interior Maintenance: Standing water on floor in cell # 15

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 50

Unit 3-4

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling dirty near door # 3581

105 CMR 451.353*		Interior Maintenance: Ceiling vents dusty near cell # 7 and 37

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Handicapped Shower # 3491

Unable to Inspect – Not Used

Closet # 3492

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Staff Bathroom # 3494

No Violations Noted

Case Worker’s Office # 349

No Violations Noted

Lower Laundry Area

105 CMR 451.353		Interior Maintenance: Electrical outlet cover missing

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 1

105 CMR 451.123*	Maintenance: Dead drain flies on ceiling in shower # 1

105 CMR 451.123*	Maintenance: Walls dirty in shower # 1

105 CMR 451.123	Maintenance: Walls dirty in shower # 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 4

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 1

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 continuously running

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 out-of-order

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 580F at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Upper Laundry Area

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

Upper Shower Area

105 CMR 451.123*		Maintenance: Ceiling dirty, possible mold in shower # 10

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 8, 9, and 10

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 7

105 CMR 451.123	Maintenance: Walls dirty in shower # 6 and 7

105 CMR 451.123*	Maintenance: Door frame damaged in shower # 9

105 CMR 451.123*	Maintenance: Floor dirty in shower # 9

105 CMR 451.123*	Maintenance: Walls dirty in shower # 9 and 10

105 CMR 451.123*	Maintenance: Wall damaged near push button in shower # 7

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 6

105 CMR 451.123	Maintenance: Strong odor present in shower # 8

Slop Sink Room # 3582

No Violations Noted

Uniform Storage # 3581

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 15 and 24

3rd Floor

Office # 3375

No Violations Noted

Office # 3377

No Violations Noted

Staff Bathroom # 3378

No Violations Noted

Chemical Storage # 3380

No Violations Noted

Case Worker’s Office # 3382

No Violations Noted

Office # 3383

No Violations Noted

2nd Floor

Staff Bathroom # 3278

No Violations Noted

Slop Sink # 3279

No Violations Noted

Unit 3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Case Worker’s Office # 3269

No Violations Noted

Staff Bathroom # 3270

No Violations Noted

Closet # 3265

No Violations Noted

Handicapped Shower # 3266

Unable to Inspect – Not Used

Uniform Storage # 3366

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall dirty behind washer and dryer units

Lower Shower Area

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew in shower # 3

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew in shower # 5

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 5

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 3 and 5

105 CMR 451.123*	Maintenance: Ceiling panel rusted in shower # 5

105 CMR 451.123*	Maintenance: Wall damaged in shower # 1

Kitchenette

105 CMR 451.353*	Interior Maintenance: Walls dirty above counter

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.360*	Protective Measures: Drain flies observed

Upper Laundry Area

105 CMR 451.360	Protective Measures: Rodent droppings observed behind dryer

Slop Sink # 3365

No Violations Noted

Upper Shower Area

105 CMR 451.123*	Maintenance: Walls dirty in shower # 9

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 7, 8, and 9

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 7

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 9

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 9

105 CMR 451.123	Maintenance: Floor dirty in shower # 10

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 10 out-of-order

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling of shower # 6

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 32

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 7, 9, 40, 44, and 52

Recreation Deck 3-1 and 3-2

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Unit 3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged near cell # 27 and 40

Office # 3295

No Violations Noted

Staff Bathroom # 3296

No Violations Noted

Storage Room # 3392

No Violations Noted

Handicapped Shower # 3293

Unable to Inspect – Not Used

Slop Sink Room # 3294

No Violations Noted

Lower Laundry Area

105 CMR 451.353*		Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 2, 3, 4, and 5

105 CMR 451.123	Maintenance: Drain flies observed in shower # 1 and 4

105 CMR 451.123		Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123		Maintenance: Ceiling dirty, possible mold/mildew in shower # 3 and 4

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 5

105 CMR 451.123*	Maintenance: Wall damaged in shower # 4

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink continuously running

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink water control missing

Upper Laundry Area

No Violations Noted

Upper Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 7, 8, and 9

105 CMR 451.123*	Maintenance: Wall damaged in shower # 10

105 CMR 451.123*	Maintenance: Ceiling vent not secured in shower # 6

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 8 and 9

105 CMR 451.126*	Hot Water: Shower water temperature recorded at 51oF in shower # 6

Slop Sink Room # 3393

No Violations Noted

Cells

105 CMR 451.350*		Structural Maintenance: Ceiling water damaged in cell # 44 and 46

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 20, 47, 48, and 60

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 49 and 56

Recreation Deck

105 CMR 451.353*		Interior Maintenance: Floor paint damaged

1st Floor

Education Area

Common Area

No Violations Noted

Classrooms

No Violations Noted

Library # 3149

No Violations Noted

Staff Bathroom # 3142

No Violations Noted

Inmate Bathroom # 3162

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Water pooling on floor near toilet fixture

Inmate Legal Services

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in freezer

105 CMR 451.360	Protective Measures: Rodent droppings observed on counter near refrigerator

Office Area # 3131

No Violations Noted

Office Staff Bathroom # 3126

No Violations Noted

MAT Program Room # 3166

No Violations Noted

Canteen

105 CMR 451.360	Protective Measures: Rodent droppings observed on shelving

Canteen Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

Slop Sink Closet

No Violations Noted

Main Laundry

Hallway

No Violations Noted

Office

Unable to Inspect – Locked

Storage # 3184

No Violations Noted

Laundry Area

No Violations Noted

2-Compartment Sink

No Violations Noted

Handwash Sink

No Violations Noted

Bathroom # 3181

No Violations Noted

Storage # 3182

No Violations Noted

BUILDING # 4 (Unoccupied)

105 CMR 451.350*	Structural Maintenance: Main entrance not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Doorknob/handle missing on right side entrance door

Dining Hall # 4137

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

Unit 4-1

Common Area

No Violations Noted

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave dirty

Lower Shower Area

105 CMR 451.123	Maintenance: Light fixture not working in shower # 2

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew in shower # 1

105 CMR 451.123*	Maintenance: Walls dirty, possible mold/mildew in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 1

Storage # 4265

No Violations Noted

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 8 and 9

105 CMR 451.123*	Maintenance: Paint damaged where ceiling and wall meet in shower # 7

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 9 and 12

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing in

shower # 8

Storage # 4364

No Violations Noted

Cells

No Violations Noted

Unit 4-2

Common Area

No Violations Noted

Kitchenette

No Violations Noted

1st Tier Bathroom # 4257 and 4268

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in stall # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 out-of-order

Slop Sink Closet (inside bathroom)

105 CMR 451.123*	Maintenance: Door frame rusted

1st Tier Bathroom # 4285 and 4275

105 CMR 451.123*	Maintenance: Wall dirty under sinks

Slop Sink Closet (inside Bathroom # 4285 and 4275)

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water control missing

Barbershop Room # 4272

105 CMR 451.353	Interior Maintenance: Floor dirty

TV Room # 4273

No Violations Noted

Laundry Area

No Violations Noted

Handicapped Shower # 4274

No Violations Noted

Uniform Storage # 4249

No Violations Noted

Room # 4250

No Violations Noted

Breakroom (inside Room # 4252)

No Violations Noted

Room # 4251

No Violations Noted

Room # 4252

No Violations Noted

Staff Bathroom # 4254

No Violations Noted

Handicapped Shower # 4256

No Violations Noted

Laundry Area

No Violations Noted

Office # 4270 and 4271

No Violations Noted

2nd Tier Utility Room # 4388

No Violations Noted

2nd Tier Utility Room # 6123

No Violations Noted

Storage Room # 4353

No Violations Noted

Storage Room # 4369 and 4368

No Violations Noted

2nd Tier Bathroom # 4366 and 4354

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 1 not flushing properly

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 2 out-of-order

105 CMR 451.123	Maintenance: Rust on urinal # 1 and 3

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1370F at handwash sink # 6

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty in stall # 1

Slop Sink Closet (inside bathroom # 4366 and 4354)

105 CMR 451.123*	Maintenance: Light out

2nd Tier Bathroom # 4374 and 4387

105 CMR 451.123*	Maintenance: White stain on floor

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 2 and 3 not flushing properly

Slop Sink Closet (inside bathroom # 4374 and 4387)

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Ceiling vent dusty

Cells

No Violations Noted

Unit 4-3

Common Area

No Violations Noted

Kitchenette

No Violations Noted

Lower Shower Area

105 CMR 451.123	Maintenance: Floor dirty in shower # 1, 2, and 4

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 4

105 CMR 451.123*	Maintenance: Walls dirty in shower # 4

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shroud missing from water control

in shower # 4

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, push button missing in shower # 3

Upper Shower Area

105 CMR 451.123	Maintenance: Walls dirty in shower # 11

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 7 and 10

105 CMR 451.123*	Maintenance: Sprinkler shroud missing in shower # 12

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, push button missing in shower # 11

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing in shower # 9

Storage Room # 4283

No Violations Noted

Cells

No Violations Noted

Unit 4-4 Video Court Rooms

Holding Cells

No Violations Noted

Inmate Bathroom

No Violations Noted

Slop Sink Closet # 4130

No Violations Noted

Staff Bathroom

No Violations Noted

CGI

Officer Station

No Violations Noted

Office

No Violations Noted

Paint Office

Unable to Inspect – Locked

Industries

No Violations Noted

Slop Sink Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1450F at handwash sink

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Maintenance

No Violations Noted

Bathroom # 5166

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Bathroom # 5163

No Violations Noted

Kitchenette

No Violations Noted

Laundry/Slop Sink # 5162

No Violations Noted

Break Area

No Violations Noted

BUILDING # 5

Food Service Area

The following food code violations listed in BOLD were observed to be corrected on-site.

Section 1

Inmate Locker Room

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

Slop Sink Room

No Violations Noted

Chemical Storage

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Mechanical Warewashing Area

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, mold observed on wall above single bay sink

FC 4-703.11(B)	Sanitization of Equipment and Utensils, Methods: Mechanical warewash machine did not achieve a utensil surface temperature of 160°F as measured by an irreversible registering temperature indicator P, temperature recorded at 155℉

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling leaking above warewash machine

FC 5-202.13	Plumbing System; Design, Construction, and Installation: Air gap missing between water supply inlet and the flood level rim of the sinkP, sink sprayer laying in the sink

Pot Wash Area

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than the manufacturers recommended concentration

Pot Wash Handwash Sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1050F at handwash sink

Tray Rack Area

No Violations Noted

Tray Area Handwash Sink

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed

Section 2

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles and grout damaged

Kettle Area

FC 4-602.11(E)(4)	Cleaning of Equipment and Utensils; Frequency: Equipment not cleaned at a frequency to prevent accumulation of debris, cooking oil storage tanks dirty with food debris in fryolator # 1 - 3

Handwash Sink

No Violations Noted

Prep Table/Sink

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, bottom shelf of prep table damaged

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink leaking

Pot/Pan Storage Room

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, encrusted grease on the bottom of multiple sheet pans and pots

Officer’s Office

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed

Chef’s Office

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed

Section 3

Stove Top Area

No Violations Noted

Section 4

Ice Machines

Unable to Inspect – Under Routine Maintenance

Refrigerator # 1

No Violations Noted

Refrigerator # 2

No Violations Noted

Refrigerator # 3

No Violations Noted

Freezer # 4

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor surface damaged at entrance

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, accumulation of ice and food debris on floor

Prep-Table

No Violations Noted

Ovens

No Violations Noted

Section 5

Special Diet Area

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed

Dry Storage Area

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Rodent droppings observed on floor along perimeter walls and on boxes

Loading Dock

No Violations Noted

Commissary

No Violations Noted

Staff Bathroom # 5152

No Violations Noted

Section 6

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weathertight and rodent proof

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged near search rooms

Refrigerator # 6

No Violations Noted

2-Compartment Sink Area

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, no hot water suppled to 2-compartment sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, pipe leaking under single compartment sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking at handwash sink

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Drain flies observed

Prep-Refrigerators and Tray Assembly Line

No Violations Noted

Staff Food Line

FC 7-201.11(B)	Poisonous or Toxic Materials; Storage: Poisonous and toxic materials not properly 	stored, bucket of sanitizer stored on same surface as food preparation

Staff Dining Room

No Violations Noted

Culinary Arts Kitchen

Tool Storage

No Violations Noted

Handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink, no paper towels available

Dry Storage

FC 3-304.15(A)	Preventing Contamination from Utensils: Inappropriate use of single-use gloves, used glove observed on shelf

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered, container of sugar left uncovered on shelf

Coolers and Freezers

No Violations Noted

Steam Kettle Area

No Violations Noted

Hoods

No Violations Noted

Prep Tables and Sinks

No Violations Noted

3-Compartment Sink

No Violations Noted

Warewash Machine

No violations Noted

Slop Sink

No Violations Noted

Handwash Sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink, no paper towels available at handwash sink

Bathroom

No Violations Noted

Classroom Section

No Violations Noted

Gym

Bathroom # 5204

No Violations Noted

Staff Bathroom # 5207

No Violations Noted

Slop Sink Closet # 5203

No Violations Noted

Automotive Garage

No Violations Noted

Staff Bathroom # 5152

105 CMR 451.123	Maintenance: Ceiling paint damaged

Engineering

No Violations Noted

BUILDING # 6

Health Services Medical Area

Hallway

105 CMR 451.353	Interior Maintenance: Floor tiles damaged near Isolation Cells

105 CMR 451.353	Interior Maintenance: Floor dirty outside of Staff Lounge # 6236

Exam Room # 1 3172

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.360	Protective Measures: Rodent droppings observed on floor

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F

Exam Room # 2 3134

No Violations Noted

Exam Room # 3 3171

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Exam Room # 4 3133

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F at handwash sink

Exam Room # 5

105 CMR 451.126	Hot Water: Hot water temperature recorded at 720F at handwash sink

File Room # 6226

No Violations Noted

Inmate Bathroom # 6229

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Strong urine odor present

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty

Medication Room

No Violations Noted

Lab Room # 6268

No Violations Noted

Office # 6267

105 CMR 451.350*	Structural Maintenance: Window broken

Office # 6264

No Violations Noted

X-Ray Room # 6265

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor

Director of Nursing Office # 6263

No Violations Noted

Dental Exam Room # 6261

No Violations Noted

Dental Storage Closet # 6262

105 CMR 451.360*	Protective Measures: Rodent droppings observed floor under cabinets

Medical Unit

Hallway

No Violations Noted

Recreation Room # 6258

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor behind seating

Kitchenette # 6256

Unable to Inspect – Under Construction

Isolation Cells (# 3 and 5)

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell # 3

105 CMR 451.103	Mattresses: Mattress cover damaged in cell # 5

Isolation Handwash Sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Office # 6254

No Violations Noted

Storage Room # 6253

No Violations Noted

Storage Room # 6252

No Violations Noted

Medical Waste/Biohazard Storage # 6250

No Violations Noted

Staff Bathroom # 6247

No Violations Noted

Chemical Storage Room # 6248

No Violations Noted

Inmate Property # 6246

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor

Shower Area

105 CMR 451.123*	Maintenance: Floor dirty in shower # 1

105 CMR 451.123*	Maintenance: Floor epoxy damaged at entrance to shower # 3

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in showers # 2 and 3

Staff Lounge # 6236

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor

Staff Bathroom # 6237

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 139℉ at handwash sink

Cells

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty in cell # 1

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in cell # 2, 6, and 7

105 CMR 451.353*	Interior Maintenance: Mattress cover damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Mattress cover damaged in cell # 14 and 16

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty in cell # 9

105 CMR 451.353	Interior Maintenance: Paint damaged on bed in cell # 10

105 CMR 451.353	Interior Maintenance: Floor tile damaged in cell # 13

105 CMR 451.353*	Interior Maintenance: Floor paint damage in cell # 16 and 19

105 CMR 451.353*	Interior Maintenance: Wall dirty in cell # 14

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # 11 and 14

105 CMR 451.123*	Maintenance: Wall paint damaged in shower in cell # 1

Booking Area

Holding Cell # 6105

No Violations Noted

Hallway

No Violations Noted

Male Property Room # 6106

No Violations Noted

Male Changing Room # 6109

No Violations Noted

Old Shower Room # 6111

No Violations Noted

Slop Sink # 6110

No Violations Noted

Medical Intake Office

No Violations Noted

Medical Bathroom # 6136

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Transportation Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator gasket damaged

Male Holding Cells

No Violations Noted

Sally Port

No Violations Noted

Control

No Violations Noted

Storage Room # 6132

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor

Break Room # 6131

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave damaged

Staff Bathroom # 6135

105 CMR 451.123	Maintenance: Strong odor present

Storage Room # 6137

No Violations Noted

Storage Room # 6139

No Violations Noted

Female Changing Room # 6138

No Violations Noted

Female Holding Cells

105 CMR 451.353	Interior Maintenance: Floor dirty in all female holding cells

Female Property Office

No Violations Noted

BUILDING # 7

Vehicle Trap

1st Floor

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

No Violations Noted

BUILDING # 8 (Unoccupied)

105 CMR 451.353		Interior Maintenance: Door and door frame rusted at entrance

105 CMR 451.350	Structural Maintenance: Entrance not rodent and weathertight

1st Floor - Unit 8-1

Staff Area

Staff Bathroom # 8-106

No Violations Noted

Electrical # 8-108

No Violations Noted

Property # 8-111

No Violations Noted

Offices

No Violations Noted

Common Area

No Violations Noted

Video Court # 8-114

No Violations Noted

Office # 8-115

No Violations Noted

Staff Break Room # 8-116

No Violations Noted

Immigration Office # 8-117

No Violations Noted

Storage # 8-118 A

No Violations Noted

Storage # 8-118 B

No Violations Noted

Laundry Area

No Violations Noted

Slop Sink Room # 8-123

No Violations Noted

Housing Area

Inmate Bathroom # 8-121

No Violations Noted

Inmate Bathroom # 8-122

No Violations Noted

Cells

No Violations Noted

2nd Floor - Unit 8-2

Staff Area

No Violations Noted

Staff Bathroom # 8-206

No Violations Noted

Medical # 8-207

Unable to Inspect – Locked

Property # 8-211

No Violations Noted

Medical # 8-212

No Violations Noted

Electrical # 8-226

No Violations Noted

Common Area

No Violations Noted

Computer Room # 8-214

No Violations Noted

Recreation Room # 8-215

No Violations Noted

Recreation Room # 8-216

No Violations Noted

Recreation Room # 8-217

No Violations Noted

Uniform Storage # 8-219

No Violations Noted

Storage # 8-218 A

No Violations Noted

Storage # 8-218 B

No Violations Noted

Laundry Area

No Violations Noted

Housing Area

Inmate Bathroom # 8-221

No Violations Noted

Inmate Bathroom # 8-222

No Violations Noted

Slop Sink # 8-223

No Violations Noted

Cells

No Violations Noted

3rd Floor - Unit 8-3

Staff Area

Staff Bathroom # 8-306

No Violations Noted

Storage # 8-314

No Violations Noted

Property # 8-311

No Violations Noted

Offices

No Violations Noted

Common Area

No Violations Noted

Office # 8-307

No Violations Noted

Recreation Room # 8-315

No Violations Noted

Recreation Room # 8-316

No Violations Noted

Recreation Room # 8-317

No Violations Noted

Uniform Storage # 8-319

No Violations Noted

Storage # 8-318 A

No Violations Noted

Storage # 8-318 B

No Violations Noted

Laundry Area

No Violations Noted

Housing Area

Slop Sink Room # 8-323

No Violations Noted

Inmate Bathroom # 8-322

No Violations Noted

Inmate Bathroom # 8-321

No Violations Noted

Cells

No Violations Noted

4th Floor - Unit 8-4

Staff Area

Staff Bathroom

No Violations Noted

Offices

No Violations Noted

Supply Room

No Violations Noted

Property

No Violations Noted

Common Area

Computer Room # 8-414

No Violations Noted

Laundry

No Violations Noted

TV Room # 8-415

No Violations Noted

TV Room # 8-416

No Violations Noted

Recreation Room # 8-417

No Violations Noted

Closet # 8-418A

No Violations Noted

Mop Closet # 8-418B

No Violations Noted

Housing Area

Slop Sink Closet # 8-423

No Violations Noted

Bathroom # 8-421

No Violations Noted

Bathroom # 8-422

105 CMR 451.123	Maintenance: Water stains on ceiling throughout bathroom

105 CMR 451.123	Maintenance: Light fixture cover discolored near showers

105 CMR 451.123	Maintenance: Water stains on wall above toilet fixtures # 2 and 6

105 CMR 451.123	Maintenance: Water stains on floor in front of showers

Cells

105 CMR 451.353	Interior Maintenance: Trash observed in cell # 13

Observations and Recommendations

- The inmate population was 771 at the time of inspection.

- Housing Unit 1-5-2 A was the COVID-19 quarantine/isolation area. There was 1 inmate housed in Unit 1-5-2 A.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH