CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-753-8000

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

January 18, 2022

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118		(electronic copy)

Re: Facility Inspection – Suffolk County House of Correction, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of Suffolk County House of Correction on December 21, 22, and 23, 2021 accompanied by Sergeant John Fallon, Environmental Health and Safety/Fire Safety Officer and Captain Brian Reynolds, Support Service Supervisor. Violations noted during the inspection are listed below including 683 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH

cc:	Margret R. Cooke, Acting Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

William Sweeney, Superintendent		(electronic copy)

John Fallon, EHSO/FSO		(electronic copy)

Daniel J. Prendergast, Assistant Commisioner, ISD/Health Division, City of Boston 	(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# BUILDING # 1

11th Floor

# Staff Bathroom # 1142

No Violations Noted

# Classroom # 1145

No Violations Noted

Classroom # 1156

No Violations Noted

# Slop Sink Room # 1158

No Violations Noted

# Office # 1143

No Violations Noted

Program Area

Classroom # 1 1151

No Violations Noted

Classroom # 2 1153

No Violations Noted

# Meeting Room

No Violations Noted

Offices

No Violations Noted

# Unit 1-11-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

# Showers

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure in shower # 1

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

# Bathroom

# No Violations Noted

# Laundry Area

No Violations Noted

# Kitchenette

No Violations Noted

# Cells

# No Violations Noted

# Unit 1-11-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Ceiling water damaged near laundry area

Showers

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2 and 3

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 72°F in shower # 3

# Bathroom

Unable to Inspect - Not Used

Laundry Area

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 550F at handwash sink

Cells

No Violations Noted

10th Floor

10th Floor Visiting Room

No Violations Noted

# Room # 1053

No Violations Noted

# Room # 1054

No Violations Noted

# Room # 1059

No Violations Noted

# Offices

No Violations Noted

# Staff Bathroom # 1074

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Slop Sink Room # 1050

No Violations Noted

# Unit 1-10-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Shower 	Unable to Inspect Shower # 1 and 3 – In Use

# 105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

# Kitchenette

105 CMR 451.126	Hot Water: Hot water temperature recorded at 90℉ at handwash sink

# Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 15

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 8, 13, and 14

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 14

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 8

# Unit 1-10-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Door frame rusted in shower # 1

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 2 and 3

# Kitchenette

No Violations Noted

Laundry Area

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 8 and 12

# 105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 8 and 10

# 105 CMR 451.103	Mattresses: Mattress damaged in cell # 7 and 14

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 13

# Unit 1-10-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Cells

# 105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 5

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 6

# 105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 5

# 105 CMR 451.103	Mattresses: Mattress damaged in cell # 3

Shower
	No Violations Noted

# Caseworker’s Office

No Violations Noted

# Unit 1-10-4 Women’s Infirmary Area

105 CMR 451.353	Interior Maintenance: Countertop damaged near handwash sink

# Supply Closet

# No Violations Noted

# Exam Room

Unable to Inspect – Locked

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

9th Floor

# Staff Bathroom # 944

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

# Slop Sink # 956

No Violations Noted

# Recreation Deck # 940

# 105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Light fixture damaged

# Programs/Education Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty in office #952

# Unit 1-9-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer vent damaged

Shower Area			Unable to Inspect Shower # 3 – In Use

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

# 105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 1 and 2

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 750F in shower # 2

# Closet

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Case Worker’s Office

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Kitchenette

# 105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 6 and 7

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8 and 9

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1 and 16

105 CMR 451.103	Mattresses: Mattress damaged in cell # 7

# Unit 1-9-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Ceiling vent rusted in shower # 2

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 76°F in shower # 3

# Closet

No Violations Noted

# Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 510F at handwash sink

# Cells

No Violations Noted

8th Floor

Offices

No Violations Noted

# Slop Sink # 848

No Violations Noted

# Unit 1-8-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Kitchenette

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink

Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer duct damaged

# Utility Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

# Showers

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 1

105 CMR 451.123	Maintenance: Curtain dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Shower push button cover missing in shower # 1 and 3

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 800F in shower # 3

# Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 8, 9, and 14

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 4

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 14

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 3, 4, 5, 6, 7, 8, and 13

# Unit 1-8-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

# Kitchenette

# 105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior, vent disconnected from wall

Utility Closet

# No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 8

105 CMR 451.353*		Interior Maintenance: Wall water damaged above window in cell # 5

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, and 16

105 CMR 451.103		Mattresses: Mattress damaged in cell # 7

105 CMR 451.103		Mattresses: Mattress cover missing in cell # 2

105 CMR 451.113	Toilet and Handwashing Sink in Locked Cells: No hot running water in locked cell # 5

7th Floor (Office Space)

# Slop Sink Room # 755

No Violations Noted

Parole Office

No Violations Noted

Gang Intelligence Unit Office

Unable to Inspect – Locked

6th Floor

Case Worker’s Office # 645

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

6th Floor Meeting Room and Dining Hall

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed on window sills

105 CMR 451.360	Protective Measures: Drain flies observed at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Unit 1-6-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16 and 32

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Upper Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 21, 22, 24, and 25

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 27

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 17, 18, and 27

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 19

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 18, 21, 25, and 28

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 19, 20, 22, 23, 24, 26, 27, 29, 30,

# 31, and 32

# Upper Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Wall damaged in shower # 3

# Lower Cells

# 105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 6, 8, 11, and 12

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 6

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 8, 12, 13, and 15

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 3, 4, 5, 6, 7, 9, 10, and 11

# Lower Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer duct vent damaged

# Storage Closet # 634

No Violations Noted

# Lower Shower Area

105 CMR 451.123	Maintenance: Light out in shower # 1

# 105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

# 105 CMR 451.123*	Maintenance: Door frame rusted in shower # 1, 2, and 3

# Recreation Deck

105 CMR 451.353*	Interior Maintenance: Walls dirty

# Unit 1-6-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 1 and 17

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Upper Storage Closet

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Upper Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, and 32

105 CMR 451.353	Interior Maintenance: Light fixture rusted in cell # 19

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 25 and 28

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, and 32

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not draining properly in cell # 29 and 30

Upper Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Door frame rusted in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2

Lower Laundry

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior, vent disconnected from wall

Lower Cells

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 4

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 6

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 2, 4, 6, 7, 8, 9, 10, 12, 14, 15,

and 16

105 CMR 451.353	Interior Maintenance: Light fixture rusted in cell # 14

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 12

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 18

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, and 16

Lower Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123*		Maintenance: Door frame rusted in cell # 1, 2, and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shroud missing around shower head in shower # 1

Staff Bathroom # 656

No Violations Noted

Slop Sink Closet

No Violations Noted

5th Floor

Slop Sink Room # 563

No Violations Noted

5th Floor Custody

Bathroom # 1

No Violations Noted

Bathroom # 2

No Violations Noted

Kitchenette

No Violations Noted

Unit 1-5-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged near showers

Utility Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123*		Maintenance: Shower push button cover missing in shower # 1

105 CMR 451.123*		Maintenance: Wall damaged around push button in shower # 1

105 CMR 451.123*		Maintenance: Door frame rusted in shower # 1, 2, and 3

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower head missing in shower # 3

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 5 and 13

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 3, 4, 10, 12, and 14

105 CMR 451.103	Mattresses: Mattress damaged in cell # 16

Classrooms

No Violations Noted

Library

No Violations Noted

Unit 1-5-2

Control

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Shower

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Light not functioning properly

Common Area

105 CMR 451.353	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty near kitchenette

Kitchenette

No Violations Noted

Dorm Room

No Violations Noted

Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Unit 1-5-2 A

Office # 566

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink Closet

No Violations Noted

Cells

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 6 and 7

105 CMR 451.103		Mattresses: Mattress damaged in cell # 1 and 6

105 CMR 451.123	Maintenance: Handwash sink dirty in cell # 3

4th Floor

Hallway

No Violations Noted

Staff Bathroom # 445

No Violations Noted

Slop Sink # 454

No Violations Noted

SERT Office

No Violations Noted

Utility Room

No Violations Noted

Visiting Area

No Violations Noted

Unit 1-4-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16

105 CMR 451.350	Structural Maintenance: Ceiling water damaged near showers

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded at 740F in shower # 2

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water not working at

handwash sink

Cells

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 1, 2, 3, 4, and 9

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 8

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 16

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 13

Recreation Deck

No Violations Noted

Unit 1-4-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 1

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2 and 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F at handwash sink

105 CMR 451.200*                 	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 7 and 13

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell #1, 2, 3, 4, 5, 6, and 14

3rd Floor

Slop Sink Room # 371

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Non-Contact Visiting Area # 355

No Violations Noted

Supervisor’s Office

No Violations Noted

Report Writing Office

No Violations Noted

Captain’s Office

No Violations Noted

Disciplinary Office

No Violations Noted

Unit 1-3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.353	Interior Maintenance: Light not functioning properly

Room # 333 and 334

No Violations Noted

Storage Room # 336

105 CMR 451.350	Structural Maintenance: Wall water damaged

Staff Bathroom # 337

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2, 4, 8, 9, 11, 12, 13, and 14

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 9, 11, and 12

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 7 and 13

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 9, 11, and 13

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 10 and 12

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking in cell # 11

105 CMR 451.353	Interior Maintenance: Water pooling on floor in cell # 12

105 CMR 451.330	Room Temperature: Room temperature 640F in cell # 11

Recreation Room

No Violations Noted

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Unit 1-3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Staff Bathroom # 360

No Violations Noted

Storage Closet # 361

No Violations Noted

Recreation Room # 368

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123*	Maintenance: Mold observed on door frame and walls in shower # 2 and 3

105 CMR 451.123	Maintenance: Door frame rusted in shower # 2

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 3

105 CMR 451.123	Maintenance: Door rusted in shower # 2 and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 1

105 CMR 451.123	Maintenance: Walls dirty in shower # 1

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1160F in shower # 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged in cell # 8 and 15

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 5, 10, 11, 12, and 14

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 7

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 5

105 CMR 451.353*		Interior Maintenance: Wall vent blocked in cell # 3, 4, and 9

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, and 16

105 CMR 451.103	Mattresses: Mattress damaged in cell # 15

2nd Floor

Office # 240

No Violations Noted

Staff Bathroom # 242

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet clogged

Office Area

No Violations Noted

Attorney Rooms

No Violations Noted

Main Visiting

No Violations Noted

Checkpoint

No Violations Noted

Mental Health Office # 260

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom # 263

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Chapel # 170

No Violations Noted

Mosque # 269

No Violations Noted

Slop Sink Room # 271

No Violations Noted

Unit 1-2-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty outside cell # 18

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty outside cell # 22

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty outside showers

Slop Sink Room # 229

No Violations Noted

Closet # 236

No Violations Noted

Storage Room

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Bathroom # 230

105 CMR 451.123*	Maintenance: Ceiling vent dusty above toilets

105 CMR 451.123	Maintenance: Walls dirty in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 3

105 CMR 451.123*	Maintenance: Floor dirty in shower # 1

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 570F at handwash sink # 4

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F at handwash sink # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 leaking

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 900F in shower # 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water running continuously

at handwash sink # 2

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty at urinal # 1

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 2

Day Room

No Violations Noted

Bathroom # 235

105 CMR 451.123*	Maintenance: Ceiling vents dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123*	Maintenance: Light out in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head shroud missing in shower # 1 and 2

105 CMR 451.123	Maintenance: Light shield damaged in shower # 3

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 1 out-of-order

Cells

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 14 and 17

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 15, 16, 25, and 30

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell # 23

105 CMR 451.353*	Interior Maintenance: Ceiling vent blocked in cell # 24 and 29

Workout Room # 21

No Violations Noted

Laundry Room

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.353	Interior Maintenance: Dryer duct damaged

TV Area

No Violations Noted

1st Floor

# Lobby Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

# Male Bathroom # 139

# No Violations Noted

# Female Bathroom # 140

No Violations Noted

Lower Administration

Break Area

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Central Control

No Violations Noted

Central Control Bathroom

No Violations Noted

Community Work Program

105 CMR 451.321*	Cell Size: Inadequate floor space in all rooms

Control Desk

No Violations Noted

Supply Closet

No Violations Noted

Staff Bathroom # 121

No Violations Noted

Computer Room # 122

No Violations Noted

Office # 123

No Violations Noted

Common Area

No Violations Noted

Serving Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F at handwash sink

Uniform Closet

No Violations Noted

Sergeant’s Office # 129

No Violations Noted

Slop Sink # 125

105 CMR 451.353*	Interior Maintenance: Sprinkler shroud missing

Laundry Room

No Violations Noted

TV Area

No Violations Noted

Shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Ceiling epoxy damaged

105 CMR 451.123*	Maintenance: Walls dirty, possible mold/mildew

Shower # 2

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Sprinkler shroud missing

Bathroom/Shower # 109

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Shower door frame damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet damaged

Bathroom # 2

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Rooms

No Violations Noted

BUILDING # 2

Staff Lounge

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Vending Machines

No Violations Noted

Female Locker Room # 2109

No Violations Noted

Male Locker Room # 2110 and 2111

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 3 handwash sinks out-of-order

Weight Room

No Violations Noted

Cardio Room

No Violations Noted

Locker Room # 2119

No Violations Noted

Janitor’s Closet # 2121

No Violations Noted

Administrative Staff Area (Second Floor)

Male Bathroom # 2221

No Violations Noted

Female Bathroom # 2222

No Violations Noted

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food utensils are not in compliance with

105 CMR 590.000, single-use plastic utensils stored uncovered

BUILDING # 3

4th Floor

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor paint damaged

Unit 3-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Phone bases damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty on top tier

105 CMR 451.353	Interior Maintenance: Floor tiles damaged on top tier near cell # 56

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Water pooling on floor

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Access panel behind toilet rusted

Case Worker’s Office

No Violations Noted

Handicapped Shower

No Violations Noted

Utility Closet

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353	Interior Maintenance: Walls dirty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, floor drain clogged

Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2, 3, 4, and 5

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-5

105 CMR 451.123	Maintenance: Ceiling rusted in shower # 5

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 2 and 3

105 CMR 451.123	Maintenance: Curtain missing in shower # 4

105 CMR 451.123*	Maintenance: Drain flies observed in shower # 3

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling in shower # 5

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 1-5

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 800F in shower # 3

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 640F at handwash sink

Upper Laundry Area

No Violations Noted

Upper Shower Area

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 6-10

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 6-10

105 CMR 451.123*		Maintenance: Wall rusted in shower # 10

105 CMR 451.123*		Maintenance: Drain flies observed in shower # 7 and 8

105 CMR 451.123*		Maintenance: Door frame rusted in shower # 6-10

105 CMR 451.123	Maintenance: Ceiling access panel rusted in shower # 10

105 CMR 451.123	Maintenance: Ceiling paint damage in cell # 9

Slop Sink Room

No Violations Noted

Uniform Storage Room # 3566

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 27, 31, 57, and 60

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8, 17, 18, 19, 20, 23, 28, 30, 35, 37, 40, 42, 43, and 46

105 CMR 451.353		Interior Maintenance: Wall paint damaged in cell # 27 and 39

105 CMR 451.353*		Interior Maintenance: Wall paint damaged in cell # 22

105 CMR 451.103		Mattresses: Mattress damaged in cell # 20

105 CMR 451.353	Interior Maintenance: Water pooling on the floor in cell # 17

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, toilet leaking in cell # 17

Unit 3-4

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353		Interior Maintenance: Floor tiles damaged on top tier

105 CMR 451.353*		Interior Maintenance: Wall paint damaged around phones

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Handicapped Shower # 3491

105 CMR 451.123	Maintenance: Ceiling vent dusty

Closet # 3492

105 CMR 451.350	Structural Maintenance: Door hardware damaged

Staff Bathroom # 3494

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Case Worker’s Office # 349

No Violations Noted

Lower Laundry Area

105 CMR 451.353*		Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior, vent disconnected from wall

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain clogged

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap holder damaged in shower # 4

105 CMR 451.123*	Maintenance: Door frame damaged in shower # 1-5

105 CMR 451.123	Maintenance: Dead drain flies on ceiling in shower # 1-5

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 590F at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Walls dirty

105 CMR 451.353*	Interior Maintenance: Floor dirty

Upper Laundry Area

105 CMR 451.353*	Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

Upper Shower Area

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 6, 8, and 9

105 CMR 451.123*		Maintenance: Ceiling vent cover missing in shower # 7 and 10

105 CMR 451.123*		Maintenance: Ceiling dirty, possible mold in shower # 9 and 10

105 CMR 451.123	Maintenance: Wall damaged in shower # 10

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6 and 8

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 7, 9, and 10

105 CMR 451.123*	Maintenance: Door frame damaged in shower # 6-10

Slop Sink Room # 3582

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain clogged

Uniform Storage # 3581

105 CMR 451.353*		Interior Maintenance: Floor paint damaged

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 28 and 60

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 12, 14, 15, and 44

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 3, 19, 25, 28, 40, and 44

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 6, 8, 10, 11, 12, 13, 15, 20, 22, 23, 30, 31, 39, 41, 43, and 45

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 25

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 20 and 59

105 CMR 451.113*	Toilet and Handwashing Sink in Locked Cells: No hot water in locked cell # 41

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control missing in cell # 41

3rd Floor

105 CMR 451.353	Interior Maintenance: Floor tiles missing in hallway

Office # 3375

No Violations Noted

Office # 3377

105 CMR 451.353*		Interior Maintenance: Ceiling water stained

Staff Bathroom # 3378

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor paint damaged

Chemical Storage # 3380

No Violations Noted

Case Worker’s Office # 3382

No Violations Noted

Office # 3383

No Violations Noted

2nd Floor

Staff Bathroom # 3278

No Violations Noted

Slop Sink # 3479

No Violations Noted

Unit 3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Phone bases damaged

105 CMR 451.353	Interior Maintenance: Floor tiles damaged on top tier

Case Worker’s Office # 3269

No Violations Noted

Staff Bathroom # 3270

105 CMR 451.123	Maintenance: Ceiling vent dusty

Closet # 3265

No Violations Noted

Handicapped Shower # 3266

No Violations Noted

Uniform Storage # 3366

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall dirty behind washer and dryer units

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

105 CMR 451.353*	Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123*		Maintenance: Dead drain flies observed on ceiling in shower # 1-5

105 CMR 451.123*		Maintenance: Drain flies observed in shower # 5

Kitchenette

No Violations Noted

Upper Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior, vent disconnected from wall

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

Slop Sink # 3365

Unable to Inspect – Locked

Upper Shower Area

105 CMR 451.123	Maintenance: Soap scum on wall in shower # 7

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 8 and 10

105 CMR 451.123		Maintenance: Ceiling vent dusty in shower # 6 and 7

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 8, 9, and 10

105 CMR 451.123	Maintenance: Curtain missing in shower # 6

105 CMR 451.123	Maintenance: Threshold damaged in shower # 7 and 8

105 CMR 451.123	Maintenance: Light out in shower # 10

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 1, 28, 34, 45, 51, 53, and 55

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 33

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 45, 59, and 62

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 6, 54, 56, and 58

105 CMR 451.353*	Interior Maintenance: Door hardware damaged in cell # 25

105 CMR 451.353	Interior Maintenance: Door rusted in cell # 25

Recreation Deck 3-1 and 3-2

105 CMR 451.353	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Walls dirty

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Unit 3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Phone bases damaged

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged on top tier

105 CMR 451.360	Protective Measures: Live rodent observed in common area near cell # 27

105 CMR 451.360	Protective Measures: Rodent droppings observed in utility closet near cell # 27

Office # 3295

No Violations Noted

Staff Bathroom # 3296

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Storage Room # 3392

No Violations Noted

Handicapped Shower # 3293

No Violations Noted

Slop Sink Room # 3294

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall dirty behind dryer

105 CMR 451.353		Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123		Maintenance: Ceiling vent dusty in shower #3

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 1, 2, 4, and 5

105 CMR 451.123*		Maintenance: Ceiling dirty, possible mold/mildew in shower # 4

105 CMR 451.123	Maintenance: Excessive moisture on ceiling in shower # 4

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 5

105 CMR 451.123		Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 1 and 4

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew in shower # 4

105 CMR 451.123	Maintenance: Soap holder damaged in shower # 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 5

105 CMR 451.123*	Maintenance: Door frame damaged in shower # 1-5

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower # 5 out-of-order

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Upper Laundry Area

105 CMR 451.353	Interior Maintenance: Water pooling on floor

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

Upper Shower Area

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 6, 7, 8, and 9

105 CMR 451.123		Maintenance: Soap scum on walls in shower # 10

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 6, 7, 8, and 9

105 CMR 451.123	Maintenance: Wall damaged in shower # 10

105 CMR 451.123	Maintenance: Floor drain clogged in shower # 6

Slop Sink Room # 3393

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 26 and 39

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 25 and 49

105 CMR 451.350		Structural Maintenance: Ceiling water damaged in cell # 17

105 CMR 451.350*		Structural Maintenance: Ceiling water damaged in cell # 23 and 24

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 49

105 CMR 451.103		Mattresses: Mattress damaged in cell # 41 and 43

Recreation Deck

105 CMR 451.353*		Interior Maintenance: Floor paint damaged

105 CMR 451.353*		Interior Maintenance: Wall paint damaged

1st Floor

Education Area

Common Area

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in hallway

105 CMR 451.353*		Interior Maintenance: Ceiling vent dusty outside inmate bathroom

Classrooms

No Violations Noted

Library # 3149

No Violations Noted

Staff Bathroom # 3142

105 CMR 451.123*		Maintenance: Floor paint damaged

Inmate Bathroom # 3162

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, toilet leaking

105 CMR 451.123*		Maintenance: Floor paint damaged

105 CMR 451.123	Maintenance: Ceiling paint damaged

Inmate Legal Services

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Office Area # 3131

No Violations Noted

Office Staff Bathroom # 3126

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

MAT Program Room # 3166

No Violations Noted

Canteen

105 CMR 451.350*	Structural Maintenance: Garage door not rodent and weathertight

Canteen Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink Closet

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle observed

Main Laundry

Hallway

105 CMR 451.350*	Structural Maintenance: Door leading to the exterior not rodent and weathertight

105 CMR 451.353*		Interior Maintenance: Ceiling tiles water damaged

Office

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Storage # 3184

No Violations Noted

Laundry Area

No Violations Noted

2-Compartment Sink

No Violations Noted

Handwash Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Bathroom # 3181

105 CMR 451.123	Maintenance: Ceiling vent dusty

Storage # 3182

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

BUILDING # 4

105 CMR 451.350*	Structural Maintenance: Main entrance not rodent and weathertight

Dining Hall # 4137

No Violations Noted

Unit 4-1

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged

Kitchenette

No Violations Noted

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

Storage # 4265

No Violations Noted

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 7-12

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 7-12

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 9

Storage # 4364

No Violations Noted

Cells

No Violations Noted

Unit 4-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Kitchenette

No Violations Noted

1st Tier Bathroom # 4257 and 4268

105 CMR 451.123*	Maintenance: Ceiling dirty

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 1, 2, and 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 3 out-of-order

Slop Sink Closet (inside bathroom)

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control damaged

1st Tier Bathroom # 4285 and 4275

105 CMR 451.123*	Maintenance: Wall dirty under sinks

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 1, 2, and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 out-of-order

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 2 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 3 out-of-order

Slop Sink Closet (inside Bathroom # 4285 and 4275)

105 CMR 451.123	Maintenance: Door rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control missing

Room # 4272

No Violations Noted

TV Room # 4273

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

105 CMR 451.353	Interior Maintenance: Dryer duct damaged

Handicapped Shower # 4274

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head shroud missing

Uniform Storage # 4249

No Violations Noted

Room # 4250

No Violations Noted

Room # 4251

No Violations Noted

Room # 4252

No Violations Noted

Staff Bathroom # 4254

No Violations Noted

Handicapped Shower # 4256

No Violations Noted

Laundry Area

No Violations Noted

Office # 4270 and 4271

No Violations Noted

2nd Tier Utility Room # 4388

No Violations Noted

2nd Tier Utility Room # 6123

No Violations Noted

Storage Room # 4353

No Violations Noted

Storage Room # 4369

No Violations Noted

2nd Tier Bathroom # 4366 and 4354

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 1, 2, and 3

105 CMR 451.117*	 Toilet Fixtures: Toilet fixtures dirty in stall # 1

105 CMR 451.123*	Maintenance: Rodent droppings observed on floor along walls

Slop Sink Closet (inside bathroom)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control missing

2nd Tier Bathroom # 4374 and 4387

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 1, 2, and 3

105 CMR 451.123*	Maintenance: Ceiling dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 1 out-of-order

Cells

No Violations Noted

Unit 4-3

Common Area

No Violations Noted

Kitchenette

No Violations Noted

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-6

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, and 5

105 CMR 451.123*	Maintenance: Walls dirty, possible mold/mildew in shower # 2

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 7-12

105 CMR 451.123*	Maintenance: Light out in shower # 11

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 9 out-of-order

Storage Room # 4283

Unable to Inspect – Locked

Cells

No Violations Noted

Unit 4-4 Video Court Rooms

Holding Cells

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vents dusty

Slop Sink Closet # 4130

No Violations Noted

Staff Bathroom

No Violations Noted

CGI

105 CMR 451.350	Structural Maintenance: Exterior door not rodent and weathertight

Officer Station

No Violations Noted

Office

Unable to Inspect – Locked

Industries

No Violations Noted

Slop Sink Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1370F at handwash sink

105 CMR 451.123	Maintenance: Lights out

Staff Bathroom

No Violations Noted

Maintenance

Bathroom # 5166

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Ceiling access panel not secured

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Floor paint damaged in shower

Bathroom # 5163

No Violations Noted

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Laundry/Slop Sink # 5162

No Violations Noted

Break Area

No Violations Noted

BUILDING # 5

Food Service Area

The following food code violations listed in BOLD were observed to be corrected on-site.

Section 1

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged throughout kitchen

Inmate Locker Room

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Slop Sink Room

No Violations Noted

Chemical Storage

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Mechanical Warewashing Area

No Violations Noted

Pot Wash Area

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

Pot Wash Handwash Sink

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, drain flies observed

Tray Rack Area

No Violations Noted

Tray Area Handwash Sink

FC 3-304.14(B)(1) 	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Wet cloth not completely submerged in sanitizer solution

FC 7-204.11(A)	Operational Supplies and Applications, Chemicals: Sanitizer for food-contact surface does not meet the requirements specified in 40 CFR 180.940P, sanitizing concentration too strong

Section 2

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

Kettle Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

Handwash Sink

FC 6-301.12(A)	Numbers and Capacity; Handwashing Sinks: No hand drying method available at handwashing sinkPf

Prep Table/Sink

No Violations Noted

Pot/Pan Storage Room

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on bottom tier of shelving where clean equipment and utensils are stored

Officer’s Office

No Violations Noted

Chef’s Office

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles missing

Section 3

Stove Top Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed behind equipment

Section 4

Ice Machines

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 1 ice machine out-of-order

Refrigerator # 1

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

Refrigerator # 2

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

Refrigerator # 3

No Violations Noted

Freezer # 4

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor surface damaged at entrance

Prep-Table

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, table rusted

Ovens

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 5 ovens out-of-order

Section 5

Special Diet Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on hold holding unit # 2

Dry Storage Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along perimeter of room and on shelving units

Loading Dock

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

Commissary

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

Staff Bathroom # 5152

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling vent dusty

Section 6

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Left side garage door not weathertight and rodent proof

Refrigerator # 6

No Violations Noted

2-Compartment Sink Area

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking

Prep-Refrigerators and Tray Assembly Line

No Violations Noted

Staff Food Line

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, hot holding unit unable to fully close

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along wall

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet loose on handwash sink

FC 5-205.11(B)	Plumbing System, Operations and Maintenance: Handwashing sink used for an unapproved purposePf, food debris in handwashing sink

Staff Dining Room

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weather tight and 	rodent proof

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on milk refrigerator

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along wall

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, door handle damaged on Turbo Air refrigerator

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

Culinary Arts Kitchen

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weather tight and 	rodent proof

Tool Storage

No Violations Noted

Handwash sink

No Violations Noted

Coolers and Freezers

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination, ready-to-eat foods not appropriately separated from raw foods, eggs stored above milk cartons

Steam Kettle Area

No Violations Noted

Hoods

No Violations Noted

Prep Tables and Sinks

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirtyPf, can opener dirty

3-Compartment Sink

No Violations Noted

Warewash Machine

No violations Noted

Slop Sink

No Violations Noted

Handwash Sink

No Violations Noted

Bathroom

No Violations Noted

Classroom Section

No Violations Noted

Gym

105 CMR 451.353*	Interior Maintenance: Lights not functioning properly

Bathroom # 5204

No Violations Noted

Staff Bathroom # 5207

105 CMR 451.123*	Maintenance: Ceiling water damaged

Slop Sink Closet # 5203

No Violations Noted

Automotive Garage

No Violations Noted

Engineering

No Violations Noted

BUILDING # 6

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight at entrance to

Health Services

Health Services Medical Area

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Exam Room # 1 3172

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Exam Room # 2 3134

No Violations Noted

Exam Room # 3 3171

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Exam Room # 4 3133

No Violations Noted

Exam Room # 5

Unable to Inspect – In Use

File Room # 6226

No Violations Noted

Inmate Bathroom # 6229

105 CMR 451.123	Maintenance: Light out

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Medication Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Lab Room # 6268

No Violations Noted

Office # 6267

No Violations Noted

Office # 6264

No Violations Noted

X-Ray Room # 6265

No Violations Noted

Director of Nursing Office # 6263

105 CMR 480.500(B)          	Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment, missing log entry for December 20, 2021 shipment

105 CMR 480.500(A)        	Procedures; Records; Record-Keeping Log: Generator had no written procedures for maintaining compliance with 480.000

Dental Exam Room # 6261

No Violations Noted

Dental Storage Closet # 6262

No Violations Noted

Medical Unit

Recreation Room # 6258

105 CMR 451.200*                	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Kitchenette # 6256

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Isolation Cells

105 CMR 451.350		Structural Maintenance: Ceiling water damaged in cell # 5

Isolation Handwash Sink

No Violations Noted

Office # 6254

No Violations Noted

Storage Room # 6253

No Violations Noted

Storage Room # 6252

105 CMR 451.353*		Interior Maintenance: Floor tiles damaged

Medical Waste/Biohazard Storage # 6250

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling dirty

Staff Bathroom # 6247

No Violations Noted

Chemical Storage Room # 6248

No Violations Noted

Inmate Property # 6246

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Floor epoxy damaged at entrance to shower # 2 and 3

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 2

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 3

Staff Lounge # 6236

No Violations Noted

Staff Bathroom # 6237

No Violations Noted

Cells

105 CMR 451.353		Interior Maintenance: Ceiling vent dusty in cell # 2 and 19

105 CMR 451.353*		Interior Maintenance: Ceiling vent dusty in cell # 10, 11, 13, 15, 16, and 17

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell # 10

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged # 8

105 CMR 451.353	Interior Maintenance: Wall paint damage in cell # 18

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 2, 7, and 19

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 9, 10, and 15

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 13

105 CMR 451.353*		Interior Maintenance: Floor tiles missing in cell # 17

Booking Area

Holding Cell # 6105

No Violations Noted

Hallway

No Violations Noted

Male Property Room # 6106

No Violations Noted

Male Changing Room # 6109

No Violations Noted

Old Shower Room # 6111

No Violations Noted

Slop Sink # 6110

No Violations Noted

Medical Intake Office

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Medical Bathroom # 6136

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Transportation Office

105 CMR 451.200*                 	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive condensation in the bottom drawer of refrigerator

Male Holding Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged above bathroom in cell # 10

Sally Port

No Violations Noted

Control

No Violations Noted

Storage Room # 6132

105 CMR 451.360	Protective Measures: Rodent droppings observed

Break Room # 6131

No Violations Noted

Staff Bathroom # 6135

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Room # 6137

No Violations Noted

Female Property Room # 6139

No Violations Noted

Female Changing Room # 6138

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Female Holding Cells

No Violations Noted

Female Property Office

No Violations Noted

BUILDING # 7

Vehicle Trap

1st Floor

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

No Violations Noted

BUILDING # 8

105 CMR 451.353*		Interior Maintenance: Door and door frame rusted at entrance

1st Floor - Unit 8-1

Unable to Inspect – Quarantine/Isolation Unit

2nd Floor - Unit 8-2

Unable to Inspect – Quarantine/Isolation Unit

3rd Floor - Unit 8-3

Staff Area

Staff Bathroom # 8-306

No Violations Noted

Storage # 8-314

No Violations Noted

Property # 8-311

No Violations Noted

Electrical # 8-326

No Violations Noted

Offices

No Violations Noted

Common Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, right side water fountain out-of-order

105 CMR 451.353*	Interior Maintenance: Wall vent dusty outside room # 8-316

Office # 8-307

No Violations Noted

Recreation Room # 8-315

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Recreation Room # 8-316

No Violations Noted

Recreation Room # 8-317

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Uniform Storage # 8-319

No Violations Noted

Storage # 8-318 A

No Violations Noted

Storage # 8-318 B

No Violations Noted

Laundry Area

105 CMR 451.353*	Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353*	Interior Maintenance: Excessive lint and debris observed behind washer and dryer

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, washer # 2 out-of-order

Housing Area

Slop Sink Room # 8-323

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Inmate Bathroom # 8-322

105 CMR 451.123*	Maintenance: Wall vent dusty above showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, 4, and 5

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty in stall # 1

Inmate Bathroom # 8-321

105 CMR 451.123*	Maintenance: Wall vent dusty above showers

105 CMR 451.123*	Maintenance: Toilet # 1 rusted

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty in stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Shower curtain missing at shower # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, insufficient water pressure at

shower # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 5 out-of-order

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking at shower # 4

105 CMR 451.126	Hot Water: Hot water temperature recorded at 910F at handwash sink # 1

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1010F at shower # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink # 7

Cells

No Violations Noted

4th Floor - Unit 8-4

Staff Area

Staff Bathroom

No Violations Noted

Offices

No Violations Noted

Supply Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Property

No Violations Noted

Common Area

Computer Room # 8-414

No Violations Noted

Laundry

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

TV Room # 8-415

105 CMR 451.353	Interior Maintenance: Wall damaged near windows

TV Room # 8-416

No Violations Noted

Recreation Room # 8-417

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Closet # 8-418A

No Violations Noted

Mop Closet # 8-418B

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Housing Area

Slop Sink Closet # 8-423

No Violations Noted

Bathroom # 8-421

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 810F at handwash sink # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 5

105 CMR 451.123	Maintenance: Light out

Bathroom # 8-422

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, 4, and 5

105 CMR 451.123*	Maintenance: Lights out

105 CMR 451.123	Maintenance: Wall water damaged above handwash sinks

105 CMR 451.123	Maintenance: Ceiling water damaged above handwash sinks

105 CMR 451.123	Maintenance: Ceiling water damaged above showers

105 CMR 451.123	Maintenance: Wall water damaged above toilet # 2

105 CMR 451.123	Maintenance: Wall vent dusty above showers

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 2 and 13

Observations and Recommendations

- The inmate population was 612 at the time of inspection.

- Housing Unit 8-1 and Unit 8-2 the COVID-19 quarantine/isolation areas. There were 16 inmates housed in Unit 8-1 and 13 inmates housed in Unit 8-2.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH