The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE

Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

July 14, 2021

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118		(electronic copy)

Re: Facility Inspection – Suffolk County House of Correction, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of Suffolk County House of Correction on June 29, 30, and July 1, 2021 accompanied by Sergeant John Fallon, Environmental Health and Safety/Fire Safety Officer and Captain Brian Reynolds, Support Service Supervisor. Violations noted during the inspection are listed below including 620 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Margret R. Cooke, Acting Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Thomas Turco, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

William Sweeney, Superintendent							(electronic copy)

John Fallon, EHSO/FSO		(electronic copy)

Brian Reynolds, Captain, Support Service Supervisor					(electronic copy)

Dan Prendergast, Principle Health Inspector, City of Boston Health Division 		(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# BUILDING # 1

11th Floor

# Staff Bathroom # 1142

No Violations Noted

# Classroom # 1145

No Violations Noted

Classroom # 1156

No Violations Noted

# Slop Sink Room # 1158

No Violations Noted

# Meeting Room

No Violations Noted

Program Area

Classroom # 1 1151

No Violations Noted

Classroom # 2 1153

No Violations Noted

# Caseworker’s Office # 1143

No Violations Noted

# Unit 1-11-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

# Showers

# 105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower # 1 and 2 leaking

# Bathroom

# No Violations Noted

# Laundry Area

# 105 CMR 451.353		Interior Maintenance: Dryer vent duct not connected properly

# Kitchenette

# 105 CMR 451.126		Hot Water: Hot water temperature recorded at 105°F at handwash sink

# Cells

# No Violations Noted

# Unit 1-11-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 2 and 3

105 CMR 451.123	Maintenance: Door frame rusted in shower # 1, 2, and 3

105 CMR 451.130	Hot Water: Shower water temperature recorded at 69°F in shower # 3

# Bathroom

Unable to Inspect - Not in Use

Laundry Area

No Violations Noted

Kitchenette

105 CMR 451.126	Hot Water: Hot water temperature recorded at 690F at handwash sink

105 CMR 451.200                	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of 2 microwave ovens dirty

Cells

No Violations Noted

10th Floor

10th Floor Visiting Room

No Violations Noted

# Room # 1053

No Violations Noted

# Room # 1054

No Violations Noted

# Room # 1059

No Violations Noted

# Offices

No Violations Noted

# Staff Bathroom # 1074

No Violations Noted

# Slop Sink Room # 1050

No Violations Noted

# Unit 1-10-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

# 105 CMR 451.123*	Maintenance: Door frame rusted in shower # 1, 2, and 3

# Kitchenette

No Violations Noted

# Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 8, 11, 13, and 14

105 CMR 451.103	Mattresses: Mattress damaged in cell # 13 and 14

# Unit 1-10-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Door frame rusted in shower # 2 and 3

105 CMR 451.130	Hot Water: Shower water temperature recorded at 64°F in shower # 3

# Kitchenette

No Violations Noted

Laundry Area

# 105 CMR 451.353		Interior Maintenance: Dryer vent not connected properly

# 105 CMR 451.353		Interior Maintenance: Excessive lint build-up observed behind dryer

Cells

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 13

# 105 CMR 451.103	Mattresses: Mattress damaged in cell # 6

# 105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 14

# Unit 1-10-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Cells

# No Violations Noted

# Shower
105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Soap scum on walls

# Caseworker’s Office

No Violations Noted

# Unit 1-10-4 Women’s Infirmary Area

# 105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Supply Closet

# No Violations Noted

# Exam Room

# No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

9th Floor

# Staff Bathroom # 944

# 105 CMR 451.123*	Maintenance: Ceiling vent dusty

# 105 CMR 451.123*	Maintenance: Floor paint damaged

# Slop Sink # 956

No Violations Noted

# Recreation Deck # 940

# 105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

# Programs/Education Offices

No Violations Noted

# Unit 1-9-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

Laundry Area

# No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

# 105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 1, 2, and 3

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 800F in shower # 2

# Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Kitchenette

# 105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8, 9, and 15

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 15

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 15

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 9

105 CMR 451.103	Mattresses: Mattress damaged in cell # 13

# Unit 1-9-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.130	Hot Water: Shower water temperature recorded at 80°F in shower # 3

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 3

# Closet

# 105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

# Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 650F at handwash sink

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

# 105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2, 4, 5, 6, 7, 8, 9, 10, 11, 12, 14,

15, and 16

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 13

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet push button leaking in cell # 4

8th Floor

Offices

No Violations Noted

# Slop Sink # 848

No Violations Noted

# Unit 1-8-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Laundry Area

No Violations Noted

# Utility Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

# Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 910F in shower # 3

# Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 3, 4, 5, 6, 7, 8, 9, and 13

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 4

# Unit 1-8-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Kitchenette

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

# 105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

105 CMR 451.200              	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Laundry Area

No Violations Noted

Utility Closet

# No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-3

Cells

105 CMR 451.353*		Interior Maintenance: Floor paint damaged in cell # 5, 7, 8, and 10

105 CMR 451.353		Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 6, 9, 11, 12, 13, 14,

15, and 16

105 CMR 451.353		Interior Maintenance: Wall water damaged above window in cell # 4 and 5

105 CMR 451.103		Mattresses: Mattress damaged in cell # 14

7th Floor (Office Space)

# Slop Sink Room # 755

No Violations Noted

Parole Office

No Violations Noted

Gang Intelligence Unit Office

Unable to Inspect – Locked

6th Floor

Case Worker’s Office # 645

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

6th Floor Meeting Room and Dining Hall

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed on window sills

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Unit 1-6-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 32

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty outside cell # 16

# 105 CMR 451.353		Interior Maintenance: Wall paint damaged near phones

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Upper Cells

# 105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 19, 20, 22, 23, 24, 26, 27, 29, 30,

# 31, and 32

# 105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 27

# Upper Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 1-3

# 105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 3

# Lower Cells

# 105 CMR 451.103	Mattresses: Mattress damaged in cell # 14 and 16

# 105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 3, 4, 5, 6, 7, 9, 10, and 11

# Lower Laundry Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

# Storage Closet # 634

No Violations Noted

# Lower Shower Area

# 105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

# 105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 3

# 105 CMR 451.123	Maintenance: Door frame rusted in shower # 1-3

# Recreation Deck

105 CMR 451.353*	Interior Maintenance: Walls dirty

# Unit 1-6-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 1 and 17

105 CMR 451.353	Interior Maintenance: Baseboard damaged near phones

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1010F at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Upper Storage Closet

No Violations Noted

Upper Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, and 31

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, and 32

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 32

Upper Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 2

105 CMR 451.123	Maintenance: Door frame rusted in shower # 1-3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

Lower Laundry

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Lower Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, and 16

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 2, 4, 7, 8, 10, 12, 14, and 16

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 12

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 3 and 6

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 6, 9, and 15

Lower Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.123		Maintenance: Door frame rusted in cell # 1-3

Staff Bathroom # 656

105 CMR 451.123*	Maintenance: Floor paint damaged

Slop Sink Closet

No Violations Noted

5th Floor

Slop Sink Room # 563

No Violations Noted

5th Floor Custody

Bathroom # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Bathroom # 2

No Violations Noted

Kitchenette

No Violations Noted

Unit 1-5-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16

Utility Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123*		Maintenance: Shower push button cover missing in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.123*		Maintenance: Door frame rusted in shower # 1-3

105 CMR 451.123		Maintenance: Wall damaged around push button in shower # 1

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Handwash sink dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet damaged and leaking at handwash sink

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 5, 6, 7, 8, 9, 11, and 16

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 5, 6, 11, 12, and 13

Classrooms

No Violations Noted

Library

No Violations Noted

Unit 1-5-2

Control

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Door frame rusted

Common Area

No Violations Noted

Kitchenette

No Violations Noted

Dorm Room

No Violations Noted

Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Unit 1-5-2 A

Office # 566

No Violations Noted

Shower

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Ceiling vent dusty

Slop Sink Closet

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 4, 5, 6, and 7

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 5

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 2

4th Floor

Hallway

No Violations Noted

Staff Bathroom # 445

105 CMR 451.353	Interior Maintenance: Floor surface damaged

Slop Sink # 454

No Violations Noted

SERT Office

No Violations Noted

Utility Room

No Violations Noted

Visiting Area

No Violations Noted

Unit 1-4-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123	Maintenance: Door frame rusted in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working at

handwash sink

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 15

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 3, 4, 7, and 12

Recreation Deck

No Violations Noted

Unit 1-4-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 1

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 2

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 670F at handwash sink

105 CMR 451.200                 	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 4, 5, 6, and 14

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 1

105 CMR 451.103	Mattresses: Mattress damaged in cell # 6 and 11

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, and 10

3rd Floor

Slop Sink Room # 371

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Non-Contact Visiting Area # 355

No Violations Noted

Supervisor’s Office

No Violations Noted

Report Writing Office

No Violations Noted

Captain’s Office

Unable to Inspect – Locked

Disciplinary Office

Unable to Inspect – Locked

Unit 1-3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 16

105 CMR 451.353	Interior Maintenance: Handwash sink dirty

Room # 333 and 334

No Violations Noted

Storage Room # 336

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Staff Bathroom # 337

105 CMR 451.353	Interior Maintenance: Light shield damaged

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2, 3, 4, 5, 7, 8, 9, 11, 12, 13,

14, and 16

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 4, 7, and 13

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 14

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 10 and 12

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 15

105 CMR 451.130	Hot Water: Shower water temperature recorded at 120°F in cell # 11

105 CMR 451.103	Mattresses: Mattress damaged in cell # 11, 13, and 14

Recreation Room

No Violations Noted

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Unit 1-3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Staff Bathroom # 360

105 CMR 451.123	Maintenance: Wet mop stored in bucket

Storage Closet # 361

No Violations Noted

Recreation Room # 368

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.123*	Maintenance: Mold growth observed on ceiling in shower # 2

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1200F in shower # 3

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 1

105 CMR 451.123	Maintenance: Mold growth observed on door frame and walls in shower # 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, and 16

105 CMR 451.353*		Interior Maintenance: Wall vent blocked in cell # 2, 3, 4, and 9

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 10

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 7

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged in cell # 5, 11, 12, and 14

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 6, 7, 8, 10, 13, 14, and 15

105 CMR 451.103	Mattresses: Mattress damaged in cell # 6

2nd Floor

Office # 240

No Violations Noted

Staff Bathroom # 242

No Violations Noted

Office Area

No Violations Noted

Attorney Rooms

No Violations Noted

Main Visiting

No Violations Noted

Checkpoint

No Violations Noted

Mental Health Office # 260

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Staff Bathroom # 263

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123		Maintenance: Ceiling vent dusty

Chapel # 170

No Violations Noted

Mosque # 269

No Violations Noted

Slop Sink Room # 271

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Unit 1-2-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Slop Sink Room # 229

No Violations Noted

Closet # 236

No Violations Noted

Storage Room # 20

No Violations Noted

Bathroom # 230

105 CMR 451.123*	Maintenance: Floor dirty in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty above toilets

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 760F at handwash sink # 4

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1250F in shower # 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 2

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 2 out-of-order

Day Room

No Violations Noted

Bathroom # 235

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3 and 4

105 CMR 451.123*	Maintenance: Ceiling vents dusty

105 CMR 451.123*	Maintenance: Sprinkler shroud missing above toilets

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 2

105 CMR 451.123*	Maintenance: Light out in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 out-of-order

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 15, 16, and 25

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 30

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell # 24, 27, 28, and 29

105 CMR 451.103	Mattresses: Mattress damaged in cell # 22

Workout Room # 21

No Violations Noted

Laundry Room

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

TV Area

No Violations Noted

1st Floor

# Lobby Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

# Male Bathroom # 139

# No Violations Noted

# Female Bathroom # 140

No Violations Noted

Lower Administration

Break Area

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Central Control

No Violations Noted

Central Control Bathroom

No Violations Noted

Community Work Program

105 CMR 451.321*	Cell Size: Inadequate floor space in all rooms

Control Desk

No Violations Noted

Supply Closet

No Violations Noted

Staff Bathroom # 121

No Violations Noted

Computer Room # 122

No Violations Noted

Office # 123

No Violations Noted

Common Area

No Violations Noted

Serving Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1390F

Uniform Closet

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Sergeant’s Office # 129

No Violations Noted

Slop Sink # 125

105 CMR 451.353*	Interior Maintenance: Sprinkler shroud missing

Laundry Room

105 CMR 451.353		Interior Maintenance: Floor paint damaged

TV Area

105 CMR 451.353*		Interior Maintenance: Wall surface damaged near phones

Shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Sprinkler shroud missing

105 CMR 451.123*	Maintenance: Ceiling epoxy damaged

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower control loose

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Shower # 2

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Sprinkler shroud missing

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1200F

Bathroom/Shower # 109

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Ceiling dirty

105 CMR 451.123	Maintenance: Floor paint damaged

105 CMR 451.123	Maintenance: Shower door frame damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet damaged

105 CMR 451.117	Toilet Fixtures: Urinal dirty

Bathroom # 2

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, right faucet leaking at handwash sink

Rooms

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in room # 5 and 7

BUILDING # 2

Staff Lounge

No Violations Noted

Vending Machines

No Violations Noted

Female Locker Room # 2109

No Violations Noted

Male Locker Room # 2110 and 2111

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Weight Room

No Violations Noted

Cardio Room

No Violations Noted

Locker Room # 2119

No Violations Noted

Janitor’s Closet # 2121

No Violations Noted

Administrative Staff Area

Male Bathroom # 2221

No Violations Noted

Female Bathroom # 2222

No Violations Noted

Kitchenette

No Violations Noted

BUILDING # 3

4th Floor

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor paint damaged

Unit 3-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Phone bases damaged

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty on top tier

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Case Worker’s Office

No Violations Noted

Handicapped Shower

No Violations Noted

Utility Closet

No Violations Noted

Lower Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain clogged

Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2, 3, 4, and 5

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, 3, 4, and 5

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 700F in shower # 3

105 CMR 451.123*	Maintenance: Drain flies observed in shower # 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2 and 4

105 CMR 451.123	Maintenance: Door frame rusted in shower # 1, 2, 3, 4, and 5

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 720F at handwash sink

Upper Laundry Area

No Violations Noted

Upper Shower Area

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 6, 7, 8, 9, and 10

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 6, 7, 8, 9, and 10

105 CMR 451.123*		Maintenance: Wall rusted in shower # 10

105 CMR 451.123*		Maintenance: Drain flies observed in shower # 7 and 8

105 CMR 451.123		Maintenance: Door frame rusted in shower # 6, 7, 8, 9, and 10

Slop Sink Room

No Violations Noted

Uniform Storage Room

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8, 15, 17, 18, 19, 20, 23, 28, 35, 40, 42, 43, and 46

105 CMR 451.353*		Interior Maintenance: Wall paint damaged in cell # 22

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 6, 30, 37, and 56

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, toilet leaking in cell # 17

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, handwash sink leaking in cell # 56

Unit 3-4

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*		Interior Maintenance: Door frame rusted at entrance

105 CMR 451.353*		Interior Maintenance: Wall paint damaged around phones

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Handicapped Shower # 3491

No Violations Noted

Closet # 3492

No Violations Noted

Staff Bathroom # 3494

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Case Worker’s Office # 349

105 CMR 451.353*		Interior Maintenance: Ceiling vent cover missing

Lower Laundry Area

105 CMR 451.353*		Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Door frame damaged in shower # 1-5

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F at handwash sink

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Walls dirty

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Upper Laundry Area

105 CMR 451.353*	Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

Upper Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 7, 9, and 10

105 CMR 451.123	Maintenance: Door frame damaged in shower # 6-10

105 CMR 451.123		Maintenance: Ceiling vent dusty in shower # 6, 8, and 9

105 CMR 451.123		Maintenance: Shower curtain missing in shower # 8

105 CMR 451.123		Maintenance: Ceiling vent cover missing in shower # 7 and 10

105 CMR 451.123		Maintenance: Ceiling dirty in shower # 9 and 10, possible mold/mildew

Slop Sink Room # 3582

No Violations Noted

Uniform Storage # 3581

105 CMR 451.353*		Interior Maintenance: Floor paint damaged

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 12, 15, 20, 44, and 46

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 6, 8, 10, 11, 12, 13, 15, 20, 22, 23, 30, 31, 39, 43, and 45

105 CMR 451.353		Interior Maintenance: Wall paint damaged in cell # 14

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged in cell # 41 and 64

105 CMR 451.113	Toilet and Handwashing Sink in Locked Cells: No hot and cold running water in locked cell # 41

3rd Floor

Office # 3375

No Violations Noted

Office # 3377

105 CMR 451.353*		Interior Maintenance: Ceiling water stained

Staff Bathroom # 3378

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Floor paint damaged

Chemical Storage # 3380

No Violations Noted

Case Worker’s Office # 3382

No Violations Noted

Office # 3383

No Violations Noted

2nd Floor

Staff Bathroom # 3278 and 3470

No Violations Noted

Unit 3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Phone bases damaged

Case Worker’s Office # 3269

105 CMR 451.353*		Interior Maintenance: Ceiling vent cover missing

Staff Bathroom # 3270

No Violations Noted

Closet # 3265

No Violations Noted

Handicapped Shower Unit # 3266

No Violations Noted

Laundry Storage # 3366

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall dirty behind washer and dryer units

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

105 CMR 451.353	Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3 and 4

105 CMR 451.123*		Maintenance: Dead drain flies observed on ceiling in shower # 1 and 3

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 5

105 CMR 451.123		Maintenance: Dead drain flies observed on ceiling in shower # 2, 4, and 5

105 CMR 451.123		Maintenance: Soap scum on walls in shower # 5

105 CMR 451.123		Maintenance: Soap scum on floor in shower # 1-5

105 CMR 451.123		Maintenance: Drain flies observed in shower # 5

105 CMR 451.130		Hot Water: Shower water temperature recorded at 1170F in shower # 5

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Floor tiles missing

Upper Laundry Area

No Violations Noted

Slop Sink # 3365

No Violations Noted

Upper Shower Area

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 8 and 10

105 CMR 451.123*		Maintenance: Floor dirty in shower # 6

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 8, 9, and 10

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 14, 29, 30, 62, and 63

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in cell # 33

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 3

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 6, 10, 21, 50, 54, 56, 57, 58, and 59

105 CMR 451.353	Interior Maintenance: Door hardware damaged in cell # 25

Recreation Deck 3-1 and 3-2

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Unit 3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353	Interior Maintenance: Phone bases damaged

105 CMR 451.353	Interior Maintenance: Floor tiles damaged on top tier

Staff Bathroom # 3296

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Storage Room # 3392

No Violations Noted

Handicapped Shower # 3293

No Violations Noted

Slop Sink Room # 3294

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall dirty behind dryer

105 CMR 451.353		Interior Maintenance: Excessive lint build-up observed behind dryer

Lower Shower Area		Unable to Inspect Shower # 3 – In Use

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 1 and 4

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 1, 2, 4, and 5

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1180F in shower # 5

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 5

105 CMR 451.123		Maintenance: Door frame damaged in shower # 1-5

105 CMR 451.123		Maintenance: Ceiling dirty in shower # 4, possible mold/mildew

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Upper Laundry Area

No Violations Noted

Upper Shower Area		Unable to Inspect shower # 10 – In Use

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 6, 7, 8, and 9

105 CMR 451.123*		Maintenance: Floor dirty and covered with paint chips in shower # 6, 7, 8, and 9

105 CMR 451.123		Maintenance: Ceiling vent dusty in shower # 6, 7, 8, and 9

Slop Sink Room # 3393

105 CMR 451.353		Interior Maintenance: Standing water observed in mop bucket

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 35, 44, and 49

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 22, 25, 46, and 55

105 CMR 451.350		Structural Maintenance: Ceiling water damaged in cell # 16, 23, and 24

Recreation Deck

105 CMR 451.353*		Interior Maintenance: Floor paint damaged

105 CMR 451.353*		Interior Maintenance: Wall paint damaged

1st Floor

Education Area

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling tiles water damaged in hallway

105 CMR 451.353*		Interior Maintenance: Ceiling vent dusty outside inmate bathroom

Classrooms

No Violations Noted

Library # 3149

No Violations Noted

Staff Bathroom # 3142

105 CMR 451.123		Maintenance: Floor paint damaged

Inmate Bathroom # 3162

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, toilet leaking

105 CMR 451.123		Maintenance: Floor paint damaged

Inmate Legal Services

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, plastic utensils left uncovered and open to contamination

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Office Area # 3131

No Violations Noted

Office Staff Bathroom # 3126

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Law # 3166

No Violations Noted

Canteen

105 CMR 451.350	Structural Maintenance: Garage door not rodent and weathertight

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed on floor

Canteen Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle observed

Main Laundry

Hallway

105 CMR 451.350*	Structural Maintenance: Door leading to the exterior not rodent and weathertight

105 CMR 451.353*		Interior Maintenance: Ceiling tiles water damaged

Office

No Violations Noted

Storage # 3184

No Violations Noted

Laundry Area

No Violations Noted

2-Compartment Sink

No Violations Noted

Handwash Sink

No Violations Noted

Bathroom # 3181

No Violations Noted

Storage # 3182

No Violations Noted

BUILDING # 4

105 CMR 451.350*	Structural Maintenance: Main entrance not rodent and weathertight

Dining Hall # 4137

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Unit 4-1

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1-6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

Storage # 4265

No Violations Noted

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 7-12

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 7-12

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 10

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 9

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 7 and 9, possible mold/mildew

105 CMR 451.123	Maintenance: Door frame damaged in shower # 7-12

Storage # 4364

No Violations Noted

Cells

No Violations Noted

Unit 4-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

1st Tier Bathroom # 4257 and 4268

105 CMR 451.123*	Maintenance: Urinal # 1-3 dirty

105 CMR 451.123	Maintenance: Ceiling dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 3 out-of-order

Slop Sink Closet (inside bathroom)

105 CMR 451.123	Maintenance: Door rusted

1st Tier Bathroom # 4285 and 4275

105 CMR 451.123*	Maintenance: Wall dirty under sinks

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Urinal # 1-3 dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 2 out-of-order

Slop Sink Closet (inside Bathroom # 4285 and 4275)

No Violations Noted

Room # 4272

No Violations Noted

TV Room # 4273

No Violations Noted

Laundry Area

No Violations Noted

Handicapped Shower # 4274

105 CMR 451.123*	Maintenance: Floor dirty

Uniform Storage # 4249

No Violations Noted

Room # 4250

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Room # 4251

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Room # 4252

No Violations Noted

Staff Bathroom # 4254

No Violations Noted

Handicapped Shower # 4256

No Violations Noted

Laundry Area

No Violations Noted

Office # 4270 and 4271

No Violations Noted

2nd Tier Utility Room # 4388

No Violations Noted

2nd Tier Utility Room # 6123

No Violations Noted

Storage Room # 4353

No Violations Noted

Storage Room # 4369

No Violations Noted

2nd Tier Bathroom # 4366 and 4354

105 CMR 451.123*	Maintenance: Urinal # 1-3 dirty

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 1

105 CMR 451.123	Maintenance: Rodent droppings observed on floor along walls

Slop Sink Closet (inside bathroom)

No Violations Noted

2nd Tier Bathroom # 4374 and 4387

105 CMR 451.123*	Maintenance: Urinal # 2 dirty

105 CMR 451.123*	Maintenance: Ceiling dirty

105 CMR 451.123	Maintenance: Urinal # 1 and 3 dirty

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 4

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 2

Unit 4-3

Common Area

No Violations Noted

Kitchenette

No Violations Noted

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1, 2, 3, 4, and 5

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, and 5

105 CMR 451.123	Maintenance: Walls dirty in shower # 2, possible mold/mildew

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 6

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 7, 8, 9, 10, 11, and 12

105 CMR 451.123*	Maintenance: Light out in shower # 11

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 9 out-of-order

Storage Room # 4283

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 6

Unit 4-4 Video Court Rooms

Holding Cells

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123	Maintenance: Ceiling vents dusty

Slop Sink Closet # 4130

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Staff Bathroom

No Violations Noted

CGI

Officer Station

No Violations Noted

Office

No Violations Noted

Industries

No Violations Noted

Slop Sink Closet

No Violations Noted

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1370F at handwash sink

Inmate Bathroom

No Violations Noted

Maintenance

Bathroom # 5166

No violations Noted

Bathroom # 5163

No Violations Noted

Kitchenette

No Violations Noted

Laundry/Slop Sink # 5162

No Violations Noted

Break Area

No Violations Noted

BUILDING # 5

Food Service Area

The following food code violations listed in BOLD were observed to be corrected on-site.

Section 1

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged throughout kitchen

Inmate Locker Room

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling vent dusty

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet loose at handwash sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, floor drain clogged

Slop Sink Room

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored in bucket

Chemical Storage

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Staff Bathroom

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Mechanical Warewashing Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged

Pot Wash Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sprayer head dirty

Pot Wash Handwash Sink

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, ants observed on handwash sink

Tray Rack Area

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, mouse observed

Tray Area Handwash Sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking at handwash sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, insufficient water pressure at handwash sink

Section 2

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

Kettle Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

Handwash Sink

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Facilities on the Premises: No trash provided at handwash sink

Prep Table/Sink

FC 4-601.11(A)			Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, can

opener dirtyPf

Pot/Pan Storage Room

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall paint damaged

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

FC 4-901.11(A)	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry before contact with food, metal trays stacked wet

Officer’s Office

FC 4-204.112(B)	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device, no thermometer inside refrigerator

Chef’s Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils, Frequency: Interior of microwave oven not cleaned every 24 hours, interior of microwave oven dirty

Section 3

Stove Top Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed behind equipment

Section 4

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

Ice Machines

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 2 ice machines out-of-order

Refrigerator # 1

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

Refrigerator # 2

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on floor

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty

Refrigerator # 3

No Violations Noted

Freezer # 4

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor surface damaged at entrance

Prep-Table

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, table rusted

Ovens

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 5 ovens out-of-order

Section 5

Special Diet Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on hold holding unit # 2

Dry Storage Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along perimeter of room

Loading Dock

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Left side garage door not weather and vermin tight

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored in bucket

Commissary

No Violations Noted

Staff Bathroom # 5152

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling vent dusty

Section 6

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weather and 	vermin tight

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

Refrigerator # 6

No Violations Noted

2-Compartment Sink Area

No Violations Noted

Prep-Refrigerators and Tray Assembly Line

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, door does not close easily on hot holding unit # 1

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, door does not close easily on hot holding unit # 3

Staff Food Line

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, hot holding unit unable to fully close

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along wall

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet loose on handwash sink

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested lower than recommended concentration

Staff Dining Room

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weather and 	vermin tight

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on milk refrigerator

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along wall

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, door handle damaged on Turbo Air refrigerator

Culinary Arts Kitchen

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weather and 	vermin tight

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

Tool Storage

No Violations Noted

Handwash sink

No Violations Noted

Coolers and Freezers

FC 4-601.11(C)	Cleaning of Equipment and Utensils, Objective: Nonfood contact surfaces of equipment dirty, gaskets moldy on freezer # 1 and 2

Steam Kettle Area

No Violations Noted

Hoods

No Violations Noted

Prep Tables and Sinks

No Violations Noted

3-Compartment Sink

No Violations Noted

Warewash Machine

No violations Noted

Slop Sink

No Violations Noted

Handwash Sink

No Violations Noted

Bathroom

No Violations Noted

Classroom Section

No Violations Noted

Gym

105 CMR 451.353	Interior Maintenance: Lights flickering

Bathroom # 5204

No Violations Noted

Staff Bathroom # 5207

105 CMR 451.123*	Maintenance: Ceiling water damaged

Slop Sink Closet # 5203

No Violations Noted

Automotive Garage

No Violations Noted

Engineering

No Violations Noted

BUILDING # 6

105 CMR 451.350*	Structural Maintenance: Exterior door not rodent and weathertight at entrance to

Health Services

Health Services Medical Area

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Exam Room # 1 3172

No Violations Noted

Exam Room # 2 3134

No Violations Noted

Exam Room # 3 3171

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Exam Room # 4 3133

No Violations Noted

File Room # 6226

No Violations Noted

Inmate Bathroom # 6229

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures damaged

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Ceiling vent dusty

Medication Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Office # 6269

No Violations Noted

Lab Room # 6268

No Violations Noted

Office # 6267

No Violations Noted

Office # 6264

No Violations Noted

X-Ray Room # 6265

No Violations Noted

Medical Director’s Office # 6263

No Violations Noted

Dental Exam Room # 6261

No Violations Noted

Dental Storage Closet # 6262

No Violations Noted

Medical Unit

Recreation Room # 6258

105 CMR 451.200                 	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Kitchenette # 6256

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Isolation Cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 5

105 CMR 451.353		Interior Maintenance: Ceiling vent dusty in cell # 3

105 CMR 451.353		Interior Maintenance: Floor paint damaged in cell # 3

Isolation Handwash Sink

No Violations Noted

Office # 6254

No Violations Noted

Storage Room # 6253

No Violations Noted

Storage Room # 6252

105 CMR 451.353*		Interior Maintenance: Floor tiles damaged

Medical Waste/Biohazard Storage # 6250

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling dirty

Staff Bathroom # 6247

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Chemical Storage Room # 6248

No Violations Noted

Inmate Property # 6246

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Floor epoxy damaged at entrance to shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain clogged in shower # 1

Staff Lounge

No Violations Noted

Staff Bathroom # 6237

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 9, 10, 15, 16, and 18

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 1, 3, 9, 10, 11, 13, 14, 15, 16, and 17

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in cell # 2, 6, 7, 8, 12, 18, and 19

105 CMR 451.353		Interior Maintenance: Floor tiles missing in cell # 12 and 17

Booking Area

Holding Cell # 6105

No Violations Noted

Hallway

No Violations Noted

Male Property Room # 6106

No Violations Noted

Male Changing Room # 6109

No Violations Noted

Old Shower Room # 6111

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Slop Sink # 6110

No Violations Noted

Medical Intake Office

No Violations Noted

Medical Bathroom # 6114

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Transportation Office

105 CMR 451.200                 	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Male Holding Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 2 and 3

Sally Port

No Violations Noted

Control

No Violations Noted

Storage Room # 6132

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged

Break Room # 6131

No Violations Noted

Staff Bathroom # 6135

105 CMR 451.123*		Maintenance: Ceiling vent dusty

Room # 6137

Unable to Inspect – Locked

Female Property Room # 6139

105 CMR 451.353		Interior Maintenance: Ceiling paint damaged

Female Changing Room # 6138

No Violations Noted

Female Holding Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 7

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 8

BUILDING # 7

Vehicle Trap

1st Floor

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

105 CMR 451.126	Hot Water: Hot water temperature recorded at 144°F at handwash sink

BUILDING # 8

105 CMR 451.353		Interior Maintenance: Door and door frame rusted at entrance

1st Floor - Unit 8-1

Staff Area

Staff Bathroom # 8-106

No Violations Noted

Electrical # 8-108

No Violations Noted

Property # 8-111

No Violations Noted

Offices

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in laundry area

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Video Court # 8-114

No Violations Noted

Office # 8-115

No Violations Noted

Staff Break Room # 8-116

No Violations Noted

Immigration Office # 8-117

No Violations Noted

Storage # 8-118 A

No Violations Noted

Storage # 8-118 B

No Violations Noted

Laundry Area

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed behind dryers

Housing Area

Slop Sink Room # 8-123

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Inmate Bathroom # 8-121

105 CMR 451.123*	Maintenance: Wall vent dusty above showers

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 720F at handwash sink # 6

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 1

105 CMR 451.123	Maintenance: Handwash sink # 6 and 7 dirty

Inmate Bathroom # 8-122

105 CMR 451.123*	Maintenance: Wall and ceiling water damaged near showers

105 CMR 451.123*	Maintenance: Soap scum on bench and floor in handicapped shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 2 and 6

105 CMR 451.123	Maintenance: Floor dirty

Cells

No Violations Noted

2nd Floor - Unit 8-2

Staff Area

Staff Bathroom # 8-206

No Violations Noted

Medical # 8-207

Unable to Inspect – Locked

Property # 8-211

No Violations Noted

Medical # 8-212

No Violations Noted

Electrical # 8-226

No Violations Noted

Common Area

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed on floor along walls

Computer Room # 8-214

No Violations Noted

Recreation Room # 8-215

No Violations Noted

Recreation Room # 8-216

No Violations Noted

Recreation Room # 8-217

No Violations Noted

Uniform Storage # 8-219

No Violations Noted

Storage # 8-218 A

No Violations Noted

Storage # 8-218 B

No Violations Noted

Laundry Area

No Violations Noted

Housing Area

Inmate Bathroom # 8-221

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty in stall # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 1

Inmate Bathroom # 8-222

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123*	Maintenance: Wall surface damaged near entrance

Slop Sink # 8-223

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Cells

105 CMR 451.353*	Interior Maintenance: Wall and ceiling dusty around wall vent in cell # 5

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 1, 9, and 11

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 2

3rd Floor - Unit 8-3

Staff Area

Staff Bathroom # 8-306

No Violations Noted

Storage # 8-314

No Violations Noted

Property # 8-311

No Violations Noted

Electrical # 8-326

No Violations Noted

Offices

No Violations Noted

Common Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, right side water fountain out-of-order

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Computer Room # 8-307

No Violations Noted

Recreation Room # 8-315

No Violations Noted

Recreation Room # 8-316

No Violations Noted

Recreation Room # 8-317

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Uniform Storage # 8-319

No Violations Noted

Storage # 8-318 A

No Violations Noted

Storage # 8-318 B

No Violations Noted

Laundry Area

105 CMR 451.353*	Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353*	Interior Maintenance: Excessive lint and debris observed behind washer and dryer

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Housing Area

Slop Sink Room # 8-323

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Inmate Bathroom # 8-322

105 CMR 451.123*	Maintenance: Wall vent dusty above showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 1

Inmate Bathroom # 8-321

105 CMR 451.123*	Maintenance: Wall vent dusty above showers

105 CMR 451.123*	Maintenance: Toilet # 1 rusted

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty in stall # 2

105 CMR 451.123*	Maintenance: Shower curtain missing at shower # 3

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty in stall # 1 and 3

105 CMR 451.123	Maintenance: Shower curtain missing at shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, insufficient water pressure at

shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking at shower # 4

Cells

No Violations Noted

4th Floor - Unit 8-4

Staff Area

Staff Bathroom

No Violations Noted

Offices

No Violations Noted

Supply Room

No Violations Noted

Property

No Violations Noted

Common Area

Computer Room # 8-414

No Violations Noted

TV Room # 8-415

No Violations Noted

TV Room # 8-416

No Violations Noted

Recreation Room # 8-417

No Violations Noted

Closet # 8-418A

No Violations Noted

Mop Closet # 8-418B

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Housing Area

Slop Sink Closet # 8-423

No Violations Noted

Bathroom # 8-421

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 910F at handwash sink # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 5

Bathroom # 8-422

105 CMR 451.123	Maintenance: Lights out

105 CMR 451.123	Maintenance: Wall water damaged above handwash sinks

105 CMR 451.123	Maintenance: Ceiling leaking above handwash sinks

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 2 and 13

Observations and Recommendations

- The inmate population was 690 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH