The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Climate and Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 508-454-0870

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

November 27, 2023

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118		(electronic copy)

Re: Facility Inspection – Suffolk County House of Corrections, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of Suffolk County House of Corrections on November 14, 15, and 16, 2023 accompanied by Seargent John Fallon and Officer Tyler Crocker, Environmental Health and Safety Officers. Violations noted during the inspection are listed below including 314 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Hannah LeBeau

Environmental Health Inspector, CSP, BCEH

cc: 	Robert Goldstein, MD, PhD, Commissioner, DPH

Nalina Narain, Director, BCEH

Steven Hughes, Director, CSP, BCEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

William Sweeney, Superintendent 		(electronic copy)

Sergeant John Fallon, EHSO/FSO		(electronic copy)

Daniel J. Prendergast, Assistant Commissioner, ISD/Health Division, City of Boston	(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# BUILDING # 1

11th Floor

# Staff Bathroom # 1142

No Violations Noted

# Classroom # 1145

No Violations Noted

Classroom # 1156

No Violations Noted

# Slop Sink Room # 1158

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no hot water supplied to slop

sink

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

# Office # 1143

Unable to Inspect – Locked

Program Area

Classroom # 1 1151

No Violations Noted

Classroom # 2 1153

No Violations Noted

# Meeting Room

Unable to Inspect – In Use

Offices

No Violations Noted

# Unit 1-11-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Shower curtain dirty in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3

continuously running

105 CMR 451.130	Hot Water: Shower water temperature recorded at 840F at shower # 3

# Bathroom

Unable to Inspect – Not Use

# Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353	Interior Maintenance: Outlet cover missing

# Supply Closet

105 CMR 451.353	Interior Maintenance: Ceiling access panel not secured shut

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

# Kitchenette

No Violations Noted

# Cells

105 CMR 451.353	Interior Maintenance: Handwash sink dirty in cell # 7

# Unit 1-11-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty outside cell # 1

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shroud missing around push button in shower # 2

# Bathroom

Unable to Inspect - Not Used

Laundry Area

No Violations Noted

Supply Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 2 leaking

105 CMR 451.353	Interior Maintenance: Mop stored upside down

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1060F at handwash sink

Cells

105 CMR 451.353		Interior Maintenance: Wall vent blocked in cell # 12, 13, 14, and 15

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 14

10th Floor

10th Floor Visiting Room # 1051

No Violations Noted

# Room # 1053

No Violations Noted

# Room # 1054

Unable to Inspect – Locked

# Room # 1059

No Violations Noted

# Offices

Unable to Inspect – Locked

# Staff Bathroom # 1074

No Violations Noted

# Slop Sink Room # 1050

No Violations Noted

# Unit 1-10-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty above phones

105 CMR 451.353	Interior Maintenance: Wall dirty around vent

# Showers

105 CMR 451.123	Maintenance: Floor dirty in shower # 2

105 CMR 451.123	Maintenance: Door rusted in shower # 2

# Shower # 1(Storage)

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

# Kitchenette

No Violations Noted

# Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 10

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 7, 9, 10, 12, 13, and 14

# Unit 1-10-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Showers 			Unable to Inspect Shower # 1 – In Use

# No Violations Noted

# Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 820F at handwash sink

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash

sink

Laundry Area

105 CMR 451.353*	Interior Maintenance: Floor dirty behind machines

Cells

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 10

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 11, 13, and 15

# Unit 1-10-4 Women’s Infirmary Area (MAT Program) (Unoccupied)

# Common Area

105 CMR 451.353	Interior Maintenance: Vent dirty above staff area

105 CMR 451.353	Interior Maintenance: Floor dirty throughout

105 CMR 451.353	Interior Maintenance: Caulking behind handwash sink dirty

# Supply Closet

No Violations Noted

# Exam Room

Unable to Inspect – Locked

Staff Bathroom

No Violations Noted

# Unit 1-10-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light out

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1, 3, 4, and 5

Shower

105 CMR 451.123	Maintenance: Soap scum on wall

# Caseworker’s Office #1038

No Violations Noted

9th Floor

# Staff Bathroom # 944

No Violations Noted

# Slop Sink # 956

105 CMR 451.353	Interior Maintenance: Debris in slop sink

# Recreation Deck # 940

105 CMR 451.353	Interior Maintenance: Floor paint damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

# Programs/Education Offices

No Violations Noted

# Unit 1-9-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Wall dirty around vent above TV

Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer duct damaged

105 CMR 451.353	Interior Maintenance: Floor behind laundry machines dirty

105 CMR 451.353	Interior Maintenance: Outlet faceplate damaged behind laundry machines

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123	Maintenance: Shower curtain dirty in shower # 1 and 3

105 CMR 451.123	Maintenance: Light out in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 continuously running

# Closet

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

Case Worker’s Office

Unable to Inspect – Locked

Kitchenette

# 105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at sink

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

# Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 2

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 9

# Unit 1-9-2 (Unoccupied)

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

# Closet

No Violations Noted

# Kitchenette

No Violations Noted

# Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 2

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 13

8th Floor

Offices

Unable to Inspect – Locked

# Slop Sink # 848

No Violations Noted

# Unit 1-8-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Kitchenette

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Water supply faceplate damaged behind washing machine

# Utility Closet # 834

105 CMR 451.353	Interior Maintenance: Mop stored on floor

# Showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged near light fixture in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 out-of-order

# Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 4

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 14 and 15

# Unit 1-8-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.353	Interior Maintenance: Wall dirty around vent

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty near cell # 1

# Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 590F at handwash sink

Laundry Area

No Violations Noted

Utility Closet

105 CMR 451.353	Interior Maintenance: Mops stored in buckets

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Showers

105 CMR 451.123*	Maintenance: Sprinkler shroud missing in shower # 3

105 CMR 451.123	Maintenance: Ceiling paint damage around vent in shower # 2

105 CMR 451.123	Maintenance: Door frame rusted in shower # 2

105 CMR 451.123	Maintenance: Debris on drain cover in shower # 3

105 CMR 451.123	Maintenance: Soap dispenser damaged in shower # 3

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2, 3, 6, 7, 10, 11, 12, 13, and 14

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2, 3, 7, and 10

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1, 8, 9, 15, and 16

Recreation Deck

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Light fixture not secured to ceiling

7th Floor (Office Space)

# Slop Sink Room # 755

105 CMR 451.360	Protective Measures: Drain flies observed

Parole Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, utensils not protected from contamination by being wrapped or inverted

Spectrum Office

No Violations Noted

Gang Intelligence Unit Office

Unable to Inspect – Locked

6th Floor

Case Worker’s Office # 645

105 CMR 451.360	Protective Measures: Rodent observed

6th Floor Meeting Room and Dining Hall

105 CMR 451.360*	Protective Measures: Rodent droppings observed on window sills and floor

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

# Unit 1-6-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

105 CMR 451.340	Illumination: Insufficient lighting, light out near cell # 29

105 CMR 451.353	Interior Maintenance: Floor damaged outside cell # 17

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty near recreation deck

Kitchenette

No Violations Noted

# Upper Cells

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, and 31

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 17

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 20, 21, 23, 24, 25, 27, 31, and 32

105 CMR 451.353	Interior Maintenance: Wall vent rusted in cell # 22

Upper Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Epoxy damaged on door frame of shower # 3

105 CMR 451.123*	Maintenance: Wall paint damaged near door frame in shower # 3

105 CMR 451.123	Maintenance: Shower curtain dirty in shower # 1 and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Light out in shower # 3

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in

shower # 2

# Lower Cells

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, and 16

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 6 and 14

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 5 and 7

# Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Floor dirty behind machines

105 CMR 451.353	Interior Maintenance: Water supply faceplate missing behind washing machine

# Storage Closet # 634

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

# Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking in shower # 1

105 CMR 451.123	Maintenance: Soap scum on wall in shower # 1

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 1

# Recreation Deck

No Violations Noted

# Unit 1-6-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, ceiling light out near cell # 14

105 CMR 451.353	Interior Maintenance: Wall dirty around vent near cell # 20

105 CMR 451.353	Interior Maintenance: Ceiling dirty above microwave

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water continuously

running at handwash sink

Upper Storage Closet # 757

No Violations Noted

Upper Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 17, 18, 20, 22, 23, 25, 26, 27, 28, and 31

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 17, 20, 23, 24, 25, 26, 27, 28, 30, and 31

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 17, 19, 24, 25, 26, 27, and 30

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 29

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 29

Upper Showers

No Violations Noted

Lower Laundry

No Violations Noted

Lower Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 2 and 14

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 7, 8, 9, 10, 11, 13, 14, and 15

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 9 and 14

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1, 2, 3, 4, 5, 6, 7, 8, and 11

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 9

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 9

Lower Showers

105 CMR 451.123	Maintenance: Shower curtain dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower # 2

105 CMR 451.123	Maintenance: Door frame rusted in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3

Staff Bathroom # 656

No Violations Noted

Slop Sink Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

5th Floor

Slop Sink Room # 563

No Violations Noted

5th Floor Custody

Bathroom # 1

No Violations Noted

Bathroom # 2

Unable to Inspect – In Use

Kitchenette

No Violations Noted

Unit 1-5-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Utility Closet # 540

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Shower curtain dirty in cell # 2

105 CMR 451.123	Maintenance: Light out in shower # 2

Kitchenette

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 7

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2, 6, 7, 8, 9, 12, and 13

Classrooms

105 CMR 451.360	Protective Measures: Rodent droppings observed in classroom # 581

Library

105 CMR 451.360	Protective Measures: Rodent droppings observed

Unit 1-5-2

Control

No Violations Noted

Slop Sink Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Staff Bathroom

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash

sink

Sleeping Area

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Door frame rusted

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged next to toilet fixture

105 CMR 451.123	Maintenance: Floor paint damaged

Kitchenette

No Violations Noted

Unit 1-5-2 A

Common Area

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Debris on shower floor

Cells

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 7

4th Floor

Hallway

No Violations Noted

Staff Bathroom # 445

No Violations Noted

Slop Sink # 454

No Violations Noted

SERT Office

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Ceiling ventilation grille/louver missing

Utility Room/Property

No Violations Noted

Visiting Room # 452

No Violations Noted

Unit 1-4-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty near cell # 16

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Debris on floor in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, push button missing from shower # 2

Shower # 3 (Storage)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water continuously running

in shower # 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.353	Interior Maintenance: Wall dirty around vent

105 CMR 451.353	Interior Maintenance: Floor dirty

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 8 and 10

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 7 and 12

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 14

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1, 2, 3, 4, 5, 6, 8, 9, 10, 13, 14,

15, and 16

105 CMR 451.103	Mattresses: Mattress damaged in cell # 14 and 15

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 13

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 11

Recreation Deck

105 CMR 451.353	Interior Maintenance: Debris on floor

Unit 1-4-2

Common Area

No Violations Noted

Storage Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Floor tile damaged

Shower Area

105 CMR 451.123	Maintenance: Walls dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Debris on floor in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 9, 10, and 13

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 16

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1, 2, 3, 4, 5, 6, 7, 8, 11, 12, 14,

15, and 16

105 CMR 451.353	Interior Maintenance: Outlet faceplate missing in cell # 1 and 6

3rd Floor

Slop Sink Room # 371

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

Non-Contact Visiting Area # 355

No Violations Noted

Supervisor’s Office

No Violations Noted

Report Writing Office # 347

No Violations Noted

Captain’s Office # 349

Unable to Inspect – Locked

Disciplinary Office # 350

Unable to Inspect – Locked

Unit 1-3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Room # 333 and 334

105 CMR 451.353	Interior Maintenance: Ceiling vent rusted in room # 334

105 CMR 451.353	Interior Maintenance: Ceiling damaged in room # 334

Storage Room # 336

105 CMR 451.353	Interior Maintenance: Unlabeled chemical container

Staff Bathroom # 337

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 3 and 6

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 2, 3, 4, 5, and 8

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 11 and 12

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 1, 2, 4, 5, 8, 9, 13, 14, and 15

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 4 and 14

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 5

Recreation Room

105 CMR 451.350	Structural Maintenance: Window damaged

Recreation Deck

No Violations Noted

Unit 1-3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Staff Bathroom # 360

No Violations Noted

Storage Closet # 361

No Violations Noted

Recreation Room # 368

No Violations Noted

Shower Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

105 CMR 451.123	Maintenance: Debris on floor in shower # 2 and 3

105 CMR 451.123	Maintenance: Door frame rusted in shower # 2 and 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 830F at handwash sink

Cells

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light fixture out

in cell # 3

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 1 and 4

105 CMR 451.353	Interior Maintenance: Standing water on floor in cell # 1

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2, 6, 8, 10, 12, 13, 14, 15, and 16

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 7

2nd Floor

Office # 240

No Violations Noted

Staff Bathroom # 242

105 CMR 451.123	Maintenance: Ceiling vent dusty

Office Area

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in office # 12

Attorney Rooms

No Violations Noted

Main Visiting

No Violations Noted

Checkpoint

No Violations Noted

Mental Health Office # 260

No Violations Noted

Staff Bathroom # 263

Unable to Inspect – In Use

Chapel # 170

No Violations Noted

Mosque # 269

105 CMR 451.353	Interior Maintenance: Ceiling water damaged outside mosque

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged

Slop Sink Room # 271

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Unit 1-2-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty between cell # 18 and 19

Slop Sink Room # 229

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Closet # 236

105 CMR 451.360	Protective Measures: Rodent droppings observed

Storage Room

No Violations Noted

Bathroom # 230

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 2

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 640F at handwash sink # 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 1 and 2 leaking

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 1 out-of-order

Day Room

No Violations Noted

Bathroom # 235

105 CMR 451.123	Maintenance: Floor paint damaged throughout

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123	Maintenance: Ceiling damaged outside showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 4 leaking

Cells

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 14, 16, 27, 30, and 31

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 19

105 CMR 451.353	Interior Maintenance: Outlet faceplate missing in cell # 24, 25, 26, and 28

105 CMR 451.353	Interior Maintenance: Ceiling water damaged in cell # 25

105 CMR 451.353	Interior Maintenance: Floor dirty in cell # 27

105 CMR 451.103	Mattresses: Mattress damaged in cell # 29

Workout Room # 21

No Violations Noted

Laundry Room

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.353	Interior Maintenance: Dryer vent damaged

105 CMR 451.353	Interior Maintenance: Water supply access panel not secured shut

TV Area

No Violations Noted

1st Floor

# Lobby Area

No Violations Noted

# Male Bathroom # 139

# No Violations Noted

# Female Bathroom # 140

No Violations Noted

Lower Administration

Break Area

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Offices

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged in room # 170

Central Control

No Violations Noted

Central Control Bathroom

No Violations Noted

Re-Entry Center

Control Desk

No Violations Noted

Supply Closet

No Violations Noted

Staff Bathroom # 121

No Violations Noted

Offices

No Violations Noted

Common Area

No Violations Noted

Serving Area

No Violations Noted

Storage

Unable to Inspect – Not Used

Sergeant’s Office # 129

No Violations Noted

Slop Sink # 125

105 CMR 451.360	Protective Measures: Rodent observed

Kitchenette

No Violations Noted

Program Area (former TV Area)

No Violations Noted

Bathroom # 109

No Violations Noted

Bathroom # 121

No Violations Noted

Offices

No Violations Noted

BUILDING # 2

Staff Lounge

No Violations Noted

Vending Machines

No Violations Noted

Female Locker Room # 2109

105 CMR 451.123	Maintenance: Ceiling dirty

Male Locker Room # 2110 and 2111

105 CMR 451.123*	Maintenance: Ceiling dirty throughout shower area

105 CMR 451.123	Maintenance: Ceiling vent cover missing in showers

Weight Room

No Violations Noted

Cardio Room

No Violations Noted

Locker Room # 2119

No Violations Noted

Janitor’s Closet # 2121

No Violations Noted

Administrative Staff Area (Second Floor)

Male Bathroom # 2221

No Violations Noted

Female Bathroom # 2222

No Violations Noted

Kitchenette

No Violations Noted

BUILDING # 3

4th Floor

Offices

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Ceiling vent dirty

Unit 3-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged outside cell # 28

Recreation Deck

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Staff Bathroom

No Violations Noted

Case Worker’s Office

No Violations Noted

Handicapped Shower

No Violations Noted

Utility Closet

No Violations Noted

Lower Laundry Area

No Violations Noted

Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 5

105 CMR 451.123*	Maintenance: Ceiling dirty, mold/mildew in shower # 5

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 2

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 5

105 CMR 451.123*	Maintenance: Bottom of door frame separating from wall outside shower # 5

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower # 5

105 CMR 451.123	Maintenance: Access panel rusted in shower # 5

105 CMR 451.123	Maintenance: Drain flies observed in shower # 3 and 4

Kitchenette

No Violations Noted

Upper Laundry Area

No Violations Noted

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling dirty, mold/mildew in shower # 7, 8, and 10

105 CMR 451.123*	Maintenance: Walls dirty, mold/mildew in shower # 7 and 8

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 8 and 10

105 CMR 451.123*		Maintenance: Metal brackets on wall rusted in shower # 10

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 6

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head missing in

shower # 9

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling in shower # 6

105 CMR 451.123	Maintenance: Light out in shower # 10

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing in

shower # 7

Slop Sink Room

No Violations Noted

Uniform Storage Room # 3566

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Standing water on floor in cell # 15

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # 50

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 4 and 46

105 CMR 451.103	Mattresses: Mattress damaged in cell # 56

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet leaking in cell # 15

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 7, 11, 12, 33, 35, 42, 44, 50, 52, 54, 58,

62, and 63

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 4, 10, 17, 18, and 40

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 64

Unit 3-4

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling dirty near door # 3581

105 CMR 451.353*		Interior Maintenance: Ceiling vent dusty near cell # 37

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Handicapped Shower # 3491

105 CMR 451.353	Interior Maintenance: Floor tile missing outside of shower

Closet # 3492

105 CMR 451.353	Interior Maintenance: Floor dirty

Staff Bathroom # 3494

No Violations Noted

Case Worker’s Office # 349

No Violations Noted

Lower Laundry Area

105 CMR 451.353		Interior Maintenance: Excessive lint buildup on wall

Lower Shower Area

105 CMR 451.123*	Maintenance: Dead drain flies on ceiling in shower # 1

105 CMR 451.123*	Maintenance: Ceiling dirty in shower # 1

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2, 3, 4, and 5

105 CMR 451.123	Maintenance: Debris in drain in shower # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in shower # 1

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 580F at handwash sink

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink

Upper Laundry Area

No Violations Note

Upper Shower Area

105 CMR 451.123*		Maintenance: Mold on ceiling in shower # 10

105 CMR 451.123*	Maintenance: Walls dirty in shower # 6, 7, 8, 9, and 10

105 CMR 451.123*	Maintenance: Wall damaged near push button in shower # 7

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 7, 9, and 10

105 CMR 451.123	Maintenance: Mold on wall in shower # 8

105 CMR 451.123	Maintenance: Mold on ceiling in shower # 9

Slop Sink Room # 3582

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged outside Slop Sink Room

105 CMR 451.360	Protective Measures: Rodent droppings observed

Uniform Storage # 3581

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 15

105 CMR 451.103	Mattresses: Mattress damaged in cell # 37 and 43

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 2, 12, 33, and 50

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 4, 6, 7, 8, 9, 10, 11, 13, 31, 43,

44, 45, and 48

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 14, 15, 17, 43, and 46

105 CMR 451.353	Interior Maintenance: Door window damaged in cell # 8

3rd Floor

Office # 3375

No Violations Noted

Office # 3377

No Violations Noted

Staff Bathroom # 3378

105 CMR 451.123	Maintenance: Floor damaged

Chemical Storage # 3380

No Violations Noted

Case Worker’s Office # 3382

No Violations Noted

Office # 3383

No Violations Noted

2nd Floor

Staff Bathroom # 3278

No Violations Noted

Slop Sink # 3279

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Unit 3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353	Interior Maintenance: Floor tile damaged throughout

Case Worker’s Office # 3269

No Violations Noted

Staff Bathroom # 3270

No Violations Noted

Closet # 3265

No Violations Noted

Handicapped Shower # 3266

Unable to Inspect – Not Used

Uniform Storage # 3366

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall dirty behind washer and dryer units

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling dirty, mold/mildew in shower # 3 and 5

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 3

105 CMR 451.123	Maintenance: Vent not secured to ceiling

105 CMR 451.123	Maintenance: Door frame rotted in shower # 1, 2, 3, 4, and 5

Kitchenette

105 CMR 451.353*	Interior Maintenance: Walls dirty above counter

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Upper Laundry Area

No Violations Noted

Slop Sink # 3365

No Violations Noted

Upper Shower Area

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 7 and 8

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 7 and 9

105 CMR 451.123	Maintenance: Walls dirty in shower # 6 and 8

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 6

105 CMR 451.123	Maintenance: Floor tile damaged outside of shower # 6

105 CMR 451.123	Maintenance: Dead drain flies on ceiling in shower # 8

105 CMR 451.130	Hot Water: Shower water temperature recorded at 800F in shower # 9

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 32

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 7, 9, and 52

105 CMR 451.103	Mattresses: Mattress damaged in cell # 19

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 35 and 36

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 6, 42, and 55

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 58

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 5 and 30

105 CMR 451.353	Interior Maintenance: Debris on floor in cell # 25

Recreation Deck 3-1 and 3-2

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Unit 3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged throughout

Office # 3295

No Violations Noted

Staff Bathroom # 3296

No Violations Noted

Storage Room # 3392

105 CMR 451.353	Interior Maintenance: Mislabeled chemical container

Handicapped Shower # 3293

Unable to Inspect – Not Used

Storage Closet # 3294

No Violations Noted

Lower Laundry Area

105 CMR 451.353		Interior Maintenance: Dryer vent duct missing

105 CMR 451.353	Interior Maintenance: Excessive lint buildup on wall

Lower Shower Area

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 2, 3, and 4

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123*		Maintenance: Ceiling dirty in shower # 3 and 4

105 CMR 451.123*	Maintenance: Wall damaged in shower # 4

105 CMR 451.123	Maintenance: Sprinkler shroud rusted in shower # 4

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 out-of-order

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

Upper Laundry Area

No Violations Noted

Upper Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 7, 8, and 9

105 CMR 451.123*	Maintenance: Wall damaged in shower # 10

105 CMR 451.123*	Maintenance: Vent not secured to ceiling in shower # 6

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 9

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 6 out-of-order

Slop Sink Room # 3393

No Violations Noted

Cells

105 CMR 451.350*		Structural Maintenance: Ceiling water damaged in cell # 44 and 46

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 48

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 49 and 56

105 CMR 451.103	Mattresses: Mattress damaged in cell # 63

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet damaged in cell # 42

Recreation Deck

105 CMR 451.353*		Interior Maintenance: Floor paint damaged

1st Floor

Education Area

Common Area

No Violations Noted

Classrooms

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged in computer lab

Library # 3149

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Staff Bathroom # 3142

No Violations Noted

Inmate Bathroom # 3162

Unable to Inspect – Under Construction

Inmate Legal Services

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in freezer

105 CMR 451.360*	Protective Measures: Rodent droppings observed on counter near refrigerator

Office Area # 3131

No Violations Noted

Office Staff Bathroom # 3126

No Violations Noted

MAT Program Room # 3166

No Violations Noted

Canteen

105 CMR 451.353	Interior Maintenance: Ceiling water stained

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building

Code provisions for fire safety, items stored within 18 inches of ceiling

Canteen Bathroom

Unable to Inspect – In Use

Slop Sink Closet

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

105 CMR 451.353	Interior Maintenance: Unlabeled chemical container

Main Laundry

Hallway

No Violations Noted

Office

No Violations Noted

Storage # 3184

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Floor damaged by drain

2-Compartment Sink

No Violations Noted

Handwash Sink

No Violations Noted

Bathroom # 3181

No Violations Noted

Storage # 3182

No Violations Noted

BUILDING # 4

105 CMR 451.350*	Structural Maintenance: Main entrance not rodent and weathertight

Dining Hall # 4137

No Violations Noted

Unit 4-1

Common Area

105 CMR 451.353	Interior Maintenance: Handwash sink dirty

105 CMR 451.126	Hot Water: Hot water temperature 1380F at handwash sink

Kitchenette

No Violations Noted

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling dirty in shower # 1

105 CMR 451.123*	Maintenance: Walls dirty in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 1

105 CMR 451.123	Maintenance: Floor dirty in shower # 3

105 CMR 451.123	Maintenance: Drain flies observed in cell # 5

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 6

105 CMR 451.123	Maintenance: Door frame damaged in shower # 6

105 CMR 451.123	Maintenance: Walls dirty in cell # 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in

shower # 3

Storage # 4265

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 8

105 CMR 451.123*	Maintenance: Paint damaged where ceiling and wall meet in shower # 7

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 7 and 9

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 9

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in

shower # 11

Storage # 4364

Unable to Inspect – Locked

Cells

105 CMR 451.353	Interior Maintenance: Debris on floor in cell # 22

Unit 4-2

Common Area

105 CMR 451.353	Interior Maintenance: Door dirty by cell # 20

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

1st Tier Bathroom # 4257 and 4268

No Violations Noted

Slop Sink Closet (inside bathroom)

No Violations Noted

1st Tier Bathroom # 4285 and 4275

No Violations Noted

Slop Sink Closet (inside Bathroom # 4285 and 4275)

No Violations Noted

Barbershop Room # 4272

105 CMR 451.353*	Interior Maintenance: Floor dirty

TV Room # 4271

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer vent damaged

Handicapped Shower # 4274

Unable to Inspect – Not Used

Uniform Storage # 4249

No Violations Noted

Room # 4250

No Violations Noted

Breakroom (inside Room # 4252)

No Violations Noted

Room # 4251

No Violations Noted

Room # 4252

No Violations Noted

Staff Bathroom # 4254

No Violations Noted

Handicapped Shower # 4256

No Violations Noted

Laundry Area

No Violations Noted

Office # 4270 and 4271

No Violations Noted

2nd Tier Utility Room # 4388

No Violations Noted

2nd Tier Utility Room # 6123

105 CMR 451.353	Interior Maintenance: Unlabeled chemical container

Storage Room # 4353

No Violations Noted

Storage Room # 4369 and 4368

No Violations Noted

2nd Tier Visiting Room # 4370

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

2nd Tier Bathroom # 4366 and 4354

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1370F at handwash sink # 6

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 1 not flushing

properly

Slop Sink Closet (inside bathroom # 4366 and 4354)

105 CMR 451.123*	Maintenance: Light out

2nd Tier Bathroom # 4374 and 4387

105 CMR 451.123*	Maintenance: White stain on floor

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 2 and 3 not flushing

properly

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F at handwash sink # 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 not flushing

properly

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 1 and 4 out-of-order

Slop Sink Closet (inside bathroom # 4374 and 4387)

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Cells

105 CMR 451.353	Interior Maintenance: Ceiling water damaged in cell # 25

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 5

Unit 4-3

Common Area

No Violations Noted

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty near cell # 5 and 8

Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 4

105 CMR 451.123*	Maintenance: Walls dirty in shower # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, push button damaged in shower # 3

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2

105 CMR 451.123	Maintenance: Door frame dirty in shower # 3 and 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in

shower # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

Upper Shower Area

105 CMR 451.123*	Maintenance: Walls dirty in shower # 11

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 10

105 CMR 451.123*	Maintenance: Sprinkler shroud missing in shower # 12

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, push button missing in shower # 11

105 CMR 451.123	Maintenance: Door frame dirty in shower # 7

Storage Room # 4283

No Violations Noted

Cells

No Violations Noted

Unit 4-4 Video Court Rooms

Holding Cells

No Violations Noted

Inmate Bathroom

No Violations Noted

Slop Sink Closet # 4130

No Violations Noted

Staff Bathroom

No Violations Noted

CGI

Officer Station

No Violations Noted

Office

No Violations Noted

Paint Office

Unable to Inspect – Locked

Industries

No Violations Noted

Slop Sink Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1450F at handwash sink

Staff Bathroom

No Violations Noted

Maintenance

No Violations Noted

Bathroom # 5166

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Slop Sink (Near Bathroom # 5166)

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Bathroom # 5163

No Violations Noted

Kitchenette

No Violations Noted

Laundry/Slop Sink # 5162

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover damaged

Break Area

No Violations Noted

BUILDING # 5

Food Service Area

The following food code violations listed in BOLD were observed to be corrected on-site.

Section 1

Inmate Locker Room

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

Slop Sink Room

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, drain flies observed

Chemical Storage

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.123	Maintenance: Ceiling dirty

105 CMR 451.123	Maintenance: Walls dirty

Mechanical Warewashing Area

FC 6-501.111	*	Maintenance and Operation; Premises, Structure, Attachments and Fixtures – Methods:

Premises not maintained free of insects, drain flies observed

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, mold observed on wall above single bay sink

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, final rinse thermometer not appropriately calibrated at warewash machine

FC 5-202.13*	Plumbing System; Design, Construction, and Installation: Air gap missing between water supply inlet and the flood level rim of the sinkP, sink sprayer laying in the sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, pipe leaking above sink

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, excessive food debris left in sink

Pot Wash Area

FC 6-501.111	*	Maintenance and Operation; Premises, Structure, Attachments and Fixtures – Methods:

Premises not maintained free of insects, drain flies observed

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling access panel rusted

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, free standing fan dusty

Pot Wash Handwash Sink

No Violations Noted

Tray Rack Area

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Serving Trays not stored in a self-draining

position

Tray Area Handwash Sink

FC 6-501.111	*	Maintenance and Operation; Premises, Structure, Attachments and Fixtures – Methods:

Premises not maintained free of insects, drain flies observed

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, soap dispenser damaged

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink leaking

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Facilities on the Premises: No trash provided at handwash sink

Section 2

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles and grout damaged

Kettle Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, access panel missing on fryolator

Handwash Sink

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Facilities on the Premises: No trash provided at handwash sink

Prep Table/Sink

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, bottom shelf of prep table damaged

Pot/Pan Storage Room

FC 4-601.11(C)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, encrusted grease on the bottom of multiple sheet pans and pots

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pots not stored in a self-draining position

Officer’s Office

FC 4-204.112(B)	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device

Chef’s Office

No Violations Noted

Section 3

Stove Top Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, knob damaged on stove

Section 4

Ice Machines

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, Ice Machine # 1     out-of-order

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, Ice Machine # 2 damaged

Refrigerator # 1

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf, dates missing on bagged lunches

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, mold on ceiling

Refrigerator # 2

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf, dates missing on sandwiches

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, walls dirty

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 3-304.12(B)	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Utensil handle not stored above the food in the container

Refrigerator # 3

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, mold observed on ceiling

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, left condenser leaking

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, standing water observed

Freezer # 4

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor surface damaged at entrance

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, accumulation of ice and food debris on floor

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, door frame damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, left set of fans out-of-order

FC 3-202.15	Sources, Specifications; Specifications for Receiving: Food packages not in good conditionPf, boxes of frozen peas ripped open

Prep-Table

FC 6-305.11(B)	Numbers and Capacities; Dressing Area and Lockers: No area provided for the orderly storage of employee clothing, jackets to be used in the walk in were observed in a trash barrel

Ovens

No Violations Noted

Section 5

Special Diet Area

No Violations Noted

Dry Storage Area

FC 6-501.111	*	Maintenance and Operation; Premises, Structure, Attachments and Fixtures – Methods:

Premises not maintained free of insects, rodent droppings observed on floor along

perimeter walls and on boxes

Loading Dock

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, door sweep damaged

FC 6-202.16	Design, Construction, and Installation; Functionality: Exterior garage door not weather and vermin tight

Commissary

No Violations Noted

Staff Bathroom # 5152

105 CMR 451.123	Maintenance: Handwash sink dirty

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Floor damaged

Section 6

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weathertight and rodent proof

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged near search rooms

Refrigerator # 6

No Violations Noted

2-Compartment Sink Area

FC 6-501.111	*	Maintenance and Operation; Premises, Structure, Attachments and Fixtures – Methods:

Premises not maintained free of insects, drain flies observed

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, single compartment sink out-of-order

Prep-Refrigerators and Tray Assembly Line

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged in refrigerator # 1 and 2

Staff Food Line

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet loose at handwash sink in serving area

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, cold water handle leaking at handwash sink near vending machines

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood contact surfaces of equipment not cleaned at a frequency necessary to preclude accumulation of soil residues, exterior surface of grill dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged at 2-door refrigerator and single door refrigerator

FC 6-501.114(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Non-functional equipment not repaired or removed from premises, juice machine out-of-order

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf, date missing on lettuce in storage area under salad bar

Staff Dining Room

No Violations Noted

Culinary Arts Kitchen

FC 6-501.11			Maintenance and Operation; Premises, Structure, Attachments, and Fixtures –

Methods: Facility not in good repair, floor damaged

Tool Storage

No Violations Noted

Handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink, no paper towels available

Dry Storage

FC 3-304.15(A)*	Preventing Contamination from Utensils: Inappropriate use of single-use gloves, used glove observed on shelf

FC 3-302.12	Protection from Contamination After Receiving, Preventing Food and Ingredient Contamination: Food or food ingredients that have been removed from original packages not labeled with common name of food

FC 4-502.12(A)	Maintenance and Operation, Utensils and Temperature and Pressure Measuring Devices: Inappropriate use single-service or single-use articles, used single-service silverware observed on shelf

Coolers and Freezers

FC 3-501.17(A) 	Limitation of Growth of Organisms of Public Health Concern, Temperature and Time Control: Refrigerated time/temperature control for safety food prepared on site not clearly marked indicating the date or day by which the food shall be consumed or discardedPf,, in cooler #1 and 2

FC 3-302.11(A)(4)	Preventing Contamination after Receiving; Preventing Food and Ingredient Contamination: Food not appropriately covered

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, refrigerator # 1 dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, mold observed on freezer gaskets

Steam Kettle Area

No Violations Noted

Hoods

No Violations Noted

Prep Tables and Sinks

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirtyPf, stove top dirty

3-Compartment Sink

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, drain flies observed

FC 5-202.13	Plumbing System; Design, Construction, and Installation: Air gap missing between water supply inlet and the flood level rim of the sinkP, sink sprayer was laying in the sinkP

Warewash Machine

No Violations Noted

Slop Sink

FC 6-501.16	Maintenance and Operation: Premises, Structure, Attachments, and Fixtures - Methods; Wet mop stored in bucket

Handwash Sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sinkPf, no paper towels available at handwash sink

Bathroom

No Violations Noted

Classroom Section

No Violations Noted

Gym

Bathroom # 5204

105 CMR 451.123	Maintenance: Soap dispenser damaged

105 CMR 451.123	Maintenance: Standing water on floor

Staff Bathroom # 5207

105 CMR 451.124	Water Supply: No cold water supplied to handwash sink

Slop Sink Closet # 5203

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Automotive Garage

No Violations Noted

Staff Bathroom # 5152

Unable to Inspect – Not Used

Engineering

No Violations Noted

BUILDING # 6

Health Services Medical Area

Hallway

105 CMR 451.353	Interior Maintenance: Floor tiles damaged outside Medication Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Exam Room # 1 3172

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor

105 CMR 451.353	Interior Maintenance: Floor dirty

Exam Room # 2 3134

No Violations Noted

Exam Room # 3 3171

105 CMR 451.353	Interior Maintenance: Upholstery damaged on exam chair

Exam Room # 4 3133

No Violations Noted

Exam Room # 5

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 640F at handwash sink

File Room # 6226

No Violations Noted

Inmate Bathroom # 6229

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Strong urine odor present

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty

Medication Room

No Violations Noted

Lab Room # 6268

105 CMR 451.353		Interior Maintenance: Ceiling vent blocked

Office # 6267

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked

Office # 6264

105 CMR 480.400(C)	Shipping papers: Generator was nor maintaining copy of shipping papers with record-

keeping log for at least 375 days

X-Ray Room # 6265

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor

105 CMR 451.353	Interior Maintenance: Floor tiles missing

Director of Nursing Office # 6263

No Violations Noted

Dental Exam Room # 6261

No Violations Noted

Dental Storage Closet # 6262

105 CMR 451.360*	Protective Measures: Rodent droppings observed floor under cabinets

Medical Unit

Hallway

No Violations Noted

Room # 6258

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor behind seating

Kitchenette # 6256

Unable to Inspect – Under Construction

Isolation Cells (# 3 and 5)

105 CMR 451.353*	Interior Maintenance: Ceiling vent blocked in cell # 3

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in cell # 5

105 CMR 451.353	Interior Maintenance: Debris on floor in cell # 5

Isolation Handwash Sink

No Violations Noted

Office # 6254

No Violations Noted

Storage Room # 6253

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Storage Room # 6252

No Violations Noted

Medical Waste/Biohazard Storage # 6250

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353	Interior Maintenance: Handwash sink dirty

105 CMR 451.353	Interior Maintenance: Excessive dust around door frame

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Staff Bathroom # 6247

No Violations Noted

Chemical Storage Room # 6248

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Inmate Property # 6246

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Floor dirty in shower # 1

105 CMR 451.123*	Maintenance: Floor epoxy damaged at entrance to shower # 3

105 CMR 451.123	Maintenance: Soap scum on walls in showers # 2 and 3

105 CMR 451.123	Maintenance: Debris on floor in shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

Staff Lounge # 6236

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor

Staff Bathroom # 6237

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 139℉ at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink slow to drain

Cells

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty in cell # 1 and 9

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 2, 6, and 7

105 CMR 451.353*	Interior Maintenance: Bed paint damaged in cell # 10

105 CMR 451.353*	Interior Maintenance: Floor tile damaged in cell # 13

105 CMR 451.353*	Interior Maintenance: Floor paint damage in cell # 16 and 19

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # 14

105 CMR 451.103	Mattresses: Mattress damaged in cell # 17

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet clogged in cell # 10

105 CMR 451.353	Interior Maintenance: Wall vent dirty in cell # 1

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 2

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 9

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 12 and 13

105 CMR 451.353	Interior Maintenance: Floor tiles missing in cell # 12

105 CMR 451.353	Interior Maintenance: Floor tiles damaged in cell # 17

Booking Area

Holding Cell # 6105

No Violations Noted

Hallway

No Violations Noted

Male Property Room # 6106

No Violations Noted

Male Changing Room # 6109

No Violations Noted

Old Shower Room # 6111

No Violations Noted

Slop Sink # 6110

No Violations Noted

Medical Intake Office

105 CMR 451.353	Interior Maintenance: Ceiling damaged

Medical Bathroom # 6136

105 CMR 451.117*	Toilet Fixtures: Toilet fixture dirty

Transportation Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in freezer

Male Holding Cells

No Violations Noted

Sally Port

No Violations Noted

Control

105 CMR 451.353	Interior Maintenance: Floor tiles missing

Storage Room # 6132

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor

105 CMR 451.360	Protective Measures: Dead rodent observed

Break Room # 6131

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in freezer

Staff Bathroom # 6135

No Violations Noted

Storage Room # 6137

No Violations Noted

Storage Room # 6139

No Violations Noted

Female Changing Room # 6138

No Violations Noted

Female Holding Cells

No Violations Noted

Female Property Office

No Violations Noted

BUILDING # 7

Vehicle Trap

1st Floor

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

No Violations Noted

BUILDING # 8 (Unoccupied)

105 CMR 451.353*		Interior Maintenance: Door and door frame rusted at entrance

105 CMR 451.350*	Structural Maintenance: Entrance not rodent and weathertight

1st Floor - Unit 8-1

Staff Area

Staff Bathroom # 8-106

Unable to Inspect – Not Used

Electrical # 8-108

Unable to Inspect – Not Used

Property # 8-111

Unable to Inspect – Not Used

Offices

Unable to Inspect – Not Used

Common Area

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Video Court # 8-114

Unable to Inspect – Not Used

Office # 8-115

Unable to Inspect – Not Used

Staff Break Room # 8-116

Unable to Inspect – Not Used

Immigration Office # 8-117

Unable to Inspect – Not Used

Storage # 8-118 A

Unable to Inspect – Not Used

Storage # 8-118 B

Unable to Inspect – Not Used

Laundry Area

Unable to Inspect – Not Used

Slop Sink Room # 8-123

Unable to Inspect – Not Used

Housing Area

Inmate Bathroom # 8-121

Unable to Inspect – Not Used

Inmate Bathroom # 8-122

Unable to Inspect – Not Used

Cells

Unable to Inspect – Not Used

2nd Floor - Unit 8-2

Staff Area

Unable to Inspect – Not Used

Staff Bathroom # 8-206

Unable to Inspect – Not Used

Medical # 8-207

Unable to Inspect – Not Used

Property # 8-211

Unable to Inspect – Not Used

Medical # 8-212

Unable to Inspect – Not Used

Electrical # 8-226

Unable to Inspect – Not Used

Common Area

Unable to Inspect – Not Used

Computer Room # 8-214

Unable to Inspect – Not Used

Recreation Room # 8-215

Unable to Inspect – Not Used

Recreation Room # 8-216

Unable to Inspect – Not Used

Recreation Room # 8-217

Unable to Inspect – Not Used

Uniform Storage # 8-219

Unable to Inspect – Not Used

Storage # 8-218 A

Unable to Inspect – Not Used

Storage # 8-218 B

Unable to Inspect – Not Used

Laundry Area

Unable to Inspect – Not Used

Housing Area

Inmate Bathroom # 8-221

Unable to Inspect – Not Used

Inmate Bathroom # 8-222

Unable to Inspect – Not Used

Slop Sink # 8-223

Unable to Inspect – Not Used

Cells

Unable to Inspect – Not Used

Staff Area

Staff Bathroom # 8-306

Unable to Inspect – Not Used

Storage # 8-314

Unable to Inspect – Not Used

Property # 8-311

Unable to Inspect – Not Used

Offices

Unable to Inspect – Not Used

Common Area

Unable to Inspect – Not Used

Office # 8-307

Unable to Inspect – Not Used

Recreation Room # 8-315

Unable to Inspect – Not Used

Recreation Room # 8-316

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, interior of microwave oven dirty

Recreation Room # 8-317

Unable to Inspect – Not Used

Uniform Storage # 8-319

Unable to Inspect – Not Used

Storage # 8-318 A

Unable to Inspect – Not Used

Storage # 8-318 B

Unable to Inspect – Not Used

Laundry Area

Unable to Inspect – Not Used

Housing Area

Slop Sink Room # 8-323

Unable to Inspect – Not Used

Inmate Bathroom # 8-322

Unable to Inspect – Not Used

Inmate Bathroom # 8-321

Unable to Inspect – Not Used

Cells

Unable to Inspect – Not Used

4th Floor - Unit 8-4

Staff Area

Staff Bathroom

Unable to Inspect – Not Used

Offices

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with

105 CMR 590.000, refrigerator gasket dirty near Room # 8-407

Supply Room

Unable to Inspect – Not Used

Property

Unable to Inspect – Not Used

Common Area

Computer Room # 8-414

Unable to Inspect – Not Used

Laundry

105 CMR 451.360	Protective Measures: Rodent droppings observed behind machines

TV Room # 8-415

Unable to Inspect – Not Used

TV Room # 8-416

Unable to Inspect – Not Used

Recreation Room # 8-417

Unable to Inspect – Not Used

Closet # 8-418A

Unable to Inspect – Not Used

Mop Closet # 8-418B

Unable to Inspect – Not Used

Housing Area

Slop Sink Closet # 8-423

Unable to Inspect – Not Used

Bathroom # 8-421

Unable to Inspect – Not Used

Bathroom # 8-422

105 CMR 451.123*	Maintenance: Water stains on ceiling throughout bathroom

105 CMR 451.123*	Maintenance: Light fixture cover discolored near showers

105 CMR 451.123*	Maintenance: Water stains on wall above toilet fixtures # 2 and 6

105 CMR 451.123*	Maintenance: Water stains on floor in front of showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 5 loose

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 4 out-of-order

Cells

Unable to Inspect – Not Used

Observations and Recommendations

- The inmate population was 879 at the time of inspection.

- During the kitchen inspection, the CSP observed untreated wooden doors leading to the search rooms. The CSP recommends these doors be painted or sealed to create a more easily cleanable surface.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Hannah LeBeau														Environmental Health Inspector, CSP, BCEH