CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-753-8000

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Commissioner

Tel: 617-624-6000

www.mass.gov/dph

November 17, 2022

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118		(electronic copy)

Re: Facility Inspection – Suffolk County House of Correction, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and

105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of

Suffolk County House of Correction on November 2, 3, and 4, 2022 accompanied by Sergeant John Fallon, Environmental Health and Safety/Fire Safety Officer. Violations noted during the inspection are listed below including 318 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH

cc:	Margret R. Cooke, Commissioner, DPH

Nalina Narain, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services		(electronic copy)

Carol A. Mici, Commissioner, DOC							(electronic copy)

Terrence Reidy, Secretary, EOPSS							(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 			(electronic copy)

William Sweeney, Superintendent		(electronic copy)

Sergeant John Fallon, EHSO/FSO		(electronic copy)

Daniel J. Prendergast, Assistant Commissioner, ISD/Health Division, City of Boston	(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

# BUILDING # 1

11th Floor

# Staff Bathroom # 1142

No Violations Noted

# Classroom # 1145

No Violations Noted

Classroom # 1156

No Violations Noted

# Slop Sink Room # 1158

No Violations Noted

# Office # 1143

Unable to Inspect – Locked

Program Area

Classroom # 1 1151

No Violations Noted

Classroom # 2 1153

No Violations Noted

# Meeting Room

Unable to Inspect – In Use

Offices

No Violations Noted

# Unit 1-11-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1

# Bathroom

No Violations Noted

# Laundry Area

No Violations Noted

# Kitchenette

No Violations Noted

# Cells

No Violations Noted

# Unit 1-11-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 3

# Bathroom

Unable to Inspect - Not Used

Laundry Area

No Violations Noted

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 600F at handwash sink

Cells

No Violations Noted

10th Floor

10th Floor Visiting Room #1051

No Violations Noted

# Room # 1053

No Violations Noted

# Room # 1054

No Violations Noted

# Room # 1059

No Violations Noted

# Offices

No Violations Noted

# Staff Bathroom # 1074

No Violations Noted

# Slop Sink Room # 1050

105 CMR 451.353	Interior Maintenance: Standing water on floor

# Unit 1-10-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 950F in shower # 1

# 105 CMR 451.123*	Maintenance: Wall dirty in shower # 1

# 105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

# Kitchenette

No Violations Noted

# Cells

No Violations Noted

# Unit 1-10-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Showers

105 CMR 451.123	Maintenance: Wall dirty, possible mold/mildew in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

# Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 600F

Laundry Area

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8

# 105 CMR 451.103	Mattresses: Mattress damaged in cell # 10 and 12

# Unit 1-10-3 (No Inmates Housed)

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Cells

No Violations Noted

Shower
105 CMR 451.123*	Maintenance: Soap scum on walls

# Caseworker’s Office #1038

No Violations Noted

# Unit 1-10-4 Women’s Infirmary Area (MAT Program)

# Supply Closet

No Violations Noted

# Exam Room

Unable to Inspect – Locked

Staff Bathroom

No Violations Noted

9th Floor

# Staff Bathroom # 944

No Violations Noted

# Slop Sink # 956

No Violations Noted

# Recreation Deck # 940

No Violations Noted

# Programs/Education Offices

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty in office #952

# Unit 1-9-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Shower curtain damaged in shower # 1

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 800F in shower # 3

# Closet

No Violations Noted

Case Worker’s Office

Unable to Inspect – Locked

Kitchenette

# 105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

# Cells

No Violations Noted

# Unit 1-9-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.130	Hot Water: Shower water temperature recorded at 80°F in shower # 1

# Closet

No Violations Noted

# Kitchenette

No Violations Noted

# Cells

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 15

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1 and 2

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 14 and 16

8th Floor

Offices

No Violations Noted

# Slop Sink # 848

No Violations Noted

# Unit 1-8-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Kitchenette

No Violations Noted

Laundry Area

No Violations Noted

# Utility Closet # 834

No Violations Noted

# Showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged near light fixture in shower # 2

# Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 4

# Unit 1-8-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

# Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F at handwash sink

Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer duct vent damaged

Utility Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Light out in shower # 1

105 CMR 451.123	Maintenance: Sprinkler shroud missing in shower # 3

105 CMR 451.123	Maintenance: Strong odor present in shower # 2

105 CMR 451.123	Maintenance: Shower curtain damaged in shower # 1

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 3, 6, 7, 8, 13, and 14

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 9, 10, 11, 15, and 16

7th Floor (Office Space)

# Slop Sink Room # 755

105 CMR 451.353	Interior Maintenance: Strong odor present

Parole Office

No Violations Noted

Spectrum Office

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, excessive ice build-up in freezer

Gang Intelligence Unit Office

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

6th Floor

Case Worker’s Office # 645

No Violations Noted

6th Floor Meeting Room and Dining Hall

105 CMR 451.360*	Protective Measures: Rodent droppings observed on window sills and floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink clogged with debris

# Unit 1-6-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

# Common Area

No Violations Noted

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 820F at handwash sink

# Upper Cells

# 105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 29 and 31

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, and 32

Upper Showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123*	Maintenance: Wall paint damaged near door frame in shower # 3

# Lower Cells

# 105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1, 2, 14, and 16

# 105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 3, 4, 5, 6, 7, 8, 9, 10, 11,12, 13,

# and 15

# Lower Laundry Area

No Violations Noted

# Storage Closet # 634

No Violations Noted

# Lower Shower Area

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 2

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 650F in shower # 3

# Recreation Deck

No Violations Noted

# Unit 1-6-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353	Interior Maintenance: Upholstery damaged on staff chair

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control leaking

Upper Storage Closet

No Violations Noted

Upper Cells

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged in cell # 17, 18, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, and 32

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 17, 18, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, and 32

Upper Showers

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew in shower # 2

105 CMR 451.123*	Maintenance: Rust stains on wall near shower head in shower # 2

Lower Laundry

105 CMR 451.353	Interior Maintenance: Dryer duct vent damaged

105 CMR 451.360*	Protective Measures: Rodent droppings observed behind dryer

Lower Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 2, 7, and 12

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 7, 8, 9, 10, 11, 13, 14,

and 15

Lower Showers

105 CMR 451.123	Maintenance: Shower curtain dirty in shower # 1

105 CMR 451.123*	Maintenance: Drain cover missing in shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2

Staff Bathroom # 656

No Violations Noted

Slop Sink Closet

No Violations Noted

5th Floor

Slop Sink Room # 563

No Violations Noted

5th Floor Custody

Bathroom # 1

No Violations Noted

Bathroom # 2

No Violations Noted

Kitchenette

No Violations Noted

Unit 1-5-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353	Interior Maintenance: Water leaking from ceiling near cell # 9 and 10

105 CMR 451.353	Interior Maintenance: Standing water on floor in common area near cell # 11 and 12

Utility Closet

No Violations Noted

Laundry Area

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls of shower # 1 and 2

105 CMR 451.123	Maintenance: Drain flies observed in shower # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shroud missing from push button

in shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 2 and 3

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.353	Interior Maintenance: Standing water on floor in cell # 16

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 7

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 14

105 CMR 451.103	Mattresses: Mattress damaged in cell # 14

Classrooms

No Violations Noted

Library

No Violations Noted

Unit 1-5-2

Unable to Inspect – Quarantine/Isolation Unit

Unit 1-5-2 A

Office # 566

No Violations Noted

Shower

No Violations Noted

Slop Sink Closet

No Violations Noted

Sleeping Area

No Violations Noted

4th Floor

Hallway

No Violations Noted

Staff Bathroom # 445

No Violations Noted

Slop Sink # 454

No Violations Noted

SERT Office

No Violations Noted

Utility Room

No Violations Noted

Visiting Area

No Violations Noted

Unit 1-4-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Storage Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.126	Hot Water: Shower water temperature recorded at 850F in shower # 1

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

No Violations Noted

Recreation Deck

No Violations Noted

Unit 1-4-2

Common Area

No Violations Noted

Storage Closet

No Violations Noted

Shower Area

No Violations Noted

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 600F at handwash sink

Cells

105 CMR 451.123	Maintenance: Handwash sink continuously running in cell # 7

3rd Floor

Slop Sink Room # 371

105 CMR 451.353*	Interior Maintenance: Debris in slop sink

Non-Contact Visiting Area # 355

No Violations Noted

Supervisor’s Office

Unable to Inspect – In Use

Report Writing Office # 347

No Violations Noted

Captain’s Office # 349

No Violations Noted

Disciplinary Office # 350

Unable to Inspect – Locked

Unit 1-3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Room # 333 and 334

No Violations Noted

Storage Room # 336

No Violations Noted

Staff Bathroom # 337

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 5, 7, 8, and 15

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 3, 4, 9, 11, 12, 13, and 14

Recreation Room

No Violations Noted

Recreation Deck

No Violations Noted

Unit 1-3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Staff Bathroom # 360

No Violations Noted

Storage Closet # 361

No Violations Noted

Recreation Room # 368

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123*	Maintenance: Mold observed on ceiling in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123*	Maintenance: Mold observed on door frame and walls in shower # 3

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower #1 out-of-order

Kitchenette

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 9, 10, and 11

2nd Floor

Office # 240

No Violations Noted

Staff Bathroom # 242

No Violations Noted

Office Area

No Violations Noted

Attorney Rooms

No Violations Noted

Main Visiting

No Violations Noted

Checkpoint

No Violations Noted

Mental Health Office # 260

No Violations Noted

Staff Bathroom # 263

No Violations Noted

Chapel # 170

Unable to Inspect – In Use

Mosque # 269

No Violations Noted

Slop Sink Room # 271

No Violations Noted

Unit 1-2-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Slop Sink Room # 229

No Violations Noted

Closet # 236

No Violations Noted

Storage Room

No Violations Noted

Bathroom # 230

105 CMR 451.123	Maintenance: Ceiling vent rusted above toilets

105 CMR 451.123*	Maintenance: Walls dirty in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Floor dirty in shower # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded at 600F at handwash sink # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 leaking

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 2 leaking

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink # 4 out-of-order

Day Room

No Violations Noted

Bathroom # 235

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures dirty at urinal # 2

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent blocked in cell # 23 and 24

Workout Room # 21

No Violations Noted

Laundry Room

No Violations Noted

TV Area

No Violations Noted

1st Floor

# Lobby Area

No Violations Noted

# Male Bathroom # 139

# No Violations Noted

# Female Bathroom # 140

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, left handwash sink out-of-order

Lower Administration

Break Area

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Central Control

No Violations Noted

Central Control Bathroom

No Violations Noted

Community Work Program (No Inmates Housed)

Control Desk

No Violations Noted

Supply Closet

No Violations Noted

Staff Bathroom # 121

No Violations Noted

Room # 122

No Violations Noted

Office # 123

No Violations Noted

Common Area

No Violations Noted

Serving Area

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1370F at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water control leaking

Storage

Unable to Inspect – Not Used

Sergeant’s Office # 129

No Violations Noted

Slop Sink # 125

No Violations Noted

Laundry Room

Unable to Inspect – Closed

TV Area

Unable to Inspect – Closed

Shower # 3

Unable to Inspect – Closed

Shower # 2

Unable to Inspect – Closed

Bathroom/Shower # 109

Unable to Inspect – Closed

Bathroom # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 2 out-of-order

Rooms

Unable to Inspect – Closed

BUILDING # 2

Staff Lounge

No Violations Noted

Vending Machines

No Violations Noted

Female Locker Room # 2109

No Violations Noted

Male Locker Room # 2110 and 2111

No Violations Noted

Weight Room

No Violations Noted

Cardio Room

No Violations Noted

Locker Room # 2119

No Violations Noted

Janitor’s Closet # 2121

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

Administrative Staff Area (Second Floor)

Male Bathroom # 2221

No Violations Noted

Female Bathroom # 2222

No Violations Noted

Kitchenette

No Violations Noted

BUILDING # 3

4th Floor

Staff Bathroom

No Violations Noted

Unit 3-3

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Recreation Deck

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Access panel behind toilet rusted

Case Worker’s Office

Unable to Inspect – In Use

Handicapped Shower

No Violations Noted

Utility Closet

No Violations Noted

Lower Laundry Area

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior, vent disconnected from wall

Lower Shower Area		Unable to Inspect Shower # 3 – In Use

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 4

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 5

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 2

105 CMR 451.123	Maintenance: Drain flies observed in shower # 4 and 5

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 1, 2, 4, and 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 out-of-order

105 CMR 451.123	Maintenance: Walls dirty in shower # 1

Kitchenette

No Violations Noted

Upper Laundry Area

No Violations Noted

Upper Shower Area

105 CMR 451.123		Maintenance: Ceiling vent dusty in shower # 7, 8, and 10

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew in shower # 7, 8, and 10

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew in shower # 7

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6

105 CMR 451.123*		Maintenance: Soap scum on walls in shower # 7, 8, 9, and 10

105 CMR 451.123*		Maintenance: Metal brackets on wall rusted in shower # 10

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 6-10

105 CMR 451.123*		Maintenance: Door frame rusted in shower # 6-10

105 CMR 451.123*	Maintenance: Ceiling access panel rusted in shower # 10

105 CMR 451.123	Maintenance: Drain flies observed in shower # 7 and 10

Slop Sink Room

No Violations Noted

Uniform Storage Room # 3566

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Mattress cover missing in cell # 34, 40, and 64

105 CMR 451.353	Interior Maintenance: Standing water on floor in cell # 17

105 CMR 451.353	Interior Maintenance: Toilet fixture dirty in cell # 59

Unit 3-4

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353		Interior Maintenance: Ceiling dirty near door # 3581

105 CMR 451.353		Interior Maintenance: Ceiling vents dusty near cell # 7 and 37

Recreation Deck

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Handicapped Shower # 3491

No Violations Noted

Closet # 3492

No Violations Noted

Staff Bathroom # 3494

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Case Worker’s Office # 349

Unable to Inspect – In Use

Lower Laundry Area

105 CMR 451.353*		Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353	Interior Maintenance: Excessive lint build-up observed behind dryer

Lower Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap holder damaged in shower # 4

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 1-5

105 CMR 451.123*	Maintenance: Dead drain flies on ceiling in shower # 1

105 CMR 451.123*	Maintenance: Walls dirty in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain clogged in shower # 5

105 CMR 451.123	Maintenance: Push button missing in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 out-of-order

Kitchenette

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 600F at handwash sink

Upper Laundry Area

105 CMR 451.353	Interior Maintenance: Standing water on floor near washer machine

Upper Shower Area

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 8

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 9

105 CMR 451.123*		Maintenance: Ceiling dirty, possible mold in shower # 9 and 10

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 8

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 9 and 10

105 CMR 451.123*	Maintenance: Door frame damaged in shower # 6-10

105 CMR 451.123*	Maintenance: Floor dirty in shower # 9

105 CMR 451.123*	Maintenance: Walls dirty in shower # 9 and 10

105 CMR 451.123*	Maintenance: Wall damaged in shower # 7

Slop Sink Room # 3582

No Violations Noted

Uniform Storage # 3581

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 12

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 12

105 CMR 451.353	Interior Maintenance: Standing water on floor in cell # 38 and 41

105 CMR 451.123	Maintenance: Toilet fixture dirty in cell # 55

3rd Floor

Office # 3375

No Violations Noted

Office # 3377

105 CMR 451.353*		Interior Maintenance: Ceiling water stained

Staff Bathroom # 3378

105 CMR 451.123*	Maintenance: Floor paint damaged

Chemical Storage # 3380

No Violations Noted

Case Worker’s Office # 3382

No Violations Noted

Office # 3383

No Violations Noted

2nd Floor

Staff Bathroom # 3278

No Violations Noted

Slop Sink # 3279

No Violations Noted

Unit 3-1

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

No Violations Noted

Case Worker’s Office # 3269

No Violations Noted

Staff Bathroom # 3270

No Violations Noted

Closet # 3265

No Violations Noted

Handicapped Shower # 3266

Unable to Inspect – Not Used

Uniform Storage # 3366

No Violations Noted

Lower Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall dirty behind washer and dryer units

105 CMR 451.353*	Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123*	Maintenance: Wall dirty in shower # 3, 4, and 5

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew in shower # 3

105 CMR 451.123	Maintenance: Ceiling dirty in shower # 5

105 CMR 451.123*	Maintenance: Door frame rusted shower # 3, 4, and 5

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 5

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 1-5

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 1 and 2

105 CMR 451.123	Maintenance: Ceiling panel rusted in shower # 5

105 CMR 451.123	Maintenance: Wall damaged in shower # 1

Kitchenette

105 CMR 451.353*	Interior Maintenance: Walls dirty above counter

105 CMR 451.353*	Interior Maintenance: Handwash sink dirty

105 CMR 451.360	Protective Measures: Drain flies observed

Upper Laundry Area

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

Slop Sink # 3365

No Violations Noted

Upper Shower Area

105 CMR 451.123*	Maintenance: Walls dirty in shower # 8

105 CMR 451.123	Maintenance: Walls dirty in shower # 9

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 7, 8, 9, and 10

105 CMR 451.123		Maintenance: Door frame paint damaged in shower 6, 7, 8, and 9

105 CMR 451.123	Maintenance: Door frame rusted in shower # 8 and 9

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 9

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 28 and 32

Recreation Deck 3-1 and 3-2

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Unit 3-2

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged on top tier near cell # 40

105 CMR 451.353	Interior Maintenance: Floor tiles damaged on bottom tier near cell # 27

Office # 3295

No Violations Noted

Staff Bathroom # 3296

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Storage Room # 3392

No Violations Noted

Handicapped Shower # 3293

Unable to Inspect – Not Used

Slop Sink Room # 3294

No Violations Noted

Lower Laundry Area

105 CMR 451.353		Interior Maintenance: Excessive lint build-up observed behind dryer

105 CMR 451.353*		Interior Maintenance: Dryer vent duct damaged

Lower Shower Area

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 1, 3, 4, and 5

105 CMR 451.123*	Maintenance: Door frame paint damaged in shower # 2

105 CMR 451.123	Maintenance: Door frame rusted in shower # 1-5

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 3 and 4

105 CMR 451.123		Maintenance: Ceiling dirty in shower # 3 and 4

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 5

105 CMR 451.123	Maintenance: Walls dirty in shower # 2, 3, and 4

105 CMR 451.123	Maintenance: Wall damaged in shower # 3 and 4

Kitchenette

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink water control missing

Upper Laundry Area

105 CMR 451.353*	Interior Maintenance: Dryer not vented to the exterior, vent disconnected from wall

105 CMR 451.353*	Interior Maintenance: Standing water on floor

105 CMR 451.353*	Interior Maintenance: Excessive lint build-up observed behind dryer

Upper Shower Area

105 CMR 451.123*		Maintenance: Ceiling vent dusty in shower # 6, 7, 8, and 9

105 CMR 451.123*	Maintenance: Wall damaged in shower # 10

105 CMR 451.123*	Maintenance: Door frame rusted in shower # 8 and 9

105 CMR 451.123	Maintenance: Walls dirty in shower # 8

105 CMR 451.123*	Maintenance: Walls dirty in shower # 9

105 CMR 451.123	Maintenance: Ceiling vent not secured in shower # 6

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 7, 8, and 9
105 CMR 451.126	Hot Water: Shower water temperature recorded at 70oF in shower # 6

Slop Sink Room # 3393

No Violations Noted

Cells

105 CMR 451.350*		Structural Maintenance: Ceiling water damaged in cell # 44 and 46

105 CMR 451.353	Interior Maintenance: Light fixture rusted in cell # 37

Recreation Deck

105 CMR 451.353*		Interior Maintenance: Floor paint damaged

1st Floor

Education Area

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling vent dusty outside inmate bathroom

Classrooms

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing in classroom # 3125

Library # 3149

No Violations Noted

Staff Bathroom # 3142

No Violations Noted

Inmate Bathroom # 3162

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Inmate Legal Services

No Violations Noted

Office Area # 3131

No Violations Noted

Office Staff Bathroom # 3126

No Violations Noted

MAT Program Room # 3166

No Violations Noted

Canteen

No Violations Noted

Canteen Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink Closet

No Violations Noted

Main Laundry

Hallway

No Violations Noted

Office

Unable to Inspect – In Use

Storage # 3184

105 CMR 451.353		Interior Maintenance: Standing water on floor

Laundry Area

No Violations Noted

2-Compartment Sink

No Violations Noted

Handwash Sink

No Violations Noted

Bathroom # 3181

No Violations Noted

Storage # 3182

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, items stored within 18 inches of the ceiling

BUILDING # 4

105 CMR 451.350*	Structural Maintenance: Main entrance not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Doorknob/handle missing on right side entrance door

Dining Hall # 4137

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

Unit 4-1

Common Area

105 CMR 451.353*		Interior Maintenance: Ceiling paint damaged

Kitchenette

105 CMR 451.353		Interior Maintenance: Handwash sink dirty

Lower Shower Area

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew in shower # 1

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 1 and 5

105 CMR 451.123	Maintenance: Door frame paint damaged in showers # 1 and 5

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2

105 CMR 451.123	Maintenance: Push button leaking in shower # 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 6

Storage # 4265

No Violations Noted

Upper Shower Area

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 10

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 8, 9, and 11

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 9

105 CMR 451.123	Maintenance: Paint damaged where ceiling and wall meet in shower # 7 and 12

105 CMR 451.123	Maintenance: Door frame paint damage in shower # 8 and 10

105 CMR 451.123	Maintenance: Excessive condensation observed on ceiling in shower # 9

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 9, 10, 11, and 12

105 CMR 451.123	Maintenance: Shroud missing from push button in shower # 10

Storage # 4364

Unable to Inspect – Locked

Cells

No Violations Noted

Unit 4-2

Common Area

No Violations Noted

Kitchenette

No Violations Noted

1st Tier Bathroom # 4257 and 4268

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

Slop Sink Closet (inside bathroom)

105 CMR 451.123	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Light out

1st Tier Bathroom # 4285 and 4275

105 CMR 451.123*	Maintenance: Wall dirty under sinks

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 7 out-of-order

Slop Sink Closet (inside Bathroom # 4285 and 4275)

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water control missing

Room # 4272

105 CMR 451.353*	Interior Maintenance: Ceiling tile not secured to ceiling

TV Room # 4273

No Violations Noted

Laundry Area

Interior Maintenance: Dryer vent damaged

Handicapped Shower # 4274

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shroud missing from shower head

Uniform Storage # 4249

No Violations Noted

Room # 4250

No Violations Noted

Breakroom

No Violations Noted

Room # 4251

No Violations Noted

Room # 4252

No Violations Noted

Staff Bathroom # 4254

No Violations Noted

Handicapped Shower # 4256

No Violations Noted

Laundry Area

No Violations Noted

Office # 4270 and 4271

105 CMR 451.353	Interior Maintenance: Ceiling tile not secured to ceiling in office # 4269

2nd Tier Utility Room # 4388

No Violations Noted

2nd Tier Utility Room # 6123

No Violations Noted

Storage Room # 4353

No Violations Noted

Storage Room # 4369 and 4368

No Violations Noted

2nd Tier Bathroom # 4366 and 4354

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 not flushing properly

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1430F at handwash sink # 6

105 CMR 451.123	Maintenance: Toilet fixture # 1 dirty

Slop Sink Closet (inside bathroom)

105 CMR 451.123	Maintenance: Light out

2nd Tier Bathroom # 4374 and 4387

105 CMR 451.123*	Maintenance: White stain on floor

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal # 2 and 3 not flushing properly

Cells

No Violations Noted

Unit 4-3

Common Area

No Violations Noted

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink out-of-order

Lower Shower Area

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 4, 5, and 6

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 4, 5, and 6

105 CMR 451.123	Maintenance: Walls dirty in shower # 4 and 5

105 CMR 451.123*	Maintenance: Walls dirty, possible mold/mildew in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shroud missing from water control

in shower # 4

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, push button missing from shower # 3

Upper Shower Area

105 CMR 451.123	Maintenance: Walls dirty in shower # 7

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 7, 10, and 12

105 CMR 451.123	Maintenance: Sprinkler shroud missing in shower # 12

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 11 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, push button missing in shower # 11

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 9 out-of-order

Storage Room # 4283

No Violations Noted

Cells

No Violations Noted

Unit 4-4 Video Court Rooms

Holding Cells

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Strong odor present

Slop Sink Closet # 4130

No Violations Noted

Staff Bathroom

No Violations Noted

CGI

Officer Station

No Violations Noted

Office

No Violations Noted

Paint Office

Unable to Inspect – Locked

Industries

Unable to Inspect – In Use

Slop Sink Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F at handwash sink

Staff Bathroom

No Violations Noted

Maintenance

No Violations Noted

Bathroom # 5166

105 CMR 451.123*	Maintenance: Floor paint damaged in shower

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Bathroom # 5163

No Violations Noted

Kitchenette

No Violations Noted

Laundry/Slop Sink # 5162

No Violations Noted

Break Area

No Violations Noted

BUILDING # 5

Food Service Area

The following food code violations listed in BOLD were observed to be corrected on-site.

Section 1

Inmate Locker Room

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123*	Maintenance: Floor paint damaged

105 CMR 451.360	Protective Measures: Drain flies observed

Slop Sink Room

105 CMR 451.360	Protective Measures: Drain flies observed

Chemical Storage

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Mechanical Warewashing Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, mold observed on wall above single bay sink

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the	mechanical warewashing machine

Pot Wash Area

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than the manufacturers recommended concentration

FC 4-501.18	Maintenance and Operation, Equipment: Sanitizing solution dirty

Pot Wash Handwash Sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F at handwash sink

Tray Rack Area

No Violations Noted

Tray Area Handwash Sink

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, handwash sink out-of-order

Section 2

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling dirty

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles and grout damaged

FC 5-205.11(B)	Plumbing System, Operations and Maintenance: Handwashing sink used for an unapproved purpose, food debris in handwash sink

Kettle Area

No Violations Noted

Handwash Sink

No Violations Noted

Prep Table/Sink

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, bottom shelf of prep table damaged

Pot/Pan Storage Room

No Violations Noted

Officer’s Office

No Violations Noted

Chef’s Office

No Violations Noted

Section 3

Stove Top Area

No Violations Noted

Section 4

Ice Machines

No Violations Noted

Refrigerator # 1

No Violations Noted

Refrigerator # 2

No Violations Noted

Refrigerator # 3

No Violations Noted

Freezer # 4

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, floor surface damaged at entrance

Prep-Table

No Violations Noted

Ovens

No Violations Noted

Section 5

Special Diet Area

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium compound (QAC) solution lower than the manufacturers recommended concentration

Dry Storage Area

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed on floor along perimeter walls and on boxes

Loading Dock

No Violations Noted

Commissary

No Violations Noted

Staff Bathroom # 5152

No Violations Noted

Section 6

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weathertight and rodent proof

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall covering damaged

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged near search rooms

Refrigerator # 6

No Violations Noted

2-Compartment Sink Area

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, no hot water suppled to 2-compartment sink

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed

Prep-Refrigerators and Tray Assembly Line

No Violations Noted

Staff Food Line

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along wall

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

FC 5-205.15(B)*	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet loose on handwash sink

Staff Dining Room

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Exterior door not weather tight and 	rodent proof

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination,

ready-to-eat foods not appropriately separated from raw foods, raw eggs stored above ready-to-eat foods in Turbo Air refrigerator

Culinary Arts Kitchen

Tool Storage

No Violations Noted

Handwash sink

No Violations Noted

Dry Storage

FC 3-304.12(A)	Preventing Contamination from Utensils: Bowl stored in flour

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food containers

Coolers and Freezers

No Violations Noted

Steam Kettle Area

No Violations Noted

Hoods

No Violations Noted

Prep Tables and Sinks

No Violations Noted

3-Compartment Sink

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

Warewash Machine

No violations Noted

Slop Sink

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed

Handwash Sink

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink, automatic soap dispenser not working

Bathroom

No Violations Noted

Classroom Section

No Violations Noted

Gym

Bathroom # 5204

No Violations Noted

Staff Bathroom # 5207

Unable to Inspect – Not Used

Slop Sink Closet # 5203

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain cover missing

105 CMR 451.353	Interior Maintenance: Standing water in mop bucket

Automotive Garage

No Violations Noted

Engineering

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F at handwash sink in bathroom

BUILDING # 6

Health Services Medical Area

Hallway

No Violations Noted

Exam Room # 1 3172

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Exam Room # 2 3134

No Violations Noted

Exam Room # 3 3171

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

Exam Room # 4 3133

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1350F at handwash sink

Exam Room # 5

Unable to Inspect – In Use

File Room # 6226

No Violations Noted

Inmate Bathroom # 6229

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Medication Room

No Violations Noted

Lab Room # 6268

No Violations Noted

Office # 6267

No Violations Noted

Office # 6264

No Violations Noted

X-Ray Room # 6265

No Violations Noted

Director of Nursing Office # 6263

105 CMR 480.425(A)	Tracking Medical or Biological Waste for Treatment: Generator did not confirm the shipment was received by the treatment facility within 30 days on an approved tracking form

Dental Exam Room # 6261

No Violations Noted

Dental Storage Closet # 6262

No Violations Noted

Medical Unit

Hallway

No Violations Noted

Recreation Room # 6258

Unable to Inspect – In Use

Kitchenette # 6256

No Violations Noted

Isolation Cells

No Violations Noted

Isolation Handwash Sink

No Violations Noted

Office # 6254

No Violations Noted

Storage Room # 6253

No Violations Noted

Storage Room # 6252

No Violations Noted

Medical Waste/Biohazard Storage # 6250

No Violations Noted

Staff Bathroom # 6247

No Violations Noted

Chemical Storage Room # 6248

No Violations Noted

Inmate Property # 6246

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Floor epoxy damaged at entrance to shower # 3

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123	Maintenance: Ceiling vent dusty in shower # 2

105 CMR 451.123	Maintenance: Walls dirty in showers # 2 and 3

105 CMR 451.123	Maintenance: Door frame paint damaged in shower # 2

Staff Lounge # 6236

No Violations Noted

Staff Bathroom # 6237

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink, automatic soap dispenser broken

Cells

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in cell # 3 and 5

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 8, 15, 16, 18, and 19

105 CMR 451.353	Interior Maintenance: Mattress cover damaged in cell # 14

Booking Area

Holding Cell # 6105

No Violations Noted

Hallway

No Violations Noted

Male Property Room # 6106

105 CMR 451.360	Protective Measures: Deceased rodent observed

Male Changing Room # 6109

No Violations Noted

Old Shower Room # 6111

No Violations Noted

Slop Sink # 6110

No Violations Noted

Medical Intake Office

No Violations Noted

Medical Bathroom # 6136

No Violations Noted

Transportation Office

No Violations Noted

Male Holding Cells

No Violations Noted

Sally Port

No Violations Noted

Control

No Violations Noted

Storage Room # 6132

105 CMR 451.360*	Protective Measures: Rodent droppings observed on floor

Break Room # 6131

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave damaged

Staff Bathroom # 6135

No Violations Noted

Storage Room # 6137

No Violations Noted

Storage Room # 6139

105 CMR 451.360	Protective Measures: Rodent droppings observed on floor

Female Changing Room # 6138

No Violations Noted

Female Holding Cells

No Violations Noted

Female Property Office

No Violations Noted

BUILDING # 7

Vehicle Trap

1st Floor

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

No Violations Noted

BUILDING # 8

Unable to Inspect – Under Construction

Observations and Recommendations

- The inmate population was 780 at the time of inspection.

- Housing Unit 1-5-2 was the COVID-19 quarantine/isolation area. There were 3 inmates housed in Unit 1-5-2.

- During this inspection it was stated that Community Work Program was no longer being used to house detainees. Please keep CSP apprised if there are plans to occupy this area in the future.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Shanene Pierce

Environmental Health Inspector, CSP, BEH