

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 781-828-7700 Fax: 781-774-6700

|  |
| --- |
| CHARLES D. BAKER  Governor  KARYN E. POLITO  Lieutenant Governor |

November 5, 2019

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118 (electronic copy)

Re: Facility Inspection – Suffolk County House of Correction, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of Suffolk County House of Correction on October 15, 16, and 17, 2019 accompanied by John Fallon, Environmental Health and Safety/Fire Safety Officer and Captain Brian Reynolds, Support Service Supervisor. Violations noted during the inspection are listed below including 605 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,



Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc: Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services (electronic copy)

Carol A. Mici, Commissioner, DOC (electronic copy)

Thomas Turco, Secretary, EOPSS (electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit (electronic copy)

Yolanda Smith, Superintendent (electronic copy)

John Fallon, EHSO/FSO (electronic copy)

Brian Reynolds, Captain, Support Service Supervisor (electronic copy)

John Meaney, Assistant Commissioner of Health, Boston Inspectional Services (electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**BUILDING # 1**

**11th Floor**

*Staff Bathroom # 1142*

No Violations Noted

*Classroom # 1145*

No Violations Noted

*Classroom # 1156*

No Violations Noted

*Slop Sink Room # 1158*

No Violations Noted

*Meeting Room*

No Violations Noted

***Program Area***

*Classroom # 1 1151*

No Violations Noted

*Classroom # 2 1153*

No Violations Noted

*Caseworker’s Office # 1143*

No Violations Noted

**Unit 1-11-1**

105 CMR 451.321 Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353 Interior Maintenance: Ceiling vents dusty

*Showers*

No Violations Noted

*Bathroom*

No Violations Noted

*Laundry Area*

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

*Kitchenette*

No Violations Noted

*Cells*

105 CMR 451.103 Mattresses: Mattress damaged in cell # 1

**Unit 1-11-2**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

*Showers* Unable to Inspect Shower # 1 – In Use

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 2 and 3

*Bathroom*

Unable to Inspect - Not in Use

*Laundry Area*

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353 Interior Maintenance: Excessive lint build-up observed behind dryer

*Kitchenette*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 740F at handwash sink

*Cells*

No Violations Noted

**10th Floor**

*10th Floor Visiting Room*

No Violations Noted

*Room # 1053*

No Violations Noted

*Room # 1054*

No Violations Noted

*Room # 1059*

No Violations Noted

*Offices*

No Violations Noted

*Staff Bathroom # 1074*

No Violations Noted

*Slop Sink Room # 1050*

No Violations Noted

**Unit 1-10-1**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

*Shower*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123 Maintenance: Door frame rusted in shower # 1, 2, and 3

*Kitchenette*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 910F at handwash sink

*Cells*

105 CMR 451.353 Interior Maintenance: Floor paint damaged in cell # 15

**Unit 1-10-2**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1, 2, and 3

*Kitchenette*

No Violations Noted

*Laundry Area*

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

*Cells*

105 CMR 451.103 Mattresses: Mattress damaged in cell # 5 and 13

**Unit 1-10-3**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Cells*

No Violations Noted

*Shower*105 CMR 451.123\* Maintenance: Ceiling vent dusty

105 CMR 451.123\* Maintenance: Soap scum on walls

*Caseworker’s Office*

No Violations Noted

**Unit 1-10-4 Women’s Infirmary Area**

*Supply Closet*

No Violations Noted

*Exam Room*

No Violations Noted

*Staff Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

**9th Floor**

*Staff Bathroom # 944*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

105 CMR 451.123 Maintenance: Floor paint damaged

*Slop Sink # 956*

No Violations Noted

*Recreation Deck # 940*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged

*Programs/Education Offices*

No Violations Noted

**Unit 1-9-1**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vents dusty

*Laundry Area*

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

*Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 3

105 CMR 451.123 Maintenance: Door frame paint damaged in shower # 1, 2, and 3

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, floor drain clogged in shower # 2

105 CMR 451.130 Hot Water: Shower water temperature recorded at 950F in shower # 2

*Closet*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Kitchenette*

No Violations Noted

*Cells*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 8 and 9

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 15

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged in cell # 15

105 CMR 451.350 Structural Maintenance: Ceiling water damaged in cell # 15

**Unit 1-9-2**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

*Laundry Area*

No Violations Noted

*Shower Area*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower head leaking at shower # 3

*Closet*

No Violations Noted

*Kitchenette*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 920F at handwash sink

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 14, 15, and 16

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 11

105 CMR 451.103 Mattresses: Mattress damaged in cell # 6

**8th Floor**

*Offices*

No Violations Noted

*Slop Sink # 848*

No Violations Noted

**Unit 1-8-1**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Kitchenette*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, water controls reversed

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1040F at handwash sink

*Laundry Area*

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353 Interior Maintenance: Excessive lint build-up observed behind dryer

*Utility Closet*

No Violations Noted

*Showers* Unable to Inspect Shower # 1 – In Use

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, Shower head missing in shower # 2

105 CMR 451.130 Hot Water: Shower water temperature recorded at 1150F in shower # 3

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 13, and 15

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 14

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 4

105 CMR 451.353 Interior Maintenance: Floor paint damaged in cell # 11, 12, and 14

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 13

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged in cell # 16

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 15

**Unit 1-8-2**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

No Violations Noted

*Kitchenette*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

*Laundry Area*

No Violations Noted

*Utility Closet*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353 Interior Maintenance: Standing water left in bucket

*Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-3

105 CMR 451.123\* Maintenance: Soap scum on floor in shower # 3

*Cells*

105 CMR 451.353 Interior Maintenance: Floor paint damaged in cell # 5, 7, 8, and 10

**7th Floor (Office Space)**

*Slop Sink Room # 755*

No Violations Noted

*Parole Office*

No Violations Noted

*Gang Intelligence Unit Office*

Unable to Inspect – Locked

**6th Floor**

*Case Worker’s Office # 645*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*6th Floor Meeting Room and Dining Hall*

105 CMR 451.360\* Protective Measures: Building not protected against infestation, rodent droppings observed on window sills

105 CMR 451.353 Interior Maintenance: Handwash sink dirty and full of debris

**Unit 1-6-1**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty outside cell # 32

*Kitchenette*

No Violations Noted

*Upper Cells*

No Violations Noted

*Upper Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123 Maintenance: Door frame rusted in shower # 1-3

*Lower Cells*

105 CMR 451.103\* Mattresses: Mattress damaged in cell # 1

105 CMR 451.103 Mattresses: Mattress damaged in cell # 2, 4, and 5

*Lower Laundry Area*

No Violations Noted

*Storage Closet # 634*

No Violations Noted

*Lower Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1 and 2

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Walls dirty

**Unit 1-6-2**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Floor tiles damaged throughout

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty outside cell # 1 and 17

*Kitchenette*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1010F at handwash sink

*Upper Storage Closet*

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged

*Upper Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, and 31

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 19, 20, 21, 22, 26, and 29

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, and 32

*Upper Showers*

105 CMR 451.123\* Maintenance: Walls dirty in shower # 2

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-3

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 2

105 CMR 451.123 Maintenance: Shower curtain missing in shower # 2

*Lower Laundry*

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

*Lower Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, and 16

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 2, 4, 7, 8, 10, 12, 14, and 16

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 8 and 12

105 CMR 451.350\* Structural Maintenance: Ceiling water damaged in cell # 6

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 5

105 CMR 451.353 Interior Maintenance: Floor paint damaged in cell # 5

105 CMR 451.350 Structural Maintenance: Ceiling water damaged in cell # 3

*Lower Showers*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-3

*Staff Bathroom # 656*

105 CMR 451.123\* Maintenance: Floor paint damaged

*Slop Sink Closet*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

**5th Floor**

*Slop Sink Room # 563*

No Violations Noted

**5th Floor Custody**

*Bathroom # 1*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Bathroom # 2*

No Violations Noted

*Kitchenette*

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

**Unit 1-5-1**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty outside cell # 16

*Utility Closet*

No Violations Noted

*Laundry Area*

No Violations Noted

*Shower Area*

105 CMR 451.123\* Maintenance: Shower push button cover missing in shower # 1

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.123 Maintenance: Door frame rusted in shower # 1-3

*Kitchenette*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1030F at handwash sink

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 11, 12, 13, 14, 15, and 16

*Classrooms*

No Violations Noted

*Library*

No Violations Noted

**Unit 1-5-2**

*Control*

No Violations Noted

*Shower*

105 CMR 451.130 Hot Water: Shower water temperature recorded at 1000F

105 CMR 451.123 Maintenance: Soap scum on walls

*Common Area*

No Violations Noted

*Kitchenette*

No Violations Noted

*Dorm Room*

No Violations Noted

*Bathroom*

105 CMR 451.123 Maintenance: Light out

*Staff Bathroom*

No Violations Noted

**Unit 1-5-2 A**

*Office # 566*

No Violations Noted

*Shower*

105 CMR 451.123 Maintenance: Door frame rusted

105 CMR 451.123 Maintenance: Soap scum on walls

*Slop Sink Closet*

No Violations Noted

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 5, 6, and 7

105 CMR 451.353 Interior Maintenance: Floor paint damaged in cell # 4

**4th Floor**

*Hallway*

No Violations Noted

*Staff Bathroom # 445*

No Violations Noted

*Slop Sink # 454*

No Violations Noted

*SERT Office*

No Violations Noted

*Utility Room*

No Violations Noted

*Visiting Area*

No Violations Noted

**Unit 1-4-1**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty outside cell # 16

*Storage Closet*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1 and 2

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 2 and 3

*Kitchenette*

105 CMR 451.353\* Interior Maintenance: Handwash sink dirty

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

*Cells*

105 CMR 451.353 Interior Maintenance: Floor paint damaged in cell # 1, 2, 10, 15, and 16

105 CMR 451.103 Mattresses: Mattress damaged in cell # 1, 9, 11, and 12

*Recreation Deck*

No Violations Noted

**Unit 1-4-2**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty outside cell # 1

*Storage Closet*

No Violations Noted

*Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123 Maintenance: Light out in shower # 1

*Kitchenette*

105 CMR 451.353 Interior Maintenance: Handwash sink dirty

105 CMR 451.126 Hot Water: Hot water temperature recorded at 930F at handwash sink

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 4, 5, 6, 14, and 15

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 14

105 CMR 451.103 Mattresses: Mattress damaged in cell # 1, 2, and 10

**3rd Floor**

*Slop Sink Room # 371*

No Violations Noted

*Non-Contact Visiting Area # 355*

No Violations Noted

*Supervisor’s Office*

No Violations Noted

*Report Writing Office*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

*Captain’s Office*

Unable to Inspect – Locked

*Disciplinary Office*

No Violations Noted

**Unit 1-3-1**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty outside cell # 16

*Room # 333 and 334*

No Violations Noted

*Storage Room # 336*

105 CMR 451.353 Interior Maintenance: Floor paint damaged

*Staff Bathroom # 337*

105 CMR 451.353 Interior Maintenance: Floor paint damaged

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 2, 3, 4, 5, 7, 8, 9, 11, 12, 13,

14, and 16

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 4, 6, 8, 15, and 16

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged in cell # 7 and 13

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 13 and 14

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower running continuously in

cell # 11

*Recreation Room*

No Violations Noted

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

**Unit 1-3-2**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Staff Bathroom # 360*

105 CMR 451.123 Maintenance: Ceiling surface damaged

*Storage Closet # 361*

No Violations Noted

*Recreation Room # 368*

No Violations Noted

*Shower Area*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-3

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1-3

105 CMR 451.123\* Maintenance: Mold growth observed on ceiling in shower # 2

105 CMR 451.123 Maintenance: Mold growth observed on door frame in shower # 1

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower # 1 and 2 out-of-order

105 CMR 451.130 Hot Water: Shower water temperature recorded at 1150F in shower # 3

105 CMR 451.123 Maintenance: Door frame rusted in shower # 1-3

*Kitchenette*

105 CMR 451.353\* Interior Maintenance: Handwash sink dirty

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, handwash sink out-of-order

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, and 16

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 2, 3, 4, and 9

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged in cell # 10 and 13

105 CMR 451.350 Structural Maintenance: Window cracked on door to cell # 7

105 CMR 451.350 Structural Maintenance: Ceiling water damaged in cell # 7

**2nd Floor**

*Checkpoint*

No Violations Noted

*Mental Health Office # 260*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Staff Bathroom # 263*

105 CMR 451.123 Maintenance: Floor paint damaged

*Chapel # 170*

No Violations Noted

*Mosque # 269*

No Violations Noted

*Slop Sink Room # 271*

105 CMR 451.353 Interior Maintenance: Wet mop stored upside down

*Main Visiting*

No Violations Noted

*Attorney Rooms*

No Violations Noted

*Staff Bathroom # 242*

No Violations Noted

*Office Area*

105 CMR 451.353 Interior Maintenance: Ceiling surface damaged in Office # 11

**Unit 1-2-1**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

No Violations Noted

*Slop Sink Room # 229*

No Violations Noted

*Closet # 236*

No Violations Noted

*Storage Room # 20*

No Violations Noted

*Bathroom # 230*

105 CMR 451.123\* Maintenance: Floor dirty in shower # 1 and 4

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1, 2, 3, and 4

105 CMR 451.123\* Maintenance: Ceiling vent dusty above toilets

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 760F at handwash sink # 4

105 CMR 451.130\* Hot Water: Shower water temperature recorded at 1300F in shower # 3

105 CMR 451.123 Maintenance: Floor dirty in shower # 2 and 3

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1340F at handwash sink # 3

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 2

105 CMR 451.117 Toilet Fixtures: Toilet fixtures dirty at urinal # 1 and 2

*Day Room*

No Violations Noted

*Bathroom # 235*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1, 3, and 4

105 CMR 451.123\* Maintenance: Ceiling vents dusty

105 CMR 451.123\* Maintenance: Sprinkler shroud missing above toilets

105 CMR 451.117 Toilet Fixtures: Toilet fixtures dirty at urinal # 1 and 2

105 CMR 451.123 Maintenance: Light out in shower # 1 and 4

*Cells*

105 CMR 451.350\* Structural Maintenance: Ceiling water damaged in cell # 15 and 16

105 CMR 451.350 Structural Maintenance: Ceiling water damaged in cell # 25

*Workout Room # 21*

No Violations Noted

*Laundry Room*

105 CMR 451.353\* Interior Maintenance: Ceiling water damaged

*TV Area*

No Violations Noted

**1st Floor**

*Lobby Area*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water stained

*Male Bathroom # 139*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, right side toilet out-of-order

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1370F at handwash sink # 2

*Female Bathroom # 140*

No Violations Noted

**Lower Administration**

105 CMR 451.353 Interior Maintenance: Ceiling tiles water stained

105 CMR 451.353 Interior Maintenance: Ceiling tiles missing

*Break Area*

No Violations Noted

*Male Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Female Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

**Central Control**

No Violations Noted

*Central Control Bathroom*

No Violations Noted

**Community Work Program**

105 CMR 451.321\* Cell Size: Inadequate floor space in all rooms

*Control Desk*

No Violations Noted

*Supply Closet*

No Violations Noted

*Staff Bathroom # 121*

No Violations Noted

*Computer Room # 122*

No Violations Noted

*Office # 123*

No Violations Noted

*Common Area*

No Violations Noted

*Serving Area*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 1390F

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of 2 microwave ovens dirty

105 CMR 451.360 Protective Measures: Building not protected against infestation, rodent droppings observed throughout

*Uniform Closet*

105 CMR 451.353 Interior Maintenance: Floor paint damaged

*Sergeant’s Office # 129*

No Violations Noted

*Slop Sink # 125*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353 Interior Maintenance: Sprinkler shroud missing

*Laundry Room*

No Violations Noted

*TV Area*

105 CMR 451.353 Interior Maintenance: Wall surface damaged near phones

*Shower # 3*

105 CMR 451.123\* Maintenance: Soap scum on walls

105 CMR 451.123\* Maintenance: Ceiling vent dusty

105 CMR 451.123 Maintenance: Sprinkler shroud missing

105 CMR 451.123 Maintenance: Ceiling epoxy damaged

*Shower # 2*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

105 CMR 451.123 Maintenance: Sprinkler shroud missing

105 CMR 451.130 Hot Water: Shower water temperature recorded at 1200F

*Bathroom/Shower # 109*

105 CMR 451.123\* Maintenance: Privacy partition paint damaged

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, floor drain clogged

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, urinal out-of-order

105 CMR 451.123 Maintenance: Soap scum on walls in shower

*Bathroom # 2*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

105 CMR 451.123\* Maintenance: Floor paint damaged

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, left faucet leaking

*Rooms*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in room # 7

105 CMR 451.353 Interior Maintenance: Wall paint damaged in room # 4 and 5

**BUILDING # 2**

*Staff Lounge*

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Vending Machines*

105 CMR 451.200 Food Storage, Preparation and Service: Food service not in compliance with

105 CMR 590.000, interior of vending machine dirty

105 CMR 451.353 Interior Maintenance: Excessive debris observed behind vending machines

*Female Locker Room # 2109*

No Violations Noted

*Male Locker Room # 2110 and 2111*

105 CMR 451.123 Maintenance: Ceiling paint damaged

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, 2 handwash sinks out-of-order

*Weight Room*

No Violations Noted

*Cardio Room*

No Violations Noted

*Locker Room # 2119*

105 CMR 451.353 Interior Maintenance: Unlabeled chemical bottle on Janitor’s cart

*Janitor’s Closet # 2121*

105 CMR 451.353\* Interior Maintenance: Wet mop stored in bucket

**Administrative Staff Area**

*Male Bathroom # 2221*

No Violations Noted

*Female Bathroom # 2222*

Unable to Inspect – In Use

*Kitchenette*

No Violations Noted

**BUILDING # 3**

**4th Floor**

*Staff Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

105 CMR 451.123\* Maintenance: Floor paint damaged

**Unit 3-3**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty at entrance

*Common Area*

105 CMR 451.353\* Interior Maintenance: Phone bases damaged

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

*Staff Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Case Worker’s Office*

No Violations Noted

*Handicapped Shower*

No Violations Noted

*Utility Closet*

No Violations Noted

*Lower Laundry Area*

No Violations Noted

*Lower Shower Area*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 2, 3, 4, and 5

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1, 2, 3, 4, and 5

105 CMR 451.130\* Hot Water: Shower water temperature recorded at 950F in shower # 3

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 2

105 CMR 451.123 Maintenance: Drain flies observed in shower # 3

*Kitchenette*

105 CMR 451.353\* Interior Maintenance: Hole in countertop

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 680F at handwash sink

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, microwave damaged

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, water control missing at

handwash sink

*Upper Laundry Area*

No Violations Noted

*Upper Shower Area*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 6, 7, 8, 9, and 10

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 6, 7, 8, 9, and 10

105 CMR 451.123\* Maintenance: Wall rusted in shower # 10

105 CMR 451.123 Maintenance: Light out in shower # 6, 9, and 10

105 CMR 451.123 Maintenance: Drain flies observed in shower # 6, 7, 8, 9, and 10

105 CMR 451.123 Maintenance: Floor tiles damaged outside showers

*Slop Sink Room*

No Violations Noted

*Uniform Storage Room*

No Violations Noted

*Cells*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 8, 17, 20, 35, 40, 42, and 43

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell #13

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged in cell # 15, 18, 19, 23, 28, and 46

105 CMR 451.103 Mattresses: Mattress damaged in cell # 27 and 51

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 10, 13, 44, and 50

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 22

105 CMR 451.353 Interior Maintenance: Handwash sink dirty in cell # 32

**Unit 3-4**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Door frame rusted at entrance

105 CMR 451.353\* Interior Maintenance: Wall paint damaged around phones

105 CMR 451.353 Interior Maintenance: Floor tiles damaged outside cell # 30

105 CMR 451.353 Interior Maintenance: Ceiling vents dusty

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

*Handicapped Shower # 3491*

No Violations Noted

*Closet # 3492*

105 CMR 451.353\* Interior Maintenance: Floor dirty

*Staff Bathroom # 3494*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Case Worker’s Office # 349*

105 CMR 451.353 Interior Maintenance: Ceiling vent cover missing

*Lower Laundry Area*

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

*Lower Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1-5

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123 Maintenance: Door frame damaged in shower # 1-5

*Kitchenette*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 480F at handwash sink

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353\* Interior Maintenance: Walls dirty

105 CMR 451.353\* Interior Maintenance: Floor dirty

105 CMR 451.353 Interior Maintenance: Handwash sink dirty

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink

*Upper Laundry Area*

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353 Interior Maintenance: Excessive lint build-up observed behind dryer

*Upper Shower Area*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 10

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 7 and 9

105 CMR 451.123 Maintenance: Door frame damaged in shower # 6-10

*Slop Sink Room # 3582*

No Violations Noted

*Uniform Storage # 3581*

105 CMR 451.353 Interior Maintenance: Floor paint damaged

*Cells*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 9, 45, 46, 47, and 53

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 6, 8, 10, 11, 12, 13, 30, 31, 39, 43, 44, 45, and 64

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 12, 14, 24, and 60

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 15

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 15, 19, 20, 23, 27, 44, and 52

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged in cell # 20, 22, 23, 41, and 52

**3rd Floor**

*Office # 3375*

No Violations Noted

*Office # 3377*

105 CMR 451.353 Interior Maintenance: Ceiling water stained

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator

*Staff Bathroom # 3378*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Chemical Storage # 3380*

No Violations Noted

*Case Worker’s Office # 3382*

No Violations Noted

*Office # 3383*

No Violations Noted

**2nd Floor**

*Staff Bathroom # 3278 and 3470*

No Violations Noted

**Unit 3-1**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

105 CMR 451.353\* Interior Maintenance: Phone bases damaged

105 CMR 451.353\* Interior Maintenance: Light flickering outside cell # 60

105 CMR 451.353 Interior Maintenance: Light out outside cell # 28

105 CMR 451.353 Interior Maintenance: Floor tile missing outside cell # 39

*Case Worker’s Office # 3269*

105 CMR 451.353 Interior Maintenance: Ceiling vent cover missing

*Staff Bathroom # 3270*

No Violations Noted

*Closet # 3265*

No Violations Noted

*Handicapped Shower Unit # 3266*

No Violations Noted

*Laundry Storage # 3366*

No Violations Noted

*Lower Laundry Area*

105 CMR 451.353\* Interior Maintenance: Wall dirty behind washer and dryer units

105 CMR 451.353\* Interior Maintenance: Excessive lint build-up observed behind dryer

*Lower Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1, 2, 3, and 4

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 3 and 4

105 CMR 451.123 Maintenance: Floor dirty in shower # 2

105 CMR 451.123 Maintenance: Light out in shower # 1 and 5

105 CMR 451.123 Maintenance: Dead drain flies observed on ceiling in shower # 1 and 3

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, shower head missing in shower # 2

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123 Maintenance: Shower curtain missing in shower # 2

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 5

*Kitchenette*

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, handwash sink out-of-order

*Upper Laundry Area*

105 CMR 451.353\* Interior Maintenance: Floor tiles damaged

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

*Slop Sink # 3365*

No Violations Noted

*Upper Shower Area*

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 6-10

105 CMR 451.123 Maintenance: Ceiling paint damaged in shower # 7

105 CMR 451.123 Maintenance: Floor dirty in shower # 6 and 8

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, floor drain clogged in shower # 7

105 CMR 451.123 Maintenance: Shower curtain missing in shower # 7, 9, and 10

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 6-10

*Cells*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 9, 11, 13, 14, 15, 16, 26, 29, and 30

105 CMR 451.350\* Structural Maintenance: Ceiling water damaged in cell # 18 and 33

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 2

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged in cell # 12, 23, 62, and 63

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 7

105 CMR 451.350 Structural Maintenance: Wall water damaged in cell # 12

105 CMR 451.350 Structural Maintenance: Ceiling water damaged in cell # 19 and 27

105 CMR 451.103 Mattresses: Mattress damaged in cell # 35 and 36

*Recreation Deck 3-1 and 3-2*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged

**Unit 3-2**

105 CMR 451.321\* Cell Size: Inadequate floor space in all cells

*Common Area*

No Violations Noted

*Staff Bathroom # 3296*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Storage Room # 3392*

No Violations Noted

*Handicapped Shower # 3293*

No Violations Noted

*Slop Sink Room # 3294*

No Violations Noted

*Lower Laundry Area*

105 CMR 451.353\* Interior Maintenance: Wall dirty behind dryer

*Lower Shower Area*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1, 3, 4, and 5

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1, 3, 4, and 5

105 CMR 451.123\* Maintenance: Shower curtain missing in shower # 5

105 CMR 451.123\* Maintenance: Floor dirty in shower # 1 and 5

105 CMR 451.123\* Maintenance: Light flickering in shower # 5

105 CMR 451.130\* Hot Water: Shower water temperature recorded at 630F in shower # 5

105 CMR 451.123 Maintenance: Shower curtain missing in shower # 1 and 5

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123 Maintenance: Floor dirty in shower # 3 and 4

105 CMR 451.123 Maintenance: Ceiling vent dusty in shower # 2

105 CMR 451.123 Maintenance: Ceiling paint damaged in shower # 5

105 CMR 451.123 Maintenance: Drain flies observed in shower # 5

*Kitchenette*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353 Interior Maintenance: Handwash sink dirty

*Upper Laundry Area*

No Violations Noted

*Upper Shower Area*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 6, 7, 8, 9, and 10

105 CMR 451.123\* Maintenance: Floor dirty and covered with paint chips in shower # 6-10

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, shower head damaged in shower # 10

105 CMR 451.123 Maintenance: Shower curtain missing in shower # 8 and 10

*Slop Sink Room # 3393*

No Violations Noted

*Cells*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 19 and 49

105 CMR 451.353 Interior Maintenance: Wall vent blocked in cell # 7 and 59

105 CMR 451.103 Mattresses: Mattress damaged in cell # 25, 27, 60, and 61

105 CMR 451.353 Interior Maintenance: Floor paint damaged in cell # 28

105 CMR 451.353 Interior Maintenance: Ceiling paint damaged in cell # 35 and 44

*Recreation Deck*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

**1st Floor**

**Education Area**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged in hallway

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty outside inmate bathroom

*Classrooms*

No Violations Noted

*Library # 3149*

No Violations Noted

*Staff Bathroom # 3142*

No Violations Noted

*Inmate Bathroom # 3162*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, toilet clogged

*Inmate Legal Services*

105 CMR 451.200\* Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, plastic utensils left uncovered and open to contamination

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Office Area # 3131*

105 CMR 451.200\* Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, interior of refrigerator dirty

*Office Staff Bathroom # 3126*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*Law # 3166*

No Violations Noted

**Canteen**

No Violations Noted

*Canteen Bathroom*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Slop Sink Closet*

No Violations Noted

**Main Laundry**

*Hallway*

105 CMR 451.350\* Structural Maintenance: Door leading to the exterior not rodent and weathertight

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged

*Office*

No Violations Noted

*Storage # 3184*

No Violations Noted

*Laundry Area*

No Violations Noted

*2-Compartment Sink*

No Violations Noted

*Handwash Sink*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, handwash sink out-of-order

105 CMR 451.353 Interior Maintenance: Handwash sink dirty

*Bathroom # 3181*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, hot water control damaged

*Storage # 3182*

No Violations Noted

**BUILDING # 4**

105 CMR 451.350\* Structural Maintenance: Main entrance not rodent and weathertight

*Dining Hall # 4137*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

**Unit 4-1**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged

105 CMR 451.353 Interior Maintenance: Wall paint damaged

*Kitchenette*

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Lower Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1-6

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 6

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123 Maintenance: Soap scum on floor in shower # 6

*Storage # 4265*

No Violations Noted

*Upper Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 7-12

105 CMR 451.123\* Maintenance: Dead drain flies observed on ceiling in shower # 7

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 7-12

105 CMR 451.123 Maintenance: Shower curtain missing in shower # 8

105 CMR 451.123 Maintenance: Dead drain flies observed on ceiling in shower # 9

105 CMR 451.123 Maintenance: Ceiling paint damaged in shower # 10

*Storage # 4364*

No Violations Noted

*Cells*

No Violations Noted

**Unit 4-2**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged throughout

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged

*Kitchenette*

No Violations Noted

*1st Tier Bathroom # 4257 and 4268*

105 CMR 451.123\* Maintenance: Floor dirty and covered with debris

105 CMR 451.123\* Maintenance: Floor paint damaged

105 CMR 451.123\* Maintenance: Urinal # 1-3 dirty

105 CMR 451.117 Toilet Fixtures: Toilet fixtures dirty at toilet # 2

*Slop Sink Closet (inside bathroom)*

No Violations Noted

*1st Tier Bathroom # 4285 and 4275*

105 CMR 451.123\* Maintenance: Wall dirty under sinks

105 CMR 451.123\* Maintenance: Floor paint damaged

105 CMR 451.123\* Maintenance: Ceiling vent dusty

105 CMR 451.123\* Maintenance: Urinal # 1-3 dirty

105 CMR 451.123 Maintenance: Sink # 1-8 dirty

105 CMR 451.123 Maintenance: Floor dirty throughout

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 2

*Slop Sink Closet (inside Bathroom # 4285 and 4275)*

No Violations Noted

*Room # 4272*

No Violations Noted

*TV Room # 4273*

No Violations Noted

*Laundry Area*

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

*Handicapped Shower # 4274*

105 CMR 451.123\* Maintenance: Floor dirty

*Uniform Storage # 4249*

No Violations Noted

*Room # 4250*

105 CMR 451.353 Interior Maintenance: Ceiling tiles water stained

*Room # 4251*

105 CMR 451.353 Interior Maintenance: Ceiling tiles water stained

*Room # 4252*

No Violations Noted

*Staff Bathroom # 4254*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 1400F at handwash sink

*Handicapped Shower # 4256*

No Violations Noted

*Laundry Area*

105 CMR 451.353\* Interior Maintenance: Walls dirty

105 CMR 451.353 Interior Maintenance: Floor dirty

105 CMR 451.353 Interior Maintenance: Excessive lint observed behind dryer

*Office # 4270 and 4271*

No Violations Noted

*2nd Tier Utility Room # 4388*

No Violations Noted

*2nd Tier Utility Room # 6123*

No Violations Noted

*Storage Room # 4353*

105 CMR 451.353 Interior Maintenance: Floor dirty

105 CMR 451.360 Protective Measures: Building not protected against infestation, rodent droppings observed on floor

*Storage Room # 4369*

No Violations Noted

*2nd Tier Bathroom # 4366 and 4354*

105 CMR 451.123\* Maintenance: Floor paint damaged throughout

105 CMR 451.123\* Maintenance: Urinal # 1-3 dirty

105 CMR 451.123\* Maintenance: Toilet # 4 dirty

105 CMR 451.123\* Maintenance: Floor dirty

105 CMR 451.123 Maintenance: Floor tiles damaged at entrance

*Slop Sink Closet (inside bathroom)*

No Violations Noted

*2nd Tier Bathroom # 4374 and 4387*

105 CMR 451.123\* Maintenance: Floor paint damaged throughout

105 CMR 451.123\* Maintenance: Floor dirty

105 CMR 451.123\* Maintenance: Ceiling vents dusty

105 CMR 451.123\* Maintenance: Countertop damaged

105 CMR 451.123 Maintenance: Urinal # 2 dirty

105 CMR 451.123 Maintenance: Ceiling dirty

105 CMR 451.123 Maintenance: Access panel damaged under sinks

*Cells*

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 4

**Unit 4-3**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged

105 CMR 451.353 Interior Maintenance: Walls dirty

*Kitchenette*

No Violations Noted

*Lower Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 1, 2, 3, 4, and 5

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, and 5

105 CMR 451.123\* Maintenance: Dead drain flies observed on ceiling in shower # 1, 2, 3, 4, and 5

*Upper Shower Area*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower # 7, 8, 9, 10, 11, and 12

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 7, 9, and 10

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 10 and 11

105 CMR 451.123 Maintenance: Shower curtain missing in shower # 9

*Storage Room # 4283*

No Violations Noted

*Cells*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 5

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 16

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 6

**Unit 4-4 Video Court Rooms**

105 CMR 451.353 Interior Maintenance: Ceiling tiles water stained

*Holding Cells*

No Violations Noted

*Inmate Bathroom*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, handwash sink 1-4 out-of-order

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, toilet # 3 out-of-order

105 CMR 451.117 Toilet Fixtures: Toilet fixtures dirty at toilet # 1 and 2

105 CMR 451.123 Maintenance: Floor dirty throughout

105 CMR 451.123 Maintenance: Walls dirty

105 CMR 451.123 Maintenance: Floor paint damaged

*Slop Sink Closet # 4130*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Staff Bathroom*

No Violations Noted

**CGI**

*Officer Station*

No Violations Noted

*Office*

No Violations Noted

*Industries*

No Violations Noted

*Slop Sink Closet*

No Violations Noted

*Staff Bathroom*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1410F at handwash sink

*Inmate Bathroom*

No Violations Noted

**Maintenance**

*Bathroom # 5166*

No violations Noted

*Bathroom # 5163*

No Violations Noted

*Kitchenette*

105 CMR 451.200\* Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, refrigerator gaskets damaged

*Laundry/Slop Sink # 5162*

No Violations Noted

*Break Area*

No Violations Noted

**BUILDING # 5**

**Food Service Area**

FC 6-501.11\* Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor tiles damaged throughout kitchen

***Section 1***

*Inmate Locker Room*

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling vent dusty

FC 5-205.15(B) Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, urinal running continuously

FC 6-501.11 Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

*Slop Sink Room*

Unable to Inspect – Under Repair

*Chemical Storage*

No Violations Noted

*Staff Bathroom*

No Violations Noted

*Pot Wash Area*

FC 6-501.11\* Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall damaged under 3-compartment sink unit

FC 5-205.15(B)\* Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, pipes leaking water below 3-compartment sink unit

FC 5-205.15(B) Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, left side faucet leaking on 3-Compartment sink

*Mechanical Warewashing Area*

FC 5-205.15(B)\* Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, ceiling paint damaged

FC 5-205.15(B)\* Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sprayer head damaged at left side sink

FC 5-205.15(B) Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sprayer head damaged at right side sink

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, mold growth observed on ceiling

FC 4-501.11(A) Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, 2 warewashing machines out-of-order

*Pot Wash Handwash Sink*

No Violations Noted

*Tray Area Handwash Sink*

FC 5-205.15(B)\* Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking

***Section 2***

*Kettles*

FC 5-205.15(B)\* Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking on right side kettle

*Handwash Sink*

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, sink dirty

*Prep Table/Sink*

FC 6-501.11 Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, can opener dirty

FC 6-501.111 Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

*Pot/Pan Storage Room*

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

*Officer’s Office*

No Violations Noted

*Chef’s Office*

No Violations Noted

***Section 3***

*Stove Top Area*

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed behind equipment

***Section 4***

*Prep-Table*

No Violations Noted

*Refrigerator # 1*

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on floor

*Refrigerator # 2*

No Violations Noted

*Refrigerator # 3*

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed on floor

*Ice Machine*

FC 4-501.11(A)\* Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, hinges rusted on right side ice machine

*Freezer # 4*

FC 4-501.11(A)\* Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice build-up observed around fans

***Section 5***

*Special Diet Area*

FC 4-501.11(B)\* Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged on hold holding unit # 2

*Dry Storage Area*

FC 6-501.12(A)\* Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along perimeter of room

*Loading Dock*

FC 6-202.15(A)(2) Design, Construction, and Installation; Functionality: Left side garage door not weather and vermin tight

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

*Commissary*

No Violations Noted

*Staff Bathroom # 5152*

FC 6-501.12(A)\* Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling vent dusty

***Section 6***

FC 6-202.15(A)(2)\* Design, Construction, and Installation; Functionality: Exterior door not weather and vermin tight

*Refrigerator # 6*

No Violations Noted

*2-Compartment Sink Area*

FC 5-205.15(B)\* Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet loose on 2-compartment sink

*Prep-Refrigerators and Tray Assembly Line*

FC 4-501.11(B) Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, door does not close easily on hot holding unit

*Staff Food Line*

FC 4-501.11(A)\* Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, hot holding unit unable to fully close

FC 6-501.12(A)\* Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along wall

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty

FC 6-501.11 Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged

FC 6-501.111 Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

*Staff Dining Room*

FC 6-202.15(A)(2) Design, Construction, and Installation; Functionality: Exterior door not weather and vermin tight

FC 6-501.111 Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

FC 4-501.11(B) Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged on milk refrigerator

FC 5-205.15(B) Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet loose on handwash sink

FC 5-205.15(B) Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, faucet leaking on handwash sink

FC 6-501.12(A) Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed along wall

**Culinary Arts Kitchen**

FC 6-202.15(A)(2) Design, Construction, and Installation; Functionality: Exterior door not weather and vermin tight

*Tool Storage*

No Violations Noted

*Handwash sink*

No Violations Noted

*Coolers and Freezers*

No Violations Noted

*Steam Kettle Area*

No Violations Noted

*Hoods*

No Violations Noted

*Prep Tables and Sinks*

No Violations Noted

*3-Compartment Sink*

No Violations Noted

*Warewash Machine*

No violations Noted

*Slop Sink*

No Violations Noted

*Handwash Sink*

No Violations Noted

*Bathroom*

No Violations Noted

*Classroom Section*

No Violations Noted

**Gym**

*Bathroom # 5204*

105 CMR 451.123 Maintenance: Light fixture cover missing

*Staff Bathroom # 5207*

105 CMR 451.123\* Maintenance: Ceiling water damaged

*Slop Sink Closet # 5203*

No Violations Noted

**Automotive Garage**

No Violations Noted

**Engineering**

No Violations Noted

**BUILDING # 6**

105 CMR 451.350\* Structural Maintenance: Exterior door not rodent and weathertight at entrance to

Health Services

**Health Services Medical Area**

*Hallway*

No Violations Noted

*Exam Room # 1 3172*

No Violations Noted

*Exam Room # 2 3134*

No Violations Noted

*Exam Room # 3 3171*

No Violations Noted

*Exam Room # 4 3133*

No Violations Noted

*File Room # 6226*

No Violations Noted

*Inmate Bathroom # 6229*

105 CMR 451.117\* Toilet Fixtures: Toilet fixtures damaged

105 CMR 451.123\* Maintenance: Floor dirty

*Medication Room*

No Violations Noted

*Office # 6269*

No Violations Noted

*Lab Room # 6268*

No Violations Noted

*Office # 6267*

105 CMR 480.500(B) Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment, no log for month of October

105 CMR 480.500(B) Procedures; Records; Record-Keeping Log: Generator did not maintain a record-keeping log for waste sent off-site for treatment, September log does not indicate that all shipping papers are present

*Office # 6264*

No Violations Noted

*X-Ray Room # 6265*

No Violations Noted

*Medical Director’s Office # 6263*

No Violations Noted

*Dental Exam Room # 6261*

No Violations Noted

*Dental Storage Closet # 6262*

No Violations Noted

**Medical Unit**

*Recreation Room # 6258*

No Violations Noted

*Kitchenette # 6256*

No Violations Noted

*Isolation Cells*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty in cell # 5

*Isolation Handwash Sink*

No Violations Noted

*Office # 6254*

No Violations Noted

*Storage Room # 6253*

No Violations Noted

*Storage Room # 6252*

105 CMR 451.353 Interior Maintenance: Floor tiles damaged

*Medical Waste/Biohazard Storage # 6250*

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged

105 CMR 451.353\* Interior Maintenance: Ceiling dirty

*Staff Bathroom # 6247*

No Violations Noted

*Chemical Storage Room # 6248*

No Violations Noted

*Inmate Property # 6246*

No Violations Noted

*Shower Area*

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 1200F at shower # 3

*Staff Lounge*

No Violations Noted

*Staff Bathroom # 6237*

No Violations Noted

*Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 1, 3, 8, 9, 10, 15, 16, and 18

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty in cell # 1, 3, 9, 10, 11, 13, 14, 15, 16, and 17

105 CMR 451.353\* Interior Maintenance: Ceiling paint damaged in cell # 12

105 CMR 451.103 Mattresses: Mattress damaged in cell # 11

**Booking Area**

*Hallway*

No Violations Noted

*Control*

No Violations Noted

*Male Changing Room # 6109*

No Violations Noted

*Property Room # 6106*

No Violations Noted

*Old Shower Room # 6111*

No Violations Noted

*Male Holding Cells*

105 CMR 451.353\* Interior Maintenance: Floor paint damaged in cell # 1 and 2

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 2, 3, and 10

105 CMR 451.353\* Interior Maintenance: Floor dirty in cell # 10

*Slop Sink # 6110*

No Violations Noted

*Medical Intake Office*

No Violations Noted

*Medical Bathroom # 6114*

105 CMR 451.123\* Maintenance: Ceiling paint damaged

*Break Room # 6131*

No Violations Noted

*Staff Bathroom # 6135*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Female Property Room # 6139*

No Violations Noted

*Female Changing Room # 6138*

No Violations Noted

*Storage Room # 6132*

No Violations Noted

*Room # 6137*

Unable to Inspect – Locked

*Female Holding Cells*

105 CMR 451.353 Interior Maintenance: Floor paint damaged in cell # 7

*Sally Port*

No Violations Noted

**BUILDING # 7**

**Vehicle Trap**

**1st Floor**

No Violations Noted

*Bathroom*

No Violations Noted

**2nd Floor**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged

**BUILDING # 8**

**1st Floor - Unit 8-1**

**Staff Area**

*Staff Bathroom # 8-106*

Unable to Inspect – In Use

*Electrical # 8-108*

No Violations Noted

*Property # 8-111*

No Violations Noted

*Offices*

No Violations Noted

**Common Area**

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty in laundry area

105 CMR 451.353 Interior Maintenance: Wall vent dusty

*Video Court # 8-114*

No Violations Noted

*Office # 8-115*

No Violations Noted

*Staff Break Room # 8-116*

No Violations Noted

*Immigration Office # 8-117*

No Violations Noted

*Storage # 8-118 A*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Storage # 8-118 B*

No Violations Noted

*Laundry Area*

105 CMR 451.360 Protective Measures: Building not protected against infestation, rodent droppings observed behind dryers

*Slop Sink Room # 8-123*

No Violations Noted

**Housing Area**

*Inmate Bathroom # 8-121*

105 CMR 451.123\* Maintenance: Wall vent dusty above showers

105 CMR 451.126\* Hot Water: Hot water temperature recorded at 720F at handwash sink # 6

105 CMR 451.123 Maintenance: Toilet # 2 dirty

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, handwash sink # 4 clogged

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1-5

*Inmate Bathroom # 8-122*

105 CMR 451.123\* Maintenance: Wall and ceiling water damaged near showers

105 CMR 451.123\* Maintenance: Wall vent dusty above showers

105 CMR 451.123\* Maintenance: Soap scum on bench and floor in handicapped shower

105 CMR 451.123\* Maintenance: Light out above sinks

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, toilet # 6 clogged

*Cells*

No Violations Noted

**2nd Floor - Unit 8-2**

**Staff Area**

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, no functioning thermometer in refrigerator in hallway

*Staff Bathroom # 8-206*

No Violations Noted

*Medical # 8-207*

Unable to Inspect – Locked

*Property # 8-211*

No Violations Noted

*Medical # 8-212*

No Violations Noted

*Electrical # 8-226*

No Violations Noted

**Common Area**

105 CMR 451.353 Interior Maintenance: Water fountain dirty

*Computer Room # 8-214*

No Violations Noted

*Recreation Room # 8-215*

No Violations Noted

*Recreation Room # 8-216*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Recreation Room # 8-217*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged

105 CMR 451.353 Interior Maintenance: Baseboard damaged

*Uniform Storage # 8-219*

No Violations Noted

*Storage # 8-218 A*

No Violations Noted

*Storage # 8-218 B*

No Violations Noted

*Laundry Area*

No Violations Noted

**Housing Area**

*Inmate Bathroom # 8-221*

105 CMR 451.123\* Maintenance: Wall vent dusty above showers

105 CMR 451.123\* Maintenance: Wall paint damaged

105 CMR 451.123\* Maintenance: Toilet # 2 dirty

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123 Maintenance: Handwash sink # 1-7 dirty

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1, 3, 4, and 5

105 CMR 451.123 Maintenance: Shower curtain missing in shower # 1, 4, and 5

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

*Inmate Bathroom # 8-222*

105 CMR 451.123\* Maintenance: Wall vent dusty above showers

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 2 and 4

105 CMR 451.123 Maintenance: Handwash sink # 1-6 dirty

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1, 3, and 5

105 CMR 451.123 Maintenance: Drain flies observed in shower area

105 CMR 451.123 Maintenance: Wall surface damaged near entrance

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, handwash sink # 4

running continuously

*Slop Sink # 8-223*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Cells*

105 CMR 451.353\* Interior Maintenance: Wall and ceiling dusty around wall vent in cell # 5

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 6 and 12

105 CMR 451.103 Mattresses: Mattress damaged in cell # 1, 4, 5, 7, 9, 10, 11, 12, and 13

**3rd Floor - Unit 8-3**

**Staff Area**

*Staff Bathroom # 8-306*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Storage # 8-314*

No Violations Noted

*Property # 8-311*

No Violations Noted

*Electrical # 8-326*

No Violations Noted

*Offices*

No Violations Noted

**Common Area**

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, right side water fountain out-of-order

105 CMR 451.353 Interior Maintenance: Wall vent dusty

*Computer Room # 8-307*

No Violations Noted

*Recreation Room # 8-315*

No Violations Noted

*Recreation Room # 8-316*

No Violations Noted

*Recreation Room # 8-317*

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353 Interior Maintenance: Ceiling damaged

*Uniform Storage # 8-319*

No Violations Noted

*Storage # 8-318 A*

No Violations Noted

*Storage # 8-318 B*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Laundry Area*

105 CMR 451.353 Interior Maintenance: Handwash sink dirty

105 CMR 451.353 Interior Maintenance: Dryer vent duct damaged

105 CMR 451.353 Interior Maintenance: Excessive lint and debris observed behind washer and dryer

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

**Housing Area**

*Slop Sink Room # 8-323*

No Violations Noted

*Inmate Bathroom # 8-321*

105 CMR 451.123\* Maintenance: Wall vent dusty above showers

105 CMR 451.123\* Maintenance: Toilet # 1 rusted

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123\* Maintenance: Toilet # 2 dirty

105 CMR 451.123 Maintenance: Curtain dirty at toilet # 1

105 CMR 451.123 Maintenance: Shower curtain missing at shower # 2, 3, and 5

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, handwash sink # 5 damaged

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink # 5

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, floor drain clogged outside showers

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

*Inmate Bathroom # 8-322*

105 CMR 451.123\* Maintenance: Floor dirty throughout

105 CMR 451.123\* Maintenance: Wall vent dusty above showers

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123\* Maintenance: Sink # 3 and 4 dirty

105 CMR 451.123\* Maintenance: Floor paint damaged

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, Handwash sink # 2

running continuously

*Cells*

No Violations Noted

**4th Floor - Unit 8-4**

**Staff Area**

*Staff Bathroom*

No Violations Noted

*Offices*

No Violations Noted

*Supply Room*

No Violations Noted

*Property*

No Violations Noted

**Common Area**

*Computer Room # 8-414*

No Violations Noted

*TV Room # 8-415*

No Violations Noted

*TV Room # 8-416*

No Violations Noted

*Recreation Room # 8-417*

105 CMR 451.200\* Food Storage, Preparation and Service: Food preparation not in compliance with 105 CMR 590.000, interior of microwave oven dirty

*Closet # 8-418A*

No Violations Noted

*Mop Closet # 8-418B*

No Violations Noted

**Housing Area**

*Slop Sink Closet # 8-423*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353 Interior Maintenance: Standing water left in bucket

*Bathroom # 8-421*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.126 Hot Water: Hot water temperature recorded at 910F at handwash sink # 1

*Bathroom # 8-422*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1-5

105 CMR 451.123\* Maintenance: Wall vent dusty above showers

105 CMR 451.350 Structural Maintenance: Ceiling leaking above handwash sinks

105 CMR 451.123 Maintenance: Shower curtain missing at shower # 5

*Cells*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged in cell # 3

105 CMR 451.353 Interior Maintenance: Wall paint damaged in cell # 8, 9, and 12

105 CMR 451.103 Mattresses: Mattress damaged in cell # 2

**Observations and Recommendations**

1. The inmate population was 721 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Retail Food”. Then under “Regulations” click “2013 Food Code Merged with 105 CMR 590 and 2013 Food Code”

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Processing”. Then under “Regulations” click “105 CMR 500.000: Good Manufacturing Practices for Food”

This inspection report is signed and certified under the pains and penalties of perjury.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,



Patrick Wallace

Environmental Health Inspector, CSP, BEH