The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

lauren.molotnikov@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

February 2, 2012

Andrea J. Cabral, Sheriff

Suffolk County House of Correction

20 Bradston Street

Boston, MA 02118

Re: Facility Inspection

Dear Sheriff Cabral:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Suffolk County House of Correction on January 17 and 18, 2012 accompanied by Sergeant Daniel Hickey, EHSO/FS. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Building # 1

Lobby Area

No Violations Noted

Men’s Bathroom # 139

105 CMR 451.123	Maintenance: Backsplash damaged

Women’s Bathroom # 140

No Violations Noted

11th Floor

Staff Bathroom # 1142

105 CMR 451.123	Maintenance: GFI outlet reset button damaged

Computer Room # 1155

105 CMR 451.353	Interior Maintenance: Wall repair not finished in a work-person like fashion

Slop Sink Room # 1158

No Violations Noted

Meeting Room

No Violations Noted

Classroom #1 (1151)

No Violations Noted

Classroom # 2 (1153)

No Violations Noted

Caseworker’s Office # 1143

No Violations Noted

Kitchen Area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, shelf area water damaged with possible mold growth

Unit 1-11-1

Common Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent blocked near TV area

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged near cell # 8

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Showers

105 CMR 451.123*	Maintenance: Ceiling not easily cleanable, paint damaged in shower # 1

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty in toilet stall # 1

105 CMR 451.123	Maintenance: Covered trash receptacles damaged in stall # 1, 2, and 3

Kitchenette

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet loose

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels at handwash sinks

Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent not attached properly

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 15

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350*	Structural Maintenance: Window and wall area leaking in cell # 8

Unit 1-11-2	Unit closed at the time of inspection – Ceiling leak

10th Floor

10th Floor Visiting Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained due to existing roof leak

Room #1059

No Violations Noted

Staff Bathroom # 1074

No Violations Noted

Slop Sink Room # 1050

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Unit 1-10-1

Common Area

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Shower

105 CMR 451.123	Maintenance: Vent dirty in shower # 1

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 960F

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

Unit 1-10-2

Common Area

No Violations Noted

Showers	Shower # 1 and 2 occupied at the time of inspection

No Violations Noted

Kitchenette

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent hose damaged

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 3 and 4

Unit 1-10-3

Common Area

No Violations Noted

Showers

No Violations Noted

Cells

No Violations Noted

Unit 1-10-4 Women’s Infirmary Area

Common Area

105 CMR 451.350	Structural Maintenance: Ceiling cracked

Control Area

No Violations Noted

Room # 1

No Violations Noted

Room # 2

No Violations Noted

Exam Room and Cell # 1062	Locked at the time of inspection

Exam Room # 1063	Locked at the time of inspection

Staff Bathroom #1067

No Violations Noted

Room # 1068	Locked at the time of inspection

9th Floor

Staff Bathroom # 944

No Violations Noted

Slop Sink # 956

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

105 CMR 451.353	Interior Maintenance: Vent dirty

Unit 1-9-1

Common Area

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 1 and 2

Storage Room # 934

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished

105 CMR 451.353*	Interior Maintenance: Vent cover missing

Kitchenette

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 970F

Laundry Area

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 3, 8, 11, and 15

105 CMR 451.350	Structural Maintenance: Wall not weather tight in cell # 1 and 16

Unit 1-9-2

Common Area

No Violations Noted

Shower Area	Shower # 2 occupied at the time of inspection

No Violations Noted

Slop Sink Room

No Violations Noted

Storage Room # 958

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.353	Interior Maintenance: Wet mop left on floor

105 CMR 451.353	Interior Maintenance: Vent cover missing

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350	Structural Maintenance: Window does not appear to be weather tight in cell # 8, 9, 	and 16

8th Floor

8th Floor Program Area

105 CMR 451.350	Structural Maintenance: Ceiling water damaged from leaking roof

Outside Recreational Deck

No Violations Noted

Unit 1-8-1

Common Area

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Soap scum on wall under water controls in showers

105 CMR 451.123	Maintenance: Dead flies observed on ceiling in shower stall # 1 and 3

Storage Room # 834

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.353	Interior Maintenance: Chemical bottle incorrectly labeled

105 CMR 451.353	Interior Maintenance: Mop bucket not emptied after use

105 CMR 451.353	Interior Maintenance: Wet mop not hung properly to dry

105 CMR 451.353	Interior Maintenance: Vent cover missing

Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 10

Unit 1-8-2

Common Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged outside cell # 1

Shower Area

105 CMR 451.123*	Maintenance: Wall vent dirty in shower # 2 and 3

Storage Room

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.353	Interior Maintenance: Light fixture not installed properly

105 CMR 451.353	Interior Maintenance: Vent cover missing

105 CMR 451.353	Interior Maintenance: Mop bucket not emptied after use

105 CMR 451.353	Interior Maintenance: Wet mop not hung properly to dry

Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350	Structural Maintenance: Wall does not appear to be weather tight in cell # 9

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 1, 6, 8, and 13

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8

7th Floor (Office Space)

Slop Sink Room # 755

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly

6th Floor

6th Floor Meeting Room and Dining Hall

No Violations Noted

Kitchenette

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 960F

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, drain clogged

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, handwash sink 	dirty

Slop Sink Room # 649

No Violations Noted

Unit 1-6-1

Common Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

105 CMR 451.350	Structural Maintenance: Wall damaged near window outside cell # 8

Lower Tier Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 1

Upper Tier Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

Recreational Deck # 640

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Storage Room # 733

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Kitchenette

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 970F

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, water controls not installed properly

Laundry Area

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 14

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 3 and 25

Unit 1-6-2

Common Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged outside cell # 10 and 11

105 CMR 451.353	Interior Maintenance: Chemical bottles incorrectly labeled

Staff Bathroom # 656

No Violations Noted

Lower Tier Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Wall dirty in shower # 2

105 CMR 451.123	Maintenance: Flying insects observed in shower area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 out-of-order

Upper Tier Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Wall dirty in shower # 1

105 CMR 451.123	Maintenance: Dead insects observed on wall in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 3 out-of-order

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Chemical bottles incorrectly labeled

Storage Room # 757

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, water controls not installed properly

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels provided

Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink clogged in cell # 17

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.330	Room Temperature: Room temperature 620F in cell # 1

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 23

5th Floor

Slop Sink Room # 563

No Violations Noted

5th Floor Custody

Bathroom # 1

No Violations Noted

Bathroom # 2

No Violations Noted

Kitchenette

No Violations Noted

Unit 1-5-1

Common Area

No Violations Noted

Library # 540

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 1 and 2

Kitchenette

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent hose detached

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 4 and 8

105 CMR 451.350	Structural Maintenance: Wall does not appear to be weather tight in cell # 2

Unit 1-5-2

Common Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink clogged in alcove

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket in sink alcove

Shower # 565

105 CMR 451.123	Maintenance: Vent dirty

Staff Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

Dorm 1-5-2

No Violations Noted

Dorm Bathroom

105 CMR 451.123	Maintenance: Window damaged

Unit 1-5-2 Cell

Showers # 565

105 CMR 451.123	Maintenance: Vent dirty

105 CMR 451.123	Maintenance: Soap scum on walls in showers

Cells

105 CMR 451.350	Structural Maintenance: Door window pane damaged

4th Floor

Hallway

105 CMR 451.353	Interior Maintenance: Light shields dirty

Staff Bathroom #445

105 CMR 451.123*	Maintenance: Floor not easily cleanable, paint damaged in bathroom

105 CMR 451.123*	Maintenance: Wall dirty

Slop Sink # 454

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly

Utility Room

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Vent cover missing

4th Floor Rec Deck

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Unit 1-4-1

Common Area

No Violations Noted

Storage Room # 434

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 1

Kitchenette

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, GFI outlets 	damaged

Cells

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Floor paint damaged near sink in cell # 6

Unit 1-4-2

Common Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged outside cell # 6

105 CMR 451.353	Interior Maintenance: Vents dirty

105 CMR 451.353	Interior Maintenance: Ceiling leaking near # 461

Storage # 461

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Shower Area

105 CMR 451.123	Maintenance: Light fixture not functioning properly in shower # 464

Kitchenette

FC 2-402.11	Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate 	hair restraints, beard guards and hair nets not in use at the start of food service

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Cells

105 CMR 451.330	Room Temperature: Room temperature 620F in cell # 7

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 3 and 14

3rd Floor

Slop Sink Room # 371

No Violations Noted

3rd Recreational Deck

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Unit 1-3-1

Common Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged near cell # 10

105 CMR 451.353	Interior Maintenance: Sprinkler head dirty above cell # 4

Storage Room # 336

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Chemical bottles incorrectly labeled

Staff Bathroom # 337

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 10

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure in cell # 11

105 CMR 451.330	Room Temperature: Room temperature 530F in cell # 16

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 5, 7, and 10

Unit 1-3-2

Common Area

No Violations Noted

Staff Bathroom # 360

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 365 and 366

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 365 and 366

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 365 out-of-order

105 CMR 451.130	Hot Water: Shower water temperature recorded at 700F

Kitchenette

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Cells

No Violations Noted

2nd Floor

Office Area

No Violations Noted

Slop Sink Room # 229

105 CMR 451.130*	Plumbing: Pipe below flood rim in slop sink drain

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling water stained

Bathroom # 230

105 CMR 451.123*	Maintenance: Counter top and backsplash damaged

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Shower curtain rope not easily cleanable

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

Bathroom # 235

105 CMR 451.123*	Maintenance: Counter top and backsplash damaged in bathroom

105 CMR 451.123	Maintenance: Hot water control loose on sink # 1

105 CMR 451.123	Maintenance: Hot water control missing on sink # 2

105 CMR 451.123	Maintenance: Cold water controls loose on sink # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 2 and 3 leaking

Storage Room # 14

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Rooms

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in room # 17 and 19

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly in

room # 18 and 19

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in room # 10, 15, 16, 25, 28, 30, and 32

105 CMR 451.350	Structural Maintenance: Wall damaged in room # 30

105 CMR 451.350*	Structural Maintenance: Window damaged in room # 25 and 32

Laundry Room

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.350*	Structural Maintenance: Unfinished ceiling and wall repairs

105 CMR 451.350*	Structural Maintenance: Counter top damaged

105 CMR 451.353*	Interior Maintenance: Wall covering loose

TV Area

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

1st Floor

Community Work Program

Common Area

No Violations Noted

Control Desk

No Violations Noted

Bathroom # 109

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Floor not easily cleanable, paint damaged under toilet unit

105 CMR 451.123	Maintenance: Aerator missing from faucet on sink # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1070F

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, overflow drain pipe disconnected 	from sink

Shower # 109

105 CMR 451.123	Maintenance: Vent rusted

Bathroom

105 CMR 451.123	Maintenance: Ceiling vents dirty

105 CMR 451.123	Maintenance: Floor not easily cleanable, paint damaged under toilet unit

105 CMR 451.123	Maintenance: Backsplash not secured properly

105 CMR 451.123	Maintenance: Backsplash not secured properly

105 CMR 451.126	Hot Water: Hot water temperature recorded at 890F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, overflow drain pipe disconnected 	from sink

Shower # 1

105 CMR 451.123	Maintenance: Sprinkler head painted over

Shower # 2

105 CMR 451.123	Maintenance: Sprinkler head painted over

105 CMR 451.123	Maintenance: Dead and live insects observed in shower area

Rooms

105 CMR 451.330	Room Temperature: Room temperatures ranged from 610F in room # 33 to 820F in 	room # 7

Laundry Room

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not functioning 	properly, light “blinking”

105 CMR 451.350*	Structural Maintenance: Wall and baseboard damaged

105 CMR 451.353*	Interior Maintenance: Floor dirty

TV Area

No Violations Noted

Utility Closet

No Violations Noted

Staff Bathroom # 121

105 CMR 451.123	Maintenance: Ceiling paint damaged

Office # 123

No Violations Noted

Kitchen

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, GFI outlet 	damaged

Slop Sink Room # 125

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

105 CMR 451.353	Interior Maintenance: Slop sink damaged

105 CMR 451.353	Interior Maintenance: Chemical bottles incorrectly labeled

Main Floor

Chapel # 170

No Violations Noted

Therapy Room # 269

No Violations Noted

Staff Bathroom #263

No Violations Noted

Building # 2

Hallway

105 CMR 451.353	Interior Maintenance: Baseboard damaged

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Staff Lounge

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	gasket dirty

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior 	surfaces of refrigerator dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 470F

Vending Machines

No Violations Noted

Water Fountain

105 CMR 451.124*	Water Supply: Insufficient water supply in quantity and pressure water fountain

Women’s Locker Room # 2109

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F

Men’s Locker Room # 2110

105 CMR 451.123	Maintenance: Ceiling vents dirty

Men’s Locker Room #2111

105 CMR 451.123	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Wall dirty near toilets

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1010F

Weight Room

105 CMR 451.353	Interior Maintenance: Weight benches not covered properly and easily cleanable

Locker Room # 2119

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Administrative Staff Area

Men’s Room # 2221

No Violations Noted

Women’s Room #2222

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 104 0F

Kitchenette

FC 4-101.16*	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

Building # 3

1st Floor Education Area

Common Area

No Violations Noted

Classrooms

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Library # 3149

No Violations Noted

Staff Bathroom # 3142

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Inmate Bathroom # 3162	Occupied at the time of inspection

Office Area # 3131

105 CMR 451.353	Interior Maintenance: Ceiling water stained

Office Staff Bathroom # 3126

No Violations Noted

2nd Floor Housing

Staff Bathroom # 3470

No Violations Noted

Staff Bathroom # 3278

105 CMR 451.123	Maintenance: Vent dirty

Unit 3-1

Common Area

No Violations Noted

Staff Bathroom # 3270

105 CMR 451.123	Maintenance: GFI outlet damaged

Slop Sink Room # 3265

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Light fixture dirty

105 CMR 451.353	Interior Maintenance: Wall dirty

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Handicap Equipped Shower Unit # 3266

No Violations Noted

Laundry Storage # 3366

No Violations Noted

Lower Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent hose damaged

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind washing and dryer unit

Lower Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4 and 5

Kitchenette

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

Upper Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged and detached

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind washing and dryer units

Upper Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 7, 8, and 10

105 CMR 451.123	Maintenance: Vent dirty in shower # 8 and 10

Cells

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 1, 4, 5, 6, 11, 13, 15, 17, 19, 20, 	21, 26, 27, 28, 29, 30, 31, 32, 44, 45, 50, 51, 53, 55, 57, 58, 59, 61, 62, 63, and 64

105 CMR 451.350*	Structural Maintenance: Water stains and leaking on ceiling and wall in cell # 5 and 	52

105 CMR 451.350	Structural Maintenance: Window does not appear to be weather tight in cell # 34

Unit 3-2

Common Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged outside handicap equipped shower unit 	# 3266 and cell # 16

105 CMR 451.353	Interior Maintenance: Outlet uncapped near exit sign

105 CMR 451.353	Interior Maintenance: Window dirty near cell # 60

Staff Bathroom # 3296

105 CMR 451.123	Maintenance: Vent dirty

Slop Sink Room # 3294

105 CMR 451.353	Interior Maintenance: Wall and vent dirty

Handicap Equipped Shower Unit # 3266

Used for storage at the time of inspection

Storage Room # 3392

No Violations Noted

Lower Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

Lower Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4

105 CMR 451.123	Maintenance: Drain flies observed in shower # 1

Kitchenette

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 710F

Upper Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

Upper Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 7, 8, and 9

Slop Sink Room # 3393

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Floor drain cover missing

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet out-of-order in cell # 47

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 2, 4, 6, 11, 12, 26, 28, 29, 30, 31, 	32, 34, 36, 37, 40, 46, 47, 50, 52, 57, 61, 62, 63, and 64

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Unit 3-3	Unit was closed at the time of inspection

Unit 3-4

Common Area

105 CMR 451.350	Structural Maintenance: Window damaged near cell # 16

105 CMR 451.353	Interior Maintenance: Vents dirty

Staff Bathroom # 3494

No Violations Noted

Handicap Equipped Shower Unit # 3491

105 CMR 451.123	Maintenance: Shower renovations not completed properly

Slop Sink Room # 3492

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent hose damaged

105 CMR 451.350*	Structural Maintenance: Ceiling repair unfinished

105 CMR 451.353*	Interior Maintenance: Vent cover missing

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Lower Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

Lower Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 5

Kitchenette

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 600F

Upper Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

Upper Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 8, 9, and 10

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 10

Slop Sink Room # 3582

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent hose detached

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 8

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells triple bunked

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 6, 7, 14, 15, 26, 27, 28, 30, 31, 34, 	36, 38, 40, 42, 50, 51, 52, 53, 54, 56, 58, 60, 62, and 63

105 CMR 451.350	Structural Maintenance: Window area does not appear to be weather tight in cell # 41

Main Laundry

Hallway

No Violations Noted

Office

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 560F

Laundry Area

No Violations Noted

Two-Compartment Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

Handwash Sink

No Violations Noted

Bathroom # 3181

No Violations Noted

Canteen

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

105 CMR 451.353*	Interior Maintenance: Vent cover missing

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice buildup in freezer unit

Slop Sink # 3189

105 CMR 451.353	Interior Maintenance: Vent dirty

Bathroom # 3190

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Building # 4

Bathroom # 4257 and 4268

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Caulking missing around sink fixtures

105 CMR 451.123*	Maintenance: All handwash sinks dirty

105 CMR 451.123*	Maintenance: Countertop damaged, front edge missing

105 CMR 451.123	Maintenance: Flying insects observed in bathroom

105 CMR 451.123	Maintenance: Caulking loose on backsplash

105 CMR 451.126	Water Supply: No hot or cold water supplied to handwash sink # 1, 3, and 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 2 out-of-order

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink # 5 leaking

Bathroom # 4275 and 4285

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Floor paint damaged under sink fixtures

105 CMR 451.123	Maintenance: Sink # 8 dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 990F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 6 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water controls missing on sink # 8

Bathroom # 4354 and 4366

105 CMR 451.123*	Maintenance: Floor paint damaged under sink fixtures

105 CMR 451.123*	Maintenance: Ceiling water damaged

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Vent dirty in slop sink room

Bathroom # 4374 and 4387

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Dead drain flies observed near sink fixtures

105 CMR 451.123*	Maintenance: Ceiling and wall vent dirty

Unit 4-1

Common Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, two light 	fixtures not functioning properly

105 CMR 451.350	Structural Maintenance: Wall water damaged outside lower shower area

105 CMR 451.353	Interior Maintenance: Stairways dirty

Kitchenette

No Violations Noted

Slop Sink Room

No Violations Noted

Lower Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 1, 2, 3, 4, and 6

105 CMR 451.123	Maintenance: Dead insects observed on ceiling in shower # 2 and 3

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # 7, 8, 9, 10, 11, and 12

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in shower # 7, 	8, 10, and 11

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing and running 	in shower # 12

Cells

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 3, 11, and 16

Unit 4-2

Staff Bathroom # 2454

105 CMR 451.123*	Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.123	Maintenance: GFI electrical outlet damaged

Common Area

105 CMR 451.350*	Structural Maintenance: Wall damaged outside cell # 33 and 47

105 CMR 451.353*	Interior Maintenance: Vents and walls near vent fixtures dirty

TV Room # 2070

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Kitchenette

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, counter door 	damaged

Laundry Areas

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vents damaged

105 CMR 451.353*	Interior Maintenance: Floor dirty behind washing machine and dryer

Storage Room # 6123

No Violations Noted

Room # 4273

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Vent rusted

105 CMR 451.353	Interior Maintenance: Ceiling tiles not installed properly

Room # 4352

No Violations Noted

Laundry Storage Room

No Violations Noted

Slop Sink Room

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall leaking in cell # 28

105 CMR 451.350	Structural Maintenance: Wall leaking in cell # 30 and 33

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 14, 15, 16, 18, 19, 36, 41, 42, 45, 	47, and 48

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 34

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 35 and 37

Unit 4-3

Common Area

105 CMR 451.353	Interior Maintenance: Window near cell # 1 and 9 dirty

Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sink clogged

Slop Sink Room

No Violations Noted

Lower Shower Area

No Violations Noted

Upper Shower Area	Shower # 7, 8, and 9 occupied at the time of inspection

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 10, 11, and 12

Cells

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 2, 5, 9, 11, and 12

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 14

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 13 and 15

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk 	temperature recorded at 680F in cell # 8

Unit 4-4 Inmate Programs	Program area not in use at the time of inspection

Staff Bathroom

No Violations Noted

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Ceiling repair not finished in a work-person like fashion

Unit 4-2 Dining Room # 4137

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged near 	food service line

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, two light fixtures 	not functioning properly

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

CGI

Industries

No Violations Noted

Maintenance Department

No Violations Noted

Building # 5

Food Service Area

Section 1

Inmate Bathroom

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towel holder provided

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty in bathroom # 2

Slop Sink Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling cover not 	secured properly

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

Staff Locker and Bathroom

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, lower door rotted 	out

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Mechanical Warewashing Area

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate wash and sanitizing water 	temperature on the tray mechanical warewashing machine

Pot Wash Area

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty under 	3 compartment sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking on 3 compartment sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling panel not 	secured properly

Pot Wash Handwash Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet not secured properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, sink not secured 	properly to wall

Tray Area Handwash Sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 690F

Section 2

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall cover 	damaged

Kettles

No Violations Noted

Prep-Sink

FC 5-202.12(A)	Plumbing System, Design: Sink water temperature recorded at 1070F

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet not secured properly

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, water controls leaking on prep-sink

Supply Room

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wet mop left in 	bucket

Office

No Violations Noted

Section 4

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1060F

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking on handwash sink near ovens

Prep-Table

No Violations Noted

Refrigerator # 1

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, lower wall tiles damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged

Bread Cooler # 2

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, lower wall tiles damaged near door

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket not installed properly

Refrigerator # 3

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, lower wall tiles damaged

Freezer # 4

No Violations Noted

Ice Makers

No Violations Noted

Section 5

Stove Top

No Violations Noted

Pots and Pans Room

FC 6-101.11(A)(1)*	Materials for Construction and Repairs: Surface not easily cleanable, floor grout and 	tiles damaged

Special Diet Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, outlet cover 	missing

Section 6

2 Compartment Sink Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, disposal out-of-order at the time of inspection

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet loose on disposal sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking on handwash sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, lower wall tiles 	damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling and wall 	paint damaged

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Flying insects observed

Prep-Refrigerators and Tray Assembly Line

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, thermal trays used in 	refrigerator units

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerators 	temperature recorded at 620F

FC 6-101.11(A)(1)*	Materials for Construction and Repairs: Surface not easily cleanable, grout missing 	and damaged from floor tiles

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Staff Food Line and Dinning Room

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 910F

FC 5-202.13	Plumbing System, Design: Air gap between pipe and drain, air gap less than twice the 	diameter of the pipe

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling water 	damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one hood light not 	functioning properly

Warehouse

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer roll-down door not 	weather and vermin tight

Building # 6

Health Services Medical Area

Hallway

105 CMR 451.353	Interior Maintenance: Vent dirty

Exam Room # 1 (3172)

105 CMR 451.353*	Interior Maintenance: Damaged draw front damaged and no longer easily cleanable

Exam Room # 2 (3134)

105 CMR 451.353*	Interior Maintenance: Damaged draw front damaged and no longer easily cleanable

Exam Room # 3 (3171)

No Violations Noted

Exam Room # 4 (3133)

No Violations Noted

File Room # 6226

No Violations Noted

Inmate Bathroom # 6229

105 CMR 451.123*	Maintenance: Ceiling damaged near access panel

X-Ray Room # 6265

No Violations Noted

Dental Exam Room # 6261	Occupied at the time of inspection

Med Storage Room

105 CMR 451.353*	Interior Maintenance: Damaged counter top and backsplash damaged and no longer 	easily cleanable

Lab Room # 6268

105 CMR 205.103(A)*	Examinations to be Conducted in Privacy: No hands-free controls provided for 	handwash sink

Staff Locker Room

No Violations Noted

Staff Bathroom # 6236

No Violations Noted

Staff Bathroom # 6135

No Violations Noted

Medical Unit

Cells

No Violations Noted

Recreational Room # 6258

No Violations Noted

Kitchenette # 6256

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, cup stored in ice cooler

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

Isolation Cells

105 CMR 451.353	Interior Maintenance: Vents dirty in cell # 3 and 5

Isolation Handwash Sink

No Violations Noted

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 8

105 CMR 451.322	Cell Size: Inadequate floor space in dorm room # 12, 16, and 17

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cell # 14

105 CMR 451.353	Interior Maintenance: Baseboard missing in cell # 13

Shower Area

No Violations Noted

Staff Bathroom # 6247

105 CMR 451.123*	Maintenance: Ceiling repair not finished in a work-person like fashion

Chemical Storage Room # 6248

105 CMR 451.353	Interior Maintenance: Chemical bottles incorrectly labeled

Medical Waste Storage Room # 6252

No Violations Noted

Storage Room # 6253

105 CMR 451.353	Interior Maintenance: Water leaking from an undetermined source

Office # 6254

No Violations Noted

Booking Area

Hallway

No Violations Noted

Control

No Violations Noted

Holding Cell # 6105

No Violations Noted

Property Room # 6106

No Violations Noted

Old Shower Room # 6111

No Violations Noted

Male Holding Cells

105 CMR 451.353*	Interior Maintenance: Floor no longer easily cleanable, paint damaged in cell # 1, 2, 	and 5

105 CMR 451.353*	Interior Maintenance: Vent dirty in cell # 1, 2, and 5

Bathroom # 6114

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Break Room # 6131

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Bathroom # 6135

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Female Property Room

No Violations Noted

Female Changing Room # 6138

No Violations Noted

Storage Room # 6139

No Violations Noted

Female Holding Cells

No Violations Noted

Building 8

Lobby Areas

105 CMR 451.353*	Interior Maintenance: Ceiling vents in lobby area dirty floor # 2, 3, and 4

Unit 8-1

Staff Bathroom

No Violations Noted

Common Area

No Violations Noted

Staff Break Room # 8-116

No Violations Noted

Laundry Area

No Violations Noted

Bathroom # 8-121	Shower units were not in use at the time of inspection

105 CMR 451.123*	Maintenance: Drain flies observed in bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all showers

105 CMR 451.123*	Maintenance: Light shield missing from one light fixture

105 CMR 451.123	Maintenance: Faucet not secured properly on sink fixture # 6

105 CMR 451.123	Maintenance: Vent dirty above showers

Bathroom # 8-122	Shower units were not in use at the time of inspection

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all showers

105 CMR 451.123*	Maintenance: Used soap left in shower units

105 CMR 451.123	Maintenance: Vent dirty above showers

Slop Sink Room # 8-123

105 CMR 451.353	Interior Maintenance: Vent dirty

Holding Cell # 7

105 CMR 451.123	Maintenance: Toilet and sink fixture dirty

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet fixture clogged

105 CMR 451.353	Interior Maintenance: Front vent dirty

105 CMR 451.353	Interior Maintenance: Floor dirty

Cells	Cell # 6 and 13 used for storage at the time of inspection

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged in cell # 2, 3, 5, and 9

105 CMR 451.350	Structural Maintenance: Floor unfinished and no longer easily cleanable in cell # 4

Unit 8-2

Hallway

105 CMR 451.353	Interior Maintenance: Wall damaged between cell # 9 and 10

Staff Bathroom # 8-206

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F

Common Area

No Violations Noted

Laundry Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind washing machine and dryer

105 CMR 451.353*	Interior Maintenance: Dryer vent switch not secured properly and dirty

105 CMR 451.353	Interior Maintenance: Dryer vent switch not functioning properly

105 CMR 451.353*	Interior Maintenance: Sink fixture not secured properly to wall

Room # 8-215

No Violations Noted

Recreational Room # 8-216

105 CMR 451.353	Interior Maintenance: Vent dirty

Recreational Room # 8-217

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

105 CMR 451.350*	Structural Maintenance: Floor no longer easily cleanable, tiles damaged

Inmate Bathroom # 8-221

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower stall # 1, 3, 4, and 5

105 CMR 451.123	Maintenance: Standing water observed on floor under sink fixture

105 CMR 451.123	Maintenance: Ceiling leaking near shower # 5

105 CMR 451.123	Maintenance: Floor damaged allowing stagnant water to collect under the floor

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink # 2 and 4

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink # 5

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink # 2, 4, and 5

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1160F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 leaking

Inmate Bathroom # 8-222

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123*	Maintenance: Drain flies observed in shower ceiling

105 CMR 451.123*	Maintenance: Standing water observed on bathroom floor near sink

105 CMR 451.126*	Hot Water: Shower water temperature recorded at 1150F

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink # 5

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink # 1 and 3

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink # 1 and 3

Slop Sink Room # 8-223

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water controls missing

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Light fixture missing

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Wall dirty near slop sink

105 CMR 451.353	Interior Maintenance: Wet mop not hung properly

Cells

105 CMR 451.344*	Illumination in Habitable Areas: Light fixture not working properly in cell # 5

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not functioning properly in cell # 2, 3, 6, 11, and 13

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 1, 4, and 5

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 2, 3, 6, 7, 8, 9, 11, and 12

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 13

105 CMR 451.353*	Interior Maintenance: Front vent dirty in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, and 12

105 CMR 451.353	Interior Maintenance: Front vent dirty in cell # 13

105 CMR 451.353	Interior Maintenance: Back vent dirty in cell # 1 and 2

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 5 and 9

105 CMR 451.353	Interior Maintenance: Speaker blocked in cell # 1, 8, and 11

Unit 8-3

Staff Bathroom # 8-306

105 CMR 451.123	Maintenance: Ceiling vent dirty

Common Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer hose detached

105 CMR 451.353	Interior Maintenance: Sink fixture not secured properly to wall

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind dryer unit

Room # 8-315

105 CMR 451.353	Interior Maintenance: Vent dirty

Recreational Room # 8-316

105 CMR 451.353	Interior Maintenance: Vent dirty

Recreational Room # 8-317

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not functioning properly

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Inmate Bathroom # 8-321

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 3, 4, and 5

105 CMR 451.123	Maintenance: Floor damaged and no longer easily cleanable

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink # 5

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink # 7

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking on sink # 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 1 out-of-order

Inmate Bathroom # 8-322

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in all showers

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Drain flies observed in shower area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, top shower head leaking in shower # 1

Slop Sink Room # 8-323

No Violations Noted

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 7

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not functioning properly in cell # 1, 4, 5, 8, 9, 10, and 13

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 11, and 12

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cell # 13

105 CMR 451.353*	Interior Maintenance: Front vent dirty in cell # 1, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, and 13

105 CMR 451.353	Interior Maintenance: Back vent dirty in cell # 1, 2, 3, 4, 6, 7, 8, 9 and 10

105 CMR 451.353*	Interior Maintenance: Wall dirty in cell # 4

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 2

Unit 8-4

Staff Bathroom # 8-406

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water control handle 	leaking on handwash sink

Common Area

105 CMR 451.353	Interior Maintenance: Vent dirty

Laundry Area

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Room # 8-415

No Violations Noted

Recreational Room # 8-416

No Violations Noted

Recreational Room # 8-417

105 CMR 451.350*	Structural Maintenance: Floor no longer easily cleanable, tiles damaged

Inmate Bathroom # 8-421

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Wall damaged between toilet stall # 2 and 3

105 CMR 451.123	Maintenance: Wall damaged near shower area

105 CMR 451.126*	Water Supply: No hot or cold water supplied to handwash sink # 5

105 CMR 451.130	Hot Water: Shower water temperature recorded at 980F

Inmate Bathroom # 8-422

105 CMR 451.123	Maintenance: Wall damaged near shower stall # 5

105 CMR 451.123	Maintenance: Standing water observed on floor

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 1

105 CMR 451.126*	Water Supply: No hot or cold water supplied to handwash sink # 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 980F

105 CMR 451.130	Hot Water: Shower water temperature recorded at 980F

Slop Sink Room # 8-423

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 8 and 13

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 13

105 CMR 451.353	Interior Maintenance: Front vent dirty in cell # 6

105 CMR 451.353	Interior Maintenance: Back vent dirty in cell # 1, 2, 3, 6, and 7

105 CMR 451.353	Interior Maintenance: Speaker dirty in cell # 6

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 11 and 12

Observations and Recommendations

- The inmate population was 1342 at the time of inspection

- Cell # 7 of Unit 1-5-2 in Building # 1 was flooded out by an inmate the morning of the inspection, which caused leaking in a lower unit

- Radiation Control Certificate was expired at the time of inspection

- Two new warewashing machines were installed in the Main Kitchen. The renovations in this area have vastly improved the conditions and ability to properly sanitize food trays.

- Major renovations to the showers in the housing units have vastly improved the condition within the facility

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Lauren Molotnikov

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Daniel Hickey, EHSO/FS

Boston Public Health Commission

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS