The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

lauren.molotnikov@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

April 25, 2011

Andrea J. Cabral, Sheriff

Suffolk County House of Correction

20 Bradston Street

Boston, MA 02118

Re: Facility Inspection

Dear Sheriff Cabral:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Suffolk County House of Correction on March 30 and 31, 2011 accompanied by Angel Lopez, FS/EHSO and Captain N. Adams. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Building # 1

Lobby Area

No Violations Noted

Men’s Bathroom # 139

No Violations Noted

Women’s Bathroom # 140

No Violations Noted

12th Floor

Outside Recreation Area # 1211

No Violations Noted

11th Floor

Staff Bathroom # 1142

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink

105 CMR 451.123	Maintenance: Light shield damaged

Slop Sink Room # 1158

No Violations Noted

Meeting Room

No Violations Noted

Classroom #1 (1151)

No Violations Noted

Classroom # 2 (1153)

No Violations Noted

Caseworker’s Office # 1143

No Violations Noted

Kitchen Area

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, water damage near 	shelf

Unit 1-11-1

Common Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked near TV area

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged near cell # 8

Showers

105 CMR 451.123*	Maintenance: Ceiling not easily cleanable, paint damaged in shower # 1

105 CMR 451.123*	Maintenance: Lower door frame rusted in shower # 1

105 CMR 451.123	Maintenance: Wall paint damaged in shower # 1, 2, and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in shower # 2

Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sinks

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Covered trash receptacles damaged in stall # 1 and 3

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash 	sinks

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1060F

Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, insufficient hot water supply in quantity and pressure at handwash 	sinks

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet loose

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels at handwash sinks

Laundry Area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, insufficient pressure in washing 	machine

105 CMR 451.353	Interior Maintenance: Counter top edge damaged and no longer easily cleanable

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged near washing machine

Storage Cell # 16

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket at the time of inspection

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 14

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350	Structural Maintenance: Window and wall area leaking in cell # 1, 8, and 9

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 8

Unit 1-11-2

Common Area

105 CMR 451.353	Interior Maintenance: Vent dirty near exercise bicycle

Showers	Occupied at the time of inspection

Bathroom

105 CMR 451.123	Maintenance: Shower vent dirty

105 CMR 451.123*	Maintenance: Wall paint damaged near handwash sinks

105 CMR 451.123*	Maintenance: Sink fixture # 1 not properly sealed to wall

105 CMR 451.123	Maintenance: Handwash sink # 1 damaged

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash 	sinks

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucets loose

Kitchenette

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels at handwash sink

Laundry Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Counter top edge damaged and no longer easily cleanable

Storage Cell # 8

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 3 and 6

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350	Structural Maintenance: Wall paint damaged from water leaking in cell # 1, 14, 15, 	and 16

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 7 and 10

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 9

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 12

10th Floor

10th Floor Visiting Room

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained due to existing roof leak

105 CMR 451.353	Interior Maintenance: Fax machine wires not properly secured to ceiling and walls

Room #1059

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixture not functioning 	properly

Staff Bathroom # 1074

No Violations Noted

Slop Sink Room # 1050

No Violations Noted

Unit 1-10-1	Unit closed at the time of inspection due to decrease in population

Unit 1-10-2

Common Area

105 CMR 451.353	Interior Maintenance: Wall vent dirty

105 CMR 451.350	Structural Maintenance: Ceiling damaged outside cell # 9

Showers

105 CMR 451.123	Maintenance: Lower door frame rusted in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall and floor no longer easily cleanable, paint damaged in shower # 1, 	2, and 3

105 CMR 451.123*	Maintenance: Shower vent dirty in shower # 1 and 3

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Laundry Area

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind washing machine and dryer

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 3 and 4

105 CMR 451.350	Structural Maintenance: Wall damaged from water leak in cell # 5

Unit 1-10-3	Unit closed at the time of inspection due to decrease in population

Unit 1-10-4 Women’s Infirmary Area

Common Area

No Violations Noted

Control Area

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350	Structural Maintenance: Countertop damaged and no longer easily cleanable

Room # 1

No Violations Noted

Room # 2

No Violations Noted

Exam Room and Cell # 1062	Occupied at the time of inspection

Exam Room # 1063	Occupied at the time of inspection

Staff Bathroom #1067

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123	Maintenance: Bathroom vent dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1030F

Room # 1068

No Violations Noted

9th Floor

Staff Bathroom # 944

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Slop Sink # 956

No Violations Noted

Unit 1-9-1

Common Area

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Lower door frame rusted in shower # 2

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on walls in shower # 2 and 3

105 CMR 451.123	Maintenance: Wall not easily cleanable, paint damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Shower vent dirty in shower # 2 and 3

Storage Room # 934

105 CMR 451.353	Interior Maintenance: Ceiling repair not finished

105 CMR 451.353	Interior Maintenance: Vent cover missing

Slop Sink Room # 956

No Violations Noted

Kitchenette

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Floor dirty behind washing machine and dryer

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 1 and 15

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 3, 11, and 15

Unit 1-9-2

Common Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Shower Area

105 CMR 451.123*	Maintenance: Wall not easily cleanable, paint damaged in shower # 2 and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Ceiling not easily cleanable, paint damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Shower vent dirty in shower # 3

105 CMR 451.123	Maintenance: Floor not easily cleanable, paint damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Unfilled hole in wall in shower # 1

Slop Sink Room

No Violations Noted

Storage Room # 958

105 CMR 451.353	Interior Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 7

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

8th Floor

8th Floor Program Area

No Violations Noted

Outside Recreational Deck

No Violations Noted

Unit 1-8-1

Common Area

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Vent dirty near cell # 13

Shower Area	Shower # 1 and 2 occupied at the time of inspection

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # 3

105 CMR 451.123	Maintenance: Shower vent dirty in shower # 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 3

Slop Sink Room

No Violations Noted

Storage Room # 834

105 CMR 451.353	Interior Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.353	Interior Maintenance: Room disorganized with several trip hazards

Kitchenette

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water 	observed on floor

Laundry Area

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 13

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 10

105 CMR 451.350	Structural Maintenance: Door window pane damaged in cell # 2

Unit 1-8-2

Common Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged outside cell # 1

Outside Recreational Deck # 860

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Light fixture not functioning properly in shower # 2

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

105 CMR 451.123	Maintenance: Light not functioning properly in shower # 2

105 CMR 451.123	Maintenance: Wall vent dirty in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Possible mold growth observed in shower # 2 and 3

105 CMR 451.123	Maintenance: Floor not easily cleanable, paint damaged in shower # 2 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain clogged in shower # 2

Slop Sink Room

No Violations Noted

Storage Room

105 CMR 451.353	Interior Maintenance: Ceiling repair not finished in a workman like manner

Kitchenette

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Room # 853

105 CMR 451.353	Interior Maintenance: Floor dirty

Laundry Area

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 5 and 16

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 1, 6, and 13

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 8

7th Floor (Office Space)

Slop Sink Room # 755

No Violations Noted

6th Floor

6th Floor Meeting Room

No Violations Noted

Unit 1-6-1

Common Area

105 CMR 451.353	Interior Maintenance: Window sill dirty near cell # 8

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty near recreational deck # 640

Lower Tier Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on walls in shower # 3

105 CMR 451.123	Maintenance: Floor not easily cleanable, paint damaged in shower # 1 and 3

105 CMR 451.123	Maintenance: Floor drain dirty in shower # 1

Upper Tier Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Wall and floor not easily cleanable, paint damaged in shower # 1 and 2

Recreational Deck # 640

No Violations Noted

Slop Sink Room # 649

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink not secured properly

Storage Room # 733

105 CMR 451.353	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Floor dirty

Kitchenette

No Violations Noted

Laundry Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain clogged resulting in 	standing water on the floor

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353	Interior Maintenance: Ceiling repair unfinished near laundry area

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 16

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350	Structural Maintenance: Wall leak evident in cell # 24

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 3 and 25

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1, 10, 11, 19, 21, and 32

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 2, 20, 21, 27, and 31

Unit 1-6-2

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty near recreational deck # 662

Staff Bathroom # 656

105 CMR 451.126	Hot Water: Hot water temperature recorded at 890F

Lower Tier Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Walls not easily cleanable, paint damaged in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Floor not easily cleanable, paint damaged in shower # 1 and 3

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # 1, 2, and 3

Upper Tier Shower Area

105 CMR 451.123	Maintenance: Vent dirty in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Walls and floor not easily cleanable, paint damaged in shower # 2 and 3

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in shower # 1, 	2, and 3

Recreational Deck # 662

No Violations Noted

Slop Sink Room

No Violations Noted

Storage Room # 757

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Kitchenette

No Violations Noted

Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 19 and 26

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 18, 22, 27, and 32

5th Floor

Slop Sink Room # 563

No Violations Noted

5th Floor Custody

Bathroom # 1

No Violations Noted

Bathroom # 2

No Violations Noted

Kitchenette

No Violations Noted

Unit 1-5-1

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty outside library # 540

Library # 540

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # 1, 2, and 3

105 CMR 451.123*	Maintenance: Walls not easily cleanable, paint damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Floor not easily cleanable, paint damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Vent dirty in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Vent damaged in shower # 3

Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent damaged

105 CMR 451.353	Interior Maintenance: Floor dirty behind washing machine and dryer

105 CMR 451.353	Interior Maintenance: Washing unit not balanced properly, washing machine balanced with a 	reading book

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 14

105 CMR 451.320*	Cell Size: Inadequate floor space in cells, cells double and triple bunked

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 4 and 8

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 3, 6, and 7

Unit 1-5-2

Common Area

No Violations Noted

Shower # 565	Closed at the time of inspection

Inmate Bathroom	Closed at the time of inspection

Dorm 1-5-2	Closed at the time of inspection

Bathroom # 575

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in bathroom

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink

Unit 1-5-2 Seg

Showers # 565

105 CMR 451.123	Maintenance: Floor not easily cleanable, paint damaged in shower

105 CMR 451.123	Maintenance: Soap scum on walls and floor in showers

Cells

No Violations Noted

4th Floor

Staff Bathroom #445

105 CMR 451.123	Maintenance: Floor not easily cleanable, paint damaged in bathroom

105 CMR 451.123	Maintenance: Wall dirty

Slop Sink # 454

No Violations Noted

Utility Room

No Violations Noted

Unit 1-4-1

Common Area

105 CMR 451.353	Interior Maintenance: Vents dirty

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Storage Room # 434

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Shower Area

105 CMR 451.123	Maintenance: Walls not easily cleanable, paint damaged in shower # 436 and 437

105 CMR 451.123*	Maintenance: Floor not easily cleanable, paint damaged in shower # 436 and 437

105 CMR 451.123	Maintenance: Vent dirty in shower # 437

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 436, 437, and 438

105 CMR 451.123	Maintenance: Floor dirty in shower # 437

Kitchenette

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Cells

No Violations Noted

Unit 1-4-2

Common Area

105 CMR 451.353	Interior Maintenance: Vents dirty

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # 463, 464, and 465

105 CMR 451.123	Maintenance: Vent dirty in shower # 463, 464, and 465

105 CMR 451.123	Maintenance: Shower floor dirty in shower # 463 and 465

105 CMR 451.123	Maintenance: Shower bench dirty in shower # 463

105 CMR 451.123	Maintenance: Floor not easily cleanable, paint damaged in shower # 464

Kitchenette

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Cells

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 3

105 CMR 451.350	Structural Maintenance: Evidence of window leaking observed in cell # 6 and 16

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 10

3rd Floor

Slop Sink Room # 371

No Violations Noted

Unit 1-3-1

Common Area

105 CMR 451.353	Interior Maintenance: Vent dirty near recreational deck # 340

Storage Room # 336

105 CMR 451.353	Interior Maintenance: One light bulb missing

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Staff Bathroom # 337

105 CMR 451.126	Hot Water: Hot water temperature recorded at 890F

Cells

105 CMR 451.123	Maintenance: Shower curtain damaged in cell # 4

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 7 and 10

Recreational Deck # 340

No Violations Noted

Unit 1-3-2

Common Area

105 CMR 451.353	Interior Maintenance: Vent dirty near recreational deck # 370

Staff Bathroom # 360

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose

Shower Area

105 CMR 451.123	Maintenance: Ceiling vent not secured properly in shower # 364 and 365

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # 364, 365, and 366

105 CMR 451.123	Maintenance: Floor dirty in shower # 366

105 CMR 451.123	Maintenance: Vent dirty in shower # 365 and 366

105 CMR 451.123*	Maintenance: Walls and floor not easily cleanable, paint damaged in shower # 364

Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, sink dirty

Cells

105 CMR 451.330	Room Temperature: Room temperature 620F in cell # 8

Recreational Deck # 370

No Violations Noted

2nd Floor

Office Area

No Violations Noted

Slop Sink Room # 229

105 CMR 451.130	Plumbing: Pipe below flood rim in slop sink drain

Common Area

105 CMR 451.350	Structural Maintenance: Ceiling damaged near room # 23

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Bathroom # 230

105 CMR 451.123*	Maintenance: Counter top and backsplash damaged

105 CMR 451.123	Maintenance: Unlabeled chemical bottle

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Shower curtain rope not easily cleanable

105 CMR 451.123	Maintenance: Floor dirty in shower # 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, one urinal out of order

Bathroom # 235

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

105 CMR 451.123*	Maintenance: Counter top and backsplash damaged in bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # 1, 3, and 4

105 CMR 451.123	Maintenance: Shower curtains missing in stall # 2 and 4

105 CMR 451.123	Maintenance: Toilet stall divider finish damaged in stall # 1

105 CMR 451.123	Maintenance: Walls and floor no longer easily cleanable, paint damaged in shower # 1

105 CMR 451.123	Maintenance: Vents dirty near shower stalls

Storage Room # 14

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Rooms

105 CMR 451.350	Structural Maintenance: Ceiling damaged in room # 10, 15, 28, 30, and 32

105 CMR 451.350	Structural Maintenance: Wall damaged in room # 30

105 CMR 451.350	Structural Maintenance: Window damaged in room # 25 and 32

Laundry Room

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.350*	Structural Maintenance: Unfinished ceiling and wall repairs

105 CMR 451.350*	Structural Maintenance: Counter top damaged

105 CMR 451.353	Interior Maintenance: Wall covering loose

TV Area

No Violations Noted

Community Work Program

Common Area

No Violations Noted

Control Desk

No Violations Noted

Bathroom # 109

105 CMR 451.123	Maintenance: Ceiling vents dirty

105 CMR 451.123	Maintenance: Vent damaged

105 CMR 451.123	Maintenance: Wall dirty

105 CMR 451.123	Maintenance: Toilet dirty

105 CMR 451.123	Maintenance: Floor not easily cleanable, paint damaged under toilet unit

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, overflow drain pipe disconnected 	from sink

Shower # 109

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Possible mold growth observed on walls in shower

105 CMR 451.123	Maintenance: Walls and floor no longer easily cleanable, paint damaged in shower

105 CMR 451.123	Maintenance: Ceiling paint damaged

Shower # 1

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower

105 CMR 451.123*	Maintenance: Possible mold growth observed on walls in shower

105 CMR 451.123*	Maintenance: Walls and floor no longer easily cleanable, paint damaged in shower

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Vent dirty

105 CMR 451.123	Maintenance: Floor dirty

Shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower

105 CMR 451.123*	Maintenance: Walls and floor no longer easily cleanable, paint damaged in shower

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Rooms

No Violations Noted

Laundry Room

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not functioning 	properly, light “blinking”

105 CMR 451.350*	Structural Maintenance: Wall and baseboard damaged

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.353	Interior Maintenance: Floor dirty

TV Area

No Violations Noted

Utility Closet

105 CMR 451.345	Illumination in Common Passage Ways and Areas: No light fixture provided in the 	utility closet

Staff Bathroom # 121

105 CMR 451.123	Maintenance: Ceiling damaged

Office # 123

No Violations Noted

Kitchen

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

Slop Sink Room # 125

105 CMR 451.353	Interior Maintenance: Wet mop left in slop sink

Building # 2

Staff Lounge

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator light out

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Vending Machines

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged under vending machines

Water Fountain

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure water fountain

Women’s Locker Room # 2109

105 CMR 451.123	Maintenance: Ceiling vent dirty

Men’s Locker Room # 2110

No Violations Noted

Men’s Locker Room #2111

105 CMR 451.123	Maintenance: Wall dirty near toilets

Weight Room

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not 	functioning properly

Locker Room # 2119

No Violations Noted

Administrative Staff Area

Men’s Room # 2221

No Violations Noted

Women’s Room #2222

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 106 0F

Kitchenette

FC 4-101.16*	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled 	properly, original manufactures label missing

Building # 3

1st Floor Education Area

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling repair not finished in a workman like manner near 	classroom # 11

Classrooms

No Violations Noted

Library # 3149

No Violations Noted

Staff Bathroom # 3142

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, excess pressure at handwash sink

Inmate Bathroom # 3162

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper holder

Office Area # 3131

No Violations Noted

Office Staff Bathroom # 3126

No Violations Noted

2nd Floor Housing

Staff Bathroom # 3470

No Violations Noted

Staff Bathroom # 3278

No Violations Noted

Unit 3-1

Common Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, leak from pipe chase between

cell # 25 and 26

105 CMR 451.350	Structural Maintenance: Floor tiles damaged outside cell # 21 and 22

Staff Bathroom # 3270

105 CMR 451.123*	Maintenance: Unlabeled chemical bottle

Slop Sink Room # 3265

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Dirty water left in mop bucket

105 CMR 451.353	Interior Maintenance: Electrical outlet dirty

Handicap Equipped Shower Unit # 3266

105 CMR 451.123	Maintenance: Vent, bench, drain, and floor dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1170F

Lower Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent detached

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind washing and dryer unit

Lower Shower Area

105 CMR 451.123	Maintenance: Shower floor dirty in shower # 1

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, paint damaged in shower # 2, 3, and 5

105 CMR 451.123	Maintenance: Walls no longer easily cleanable, paint damaged in shower # 5

105 CMR 451.123	Maintenance: Soap scum with possible mold growth on walls and floor in shower # 4 	and 5

105 CMR 451.123	Maintenance: Vent dirty in shower # 3 and 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower continuously running in 	shower # 4

Kitchenette

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1060F FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Upper Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind washing and dryer units

Upper Shower Area

105 CMR 451.123	Maintenance: Walls no longer easily cleanable, paint damaged in shower # 9

105 CMR 451.123	Maintenance: Vent dirty in shower # 6, 8, 9, and 10

105 CMR 451.123	Maintenance: Soap scum with possible mold growth on walls and floor in shower # 7, 	8, and 9

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, paint damaged in shower # 8

105 CMR 451.123	Maintenance: Shower floor dirty in shower # 10

105 CMR 451.123	Maintenance: Drain flies observed in shower # 7 and 9

Slop Sink Room # 3365

105 CMR 451.350	Structural Maintenance: Vent loose

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Wall dirty

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 9 and 60

105 CMR 451.103	Mattresses: Mattress damage in cell # 2

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 1, 5, 6, 11, 13, 15, 17, 19, 20, 21, 	26, 27, 28, 29, 30, 31, 32, 44, 45, 50, 51, 53, 55, 57, 58, 59, 61, 62, 63, and 64

105 CMR 451.350*	Structural Maintenance: Door window pane damaged in cell # 51

105 CMR 451.350*	Structural Maintenance: Water stains and leaking on ceiling and wall in cell # 5, 6, 34, 	35, 36, and 40

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 29, 30, 32, 49, 54, 62, and 64

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 49, 56 and 58

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	cell # 27

Unit 3-2

Common Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged near cell # 56

Staff Bathroom # 3296

No Violations Noted

Slop Sink Room # 3294

105 CMR 451.353	Interior Maintenance: Wall, floor, and fixtures dirty

Handicap Equipped Shower Unit # 3266

Used for storage at the time of inspection

Lower Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind washing machine and dryer

Lower Shower Area

105 CMR 451.123	Maintenance: Ceiling vent dirty in shower # 3 and 4

105 CMR 451.123	Maintenance: Walls and floor no longer easily cleanable, paint damaged in shower # 4

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 520F

Upper Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind washing machine and dryer

Upper Shower Area

105 CMR 451.123*	Maintenance: Shower head missing in shower # 6

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 8

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # 6, 7, 8, 9, and 10

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, paint damaged in shower # 7, 8, and 9

Slop Sink Room # 3393

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353	Interior Maintenance: No work shield provided in maintenance storage area

105 CMR 451.353	Interior Maintenance: Vent cover not secured properly

105 CMR 451.353	Interior Maintenance: Floor dirty

Cells

105 CMR 451.350	Structural Maintenance: Water stains and leaking on walls in cell # 4 and 38

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 2, 4, 6, 11, 12, 26, 28, 29, 30, 31, 	32, 34, 36, 37, 40, 46, 47, 50, 52, 57, 61, 62, 63, and 64

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 18, 23, 25, 32, 38, and 61

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 12, 15, 21, 22, 24, 25, 26, 29, 	32, 34, 38, 39, 40, 41, 45, 49, 52, and 54

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	cell # 55 and 58

Unit 3-3

Common Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

105 CMR 451.353	Interior Maintenance: Vents dirty

Staff Bathroom # 3470

105 CMR 451.123	Maintenance: Vent dirty

Slop Sink Room # 3465

No Violations Noted

Handicap Equipped Shower Unit # 3466

Used for storage at the time of inspection

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Lower Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353	Interior Maintenance: Wall dirty behind washing machine and dryer

Lower Shower Area

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on walls in shower # 2, 3, 4, and 5

105 CMR 451.123*	Maintenance: Soap scum on floor in shower # 5

105 CMR 451.123	Maintenance: Walls no longer easily cleanable, paint damaged in shower # 2, 3, 4, and 	5

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, paint damaged in shower # 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head running in shower

# 4

Kitchenette

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 610F

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty

FC 2-402.11	Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate 	hair restraints, beard guards or hair nets

Upper Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353	Interior Maintenance: Wall dirty behind washing machine and dryer

Upper Shower Area

105 CMR 451.123	Maintenance: Soap scum with possible mold growth on walls and floor in shower # 6, 	7, 8, and 9

105 CMR 451.123	Maintenance: Ceiling vent dirty in shower # 6, 7, 9, and 10

105 CMR 451.123	Maintenance: Shower vent cover missing in shower # 8

105 CMR 451.123	Maintenance: Walls and floor no longer easily cleanable, paint damaged in shower

# 6, 7, 8, 9, and 10

Slop Sink Room # 3565

105 CMR 451.353*	Interior Maintenance: Vent dirty

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 6

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 4, 13, 23, 25, 27, 31, 35, 40, 41, 	45, 50, 58, 60, 61, and 63

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 22, 29, and 32

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 10, 15, 18, 19, 20, 23, 24, 	25, 26, 27, 34, 40, and 58

105 CMR 451.353	Interior Maintenance: Standing water observer on the floor in cell # 17

Unit 3-4

Outside Recreational Deck

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Vents dirty

Staff Bathroom # 3494

No Violations Noted

Handicap Equipped Shower Unit # 3491

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, paint damaged in shower room

Slop Sink Room # 3492

105 CMR 451.350*	Structural Maintenance: Ceiling unfinished

105 CMR 451.353*	Interior Maintenance: Vent cover missing

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Lower Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum with possible mold growth on walls and floor in shower # 1, 	2, 3, 4, and 5

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, paint damaged in shower # 1 and 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 4

105 CMR 451.123	Maintenance: Vent dirty in shower # 1, 2, 3, 4, and 5

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 600F

Upper Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind washing machine and dryer

Upper Shower Area

105 CMR 451.123	Maintenance: Shield missing from water control button in shower # 10

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # 6, 7, 8, 9, and 10

105 CMR 451.123	Maintenance: Floor dirty in shower # 6

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on walls and floor in shower # 6, 	7, 8, and 9

Slop Sink Room # 3582

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 2 and 26

105 CMR 451.320	Cell Size: Inadequate floor space in cells, cells triple bunked

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 6, 7, 14, 15, 26, 27, 28, 30, 31, 34, 	36, 38, 40, 42, 50, 51, 52, 53, 54, 56, 58, 60, 62, and 63

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 39 and 42

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 12

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, un-refrigerated milk 	in cell # 20, 21, and 36

Main Laundry

Hallway

No Violations Noted

Laundry Area

No Violations Noted

Two-Compartment Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Handwash Sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Bathroom # 3181

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Canteen

105 CMR 451.353	Interior Maintenance: Vent cover missing

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer roll-down door not 	weather and vermin tight

Slop Sink # 3189

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Bathroom # 3190

105 CMR 451.123	Maintenance: Ceiling vent dirty

Building # 4

Bathroom # 4268

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Caulking missing around sink fixtures

105 CMR 451.123*	Maintenance: Countertop dirty

105 CMR 451.123	Maintenance: All handwash sinks dirty

105 CMR 451.123	Maintenance: Standing water observed on the bathroom floor near toilet # 5

105 CMR 451.123	Maintenance: Toilet fixtures dirty

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, paint damaged in bathroom

105 CMR 451.123	Maintenance: Sink fixture # 4 damaged

105 CMR 451.123	Maintenance: Countertop damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink fixture # 5 leaking

Bathroom # 4285

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: One light fixture not functioning properly

105 CMR 451.123	Maintenance: Shower curtains dirty

105 CMR 451.123	Maintenance: Finish missing of toilet stall divider

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1060F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink fixture # 1 clogged

Bathroom # 4354

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sinks

105 CMR 451.123*	Maintenance: Floor paint damaged under sink fixtures

105 CMR 451.123*	Maintenance: Ceiling water damaged

105 CMR 451.123*	Maintenance: Ceiling and wall vent dirty

105 CMR 451.123	Maintenance: Floor dirty

Bathroom # 4387

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sinks

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Caulking damaged around sink fixtures

105 CMR 451.123	Maintenance: Dead drain flies observed near sink fixtures

105 CMR 451.123	Maintenance: Ceiling and wall vent dirty

105 CMR 451.123	Maintenance: Finish missing of toilet stall divider

Unit 4-1

Common Area

No Violations Noted

Kitchenette

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, countertop 	damaged

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Slop Sink Room

No Violations Noted

Lower Shower Area	Shower # 1 was occupied at the time of inspection

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # 2, 3, 4, and 6

105 CMR 451.123	Maintenance: Wall dirty in shower # 5

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on walls and floor in shower # 2, 	3, 4, 5, and 6

105 CMR 451.123	Maintenance: Walls no longer easily cleanable, paint damaged in shower # 2, 3, 4, and 	5

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, paint damaged in shower # 2, 3, and 4

Upper Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # 7, 8, 9, 10, 11, and 12

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on walls and floor in shower # 7, 	8, 10, 11, and 12

105 CMR 451.123	Maintenance: Walls and floor no longer easily cleanable, paint damaged in shower # 	7, 8, 10, 11, and 12

105 CMR 451.123	Maintenance: Ceiling vent cover loose in shower # 8 and 12

105 CMR 451.123	Maintenance: Walls and floor dirty in shower # 11

Cells

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, un-refrigerated milk in 	cell # 7, 8, and 14

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 3, 11, and 16

105 CMR 451.350	Structural Maintenance: Evidence of wall leak observed in cell # 19

Unit 4-2

Staff Bathroom # 2454

105 CMR 451.123	Maintenance: Ceiling repair not finished in a workman like manner

Common Area

105 CMR 451.350	Structural Maintenance: Wall damaged outside cell # 47

105 CMR 451.350*	Structural Maintenance: Ceiling damaged and leaking near cell # 34

105 CMR 451.353	Interior Maintenance: Vents and walls near vent fixtures dirty

105 CMR 451.353	Interior Maintenance: Wall dirty near cell # 19

Kitchenette

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, counter door 	damaged

Laundry Areas

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vents damaged

105 CMR 451.353	Interior Maintenance: Floor dirty behind washing machine and dryer

Storage Room # 6123

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Room # 4352

105 CMR 451.353	Interior Maintenance: Chemical containers stored on the floor

Slop Sink Room

No Violations Noted

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 8

105 CMR 451.350	Structural Maintenance: Wall leaking in cell # 4, 7, and 28

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 14, 15, 16, 18, 19, 36, 41, 42, 45, 	47, and 48

105 CMR 451.353*	Interior Maintenance: Wall paint damage in cell # 34 and 38

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, un-refrigerated milk 	in cell # 17 and 29

Unit 4-3

Common Area

105 CMR 451.353	Interior Maintenance: Window near cell # 1 and 9 dirty

Kitchenette

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

Slop Sink Room

No Violations Noted

Lower Shower Area

105 CMR 451.123	Maintenance: Ceiling vent dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Light shield damaged in shower # 5

Upper Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # 7, 8, 9, and 12

105 CMR 451.123	Maintenance: Walls and floor no longer easily cleanable, paint damaged in

shower # 10, 11, and 12

Cells

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 2, 5, 9, 11, and 12

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 14

Unit 4-4 Inmate Programs

Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sinks

105 CMR 451.123	Maintenance: Ceiling vent dirty

Staff Bathroom

No Violations Noted

Unit 4-2 Dining Room # 4137

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels at handwash sink

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Insects observed on handwash sink and 	wall

Building # 5

Food Service Area

Section 1

Inmate Bathroom

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water 	observed on floor

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Slop Sink Room

FC 5-203.14	Plumbing System, Design: Bell cap missing from backflow prevention device

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, water control handles leaking

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles and 	grout damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged and 	no longer easily cleanable behind slop sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, drain cover 	missing

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling cover not 	secured properly

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Flying insects observed

Staff Locker and Bathroom

FC 6-302.11	Numbers and Capacities; Toilets and Urinals: No toilet paper holders provided at 	toilet facilities

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Mechanical Warewashing Area

FC 2-401.11	Hygienic Practices Food Contamination Prevention: Food service personnel eating in 	an inappropriate area, personal food supply in mechanical warewashing area

FC 6-101.11(A)(1)*	Materials for Construction and Repairs: Surface not easily cleanable, unfinished floor 	not easily cleanable under mechanical warewashing machine

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles 	damaged and not installed properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, insulation 	damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling tiles dirty

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Flying insects observed

Pot Wash Area

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than 	the manufacturers recommended concentration in sanitizer bay

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged

Tray Area Handwash Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

Section 2

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall cover loose

Kettles

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not working properly

Prep-Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

Supply Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light shield 	damaged

Office

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window frames 	rusted

Section 4

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged

Prep-Table

No Violations Noted

Refrigerator # 1

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, lower wall tiles damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, fan covers damaged

Bread Cooler # 2

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, Lower wall tiles damaged near door

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket not installed properly

Refrigerator # 3

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, fan covers damaged

Freezer # 4

No Violations Noted

Ice Makers

No Violations Noted

Section 5

Stove Top

No Violations Noted

Pots and Pans Room

FC 6-101.11(A)(1)*	Materials for Construction and Repairs: Surface not easily cleanable, floor grout 	damaged

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Flying insects observed in room

Grease Hood Near Tray Prep Area

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Glass light shields not protected 	by a metal cage

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled 	properly, original manufactures label missing

Section 6

2 Compartment Sink Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet loose on disposal sink

FC 6-101.11(A)(1)*	Materials for Construction and Repairs: Surface not easily cleanable, grout missing 	and damaged from floor tiles

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, lower wall tiles 	damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light fixtures dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint 	damaged

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Flying insects observed

Prep-Refrigerator Area

FC 6-101.11(A)(1)*	Materials for Construction and Repairs: Surface not easily cleanable, grout missing 	and damaged from floor tiles

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall cover loose 	outside refrigerator unit

Tray Assembly Line

No Violations Noted

Staff Food Line and Dinning Room

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on Hobart refrigerator

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty on Hobart refrigerator

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Flying insects observed

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty near 	vending machines

Warehouse

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer roll-down door not 	weather and vermin tight

Building # 6

Main Floor

Chapel # 170

No Violations Noted

Muslin Services # 269

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished in a workman like manner

Staff Bathroom #263

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Ceiling paint damaged

Health Services Medical Area

Exam Room # 1 (3172)

105 CMR 451.353*	Interior Maintenance: Damaged draw front damaged and no longer easily cleanable

105 CMR 451.353	Interior Maintenance: Vent dirty

Exam Room # 2 (3134)

105 CMR 451.353*	Interior Maintenance: Damaged draw front damaged and no longer easily cleanable

Exam Room # 3 (3171)

No Violations Noted

Exam Room # 4 (3133)

No Violations Noted

File Room # 6226

No Violations Noted

Inmate Bathroom # 6229

105 CMR 451.123	Maintenance: Ceiling damaged near access panel

X-Ray Room # 6265

No Violations Noted

Dental Exam Room # 6261

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Med Storage Room

105 CMR 451.353*	Interior Maintenance: Damaged counter top and backsplash damaged and no longer 	easily cleanable

105 CMR 451.353	Interior Maintenance: Vent dirty

Lab Room # 6268

105 CMR 205.103(A)*	Examinations to be Conducted in Privacy: No hands-free controls provided for 	handwash sink

Staff Locker Room

No Violations Noted

Staff Bathroom # 6236

No Violations Noted

Staff Bathroom # 6135

No Violations Noted

Medical Unit

Cells

105 CMR 451.350	Structural Maintenance: Vent not secured properly in cell # 1

105 CMR 451.353	Interior Maintenance: Vent dirty in cell # 1, 2, 9, 11, 12, 13, 14, 15, 16, 17, 18, and 19

Recreational Room # 6258

No Violations Noted

Isolation Cells

105 CMR 451.353	Interior Maintenance: Vents dirty

Isolation Handwash Sink

105 CMR 451.353	Interior Maintenance: Window near sink fixture dirty

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # 6243 and 6244

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, paint damaged in shower # 6244 and 	6245

Staff Bathroom # 6247

105 CMR 451.123*	Maintenance: Ceiling repair not finished in a workman like manner

Slop Sink Room # 6248

105 CMR 451.353*	Interior Maintenance: Light shield missing

Medical Waste Storage Room # 6252

105 CMR 451.353*	Interior Maintenance: Vent dirty

Storage Room # 6253

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Office # 6254

No Violations Noted

Booking Area

Hallway

No Violations Noted

Control

No Violations Noted

Holding Cell # 6105

No Violations Noted

Property Room # 6106	Occupied at the time of inspection

Slop Sink Room # 6111

105 CMR 451.353	Interior Maintenance: Ceiling repair not finished in a workman like manner

Male Holding Cells

105 CMR 451.353	Interior Maintenance: Floor no longer easily cleanable, paint damaged in cell # 1, 2, 	and 5

105 CMR 451.353	Interior Maintenance: Vent dirty in cell # 1

Break Room # 6131

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-102.11(B)(2)*	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, utensils not stored handles up

Staff Bathroom # 6135

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Female Property Room

No Violations Noted

Female Changing Room # 6138

No Violations Noted

Storage Room # 6139

No Violations Noted

Female Holding Cells

105 CMR 451.353	Interior Maintenance: Floor no longer easily cleanable, paint damaged in cell # 7 and 	8

Building 8

105 CMR 451.353*	Interior Maintenance: Ceiling vents outside housing units dirty on each floor

Unit 8-1

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Common Area

105 CMR 451.353	Interior Maintenance: Insect observed on water fountain

Staff Break Room

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, uncover utensils

Laundry Area

105 CMR 451.353	Interior Maintenance: Wall dirty behind washing machine

Bathroom # 8-121

105 CMR 451.123	Maintenance: Drain flies observed in bathroom

105 CMR 451.123	Maintenance: Soap scum on walls and floor in all shower

105 CMR 451.123	Maintenance: Light shield missing from one light fixture

105 CMR 451.123	Maintenance: One light fixture not functioning properly

105 CMR 451.123	Maintenance: Outlet dirty near sink # 7

105 CMR 451.123	Maintenance: Used soap left in shower units

Bathroom # 8-122

105 CMR 451.123	Maintenance: Soap scum on walls and floor in all shower

105 CMR 451.123	Maintenance: Used soap left in shower units

105 CMR 451.123	Maintenance: Wall dirty in bathroom

Slop Sink Room # 8-123

No Violations Noted

Holding Cells

105 CMR 451.123	Maintenance: Toilet and sink fixture dirty

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 12

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cell # 2, 3, 4, 5, and 9

Unit 8-2

Staff Bathroom # 8-206

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F

Common Area

105 CMR 451.353	Interior Maintenance: Water fountain not secured properly to wall

Laundry Area

105 CMR 451.126	Water Supply: No water supplied to handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind washing machine and dryer

105 CMR 451.353	Interior Maintenance: Dryer switch not secured properly and dirty

105 CMR 451.353	Interior Maintenance: Sink fixture not secured properly to wall

105 CMR 451.353	Interior Maintenance: Soap dispenser leaking

Room # 8-215

No Violations Noted

Recreational Room # 8-216

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Recreational Room # 8-217

105 CMR 451.350	Structural Maintenance: Floor no longer easily cleanable, tiles damaged

Inmate Bathroom # 8-221

105 CMR 451.123	Maintenance: Floor dirty and wet in toilet stall # 6 and 7

105 CMR 451.123	Maintenance: Counter top and sink fixtures dirty

105 CMR 451.123	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123	Maintenance: Vent dirty above shower stalls

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Floor drain dirty between toilet stall # 2 and 3

105 CMR 451.124*	Water Supply: Insufficient water supply in quantity and pressure in shower # 5

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink # 2 and 4

Inmate Bathroom # 8-222

105 CMR 451.123	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123*	Maintenance: Drain flies observed in shower area

105 CMR 451.123*	Maintenance: Standing water observed on bathroom floor

105 CMR 451.123	Maintenance: Vent dirty above shower stalls

105 CMR 451.126	Water Supply: No hot or cold water supplied to handwash sink # 5

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1150F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 2 out of order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, excess water pressure at 	handwash sink # 1

Slop Sink Room # 8-223

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Light fixture missing

105 CMR 451.353	Interior Maintenance: Vent dirty

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 1

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not working properly in cell # 5

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 1, 4, and 5

105 CMR 451.353	Interior Maintenance: Vent blocked in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, and 12

105 CMR 451.353	Interior Maintenance: Floor dirty in cell # 1, 6, 7, 10, and 12

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 7 and 12

105 CMR 451.353	Interior Maintenance: Back vent dirty in cell # 4, 8, and 10

Unit 8-3

Staff Bathroom # 8-306

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

Common Area

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind dryer unit

Room # 8-315

No Violations Noted

Recreational Room # 8-316

No Violations Noted

Recreational Room # 8-317

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Inmate Bathroom # 8-321	Occupied at the time of inspection

Inmate Bathroom # 8-322

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls and floor in all showers

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Vent dirty above showers

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 leaking

Slop Sink Room # 8-323

105 CMR 451.353	Interior Maintenance: Wet mop left in slop sink

105 CMR 451.353	Interior Maintenance: Vent dirty

Cells

105 CMR 451.353	Interior Maintenance: Vent dirty in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, and 13

105 CMR 451.353	Interior Maintenance: Back vent dirty in cell # 12

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 6

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 4

105 CMR 451.353	Interior Maintenance: Floor dirty in cell # 5

Unit 8-4

Staff Bathroom # 8-406

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet and water control handle 	leaking on handwash sink

Common Area

105 CMR 451.353	Interior Maintenance: Water fountain dirty

Laundry Area

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind washing machine and dryer

Room # 8-415

No Violations Noted

Recreational Room # 8-416

No Violations Noted

Recreational Room # 8-417

105 CMR 451.350	Structural Maintenance: Floor no longer easily cleanable, tiles damaged

Inmate Bathroom # 8-421

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Vent dirty above shower stalls

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # 2, 4, and 5

105 CMR 451.123	Maintenance: Shower walls dirty in shower stalls

105 CMR 451.126*	Water Supply: No hot or cold water supplied to handwash sink # 5

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1010F at handwash sinks

Inmate Bathroom # 8-422

105 CMR 451.123	Maintenance: Wall damaged near shower stall # 5

105 CMR 451.123	Maintenance: Vent dirty above shower stalls

105 CMR 451.124*	Water Supply: Insufficient water supply in quantity and pressure in shower unit # 2

105 CMR 451.126	Water Supply: No hot or cold water supplied to handwash sink # 2

Slop Sink Room # 8-422

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 5

105 CMR 451.353	Interior Maintenance: Vent dirty in cell # 7 and 10

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 11 and 12

Observations and Recommendations

- Please note the following documents are enclosed in this report and should be provided to the medical staff in charge of medical waste-Guidelines for Medial Waste Management at Secure Lockup Facilities and example of record-keeping log for medical or biological waste

- Recommend adjusting sprinkler head in staff bathroom # 944

- Handicap equipped showers in Building 3 were used for storage at the time of inspection. The Department recommends all handicap equipped showered used for storage be kept clean and well organized, so they are easily accessible if the need arises

- Mechanical warewashing machine conveyer belt is not designed to hold the thick insulated trays used at this correctional facility. This appears to be preventing trays from being appropriately cleaned and sanitized as evident by the residual food left on several trays during the course of the inspection and the Thermolable not indicating appropriate sanitizer temperature when trays were placed next to the testing pan. Recommend the facility use an alternative sanitization method until the appropriate mechanical warewashing machine that meets the needs of the facility is installed

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Lauren Molotnikov

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

Gerard Horgan, Superintendent

Angel Lopez, FS/EHSO

Boston Public Health Commission

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS