The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

April 3, 2013

Steven W. Tompkins, Sheriff

Suffolk County House of Correction

20 Bradston Street

Boston, MA 02118

Re: Suffolk County House of Correction Facility Inspection

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Suffolk County House of Correction on March 13 and 14, 2013 accompanied by Sergeant T. Flynn, Sergeant Daniel Hickey, EHSO/FS and Amy Riordan, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Building # 1

Lobby Area

105 CMR 451.353	Interior Maintenance: Water damaged ceiling tiles

Men’s Bathroom # 139

No Violations Noted

Women’s Bathroom # 140

105 CMR 451.123	Maintenance: Ceiling vent dusty

11th Floor

Staff Bathroom # 1142

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F

Classroom # 1145

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

105 CMR 451.350	Structural Maintenance: Window broken

105 CMR 451.350	Structural Maintenance: Floor damaged

Slop Sink Room # 1158

105 CMR 451.353	Interior Maintenance: Sink drain cover missing

Meeting Room

No Violations Noted

Classroom #1 (1151)

No Violations Noted

Classroom # 2 (1153)

No Violations Noted

Caseworker’s Office # 1143

No Violations Noted

Unit 1-11-1

Common Area

105 CMR 451.353	Interior Maintenance: Water stained ceiling tiles throughout common area

105 CMR 451.353	Interior Maintenance: Ceiling tiles and vent dusty above TV

105 CMR 451.350	Structural Maintenance: Wall damaged near TV

Showers

105 CMR 451.123*	Maintenance: Ceiling not easily cleanable, paint damaged in shower # 1

105 CMR 451.123	Maintenance: Door frame damaged in shower # 1, 2, and 3

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty in toilet stall # 1

105 CMR 451.123*	Maintenance: Covered trash receptacles damaged in stall # 1 and 3

Kitchenette

No Violations Noted

Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent not attached properly

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double and triple bunked

Unit 1-11-2

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty prior to entrance of unit

105 CMR 451.353	Interior Maintenance: Return vent dusty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked above TV

105 CMR 451.350	Structural Maintenance: Wall damaged near TV

105 CMR 451.353	Interior Maintenance: Water stained ceiling tiles throughout common area

Showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	# 1

105 CMR 451.123	Maintenance: Walls dirty in shower # 3

Bathroom

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in stall # 1

105 CMR 451.123	Maintenance: Vents dusty throughout bathroom

Laundry Area

No Violations Noted

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 8

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 2, 3, and 6

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 8

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in cell # 9

105 CMR 451.350	Structural Maintenance: Window broken in cell # 10

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 4, 5, 7, 10, 11, 12, 13, 14, 15, and 16

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 9, 10, 14, 15, and 16

10th Floor

10th Floor Visiting Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained due to existing roof leak

105 CMR 451.353	Interior Maintenance: Wall paint chipping

Room #1059

No Violations Noted

Staff Bathroom # 1074

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

105 CMR 451.123	Maintenance: Ceiling vent dusty

Slop Sink Room # 1050

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Unit 1-10-1

Common Area

105 CMR 451.353	Interior Maintenance: Wall vents dusty above phones

105 CMR 451.353	Interior Maintenance: One light shield missing

Shower

105 CMR 451.123	Maintenance: Vent dirty in shower # 1043 and 1044

Kitchenette

No Violations Noted

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 10 and 12

Unit 1-10-2

Common Area

No Violations Noted

Showers	Unable to Inspect – Shower # 1 and 3 occupied

No Violations Noted

Kitchenette

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Wall paint chipping around washer and dryer unit

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double and triple bunked

105 CMR 451.353	Interior Maintenance: Ceiling paint chipping in cell # 5, 6, 8, and 16

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 3, 11, and 13

Unit 1-10-3

Common Area

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Shower door and door frame rusted

105 CMR 451.123	Maintenance: Door frame paint damaged

Cells

No Violations Noted

Unit 1-10-4 Women’s Infirmary Area

Unable to Inspect – No longer in use

9th Floor

Staff Bathroom # 944

No Violations Noted

Slop Sink # 956

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, slop sink leaking

105 CMR 451.353*	Interior Maintenance: Vent dusty

Unit 1-9-1

Common Area

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 1 and 2

105 CMR 451.123	Maintenance: Vent dirty in shower # 3

105 CMR 451.360	Protective Measures: Small insects observed in shower floor drains in all showers

Kitchenette

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Debris observed behind washer and dryer units

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double and triple bunked

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 13, 14, and 11

105 CMR 451.350	Structural Maintenance: Wall damaged and possibly leaking in cell # 16

105 CMR 451.350	Structural Maintenance: Window broken in cell # 11

Unit 1-9-2

Common Area

No Violations Noted

Shower Area	Unable to Inspect Shower # 2 – Offline, light out

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in handicapped shower

Slop Sink Room

No Violations Noted

Storage Room # 958

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.353	Interior Maintenance: Wet mop in bucket

105 CMR 451.353	Interior Maintenance: Ceiling paint chipping

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Laundry

105 CMR 451.353	Interior Maintenance: Debris behind washer and dryer units

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double and triple bunked

105 CMR 451.353	Interior Maintenance: Ceiling and wall paint damaged in cell # 8 and 16

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 1 and 13

105 CMR 451.103	Mattresses: Mattress damaged in cell # 12

8th Floor

8th Floor Program Area

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged from leaking roof

Outside Recreational Deck

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Unit 1-8-1

Unable to Inspect – Closed

Unit 1-8-2

Common Area

105 CMR 451.353	Interior Maintenance: Wall vent dusty

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Shower Area

105 CMR 451.123	Maintenance: Floor drain dirty in shower # 1 and 2

Storage Room

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.353	Interior Maintenance: Standing water in bucket

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Kitchenette

No Violations Noted

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double and triple bunked

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8

105 CMR 451.353	Interior Maintenance: Light blocked by paper in cell # 9

7th Floor (Office Space)

Slop Sink Room # 755

No Violations Noted

6th Floor

6th Floor Meeting Room and Dining Hall

No Violations Noted

Unit 1-6-1

Common Area

105 CMR 451.353	Interior Maintenance: Vent dusty near TV

105 CMR 451.353	Interior Maintenance: Return vent dusty on Upper Tier

Lower Tier Shower Area

105 CMR 451.123*	Maintenance: Vent dusty in shower # 1

105 CMR 451.123	Maintenance: Vent dusty in shower # 2 and 3

105 CMR 451.123	Maintenance: Walls and ceiling dirty in shower # 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

Upper Tier Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 3

105 CMR 451.123	Maintenance: Vents dusty in shower # 1, 2, and 3

105 CMR 451.360	Protective Measures: Small bugs observed in floor drain in shower # 2

Recreational Deck # 640

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Kitchenette

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Washer unit leaking

105 CMR 451.353	Interior Maintenance: Debris behind washer and dryer units

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double and triple bunked

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 19 and 32

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 3, 4, and 6

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 2, 17, 23, 25, 	and 26

105 CMR 451.353	Interior Maintenance: Light blocked by paper in cell # 17

Unit 1-6-2

Unable to Inspect – Closed

5th Floor

Slop Sink Room # 563

No Violations Noted

5th Floor Custody

Bathroom # 1

No Violations Noted

Bathroom # 2

No Violations Noted

Kitchenette

No Violations Noted

Unit 1-5-1

Common Area

105 CMR 451.353	Interior Maintenance: Several chairs damaged near TV

Library # 540

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Vent dusty in shower # 1 and 2

105 CMR 451.123	Maintenance: Vent dusty in shower # 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123	Maintenance: Door frame damaged on shower # 2 and 3

Kitchenette

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: Debris behind washer and dryer units

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells double and triple bunked

Unit 1-5-2

Common Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in alcove

105 CMR 451.350	Structural Maintenance: One window broken

Shower # 565

105 CMR 451.123*	Maintenance: Vent dirty

Staff Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink

Dorm 1-5-2

105 CMR 451.353	Interior Maintenance: Floor tile damaged

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Dorm Bathroom

105 CMR 451.123*	Maintenance: Window broken

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water hard to utilize

Unit 1-5-2 Cell

Showers # 565

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Cells

No Violations Noted

4th Floor

Hallway

No Violations Noted

Staff Bathroom #445

No Violations Noted

Slop Sink # 454

No Violations Noted

Utility Room

No Violations Noted

4th Floor Recreational Deck

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Unit 1-4-1

Common Area

No Violations Noted

Storage Room # 434

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 1

105 CMR 451.123	Maintenance: Vent dirty in shower # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

Kitchenette

No Violations Noted

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 4, 10, and 13

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 10

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 12, 14, and 16

Unit 1-4-2

Unable to Inspection – Closed

3rd Floor

Slop Sink Room # 371

105 CMR 451.353	Interior Maintenance: Wall vent dusty

3rd Recreational Deck

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Unit 1-3-1

Common Area

No Violations Noted

Storage Room # 336

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Light shield missing

Staff Bathroom # 337

105 CMR 451.350	Structural Maintenance: Floor damaged

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in cell # 1

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 9, 10, 11, 12, 14, and 15

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 7

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 13 and 18

Unit 1-3-2

Common Area

No Violations Noted

Staff Bathroom # 360

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls and floors in shower # 364

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 365 and 366

105 CMR 451.123	Maintenance: Soap scum on floors in shower # 365 and 366

105 CMR 451.123*	Maintenance: Wall vent dirty in shower # 365 and 366

105 CMR 451.123	Maintenance: Wall vent dirty in shower # 364

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 1, 3, 4, 6, 7, 8, 10, 11, 12, 13, and 15

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 5, 7, and 12

2nd Floor

Office Area

No Violations Noted

Slop Sink Room # 229

No Violations Noted

Chapel # 170

No Violations Noted

Therapy Room # 269

No Violations Noted

Staff Bathroom #263

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling paint chipping

Unit 1-2-1

Common Area

105 CMR 451.353	Interior Maintenance: Wall paint damaged near phones

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling paint chipping

Bathroom # 230

105 CMR 451.123*	Maintenance: Counter top and backsplash damaged

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Wall damaged near faucet # 2 and 3

Bathroom # 235

105 CMR 451.123*	Maintenance: Counter top and backsplash damaged in bathroom

105 CMR 451.123	Maintenance: Light shields missing

105 CMR 451.123	Maintenance: Toilet dividers damaged in stall # 1 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 2 constantly running

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2, 3, and 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	# 2

105 CMR 451.123	Maintenance: Ceiling paint chipping

Storage Room # 14

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Outlet cover missing

Rooms

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 28 and 31

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked in cell # 20 and 26

105 CMR 451.350	Structural Maintenance: Wall damaged in weight room # 18

Laundry Room

105 CMR 451.350*	Structural Maintenance: Unfinished ceiling and wall repairs

105 CMR 451.350*	Structural Maintenance: Counter top damaged

105 CMR 451.353*	Interior Maintenance: Wall covering loose

105 CMR 451.353	Interior Maintenance: Debris and lent behind washer and dryer units

TV Area

No Violations Noted

1st Floor

Community Work Program

Common Area

No Violations Noted

Control Desk

No Violations Noted

Bathroom # 109

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 1 not draining properly

Shower # 109

105 CMR 451.123	Maintenance: Vent rusted

Bathroom # 2

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Floor not easily cleanable, paint damaged under toilet unit

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 990F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.123	Maintenance: Light shields missing

Shower # 1

105 CMR 451.123*	Maintenance: Sprinkler head painted over

105 CMR 451.123	Maintenance: Vent dusty

Shower # 2

105 CMR 451.123*	Maintenance: Sprinkler head painted over

Rooms

105 CMR 451.350	Structural Maintenance: Window broken in cell # 7

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 8

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 2, 3, and 4

Laundry Room

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Outlet damaged

105 CMR 451.353*	Interior Maintenance: Floor dirty

TV Area

No Violations Noted

Utility Closet

No Violations Noted

Staff Bathroom # 121

No Violations Noted

Office # 123

No Violations Noted

Kitchen

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tile missing

Slop Sink Room # 125

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottles

105 CMR 451.353	Interior Maintenance: Wet mops left in bucket

Building # 2

Hallway

No Violations Noted

Staff Lounge

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, two light fixtures 	not functioning properly

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Vending Machines

No Violations Noted

Water Fountain

No Violations Noted

Women’s Locker Room # 2109

105 CMR 451.123*	Maintenance: Ceiling vents dirty

Men’s Locker Room # 2110 and # 2111

Unable to Inspect – Occupied

Weight Room

105 CMR 451.353*	Interior Maintenance: Weight benches not covered properly and easily cleanable

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Locker Room # 2119

No Violations Noted

Administrative Staff Area

Men’s Room # 2221

No Violations Noted

Women’s Room #2222

No Violations Noted

Kitchenette

FC 4-101.16*	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

Building # 3

1st Floor Education Area

Common Area

No Violations Noted

Classrooms

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained in classroom # 2

Library # 3149

Unable to Inspect – Locked

Staff Bathroom # 3142

No Violations Noted

Inmate Bathroom # 3162

105 CMR 451.123	Maintenance: Floor paint damaged

105 CMR 451.123	Maintenance: Ceiling paint chipping

Office Area # 3131

105 CMR 451.353*	Interior Maintenance: Ceiling water stained

Office Staff Bathroom # 3126

Unable to Inspect – Locked

2nd Floor Housing

Staff Bathroom # 3470

No Violations Noted

Staff Bathroom # 3278

Unable to Inspect – Locked

Unit 3-1

Common Area

105 CMR 451.353	Interior Maintenance: Tiles damaged outside cell # 30

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Bathroom # 3270

105 CMR 451.123	Maintenance: Vent dusty

Slop Sink Room # 3265

No Violations Noted

Handicap Equipped Shower Unit # 3266

No Violations Noted

Laundry Storage # 3366

No Violations Noted

Lower Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent hose damaged

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind washing and dryer unit

Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 4 and 5

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 1

105 CMR 451.123	Maintenance: Light shield damaged in shower # 5

Kitchenette

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

Upper Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged and detached

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind washing and dryer units

105 CMR 451.353	Interior Maintenance: Washer leaking at the time of the inspection

Upper Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 7, 8, and 10

105 CMR 451.123	Maintenance: Vent dirty in shower # 8 and 10

Storage near cell # 16

105 CMR 451.353	Interior Maintenance: Possible mold growth on walls and ceiling

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, moisture present on walls and floor

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 14, 17, 18, 21, and 32

Recreational Deck

105 CMR 451.353	Interior Maintenance: Ceiling leaking

Unit 3-2

Common Area

105 CMR 451.353	Interior Maintenance: Floor tile damaged outside Storage Room # 3293

Staff Bathroom # 3296

105 CMR 451.123*	Maintenance: Vent dirty

Slop Sink Room # 3294

105 CMR 451.353	Interior Maintenance: Wall and vent dirty

Handicap Equipped Shower Unit # 3266

Used for storage

Storage Room # 3392

No Violations Noted

Lower Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

Lower Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 4

105 CMR 451.123	Maintenance: Vent dirty in shower # 1, 2, and 4

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 5

Kitchenette

No Violations Noted

Upper Laundry Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

Upper Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 7

105 CMR 451.123	Maintenance: Vent missing

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 8

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 8

Slop Sink Room # 3393

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Floor drain cover missing

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 15, 16, 40, and 64

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 20, 32, 38, 41, 48, 51, and 54

105 CMR 451.353	Interior Maintenance: Vent dirty in cell # 22, 29, 31, and 53

105 CMR 451.350	Structural Maintenance: Window broken in cell # 46

Staff Bathroom # 3479

105 CMR 451.123	Maintenance: Vent dusty

Unit 3-3

Common Area

105 CMR 451.350	Structural Maintenance: Floor damaged outside cell # 12, 19, and 20

105 CMR 451.350	Structural Maintenance: Entrance door glass broken

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket with standing water

Lower Laundry Area

No Violations Noted

Lower Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3, 4, 5

105 CMR 451.123	Maintenance: Vent dirty in shower # 4 and 5

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Upper Laundry Area

105 CMR 451.353	Interior Maintenance: Washing machine out-of-order

Upper Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6, 7, 8, 9, and 10

Cells

105 CMR 451.353	Interior Maintenance: Vent dirty in cell # 8, 9, 19, 50, 51, and 64

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 11, 14, 15, 17, 22, 30, 53, 57, 58, and 59

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 44

105 CMR 451.353	Interior Maintenance: Light blocked by paper in cell # 31

Unit 3-4

Common Area

105 CMR 451.353*	Interior Maintenance: Vents dirty

105 CMR 451.350	Structural Maintenance: Floor damaged outside cell # 64

Staff Bathroom # 3494

No Violations Noted

Cell # 1 Storage

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Lower Laundry Area

105 CMR 451.353	Interior Maintenance: Debris and lint behind washer and dryer units

Lower Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 5

105 CMR 451.123	Maintenance: Vent dirty in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, and 5

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Upper Laundry Area

No Violations Noted

Upper Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 8, 9, and 10

105 CMR 451.123	Maintenance: Vent dirty in shower # 6 and 7

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 10

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 6, 7, 8, and 9

Slop Sink Room # 3582

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent hose detached

Cells

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells, cells triple bunked

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 2, 3, 6, 8, 10, 11, 14, 16, 19, 20, 22, 34, 47, 56, and 59

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 44, 48, and 62

Main Laundry

Hallway

No Violations Noted

Office

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Storage # 3184

No Violations Noted

Laundry Area

No Violations Noted

Two-Compartment Sink

No Violations Noted

Handwash Sink

No Violations Noted

Bathroom # 3181

No Violations Noted

Canteen

105 CMR 451.353	Interior Maintenance: Water damaged ceiling tiles

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gasket dirty

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Slop Sink # 3189

105 CMR 451.353*	Interior Maintenance: Vent dusty

Bathroom # 3190

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Building # 4

Bathroom # 4257 and 4268

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Caulking missing around sink fixtures

105 CMR 451.123*	Maintenance: All handwash sinks dirty

105 CMR 451.123*	Maintenance: Countertop damaged, front edge missing

105 CMR 451.123*	Maintenance: Flying insects observed in bathroom

105 CMR 451.123*	Maintenance: Caulking loose on backsplash

105 CMR 451.126	Water Supply: No hot or cold water supplied to handwash sink # 1, 3, and 5

105 CMR 451.123	Maintenance: Ceiling paint damaged near vent

105 CMR 451.123	Maintenance: Urinals dirty

105 CMR 451.123	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Toilet divider covering damaged

Bathroom # 4275 and 4285

105 CMR 451.123*	Maintenance: Floor paint damaged under sink fixtures

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 3 out-of-order

105 CMR 451.123	Maintenance: Toilet divider cover damaged

105 CMR 451.123	Maintenance: Faucet loose on sink # 5

105 CMR 451.123	Maintenance: Flying insects observed in bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 1 constantly running

105 CMR 451.123	Maintenance: Caulking loose on backsplash

105 CMR 451.123	Maintenance: Ceiling paint damaged

Bathroom # 4354 and 4366

105 CMR 451.123*	Maintenance: Floor paint damaged under sink fixtures

105 CMR 451.123*	Maintenance: Ceiling water damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 1 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 1 and 6 leaking

Bathroom # 4374 and 4387

105 CMR 451.123*	Maintenance: Dead drain flies observed near sink fixtures

105 CMR 451.123*	Maintenance: Ceiling and wall vent dirty

105 CMR 451.123	Maintenance: Light out

Slop Sink Closet # 4375

105 CMR 451.353	Interior Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Vent dusty

Unit 4-1

Common Area

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, five light 	fixtures not functioning properly

105 CMR 451.353	Interior Maintenance: Ceiling water damaged outside cell # 15 and 16

Kitchenette

No Violations Noted

Slop Sink Room

No Violations Noted

Lower Shower Area

105 CMR 451.123*	Maintenance: Vent dirty in shower # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

Upper Shower Area	Unable to Inspect – Shower # 11 occupied

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # 7, 8, 9, and 10

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # 7, 8, and 10

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # 12

105 CMR 451.123	Maintenance: Ceiling water damaged outside of showers

105 CMR 451.123	Maintenance: No curtain on shower # 9

Cells

105 CMR 451.350*	Structural Maintenance: Window damaged in cell # 16

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 3, 4, 18, 19, and 23

105 CMR 451.353	Interior Maintenance: Light blocked by paper in cell # 5, 9, and 10

Unit 4-2

Staff Bathroom # 4254

105 CMR 451.123*	Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.123	Maintenance: Wet mop stored on floor

105 CMR 451.123	Maintenance: Wall door panel rusted

Common Area

105 CMR 451.350	Structural Maintenance: Floor damaged outside cell # 8

105 CMR 451.353	Interior Maintenance: Old dryer outlet not capped off near cell # 31

105 CMR 451.353	Interior Maintenance: Ceiling water damaged outside bathroom # 4374

TV Room

Unable to Inspect – Not in use

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Laundry Areas

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Storage Room # 6123

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Shelving water damaged

105 CMR 451.360	Protective Measures: Flying insects observed

TV Room # 4273

No Violations Noted

Room # 4352

No Violations Noted

Laundry Storage Room

No Violations Noted

Slop Sink Room

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 17 and 40

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 48

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 28

Unit 4-3

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling water damaged

105 CMR 451.353	Interior Maintenance: Ceiling water damaged outside cell # 15 and 16

Kitchenette

No Violations Noted

Slop Sink Room

No Violations Noted

Lower Shower Area

105 CMR 451.123	Maintenance: Vent dusty in shower # 1, 2, 3, 4, 5, and 6

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2, 3, 4, 5, and 6

105 CMR 451.123	Maintenance: Shower head missing in shower # 3

105 CMR 451.123	Maintenance: Light out in shower # 6

Upper Shower Area

105 CMR 451.123	Maintenance: Floor dirty outside of showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 10, 11, and 12

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 7, 8, and 9

105 CMR 451.123	Maintenance: Vent rusted in shower # 7, 9, 10, and 12

Cells

105 CMR 451.353	Interior Maintenance: Light blocked by paper in cell # 3, 7, 10, 13, 14, 16, 17, 19, 	and 23

105 CMR 451.353	Interior Maintenance: Floor not easily cleanable in cell # 16

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 18

Unit 4-4 Inmate Programs	Program area not in use

Staff Bathroom

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished in a work-person like fashion

Unit 4-2 Dining Room # 4137

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, water fountain not functioning properly

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Insects observed crawling around on shelves

CGI

Industries

No Violations Noted

Maintenance Department

No Violations Noted

Slop Sink Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Building # 5

Food Service Area

Section 1

Inmate Bathroom/Locker Room  Unable to Inspect – Bathroom stall # 2 occupied

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, bottom of door rotted out

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty in locker room area

Slop Sink Room

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, drain cover not secure in slop sink

Staff Locker and Bathroom/Chemical Storage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, lower door rotted 	out

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

Mechanical Warewashing Area

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate wash and sanitizing water 	temperature on the mechanical warewashing machine

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, outlet cover missing behind warewash machine

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, table broken at end of tray washer

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged behind tray racks

FC 4-202.11(A)(2)	Design and Construction, Cleanability: Damaged food-contact surface no longer easily cleanable, several trays damaged and in bad condition

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, door panel broken and tied off on side of warewash machine

Pot Wash Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard tiles damaged at entrance of pot wash area

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty under 	3 bay sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking on 3 bay sink

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, drain plug handles under sink loose and held up by styrofoam cups

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration in 3 bay sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged under sinks and table area

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized trays not allowed to air dry fully, trays stacked on top of each other while wet

Pot Wash Handwash Sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall covering damaged under sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall covering loose near handsink

FC 5-205.11(A)	Plumbing System, Operations and Maintenance: Handwashing sink not accessible

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1020F

Tray Area Handwash Sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 490F

Section 2

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall cover 	damaged

Kettles

No Violations Noted

Prep-Sink

No Violations Noted

Supply Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wet mop left in 	bucket

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light shield damaged

Office

No Violations Noted

Section 4

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration in sanitizer bucket

Prep-Table

No Violations Noted

Refrigerator # 1

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, lower wall tiles damaged

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, vent fans dusty

Bread Cooler # 2

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, lower wall tiles damaged near door

Refrigerator # 3

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, lower wall tiles damaged

Freezer # 4

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

Refrigerator # 5

No Violations Noted

Ice Makers

No Violations Noted

Section 5

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged near prep table

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration in sanitizer bucket

Stove Top

No Violations Noted

Pots and Pans Room

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pots and bowls not stored in the inverted position

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, walls dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, doorway damaged

Special Diet Area

No Violations Noted

Section 6

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall covering damaged

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration in sanitizer bucket

2 Compartment Sink Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet loose on disposal sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, lower wall tiles 	damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling and wall 	paint damaged

Prep-Refrigerators and Tray Assembly Line

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, lower wall tiles damaged

FC 6-202.15(A)(3)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Return vent dusty above warmers

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling tiles dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of warmers dirty

Staff Food Line and Dinning Room

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 990F

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered, no cover for croutons

FC 5-205.11(A)	Plumbing System, Operations and Maintenance: Handwashing sink not accessible, blocked by open door

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, walls dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dusty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gasket dirty

FC 4-501.18	Maintenance and Operation, Equipment: Sanitizing solution dirty

Warehouse

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, scoop left in cake mix

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Cups not stored in the inverted position

Building # 6

105 CMR 451.350	Structural Maintenance: Outer door not rodent and weathertight near commissary

Commissary

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling water damaged

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Floor paint damaged

Health Services Medical Area

Hallway

105 CMR 451.353	Interior Maintenance: Vent dirty

Exam Room # 1 (3172)

105 CMR 451.353*	Interior Maintenance: Damaged draw front damaged and no longer easily cleanable

Exam Room # 2 (3134)

105 CMR 451.353*	Interior Maintenance: Damaged draw front damaged and no longer easily cleanable

Exam Room # 3 (3171)

No Violations Noted

Exam Room # 4 (3133)

No Violations Noted

File Room # 6226

No Violations Noted

Inmate Bathroom # 6229

Unable to Inspect – Out-of-Order due to leaks

X-Ray Room # 6265

No Violations Noted

Dental Exam Room # 6261

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Med Storage Room

105 CMR 451.353*	Interior Maintenance: Damaged counter top and backsplash damaged and no longer 	easily cleanable

Lab Room # 6268

105 CMR 205.103(A)*	Examinations to be Conducted in Privacy: No hands-free controls provided for 	handwash sink

Staff Locker Room

No Violations Noted

Staff Bathroom # 6236

No Violations Noted

Staff Bathroom # 6135

No Violations Noted

Medical Unit

Storage # 6253

105 CMR 451.353	Interior Maintenance: Carbon dioxide tanks not secure

Recreational Room # 6258

No Violations Noted

Kitchenette # 6256

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Isolation Cells

105 CMR 451.353	Interior Maintenance: Vents dirty in cell # 3

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 5

Isolation Handwash Sink

No Violations Noted

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 6

105 CMR 451.353	Interior Maintenance: Vent dirty in cell # 2, 8, 10, 11, 12, 13, 14, 17, and 19

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.353	Interior Maintenance: Vent dirty in shower # 1, 2, and 3

Inmate Property # 6246

105 CMR 451.353	Interior Maintenance: Ceiling tile missing

Staff Bathroom # 6247

No Violations Noted

Chemical Storage Room # 6248

105 CMR 451.353	Interior Maintenance: Light shield missing

Medical Waste Storage Room # 6252

No Violations Noted

Storage Room # 6253

105 CMR 451.353*	Interior Maintenance: Water leaking from an undetermined source

Office # 6254

No Violations Noted

Booking Area

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Control

No Violations Noted

Holding Cell # 6105

No Violations Noted

Property Room # 6106

No Violations Noted

Old Shower Room # 6111

No Violations Noted

Male Holding Cells

No Violations Noted

Bathroom # 6114

Unable to Inspection – Locked

Break Room # 6131

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Bathroom # 6135

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Female Property Room

No Violations Noted

Female Changing Room # 6138

No Violations Noted

Storage Room # 6139

No Violations Noted

Female Holding Cells

No Violations Noted

Building 8

Lobby Areas

105 CMR 451.353*	Interior Maintenance: Ceiling vents in lobby area dirty floor # 2, 3, and 4

Unit 8-1

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Outlet damaged at door

Common Area

105 CMR 451.353	Interior Maintenance: Vents dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gasket dirty

Staff Break Room # 8-116

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of toaster oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gasket dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered, utensils not covered

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Laundry Area

No Violations Noted

Slop Sink Room # 8-123

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Bathroom # 8-121

105 CMR 451.123	Maintenance: Outlet plugged up with soap

105 CMR 451.123	Maintenance: Light shield missing

105 CMR 451.123	Maintenance: Wall baseboard damaged

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 1, 2, 3, 4, and 5

Bathroom # 8-122

No Violations Noted

Holding Cell # 7

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353*	Interior Maintenance: Floor dirty

Cells	Cell # 13 used for storage

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged in cell # 2, 3, and 5

105 CMR 451.350*	Structural Maintenance: Floor unfinished and no longer easily cleanable in cell # 4

105 CMR 451.103	Mattresses: Mattress damaged in cell # 10 in bed # 2

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Unit 8-2

Hallway

No Violations Noted

Staff Bathroom # 8-206

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Common Area

No Violations Noted

Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind washing machine and dryer

105 CMR 451.353	Interior Maintenance: Dryer vent damaged

Room # 8-215

No Violations Noted

Recreational Room # 8-216

No Violations Noted

Recreational Room # 8-217

105 CMR 451.350*	Structural Maintenance: Floor no longer easily cleanable, tiles damaged

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Storage 8-218 B

105 CMR 451.353	Interior Maintenance: Light shield missing

Inmate Bathroom # 8-221

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working on sink # 3

105 CMR 451.123*	Maintenance: Soap scum on floor and walls in shower # 1

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 2

105 CMR 451.123	Maintenance: One light fixture not functioning properly

105 CMR 451.123*	Maintenance: Floor damaged allowing stagnant water to collect under the floor

Inmate Bathroom # 8-222

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in all shower stalls

105 CMR 451.123	Maintenance: Floor damaged in toilet stall # 2

105 CMR 451.123	Maintenance: Wall damaged near doorway

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 1, 2, 3, 4, and 5

105 CMR 451.126	Water Supply: No hot or cold water supplied to handicapped shower # 1

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 1, 9, and 11

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially hazardous food not held at the proper cold holding temperature, unrefrigerated milk stored outside door of cell # 7

Unit 8-3

Hallway

105 CMR 451.353	Interior Maintenance: Vent dirty at entrance near elevator

Staff Bathroom # 8-306

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 990F

Storage # 8-307

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Common Area

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

105 CMR 451.353	Interior Maintenance: Several vents dusty

Laundry Area

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind dryer unit

Room # 8-315

105 CMR 451.353*	Interior Maintenance: Vent dirty

Recreational Room # 8-316

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Recreational Room # 8-317

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Storage # 8-318A

105 CMR 451.353	Interior Maintenance: Food and food trays stored in storage closet

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially hazardous food not held at the proper cold holding temperature, unrefrigerated milk stored in storage closet

Water Fountain

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water fountain not functioning properly near phones

Inmate Bathroom # 8-321

105 CMR 451.123*	Maintenance: Floor damaged and no longer easily cleanable

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1150F

105 CMR 451.123	Maintenance: Wall damaged in toilet stall # 2 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking on sink # 4 and 7

Inmate Bathroom # 8-322

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 5

105 CMR 451.123	Maintenance: Wall cracked

105 CMR 451.123	Maintenance: Possible mold growth outside of showers

105 CMR 451.123	Maintenance: Standing water observed outside of showers

Slop Sink Room # 8-323

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 2, 3, 4, 5, 6, 7, 8, 9, and 12

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 10 and 13

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 1

105 CMR 451.101	Blankets: Blanket damaged in cell # 3 in bed # 2

Unit 8-4

Staff Bathroom # 8-406

105 CMR 451.126	Hot Water: Hot water temperature recorded at 990F

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty outside of bathroom

Storage # 8-407

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Vents dusty in hallway of cell block

Laundry Area

No Violations Noted

Utility Closet # 8-323

105 CMR 451.353	Interior Maintenance: Strong musty odor inside of closet

105 CMR 451.353	Interior Maintenance: Mops hung up improperly

Room # 8-415

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Recreational Room # 8-416

No Violations Noted

Water Fountain

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water fountain not functioning properly near phones

Recreational Room # 8-417

105 CMR 451.350*	Structural Maintenance: Floor no longer easily cleanable, tiles damaged

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Inmate Bathroom # 8-421

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 940F

105 CMR 451.126	Hot Water: Hot water temperature recorded at 940F

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink # 1

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 1

105 CMR 451.123	Maintenance: Two light fixtures not functioning properly

105 CMR 451.123	Maintenance: Vent dusty

Inmate Bathroom # 8-422

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 940F

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 940F

105 CMR 451.123	Maintenance: No shower curtains provided in all showers

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 1, 4, and 5

105 CMR 451.360	Protective Measures: Drain flies observed in shower # 5

105 CMR 451.123	Maintenance: Soap scum on seat in shower # 1

Slop Sink Room # 8-423

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 4, 5, 6, 12, and 13

Observations and Recommendations

- The inmate population was 1190 at the time of inspection

- DCAM project was going on throughout facility at time of inspection

- Mechanical warewashing machine in the Food Service Area of Building # 5 was not reaching correct temperature required for adequate cleaning. The Department recommended using

3 bay sink until problem is corrected.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Sergeant Daniel Hickey, EHSO/FS

Boston Public Health Commission

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, EOPS