The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MARGRET R. COOKE

Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

July 9, 2021

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118	(electronic copy)

Re: Facility Inspection – Suffolk County Jail, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments

(State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Suffolk County Jail on June 28 and 29, 2021 accompanied by John Fallon, Environmental Health and Safety/Fire Safety Officer and Sergeant Nicole Muldowney. Violations noted during the inspection are listed below including 144 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Margret R. Cooke, Acting Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Timothy Gotovich, Director, Policy Development and Compliance Unit 		(electronic copy)

Michael Colwell, Superintendent			(electronic copy)

Matthew DeCastro, Assistant Superintendent			(electronic copy)

Demaris Smith, Assistant Deputy Superintendent			(electronic copy)

William Sweeney, Superintendent, Suffolk County House of Correction		(electronic copy)

John Fallon, EHSO/FSO	(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Entry Level

Front Lobby

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Main Control

No Violations Noted

7th Floor

Hallway

No Violations Noted

Visiting Rooms

No Violations Noted

Floor 6.5

Gym

No Violations Noted

Staff Bathroom # 6503

No Violations Noted

Storage Room # 6504

No Violations Noted

Inmate Bathroom # 6505

No Violations Noted

Inmate Bathroom # 6506

No Violations Noted

6th Floor

Staff Bathroom 6-1 & 6-2

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Staff Bathroom 6-3 & 6-4

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Control 6-1 & 6-1A

No Violations Noted

Unit 6-1A

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

Kitchenette

No Violations Noted

Slop Sink Room # 61B

No Violations Noted

Mattress Storage Room

No Violations Noted

Storage Room # 61G

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Soap scum on walls

Cells

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 3

Unit 6-1

Common Area

No Violations Noted

Visiting Rooms

No Violations Noted

Kitchenette

No Violations Noted

Attorney Room

No Violations Noted

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

Second Floor Storage Room

No Violations Noted

Shower # 617

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*		Maintenance: Soap scum on walls

105 CMR 451.123		Maintenance: Light fixture rusted

Shower # 618

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*		Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty

Shower # 711

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*		Maintenance: Ceiling paint damaged

Shower # 712

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 11, 12, 13, 25, 29, 32, 35, and 40

105 CMR 451.353	Interior Maintenance: Radiator damaged in cell # 19 and 33

Recreation Deck 6-1 & 6-2

105 CMR 451.353*	Interior Maintenance: Excessive standing water observed on floor

Control 6-2

105 CMR 451.353	Interior Maintenance: Light shield missing

Unit 6-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17

Kitchenette

No Violations Noted

Slop Sink Room # 62B

105 CMR 451.353	Interior Maintenance: Wet mop stored in sink

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Shower # 625

105 CMR 451.123*	Maintenance: Door frame paint damaged

Shower # 626

105 CMR 451.123*	Maintenance: Wall vent dusty

Storage # 620

No Violations Noted

Meeting Room # 627

No Violations Noted

Visiting Room

No Violations Noted

Shower # 721

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*		Maintenance: Door rusted

105 CMR 451.123		Maintenance: Door not functioning properly

Shower # 722

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123		Maintenance: Soap scum on walls

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower head leaking

Shower # 723

105 CMR 451.123*		Maintenance: Door paint damaged

105 CMR 451.123*		Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.123*	Maintenance: Sprinkler shroud missing

105 CMR 451.123		Maintenance: Soap scum on walls

Cells

No Violations Noted

Control 6-3 & 6-4

No Violations Noted

Unit 6-3

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty near phones

Kitchenette

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Hand dryer out-of-order

105 CMR 451.360	Protective Measures: Building not protected against infestation, dead cockroach observed under handwash sink

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed under counter tops

Meeting Room # 63B

No Violations Noted

Shower # 63C

No Violations Noted

Slop Sink Room # 63D

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # 63E

105 CMR 451.123*	Maintenance: Shower curtain missing

Storage Room # 63F

No Violations Noted

Shower # 63G

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Shower # 63H

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty

Shower # 63I

105 CMR 451.123*	Maintenance: Soap scum on walls

Visiting Rooms

No Violations Noted

Cells

No Violations Noted

Recreation Deck 6-3 & 6-4

No Violations Noted

Unit 6-4

Common Area

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Kitchenette

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Handwash sink dirty

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed under counter tops

Shower # 64B

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Sprinkler head rusted

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Slop Sink Closet # 64C

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water observed in bucket

Shower # 64D

105 CMR 451.123*	Maintenance: Sprinkler head rusted

105 CMR 451.123*	Maintenance: Dead drain flies observed on ceiling

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

105 CMR 451.123	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Ceiling paint damaged

Meeting Room # 64E

No Violations Noted

Storage Room # 64F

No Violations Noted

Shower # 64G

105 CMR 451.123*	Maintenance: Light fixture rusted

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Drain flies observed

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Excessive moisture build-up on ceiling

Shower # 64H

105 CMR 451.123	Maintenance: Soap scum on floor and walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Shower # 64I

105 CMR 451.123	Maintenance: Shower curtain missing

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 2, 23, and 36

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 7 and 15

5th Floor

Hallway

No Violations Noted

Visiting Rooms

No Violations Noted

Medical Area

Waiting Room

No Violations Noted

Exam Room # 1

No Violations Noted

Bathroom # 5032

No Violations Noted

Room # 5029

No Violations Noted

Bathroom # 5030

No Violations Noted

Mental Health # 5504

No Violations Noted

Biohazard Storage # 5507

No Violations Noted

X-Ray Room

No Violations Noted

Nurses Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink out-of-order

Omni Cell Room # 5041

No Violations Noted

Records Storage # 5043

No Violations Noted

Diabetic’s Room # 5044

No Violations Noted

Dental Office

No Violations Noted

Office # 5034

No Violations Noted

Room # 5035

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Female Staff Locker and Bathroom # 5124

No Violations Noted

Male Staff Locker and Bathroom # 5093

No Violations Noted

Staff Break Room # 5033

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Medical Housing Unit

Storage # 5553

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Shower # 55B

105 CMR 451.123*	Maintenance: Door frame rusted

Storage Room # 5555

No Violations Noted

Room # M56

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.360	Protective Measures: Building not protected against infestation, dead mouse observed

Storage # 5522

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

Storage # 5523

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed

Storage # 5524

Unable to Inspect – Locked

Isolation Cell # 5513

No Violations Noted

Isolation Cell # 5514

No Violations Noted

Shower # 55C

Unable to Inspect – In Use

Slop Sink # 5511

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Common Area

No Violations Noted

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Cells

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 5518

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 5517

Psychiatric Housing Unit # 5552

Common Area

No Violations Noted

Cells # 5564-5570

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 5567

Kitchenette

No Violations Noted

Shower # 55A

No Violations Noted

Slop Sink Room # 5572

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

4th Floor

Control 4-1 & 4-2

No Violations Noted

Staff Bathroom 4-1 & 4-2

No Violations Noted

Unit 4-1

Common Area

105 CMR 451.353*	Interior Maintenance: Wall vent dusty under television

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle observed near entrance

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Shower # 41I

No Violations Noted

Shower # 41J

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 41K

105 CMR 451.123*	Maintenance: Soap scum on walls

Room # 41M

No Violations Noted

Slop Sink Room # 41N

No Violations Noted

Shower # 41H (near cell # 27)

Unable to Inspect – In Use

Shower # 41G (near cell # 10)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Storage Closet

No Violations Noted

Case Workers Office

No Violations Noted

Attorney Visit Room

No Violations Noted

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 9

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 5, 7, and 10

Recreation Deck 4-1 & 4-2

105 CMR 451.353*	Interior Maintenance: Excessive water pooling on floor

Unit 4-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed under sink

105 CMR 451.353	Interior Maintenance: Countertop damaged

Attorney Visit Room

No Violations Noted

Meeting Room # 42B

No Violations Noted

Slop Sink Room # 42C

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

Shower # 42D

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Wall surface damaged

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

105 CMR 451.123	Maintenance: Wall vent dusty

Shower # 42E (near cell # 15)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Shower curtain missing

105 CMR 451.123	Maintenance: Wall vent dusty

Storage Room # 42F

No Violations Noted

Shower # 42G

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Shower # 42H

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

105 CMR 451.123	Maintenance: Soap scum on walls

Shower # 42I (near cell # 32)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Shower curtain missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, floor drain clogged

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 5

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 25 and 28

Control 4-3 & 4-4

No Violations Noted

Staff Bathroom 4-3 & 4-4

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F at handwash sink

Unit 4-3

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 1

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.353	Interior Maintenance: Hand dryer out-of-order

Visiting Rooms

No Violations Noted

Closet # 43F

No Violations Noted

Shower # 43G

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Shower # 43H

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Shower # 43I

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Shower curtain damaged

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # 43E

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Slop Sink # 43D

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

Shower # 43C

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Dead drain flies observed on ceiling

Cells

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 8

Unit 4-4

Common Area

No Violations Noted

Kitchenette

105 CMR 451.353*	Interior Maintenance: Wall paint damaged on partition

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Attorney Visit Room

No Violations Noted

Case Worker’s Office

No Violations Noted

Shower # 44J (near visiting rooms)

105 CMR 451.123*	Maintenance: Light shield broken

Closet # 44G

No Violations Noted

Shower # 44I (near cell # 28)

Unable to Inspect – In Use

Shower # 44H (near cell # 9)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Meeting Room # 44E

No Violations Noted

Shower # 44B

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling dirty, possible mold/mildew

Shower # 44D (near meeting room # 44E)

Unable to Inspect – In Use

Slop Sink Room # 44C

105 CMR 451.353		Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353		Interior Maintenance: Standing water observed in bucket

Visiting Rooms

No Violations Noted

Cells

No Violations Noted

Recreation Deck 4-3 & 4-4

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Visiting Rooms

No Violations Noted

Floor 3.5

Office Area

No Violations Noted

Female Staff Bathroom

No Violations Noted

Slop Sink Room # 3503

No Violations Noted

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

File Room Kitchen # 3516

No Violations Noted

Education

Bathroom # 3520

No Violations Noted

Bathroom # 3521

No Violations Noted

Education Storage

No Violations Noted

Storage Closet # 3517

No Violations Noted

Room # 3515

No Violations Noted

Room # 3513

No Violations Noted

Room 3511

No Violations Noted

Library

No Violations Noted

Room # 3528

No Violations Noted

2nd Floor

Chapel

No Violations Noted

Male Staff Bathroom # 2034

No Violations Noted

Female Staff Bathroom # 2035

No Violations Noted

Offices

No Violations Noted

Control 2-1 & 2-2

105 CMR 451.353*	Interior Maintenance: Desk surface damaged

Staff Bathroom 2-1 & 2-2

No Violations Noted

Unit 2-1

No Violations Noted

Common Area

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.360	Protective Measures: Building not protected against infestation, flies observed

Kitchenette

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent

droppings observed

Shower (near room # 21H)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.123*	Maintenance: Light fixture rusted

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Closet # 21H

No Violations Noted

Shower # 21G (near cell # 30)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, shower head leaking

Shower # 21B

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Slop Sink Room # 21C

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Ceiling vent damaged

Shower # 21D

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Meeting Room # 21E

No Violations Noted

Shower # 21F (near cell # 11)

105 CMR 451.123*	Maintenance: Soap scum on walls

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103*		Mattresses: Mattress damaged in cell # 33

Recreation Deck 2-1 & 2-2

105 CMR 451.353*	Interior Maintenance: Excessive water pooling on floor

Unit 2-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17 and 34

Kitchenette

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent

droppings observed on countertop

105 CMR 451.353	Interior Maintenance: Hand dryer out-of-order

Meeting Room # 22B

No Violations Noted

Shower # 22C (near slop sink room # 22D)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Mold growth observed on ceiling

105 CMR 451.123*	Maintenance: Sprinkler head rusted

Slop Sink Room # 22D

No Violations Noted

Shower # 22E (near cell # 15)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Sprinkler head rusted

Closet # 22F

No Violations Noted

Shower # 22G (near closet # 22F)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent dusty

Shower # 22H (near cell # 34)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent dusty

Shower # 22I (near cell # 32)

No Violations Noted

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 15 and 25

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Floor tiles missing outside cell # 12 and 19

Control 2-3 & 2-4

No Violations Noted

Staff Bathroom 2-3 & 2-4

105 CMR 451.123*	Maintenance: Light shield damaged

Unit 2-3

105 CMR 451.350	Structural Maintenance: Window cracked at entrance

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside slop sink room # 23D

Kitchenette

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent

droppings observed

Meeting Room # 23B

No Violations Noted

Shower # 23C

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Slop Sink Room # 23D

105 CMR 451.353*	Interior Maintenance: Hole in ceiling

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Shower # 23E (near cell # 3)

105 CMR 451.123	Maintenance: Soap scum on walls

Closet # 23F

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # 23G

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Shower # 23H (near cell # 18)

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Shower # 23I

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

105 CMR 451.123	Maintenance: Drain flies observed

Visiting Rooms

105 CMR 451.353*	Interior Maintenance: Door frame rusted in room # 307

Cells

105 CMR 451.353	Interior Maintenance: Floor tiles damaged outside cell # 24

105 CMR 451.103		Mattresses: Mattress damaged in cell # 8

Recreation Deck 2-3 & 2-4

No Violations Noted

Unit 2-4

Common Area

105 CMR 451.353*	Interior Maintenance: Floor tile missing outside cell # 9

105 CMR 451.353	Interior Maintenance: Floor tiles damaged at top of staircase

105 CMR 451.353	Interior Maintenance: Wall vent dusty under television

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Hand dryer out-of-order

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent

droppings observed

Attorney Visiting Room

No Violations Noted

Shower # 24B

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

105 CMR 451.123	Maintenance: Walls dirty, possible mold/mildew

Slop Sink Room # 24C

105 CMR 451.353*	Interior Maintenance: Door hardware broken

Shower # 24D

105 CMR 451.123*	Maintenance: Drain flies observed

105 CMR 451.123	Maintenance: Shower curtain missing

Meeting Room # 24E

No Violations Noted

Shower # 24F (near cell # 9)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Dead drain flies observed on ceiling

Shower (near room # 28)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Closet # 24G

No Violations Noted

Shower # 24J (near visiting rooms)

105 CMR 451.123*	Maintenance: Light rusted

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Drain flies observed

105 CMR 451.123	Maintenance: Shower curtain missing

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 31 and 38

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 5, 10, 12, 14, 19, 21, and 35

Contact Visits/Roll Call

Female Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, left sink out-of-order

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Entry Level (Inside)

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty outside male staff bathroom

Staff Cafeteria # 1066

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged near skillet

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Female Staff Bathroom

No Violations Noted

Inside Administration

No Violations Noted

Weight Room # 1070

No Violations Noted

Cardio Room

No Violations Noted

Slop Sink Room # 1072

No Violations Noted

Water Fountain

No Violations Noted

Blue Shirt’s Locker Room # 1075

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Female Staff Locker Room # 1076

Unable to Inspect – In Use

Captain and Lieutenant’s Locker Room # 1077

No Violations Noted

Communications Office

No Violations Noted

Mail Room

No Violations Noted

Outside Administration

Female Bathroom # 1013

No Violations Noted

Male Bathroom # 1015

No Violations Noted

Slop Sink Room # 1004

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353*		Interior Maintenance: Wall paint damaged

Ground Level

105 CMR 451.353*	Interior Maintenance: Floor drain cover damaged in hallway

Canteen # G10

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent

droppings observed

Staff Bathroom # G5

No Violations Noted

Staff Bathroom # G6

No Violations Noted

Store Room # G11

No Violations Noted

Maintenance Department # G12

No Violations Noted

Locker Room # G13

No Violations Noted

Maintenance Kitchen # G15

No Violations Noted

Laundry Room # G23/G29

No Violations Noted

Office # G25

Unable to Inspect – Not Used

Loading Dock # G26

105 CMR 451.350*	Structural Maintenance: Garage door not rodent and weathertight

Garbage Room # G37

105 CMR 451.350*	Structural Maintenance: Garage door not rodent and weathertight

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent observed

Computer Room # G39

No Violations Noted

Storage # G43

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Staff Bathroom # G44

No Violations Noted

Staff Bathroom # G46

No Violations Noted

Female Booking Area

Holding Cells

No Violations Noted

Male Booking Area

Control

No Violations Noted

Property Room # G62

No Violations Noted

Inmate Bathroom # G64

No Violations Noted

Intake Area

No Violations Noted

Property Storage Room # G63

No Violations Noted

Property Storage Room # G65

No Violations Noted

Male Intake Cells # G74

No Violations Noted

Holding Cage

No Violations Noted

Holding Cells

No Violations Noted

Back Gate Control # G80

No Violations Noted

Staff Bathroom # G81

No Violations Noted

Food Service Area

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Trash Area

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, rodent droppings observed

Office # G30

No Violations Noted

Summit Food Service Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils, Frequency: Interior of microwave oven not cleaned every 24 hours, interior of microwave oven dirty

Oven and Steamer Hood Area

No Violations Noted

Handwash Sink

No Violations Noted

Grease Hood

No Violations Noted

Dry Storage # G23

No Violations Noted

Slicing Cage

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, flies observed

Inmate Bathroom

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, ceiling vent dusty

Inmate Dining Area

FC 4-602.12(B)	Cleaning of Equipment and Utensils, Frequency: Interior of microwave oven not cleaned every 24 hours, interior of microwave oven dirty

Chemical Storage Cage

No Violations Noted

Can Opener Table

No Violations Noted

Vegetable Chest # 3

No Violations Noted

Milk Chest # 4

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, milk chest out-of-order

Food Prep Table

No Violations Noted

Handwash Sink (near food prep table)

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, paper towel dispenser damaged and rusted

Freezer # 5

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, light shield damaged

Ice Machine

No Violations Noted

Bread Refrigerator # 6

No Violations Noted

Tray Prep Area

No Violations Noted

Prep Table with 2-Compartment Sink

No Violations Noted

Kettle Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, kettle # 1 out-of-order

3-Compartment Sink

FC 5-205.15(B)	*		Plumbing System, Operations and Maintenance: Plumbing system not maintained in 					good repair, faucet loose on left and right side sinks

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, sink basins damaged

Mechanical Warewashing Area

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling tiles missing

Tray Racks

FC 4-901.11(A)	Protection of Clean Items; Drying: Cleaned, sanitized equipment and utensils not allowed to fully air dry before contact with food, metal trays stacked wet

Mop Cage

No Violations Noted

Refrigerator # 1

No Violations Noted

Refrigerator # 2

No Violations Noted

Observations and Recommendations

- The inmate population was 314 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH